## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-30 00:00:00 | 7.564 | 116 | 8.128 | 108.275 | 8.548 | 114.167 | 8.851 | 108.633 | 13.178 | 889.467 | 28.08 | 63.3861
2020-05-30 00:15:00 | 8.621 | 114.64 | 9.327 | 110.298 | 9.922 | 115.1 | 9.936 | 110.467 | 13.099 | 889.617 | 27.947 | 63.1189
2020-05-30 00:30:00 | 7.367 | 117.49 | 7.755 | 110.682 | 8.275 | 116.867 | 8.952 | 114.533 | 12.607 | 889.567 | 28.197 | 57.2674
2020-05-30 00:45:00 | 7.28 | 119.377 | 8.293 | 113.104 | 8.44 | 118.067 | 8.656 | 115.633 | 12.901 | 889.75 | 28.523 | 61.5955
2020-05-30 01:00:00 | 7.386 | 118.253 | 8.45 | 111.31 | 8.92 | 117.4 | 9.309 | 115.333 | 11.986 | 889.333 | 29.205 | 63.3101
2020-05-30 01:15:00 | 7.388 | 127.753 | 8.888 | 120.761 | 9.259 | 125.3 | 9.69 | 122 | 12.228 | 889.35 | 29.403 | 63.767
2020-05-30 01:30:00 | 6.193 | 126 | 7.22 | 120.9 | 7.655 | 128.167 | 8.065 | 123.733 | 12.061 | 890.017 | 29.365 | 58.378
2020-05-30 01:45:00 | 7.106 | 126.62 | 8.534 | 119.356 | 9.026 | 123.533 | 9.466 | 121.833 | 11.911 | 889.533 | 29.205 | 60.4891
2020-05-30 02:00:00 | 6.348 | 122.917 | 7.557 | 118.78 | 8.032 | 122.667 | 8.15 | 118.767 | 11.995 | 889.85 | 29.595 | 53.8787
2020-05-30 02:15:00 | 6.828 | 124.98 | 8.152 | 120.862 | 8.527 | 125.933 | 8.446 | 117.9 | 11.84 | 889.8 | 29.472 | 47.3891
2020-05-30 02:30:00 | 6.079 | 124.733 | 6.926 | 119.305 | 7.263 | 125.4 | 7.419 | 123.3 | 11.57 | 890 | 29.429 | 39.8422
2020-05-30 02:45:00 | 5.406 | 129.56 | 6.131 | 124.322 | 5.636 | 130.967 | 5.913 | 126.267 | 11.653 | 889.783 | 29.531 | 34.341
2020-05-30 03:00:00 | 5.068 | 135.513 | 5.495 | 129.662 | 5.442 | 137.467 | 5.652 | 133.9 | 11.482 | 889.8 | 29.6 | 33.5295
2020-05-30 03:15:00 | 4.756 | 151.96 | 5.747 | 141.965 | 5.924 | 145.8 | 6.061 | 138.4 | 10.757 | 889.767 | 29.936 | 28.6941
2020-05-30 03:30:00 | 5.019 | 141.533 | 5.682 | 136.97 | 5.769 | 142.567 | 5.819 | 136.567 | 10.678 | 890.133 | 30.16 | 30.5203
2020-05-30 03:45:00 | 5.252 | 140.633 | 5.556 | 134.491 | 5.028 | 140.267 | 5.045 | 132.667 | 10.995 | 889.75 | 29.941 | 33.1117
2020-05-30 04:00:00 | 5.782 | 128.513 | 6.643 | 124.639 | 6.078 | 133.133 | 6.435 | 125.6 | 11.228 | 889.633 | 29.035 | 42.5985
2020-05-30 04:15:00 | 5.393 | 127.127 | 6.666 | 119.905 | 6.978 | 125.367 | 7.212 | 124.833 | 11.22 | 889.733 | 28.277 | 32.6541
2020-05-30 04:30:00 | 4.285 | 130.07 | 4.918 | 123.495 | 4.723 | 131.6 | 4.968 | 128.767 | 11.383 | 888.717 | 28.256 | 21.4712
2020-05-30 04:45:00 | 3.627 | 157.267 | 4.552 | 139.581 | 4.671 | 144 | 4.868 | 139.833 | 10.651 | 889.85 | 29.685 | 9.8385
2020-05-30 05:00:00 | 3.089 | 131.173 | 4.293 | 118.918 | 4.437 | 127 | 4.002 | 126.8 | 9.701 | 889.5 | 30.976 | 6.9948
2020-05-30 05:15:00 | 2.532 | 124.32 | 2.623 | 115.468 | 2.383 | 126.767 | 2.492 | 126.467 | 10.724 | 889.683 | 29.328 | 4.8262
2020-05-30 05:30:00 | 2.928 | 119.77 | 3.043 | 104.689 | 3.216 | 112 | 3.787 | 115.1 | 10.638 | 890.283 | 29.003 | 5.2745
2020-05-30 05:45:00 | 4.748 | 228.533 | 4.654 | 220.279 | 3.802 | 220.033 | 3.03 | 201.6 | 8.949 | 889.5 | 28.768 | 3.135
2020-05-30 06:00:00 | 2.161 | 103.633 | 2.272 | 106.546 | 2.465 | 117.9 | 2.843 | 119.1 | 11.328 | 889.883 | 25.189 | 3.0178
2020-05-30 06:15:00 | 1.332 | 153.287 | 1.517 | 130.464 | 1.648 | 115.633 | 2.412 | 115.9 | 10.645 | 889.7 | 26.208 | 7.1504
2020-05-30 06:30:00 | 2.572 | 171.567 | 2.412 | 141.279 | 2.807 | 135.733 | 3.534 | 120.8 | 10.895 | 889.35 | 26.277 | 16.4411
2020-05-30 06:45:00 | 3.633 | 119.21 | 5.126 | 113.25 | 5.551 | 119.333 | 5.722 | 114.367 | 10.861 | 889.933 | 24.939 | 15.6566
2020-05-30 07:00:00 | 2.273 | 148.873 | 3.875 | 122.282 | 4.432 | 124.533 | 4.743 | 122.1 | 12.495 | 889.767 | 21.344 | 11.735
2020-05-30 07:15:00 | 0.15 | 137.68 | 0.74 | 111.173 | 2.015 | 116.867 | 3.158 | 109.933 | 12.666 | 889.45 | 19.816 | 2.6092
2020-05-30 07:30:00 | 0.966 | 160.813 | 1.443 | 134.356 | 1.788 | 133.333 | 2.325 | 126.067 | 13.066 | 889.767 | 18.123 | 2.2063
2020-05-30 07:45:00 | 2.497 | 121.99 | 3.101 | 115.824 | 3.964 | 120.567 | 4.593 | 116.067 | 13.232 | 889.6 | 17.683 | 2.3328
2020-05-30 08:00:00 | 2.703 | 123.907 | 2.677 | 119.816 | 2.874 | 122.9 | 3.272 | 115.233 | 13.883 | 890 | 17.037 | 5.3065
2020-05-30 08:15:00 | 5.393 | 109.227 | 5.39 | 105.957 | 5.151 | 110.233 | 5.428 | 110.733 | 14.283 | 890 | 16.296 | 15.7732
2020-05-30 08:30:00 | 5.893 | 120.553 | 6.248 | 116.363 | 6.289 | 117.9 | 6.489 | 112.067 | 14.724 | 889.5 | 16.293 | 18.9636
2020-05-30 08:45:00 | 5.637 | 116.687 | 5.972 | 110.879 | 6.336 | 117.133 | 6.369 | 111.7 | 14.991 | 889.2 | 16.179 | 20.9106
2020-05-30 09:00:00 | 6.57 | 110.907 | 6.506 | 105.656 | 6.028 | 108.2 | 6.11 | 104.7 | 15.248 | 889.367 | 16.205 | 27.6069
2020-05-30 09:15:00 | 5.934 | 108.813 | 6.135 | 102.817 | 5.949 | 107.767 | 6.345 | 104.467 | 15.588 | 889.633 | 16.101 | 24.5636
2020-05-30 09:30:00 | 5.631 | 113.633 | 5.909 | 110.071 | 5.94 | 112.867 | 6.324 | 113.567 | 16.044 | 889.567 | 16.04 | 19.8412
2020-05-30 09:45:00 | 5.651 | 111.567 | 5.726 | 106.848 | 5.949 | 113.067 | 5.762 | 109.867 | 16.631 | 889.2 | 15.736 | 16.3473
2020-05-30 10:00:00 | 4.753 | 104.853 | 4.912 | 102.532 | 4.877 | 108.1 | 5.249 | 105.233 | 17.081 | 889.433 | 15.357 | 13.5605
2020-05-30 10:15:00 | 4.403 | 106.43 | 4.41 | 102.36 | 4.633 | 105.8 | 4.669 | 100.233 | 17.61 | 889.233 | 15.371 | 12.3262
2020-05-30 10:30:00 | 3.951 | 122.6 | 4.426 | 116.49 | 4.38 | 122.267 | 4.486 | 115.3 | 17.906 | 889.333 | 14.947 | 9.8506
2020-05-30 10:45:00 | 3.917 | 106.408 | 4.206 | 99.676 | 4.522 | 100.133 | 4.852 | 95.033 | 18.177 | 889.6 | 14.715 | 10.7104
2020-05-30 11:00:00 | 4.119 | 91.6 | 4.21 | 86.087 | 4.38 | 96.867 | 4.6 | 95.233 | 18.839 | 889.7 | 14.816 | 9.2466
2020-05-30 11:15:00 | 4.107 | 71.202 | 4.411 | 68.089 | 4.428 | 77.1 | 4.741 | 76.267 | 18.848 | 889.1 | 14.536 | 8.7215
2020-05-30 11:30:00 | 5.402 | 106.133 | 5.382 | 94.819 | 5.103 | 101.633 | 5.246 | 95.3 | 19.244 | 889.467 | 14.592 | 6.7937
2020-05-30 11:45:00 | 3.472 | 74.627 | 3.59 | 74.457 | 3.352 | 82.9 | 3.651 | 81.167 | 19.448 | 889.4 | 14.669 | 3.2821
2020-05-30 12:00:00 | 3.892 | 88.278 | 4.291 | 83.993 | 4.225 | 94.2 | 4.488 | 90.733 | 20.139 | 889.167 | 14.141 | 2.2227
2020-05-30 12:15:00 | 2.419 | 160.227 | 1.596 | 155.16 | 1.707 | 184.067 | 2.029 | 143.5 | 20.164 | 889.567 | 14.435 | 0.83065
2020-05-30 12:30:00 | 3.853 | 157.967 | 3.86 | 151.772 | 4.012 | 140.867 | 4.568 | 126.433 | 20.31 | 889.767 | 14.392 | 0.34036
2020-05-30 12:45:00 | 1.899 | 155.127 | 1.63 | 137.547 | 1.794 | 150.533 | 1.87 | 147.267 | 20.906 | 889.833 | 14.8 | 0.26433
2020-05-30 13:00:00 | 3.189 | 76.543 | 3.409 | 81.46 | 3.42 | 86.4 | 3.409 | 83.1 | 21.635 | 889.667 | 13.027 | 0.12222
2020-05-30 13:15:00 | 2.634 | 112.967 | 2.319 | 107 | 2.225 | 125.833 | 2.707 | 121.467 | 21.523 | 889.467 | 12.723 | 0.22241
2020-05-30 13:30:00 | 2 | 125.503 | 1.753 | 124.403 | 1.33 | 127.367 | 1.682 | 146.1 | 21.806 | 889 | 12.301 | 0.57556
2020-05-30 13:45:00 | 2.508 | 162.161 | 2.623 | 263.62 | 2.806 | 283.667 | 2.861 | 275.301 | 22.631 | 889.633 | 12.051 | 1.2478
2020-05-30 14:00:00 | 1.482 | 182.707 | 0.669 | 182.904 | 1.055 | 168.8 | 1.69 | 173.3 | 22.714 | 889.767 | 12.003 | 1.7132
2020-05-30 14:15:00 | 4.357 | 95.673 | 4.043 | 88.986 | 4.158 | 87.567 | 4.047 | 83.6 | 22.256 | 889.3 | 12.133 | 1.559
2020-05-30 14:30:00 | 3.104 | 80.338 | 2.524 | 116.504 | 1.913 | 67.903 | 2.147 | 96.467 | 23.148 | 889.533 | 11.404 | 1.6364
2020-05-30 14:45:00 | 1.128 | 140.97 | 1.15 | 74.284 | 1.384 | 101.433 | 1.781 | 121.502 | 22.548 | 889.7 | 11.149 | 0.70772
2020-05-30 15:00:00 | 2.439 | 96.5 | 2.568 | 102.052 | 2.905 | 108.733 | 2.838 | 89.9 | 23.198 | 889.633 | 10.997 | 0.83278
2020-05-30 15:15:00 | 2.055 | 73.144 | 2.116 | 131.269 | 2.36 | 125.908 | 2.704 | 117.4 | 23.214 | 889.1 | 10.869 | 1.0047
2020-05-30 15:30:00 | 3.238 | 131.207 | 3.362 | 119.12 | 3.233 | 116.9 | 3.561 | 117.867 | 22.948 | 889.633 | 11.2 | 0.93297
2020-05-30 15:45:00 | 2.457 | 125.057 | 2.176 | 117.732 | 2.216 | 124.8 | 2.697 | 117.633 | 23.302 | 889.967 | 10.827 | 0.3631
2020-05-30 16:00:00 | 4.219 | 59.392 | 4.111 | 55.65 | 4.467 | 62 | 4.564 | 61.567 | 23.61 | 889.4 | 10.4 | 0.44766
2020-05-30 16:15:00 | 3.205 | 73.339 | 2.883 | 66.471 | 2.724 | 64.775 | 2.637 | 53 | 24.252 | 889.233 | 10.143 | 0.3496
2020-05-30 16:30:00 | 1.904 | 193.762 | 1.333 | 106.965 | 1.777 | 133.953 | 1.76 | 64.733 | 24.589 | 889.133 | 8.955 | 0.8406
2020-05-30 16:45:00 | 1.409 | 56.172 | 1.011 | 72.349 | 1.443 | 138.833 | 1.787 | 141.2 | 25.068 | 889.2 | 8.78 | 1.4744
2020-05-30 17:00:00 | 4.205 | 37.66 | 4.124 | 32.754 | 4.15 | 49.2 | 4.343 | 33.233 | 24.927 | 889.267 | 8.724 | 2.7584
2020-05-30 17:15:00 | 4.534 | 106.802 | 4.636 | 100.061 | 4.898 | 106.867 | 5.125 | 102.2 | 24.952 | 888.733 | 8.947 | 1.3309
2020-05-30 17:30:00 | 0.986 | 190.781 | 0.397 | 191.316 | 0.786 | 190.275 | 1.319 | 193.183 | 25.227 | 889 | 8.741 | 0.4775
2020-05-30 17:45:00 | 4.091 | 106.672 | 4.405 | 93.733 | 4.604 | 90.4 | 4.969 | 85.133 | 24.827 | 889.067 | 9.064 | 0.15632
2020-05-30 18:00:00 | 4.268 | 47.018 | 3.871 | 50.592 | 4.234 | 38.367 | 4.605 | 43.467 | 25.327 | 889.067 | 8.773 | 0.81076
2020-05-30 18:15:00 | 4.457 | 11.471 | 4.352 | 32.74 | 4.425 | 12.9 | 4.429 | 11.767 | 24.968 | 889 | 8.714 | 3.7845
2020-05-30 18:30:00 | 2.768 | 55.501 | 2.735 | 58.589 | 3.144 | 62 | 3.639 | 63.1 | 24.931 | 888.933 | 8.82 | 8.1552
2020-05-30 18:45:00 | 4.215 | 82.723 | 4.269 | 71.955 | 4.52 | 70.233 | 4.58 | 65.3 | 25.023 | 889.267 | 9.049 | 6.0626
2020-05-30 19:00:00 | 3.873 | 102.813 | 3.899 | 95.452 | 4.148 | 94.967 | 4.39 | 85.433 | 24.627 | 888.8 | 9.611 | 5.0294
2020-05-30 19:15:00 | 3.26 | 37.908 | 3.006 | 44.11 | 3.628 | 51.067 | 4.112 | 49.033 | 24.677 | 889 | 9.087 | 6.6019
2020-05-30 19:30:00 | 3.046 | 62.488 | 3.073 | 54.826 | 3.283 | 58.167 | 3.603 | 58.033 | 24.423 | 888.867 | 9.099 | 6.3148
2020-05-30 19:45:00 | 3.929 | 85.715 | 3.727 | 76.937 | 3.898 | 82.8 | 4.014 | 77.833 | 24.806 | 888.8 | 9.165 | 8.0152
2020-05-30 20:00:00 | 5.126 | 82.553 | 5.132 | 75.368 | 5.222 | 81.4 | 5.245 | 76.667 | 24.781 | 888.867 | 9.661 | 6.8079
2020-05-30 20:15:00 | 4.564 | 52.572 | 4.534 | 47.743 | 4.656 | 52.033 | 4.666 | 49.133 | 24.268 | 889 | 9.293 | 5.9759
2020-05-30 20:30:00 | 4.507 | 72.162 | 4.46 | 66.952 | 4.583 | 72.033 | 4.56 | 66.9 | 24.148 | 889.067 | 9.571 | 7.5988
2020-05-30 20:45:00 | 3.781 | 78.897 | 3.523 | 75.666 | 3.611 | 82.833 | 4.068 | 77.067 | 23.91 | 889.067 | 9.761 | 5.2511
2020-05-30 21:00:00 | 2.833 | 94.28 | 2.463 | 87.655 | 2.567 | 90.033 | 3.199 | 85.6 | 23.648 | 888.467 | 9.973 | 4.6301
2020-05-30 21:15:00 | 3.342 | 82.233 | 3.394 | 78.586 | 3.442 | 84.5 | 3.608 | 80.533 | 23.431 | 889.233 | 10.285 | 3.2103
2020-05-30 21:30:00 | 2.661 | 70.7 | 2.697 | 68.185 | 2.932 | 70.267 | 3.067 | 65.933 | 22.681 | 889.333 | 10.712 | 2.3619
2020-05-30 21:45:00 | 2.748 | 63.167 | 2.919 | 56.665 | 2.96 | 62.9 | 3.213 | 58.8 | 22.331 | 889.667 | 11.037 | 1.6784
2020-05-30 22:00:00 | 1.722 | 56.14 | 1.981 | 52.177 | 1.812 | 58.433 | 1.991 | 55.2 | 21.314 | 889.333 | 11.269 | 0.72123
2020-05-30 22:15:00 | 2.033 | 71.987 | 2.491 | 71.937 | 2.894 | 77.9 | 3.269 | 71.167 | 21.089 | 889.867 | 11.504 | 0.12435
2020-05-30 22:30:00 | 1.576 | 96.45 | 2.179 | 83.099 | 2.048 | 88.7 | 2.278 | 78.567 | 21.052 | 889.433 | 11.659 | 0.21246
2020-05-30 22:45:00 | 1.973 | 111.467 | 2.213 | 86.849 | 2.332 | 87.167 | 2.392 | 80.1 | 20.848 | 889.567 | 11.805 | 0.28778
2020-05-30 23:00:00 | 1.407 | 147.347 | 1.588 | 99.337 | 1.56 | 92.3 | 1.85 | 78.833 | 20.602 | 889.167 | 11.693 | 0.15988
2020-05-30 23:15:00 | 1.573 | 175.62 | 0.06 | 116.594 | 1.244 | 95.333 | 1.529 | 70.133 | 19.681 | 889.267 | 12.552 | 0.17906
2020-05-30 23:30:00 | 2.211 | 172.047 | 1.753 | 117.245 | 1.949 | 122.533 | 2.3 | 110 | 20.368 | 889.467 | 12.72 | 0.2352
2020-05-30 23:45:00 | 2.694 | 223.913 | 0 | 117.27 | 0 | 117 | 0.319 | 110 | 18.498 | 889.2 | 12.976 | 0.15561