## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-05-31 00:00:00 | 3.116 | 214.2 | 1.125 | 125.19 | 0.156 | 117.133 | 1.097 | 110 | 18.689 | 889.6 | 13.08 | 0.18759
2020-05-31 00:15:00 | 4.073 | 219.74 | 2.53 | 191.439 | 2.074 | 190.333 | 2.018 | 144.367 | 19.144 | 889.767 | 12.643 | 0.1748
2020-05-31 00:30:00 | 3.459 | 228.107 | 2.618 | 215.615 | 2.098 | 212.3 | 2.154 | 171 | 18.856 | 889.467 | 13.421 | 0.1748
2020-05-31 00:45:00 | 5.739 | 233.08 | 3.966 | 219.84 | 3.258 | 221.533 | 2.684 | 201.5 | 15.652 | 889.567 | 14.187 | 0.13288
2020-05-31 01:00:00 | 6.098 | 223.867 | 4.841 | 221.059 | 3.992 | 224.167 | 3.15 | 206.5 | 15.041 | 889.367 | 15.552 | 2.0564
2020-05-31 01:15:00 | 5.82 | 225.04 | 5.911 | 229.263 | 5.119 | 235.067 | 4.277 | 221.133 | 14.458 | 889.7 | 16.133 | 5.2781
2020-05-31 01:30:00 | 6.262 | 221.167 | 5.224 | 225.597 | 4.679 | 231.133 | 4.174 | 225.933 | 14.691 | 889.6 | 16.325 | 5.0706
2020-05-31 01:45:00 | 6.837 | 222.067 | 6.639 | 226.335 | 6.069 | 232.867 | 5.387 | 226.767 | 14.641 | 889.567 | 15.715 | 10.7715
2020-05-31 02:00:00 | 6.777 | 221.493 | 6.589 | 226.903 | 6.248 | 232.6 | 5.602 | 226.5 | 14.666 | 889.2 | 15.347 | 12.9209
2020-05-31 02:15:00 | 7.146 | 220.787 | 7.721 | 228.454 | 6.701 | 234.1 | 6.283 | 227.533 | 14.012 | 889.567 | 15.181 | 17.8885
2020-05-31 02:30:00 | 6.866 | 224.46 | 7.518 | 233.094 | 6.901 | 240.467 | 6.34 | 235.667 | 14.583 | 889.7 | 14.611 | 23.2789
2020-05-31 02:45:00 | 6.953 | 232.86 | 8.321 | 239.555 | 7.707 | 249.367 | 7.043 | 247.6 | 14.137 | 889.567 | 14.176 | 30.4066
2020-05-31 03:00:00 | 6.257 | 232.967 | 7.399 | 240.493 | 6.869 | 251.767 | 6.87 | 250.633 | 14.874 | 889.7 | 13.696 | 32.8616
2020-05-31 03:15:00 | 6.096 | 242.9 | 7.61 | 251.876 | 7.573 | 261.8 | 7.58 | 260.033 | 15.264 | 890.067 | 13.848 | 35.691
2020-05-31 03:30:00 | 6.186 | 244.393 | 7.123 | 255.698 | 7.227 | 268.533 | 7.398 | 268.9 | 15.478 | 889.2 | 13.873 | 30.8215
2020-05-31 03:45:00 | 5.765 | 250.9 | 6.919 | 261.612 | 7.247 | 271.6 | 7.53 | 271.8 | 15.811 | 889.133 | 13.755 | 27.0342
2020-05-31 04:00:00 | 5.825 | 243.433 | 6.562 | 252.721 | 6.602 | 264.867 | 6.796 | 264.267 | 15.951 | 889.4 | 14.021 | 23.863
2020-05-31 04:15:00 | 5.823 | 238.673 | 6.484 | 246.947 | 6.436 | 256.433 | 6.363 | 255.85 | 16.165 | 889.333 | 14.179 | 20.762
2020-05-31 04:30:00 | 6.068 | 232.88 | 7.007 | 240.085 | 6.795 | 249.467 | 6.51 | 248.767 | 16.07 | 889.2 | 14.533 | 26.0117
2020-05-31 04:45:00 | 5.615 | 235.827 | 6.97 | 243.087 | 6.85 | 251.9 | 6.911 | 249.483 | 15.718 | 889.6 | 14.843 | 26.5823
2020-05-31 05:00:00 | 5.89 | 232.467 | 7.223 | 238.034 | 7.042 | 247.533 | 6.778 | 244.067 | 15.918 | 889.7 | 15.197 | 25.6436
2020-05-31 05:15:00 | 6.306 | 225.627 | 7.356 | 231.547 | 6.926 | 241.567 | 6.639 | 238.8 | 15.122 | 889.567 | 15.781 | 23.7166
2020-05-31 05:30:00 | 6.063 | 224.373 | 7.718 | 228.738 | 7.224 | 236.033 | 6.653 | 232.867 | 15.357 | 889.733 | 16.021 | 24.818
2020-05-31 05:45:00 | 6.436 | 227.7 | 7.668 | 228.572 | 7.704 | 236.233 | 7.551 | 232 | 15.041 | 889.433 | 16.269 | 27.4527
2020-05-31 06:00:00 | 6.832 | 228.9 | 8.313 | 233.254 | 8.253 | 243.067 | 8.169 | 240 | 14.891 | 889.4 | 16.547 | 36.2304
2020-05-31 06:15:00 | 6.64 | 224.633 | 8.041 | 232.383 | 7.825 | 243.8 | 7.41 | 243.8 | 14.608 | 889.267 | 16.648 | 35.9326
2020-05-31 06:30:00 | 6.72 | 222.333 | 8.248 | 228.047 | 7.981 | 237.8 | 7.68 | 237.733 | 15.448 | 889.2 | 16.296 | 35.512
2020-05-31 06:45:00 | 5.762 | 223.647 | 7.271 | 228.558 | 7.669 | 241.167 | 7.635 | 239.7 | 15.59 | 889.367 | 16.293 | 32.4224
2020-05-31 07:00:00 | 4.696 | 219.867 | 6.29 | 229.692 | 7.016 | 241.5 | 7.052 | 240.533 | 15.504 | 889.5 | 16.659 | 29.2334
2020-05-31 07:15:00 | 5.459 | 232.413 | 7.003 | 233.149 | 7.856 | 241.933 | 8.083 | 237.7 | 16.664 | 889.9 | 16.925 | 37.0006
2020-05-31 07:30:00 | 6.456 | 236.167 | 8.088 | 233.959 | 9.045 | 242.267 | 9.256 | 237.2 | 17.789 | 889.567 | 16.275 | 46.6274
2020-05-31 07:45:00 | 5.664 | 235.44 | 7.1 | 232.704 | 8.094 | 238.867 | 8.559 | 233.167 | 18.214 | 889.667 | 15.536 | 44.9711
2020-05-31 08:00:00 | 7.91 | 242.7 | 8.582 | 237.885 | 9.156 | 244.1 | 9.363 | 239.467 | 20.71 | 889.467 | 14.285 | 52.513
2020-05-31 08:15:00 | 6.823 | 245.54 | 7.392 | 243.272 | 7.666 | 247.683 | 7.836 | 244.233 | 21.294 | 889.467 | 14.248 | 45.4258
2020-05-31 08:30:00 | 7.638 | 253.8 | 8.032 | 250.32 | 8.505 | 255.483 | 8.729 | 250.333 | 22.448 | 889.433 | 13.68 | 44.9348
2020-05-31 08:45:00 | 8.141 | 260.673 | 8.598 | 255.706 | 8.995 | 261.533 | 8.996 | 254.733 | 23.048 | 889.7 | 13.485 | 53.522
2020-05-31 09:00:00 | 8.439 | 262.533 | 9.006 | 258.491 | 9.048 | 262.95 | 9.283 | 256.05 | 22.464 | 889.933 | 13.861 | 49.2053
2020-05-31 09:15:00 | 8.078 | 273.427 | 8.694 | 268.864 | 8.812 | 273.3 | 8.789 | 268.783 | 22.798 | 889.967 | 13.679 | 47.3692
2020-05-31 09:30:00 | 8.255 | 287.053 | 8.762 | 281.923 | 8.516 | 286.533 | 8.734 | 282.467 | 23.231 | 889.8 | 13.684 | 59.829
2020-05-31 09:45:00 | 9.062 | 285.227 | 9.66 | 276.969 | 9.646 | 282.933 | 10.256 | 278.9 | 23.214 | 889.633 | 14.06 | 54.2219
2020-05-31 10:00:00 | 9.767 | 292.453 | 10.748 | 289.59 | 10.936 | 291.633 | 11.281 | 290.367 | 23.031 | 889.867 | 13.991 | 49.6437
2020-05-31 10:15:00 | 11.56 | 292.6 | 12.203 | 286.155 | 12.226 | 289.833 | 12.644 | 287.533 | 23.114 | 889.2 | 14.241 | 51.5722
2020-05-31 10:30:00 | 9.106 | 289.867 | 9.927 | 283.271 | 10.19 | 287.033 | 10.485 | 283.367 | 23.098 | 889.333 | 14.337 | 54.2823
2020-05-31 10:45:00 | 12.834 | 305.12 | 13.785 | 298.994 | 13.865 | 303.333 | 14.77 | 301 | 23.231 | 889.8 | 13.875 | 51.4123
2020-05-31 11:00:00 | 11.942 | 294.853 | 12.777 | 287.11 | 13.097 | 290.733 | 13.549 | 286.567 | 23.264 | 889.433 | 14.696 | 54.6582
2020-05-31 11:15:00 | 13.003 | 296.36 | 13.72 | 292.512 | 13.918 | 298.767 | 14.465 | 294.5 | 23.302 | 889.4 | 14.703 | 55.9472
2020-05-31 11:30:00 | 13.918 | 292.667 | 14.606 | 286.084 | 15.155 | 290.567 | 15.509 | 285.533 | 23.248 | 889.267 | 15.012 | 54.1608
2020-05-31 11:45:00 | 14.578 | 287.28 | 15.861 | 281.669 | 15.918 | 287.067 | 16.402 | 284.533 | 23.918 | 889.5 | 15.717 | 48.9652
2020-05-31 12:00:00 | 15.108 | 301.867 | 16.58 | 294.285 | 17.041 | 297.867 | 17.688 | 295.667 | 23.889 | 889.367 | 16.337 | 44.6897
2020-05-31 12:15:00 | 15.501 | 304.893 | 16.721 | 300.099 | 17.529 | 305.367 | 18.177 | 303.5 | 23.968 | 889.567 | 16.611 | 41.5873
2020-05-31 12:30:00 | 14.478 | 303.853 | 15.673 | 299.332 | 15.731 | 305 | 16.422 | 304.367 | 24.16 | 889.433 | 17.084 | 38.6157
2020-05-31 12:45:00 | 16.644 | 289.427 | 18.28 | 283.916 | 18.817 | 288.867 | 19.421 | 286.167 | 24.289 | 889.667 | 17.548 | 37.4149
2020-05-31 13:00:00 | 16.148 | 294.533 | 17.844 | 287.668 | 18.006 | 292.967 | 18.287 | 292.733 | 24.056 | 889.433 | 17.516 | 36.5082
2020-05-31 13:15:00 | 15.151 | 296.28 | 16.824 | 289.847 | 16.935 | 295.5 | 17.536 | 292.867 | 23.773 | 889.533 | 17.444 | 36.3171
2020-05-31 13:30:00 | 14.319 | 295.64 | 16.096 | 289.193 | 16.705 | 293.3 | 17.601 | 292.7 | 23.781 | 889.533 | 17.72 | 35.3358
2020-05-31 13:45:00 | 16.71 | 297.12 | 18.101 | 288.491 | 18.313 | 292.033 | 18.643 | 290.933 | 24.11 | 889.633 | 17.357 | 33.3732
2020-05-31 14:00:00 | 16.09 | 298.187 | 17.283 | 290.622 | 17.588 | 296.167 | 18.108 | 294.233 | 24.21 | 889.433 | 18.031 | 33.209
2020-05-31 14:15:00 | 16.727 | 297.907 | 17.719 | 289.465 | 18.238 | 294.433 | 18.929 | 292.7 | 24.91 | 889.7 | 17.375 | 33.0037
2020-05-31 14:30:00 | 16.966 | 297.467 | 17.888 | 289.806 | 18.766 | 294.267 | 19.01 | 291.933 | 24.868 | 889.367 | 14.483 | 33.0236
2020-05-31 14:45:00 | 16.669 | 285.08 | 17.974 | 277.035 | 18.395 | 280.467 | 18.454 | 278.867 | 25.035 | 889.367 | 14.108 | 33.1053
2020-05-31 15:00:00 | 15.342 | 303.4 | 16.234 | 296.573 | 16.73 | 300.933 | 17.539 | 299.2 | 25.023 | 889.467 | 13.909 | 33.1621
2020-05-31 15:15:00 | 14.298 | 291.827 | 15.219 | 283.636 | 15.744 | 287.6 | 16.037 | 286.1 | 24.898 | 890.033 | 14.657 | 33.1025
2020-05-31 15:30:00 | 12.075 | 296.853 | 13.006 | 291.022 | 13.297 | 294.967 | 13.654 | 292.8 | 24.227 | 889.667 | 14.417 | 32.907
2020-05-31 15:45:00 | 15.085 | 298.013 | 16.274 | 291.295 | 16.565 | 297.3 | 16.963 | 294.667 | 24.831 | 889.8 | 14.415 | 32.841
2020-05-31 16:00:00 | 13.43 | 303.333 | 14.276 | 296.275 | 14.878 | 300.267 | 15.102 | 298.1 | 25.056 | 889.567 | 13.825 | 33.2439
2020-05-31 16:15:00 | 15.117 | 311.04 | 16.47 | 302.59 | 17.232 | 308.233 | 17.662 | 304.567 | 25.298 | 889.3 | 13.461 | 32.8268
2020-05-31 16:30:00 | 12.469 | 298.253 | 13.475 | 291.445 | 13.577 | 296.533 | 14.127 | 294.033 | 25.056 | 889.6 | 12.925 | 32.7585
2020-05-31 16:45:00 | 14.456 | 301.853 | 15.281 | 293.21 | 15.775 | 298.567 | 16.246 | 296.433 | 25.127 | 889.3 | 12.76 | 32.6186
2020-05-31 17:00:00 | 14.158 | 321.04 | 14.969 | 316.887 | 15.299 | 322.033 | 15.769 | 319.133 | 25.381 | 889.367 | 13.375 | 33.2346
2020-05-31 17:15:00 | 13.895 | 313.6 | 14.459 | 305.269 | 15.079 | 310.133 | 15.731 | 306.467 | 25.289 | 889.867 | 13.388 | 33.0136
2020-05-31 17:30:00 | 12.919 | 300.8 | 13.743 | 294.851 | 14.342 | 300.267 | 15.001 | 299.6 | 25.41 | 889.7 | 13.971 | 32.8339
2020-05-31 17:45:00 | 13.076 | 299.28 | 13.793 | 294.345 | 14.31 | 300.8 | 14.745 | 298.7 | 25.323 | 889.567 | 13.688 | 30.8024
2020-05-31 18:00:00 | 14.546 | 305.213 | 15.749 | 301.105 | 16.349 | 304.533 | 16.673 | 302.433 | 24.781 | 889.267 | 13.488 | 30.3852
2020-05-31 18:15:00 | 13.127 | 299.227 | 13.479 | 290.712 | 13.722 | 296.967 | 14.326 | 293.933 | 24.831 | 889.567 | 13.609 | 35.8879
2020-05-31 18:30:00 | 13.132 | 304.96 | 13.897 | 298.554 | 14.462 | 302.933 | 15.166 | 301.733 | 25.218 | 889.2 | 12.719 | 41.4459
2020-05-31 18:45:00 | 12.476 | 307.907 | 13.391 | 301.463 | 14.022 | 308.3 | 14.4 | 303.6 | 25.452 | 889.267 | 13.72 | 42.6354
2020-05-31 19:00:00 | 13.072 | 306.24 | 14.237 | 298.825 | 14.77 | 304.367 | 15.664 | 301.667 | 24.91 | 889.367 | 14.107 | 46.3751
2020-05-31 19:15:00 | 10.432 | 310.067 | 11.166 | 301.231 | 11.861 | 305.3 | 12.254 | 305.9 | 25.323 | 889.567 | 14.165 | 46.8455
2020-05-31 19:30:00 | 12.3 | 316.973 | 13.323 | 309.238 | 13.661 | 314.033 | 14.21 | 311.3 | 24.873 | 889.733 | 14.752 | 43.0973
2020-05-31 19:45:00 | 13.049 | 304.973 | 14.17 | 297.146 | 14.568 | 302.133 | 15.678 | 300.667 | 24.468 | 889.133 | 17.099 | 45.0279
2020-05-31 20:00:00 | 11.192 | 314.427 | 11.678 | 309.388 | 12.274 | 314.733 | 12.928 | 311.967 | 25.014 | 889.3 | 16.364 | 47.8531
2020-05-31 20:15:00 | 11.351 | 317.48 | 12.589 | 308.659 | 13.442 | 315.333 | 14.375 | 312.5 | 24.61 | 889.533 | 16.765 | 47.8673
2020-05-31 20:30:00 | 12.018 | 312.107 | 13.144 | 307.508 | 13.651 | 314.233 | 14.437 | 312.967 | 24.435 | 890.033 | 17.637 | 42.3995
2020-05-31 20:45:00 | 11.658 | 319.16 | 13.322 | 312.299 | 13.824 | 315.133 | 14.061 | 314.767 | 24.218 | 889.633 | 17.065 | 45.1594
2020-05-31 21:00:00 | 9.226 | 305.56 | 10.031 | 297.376 | 10.734 | 305.2 | 11.221 | 303.167 | 24.373 | 889.5 | 17.42 | 56.4055
2020-05-31 21:15:00 | 7.175 | 315.707 | 7.97 | 308.335 | 8.825 | 314 | 9.4 | 312.433 | 23.898 | 889.933 | 17.595 | 41.3479
2020-05-31 21:30:00 | 6.383 | 343.613 | 7.548 | 337.537 | 7.895 | 341.2 | 8.239 | 338.633 | 23.481 | 889.167 | 14.233 | 32.1524
2020-05-31 21:45:00 | 4.474 | 340.653 | 5.722 | 336.296 | 6.472 | 341.9 | 6.865 | 340.067 | 22.373 | 889.4 | 13.893 | 34.7751
2020-05-31 22:00:00 | 6.085 | 328.8 | 6.939 | 322.913 | 7.575 | 327.167 | 8.072 | 325.067 | 22.498 | 889.667 | 12.765 | 30.7228
2020-05-31 22:15:00 | 6.075 | 327.36 | 7.143 | 323.888 | 7.848 | 332.7 | 8.256 | 330.8 | 22.118 | 889.333 | 12.687 | 32.1894
2020-05-31 22:30:00 | 4.212 | 304.733 | 5.658 | 305.608 | 6.188 | 315.133 | 6.652 | 315.167 | 21.552 | 889.733 | 12.875 | 21.1166
2020-05-31 22:45:00 | 4.588 | 304.88 | 5.787 | 305.924 | 6.787 | 316.033 | 7.472 | 315.8 | 21.085 | 889.533 | 13.069 | 19.7047
2020-05-31 23:00:00 | 4.248 | 296.267 | 5.622 | 297.174 | 6.4 | 305.567 | 6.809 | 305.4 | 21.035 | 889.5 | 12.669 | 21.8918
2020-05-31 23:15:00 | 4.445 | 296.053 | 5.615 | 293.386 | 6.404 | 300.333 | 7.352 | 300.333 | 20.581 | 889.467 | 13.161 | 28.1647
2020-05-31 23:30:00 | 4.896 | 305.147 | 6.03 | 302.401 | 6.817 | 309.4 | 7.633 | 307.567 | 20.644 | 889.333 | 13.956 | 33.5075
2020-05-31 23:45:00 | 4.435 | 300.373 | 5.535 | 299.391 | 6.235 | 306.2 | 7.094 | 305.567 | 20.331 | 889.5 | 14.373 | 26.0778