## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-01 00:00:00 | 3.612 | 296.067 | 4.829 | 294.144 | 5.942 | 301.067 | 6.741 | 299.233 | 19.894 | 889.3 | 14.841 | 19.8234
2020-06-01 00:15:00 | 3.392 | 264.647 | 4.402 | 269.256 | 4.983 | 279.067 | 5.422 | 277.833 | 19.364 | 889.5 | 15.241 | 11.6142
2020-06-01 00:30:00 | 4.696 | 241.873 | 5.53 | 250.12 | 5.901 | 260.733 | 6.11 | 259.583 | 18.435 | 889.467 | 15.796 | 15.6779
2020-06-01 00:45:00 | 5.932 | 237.86 | 6.14 | 243.756 | 6.272 | 253.833 | 6.39 | 253.35 | 17.931 | 889.233 | 16.128 | 26.0032
2020-06-01 01:00:00 | 5.964 | 237.82 | 6.851 | 243.437 | 6.956 | 255.267 | 6.854 | 253.7 | 17.864 | 889.567 | 16.341 | 27.2772
2020-06-01 01:15:00 | 5.687 | 237.793 | 6.442 | 242.718 | 6.517 | 251.7 | 6.601 | 252.267 | 17.373 | 888.933 | 16.893 | 21.7846
2020-06-01 01:30:00 | 5.514 | 219.187 | 5.684 | 226.218 | 5.698 | 234.5 | 5.389 | 233.233 | 17.373 | 889.5 | 17.019 | 14.0323
2020-06-01 01:45:00 | 6.993 | 223.18 | 7.803 | 224.083 | 7.307 | 235.467 | 6.809 | 234.2 | 15.656 | 889.667 | 18.163 | 23.3208
2020-06-01 02:00:00 | 6.795 | 220.367 | 7.989 | 223.053 | 7.863 | 230.6 | 7.644 | 227.567 | 15.074 | 889.167 | 18.76 | 34.1093
2020-06-01 02:15:00 | 7.899 | 227.387 | 9.01 | 224.752 | 8.931 | 230.6 | 8.755 | 226.233 | 14.979 | 889.933 | 19.373 | 49.5769
2020-06-01 02:30:00 | 6.349 | 225.193 | 7.53 | 226.463 | 7.857 | 232.4 | 7.894 | 227.333 | 15.858 | 889.567 | 19.952 | 41.7515
2020-06-01 02:45:00 | 5.782 | 221.907 | 8.124 | 227.16 | 8.648 | 236.3 | 8.638 | 232.867 | 15.647 | 889.767 | 20.701 | 38.3848
2020-06-01 03:00:00 | 6.707 | 221.773 | 7.227 | 226.724 | 7.633 | 235.4 | 7.661 | 234.067 | 15.614 | 889.25 | 20.965 | 38.5916
2020-06-01 03:15:00 | 6.676 | 226.22 | 7.752 | 235.215 | 8.072 | 245.4 | 8.043 | 242.367 | 15.336 | 890.017 | 22.075 | 37.3971
2020-06-01 03:30:00 | 5.704 | 233.273 | 7.233 | 241.778 | 7.156 | 254.1 | 6.988 | 252.85 | 15.19 | 890.05 | 22.592 | 29.7038
2020-06-01 03:45:00 | 6.714 | 222.367 | 6.687 | 231.781 | 6.262 | 246.1 | 6.048 | 248.433 | 14.624 | 890.15 | 23.211 | 25.0823
2020-06-01 04:00:00 | 6.344 | 223.567 | 7.754 | 223.744 | 7.446 | 234.367 | 6.819 | 233.433 | 14.624 | 889.95 | 23.248 | 28.0184
2020-06-01 04:15:00 | 5.726 | 224.933 | 6.699 | 230.104 | 6.616 | 241.733 | 6.296 | 241.2 | 14.691 | 889.267 | 23.253 | 26.3556
2020-06-01 04:30:00 | 6.546 | 219.167 | 8.023 | 220.706 | 7.478 | 230.6 | 6.982 | 231.2 | 14.691 | 889.75 | 23.248 | 30.3156
2020-06-01 04:45:00 | 7.421 | 216.267 | 8.737 | 215.297 | 8.46 | 223.267 | 7.79 | 223.867 | 14.841 | 889.8 | 22.992 | 27.1614
2020-06-01 05:00:00 | 6.414 | 216.727 | 7.962 | 216.182 | 7.82 | 220.867 | 7.331 | 218 | 15.155 | 889.683 | 22.944 | 26.3173
2020-06-01 05:15:00 | 5.42 | 223.787 | 7.144 | 222.822 | 7.042 | 228.133 | 6.978 | 223.033 | 14.591 | 890.2 | 23.717 | 22.8262
2020-06-01 05:30:00 | 5.492 | 223.587 | 6.473 | 230.456 | 6.49 | 238.4 | 6.293 | 233.9 | 14.574 | 889.333 | 24.347 | 15.9885
2020-06-01 05:45:00 | 6.787 | 221.287 | 6.979 | 224.674 | 6.831 | 232.333 | 6.176 | 228.8 | 14.37 | 889.817 | 24.592 | 17.3456
2020-06-01 06:00:00 | 6.06 | 222.34 | 6.425 | 226.219 | 6.587 | 234.567 | 6.21 | 230 | 14.291 | 889.55 | 24.821 | 14.0088
2020-06-01 06:15:00 | 6.342 | 229.833 | 6.08 | 231.393 | 5.97 | 238.333 | 5.599 | 233.1 | 14.591 | 889.683 | 24.629 | 13.6955
2020-06-01 06:30:00 | 6.42 | 228.6 | 7.029 | 229.609 | 7.016 | 236.467 | 6.687 | 231.6 | 15.041 | 890.067 | 23.979 | 19.3402
2020-06-01 06:45:00 | 5.906 | 231.233 | 6.414 | 235.716 | 6.259 | 242.867 | 5.921 | 236.433 | 15.142 | 889.483 | 23.349 | 17.2874
2020-06-01 07:00:00 | 5.496 | 224.627 | 6.726 | 227.555 | 6.625 | 237.033 | 6.294 | 232.933 | 15.288 | 890.167 | 22.667 | 17.5595
2020-06-01 07:15:00 | 4.696 | 224.953 | 6.21 | 224.533 | 6.196 | 231.567 | 5.959 | 228.333 | 16.414 | 889.317 | 21.925 | 16.2841
2020-06-01 07:30:00 | 5.015 | 224.147 | 6.814 | 224.098 | 7.023 | 231.867 | 6.705 | 229.067 | 17.923 | 889.583 | 20.304 | 20.2192
2020-06-01 07:45:00 | 4.979 | 220.833 | 6.053 | 219.791 | 6.441 | 227.133 | 6.54 | 223.833 | 19.127 | 889.067 | 19.165 | 16.0538
2020-06-01 08:00:00 | 4.884 | 233.173 | 5.325 | 228.075 | 5.843 | 233.233 | 6.141 | 229.933 | 20.744 | 889.3 | 17.451 | 11.8871
2020-06-01 08:15:00 | 4.529 | 232.173 | 4.526 | 232.673 | 4.548 | 238.633 | 4.609 | 234.833 | 22.018 | 889.7 | 16.552 | 8.8203
2020-06-01 08:30:00 | 4.208 | 252.533 | 4.342 | 247.909 | 4.562 | 253.733 | 4.443 | 249.717 | 22.464 | 889.467 | 15.747 | 8.0017
2020-06-01 08:45:00 | 4.253 | 278.68 | 4.44 | 272.289 | 4.552 | 275.533 | 4.742 | 265.367 | 23.031 | 889.667 | 14.973 | 8.0159
2020-06-01 09:00:00 | 4.097 | 302.333 | 4.022 | 293.555 | 3.734 | 297.5 | 3.991 | 289.633 | 22.314 | 888.9 | 15.373 | 6.2501
2020-06-01 09:15:00 | 3.746 | 301.12 | 3.945 | 291.029 | 3.935 | 297.933 | 4.235 | 299.033 | 22.094 | 889.133 | 15.477 | 5.3683
2020-06-01 09:30:00 | 3.677 | 313.293 | 3.835 | 309.45 | 3.767 | 317.833 | 4.055 | 322.867 | 22.306 | 889.967 | 15.223 | 4.4233
2020-06-01 09:45:00 | 3.513 | 313.4 | 3.433 | 309.01 | 3.667 | 314.167 | 4.14 | 311.367 | 22.514 | 889.9 | 14.564 | 4.8155
2020-06-01 10:00:00 | 5.118 | 333.56 | 5.353 | 323.69 | 5.745 | 325.8 | 5.98 | 326.4 | 23.081 | 889.167 | 13.949 | 9.2224
2020-06-01 10:15:00 | 6.65 | 314.92 | 7.149 | 307.984 | 7.128 | 312.633 | 7.37 | 311.867 | 22.931 | 889.333 | 13.783 | 17.2952
2020-06-01 10:30:00 | 4.035 | 303.867 | 4.157 | 302.029 | 4.263 | 308.767 | 4.934 | 302.867 | 23.214 | 889.567 | 13.713 | 14.9063
2020-06-01 10:45:00 | 6.576 | 290.827 | 6.566 | 287.051 | 6.57 | 293.7 | 6.907 | 289.833 | 23.448 | 889.7 | 13.207 | 19.1142
2020-06-01 11:00:00 | 4.981 | 300.92 | 5.399 | 295.073 | 5.673 | 297.467 | 6.054 | 294.7 | 24.618 | 889.4 | 12.631 | 23.2313
2020-06-01 11:15:00 | 7.334 | 309.373 | 7.577 | 303.593 | 7.639 | 304.333 | 8.195 | 300.733 | 24.689 | 889.267 | 12.26 | 36.079
2020-06-01 11:30:00 | 7.654 | 306.84 | 8.084 | 299.13 | 8.343 | 305.733 | 8.628 | 305.167 | 24.739 | 889.4 | 12.107 | 40.4199
2020-06-01 11:45:00 | 7.907 | 302.6 | 8.389 | 292.779 | 8.796 | 297.3 | 8.953 | 293.067 | 25.006 | 889.667 | 11.852 | 42.1032
2020-06-01 12:00:00 | 7.646 | 305.533 | 7.956 | 299.874 | 8.23 | 305.533 | 8.906 | 306.133 | 25.868 | 888.8 | 11.92 | 42.5452
2020-06-01 12:15:00 | 9.328 | 293.667 | 9.769 | 286.386 | 9.993 | 289.9 | 10.288 | 285.767 | 25.985 | 889.233 | 11.66 | 51.698
2020-06-01 12:30:00 | 6.993 | 311.76 | 7.261 | 305.703 | 7.683 | 313.233 | 8.002 | 308.9 | 25.927 | 889.667 | 11.655 | 44.8815
2020-06-01 12:45:00 | 8.402 | 319.987 | 8.835 | 311.252 | 9.334 | 317.4 | 9.85 | 315.1 | 26.602 | 889.6 | 11.468 | 47.0985
2020-06-01 13:00:00 | 8.339 | 317.427 | 8.484 | 312.322 | 9.2 | 317.567 | 9.439 | 314.667 | 26.56 | 889.667 | 11.241 | 42.0357
2020-06-01 13:15:00 | 9.571 | 312.36 | 9.802 | 306.623 | 10.033 | 312.567 | 10.499 | 310.833 | 27.052 | 889.467 | 10.501 | 58.1009
2020-06-01 13:30:00 | 8.927 | 311.88 | 9.025 | 302.646 | 9.281 | 308.767 | 9.904 | 305.033 | 26.202 | 889.233 | 10.209 | 52.6686
2020-06-01 13:45:00 | 9.087 | 281.187 | 9.244 | 277.736 | 9.296 | 284.1 | 9.488 | 285.433 | 26.927 | 888.733 | 9.868 | 33.5501
2020-06-01 14:00:00 | 9.651 | 282.013 | 10.017 | 276.362 | 10.378 | 281.067 | 10.567 | 281.833 | 26.752 | 889.167 | 10.188 | 46.3154
2020-06-01 14:15:00 | 8.236 | 287.527 | 8.597 | 283.654 | 8.77 | 289.367 | 8.978 | 286.467 | 26.76 | 889.067 | 10.018 | 51.0137
2020-06-01 14:30:00 | 9.32 | 294.333 | 9.438 | 287.591 | 9.851 | 294.267 | 10.242 | 292.167 | 27.364 | 888.933 | 8.994 | 48.2688
2020-06-01 14:45:00 | 9.016 | 332.693 | 9.525 | 323.607 | 9.986 | 326.3 | 10.469 | 325.3 | 27.527 | 889.067 | 9.213 | 48.8273
2020-06-01 15:00:00 | 10.476 | 316.96 | 10.442 | 311.618 | 10.795 | 314.9 | 10.99 | 316.7 | 27.873 | 888.6 | 9.313 | 51.2866
2020-06-01 15:15:00 | 10.575 | 295.96 | 11.134 | 291.459 | 11.685 | 294.767 | 12.116 | 289.833 | 27.923 | 888.933 | 8.828 | 60.2248
2020-06-01 15:30:00 | 11.049 | 325.173 | 11.391 | 316.473 | 11.336 | 321.133 | 11.581 | 320.2 | 28.123 | 889.067 | 8.131 | 49.8598
2020-06-01 15:45:00 | 10.417 | 300.4 | 11.017 | 294.98 | 11.399 | 299.967 | 11.578 | 296.4 | 28.539 | 888.867 | 8.879 | 55.6352
2020-06-01 16:00:00 | 7.692 | 300.08 | 8.004 | 293.039 | 8.277 | 300.2 | 8.857 | 297.9 | 28.689 | 889.2 | 8.916 | 48.6219
2020-06-01 16:15:00 | 9.337 | 297.707 | 9.586 | 290.712 | 9.776 | 293.367 | 10.205 | 289.2 | 28.394 | 889.267 | 8.589 | 54.4237
2020-06-01 16:30:00 | 5.626 | 275.653 | 5.787 | 273.985 | 5.836 | 277.517 | 6.02 | 279.35 | 28.56 | 888.933 | 9.07 | 48.0066
2020-06-01 16:45:00 | 11.284 | 291.827 | 11.845 | 284.775 | 12.319 | 290.067 | 12.678 | 287.933 | 28.618 | 889.067 | 8.464 | 58.3219
2020-06-01 17:00:00 | 11.046 | 311.053 | 11.439 | 304.506 | 11.602 | 310.333 | 12.085 | 308.167 | 28.998 | 889.067 | 8.299 | 65.1277
2020-06-01 17:15:00 | 11.177 | 297.053 | 11.645 | 293.382 | 12.117 | 295.767 | 12.571 | 292.467 | 29.531 | 888.867 | 8.28 | 72.7947
2020-06-01 17:30:00 | 11.905 | 308.08 | 12.602 | 299.246 | 12.524 | 304.233 | 12.96 | 299.633 | 29.381 | 888.933 | 7.913 | 56.5455
2020-06-01 17:45:00 | 11.816 | 309.973 | 12.687 | 301.58 | 13.183 | 305.4 | 13.794 | 303.8 | 28.931 | 889.133 | 7.727 | 70.9636
2020-06-01 18:00:00 | 8.436 | 293.933 | 9.101 | 287.393 | 9.365 | 294.467 | 9.733 | 290.033 | 28.914 | 888.933 | 8.088 | 63.8188
2020-06-01 18:15:00 | 9.806 | 305.6 | 10.195 | 298.826 | 10.475 | 305.967 | 10.661 | 304.833 | 28.644 | 889 | 8.175 | 60.8835
2020-06-01 18:30:00 | 10.179 | 300.853 | 10.957 | 294.385 | 11.383 | 297.267 | 11.821 | 296.233 | 28.648 | 888.933 | 7.358 | 70.722
2020-06-01 18:45:00 | 9.766 | 305.72 | 10.425 | 297.484 | 10.805 | 304.167 | 11.273 | 300.833 | 28.727 | 888.867 | 7.563 | 71.8688
2020-06-01 19:00:00 | 7.383 | 309.533 | 7.708 | 303.232 | 8.059 | 309.9 | 8.447 | 309.533 | 28.539 | 888.933 | 7.241 | 60.2305
2020-06-01 19:15:00 | 9.73 | 295.653 | 10.697 | 291.667 | 10.851 | 297.9 | 11.324 | 295.667 | 28.577 | 889.067 | 7.923 | 62.495
2020-06-01 19:30:00 | 8.286 | 290.413 | 8.549 | 287.694 | 8.603 | 292.967 | 8.743 | 292.333 | 28.656 | 888.867 | 8.129 | 56.0552
2020-06-01 19:45:00 | 9.107 | 300.227 | 10.064 | 297.428 | 10.214 | 302 | 10.784 | 301.733 | 28.464 | 889.267 | 8.283 | 68.996
2020-06-01 20:00:00 | 7.682 | 286.107 | 8.597 | 277.354 | 8.822 | 283 | 9.152 | 279.867 | 28.206 | 888.533 | 8.503 | 64.8513
2020-06-01 20:15:00 | 10.133 | 294.653 | 10.825 | 290.685 | 11.439 | 297.5 | 11.853 | 295.267 | 28.356 | 888.8 | 8.681 | 71.4709
2020-06-01 20:30:00 | 9.54 | 291.827 | 10.531 | 285.352 | 10.908 | 290.267 | 11.185 | 287.967 | 27.939 | 889 | 8.961 | 72.9226
2020-06-01 20:45:00 | 8.862 | 294.827 | 9.889 | 289.816 | 10.23 | 294.8 | 10.909 | 292.067 | 27.394 | 888.933 | 9.136 | 63.6554
2020-06-01 21:00:00 | 10.294 | 287.053 | 11.26 | 281.29 | 11.709 | 285.467 | 12.085 | 282.433 | 27.623 | 889 | 9.217 | 70.9344
2020-06-01 21:15:00 | 8.231 | 288.307 | 9.633 | 282.202 | 10.024 | 287.5 | 10.584 | 287.767 | 26.914 | 888.933 | 9.583 | 61.6559
2020-06-01 21:30:00 | 8.061 | 288.08 | 9.271 | 283.759 | 9.997 | 289.233 | 10.662 | 286.233 | 26.064 | 889 | 10.035 | 55.621
2020-06-01 21:45:00 | 6.902 | 285.067 | 8.074 | 279.689 | 8.969 | 285.333 | 9.769 | 283.3 | 25.835 | 888.767 | 10.221 | 53.3486
2020-06-01 22:00:00 | 6.668 | 280.947 | 8.254 | 276.352 | 8.58 | 284.733 | 8.885 | 280.2 | 25.373 | 889.6 | 10.443 | 51.0592
2020-06-01 22:15:00 | 6.545 | 279.613 | 8.081 | 275.647 | 8.529 | 281.833 | 9.116 | 279.367 | 24.948 | 889.433 | 10.789 | 45.0755
2020-06-01 22:30:00 | 6.42 | 278.467 | 7.708 | 276.075 | 8.53 | 281.2 | 8.888 | 279.767 | 24.923 | 889.5 | 11.124 | 39.1075
2020-06-01 22:45:00 | 5.614 | 271.847 | 7.28 | 270.1 | 7.86 | 278.567 | 8.389 | 275.9 | 24.194 | 889.533 | 11.473 | 30.602
2020-06-01 23:00:00 | 5.546 | 275.173 | 6.907 | 272.359 | 7.558 | 280.033 | 7.985 | 278.267 | 24.098 | 889.367 | 11.832 | 28.3594
2020-06-01 23:15:00 | 5.222 | 272.827 | 6.66 | 271.972 | 7.319 | 279.667 | 7.861 | 278.167 | 23.581 | 889.633 | 11.953 | 25.8469
2020-06-01 23:30:00 | 5.092 | 266.333 | 6.415 | 267.076 | 6.902 | 274.967 | 7.343 | 272.933 | 23.298 | 889.6 | 12.543 | 24.4335
2020-06-01 23:45:00 | 4.81 | 248.52 | 6.223 | 259.135 | 6.737 | 268.533 | 6.895 | 267.367 | 22.485 | 889.6 | 13.035 | 22.9861