## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-02 00:00:00 | 5.518 | 242.747 | 6.371 | 252.366 | 6.893 | 265.067 | 7.053 | 264.433 | 20.877 | 889.5 | 13.797 | 23.9582
2020-06-02 00:15:00 | 4.6 | 238.567 | 6.15 | 252.103 | 6.306 | 264.8 | 6.458 | 266.867 | 20.439 | 889.733 | 14.4 | 20.2419
2020-06-02 00:30:00 | 5.184 | 244.187 | 5.936 | 252.305 | 5.847 | 264.267 | 6.021 | 265.033 | 19.985 | 889.633 | 14.896 | 17.8835
2020-06-02 00:45:00 | 5.387 | 243.7 | 6.229 | 248.35 | 6.119 | 257 | 6.08 | 257.217 | 19.739 | 889.8 | 15.256 | 18.5827
2020-06-02 01:00:00 | 5.213 | 241.333 | 6.008 | 245.164 | 5.778 | 254.133 | 5.687 | 252.367 | 19.214 | 889.4 | 15.568 | 16.9115
2020-06-02 01:15:00 | 5.605 | 226.64 | 6.393 | 234.105 | 6.143 | 243.5 | 5.684 | 241.933 | 19.194 | 889.1 | 15.979 | 19.4454
2020-06-02 01:30:00 | 5.696 | 218.567 | 6.935 | 222.951 | 6.995 | 232.833 | 6.382 | 230.633 | 18.773 | 889.133 | 16.152 | 21.7092
2020-06-02 01:45:00 | 5.89 | 220.96 | 6.856 | 226.12 | 6.805 | 234.4 | 6.599 | 230.067 | 18.339 | 889.433 | 16.653 | 21.9459
2020-06-02 02:00:00 | 5.988 | 223.653 | 7.253 | 228.969 | 7.176 | 236.3 | 6.876 | 232.367 | 17.714 | 889.067 | 16.787 | 28.9236
2020-06-02 02:15:00 | 6.821 | 228.22 | 8.037 | 230.068 | 7.81 | 236.333 | 7.58 | 232 | 17.668 | 889.267 | 16.741 | 39.7498
2020-06-02 02:30:00 | 6.789 | 224.413 | 8.51 | 225.491 | 8.94 | 232.733 | 8.528 | 229.267 | 17.806 | 889.633 | 17.005 | 46.0397
2020-06-02 02:45:00 | 6.88 | 223.447 | 8.566 | 228.661 | 8.57 | 236.7 | 8.336 | 234.433 | 17.614 | 889.6 | 17.288 | 47.2243
2020-06-02 03:00:00 | 7.254 | 228.133 | 9.078 | 229.935 | 9.061 | 238.667 | 8.747 | 234.867 | 17.639 | 889.5 | 17.355 | 50.8389
2020-06-02 03:15:00 | 7.377 | 233.12 | 9.165 | 234.916 | 9.379 | 243.567 | 9.254 | 240.667 | 18.327 | 889.933 | 17.04 | 55.0398
2020-06-02 03:30:00 | 7.176 | 233.793 | 9.173 | 236.445 | 9.591 | 244.967 | 9.492 | 241.867 | 17.827 | 889.3 | 16.893 | 53.3543
2020-06-02 03:45:00 | 7.07 | 229.1 | 9.372 | 230.694 | 9.719 | 239.7 | 9.498 | 237.133 | 17.944 | 889.433 | 16.925 | 53.0395
2020-06-02 04:00:00 | 6.994 | 223.713 | 9.098 | 228.435 | 9.343 | 237.133 | 9.187 | 233.433 | 17.481 | 889.3 | 17.333 | 49.0192
2020-06-02 04:15:00 | 5.79 | 221 | 7.795 | 226.277 | 8.219 | 237 | 8.166 | 234.9 | 17.323 | 889.233 | 17.696 | 40.5734
2020-06-02 04:30:00 | 6.219 | 218.153 | 7.98 | 224.187 | 8.46 | 235.9 | 8.277 | 234.833 | 16.814 | 889.467 | 18.272 | 41.2711
2020-06-02 04:45:00 | 6.464 | 214.967 | 9.007 | 217.664 | 9.37 | 228.133 | 9.075 | 227.367 | 16.293 | 889.6 | 18.771 | 54.639
2020-06-02 05:00:00 | 8.186 | 217 | 10.761 | 215.363 | 10.658 | 221.933 | 10.371 | 219.733 | 16.348 | 889.367 | 18.907 | 69.9802
2020-06-02 05:15:00 | 8.005 | 219.087 | 10.771 | 217.538 | 10.99 | 222.667 | 10.855 | 219.967 | 15.922 | 889.667 | 19.019 | 81.4132
2020-06-02 05:30:00 | 8.574 | 224.127 | 11.258 | 220.621 | 11.554 | 224.367 | 11.566 | 220.4 | 16.348 | 888.8 | 18.672 | 86.7041
2020-06-02 05:45:00 | 7.692 | 224.84 | 10.043 | 223.103 | 11.06 | 228.7 | 11.131 | 223.833 | 16.498 | 889.533 | 18.653 | 84.5439
2020-06-02 06:00:00 | 8.776 | 228.34 | 11.085 | 226.527 | 11.694 | 233.533 | 11.526 | 229.133 | 16.364 | 889.333 | 18.749 | 88.5245
2020-06-02 06:15:00 | 8.612 | 227.887 | 11.001 | 229.495 | 11.331 | 237 | 11.192 | 233.6 | 16.414 | 889.467 | 18.459 | 83.2692
2020-06-02 06:30:00 | 7.879 | 229.447 | 10.496 | 230.905 | 10.906 | 240 | 10.556 | 236.767 | 16.831 | 889.867 | 17.877 | 78.8601
2020-06-02 06:45:00 | 8.548 | 230.687 | 10.63 | 232.361 | 11.088 | 242.233 | 10.843 | 238.733 | 17.748 | 889.167 | 17.213 | 83.0247
2020-06-02 07:00:00 | 7.509 | 234.267 | 9.419 | 235.022 | 10.1 | 244.433 | 10.182 | 241.133 | 18.839 | 889.4 | 16.347 | 72.3101
2020-06-02 07:15:00 | 6.691 | 236.413 | 8.23 | 232.729 | 9.02 | 241.467 | 9.006 | 239 | 19.752 | 889.633 | 15.232 | 58.0625
2020-06-02 07:30:00 | 7.536 | 243.18 | 8.575 | 239.556 | 9.288 | 248.533 | 9.247 | 246.667 | 20.723 | 889.2 | 14.696 | 57.0123
2020-06-02 07:45:00 | 7.862 | 240.273 | 8.736 | 236.784 | 9.162 | 243.133 | 9.201 | 238.233 | 21.918 | 889.567 | 14.163 | 62.9228
2020-06-02 08:00:00 | 7.977 | 241.167 | 8.737 | 237.771 | 9.149 | 241.667 | 8.97 | 239.633 | 22.381 | 889.4 | 14.269 | 54.3534
2020-06-02 08:15:00 | 6.786 | 254.54 | 7.134 | 249.678 | 7.488 | 254.283 | 7.39 | 250.233 | 23.756 | 889.667 | 14.616 | 40.1484
2020-06-02 08:30:00 | 6.314 | 266.073 | 6.74 | 260.442 | 6.908 | 268.633 | 7.04 | 264.633 | 24.602 | 889.433 | 15.104 | 38.1553
2020-06-02 08:45:00 | 7.564 | 276.24 | 8.089 | 266.507 | 8.346 | 272.133 | 8.7 | 265.867 | 24.56 | 889.433 | 15.411 | 52.4036
2020-06-02 09:00:00 | 9.497 | 269.453 | 10.184 | 265.213 | 10.25 | 270.6 | 10.418 | 264.95 | 24.748 | 889.433 | 15.577 | 71.37
2020-06-02 09:15:00 | 9.49 | 278.787 | 10.446 | 273.976 | 10.687 | 279.3 | 10.917 | 275.033 | 24.702 | 889.167 | 15.569 | 66.3044
2020-06-02 09:30:00 | 8.493 | 278.093 | 8.959 | 274.56 | 9.049 | 280 | 9.043 | 277.167 | 24.931 | 889.4 | 15.468 | 55.562
2020-06-02 09:45:00 | 9.431 | 302.16 | 10.06 | 294.513 | 10.184 | 300 | 10.586 | 298.433 | 25.385 | 889.167 | 18.236 | 62.4041
2020-06-02 10:00:00 | 9.314 | 297.427 | 9.961 | 290.457 | 10.075 | 293.8 | 10.494 | 292.1 | 25.71 | 889.4 | 18.433 | 73.8044
2020-06-02 10:15:00 | 11.177 | 299.173 | 12.056 | 290.346 | 12.662 | 293.2 | 13.161 | 293.433 | 25.689 | 889.767 | 17.96 | 82.2381
2020-06-02 10:30:00 | 10.982 | 299.147 | 11.685 | 292.07 | 12.079 | 295.8 | 12.332 | 290.9 | 25.61 | 889.333 | 17.975 | 80.0517
2020-06-02 10:45:00 | 9.887 | 288.56 | 10.571 | 282.219 | 11.053 | 289.7 | 11.847 | 285.483 | 26.094 | 889.533 | 17.381 | 67.6395
2020-06-02 11:00:00 | 8.719 | 286.2 | 9.322 | 280.514 | 9.089 | 286.2 | 9.474 | 283.6 | 26.068 | 889.733 | 16.985 | 55.7994
2020-06-02 11:15:00 | 7.599 | 285.707 | 8.108 | 277.078 | 8.117 | 282.6 | 8.245 | 278.967 | 26.402 | 889.267 | 16.101 | 44.9377
2020-06-02 11:30:00 | 6.785 | 298.613 | 7.355 | 296.02 | 7.54 | 297.433 | 7.67 | 296.533 | 26.802 | 889.633 | 16.44 | 34.6408
2020-06-02 11:45:00 | 6.414 | 275.58 | 7.084 | 268.035 | 6.922 | 275.667 | 6.92 | 273.533 | 26.781 | 889.333 | 15.843 | 28.8909
2020-06-02 12:00:00 | 6.238 | 287.747 | 6.524 | 279.218 | 6.934 | 281.667 | 6.935 | 276.867 | 27.327 | 889.233 | 15.427 | 30.3817
2020-06-02 12:15:00 | 7.808 | 315.067 | 8.079 | 309.098 | 8.172 | 312.9 | 8.437 | 311.533 | 27.227 | 889.3 | 15.384 | 35.1624
2020-06-02 12:30:00 | 8.566 | 322.4 | 8.808 | 315.33 | 9.172 | 320.1 | 9.498 | 318.2 | 27.964 | 889.567 | 14.225 | 37.2763
2020-06-02 12:45:00 | 8.498 | 310.747 | 8.646 | 300.294 | 8.712 | 300.267 | 8.856 | 295.267 | 27.994 | 889.467 | 14.141 | 35.4381
2020-06-02 13:00:00 | 8.58 | 288.507 | 8.714 | 280.815 | 8.6 | 282.967 | 8.994 | 282.267 | 27.852 | 889.867 | 14.237 | 33.4528
2020-06-02 13:15:00 | 6.472 | 261.087 | 6.812 | 261.217 | 7.265 | 265.333 | 7.547 | 264.733 | 28.835 | 889.433 | 13.803 | 29.1162
2020-06-02 13:30:00 | 8.264 | 298.96 | 8.795 | 292.344 | 9.122 | 297.6 | 9.476 | 298.5 | 28.502 | 889.6 | 13.792 | 35.6186
2020-06-02 13:45:00 | 5.458 | 249.06 | 5.835 | 248.251 | 6.318 | 254.1 | 6.527 | 249.717 | 28.648 | 888.9 | 14.333 | 21.6872
2020-06-02 14:00:00 | 5.765 | 302.213 | 6.216 | 291.042 | 6.384 | 299.467 | 6.645 | 291.483 | 28.535 | 889.5 | 14.049 | 24.6446
2020-06-02 14:15:00 | 7.855 | 287.64 | 8.129 | 282.133 | 8.158 | 286.5 | 8.726 | 283.1 | 28.998 | 889.9 | 13.944 | 38.4481
2020-06-02 14:30:00 | 8.156 | 339.973 | 8.313 | 332.01 | 8.394 | 334.033 | 8.785 | 334.167 | 29.006 | 889.167 | 13.764 | 36.3689
2020-06-02 14:45:00 | 9.581 | 284.64 | 10.066 | 278.06 | 10.184 | 282.567 | 10.459 | 281.167 | 29.214 | 889.367 | 13.663 | 37.4454
2020-06-02 15:00:00 | 7.786 | 302.64 | 8.596 | 294.678 | 8.942 | 302 | 9.161 | 302.1 | 29.189 | 889.567 | 13.076 | 39.2027
2020-06-02 15:15:00 | 9.281 | 311.587 | 10.037 | 303.929 | 10.225 | 310.033 | 10.79 | 306.133 | 29.098 | 889.767 | 13.025 | 46.1343
2020-06-02 15:30:00 | 9.008 | 279.247 | 9.341 | 273.097 | 9.562 | 277.267 | 10.054 | 270.55 | 29.314 | 889.533 | 13.384 | 41.7664
2020-06-02 15:45:00 | 10.91 | 299.333 | 11.222 | 294.229 | 11.467 | 300.967 | 12.103 | 297.767 | 29.989 | 888.933 | 12.752 | 38.2228
2020-06-02 16:00:00 | 7.77 | 272.14 | 7.785 | 272.83 | 8.242 | 278.1 | 8.866 | 277.433 | 29.631 | 889.867 | 13.275 | 29.2014
2020-06-02 16:15:00 | 9.657 | 278.92 | 10.306 | 275.906 | 10.445 | 279.667 | 10.528 | 275.25 | 29.977 | 889.433 | 13.376 | 33.9438
2020-06-02 16:30:00 | 5.719 | 281.52 | 6.118 | 276.923 | 6.376 | 284.667 | 6.652 | 283.7 | 30.002 | 889.3 | 13.475 | 31.7133
2020-06-02 16:45:00 | 10.415 | 315.253 | 10.577 | 307.214 | 10.612 | 312.367 | 11.016 | 307.6 | 29.581 | 889.2 | 13.991 | 35.2008
2020-06-02 17:00:00 | 8.75 | 291.04 | 9.213 | 285.774 | 9.508 | 294.267 | 9.981 | 290.967 | 29.614 | 889.233 | 14.545 | 45.3512
2020-06-02 17:15:00 | 7.806 | 296.533 | 8.152 | 291.298 | 8.336 | 293.6 | 8.739 | 289.233 | 30.394 | 889.333 | 14.279 | 48.018
2020-06-02 17:30:00 | 10.317 | 285.033 | 10.831 | 278.51 | 11.042 | 281.7 | 11.386 | 277.133 | 30.527 | 889.567 | 14.24 | 56.2854
2020-06-02 17:45:00 | 8.79 | 300.533 | 9.709 | 292.01 | 10.05 | 296.467 | 10.908 | 294.933 | 30.21 | 889.467 | 14.897 | 56.3749
2020-06-02 18:00:00 | 6.636 | 296.893 | 7.15 | 291.491 | 7.353 | 297.233 | 7.76 | 292.567 | 29.814 | 889.3 | 15.403 | 40.908
2020-06-02 18:15:00 | 8.636 | 314.8 | 8.897 | 308.415 | 9.209 | 314.4 | 9.755 | 313.133 | 29.935 | 889.567 | 15.379 | 51.3711
2020-06-02 18:30:00 | 7.95 | 313.347 | 8.555 | 307.434 | 8.845 | 312.633 | 9.408 | 311.133 | 29.548 | 889.233 | 16.1 | 48.4244
2020-06-02 18:45:00 | 8.821 | 317.32 | 9.442 | 308.374 | 9.282 | 313.6 | 10.224 | 311.167 | 30.277 | 889.2 | 15.473 | 54.9176
2020-06-02 19:00:00 | 8.25 | 294.24 | 8.774 | 287.913 | 9.028 | 292.367 | 9.422 | 288.733 | 29.748 | 889.767 | 15.525 | 57.6177
2020-06-02 19:15:00 | 10.743 | 306.293 | 11.521 | 297.507 | 12.197 | 302.7 | 12.656 | 302.033 | 30.098 | 889.2 | 14.431 | 55.6615
2020-06-02 19:30:00 | 10.387 | 284.853 | 11.148 | 278.104 | 11.455 | 284.1 | 12.074 | 281.967 | 30.031 | 889.2 | 14.437 | 75.9802
2020-06-02 19:45:00 | 10.051 | 305.68 | 10.918 | 300.391 | 11.127 | 303.033 | 11.719 | 300.033 | 30.16 | 889.533 | 14.119 | 75.816
2020-06-02 20:00:00 | 9.486 | 300.56 | 10.115 | 293.808 | 10.274 | 299.633 | 10.634 | 298.533 | 30.348 | 889.7 | 13.699 | 68.6081
2020-06-02 20:15:00 | 10.196 | 284.027 | 11.245 | 277.514 | 11.641 | 281.467 | 11.644 | 276.767 | 29.948 | 889.667 | 13.267 | 75.848
2020-06-02 20:30:00 | 10.64 | 290.747 | 11.571 | 282.792 | 11.635 | 287.6 | 12.056 | 285.5 | 29.814 | 889.8 | 13.34 | 71.9925
2020-06-02 20:45:00 | 10.132 | 288.96 | 11.11 | 283.623 | 11.494 | 288.767 | 11.818 | 284.8 | 29.381 | 889.467 | 13.679 | 78.7834
2020-06-02 21:00:00 | 10.749 | 290.867 | 12.246 | 285.062 | 12.661 | 290.6 | 13.392 | 288.1 | 29.114 | 889.7 | 13.803 | 78.3535
2020-06-02 21:15:00 | 7.944 | 289.347 | 9.194 | 282.838 | 9.735 | 288.467 | 10.19 | 287.4 | 28.706 | 889.933 | 14.384 | 66.0898
2020-06-02 21:30:00 | 7.466 | 289.733 | 8.766 | 284.039 | 9.168 | 290.833 | 9.683 | 288.933 | 27.998 | 889.5 | 14.691 | 55.005
2020-06-02 21:45:00 | 6.754 | 287.267 | 8.186 | 283.416 | 8.579 | 288.6 | 9.414 | 285.767 | 28.118 | 889.567 | 14.904 | 48.0855
2020-06-02 22:00:00 | 6.598 | 289.333 | 7.967 | 285.598 | 8.725 | 292.933 | 9.386 | 290.5 | 27.485 | 889.3 | 14.947 | 48.0222
2020-06-02 22:15:00 | 6.782 | 290.933 | 8.135 | 285.186 | 8.618 | 290.633 | 9.402 | 290.467 | 27.177 | 889.7 | 15.157 | 49.8015
2020-06-02 22:30:00 | 6.707 | 280.587 | 8.122 | 275.254 | 8.609 | 282.633 | 9.238 | 280.5 | 27.302 | 889.667 | 14.703 | 45.7783
2020-06-02 22:45:00 | 6.291 | 280.533 | 7.659 | 278.094 | 8.073 | 283.4 | 8.538 | 280.433 | 26.944 | 889.467 | 14.739 | 41.8737
2020-06-02 23:00:00 | 6.603 | 283.52 | 8.217 | 278.499 | 8.658 | 283.167 | 8.858 | 282.967 | 26.535 | 889.667 | 14.916 | 39.2297
2020-06-02 23:15:00 | 5.78 | 276.053 | 6.982 | 273.691 | 7.427 | 280.033 | 8.137 | 279.833 | 25.918 | 889.433 | 15.797 | 32.9376
2020-06-02 23:30:00 | 6.214 | 279.587 | 7.389 | 276.481 | 7.977 | 283.133 | 8.477 | 281.867 | 26.006 | 889.667 | 16.477 | 34.9222
2020-06-02 23:45:00 | 5.472 | 274.427 | 6.843 | 276.14 | 7.372 | 282.433 | 7.868 | 281.733 | 25.673 | 889.667 | 17.108 | 27.2382