## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-03 00:00:00 | 5.27 | 267.667 | 6.75 | 268.302 | 7.115 | 278.267 | 7.603 | 276.4 | 25.223 | 889.3 | 17.804 | 24.6858
2020-06-03 00:15:00 | 5.644 | 244.493 | 6.456 | 250.159 | 6.62 | 264.167 | 6.895 | 263.867 | 23.885 | 889.467 | 18.372 | 27.0115
2020-06-03 00:30:00 | 5.476 | 236.587 | 7.219 | 243.34 | 7.085 | 253.133 | 6.837 | 253.383 | 22.931 | 889.467 | 19.475 | 31.1562
2020-06-03 00:45:00 | 6.144 | 242.687 | 7.089 | 248.252 | 7.17 | 256.3 | 7.28 | 256.283 | 22.864 | 889.567 | 20.232 | 32.5795
2020-06-03 01:00:00 | 5.938 | 242.027 | 6.906 | 249.646 | 7.097 | 258.633 | 7.2 | 259.617 | 23.031 | 889.35 | 20.805 | 30.7945
2020-06-03 01:15:00 | 5.589 | 237.533 | 6.829 | 246.068 | 6.891 | 259.033 | 7.097 | 260.05 | 22.848 | 889.55 | 21.627 | 28.9144
2020-06-03 01:30:00 | 5.263 | 238.427 | 6.203 | 247.155 | 6.277 | 257.833 | 6.527 | 259.417 | 21.973 | 889.633 | 22.725 | 25.1562
2020-06-03 01:45:00 | 5.668 | 231.853 | 7.094 | 235.84 | 7.19 | 245.833 | 6.928 | 243.8 | 21.589 | 889.483 | 23.397 | 32.4942
2020-06-03 02:00:00 | 6.011 | 230.16 | 7.292 | 233.766 | 7.384 | 242.167 | 7.335 | 239.2 | 21.485 | 889.783 | 24.117 | 35.9888
2020-06-03 02:15:00 | 6.142 | 229.82 | 7.306 | 234.22 | 7.779 | 243.633 | 7.859 | 240.4 | 21.727 | 889.583 | 24.917 | 39.2425
2020-06-03 02:30:00 | 6.484 | 240.853 | 7.869 | 240.978 | 8.173 | 248.1 | 8.126 | 245.1 | 21.739 | 889.833 | 25.467 | 46.0724
2020-06-03 02:45:00 | 5.639 | 254.753 | 7.185 | 257.639 | 8.042 | 267.3 | 8.788 | 264.633 | 21.523 | 889.55 | 25.976 | 42.3732
2020-06-03 03:00:00 | 6.092 | 253.953 | 7.302 | 257.507 | 7.953 | 266.567 | 8.298 | 266.317 | 21.856 | 889.283 | 25.936 | 37.4156
2020-06-03 03:15:00 | 5.929 | 253.88 | 7.706 | 254.541 | 7.977 | 263.733 | 8.404 | 260.317 | 21.944 | 889.583 | 26.141 | 45.6241
2020-06-03 03:30:00 | 6.546 | 254.213 | 8.346 | 254.976 | 9.134 | 263.2 | 9.808 | 260.85 | 21.248 | 890.133 | 26.653 | 54.8707
2020-06-03 03:45:00 | 6.822 | 262.927 | 8.586 | 262.136 | 9.416 | 272.633 | 10.327 | 270.7 | 21.802 | 889.55 | 25.136 | 55.9351
2020-06-03 04:00:00 | 8.808 | 276.907 | 10.578 | 273.871 | 11.237 | 279.533 | 12.213 | 277.433 | 22.631 | 889.717 | 22.36 | 79.7654
2020-06-03 04:15:00 | 9.111 | 275.853 | 10.677 | 272.589 | 11.785 | 279.867 | 12.364 | 277.167 | 23.181 | 889.8 | 20.797 | 87.5844
2020-06-03 04:30:00 | 8.495 | 268.493 | 9.982 | 265.846 | 10.542 | 273.667 | 10.941 | 271.333 | 23.514 | 889.8 | 20.573 | 81.1048
2020-06-03 04:45:00 | 7.646 | 268.013 | 9.087 | 264.652 | 9.381 | 273.667 | 9.918 | 272.733 | 23.314 | 889.7 | 20.792 | 66.9773
2020-06-03 05:00:00 | 6.699 | 246.18 | 8.053 | 251.398 | 8.624 | 261.267 | 8.973 | 262.267 | 21.748 | 889.7 | 22.464 | 62.0623
2020-06-03 05:15:00 | 7.093 | 243.633 | 8.423 | 245.488 | 9.023 | 256.7 | 9.242 | 256.833 | 21.481 | 889.617 | 23.392 | 63.5772
2020-06-03 05:30:00 | 6.848 | 245.52 | 8.218 | 248.452 | 8.822 | 258.8 | 9.444 | 258.633 | 21.077 | 889.8 | 23.797 | 60.9339
2020-06-03 05:45:00 | 6.34 | 246.02 | 7.873 | 251.959 | 8.569 | 263.267 | 8.853 | 263.1 | 21.094 | 889.85 | 24.037 | 56.1348
2020-06-03 06:00:00 | 5.97 | 250.893 | 7.631 | 259.982 | 8.804 | 268.633 | 9.492 | 268.1 | 20.994 | 889.567 | 24.109 | 53.0971
2020-06-03 06:15:00 | 6.175 | 259.693 | 7.796 | 262.303 | 8.523 | 272.367 | 8.964 | 270.9 | 21.456 | 889.633 | 23.451 | 50.9256
2020-06-03 06:30:00 | 7.708 | 279.653 | 8.967 | 279.996 | 10.04 | 288.7 | 11.22 | 289.367 | 22.448 | 889.933 | 22.517 | 61.1933
2020-06-03 06:45:00 | 6.553 | 289.787 | 8.043 | 288.624 | 9.109 | 294.867 | 9.752 | 295.133 | 23.314 | 889.6 | 21.963 | 54.4543
2020-06-03 07:00:00 | 6.55 | 294.347 | 7.889 | 292.167 | 8.84 | 299.4 | 10.01 | 296.867 | 23.031 | 889.817 | 21.995 | 47.4282
2020-06-03 07:15:00 | 12.524 | 290.667 | 13.874 | 281.404 | 14.68 | 285.233 | 15.522 | 284.133 | 23.664 | 889.867 | 22.515 | 84.2178
2020-06-03 07:30:00 | 12.198 | 286.227 | 14.157 | 281.96 | 14.816 | 286.033 | 15.703 | 284.8 | 23.048 | 889.933 | 25.816 | 66.7862
2020-06-03 07:45:00 | 11.164 | 284.96 | 12.225 | 277.785 | 12.718 | 282.633 | 13.353 | 279.767 | 22.864 | 889.75 | 26.939 | 71.1533
2020-06-03 08:00:00 | 12.406 | 278.84 | 13.395 | 273.758 | 13.612 | 279.233 | 14.087 | 275.1 | 22.848 | 889.85 | 26.925 | 79.5273
2020-06-03 08:15:00 | 11.945 | 283.173 | 12.807 | 277.031 | 12.971 | 280.6 | 13.33 | 275.967 | 23.381 | 889.867 | 26.624 | 80.1235
2020-06-03 08:30:00 | 11.081 | 281.16 | 12.257 | 276.02 | 12.555 | 281.8 | 12.698 | 278.567 | 23.739 | 889.917 | 26.093 | 81.0508
2020-06-03 08:45:00 | 11.485 | 290.333 | 12.476 | 284.52 | 12.5 | 288.233 | 12.946 | 286.633 | 23.898 | 889.783 | 25.701 | 80.8461
2020-06-03 09:00:00 | 9.585 | 284.52 | 10.032 | 277.374 | 10.732 | 281.3 | 10.898 | 277.567 | 24.531 | 889.55 | 24.677 | 78.1822
2020-06-03 09:15:00 | 10.484 | 281.147 | 11.08 | 275.342 | 11.001 | 280.133 | 11.26 | 276.8 | 25.085 | 889.65 | 23.715 | 75.2753
2020-06-03 09:30:00 | 9.622 | 275.667 | 10.516 | 266.339 | 10.789 | 271.967 | 10.982 | 267.6 | 25.61 | 889.617 | 23.013 | 69.362
2020-06-03 09:45:00 | 9.77 | 301.053 | 10.184 | 293.371 | 10.48 | 297.233 | 10.83 | 293.767 | 25.835 | 889.583 | 21.685 | 64.9231
2020-06-03 10:00:00 | 10.179 | 309.333 | 10.492 | 300.101 | 11.016 | 304.233 | 11.447 | 299.933 | 26.702 | 890.067 | 21.283 | 62.6869
2020-06-03 10:15:00 | 9.976 | 322.307 | 10.825 | 313.867 | 10.985 | 319.267 | 11.232 | 316.067 | 26.948 | 889.833 | 20.835 | 60.8472
2020-06-03 10:30:00 | 8.629 | 307.28 | 8.948 | 298.094 | 9.108 | 304.933 | 9.932 | 305.833 | 26.802 | 889.517 | 20.289 | 62.91
2020-06-03 10:45:00 | 7.686 | 303.507 | 7.944 | 296.684 | 8.169 | 302.433 | 8.748 | 299.333 | 27.439 | 889.4 | 18.849 | 51.8309
2020-06-03 11:00:00 | 7.946 | 309.52 | 8.534 | 303.225 | 8.923 | 308.833 | 9.435 | 306.6 | 28.085 | 889.767 | 18.041 | 50.3976
2020-06-03 11:15:00 | 8.725 | 326.813 | 9.11 | 321.116 | 9.303 | 324.4 | 9.507 | 321.033 | 27.877 | 889.333 | 17.995 | 49.221
2020-06-03 11:30:00 | 7.409 | 306.84 | 7.715 | 301.902 | 8.001 | 306.4 | 8.489 | 306.6 | 28.023 | 889.567 | 17.565 | 46.476
2020-06-03 11:45:00 | 6.992 | 310.493 | 7.486 | 301.713 | 7.867 | 308.5 | 8.141 | 307.7 | 28.06 | 889.5 | 17.637 | 41.5575
2020-06-03 12:00:00 | 6.383 | 291.893 | 6.704 | 285.691 | 6.906 | 288.7 | 7.04 | 286.833 | 28.127 | 889.467 | 17.645 | 33.2815
2020-06-03 12:15:00 | 8.146 | 283.933 | 8.339 | 278.256 | 8.475 | 281 | 8.639 | 276.533 | 29.048 | 889.467 | 16.921 | 32.9035
2020-06-03 12:30:00 | 8.219 | 281.1 | 8.568 | 276.185 | 8.734 | 279.85 | 9.083 | 276.767 | 28.523 | 889.2 | 16.723 | 50.9405
2020-06-03 12:45:00 | 12.995 | 281.667 | 13.648 | 277.826 | 13.886 | 281.433 | 14.417 | 282.017 | 29.014 | 889.5 | 16.068 | 67.1883
2020-06-03 13:00:00 | 9.988 | 286.453 | 10.599 | 278.813 | 10.811 | 282.067 | 11.026 | 281.167 | 28.898 | 889.6 | 15.18 | 65.365
2020-06-03 13:15:00 | 12.533 | 309.693 | 13.199 | 303.416 | 13.147 | 308.7 | 13.866 | 305.933 | 29.498 | 889.667 | 15.119 | 64.1542
2020-06-03 13:30:00 | 12.951 | 307.44 | 14.037 | 299.179 | 14.92 | 305.467 | 15.092 | 305.167 | 29.564 | 889.5 | 15.151 | 56.775
2020-06-03 13:45:00 | 13.937 | 287.853 | 15.196 | 282.092 | 15.416 | 285.667 | 15.831 | 283.133 | 29.381 | 889.5 | 15.58 | 52.2572
2020-06-03 14:00:00 | 12.14 | 302.307 | 13.047 | 294.475 | 13.089 | 300.867 | 13.715 | 298.3 | 30.014 | 889.567 | 15.035 | 50.3351
2020-06-03 14:15:00 | 12.069 | 311.947 | 12.25 | 302.547 | 12.44 | 305.733 | 13.028 | 304.167 | 29.698 | 889.4 | 15.1 | 51.4017
2020-06-03 14:30:00 | 14.651 | 296.893 | 15.843 | 291.277 | 15.998 | 295.933 | 16.63 | 294.733 | 29.748 | 889.267 | 14.823 | 49.2693
2020-06-03 14:45:00 | 10.999 | 317.12 | 11.496 | 307.895 | 11.981 | 311.667 | 12.525 | 310.233 | 30.431 | 889.7 | 14.016 | 48.3278
2020-06-03 15:00:00 | 11.058 | 318.347 | 11.768 | 311.613 | 12.457 | 315.733 | 12.688 | 313.433 | 30.044 | 889.367 | 14.663 | 46.2053
2020-06-03 15:15:00 | 11.91 | 305.507 | 12.787 | 300.879 | 13.246 | 307.667 | 13.707 | 303.533 | 29.818 | 889.3 | 14.817 | 43.9151
2020-06-03 15:30:00 | 11.745 | 313.507 | 11.779 | 305.002 | 12.426 | 310.333 | 13.054 | 306.533 | 30.277 | 889.667 | 14.272 | 44.7863
2020-06-03 15:45:00 | 11.492 | 305.973 | 12.522 | 297.872 | 13.054 | 299.9 | 13.391 | 296.133 | 30.864 | 889.367 | 13.397 | 43.3915
2020-06-03 16:00:00 | 13.484 | 298 | 14.981 | 290.008 | 15.21 | 294.667 | 15.713 | 292.167 | 30.494 | 889.667 | 13.251 | 43.5819
2020-06-03 16:15:00 | 12.727 | 300.107 | 13.395 | 295.912 | 14.153 | 302.533 | 14.717 | 298.933 | 30.018 | 889.467 | 13.773 | 39.0179
2020-06-03 16:30:00 | 10.802 | 291.36 | 11.76 | 285.678 | 12.016 | 289.367 | 12.144 | 285.35 | 30.373 | 889 | 12.513 | 43.1996
2020-06-03 16:45:00 | 12.265 | 296.573 | 13.384 | 288.044 | 13.898 | 293.467 | 14.219 | 290.467 | 30.518 | 889.667 | 13.188 | 42.1473
2020-06-03 17:00:00 | 12.519 | 295.467 | 13.865 | 286.896 | 13.867 | 293.1 | 14.026 | 290.4 | 30.189 | 889.767 | 13.575 | 40.9336
2020-06-03 17:15:00 | 11.906 | 300.613 | 13.183 | 293.142 | 13.623 | 300.767 | 14.378 | 300.067 | 30.26 | 889.533 | 13.967 | 40.4511
2020-06-03 17:30:00 | 12.514 | 301.947 | 13.314 | 295.308 | 13.766 | 300.3 | 14.487 | 297.2 | 30.871 | 889.233 | 12.309 | 40.0269
2020-06-03 17:45:00 | 13.123 | 309.667 | 13.782 | 299.516 | 14.661 | 301.433 | 14.938 | 299.467 | 30.806 | 889.567 | 10.999 | 38.1255
2020-06-03 18:00:00 | 11.661 | 314.133 | 12.439 | 303.238 | 12.935 | 310.167 | 13.469 | 306.233 | 30.556 | 889.433 | 11.097 | 37.1136
2020-06-03 18:15:00 | 13.638 | 297.133 | 15.178 | 291.004 | 15.667 | 296.167 | 15.964 | 294.967 | 30.844 | 889.767 | 11.468 | 37.7396
2020-06-03 18:30:00 | 13.721 | 311.413 | 14.321 | 303.613 | 14.483 | 308 | 15.102 | 305.6 | 30.806 | 889.567 | 11.587 | 37.5804
2020-06-03 18:45:00 | 13.65 | 298.547 | 14.399 | 291.847 | 15.058 | 294.767 | 15.632 | 292.633 | 30.623 | 889.6 | 11.759 | 41.976
2020-06-03 19:00:00 | 11.812 | 316.72 | 12.45 | 308.172 | 13.062 | 312.067 | 13.387 | 311.5 | 30.218 | 889.633 | 11.712 | 43.8349
2020-06-03 19:15:00 | 14.322 | 302.52 | 15.365 | 293.143 | 15.878 | 298.8 | 16.204 | 295.1 | 30.218 | 889.3 | 12.088 | 58.8491
2020-06-03 19:30:00 | 12.375 | 298.093 | 13.45 | 292.831 | 13.833 | 299.3 | 14.353 | 296.633 | 29.964 | 889.867 | 12.589 | 76.9956
2020-06-03 19:45:00 | 10.354 | 323.88 | 10.483 | 318.18 | 10.691 | 320.8 | 11.384 | 321.333 | 29.781 | 889.733 | 15.571 | 77.935
2020-06-03 20:00:00 | 12 | 334.16 | 12.664 | 327.22 | 13.482 | 332.167 | 13.722 | 330.6 | 29.031 | 889.5 | 15.931 | 78.7173
2020-06-03 20:15:00 | 11.932 | 327.733 | 12.86 | 324.068 | 13.128 | 327.4 | 13.484 | 325.533 | 28.81 | 889.7 | 16.417 | 80.0432
2020-06-03 20:30:00 | 11.462 | 328.933 | 13.031 | 323.624 | 13.63 | 328.767 | 14.136 | 327.467 | 28.368 | 889.367 | 16.768 | 80.002
2020-06-03 20:45:00 | 11.491 | 331.333 | 12.61 | 325.91 | 13.188 | 331.267 | 13.655 | 330.433 | 28.118 | 889.3 | 17.428 | 79.7647
2020-06-03 21:00:00 | 10.468 | 324.733 | 11.458 | 317.708 | 11.921 | 322.167 | 12.54 | 320.867 | 27.639 | 889.567 | 18.376 | 74.6827
2020-06-03 21:15:00 | 7.329 | 328.573 | 8.121 | 321.774 | 8.818 | 325.467 | 9.396 | 324.833 | 27.018 | 889.8 | 19.841 | 66.3996
2020-06-03 21:30:00 | 8.882 | 329.653 | 9.723 | 323.067 | 10.2 | 328.667 | 10.498 | 326.867 | 26.877 | 889.417 | 20.712 | 61.9678
2020-06-03 21:45:00 | 7.458 | 323.907 | 8.353 | 316.247 | 8.844 | 322.1 | 9.339 | 321.667 | 26.144 | 890.1 | 21.496 | 52.5123
2020-06-03 22:00:00 | 7.696 | 320.947 | 8.582 | 313.463 | 9.476 | 318.333 | 10.169 | 317.567 | 25.814 | 889.917 | 22.267 | 47.5056
2020-06-03 22:15:00 | 7.236 | 312.053 | 8.327 | 308.396 | 8.862 | 314.3 | 9.449 | 313.133 | 25.344 | 889.7 | 23.243 | 44.7479
2020-06-03 22:30:00 | 7.769 | 299.427 | 8.857 | 296.702 | 9.832 | 302.2 | 10.484 | 302 | 24.589 | 889.517 | 23.584 | 50.7551
2020-06-03 22:45:00 | 9.536 | 309.093 | 10.433 | 303.298 | 11.104 | 309.567 | 11.936 | 306.533 | 24.777 | 889.85 | 22.52 | 77.7452
2020-06-03 23:00:00 | 8.124 | 298.413 | 9.412 | 292.695 | 9.82 | 301.133 | 10.549 | 298.967 | 24.152 | 890.217 | 22.632 | 68.6315
2020-06-03 23:15:00 | 6.742 | 294.96 | 7.693 | 292.003 | 8.624 | 297.067 | 9.137 | 294.267 | 24.064 | 889.95 | 22.872 | 41.8019
2020-06-03 23:30:00 | 5.135 | 290.373 | 6.082 | 285.689 | 6.651 | 291.533 | 7.32 | 290.667 | 24.131 | 889.583 | 23.424 | 23.6384
2020-06-03 23:45:00 | 4.087 | 275.733 | 5.097 | 276.12 | 5.549 | 282.067 | 5.985 | 282.6 | 23.598 | 889.617 | 23.488 | 14.2113