## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-04 00:00:00 | 4.6 | 260.567 | 5.903 | 263.938 | 6.443 | 273.467 | 6.693 | 271.7 | 23.148 | 890.033 | 23.901 | 14.2326
2020-06-04 00:15:00 | 5.152 | 273.333 | 6.451 | 273.891 | 6.723 | 280.467 | 7.082 | 279.733 | 22.581 | 889.617 | 23.648 | 18.1209
2020-06-04 00:30:00 | 5.3 | 273.2 | 6.503 | 270.013 | 6.921 | 277.8 | 7.283 | 275.633 | 22.848 | 889.683 | 23.165 | 22.0134
2020-06-04 00:45:00 | 4.857 | 262.6 | 6.283 | 263.242 | 6.631 | 270.667 | 6.854 | 267.967 | 22.598 | 889.817 | 23.117 | 21.4122
2020-06-04 01:00:00 | 5.412 | 255.273 | 6.735 | 256.85 | 7.16 | 264 | 7.374 | 262.283 | 21.948 | 890.133 | 23.693 | 23.8111
2020-06-04 01:15:00 | 4.939 | 267.933 | 6.231 | 269.522 | 6.846 | 277.633 | 7.397 | 274.2 | 21.923 | 889.667 | 24.859 | 22.4475
2020-06-04 01:30:00 | 5.415 | 261.473 | 6.941 | 261.762 | 7.343 | 269.367 | 7.522 | 266 | 21.802 | 889.55 | 25.787 | 22.3843
2020-06-04 01:45:00 | 5.622 | 244.907 | 6.859 | 246.662 | 7.479 | 256.967 | 7.589 | 255.633 | 21.835 | 889.467 | 26.011 | 27.7114
2020-06-04 02:00:00 | 5.576 | 236.433 | 6.661 | 237.45 | 6.969 | 246.6 | 6.805 | 244.8 | 21.348 | 889.5 | 26.48 | 32.0075
2020-06-04 02:15:00 | 5.578 | 240.527 | 6.868 | 241.357 | 7.201 | 249.5 | 7.394 | 247.767 | 21.21 | 889.55 | 27.589 | 32.6434
2020-06-04 02:30:00 | 5.06 | 235.673 | 6.385 | 237.609 | 6.859 | 245.5 | 6.936 | 243.267 | 20.844 | 889.617 | 27.952 | 24.9416
2020-06-04 02:45:00 | 5.326 | 220.14 | 6.817 | 224.626 | 6.675 | 237.367 | 6.383 | 237.367 | 20.352 | 889.917 | 28.517 | 24.0747
2020-06-04 03:00:00 | 6.841 | 214.94 | 8.57 | 214.568 | 8.341 | 219.733 | 7.904 | 217.167 | 19.464 | 890.067 | 29.499 | 30.9907
2020-06-04 03:15:00 | 6.189 | 222.093 | 7.588 | 222.45 | 7.7 | 229.067 | 7.421 | 225.867 | 20.156 | 889.35 | 28.731 | 31.3871
2020-06-04 03:30:00 | 5.172 | 228.393 | 6.609 | 230.693 | 6.886 | 239.367 | 6.894 | 236.483 | 20.46 | 890 | 28.149 | 25.1661
2020-06-04 03:45:00 | 5.273 | 224.213 | 6.483 | 227.399 | 6.852 | 236.9 | 6.502 | 236.733 | 20.894 | 889.883 | 27.744 | 24.8549
2020-06-04 04:00:00 | 6.297 | 222.173 | 7.922 | 220.007 | 7.624 | 228.1 | 7.389 | 226.333 | 19.96 | 889.667 | 28.309 | 26.367
2020-06-04 04:15:00 | 6.374 | 220.573 | 7.956 | 220.906 | 7.402 | 228.9 | 7.057 | 227.067 | 20.077 | 889.6 | 28.56 | 25.9364
2020-06-04 04:30:00 | 6.058 | 221.793 | 8.095 | 214.448 | 8.14 | 221 | 7.508 | 220.967 | 19.406 | 889.917 | 29.115 | 24.7171
2020-06-04 04:45:00 | 6.282 | 225.94 | 7.821 | 225.62 | 7.76 | 232.033 | 7.646 | 227.567 | 19.194 | 890.1 | 29.477 | 23.2895
2020-06-04 05:00:00 | 6.628 | 214.3 | 7.73 | 219.839 | 7.434 | 226.733 | 7.23 | 224.5 | 18.756 | 889.6 | 29.824 | 23.3556
2020-06-04 05:15:00 | 5.823 | 220.487 | 6.587 | 223.206 | 6.209 | 233.2 | 5.704 | 232.833 | 18.51 | 889.933 | 30.432 | 17.7727
2020-06-04 05:30:00 | 6.002 | 226.267 | 7.29 | 226.975 | 7.099 | 232.533 | 7.025 | 227.467 | 18.031 | 889.433 | 30.693 | 22.1654
2020-06-04 05:45:00 | 5.914 | 223.94 | 7.506 | 225.049 | 7.428 | 235.267 | 7.005 | 233.1 | 18.11 | 889.65 | 30.752 | 21.4868
2020-06-04 06:00:00 | 5.381 | 223.767 | 7.028 | 224.172 | 7.76 | 233.9 | 7.364 | 232.633 | 17.96 | 889.5 | 31.205 | 26.2924
2020-06-04 06:15:00 | 6.26 | 221.727 | 7.612 | 222.665 | 7.811 | 231.067 | 7.706 | 227.8 | 18.052 | 889.567 | 31.168 | 29.3706
2020-06-04 06:30:00 | 5.976 | 222.247 | 7.811 | 220.56 | 7.229 | 228.7 | 7.086 | 227.733 | 18.244 | 889.533 | 31.008 | 28.4909
2020-06-04 06:45:00 | 4.654 | 226.547 | 6.434 | 227.206 | 7.514 | 237.467 | 7.373 | 236.233 | 18.089 | 889.75 | 30.789 | 27.2261
2020-06-04 07:00:00 | 4.598 | 228.987 | 6.557 | 229.378 | 7.401 | 238.8 | 7.507 | 235.6 | 19.852 | 889.867 | 28.347 | 27.6496
2020-06-04 07:15:00 | 5.91 | 228.127 | 7.688 | 228.253 | 8.368 | 237 | 8.132 | 233.8 | 21.248 | 890.017 | 26.048 | 33.2431
2020-06-04 07:30:00 | 5.881 | 228.553 | 7.37 | 228.108 | 8.091 | 236.5 | 8.036 | 233.9 | 22.202 | 889.567 | 24.709 | 34.6984
2020-06-04 07:45:00 | 5.82 | 237.193 | 6.651 | 233.707 | 7.307 | 240.667 | 7.522 | 237.367 | 23.956 | 889.917 | 22.901 | 25.8483
2020-06-04 08:00:00 | 5.935 | 245.127 | 6.165 | 241.493 | 6.477 | 246.367 | 6.679 | 241.767 | 25.431 | 889.9 | 21.477 | 17.7869
2020-06-04 08:15:00 | 5.882 | 254.167 | 6.085 | 252.037 | 6.204 | 255.017 | 6.314 | 247.833 | 25.589 | 889.5 | 20.955 | 17.8665
2020-06-04 08:30:00 | 6.471 | 270.547 | 6.667 | 266.242 | 6.898 | 271.367 | 7.027 | 266.783 | 25.685 | 889.9 | 21.243 | 18.5294
2020-06-04 08:45:00 | 6.394 | 288.693 | 6.62 | 281.125 | 6.607 | 285.167 | 6.765 | 280.167 | 25.639 | 890.017 | 21.432 | 22.8
2020-06-04 09:00:00 | 7.008 | 301.04 | 7.212 | 292.614 | 7.433 | 296.5 | 7.703 | 295.2 | 25.856 | 889.6 | 21.595 | 29.1432
2020-06-04 09:15:00 | 6.594 | 286.613 | 7.113 | 280.35 | 7.201 | 285.2 | 7.356 | 284.033 | 25.814 | 889.633 | 21.557 | 27.9871
2020-06-04 09:30:00 | 7.121 | 305.987 | 7.472 | 296.498 | 7.523 | 302.633 | 8.04 | 300.667 | 25.935 | 889.983 | 21.229 | 24.0882
2020-06-04 09:45:00 | 6.282 | 299.2 | 6.874 | 294.627 | 6.951 | 300.767 | 7.269 | 300.233 | 26.531 | 890 | 21.312 | 24.8713
2020-06-04 10:00:00 | 7.487 | 288.667 | 7.892 | 284.158 | 8 | 288.367 | 8.511 | 287.567 | 26.773 | 889.933 | 21.069 | 35.3422
2020-06-04 10:15:00 | 9.27 | 290.32 | 9.923 | 283.425 | 10.139 | 289.567 | 10.506 | 287.7 | 27.081 | 889.65 | 20.821 | 53.2307
2020-06-04 10:30:00 | 9.506 | 294.933 | 10.138 | 289.968 | 10.374 | 295.467 | 10.861 | 293.367 | 26.923 | 889.6 | 20.856 | 61.0348
2020-06-04 10:45:00 | 10.29 | 303.067 | 11.456 | 300.07 | 11.707 | 305.367 | 12.201 | 302.1 | 27.535 | 889.6 | 20.435 | 71.122
2020-06-04 11:00:00 | 8.968 | 317.747 | 9.879 | 313.054 | 9.96 | 313.067 | 10.586 | 308.117 | 27.689 | 889.7 | 20.168 | 65.758
2020-06-04 11:15:00 | 10.627 | 303.653 | 10.952 | 291.421 | 11.276 | 297.133 | 11.527 | 293.767 | 27.523 | 889.267 | 19.783 | 61.9834
2020-06-04 11:30:00 | 10.018 | 308.747 | 10.639 | 304.232 | 11.295 | 309.567 | 11.766 | 304.833 | 27.464 | 889.2 | 20.293 | 69.0607
2020-06-04 11:45:00 | 11.536 | 294.84 | 12.444 | 289.027 | 12.671 | 292.233 | 12.722 | 288.667 | 27.781 | 889.467 | 20.415 | 71.9094
2020-06-04 12:00:00 | 11.352 | 303.2 | 11.875 | 296.235 | 12.078 | 301.7 | 12.499 | 299.1 | 27.706 | 889.917 | 20.66 | 77.1448
2020-06-04 12:15:00 | 11.501 | 304.347 | 12.438 | 298.815 | 12.685 | 303.867 | 13.532 | 301.9 | 27.344 | 889.65 | 20.88 | 71.79
2020-06-04 12:30:00 | 10.052 | 311 | 10.561 | 307.126 | 10.63 | 311.767 | 11.287 | 309.133 | 27.689 | 889.533 | 20.605 | 74.6678
2020-06-04 12:45:00 | 9.601 | 304.747 | 10.281 | 299.022 | 10.358 | 302.8 | 11.023 | 299.367 | 27.91 | 889.45 | 20.207 | 75.0174
2020-06-04 13:00:00 | 12.072 | 279.733 | 12.866 | 271.875 | 13.063 | 277 | 13.265 | 271.833 | 28.273 | 889.667 | 19.859 | 66.8522
2020-06-04 13:15:00 | 9.252 | 310.56 | 9.785 | 303.117 | 10.093 | 307.233 | 10.342 | 303.6 | 27.823 | 889.467 | 20.115 | 67.5848
2020-06-04 13:30:00 | 10.38 | 278.713 | 11.434 | 273.098 | 11.387 | 278.467 | 11.528 | 277.9 | 28.244 | 889.133 | 19.488 | 78.7365
2020-06-04 13:45:00 | 11.207 | 286.64 | 11.755 | 280.168 | 11.948 | 285.5 | 12.123 | 282.6 | 27.835 | 889.6 | 20.155 | 76.4286
2020-06-04 14:00:00 | 11.25 | 298.813 | 11.902 | 291.736 | 11.841 | 297.267 | 12.552 | 295.233 | 28.348 | 889.533 | 20.087 | 72.843
2020-06-04 14:15:00 | 8.674 | 299.267 | 10.053 | 291.356 | 10.278 | 298.133 | 10.893 | 295.7 | 28.439 | 889.633 | 20.113 | 66.1395
2020-06-04 14:30:00 | 10.475 | 273.653 | 11.072 | 267.014 | 11.315 | 270.783 | 11.25 | 264.633 | 28.677 | 889.067 | 19.393 | 66.5048
2020-06-04 14:45:00 | 11.414 | 269.447 | 12.632 | 265.303 | 12.704 | 271.65 | 12.569 | 269.9 | 29.564 | 889.6 | 18.699 | 66.9922
2020-06-04 15:00:00 | 11.454 | 300.507 | 12.338 | 292.436 | 12.782 | 296.8 | 13.289 | 294.2 | 29.448 | 889.633 | 17.752 | 61.9479
2020-06-04 15:15:00 | 14.38 | 282.133 | 15.532 | 274.812 | 15.908 | 278.867 | 15.719 | 276.467 | 29.464 | 889.8 | 18.235 | 52.2885
2020-06-04 15:30:00 | 9.322 | 290.08 | 9.91 | 286.138 | 9.879 | 289.833 | 10.404 | 287.833 | 28.723 | 889.833 | 18.152 | 48.0656
2020-06-04 15:45:00 | 11.715 | 310.907 | 12.656 | 305.472 | 12.867 | 308.9 | 13.564 | 307.767 | 29.098 | 889.733 | 17.571 | 45.9694
2020-06-04 16:00:00 | 12.285 | 305.04 | 13.077 | 299.206 | 13.822 | 305.667 | 14.818 | 303 | 29.364 | 889.433 | 17.517 | 44.674
2020-06-04 16:15:00 | 12.264 | 289.947 | 12.843 | 282.898 | 13.069 | 287.033 | 13.729 | 286.4 | 29.714 | 889.367 | 16.012 | 46.2486
2020-06-04 16:30:00 | 9.76 | 312.32 | 10.429 | 306.871 | 10.935 | 310.6 | 11.388 | 309.567 | 29.631 | 889.633 | 17.071 | 47.8538
2020-06-04 16:45:00 | 12.594 | 296.573 | 13.535 | 291.856 | 13.882 | 297.667 | 14.457 | 295.3 | 29.298 | 889.533 | 16.219 | 60.2866
2020-06-04 17:00:00 | 9.608 | 201.904 | 11.027 | 279.911 | 10.992 | 164.2 | 11.348 | 175.167 | 27.952 | 889.633 | 21.819 | 60.9993
2020-06-04 17:15:00 | 8.8 | 311.027 | 9.248 | 341.508 | 9.632 | 334.833 | 9.95 | 334.167 | 26.573 | 889.5 | 22.288 | 51.5083
2020-06-04 17:30:00 | 16.158 | 292.307 | 17.767 | 285.271 | 18.254 | 290 | 18.536 | 288.4 | 25.735 | 889.633 | 23.197 | 81.2711
2020-06-04 17:45:00 | 6.521 | 256.087 | 6.867 | 253.02 | 7.147 | 259.467 | 7.338 | 255.183 | 26.548 | 889.767 | 22.488 | 35.9028
2020-06-04 18:00:00 | 7.038 | 263.787 | 7.653 | 258.403 | 8.096 | 263.833 | 8.056 | 262.15 | 27.889 | 889.467 | 19.281 | 34.0177
2020-06-04 18:15:00 | 10.375 | 251.293 | 11.312 | 246.151 | 11.863 | 250.933 | 12.092 | 245.783 | 28.681 | 889.133 | 19.255 | 60.6575
2020-06-04 18:30:00 | 11.475 | 247.913 | 12.573 | 243.607 | 12.863 | 246.7 | 12.664 | 240.417 | 28.027 | 889.567 | 19.648 | 77.5967
2020-06-04 18:45:00 | 11.489 | 247.813 | 12.169 | 242.403 | 12.622 | 246.967 | 12.469 | 240.133 | 28.148 | 889.333 | 20.016 | 66.1275
2020-06-04 19:00:00 | 12.593 | 247.753 | 13.897 | 240.702 | 14.315 | 245.283 | 14.224 | 238.8 | 27.668 | 889.567 | 20.624 | 56.9775
2020-06-04 19:15:00 | 11.375 | 236.667 | 12.258 | 233.128 | 12.668 | 238.967 | 12.4 | 232.433 | 27.914 | 889.933 | 20.115 | 58.0092
2020-06-04 19:30:00 | 12.214 | 248.787 | 13.342 | 245.444 | 13.873 | 250.65 | 13.744 | 245.55 | 28.718 | 889.4 | 19.488 | 63.2689
2020-06-04 19:45:00 | 11.959 | 249.727 | 13.118 | 245.326 | 13.52 | 251.483 | 13.262 | 245.55 | 28.414 | 889.233 | 19.608 | 67.6282
2020-06-04 20:00:00 | 11.061 | 255.307 | 11.695 | 251.852 | 12.083 | 256.8 | 12.108 | 250.9 | 27.981 | 889.6 | 20.013 | 75.1609
2020-06-04 20:15:00 | 10.444 | 257.887 | 11.316 | 253.247 | 11.817 | 260.067 | 12.083 | 254.55 | 27.281 | 889.817 | 21.312 | 78.7279
2020-06-04 20:30:00 | 8.278 | 264.853 | 9.202 | 258.052 | 9.699 | 261.85 | 9.951 | 257.667 | 27.402 | 890.1 | 21.659 | 73.123
2020-06-04 20:45:00 | 8.987 | 258.307 | 10.066 | 255.445 | 10.184 | 260.133 | 10.226 | 256.6 | 26.798 | 889.6 | 22.203 | 72.1538
2020-06-04 21:00:00 | 8.708 | 262.813 | 9.829 | 259.688 | 10.251 | 266.717 | 10.37 | 263.183 | 26.914 | 889.417 | 21.48 | 68.8141
2020-06-04 21:15:00 | 6.792 | 296.04 | 8.244 | 290.143 | 8.595 | 295.367 | 9.289 | 293.8 | 27.152 | 889.433 | 17.66 | 57.3171
2020-06-04 21:30:00 | 6.65 | 293.267 | 7.85 | 285.358 | 8.463 | 290.633 | 9.061 | 288.2 | 26.652 | 889.733 | 17.577 | 49.0568
2020-06-04 21:45:00 | 6.191 | 286.027 | 7.085 | 281.148 | 7.801 | 288.667 | 8.605 | 288.2 | 26.164 | 889.633 | 17.875 | 38.7145
2020-06-04 22:00:00 | 5.607 | 273.267 | 6.96 | 268.296 | 7.334 | 274.367 | 7.596 | 270.133 | 25.818 | 889.967 | 20.549 | 31.7105
2020-06-04 22:15:00 | 4.78 | 273.2 | 5.822 | 273.056 | 6.246 | 281.967 | 6.82 | 282.533 | 25.156 | 889.6 | 21.213 | 23.1858
2020-06-04 22:30:00 | 4.582 | 279.947 | 5.835 | 277.008 | 6.338 | 283.6 | 6.758 | 282.4 | 24.948 | 889.2 | 18.744 | 25.4433
2020-06-04 22:45:00 | 5.384 | 273.173 | 6.353 | 270.922 | 6.928 | 278.1 | 7.488 | 275.133 | 24.844 | 889.233 | 19.053 | 29.2014
2020-06-04 23:00:00 | 5.283 | 280.96 | 6.506 | 277.697 | 6.884 | 282.633 | 7.348 | 280.5 | 24.76 | 889.267 | 18.719 | 30.2737
2020-06-04 23:15:00 | 5.202 | 281.267 | 6.178 | 279.976 | 6.406 | 285.633 | 6.632 | 285.833 | 23.948 | 890.033 | 19.363 | 21.1131
2020-06-04 23:30:00 | 4.669 | 269.48 | 5.155 | 273.466 | 4.974 | 281.333 | 5.156 | 281.867 | 23.581 | 889.7 | 19.949 | 11.4025
2020-06-04 23:45:00 | 4.664 | 235.287 | 5.347 | 248.394 | 5.1 | 260.967 | 4.953 | 264.4 | 22.418 | 889.7 | 20.763 | 8.9908