## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-05 00:00:00 | 5.041 | 234.58 | 5.484 | 244.679 | 5.356 | 256.333 | 5.209 | 258.867 | 21.814 | 889.483 | 22.256 | 11.6732
2020-06-05 00:15:00 | 4.966 | 237.127 | 5.867 | 245.988 | 5.881 | 256.3 | 5.841 | 256.967 | 21.398 | 889.817 | 22.869 | 13.3416
2020-06-05 00:30:00 | 4.803 | 241.147 | 6.084 | 241.832 | 6.126 | 248.667 | 5.837 | 247.2 | 21.168 | 889.567 | 23.152 | 14.8402
2020-06-05 00:45:00 | 5.151 | 241.713 | 5.661 | 245.544 | 5.528 | 253.433 | 5.32 | 251.767 | 21.031 | 889.9 | 23.189 | 12.5287
2020-06-05 01:00:00 | 5.227 | 247.553 | 5.453 | 253.64 | 5.692 | 260.367 | 5.797 | 258.567 | 21.302 | 890.133 | 24.107 | 13.2904
2020-06-05 01:15:00 | 5.213 | 253.313 | 5.88 | 264.259 | 6.158 | 274.267 | 6.181 | 272.433 | 21.252 | 889.783 | 23.811 | 15.1976
2020-06-05 01:30:00 | 5.284 | 220.92 | 6.504 | 231.656 | 6.296 | 247.367 | 5.894 | 250.867 | 19.748 | 889.567 | 24.645 | 14.924
2020-06-05 01:45:00 | 5.788 | 219.82 | 7.316 | 224.64 | 7.303 | 230.133 | 6.89 | 225.533 | 19.052 | 889.883 | 27.733 | 17.9766
2020-06-05 02:00:00 | 5.718 | 219.4 | 6.706 | 227.589 | 6.273 | 237.5 | 5.976 | 235.133 | 18.623 | 889.617 | 28.987 | 15.4797
2020-06-05 02:15:00 | 5.388 | 220.727 | 6.443 | 230.179 | 6.081 | 241.967 | 5.827 | 240.233 | 18.677 | 889.817 | 29.12 | 16.7438
2020-06-05 02:30:00 | 6.075 | 216.033 | 8.247 | 216.596 | 7.481 | 226.9 | 6.806 | 226.933 | 18.523 | 889.617 | 31.104 | 20.3542
2020-06-05 02:45:00 | 5.873 | 219.933 | 7.606 | 218.897 | 6.933 | 228.3 | 6.463 | 227.1 | 18.773 | 889.7 | 31.104 | 20.6377
2020-06-05 03:00:00 | 5.474 | 219.667 | 7.225 | 219.775 | 6.561 | 224.833 | 6.077 | 223 | 18.689 | 889.633 | 31.563 | 15.1152
2020-06-05 03:15:00 | 5.618 | 221.807 | 6.242 | 223.705 | 6.027 | 230.133 | 5.713 | 227.7 | 18.381 | 889.417 | 31.552 | 15.7511
2020-06-05 03:30:00 | 5.866 | 219.853 | 7.424 | 218.294 | 7.529 | 223.267 | 7.175 | 219.133 | 18.394 | 889.433 | 32.656 | 16.1853
2020-06-05 03:45:00 | 4.52 | 219.927 | 6.164 | 221.322 | 6.496 | 224.367 | 6.439 | 219.033 | 18.085 | 889.483 | 34.149 | 13.8717
2020-06-05 04:00:00 | 5.418 | 219.1 | 7.927 | 216.927 | 8.386 | 220.967 | 8.486 | 216.067 | 17.677 | 889.767 | 34.603 | 21.1379
2020-06-05 04:15:00 | 6.425 | 216.667 | 8.17 | 219.385 | 8.286 | 222.767 | 8.27 | 217.5 | 18.148 | 889.8 | 33.296 | 22.758
2020-06-05 04:30:00 | 5.931 | 221.78 | 8.105 | 219.928 | 8.207 | 222.9 | 8.167 | 217.433 | 18.023 | 889.983 | 32.165 | 23.5887
2020-06-05 04:45:00 | 6.052 | 223.36 | 8.442 | 220.734 | 8.502 | 224.7 | 8.438 | 218.433 | 18.152 | 889.967 | 30.651 | 25.9527
2020-06-05 05:00:00 | 6.307 | 223.067 | 8.422 | 219.889 | 8.332 | 222.767 | 8.142 | 216.833 | 17.96 | 889.667 | 29.92 | 31.196
2020-06-05 05:15:00 | 6.56 | 221.973 | 9.091 | 218.637 | 8.878 | 220.633 | 8.616 | 213.7 | 18.127 | 889.55 | 29.627 | 33.5025
2020-06-05 05:30:00 | 6.182 | 222.54 | 8.271 | 220.594 | 8.714 | 222.867 | 8.581 | 216.3 | 18.148 | 889.933 | 29.221 | 33.3561
2020-06-05 05:45:00 | 6.586 | 219.66 | 8.868 | 217.19 | 8.623 | 221.033 | 8.593 | 214.367 | 18.135 | 889.683 | 28.971 | 34.66
2020-06-05 06:00:00 | 6.778 | 217.74 | 9.258 | 212.865 | 8.824 | 214.633 | 8.768 | 211.767 | 18.006 | 889.683 | 29.381 | 32.5425
2020-06-05 06:15:00 | 6.656 | 215.133 | 8.198 | 208.391 | 7.826 | 212.133 | 7.574 | 209.467 | 17.944 | 889.8 | 32.037 | 30.953
2020-06-05 06:30:00 | 6.559 | 216.107 | 7.958 | 208.2 | 8.539 | 211.2 | 8.298 | 206.2 | 17.739 | 889.267 | 35.477 | 29.3521
2020-06-05 06:45:00 | 6.483 | 216.38 | 7.909 | 207.102 | 8.227 | 209.533 | 8.261 | 205.2 | 17.698 | 889.683 | 36.704 | 30.4258
2020-06-05 07:00:00 | 6.472 | 213.813 | 8.501 | 208.294 | 8.711 | 212.067 | 8.581 | 209.8 | 19.256 | 889.617 | 34 | 36.5508
2020-06-05 07:15:00 | 5.821 | 216.113 | 7.411 | 209.252 | 8.278 | 210.8 | 8.473 | 207.1 | 20.585 | 889.75 | 30.987 | 36.9857
2020-06-05 07:30:00 | 5.561 | 209.273 | 6.978 | 205.652 | 7.824 | 209 | 8.45 | 204.3 | 21.885 | 889.833 | 28.693 | 37.2053
2020-06-05 07:45:00 | 5.522 | 212 | 6.12 | 209.203 | 6.949 | 211.4 | 7.708 | 206.633 | 23.594 | 889.933 | 26.437 | 30.5913
2020-06-05 08:00:00 | 6.862 | 209.393 | 7.07 | 204.409 | 7.373 | 208.367 | 7.796 | 203.667 | 23.973 | 889.583 | 24.763 | 24.4833
2020-06-05 08:15:00 | 6.881 | 210.447 | 7.067 | 207.677 | 7.159 | 210.633 | 7.342 | 207.1 | 24.948 | 889.883 | 23.68 | 23.4189
2020-06-05 08:30:00 | 6.708 | 201.5 | 7.13 | 197.64 | 7.29 | 201.733 | 7.35 | 199.3 | 25.731 | 890.117 | 22.651 | 25.2365
2020-06-05 08:45:00 | 6.497 | 208.62 | 6.566 | 206.425 | 6.686 | 209.833 | 6.834 | 205.5 | 25.868 | 890.017 | 21.659 | 21.7284
2020-06-05 09:00:00 | 5.699 | 205.907 | 6.035 | 202.31 | 6.267 | 205.433 | 6.632 | 202.033 | 26.548 | 889.783 | 20.664 | 15.7966
2020-06-05 09:15:00 | 5.721 | 217.733 | 6.022 | 216.078 | 6.193 | 221.533 | 6.337 | 215.5 | 27.194 | 889.333 | 19.24 | 13.0098
2020-06-05 09:30:00 | 4.869 | 241.66 | 4.91 | 234.077 | 5.104 | 235.8 | 5.102 | 227.733 | 27.71 | 889.4 | 17.901 | 9.0071
2020-06-05 09:45:00 | 5.389 | 188.187 | 5.343 | 183.416 | 5.492 | 187.367 | 5.717 | 184.3 | 28.244 | 889.467 | 17.979 | 6.8136
2020-06-05 10:00:00 | 4.063 | 192.067 | 4.487 | 188.162 | 4.551 | 189.167 | 5.108 | 185.133 | 27.894 | 888.933 | 18.752 | 6.3773
2020-06-05 10:15:00 | 6.28 | 204.453 | 6.594 | 201.636 | 6.674 | 204.833 | 6.707 | 202.067 | 27.014 | 889.4 | 19.528 | 7.8411
2020-06-05 10:30:00 | 4.449 | 210.067 | 4.503 | 207.322 | 4.523 | 210.833 | 4.581 | 205.9 | 27.073 | 889.633 | 19.115 | 6.7866
2020-06-05 10:45:00 | 3.21 | 210.84 | 3.2 | 205.986 | 3.107 | 203.233 | 3.56 | 206.933 | 28.877 | 889.767 | 17.515 | 2.6135
2020-06-05 11:00:00 | 3.516 | 213.68 | 3.558 | 209.576 | 3.492 | 215.1 | 4.047 | 215.933 | 29.314 | 889.433 | 16.496 | 1.6776
2020-06-05 11:15:00 | 2.983 | 185.573 | 2.674 | 185.717 | 2.681 | 199.133 | 3.048 | 200.533 | 29.331 | 889.467 | 16.541 | 0.77594
2020-06-05 11:30:00 | 1.944 | 99.167 | 1.877 | 117.576 | 1.842 | 125.2 | 2.288 | 132.5 | 29.764 | 888.967 | 15.765 | 0.24657
2020-06-05 11:45:00 | 2.019 | 73.582 | 1.891 | 70.163 | 1.829 | 62.333 | 2.253 | 50.333 | 28.86 | 889.433 | 17.003 | 0.2487
2020-06-05 12:00:00 | 2.183 | 202.153 | 1.663 | 194.295 | 1.536 | 197.567 | 1.867 | 201.3 | 29.039 | 889.633 | 16.947 | 0.17125
2020-06-05 12:15:00 | 0.628 | 205.3 | 0.187 | 175.78 | 0.716 | 176.4 | 0.762 | 156.019 | 28.864 | 889.333 | 19.405 | 0.19754
2020-06-05 12:30:00 | 3.34 | 213.821 | 3.406 | 294.441 | 3.233 | 278.433 | 3.474 | 219.067 | 28.735 | 889.567 | 18.14 | 2.671
2020-06-05 12:45:00 | 2.877 | 225.9 | 2.583 | 223.252 | 2.503 | 235 | 2.907 | 232.767 | 27.41 | 890 | 23.299 | 2.806
2020-06-05 13:00:00 | 6.477 | 314.133 | 6.546 | 308.231 | 6.51 | 310.533 | 6.658 | 307.15 | 28.639 | 889.45 | 20.903 | 12.2587
2020-06-05 13:15:00 | 7.416 | 297.907 | 8.1 | 291.226 | 8.464 | 294.3 | 8.827 | 291.767 | 29.006 | 889.367 | 19.208 | 29.9362
2020-06-05 13:30:00 | 9.953 | 309.573 | 10.92 | 299.282 | 11.537 | 303.567 | 11.888 | 296.167 | 26.589 | 889.433 | 25.232 | 70.9735
2020-06-05 13:45:00 | 11.79 | 312.213 | 12.633 | 305.768 | 13.238 | 312.333 | 13.722 | 310.933 | 27.227 | 889.85 | 20.899 | 82.2545
2020-06-05 14:00:00 | 8.489 | 280.56 | 9.044 | 272.483 | 9.201 | 276.5 | 9.374 | 271.667 | 29.081 | 889.533 | 19.117 | 55.9116
2020-06-05 14:15:00 | 9.13 | 262.213 | 9.484 | 257.864 | 9.593 | 263.1 | 9.298 | 258.6 | 29.698 | 889.433 | 18.292 | 62.267
2020-06-05 14:30:00 | 9.708 | 245.2 | 10.288 | 240.325 | 10.906 | 244.6 | 10.885 | 238.533 | 30.639 | 889.433 | 16.992 | 62.7679
2020-06-05 14:45:00 | 11.395 | 230.947 | 11.938 | 227.55 | 12.392 | 232.233 | 12.406 | 225.733 | 29.898 | 889.333 | 17.072 | 82.6922
2020-06-05 15:00:00 | 9.612 | 209.933 | 10.04 | 207.745 | 10.782 | 211.633 | 11.245 | 208.667 | 30.277 | 889.267 | 16.76 | 63.8295
2020-06-05 15:15:00 | 7.029 | 228.673 | 7.996 | 230.52 | 8.468 | 232.367 | 8.256 | 230.133 | 31.626 | 889.233 | 15.864 | 36.7178
2020-06-05 15:30:00 | 11.068 | 249.52 | 11.695 | 242.98 | 11.802 | 250.05 | 11.458 | 243.833 | 31.127 | 889.367 | 15.824 | 58.9493
2020-06-05 15:45:00 | 10.289 | 240.22 | 11.1 | 233.363 | 11.557 | 238.183 | 11.346 | 230.8 | 30.606 | 889.667 | 16.549 | 89.6614
2020-06-05 16:00:00 | 10.825 | 219.767 | 11.375 | 215.448 | 11.939 | 217.933 | 12.271 | 211.667 | 29.698 | 889.733 | 18.264 | 79.3447
2020-06-05 16:15:00 | 9.771 | 213.227 | 10.259 | 211.427 | 10.952 | 214.167 | 11.438 | 209.667 | 29.431 | 889.6 | 18.597 | 54.4806
2020-06-05 16:30:00 | 12.461 | 219.647 | 13.179 | 215.82 | 13.502 | 219.4 | 13.41 | 215.967 | 29.898 | 889.867 | 18.208 | 51.0052
2020-06-05 16:45:00 | 8.866 | 232.307 | 9.337 | 229.066 | 9.643 | 234.3 | 9.484 | 230.4 | 30.806 | 889.1 | 16.061 | 54.2958
2020-06-05 17:00:00 | 9.676 | 228.16 | 9.871 | 225.972 | 10.222 | 230.8 | 10.016 | 226.1 | 30.781 | 889.9 | 15.547 | 55.9557
2020-06-05 17:15:00 | 8.997 | 231.98 | 9.195 | 228.961 | 9.424 | 233.067 | 9.892 | 227.633 | 31.763 | 889.267 | 14.307 | 57.3328
2020-06-05 17:30:00 | 9.127 | 249.36 | 9.759 | 243.703 | 10.078 | 249.767 | 9.984 | 245.933 | 30.506 | 889.467 | 16.076 | 49.5258
2020-06-05 17:45:00 | 5.75 | 293.767 | 5.997 | 292.196 | 6.349 | 298.017 | 6.838 | 297.067 | 30.114 | 889.4 | 17.169 | 24.101
2020-06-05 18:00:00 | 1.918 | 275.553 | 1.686 | 283.394 | 2.096 | 289.05 | 2.344 | 303.75 | 29.614 | 889.233 | 16.839 | 5.7947
2020-06-05 18:15:00 | 8.497 | 238.167 | 8.951 | 232.708 | 9.594 | 238.3 | 9.798 | 233.983 | 31.169 | 889.467 | 15.539 | 27.6837
2020-06-05 18:30:00 | 8.549 | 253.047 | 9.074 | 247.763 | 9.347 | 252.767 | 9.282 | 248.417 | 31.571 | 889.567 | 14.917 | 54.8899
2020-06-05 18:45:00 | 6.613 | 225.02 | 7.093 | 221.374 | 7.411 | 225.3 | 7.41 | 220.867 | 29.998 | 889.733 | 16.693 | 33.3107
2020-06-05 19:00:00 | 5.689 | 220.867 | 6.208 | 217.307 | 6.716 | 220.167 | 6.915 | 215.567 | 30.048 | 889.167 | 17.531 | 22.0638
2020-06-05 19:15:00 | 7.054 | 229.273 | 7.632 | 224.972 | 7.943 | 230.433 | 8.092 | 224.517 | 30.064 | 888.933 | 17.363 | 34.4369
2020-06-05 19:30:00 | 9.384 | 315.56 | 9.846 | 308.936 | 9.97 | 314.667 | 10.77 | 311.833 | 29.781 | 889.6 | 18.083 | 39.9722
2020-06-05 19:45:00 | 10.283 | 277.993 | 11.806 | 272.361 | 12.036 | 278.033 | 12.507 | 274.083 | 28.352 | 889.333 | 20.031 | 57.131
2020-06-05 20:00:00 | 11 | 307.267 | 12.839 | 300.361 | 13.691 | 307.767 | 14.972 | 304.867 | 27.948 | 889.733 | 20.219 | 92.0049
2020-06-05 20:15:00 | 9.002 | 287.6 | 10.369 | 280.319 | 10.648 | 283.133 | 10.974 | 277.933 | 27.21 | 889.717 | 20.939 | 79.9622
2020-06-05 20:30:00 | 14.49 | 236.92 | 15.637 | 234.566 | 15.876 | 240.067 | 15.489 | 235.067 | 26.964 | 889.733 | 22.443 | 93.1482
2020-06-05 20:45:00 | 14.789 | 244.467 | 16.392 | 239.966 | 17.226 | 243.033 | 17.395 | 238.033 | 26.085 | 889.817 | 23.499 | 73.1187
2020-06-05 21:00:00 | 8.334 | 277.293 | 9.026 | 270.621 | 9.268 | 274.4 | 9.218 | 271.417 | 26.298 | 889.8 | 23.237 | 29.3251
2020-06-05 21:15:00 | 7.39 | 316.773 | 8.36 | 303.209 | 8.805 | 303.933 | 9.279 | 300.783 | 26.973 | 889.85 | 20.711 | 56.1248
2020-06-05 21:30:00 | 18.55 | 300.84 | 20.295 | 293.924 | 21.712 | 298.733 | 22.344 | 295.6 | 23.881 | 889.817 | 31.68 | 88.6112
2020-06-05 21:45:00 | 16.206 | 298.133 | 17.486 | 293.951 | 18.768 | 298.033 | 20.13 | 296.867 | 22.364 | 889.8 | 36.483 | 92.6387
2020-06-05 22:00:00 | 12.852 | 293 | 14.335 | 289.121 | 15.782 | 294.067 | 16.983 | 292.333 | 22.298 | 889.933 | 35.987 | 97.7591
2020-06-05 22:15:00 | 10.937 | 289.8 | 12.687 | 285.095 | 13.613 | 288.133 | 14.748 | 286.067 | 22.531 | 889.767 | 34.552 | 93.6179
2020-06-05 22:30:00 | 14.661 | 290.867 | 16.573 | 285.904 | 17.386 | 290.9 | 18.137 | 288.833 | 22.681 | 889.717 | 35.315 | 88.9011
2020-06-05 22:45:00 | 14.994 | 280.16 | 16.134 | 275.143 | 17.016 | 280.067 | 17.83 | 276.933 | 21.998 | 889.75 | 38.115 | 85.2644
2020-06-05 23:00:00 | 12.459 | 274.547 | 14.14 | 268.471 | 14.67 | 273.7 | 15.066 | 268.1 | 21.631 | 889.95 | 38.616 | 82.3717
2020-06-05 23:15:00 | 13.63 | 281.787 | 14.999 | 277.54 | 15.556 | 280.1 | 15.973 | 274.967 | 21.502 | 889.833 | 39.699 | 79.2218
2020-06-05 23:30:00 | 17.292 | 286.533 | 19.549 | 279.736 | 20.702 | 283.5 | 21.084 | 281.933 | 21.31 | 889.292 | 41.707 | 75.7173
2020-06-05 23:45:00 | 14.454 | 295.733 | 15.789 | 289.964 | 16.647 | 294.9 | 17.484 | 293.267 | 19.723 | 889.475 | 51.072 | 74.343