## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-06 00:00:00 | 17.726 | 307.48 | 19.385 | 302.588 | 20.243 | 307.933 | 20.601 | 306.167 | 16.898 | 889.9 | 57.339 | 76.2907
2020-06-06 00:15:00 | 18.352 | 285 | 19.871 | 277.351 | 21.458 | 280.767 | 22.014 | 279.3 | 15.611 | 890.067 | 56.955 | 33.1451
2020-06-06 00:30:00 | 21.161 | 278.733 | 23.892 | 272.503 | 24.494 | 276.833 | 25.265 | 274.167 | 14.741 | 889.917 | 58.043 | 16.019
2020-06-06 00:45:00 | 25.465 | 279.16 | 29.187 | 275.594 | 29.678 | 279.467 | 30.247 | 277 | 14.433 | 889.792 | 58.272 | 0.45334
2020-06-06 01:00:00 | 23.22 | 288.6 | 26.735 | 282.467 | 27.758 | 286.267 | 29.132 | 283.833 | 10.684 | 889.942 | 76.341 | 0.55069
2020-06-06 01:15:00 | 19.523 | 289.933 | 22.672 | 282.557 | 23.676 | 284.967 | 24.139 | 283.267 | 10.414 | 889.667 | 82.011 | 29.2277
2020-06-06 01:30:00 | 16.734 | 276.427 | 18.817 | 269.785 | 19.546 | 274.933 | 20.038 | 269.6 | 11.766 | 890.333 | 70.667 | 80.4433
2020-06-06 01:45:00 | 14.533 | 265.667 | 16.362 | 258.704 | 17.242 | 264.933 | 17.256 | 261.033 | 11.574 | 890 | 68.437 | 80.1164
2020-06-06 02:00:00 | 13.578 | 262.44 | 15.161 | 258.171 | 16.218 | 262.05 | 16.132 | 255.667 | 11.47 | 889.517 | 68.571 | 77.8603
2020-06-06 02:15:00 | 13.412 | 265.407 | 15.138 | 260.945 | 16.008 | 267.933 | 16.467 | 259.233 | 11.37 | 889.817 | 63.509 | 76.5884
2020-06-06 02:30:00 | 15.003 | 270.8 | 16.518 | 262.883 | 17.288 | 268.567 | 18.198 | 264.617 | 11.732 | 890.167 | 59.525 | 73.6311
2020-06-06 02:45:00 | 16.638 | 264.833 | 18.572 | 260.862 | 19.138 | 265.55 | 19.28 | 261.333 | 11.236 | 889.933 | 59.579 | 58.076
2020-06-06 03:00:00 | 15.52 | 271.76 | 17.808 | 264.825 | 18.337 | 268.167 | 18.462 | 263.017 | 10.945 | 889.95 | 60.384 | 55.535
2020-06-06 03:15:00 | 13.674 | 267.48 | 15.113 | 262.174 | 15.376 | 266.467 | 15.771 | 260.383 | 10.945 | 889.525 | 61.275 | 63.411
2020-06-06 03:30:00 | 13.916 | 268.273 | 15.737 | 260.698 | 16.119 | 264.167 | 15.964 | 259.7 | 10.495 | 889.592 | 61.248 | 73.0413
2020-06-06 03:45:00 | 10.838 | 270.107 | 12.23 | 262.901 | 12.942 | 269.2 | 12.997 | 264.583 | 10.676 | 889.508 | 59.808 | 73.6325
2020-06-06 04:00:00 | 13.958 | 269.08 | 15.253 | 264.493 | 15.811 | 267.767 | 16.223 | 263.817 | 10.274 | 889.442 | 59.632 | 64.5031
2020-06-06 04:15:00 | 14.952 | 266.26 | 16.427 | 263.061 | 16.678 | 267.267 | 16.773 | 262.1 | 10.201 | 890.025 | 60.752 | 64.3106
2020-06-06 04:30:00 | 13.539 | 263.853 | 15.464 | 258.948 | 15.815 | 262.817 | 16.31 | 258.317 | 10.189 | 890.175 | 60.256 | 71.4326
2020-06-06 04:45:00 | 12.605 | 271.427 | 14.309 | 265.719 | 14.652 | 269.533 | 14.698 | 265.333 | 10.218 | 890.175 | 58.587 | 72.0984
2020-06-06 05:00:00 | 10.966 | 275.733 | 12.629 | 272.772 | 13.093 | 274.267 | 13.902 | 269.7 | 10.22 | 889.925 | 58.357 | 61.6765
2020-06-06 05:15:00 | 11.024 | 267.947 | 13.033 | 263.861 | 13.653 | 266.7 | 13.91 | 261.7 | 9.754 | 889.817 | 60.507 | 59.36
2020-06-06 05:30:00 | 10.665 | 263.233 | 12.215 | 258.163 | 12.982 | 262.75 | 13.59 | 259.017 | 9.566 | 890.283 | 57.899 | 58.9181
2020-06-06 05:45:00 | 10.694 | 262.933 | 11.762 | 259.921 | 12.118 | 263.767 | 12.158 | 258.717 | 10.051 | 890.158 | 57.749 | 58.4327
2020-06-06 06:00:00 | 11.267 | 259.58 | 11.926 | 253.138 | 12.472 | 259.317 | 12.364 | 254.267 | 9.787 | 890.208 | 57.979 | 59.6478
2020-06-06 06:15:00 | 11.68 | 261.64 | 13.024 | 258.799 | 13.221 | 261.7 | 13.199 | 257.533 | 9.612 | 889.475 | 59.536 | 64.7454
2020-06-06 06:30:00 | 11.791 | 263.96 | 12.967 | 258.03 | 13.002 | 261.8 | 13.009 | 256.9 | 9.37 | 889.792 | 59.275 | 70.8122
2020-06-06 06:45:00 | 10.871 | 263.593 | 11.974 | 258.091 | 12.305 | 263.483 | 12.208 | 259.4 | 9.847 | 889.75 | 58.821 | 73.9977
2020-06-06 07:00:00 | 10.854 | 263.08 | 12.232 | 257.878 | 12.776 | 262.833 | 12.683 | 258.15 | 10.297 | 889.825 | 57.168 | 68.8134
2020-06-06 07:15:00 | 8.706 | 262.647 | 9.654 | 260.819 | 10.21 | 263.883 | 10.568 | 259.15 | 9.687 | 890.108 | 59.221 | 67.749
2020-06-06 07:30:00 | 9.273 | 258.4 | 10.261 | 254.769 | 10.781 | 259.083 | 10.748 | 251.883 | 9.649 | 889.833 | 57.845 | 64.9415
2020-06-06 07:45:00 | 7.072 | 250.787 | 7.852 | 245.311 | 8.142 | 249.683 | 8.115 | 244.083 | 10.258 | 889.725 | 56.176 | 53.9213
2020-06-06 08:00:00 | 6.418 | 250.96 | 6.805 | 248.921 | 7.203 | 252.75 | 7.227 | 247.333 | 11.011 | 889.892 | 51.76 | 46.5592
2020-06-06 08:15:00 | 6.751 | 262.42 | 6.914 | 255.981 | 7.016 | 261.467 | 6.983 | 256.367 | 10.784 | 889.842 | 49.909 | 38.4438
2020-06-06 08:30:00 | 7.391 | 270.68 | 8.226 | 268.336 | 8.498 | 270.8 | 8.786 | 267.25 | 11.011 | 889.917 | 47.499 | 42.5224
2020-06-06 08:45:00 | 8.135 | 275.993 | 9.187 | 269.871 | 9.375 | 272.4 | 9.599 | 266.3 | 10.772 | 889.833 | 48.117 | 49.9273
2020-06-06 09:00:00 | 7.918 | 266.82 | 8.906 | 261.205 | 9.069 | 263.3 | 9.096 | 259 | 11.228 | 889.7 | 46.149 | 54.5609
2020-06-06 09:15:00 | 8.768 | 279.453 | 9.563 | 273.54 | 9.525 | 279.633 | 9.643 | 274.217 | 11.357 | 889.75 | 43.152 | 63.7016
2020-06-06 09:30:00 | 9.117 | 281.627 | 9.577 | 275.691 | 9.666 | 278.3 | 9.873 | 273.833 | 11.578 | 889.558 | 40.547 | 60.2049
2020-06-06 09:45:00 | 10.01 | 275.587 | 10.684 | 269.079 | 10.965 | 274.067 | 11.502 | 270.3 | 12.88 | 889.633 | 36.389 | 65.7523
2020-06-06 10:00:00 | 10.508 | 280.693 | 11.35 | 273.882 | 11.185 | 276.967 | 11.648 | 275.167 | 12.807 | 890.1 | 34.168 | 64.3319
2020-06-06 10:15:00 | 10.233 | 286.227 | 11.068 | 278.318 | 11.351 | 282.967 | 11.818 | 281.867 | 12.855 | 889.65 | 33.824 | 67.7561
2020-06-06 10:30:00 | 12.197 | 292.973 | 13.01 | 287.361 | 13.29 | 289.933 | 13.822 | 286.8 | 12.726 | 889.833 | 30.272 | 65.0218
2020-06-06 10:45:00 | 12.146 | 297.36 | 12.972 | 290.066 | 13.123 | 295.767 | 13.361 | 292.367 | 13.193 | 889.183 | 30.216 | 53.1262
2020-06-06 11:00:00 | 11.618 | 307.693 | 11.849 | 299.674 | 12.565 | 304.167 | 13.12 | 300 | 13.253 | 889.883 | 30.165 | 49.378
2020-06-06 11:15:00 | 11.02 | 291.427 | 11.887 | 284.703 | 12.054 | 288.7 | 12.338 | 284.567 | 13.451 | 889.75 | 28.664 | 44.3237
2020-06-06 11:30:00 | 10.552 | 296.4 | 11.186 | 288.966 | 11.692 | 292.9 | 11.984 | 291.433 | 13.162 | 889.433 | 31.328 | 36.9964
2020-06-06 11:45:00 | 11.049 | 295.8 | 11.6 | 289.514 | 11.854 | 293.3 | 12.262 | 291.933 | 13.001 | 889.933 | 31.88 | 32.9738
2020-06-06 12:00:00 | 9.302 | 300.907 | 9.966 | 296.491 | 10.153 | 299.7 | 10.824 | 297.667 | 13.137 | 889.75 | 31.528 | 32.8935
2020-06-06 12:15:00 | 8.115 | 287.653 | 8.738 | 285.296 | 8.985 | 289.867 | 9.369 | 288.6 | 13.268 | 890.167 | 31.464 | 31.358
2020-06-06 12:30:00 | 8.649 | 286.707 | 9.286 | 283.331 | 9.354 | 284.7 | 9.948 | 281.55 | 13.087 | 889.667 | 30.8 | 31.9101
2020-06-06 12:45:00 | 8.43 | 296.64 | 8.916 | 288.945 | 9.467 | 290.133 | 9.94 | 286.433 | 13.504 | 889.45 | 27.949 | 32.3088
2020-06-06 13:00:00 | 8.92 | 289.533 | 9.326 | 283.492 | 9.525 | 287.7 | 9.457 | 287.633 | 13.295 | 889.667 | 28.877 | 32.2171
2020-06-06 13:15:00 | 9.12 | 283.707 | 10.112 | 284.032 | 10.608 | 285.433 | 10.682 | 282.6 | 14.674 | 889.867 | 26.816 | 32.4672
2020-06-06 13:30:00 | 11.688 | 300.28 | 12.084 | 294.232 | 12.384 | 296.533 | 12.931 | 295.3 | 14.828 | 890.05 | 27.795 | 32.8872
2020-06-06 13:45:00 | 10.725 | 297.8 | 11.626 | 293.994 | 11.419 | 296.433 | 11.904 | 296.7 | 14.708 | 889.433 | 28.4 | 32.4573
2020-06-06 14:00:00 | 10.706 | 293.44 | 11.309 | 287.099 | 11.637 | 288.867 | 11.785 | 288.167 | 14.624 | 889.517 | 28.424 | 31.6081
2020-06-06 14:15:00 | 10.263 | 289.173 | 10.846 | 284.855 | 11.229 | 286.433 | 11.677 | 285.233 | 14.524 | 889.383 | 28.165 | 31.5605
2020-06-06 14:30:00 | 9.997 | 296.493 | 10.438 | 292.197 | 11.038 | 294.433 | 11.477 | 293.4 | 14.67 | 889.867 | 26.584 | 31.201
2020-06-06 14:45:00 | 10.099 | 289.76 | 10.532 | 282.665 | 10.774 | 287.133 | 11.226 | 284.533 | 14.87 | 889.983 | 27.547 | 31.9272
2020-06-06 15:00:00 | 10.617 | 301.733 | 11.309 | 294.467 | 11.527 | 298.833 | 11.809 | 295.1 | 14.674 | 889.717 | 27.952 | 32.5184
2020-06-06 15:15:00 | 9.16 | 302.133 | 9.831 | 293.577 | 9.996 | 296.933 | 10.523 | 293.033 | 14.824 | 889.767 | 28.075 | 32.5752
2020-06-06 15:30:00 | 9.679 | 290.533 | 10.608 | 282.849 | 11.01 | 284.367 | 11.108 | 280.467 | 14.624 | 889.8 | 27.483 | 30.9999
2020-06-06 15:45:00 | 10.562 | 293.627 | 10.849 | 290.719 | 11.094 | 294.2 | 11.761 | 292.4 | 14.62 | 889.2 | 26.963 | 31.557
2020-06-06 16:00:00 | 9.692 | 284.133 | 10.457 | 277.736 | 10.932 | 280.167 | 10.873 | 275.2 | 14.708 | 890.017 | 27.448 | 30.2531
2020-06-06 16:15:00 | 9.184 | 291.107 | 9.436 | 287.821 | 10.082 | 290.6 | 10.208 | 290.367 | 15.029 | 889.667 | 27.392 | 31.5435
2020-06-06 16:30:00 | 8.546 | 300.08 | 9.138 | 291.255 | 9.306 | 296.567 | 9.845 | 294.9 | 15.464 | 889.567 | 25.437 | 33.0342
2020-06-06 16:45:00 | 9.823 | 284.973 | 10.596 | 276.932 | 10.954 | 283.267 | 11.305 | 279.667 | 15.956 | 889.433 | 24.605 | 31.9449
2020-06-06 17:00:00 | 7.884 | 308.213 | 8.267 | 302.532 | 8.535 | 306.967 | 8.771 | 306.567 | 15.837 | 889.867 | 24.219 | 32.7884
2020-06-06 17:15:00 | 10.268 | 291 | 10.713 | 284.926 | 11.236 | 289.333 | 11.567 | 287.533 | 16.334 | 890.05 | 24.352 | 32.3208
2020-06-06 17:30:00 | 10.836 | 290.413 | 11.668 | 284.367 | 12.11 | 288.667 | 12.073 | 284.933 | 16.086 | 889.683 | 24.757 | 34.2841
2020-06-06 17:45:00 | 9.742 | 290.813 | 10.489 | 285.407 | 10.744 | 289.267 | 11.415 | 285.4 | 16.06 | 890 | 26.416 | 38.2242
2020-06-06 18:00:00 | 12.304 | 284.093 | 13.682 | 276.862 | 13.752 | 282.733 | 14.229 | 278.667 | 15.533 | 889.9 | 27.677 | 41.5596
2020-06-06 18:15:00 | 12.823 | 278.467 | 13.895 | 273.15 | 14.255 | 277.333 | 14.599 | 274.4 | 15.231 | 889.333 | 28.493 | 38.5262
2020-06-06 18:30:00 | 13.41 | 286.587 | 14.753 | 280.287 | 15.06 | 284.133 | 15.358 | 280.667 | 15.378 | 889.35 | 27.264 | 36.8066
2020-06-06 18:45:00 | 14.104 | 283 | 15.384 | 276.245 | 15.707 | 280.6 | 16.368 | 277.833 | 15.588 | 889.667 | 25.885 | 36.8535
2020-06-06 19:00:00 | 12.759 | 282.427 | 13.961 | 275.66 | 14.041 | 278.833 | 14.822 | 277.6 | 15.963 | 889.533 | 24.563 | 36.4599
2020-06-06 19:15:00 | 12.877 | 278.667 | 14.664 | 273.413 | 15.008 | 278.7 | 15.378 | 276.067 | 16.024 | 889.417 | 24.667 | 40.5812
2020-06-06 19:30:00 | 13.096 | 284.733 | 14.306 | 279.159 | 14.595 | 282.467 | 15.02 | 280.1 | 15.794 | 889.75 | 25.456 | 47.4381
2020-06-06 19:45:00 | 12.973 | 285.987 | 14.198 | 279.034 | 14.737 | 282.733 | 15.177 | 280.2 | 15.595 | 889.633 | 26.077 | 53.6258
2020-06-06 20:00:00 | 13.933 | 284.133 | 15.792 | 281.142 | 16.247 | 284.367 | 16.504 | 283.367 | 15.884 | 889.517 | 26.821 | 54.7811
2020-06-06 20:15:00 | 13.32 | 283.68 | 14.586 | 277.837 | 14.987 | 280.133 | 15.379 | 277.333 | 15.15 | 889.933 | 27.32 | 53.4247
2020-06-06 20:30:00 | 12.17 | 287.84 | 13.833 | 281.688 | 14.352 | 284.7 | 15.126 | 283.1 | 15.269 | 889.7 | 28.072 | 53.3366
2020-06-06 20:45:00 | 11.307 | 284.893 | 12.805 | 278.423 | 13.088 | 281.2 | 13.641 | 279.533 | 15.35 | 889.667 | 28.043 | 62.9072
2020-06-06 21:00:00 | 9.948 | 282.973 | 11.337 | 278.104 | 11.718 | 282.3 | 12.087 | 279.367 | 15.062 | 890.117 | 27.547 | 75.1495
2020-06-06 21:15:00 | 10.376 | 288.987 | 11.511 | 284.078 | 12.389 | 285.267 | 13.002 | 285.3 | 15.568 | 890 | 26.187 | 76.5827
2020-06-06 21:30:00 | 10.119 | 283.067 | 11.973 | 277.316 | 12.439 | 281.5 | 12.884 | 279.933 | 15.438 | 889.8 | 26.112 | 77.6877
2020-06-06 21:45:00 | 11.358 | 291.613 | 12.926 | 284.82 | 13.425 | 288.767 | 13.848 | 287.1 | 15.117 | 889.4 | 26.115 | 75.7755
2020-06-06 22:00:00 | 11.002 | 285.733 | 12.612 | 280.382 | 13.236 | 281.833 | 13.636 | 279.8 | 14.974 | 889.9 | 26.952 | 72.2319
2020-06-06 22:15:00 | 10.346 | 292.387 | 11.944 | 285.366 | 12.418 | 288.167 | 13.01 | 286.067 | 14.749 | 889.35 | 28.163 | 74.1235
2020-06-06 22:30:00 | 8.133 | 313.413 | 8.747 | 307.327 | 9.156 | 314.633 | 9.455 | 313.8 | 14.408 | 889.333 | 30.512 | 63.5517
2020-06-06 22:45:00 | 6.046 | 305.587 | 6.908 | 301.828 | 7.16 | 309.1 | 7.547 | 306.267 | 13.766 | 889.783 | 33.013 | 36.5352
2020-06-06 23:00:00 | 7.443 | 298.093 | 8.608 | 293.454 | 9.008 | 298.667 | 9.684 | 296.967 | 13.699 | 889.767 | 33.76 | 40.9627
2020-06-06 23:15:00 | 4.445 | 291.32 | 5.394 | 288.637 | 5.646 | 293.667 | 6.082 | 292.3 | 13.351 | 889.7 | 34.325 | 22.8703
2020-06-06 23:30:00 | 4.078 | 295.573 | 4.803 | 293.141 | 5.222 | 295.2 | 5.576 | 292.2 | 12.909 | 889.633 | 35.061 | 17.8125
2020-06-06 23:45:00 | 4.772 | 303.853 | 5.954 | 300.289 | 6.404 | 304.667 | 7.085 | 302 | 12.459 | 889.467 | 34.315 | 17.8288