## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-07 00:00:00 | 5.11 | 300.067 | 6.346 | 296.855 | 6.845 | 302.067 | 7.519 | 298.2 | 12.47 | 889.617 | 33.819 | 20.6434
2020-06-07 00:15:00 | 5.335 | 295.373 | 6.499 | 290.752 | 7.019 | 297.433 | 7.701 | 295.5 | 12.301 | 889.7 | 32.477 | 28.8817
2020-06-07 00:30:00 | 5.758 | 290.6 | 7.028 | 284.199 | 7.375 | 289.2 | 7.859 | 287.333 | 12.111 | 889.383 | 30.915 | 32.8374
2020-06-07 00:45:00 | 4.812 | 266.407 | 6.29 | 265.488 | 6.46 | 271.133 | 6.852 | 267.933 | 11.766 | 889.8 | 30.92 | 25.3416
2020-06-07 01:00:00 | 5.245 | 269.667 | 6.63 | 265.952 | 6.861 | 272.3 | 7.172 | 268.033 | 11.499 | 889.75 | 29.171 | 30.5601
2020-06-07 01:15:00 | 5.407 | 261.627 | 6.61 | 260.538 | 7.071 | 267.367 | 7.154 | 263.183 | 11.216 | 889.933 | 29.987 | 27.4982
2020-06-07 01:30:00 | 5.178 | 254.573 | 6.537 | 257.946 | 7.101 | 265.367 | 7.283 | 260.233 | 11.195 | 889.517 | 30.819 | 32.4374
2020-06-07 01:45:00 | 5.435 | 250.653 | 6.385 | 252.735 | 6.574 | 259.2 | 6.689 | 257.283 | 10.768 | 889.767 | 32.427 | 37.4476
2020-06-07 02:00:00 | 5.687 | 245.287 | 6.862 | 245.44 | 7.116 | 251.267 | 6.965 | 249.433 | 10.499 | 889.767 | 33.536 | 46.2579
2020-06-07 02:15:00 | 6.58 | 249.653 | 8.059 | 246.596 | 8.3 | 251.433 | 8.278 | 245.533 | 10.185 | 890.05 | 34.256 | 56.1213
2020-06-07 02:30:00 | 6.796 | 265.36 | 8.146 | 260.041 | 8.396 | 265 | 8.733 | 261.333 | 10.649 | 889.867 | 34.312 | 66.7194
2020-06-07 02:45:00 | 7.069 | 280.733 | 8.516 | 272.662 | 8.917 | 276.7 | 9.191 | 272.033 | 10.878 | 889.8 | 33.379 | 60.654
2020-06-07 03:00:00 | 5.885 | 276.707 | 8.021 | 272.083 | 8.628 | 277.633 | 8.979 | 273.033 | 10.803 | 889.833 | 34.275 | 39.6645
2020-06-07 03:15:00 | 5.087 | 246.473 | 6.358 | 252.05 | 7.091 | 260.867 | 7.382 | 258.267 | 10.384 | 889.8 | 35.261 | 27.1152
2020-06-07 03:30:00 | 4.858 | 234.673 | 6.083 | 243.27 | 6.266 | 252.9 | 6.432 | 250.65 | 9.854 | 889.9 | 36.805 | 23.0138
2020-06-07 03:45:00 | 5.57 | 225.073 | 6.663 | 229.48 | 6.684 | 239.667 | 6.499 | 237.467 | 9.345 | 889.7 | 37.909 | 26.3755
2020-06-07 04:00:00 | 5.343 | 225.607 | 7.055 | 227.812 | 7.268 | 234.833 | 7.029 | 230.967 | 8.799 | 889.933 | 38.88 | 33.1124
2020-06-07 04:15:00 | 5.774 | 232.573 | 6.845 | 234.097 | 7.158 | 240.5 | 7.014 | 237.167 | 9.735 | 889.967 | 38.496 | 32.9234
2020-06-07 04:30:00 | 4.96 | 231.213 | 6.302 | 233.732 | 6.956 | 243.633 | 6.795 | 241 | 9.299 | 889.717 | 39.2 | 29.1581
2020-06-07 04:45:00 | 5.638 | 222.447 | 7.142 | 224.08 | 7.214 | 229 | 7.08 | 225.6 | 8.546 | 889.433 | 40.757 | 30.2794
2020-06-07 05:00:00 | 6.143 | 230.46 | 7.096 | 231.717 | 7.448 | 237.9 | 7.429 | 231.467 | 9.095 | 889.05 | 40.821 | 30.9779
2020-06-07 05:15:00 | 5.625 | 220.193 | 7.2 | 220.306 | 6.899 | 227.267 | 6.731 | 225.4 | 8.787 | 889.733 | 41.067 | 26.6903
2020-06-07 05:30:00 | 5.533 | 214.4 | 6.555 | 218.675 | 6.6 | 223.467 | 6.612 | 222.667 | 7.99 | 889.617 | 42.656 | 21.6773
2020-06-07 05:45:00 | 5.42 | 213.74 | 6.326 | 216.267 | 6.124 | 220.5 | 6.026 | 217.6 | 8.237 | 889.75 | 43.051 | 17.8182
2020-06-07 06:00:00 | 5.107 | 214.713 | 6.449 | 216.678 | 6.334 | 220.167 | 6.276 | 217.5 | 7.499 | 889.758 | 44.555 | 17.2923
2020-06-07 06:15:00 | 4.129 | 223.04 | 6.208 | 221.888 | 6.082 | 226 | 6.021 | 221.9 | 7.869 | 889.483 | 44.469 | 17.0401
2020-06-07 06:30:00 | 5.489 | 226.833 | 6.242 | 227.444 | 6.157 | 232.867 | 6.123 | 227.133 | 8.624 | 889.725 | 42.571 | 16.3551
2020-06-07 06:45:00 | 4.706 | 227.413 | 5.629 | 229.667 | 5.751 | 235.1 | 5.657 | 231.367 | 9.028 | 889.992 | 42.048 | 14.3741
2020-06-07 07:00:00 | 5.324 | 229.567 | 6.285 | 228.542 | 6.284 | 234.467 | 6.058 | 230.367 | 10.314 | 889.917 | 39.333 | 20.8331
2020-06-07 07:15:00 | 5.061 | 229.54 | 5.741 | 227.295 | 6.358 | 235.2 | 6.343 | 233.767 | 11.32 | 889.167 | 36.875 | 23.6356
2020-06-07 07:30:00 | 4.954 | 239.607 | 5.225 | 235.999 | 5.636 | 239.267 | 5.824 | 234.033 | 12.12 | 890.017 | 35.536 | 18.0491
2020-06-07 07:45:00 | 4.22 | 261.76 | 4.312 | 256.91 | 4.304 | 261.383 | 4.474 | 253.95 | 13.418 | 889.9 | 32.637 | 15.042
2020-06-07 08:00:00 | 4.495 | 269.553 | 4.992 | 262.784 | 5.036 | 264.8 | 5.269 | 260 | 13.016 | 889.35 | 33.189 | 18.0185
2020-06-07 08:15:00 | 4.267 | 299.893 | 4.626 | 291.86 | 4.796 | 292.367 | 5.141 | 281.783 | 13.093 | 889.283 | 33.229 | 28.1846
2020-06-07 08:30:00 | 8.389 | 283.613 | 9.348 | 279.552 | 9.505 | 280.067 | 9.659 | 278.067 | 13.449 | 889.617 | 33.563 | 40.8526
2020-06-07 08:45:00 | 7.426 | 288.76 | 8.226 | 281.552 | 8.519 | 285.8 | 8.958 | 281.9 | 13.364 | 889.317 | 32.808 | 40.9329
2020-06-07 09:00:00 | 7.365 | 283.16 | 7.819 | 277.7 | 7.754 | 281.967 | 7.835 | 280.633 | 13.618 | 889.917 | 32.883 | 51.1821
2020-06-07 09:15:00 | 9.503 | 288.56 | 10.134 | 281.679 | 10.185 | 283.7 | 10.439 | 282.067 | 13.72 | 890 | 32.099 | 66.8927
2020-06-07 09:30:00 | 8.424 | 280.213 | 9.145 | 273.763 | 9.267 | 277.333 | 9.639 | 276.017 | 13.966 | 890.083 | 31.507 | 72.6967
2020-06-07 09:45:00 | 9.4 | 288.56 | 10.079 | 279.718 | 10.26 | 282.5 | 10.551 | 278.167 | 14.399 | 889.65 | 29.925 | 77.5591
2020-06-07 10:00:00 | 11.556 | 302.64 | 12.089 | 297.278 | 12.454 | 301.9 | 13.168 | 299.133 | 14.37 | 890.167 | 29.624 | 81.8431
2020-06-07 10:15:00 | 10.545 | 291.053 | 11.302 | 283.693 | 11.251 | 288.367 | 11.697 | 285.333 | 14.412 | 889.283 | 29.664 | 79.3554
2020-06-07 10:30:00 | 11.768 | 303.293 | 12.348 | 296.092 | 12.471 | 302 | 12.687 | 300.267 | 14.687 | 889.4 | 30.339 | 80.2223
2020-06-07 10:45:00 | 11.822 | 299.4 | 12.957 | 289.635 | 13.258 | 291.867 | 13.701 | 290 | 14.708 | 889.7 | 29.992 | 79.2367
2020-06-07 11:00:00 | 11.938 | 297.467 | 12.555 | 289.881 | 13.166 | 294.167 | 13.298 | 291.8 | 14.808 | 890 | 29.533 | 77.866
2020-06-07 11:15:00 | 13.145 | 292.467 | 13.743 | 284.212 | 14.152 | 289.467 | 14.585 | 288.733 | 14.824 | 889.85 | 29.144 | 76.943
2020-06-07 11:30:00 | 11.172 | 293.533 | 12.046 | 286.649 | 12.5 | 290.1 | 12.841 | 286.967 | 14.791 | 889.717 | 29.755 | 77.1768
2020-06-07 11:45:00 | 11.157 | 305.093 | 11.884 | 298.902 | 12.282 | 303.833 | 12.862 | 302 | 14.787 | 889.583 | 29.899 | 76.5579
2020-06-07 12:00:00 | 11.586 | 293.653 | 12.555 | 288.046 | 12.829 | 290.217 | 13.095 | 288.567 | 15.178 | 889.717 | 29.568 | 76.9515
2020-06-07 12:15:00 | 12.446 | 298.253 | 13.121 | 293.401 | 13.37 | 295.8 | 13.618 | 294.1 | 15.742 | 889.433 | 28.576 | 78.2988
2020-06-07 12:30:00 | 12.128 | 287.133 | 13.125 | 283.214 | 13.574 | 286.433 | 13.803 | 285 | 15.564 | 889.917 | 28.112 | 79.7625
2020-06-07 12:45:00 | 12.281 | 302.187 | 13.043 | 295.518 | 13.446 | 300.8 | 13.803 | 297.433 | 15.585 | 889.783 | 28.219 | 80.606
2020-06-07 13:00:00 | 12.446 | 302.24 | 13.256 | 295.973 | 13.74 | 300.633 | 14.755 | 295.633 | 15.559 | 889.9 | 27.757 | 80.7801
2020-06-07 13:15:00 | 13.4 | 306.093 | 13.968 | 302.968 | 14.429 | 306.067 | 15.016 | 304.267 | 15.963 | 889.9 | 27.733 | 81.0586
2020-06-07 13:30:00 | 12.343 | 288.627 | 13.388 | 282.75 | 14.078 | 286.633 | 14.549 | 285.167 | 15.93 | 889.767 | 27.677 | 79.8386
2020-06-07 13:45:00 | 12.804 | 297.947 | 13.521 | 288.863 | 14.138 | 293.7 | 14.991 | 290.133 | 16.531 | 889.833 | 27.192 | 74.5995
2020-06-07 14:00:00 | 12.549 | 298.773 | 13.642 | 291.454 | 13.628 | 295.467 | 14.445 | 293.167 | 15.939 | 889.633 | 28.061 | 75.222
2020-06-07 14:15:00 | 13.372 | 293.8 | 14.355 | 288.619 | 14.81 | 292.667 | 15.069 | 290.467 | 15.571 | 889.533 | 28.477 | 60.6653
2020-06-07 14:30:00 | 12.941 | 292.36 | 13.632 | 287.492 | 14.517 | 289.533 | 14.826 | 287.833 | 15.986 | 890.1 | 27.912 | 52.96
2020-06-07 14:45:00 | 13.727 | 301.387 | 14.537 | 298.511 | 15.239 | 304.4 | 15.768 | 301.5 | 16.472 | 889.333 | 27.68 | 50.5959
2020-06-07 15:00:00 | 13.201 | 294.333 | 14.497 | 289.835 | 15.077 | 295 | 15.622 | 292.7 | 16.464 | 889.533 | 28.093 | 51.4827
2020-06-07 15:15:00 | 11.89 | 296.627 | 12.849 | 294.532 | 13.256 | 297.5 | 14.16 | 295.367 | 16.443 | 889.833 | 28.821 | 46.945
2020-06-07 15:30:00 | 13.326 | 314.08 | 14.782 | 308.828 | 15.584 | 311.733 | 16.464 | 311.433 | 16.348 | 889.65 | 28.672 | 42.1984
2020-06-07 15:45:00 | 13.835 | 303.36 | 14.687 | 297.134 | 15.353 | 301.467 | 16.12 | 300.467 | 15.723 | 889.65 | 30.432 | 36.6461
2020-06-07 16:00:00 | 14.316 | 297.747 | 15.746 | 291.105 | 16.477 | 295.1 | 16.803 | 292.767 | 15.92 | 889.867 | 29.28 | 31.1164
2020-06-07 16:15:00 | 14.227 | 300.693 | 15.194 | 295.575 | 15.466 | 300.5 | 15.867 | 299.833 | 15.896 | 889.883 | 28.76 | 31.5421
2020-06-07 16:30:00 | 14.08 | 301.96 | 15.469 | 296.44 | 16.192 | 299.667 | 16.824 | 297.667 | 15.706 | 889.833 | 27.579 | 31.6181
2020-06-07 16:45:00 | 13.264 | 300.013 | 14.156 | 294.954 | 14.782 | 299.6 | 15.437 | 299.433 | 16.414 | 889.717 | 24.621 | 31.3623
2020-06-07 17:00:00 | 13.189 | 287.653 | 14.18 | 280.971 | 14.472 | 285.767 | 14.844 | 283.467 | 16.548 | 889.567 | 26.405 | 31.9727
2020-06-07 17:15:00 | 13.312 | 295.48 | 14.292 | 288.773 | 14.671 | 291.467 | 15.064 | 289.367 | 16.831 | 889.667 | 24.461 | 32.9404
2020-06-07 17:30:00 | 14.057 | 300.52 | 14.832 | 291.591 | 15.187 | 297.2 | 15.51 | 295.467 | 16.931 | 889.617 | 24.469 | 32.2825
2020-06-07 17:45:00 | 11.637 | 300.76 | 12.396 | 294.367 | 12.68 | 298.1 | 13.071 | 296.1 | 17.014 | 889.9 | 23 | 31.9542
2020-06-07 18:00:00 | 10.896 | 301.973 | 11.456 | 294.606 | 11.884 | 300.8 | 12.527 | 299.2 | 17.494 | 889.433 | 22.632 | 31.9329
2020-06-07 18:15:00 | 9.906 | 297.547 | 10.614 | 291.663 | 11.144 | 297.6 | 11.815 | 293.433 | 17.552 | 890.067 | 22.747 | 33.3981
2020-06-07 18:30:00 | 9.369 | 296.133 | 10.399 | 292.662 | 10.915 | 298.9 | 11.147 | 296.167 | 17.068 | 889.633 | 22.368 | 39.0961
2020-06-07 18:45:00 | 10.138 | 288.187 | 10.591 | 278.723 | 10.891 | 283.067 | 11.318 | 281.233 | 17.168 | 889.783 | 23.587 | 44.3848
2020-06-07 19:00:00 | 11.77 | 285.467 | 12.563 | 280.985 | 12.82 | 283.967 | 13.169 | 282.7 | 17.244 | 889.567 | 23.293 | 46.1691
2020-06-07 19:15:00 | 10.796 | 276.333 | 11.855 | 266.843 | 11.924 | 270.367 | 11.986 | 265.2 | 17.468 | 889.75 | 22.037 | 49.5073
2020-06-07 19:30:00 | 11.4 | 296.32 | 12.13 | 288.862 | 12.315 | 291.5 | 12.663 | 291.067 | 17.864 | 889.45 | 20.769 | 54.7975
2020-06-07 19:45:00 | 9.906 | 280.973 | 10.956 | 275.188 | 11.312 | 277.933 | 11.551 | 273.533 | 17.198 | 889.517 | 21.672 | 59.5505
2020-06-07 20:00:00 | 9.048 | 285.96 | 9.552 | 277.353 | 9.762 | 281.533 | 9.779 | 278.833 | 17.414 | 889.667 | 21.352 | 60.0486
2020-06-07 20:15:00 | 9.092 | 294.187 | 9.797 | 287.238 | 9.896 | 291.333 | 10.093 | 289.4 | 17.281 | 889.383 | 21.427 | 61.1791
2020-06-07 20:30:00 | 8.415 | 284.2 | 8.832 | 280.144 | 9.096 | 283.233 | 9.263 | 281.233 | 17.148 | 889.667 | 22.344 | 59.5334
2020-06-07 20:45:00 | 9.107 | 280.213 | 10.053 | 275.052 | 10.258 | 280.433 | 10.665 | 276.6 | 16.698 | 889.883 | 22.96 | 58.4064
2020-06-07 21:00:00 | 7.244 | 284.4 | 8.164 | 279.182 | 8.467 | 282.2 | 8.973 | 278.267 | 16.731 | 889.85 | 23.171 | 57.7783
2020-06-07 21:15:00 | 7.395 | 276.467 | 8.227 | 271.455 | 8.658 | 276.2 | 9.071 | 271.867 | 16.272 | 889.617 | 24.083 | 50.1148
2020-06-07 21:30:00 | 6.122 | 278.053 | 6.883 | 272.878 | 7.353 | 276.4 | 7.499 | 272.1 | 16.132 | 889.733 | 25.459 | 37.029
2020-06-07 21:45:00 | 6.338 | 272.8 | 7.292 | 268.557 | 7.497 | 273.167 | 7.715 | 268.4 | 15.628 | 889.85 | 25.781 | 35.809
2020-06-07 22:00:00 | 5.935 | 271.667 | 6.983 | 267.984 | 7.293 | 273.5 | 7.664 | 268.833 | 15.091 | 889.95 | 26.232 | 38.6499
2020-06-07 22:15:00 | 5.211 | 263.647 | 6.276 | 261.641 | 6.598 | 266.967 | 6.821 | 262.25 | 14.974 | 889.583 | 26.864 | 27.8592
2020-06-07 22:30:00 | 5.404 | 256.78 | 6.545 | 255.667 | 6.915 | 261.95 | 7.09 | 259.45 | 14.262 | 889.7 | 28.045 | 27.4385
2020-06-07 22:45:00 | 5.542 | 258.44 | 6.688 | 257.882 | 6.94 | 263.667 | 7.18 | 261.15 | 13.945 | 889.817 | 28.765 | 28.6707
2020-06-07 23:00:00 | 5.474 | 263.613 | 6.486 | 259.921 | 7.077 | 266.633 | 7.439 | 262.183 | 13.516 | 890.167 | 28.981 | 26.4864
2020-06-07 23:15:00 | 5.357 | 258.12 | 6.48 | 257.993 | 6.879 | 265.133 | 7.125 | 261.083 | 13.628 | 889.633 | 29.192 | 25.2265
2020-06-07 23:30:00 | 5.099 | 252.133 | 6.362 | 253.279 | 6.658 | 258.733 | 6.833 | 256.133 | 13.485 | 889.5 | 29.325 | 25.4113
2020-06-07 23:45:00 | 5.216 | 249.413 | 6.382 | 252.538 | 6.776 | 259.733 | 6.956 | 258.433 | 12.545 | 889.933 | 30.149 | 26.8921