## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-08 00:00:00 | 5.406 | 243.753 | 6.347 | 247.696 | 6.489 | 255.433 | 6.707 | 252.167 | 12.166 | 889.767 | 31.776 | 29.6811
2020-06-08 00:15:00 | 5.107 | 249.62 | 6.332 | 255.841 | 6.766 | 262.8 | 7.125 | 259.717 | 12.024 | 889.883 | 32.435 | 28.6799
2020-06-08 00:30:00 | 4.987 | 249.38 | 6.251 | 255.517 | 6.584 | 262.733 | 6.942 | 260.233 | 11.666 | 889.65 | 33.597 | 29.7337
2020-06-08 00:45:00 | 4.797 | 249.92 | 6.192 | 255.508 | 6.628 | 264.733 | 6.941 | 261.333 | 11.132 | 889.8 | 34.712 | 27.0967
2020-06-08 01:00:00 | 4.518 | 256.827 | 5.864 | 263.302 | 6.492 | 270.4 | 6.864 | 267.5 | 11.161 | 889.567 | 35.085 | 24.0612
2020-06-08 01:15:00 | 4.324 | 255.447 | 5.934 | 262.124 | 6.317 | 270.567 | 6.67 | 267.467 | 11.399 | 889.567 | 35.528 | 22.0844
2020-06-08 01:30:00 | 4.744 | 252.387 | 6.539 | 259.666 | 7.104 | 267.4 | 7.556 | 263.5 | 11.011 | 889.483 | 35.904 | 21.5025
2020-06-08 01:45:00 | 4.549 | 252.587 | 5.874 | 258.613 | 6.646 | 267.967 | 7.198 | 264.833 | 10.607 | 889.783 | 36.843 | 21.1756
2020-06-08 02:00:00 | 4.311 | 244.187 | 5.606 | 258.464 | 6.317 | 267.8 | 6.637 | 265.467 | 10.67 | 889.617 | 37.501 | 17.0074
2020-06-08 02:15:00 | 4.806 | 222.18 | 5.019 | 239.681 | 5.442 | 257.533 | 5.863 | 259.217 | 9.618 | 889.933 | 39.184 | 15.9302
2020-06-08 02:30:00 | 5.723 | 219.207 | 5.522 | 230.118 | 5.414 | 243.733 | 5.528 | 245.9 | 9.516 | 889.4 | 40.304 | 17.7443
2020-06-08 02:45:00 | 5.505 | 223.3 | 6.126 | 228.403 | 5.873 | 238.2 | 5.534 | 239.933 | 8.995 | 889.767 | 40.469 | 20.5254
2020-06-08 03:00:00 | 5.108 | 218.54 | 5.838 | 227.098 | 5.866 | 236.833 | 5.698 | 235.033 | 9.295 | 889.525 | 40.789 | 18.0093
2020-06-08 03:15:00 | 5.314 | 222.613 | 5.832 | 232.617 | 5.772 | 241.8 | 5.579 | 240.1 | 8.674 | 889.7 | 41.621 | 15.5884
2020-06-08 03:30:00 | 5.353 | 221.7 | 6.179 | 231.584 | 5.857 | 243.567 | 5.451 | 244.4 | 8.574 | 890.008 | 42.325 | 17.8224
2020-06-08 03:45:00 | 5.756 | 227.133 | 6.812 | 233.207 | 6.366 | 241.4 | 5.975 | 239.8 | 8.541 | 889.75 | 42.923 | 18.8883
2020-06-08 04:00:00 | 5.599 | 226.72 | 6.018 | 236.22 | 5.862 | 244.867 | 5.632 | 243.667 | 8.43 | 890.133 | 43.189 | 16.0688
2020-06-08 04:15:00 | 5.369 | 222.733 | 5.738 | 235.495 | 5.465 | 247.3 | 5.185 | 246.8 | 7.89 | 889.775 | 43.68 | 13.1235
2020-06-08 04:30:00 | 6.022 | 220.1 | 6.175 | 232.551 | 5.73 | 243.733 | 5.454 | 242.333 | 7.723 | 889.475 | 44.576 | 15.8435
2020-06-08 04:45:00 | 6.118 | 229.633 | 6.048 | 240.812 | 5.888 | 248.533 | 5.771 | 245.333 | 7.522 | 889.275 | 44.533 | 17.0408
2020-06-08 05:00:00 | 6.217 | 225.56 | 7.064 | 231.045 | 6.538 | 237.567 | 6.152 | 234.433 | 7.542 | 889.733 | 44.48 | 21.2111
2020-06-08 05:15:00 | 5.705 | 221.28 | 6.363 | 229.802 | 6.191 | 239.867 | 5.943 | 238.6 | 7.8 | 889.633 | 44.427 | 19.9257
2020-06-08 05:30:00 | 6.21 | 224.4 | 7.514 | 230.018 | 7.194 | 239.133 | 6.744 | 237.833 | 7.322 | 890.25 | 44.64 | 23.2256
2020-06-08 05:45:00 | 5.734 | 229.2 | 6.348 | 236.074 | 6.323 | 242.667 | 6.303 | 239.233 | 7.356 | 890.208 | 45.312 | 22.2933
2020-06-08 06:00:00 | 6.234 | 223.7 | 8.067 | 222.58 | 7.571 | 231.3 | 7.292 | 229.467 | 6.872 | 889.892 | 46.219 | 25.2059
2020-06-08 06:15:00 | 5.99 | 220.4 | 7.579 | 222.253 | 7.25 | 228 | 7.043 | 225.8 | 7.206 | 889.967 | 45.205 | 25.6948
2020-06-08 06:30:00 | 5.799 | 220.233 | 7.639 | 222.072 | 7.073 | 227.167 | 7.004 | 224.433 | 7.789 | 889.867 | 43.04 | 26.0337
2020-06-08 06:45:00 | 5.955 | 221.747 | 7.566 | 223.398 | 7.008 | 228.133 | 6.949 | 226.033 | 8.434 | 889.908 | 41.093 | 24.5273
2020-06-08 07:00:00 | 6.104 | 220.167 | 6.991 | 222.06 | 6.842 | 226.8 | 6.691 | 224.333 | 9.012 | 889.7 | 39.285 | 23.3499
2020-06-08 07:15:00 | 5.805 | 221.9 | 6.935 | 223.04 | 6.919 | 227.467 | 6.813 | 224.633 | 10.397 | 890.233 | 36.581 | 24.2573
2020-06-08 07:30:00 | 5.976 | 223.9 | 6.602 | 222.802 | 7.064 | 226.667 | 7.231 | 222.833 | 11.466 | 889.783 | 34.245 | 23.7379
2020-06-08 07:45:00 | 5.886 | 224.147 | 6.202 | 220.829 | 6.823 | 227.1 | 7.291 | 223.533 | 12.966 | 889.717 | 32.016 | 22.5882
2020-06-08 08:00:00 | 6.183 | 225.48 | 6.732 | 222.203 | 6.964 | 226.6 | 7.008 | 223.2 | 13.666 | 889.483 | 30.304 | 22.3054
2020-06-08 08:15:00 | 6.091 | 223.487 | 6.271 | 221.965 | 6.438 | 226.1 | 6.418 | 222.9 | 14.237 | 889.617 | 28.629 | 22.5711
2020-06-08 08:30:00 | 6.406 | 226.167 | 6.553 | 223.588 | 6.762 | 226.8 | 6.774 | 222.4 | 14.808 | 889.833 | 26.421 | 21.1649
2020-06-08 08:45:00 | 6.019 | 234.84 | 6.266 | 232.62 | 6.354 | 238.6 | 6.143 | 234.45 | 15.702 | 890.017 | 24.384 | 16.6734
2020-06-08 09:00:00 | 4.996 | 241.88 | 5.349 | 240.023 | 5.468 | 245.683 | 5.498 | 239.6 | 15.718 | 890.15 | 23.765 | 16.8639
2020-06-08 09:15:00 | 4.803 | 268.227 | 5.198 | 261.234 | 5.149 | 265.65 | 5.429 | 259.9 | 15.366 | 889.717 | 24.037 | 18.9814
2020-06-08 09:30:00 | 5.37 | 277.02 | 5.908 | 278.611 | 5.823 | 281.8 | 6.048 | 276.5 | 15.181 | 889.567 | 24.227 | 20.6448
2020-06-08 09:45:00 | 6.023 | 289.567 | 6.048 | 281.335 | 6.255 | 284.8 | 6.49 | 279.15 | 15.176 | 889.717 | 24.235 | 21.6254
2020-06-08 10:00:00 | 4.804 | 271.493 | 5.427 | 267.491 | 5.813 | 271.817 | 6.239 | 265.833 | 16.241 | 889.617 | 22.979 | 16.9541
2020-06-08 10:15:00 | 5.521 | 267.54 | 5.688 | 261.455 | 5.704 | 266.067 | 5.839 | 259.5 | 16.044 | 889.917 | 23.037 | 16.7651
2020-06-08 10:30:00 | 6.689 | 260.633 | 6.854 | 255.863 | 6.847 | 261.867 | 6.926 | 255.867 | 16.598 | 889.767 | 21.552 | 15.5479
2020-06-08 10:45:00 | 5.897 | 282.693 | 6.256 | 274.854 | 6.313 | 276.767 | 6.568 | 269.567 | 16.481 | 889.7 | 21.584 | 15.6396
2020-06-08 11:00:00 | 3.519 | 251.333 | 3.729 | 252.64 | 3.929 | 258.05 | 4.021 | 254.467 | 17.314 | 889.933 | 21.032 | 16.3146
2020-06-08 11:15:00 | 5.061 | 270.413 | 5.509 | 261.545 | 5.736 | 263.217 | 5.792 | 257.833 | 17.081 | 889.917 | 20.395 | 16.1363
2020-06-08 11:30:00 | 4.908 | 307.947 | 4.984 | 300.456 | 5.079 | 305.633 | 5.402 | 300.467 | 16.998 | 889.6 | 19.892 | 12.8563
2020-06-08 11:45:00 | 5.982 | 263.273 | 6.257 | 259.777 | 6.163 | 267.933 | 6.249 | 259.95 | 18.402 | 889.767 | 19.311 | 15.4562
2020-06-08 12:00:00 | 4.78 | 260.4 | 4.695 | 254.801 | 4.833 | 252.083 | 5.386 | 245.15 | 19.014 | 889.367 | 18.599 | 11.1246
2020-06-08 12:15:00 | 5.65 | 286.507 | 6.046 | 280.404 | 6.156 | 292.05 | 6.708 | 293.567 | 18.444 | 889.633 | 18.332 | 13.9797
2020-06-08 12:30:00 | 5.372 | 286.793 | 5.651 | 280.661 | 5.864 | 286.033 | 6.556 | 282.433 | 18.506 | 889.533 | 17.293 | 14.5467
2020-06-08 12:45:00 | 4.932 | 254.433 | 4.805 | 251.964 | 4.744 | 261.75 | 4.619 | 253.683 | 19.427 | 889.5 | 16.261 | 13.3203
2020-06-08 13:00:00 | 4.092 | 219.447 | 4.187 | 227.275 | 4.157 | 245.767 | 4.249 | 255.583 | 20.085 | 889.567 | 15.611 | 14.2469
2020-06-08 13:15:00 | 4.387 | 250.3 | 4.41 | 243.525 | 4.645 | 245.15 | 4.854 | 239.517 | 20.331 | 889.533 | 13.369 | 18.808
2020-06-08 13:30:00 | 5.984 | 235.253 | 5.937 | 233.701 | 6.172 | 238.767 | 6.358 | 234.067 | 20.439 | 889.7 | 14.389 | 23.9532
2020-06-08 13:45:00 | 6 | 275.547 | 6.027 | 270.488 | 6.401 | 274.833 | 6.518 | 268.317 | 20.264 | 889.367 | 14.12 | 20.9042
2020-06-08 14:00:00 | 3.22 | 250.513 | 3.747 | 245.06 | 4.286 | 250.733 | 4.586 | 244.583 | 20.627 | 889.7 | 14.279 | 23.0067
2020-06-08 14:15:00 | 6.229 | 276.067 | 6.537 | 267.321 | 6.678 | 270.1 | 6.848 | 268.3 | 20.41 | 889.367 | 14.315 | 24.9658
2020-06-08 14:30:00 | 8.246 | 307.087 | 8.671 | 301.509 | 8.65 | 303.5 | 8.701 | 302.733 | 20.331 | 889.4 | 13.452 | 22.0176
2020-06-08 14:45:00 | 6.811 | 278.767 | 7.575 | 278.802 | 7.541 | 283.467 | 8.04 | 281.2 | 20.335 | 889.567 | 12.185 | 26.7166
2020-06-08 15:00:00 | 4.938 | 286.6 | 5.065 | 279.357 | 5.508 | 284.933 | 6.058 | 278.7 | 21.481 | 889.533 | 12.091 | 28.0603
2020-06-08 15:15:00 | 6.693 | 290.607 | 7.038 | 284.847 | 7.361 | 290.733 | 7.584 | 290.633 | 21.256 | 889.4 | 11.639 | 29.0643
2020-06-08 15:30:00 | 8.331 | 308.507 | 8.804 | 300.443 | 8.903 | 304.333 | 9.129 | 301.833 | 20.818 | 889.967 | 11.376 | 35.3336
2020-06-08 15:45:00 | 5.63 | 291.607 | 5.661 | 285.61 | 5.843 | 285.217 | 6.339 | 289.4 | 20.768 | 889.233 | 11.623 | 33.1842
2020-06-08 16:00:00 | 8.516 | 296.36 | 8.863 | 291.232 | 9.217 | 292.5 | 9.682 | 290.7 | 21.389 | 889.367 | 11.364 | 34.6551
2020-06-08 16:15:00 | 10.035 | 291.253 | 10.638 | 288.655 | 10.921 | 293.6 | 11.142 | 290.567 | 21.839 | 889.533 | 10.681 | 39.7335
2020-06-08 16:30:00 | 8.303 | 280.787 | 8.653 | 273.367 | 8.551 | 276.483 | 9.032 | 276.55 | 21.698 | 889.7 | 10.423 | 39.3206
2020-06-08 16:45:00 | 7.175 | 286.107 | 7.474 | 280.145 | 7.404 | 285.6 | 7.612 | 281 | 21.81 | 889.2 | 10.343 | 43.773
2020-06-08 17:00:00 | 8.326 | 284.967 | 8.987 | 278.958 | 9.575 | 282.783 | 10.124 | 281.35 | 21.956 | 888.9 | 9.987 | 45.7804
2020-06-08 17:15:00 | 6.921 | 305.693 | 7.305 | 298.631 | 7.535 | 302.4 | 7.827 | 299.333 | 21.544 | 889.267 | 9.125 | 48.6056
2020-06-08 17:30:00 | 6.721 | 282.493 | 7.043 | 277.496 | 7.331 | 282.2 | 7.657 | 277.867 | 21.76 | 889.133 | 9.31 | 50.3287
2020-06-08 17:45:00 | 9.574 | 306.92 | 9.807 | 299.44 | 9.92 | 307.2 | 10.232 | 304.8 | 21.706 | 889.067 | 8.619 | 56.1177
2020-06-08 18:00:00 | 9.784 | 304.36 | 10.305 | 298.299 | 10.565 | 300.333 | 10.73 | 296.467 | 21.798 | 889.133 | 8.178 | 57.8124
2020-06-08 18:15:00 | 8.867 | 288.307 | 9.41 | 285.554 | 9.675 | 287.683 | 9.985 | 287.333 | 22.256 | 888.733 | 7.923 | 61.5969
2020-06-08 18:30:00 | 7.849 | 287.76 | 8.293 | 280.566 | 8.244 | 286.7 | 8.554 | 282.3 | 21.677 | 888.8 | 8.792 | 49.4846
2020-06-08 18:45:00 | 9.046 | 285.2 | 9.776 | 283.344 | 9.959 | 286.267 | 10.544 | 283.133 | 21.852 | 889.133 | 9.581 | 49.9294
2020-06-08 19:00:00 | 8.339 | 279.353 | 9.064 | 277.929 | 9.284 | 283.25 | 9.595 | 282.567 | 21.885 | 889.2 | 8.999 | 53.382
2020-06-08 19:15:00 | 8.129 | 306.987 | 8.621 | 301.79 | 8.777 | 307.167 | 9.469 | 305 | 21.994 | 889.3 | 10.05 | 52.1286
2020-06-08 19:30:00 | 9.076 | 280.267 | 9.621 | 276.27 | 9.953 | 279.867 | 10.143 | 277.033 | 21.973 | 889.133 | 9.775 | 60.3655
2020-06-08 19:45:00 | 8.636 | 308.453 | 9.123 | 302.891 | 9.583 | 306.567 | 9.964 | 304.067 | 21.806 | 888.933 | 10.408 | 59.0836
2020-06-08 20:00:00 | 7.554 | 290 | 8.38 | 284.918 | 8.44 | 287.233 | 8.872 | 285.333 | 21.685 | 889.3 | 10.124 | 57.9965
2020-06-08 20:15:00 | 11.132 | 292.133 | 11.552 | 287.822 | 11.733 | 292.7 | 12.215 | 290.567 | 21.327 | 889.467 | 11.493 | 63.9474
2020-06-08 20:30:00 | 10.01 | 293.813 | 10.775 | 287.616 | 11.187 | 292.9 | 11.718 | 292.033 | 20.86 | 889.533 | 11.967 | 66.2227
2020-06-08 20:45:00 | 8.244 | 278.48 | 9.105 | 274.053 | 9.337 | 278.4 | 9.821 | 275.4 | 20.998 | 889.667 | 12.425 | 59.8176
2020-06-08 21:00:00 | 6.259 | 289.973 | 6.892 | 285.403 | 7.303 | 289.5 | 7.611 | 287.2 | 20.431 | 889.633 | 13.144 | 48.9694
2020-06-08 21:15:00 | 7.754 | 281.107 | 8.809 | 275.282 | 9.08 | 279.467 | 9.273 | 275.767 | 20.056 | 889.533 | 13.847 | 49.0817
2020-06-08 21:30:00 | 8.214 | 286.533 | 9.265 | 282.62 | 9.554 | 285 | 9.986 | 282.033 | 19.91 | 889.267 | 14.604 | 49.8292
2020-06-08 21:45:00 | 6.428 | 283.427 | 7.478 | 277.524 | 7.957 | 281.333 | 8.415 | 278.967 | 19.494 | 889.733 | 15.109 | 38.3336
2020-06-08 22:00:00 | 5.67 | 270.387 | 6.838 | 267.972 | 7.237 | 274.633 | 7.593 | 272.4 | 19.252 | 889.233 | 15.355 | 29.534
2020-06-08 22:15:00 | 4.961 | 265.493 | 6.017 | 259.701 | 6.326 | 264.667 | 6.435 | 261.167 | 18.806 | 889.367 | 16.011 | 23.5269
2020-06-08 22:30:00 | 4.551 | 264.787 | 5.823 | 267.213 | 6.585 | 274.833 | 6.996 | 273.267 | 17.573 | 889.167 | 16.475 | 24.231
2020-06-08 22:45:00 | 4.793 | 271.813 | 5.873 | 273.042 | 6.29 | 279.9 | 6.975 | 279.9 | 18.027 | 889.5 | 17 | 21.2133
2020-06-08 23:00:00 | 4.937 | 294.067 | 6.169 | 291.552 | 6.753 | 297.533 | 7.325 | 296.6 | 17.827 | 889.5 | 17.363 | 24.9864
2020-06-08 23:15:00 | 5.501 | 295.4 | 6.872 | 295.6 | 7.414 | 301.933 | 7.852 | 300.5 | 17.689 | 889.733 | 17.811 | 25.0489
2020-06-08 23:30:00 | 4.282 | 289.147 | 5.344 | 289.906 | 5.609 | 297.1 | 6.19 | 297.267 | 17.231 | 889.567 | 18.307 | 17.8608
2020-06-08 23:45:00 | 4.415 | 292.987 | 5.645 | 295.258 | 5.92 | 304 | 6.399 | 303.167 | 16.814 | 889.167 | 19.316 | 18.0065