## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-09 00:00:00 | 4.306 | 286.76 | 5.44 | 288.804 | 5.728 | 297.133 | 6.2 | 297.067 | 16.681 | 889.533 | 19.939 | 16.3572
2020-06-09 00:15:00 | 4.545 | 282.467 | 5.725 | 287.975 | 6.015 | 296.1 | 6.401 | 297.067 | 16.276 | 889.733 | 20.243 | 15.4726
2020-06-09 00:30:00 | 4.104 | 278.68 | 5.111 | 284.654 | 5.219 | 292.1 | 5.767 | 291 | 16.077 | 889.367 | 20.291 | 12.9266
2020-06-09 00:45:00 | 4.634 | 249.767 | 5.251 | 265.602 | 5.158 | 276.967 | 5.523 | 277.633 | 14.996 | 889.617 | 21.008 | 11.1289
2020-06-09 01:00:00 | 4.993 | 247.14 | 5.347 | 259.831 | 5.178 | 271.933 | 5.424 | 271.433 | 14.57 | 889.733 | 21.323 | 12.1009
2020-06-09 01:15:00 | 4.812 | 238.213 | 4.815 | 250.122 | 4.653 | 259.033 | 4.79 | 262.183 | 13.737 | 889.9 | 21.739 | 11.1545
2020-06-09 01:30:00 | 4.229 | 242.647 | 4.936 | 254.261 | 4.94 | 267 | 5.18 | 267.867 | 13.599 | 889.75 | 22.456 | 11.2397
2020-06-09 01:45:00 | 4.211 | 246.987 | 4.422 | 256.605 | 4.363 | 268.667 | 4.709 | 266.867 | 13.858 | 889.217 | 22.312 | 8.4167
2020-06-09 02:00:00 | 4.808 | 232.407 | 5.9 | 244.824 | 5.814 | 255.933 | 5.878 | 254.55 | 12.701 | 889.717 | 22.888 | 13.4894
2020-06-09 02:15:00 | 4.975 | 241.447 | 5.285 | 253.283 | 5.113 | 261.7 | 5.306 | 260.983 | 12.672 | 889.283 | 23.472 | 13.5597
2020-06-09 02:30:00 | 4.87 | 238.527 | 5.066 | 251.908 | 5.105 | 262.4 | 5.221 | 263.1 | 12.636 | 890.433 | 23.784 | 12.1201
2020-06-09 02:45:00 | 5.741 | 235.113 | 5.922 | 240.96 | 5.867 | 248.733 | 5.8 | 245.967 | 12.932 | 889.683 | 24 | 15.55
2020-06-09 03:00:00 | 6.103 | 228.38 | 6.522 | 236.669 | 6.472 | 243.7 | 6.391 | 241.6 | 11.87 | 889.533 | 24.891 | 18.5607
2020-06-09 03:15:00 | 5.823 | 224.093 | 6.29 | 234.278 | 6.213 | 243.967 | 6.2 | 241.5 | 11.39 | 889.467 | 25.552 | 17.0458
2020-06-09 03:30:00 | 5.088 | 217.647 | 6.152 | 231.133 | 6.021 | 243.9 | 5.794 | 244.333 | 11.566 | 889.5 | 26.117 | 14.3087
2020-06-09 03:45:00 | 5.184 | 212.967 | 6.37 | 223.452 | 6.284 | 232.7 | 5.891 | 228.8 | 10.995 | 890.217 | 26.805 | 12.0583
2020-06-09 04:00:00 | 5.193 | 205.067 | 5.992 | 213.139 | 5.699 | 222.067 | 5.276 | 225.233 | 10.684 | 889.717 | 27.301 | 13.1448
2020-06-09 04:15:00 | 5.773 | 213.633 | 6.867 | 226.083 | 6.298 | 240.267 | 5.922 | 242.133 | 10.507 | 889.75 | 27.595 | 16.0226
2020-06-09 04:30:00 | 6.212 | 220.127 | 7.224 | 229.762 | 6.722 | 239.7 | 6.268 | 238.533 | 10.16 | 889.75 | 27.973 | 21.8606
2020-06-09 04:45:00 | 6.003 | 214.533 | 7.601 | 225.072 | 7.357 | 234.133 | 6.952 | 231.533 | 9.783 | 889.85 | 28.208 | 25.4653
2020-06-09 05:00:00 | 6.426 | 213.3 | 7.134 | 224.807 | 6.743 | 234.1 | 6.468 | 232.233 | 9.666 | 889.65 | 28.528 | 24.9068
2020-06-09 05:15:00 | 6.691 | 219.287 | 7.247 | 230.228 | 6.908 | 240.1 | 6.679 | 238.9 | 9.845 | 889.667 | 28.848 | 24.9963
2020-06-09 05:30:00 | 5.924 | 222.68 | 7.667 | 229.808 | 7.178 | 240 | 6.861 | 238.3 | 9.698 | 890.033 | 29.504 | 27.5764
2020-06-09 05:45:00 | 5.917 | 226.38 | 7.09 | 232.829 | 6.923 | 242.933 | 6.865 | 240.333 | 9.991 | 890.15 | 30.197 | 29.4061
2020-06-09 06:00:00 | 5.944 | 225.533 | 7.482 | 232.276 | 7.361 | 241.967 | 7.233 | 239.867 | 10.053 | 889.817 | 30.608 | 29.4892
2020-06-09 06:15:00 | 6.03 | 226.56 | 7.571 | 232.958 | 7.664 | 243.667 | 7.487 | 240.833 | 10.276 | 889.917 | 30.544 | 31.6572
2020-06-09 06:30:00 | 5.112 | 228.767 | 6.833 | 235.342 | 7.226 | 243.567 | 6.989 | 241.133 | 11.011 | 889.733 | 29.669 | 26.6647
2020-06-09 06:45:00 | 5.059 | 225.22 | 6.807 | 230.677 | 7.201 | 242.1 | 7.151 | 238.867 | 11.79 | 889.5 | 28.325 | 28.2237
2020-06-09 07:00:00 | 4.826 | 225.813 | 6.536 | 228 | 6.991 | 237.3 | 6.725 | 234.533 | 12.511 | 889.933 | 27.216 | 25.2216
2020-06-09 07:15:00 | 5.386 | 228.94 | 6.387 | 229.082 | 6.665 | 236.633 | 6.608 | 233.033 | 13.508 | 889.183 | 26.144 | 22.7246
2020-06-09 07:30:00 | 5.189 | 234.433 | 5.808 | 232.214 | 6.007 | 239.833 | 6.068 | 236.533 | 14.891 | 889.517 | 24.688 | 17.2355
2020-06-09 07:45:00 | 4.951 | 231.3 | 5.074 | 229.516 | 5.316 | 233.433 | 5.364 | 230.833 | 15.96 | 889.867 | 23.312 | 13.2599
2020-06-09 08:00:00 | 5.361 | 236.333 | 5.191 | 230.392 | 5.399 | 233.6 | 5.581 | 228.4 | 16.914 | 889.733 | 22.32 | 13.1512
2020-06-09 08:15:00 | 5.487 | 239.307 | 5.621 | 235.51 | 5.813 | 239.9 | 5.566 | 232.767 | 17.41 | 890 | 21.76 | 14.2561
2020-06-09 08:30:00 | 5.338 | 251.553 | 5.589 | 248.411 | 5.819 | 251.583 | 6.078 | 246.383 | 18.164 | 889.633 | 21.171 | 14.1239
2020-06-09 08:45:00 | 4.918 | 274.827 | 5.034 | 273.042 | 5.076 | 279.6 | 5.078 | 273.967 | 18.027 | 889.633 | 22.008 | 12.5856
2020-06-09 09:00:00 | 3.706 | 310.227 | 3.926 | 307.112 | 3.851 | 315.367 | 4.162 | 311.633 | 17.314 | 889.983 | 23.397 | 10.0922
2020-06-09 09:15:00 | 4.875 | 294.393 | 5.03 | 287.512 | 5.225 | 298.3 | 5.494 | 292.867 | 18.298 | 889.933 | 22.432 | 10.014
2020-06-09 09:30:00 | 4.128 | 253.227 | 4.162 | 250.761 | 4.408 | 255.95 | 4.643 | 254.25 | 18.473 | 889.767 | 21.893 | 9.3148
2020-06-09 09:45:00 | 4.208 | 241.967 | 4.366 | 236.961 | 4.637 | 241.283 | 4.489 | 240.783 | 19.385 | 889.983 | 21.059 | 8.7975
2020-06-09 10:00:00 | 5.12 | 300.893 | 5.06 | 295.982 | 5.362 | 301.367 | 5.529 | 299.6 | 19.177 | 890.017 | 21.08 | 7.5256
2020-06-09 10:15:00 | 4.535 | 309.707 | 4.932 | 295.605 | 5.091 | 296.667 | 5.446 | 289.367 | 18.41 | 890.2 | 21.192 | 7.9072
2020-06-09 10:30:00 | 4.765 | 301.08 | 4.812 | 299.484 | 5.286 | 306.6 | 5.411 | 306.7 | 19.448 | 889.417 | 20.784 | 7.2506
2020-06-09 10:45:00 | 4.884 | 272.54 | 4.913 | 266.92 | 5.052 | 269.333 | 5.078 | 263.9 | 19.298 | 889.717 | 20.275 | 7.5874
2020-06-09 11:00:00 | 5.287 | 273.987 | 5.36 | 275.508 | 5.192 | 282.067 | 5.657 | 280.567 | 19.51 | 889.7 | 19.771 | 8.7947
2020-06-09 11:15:00 | 5.656 | 299.44 | 5.763 | 293.835 | 5.756 | 297.067 | 6.06 | 294.533 | 20.414 | 889.5 | 18.641 | 10.9918
2020-06-09 11:30:00 | 2.224 | 288.3 | 2.48 | 283.698 | 2.519 | 283.383 | 3.169 | 282.833 | 20.227 | 889.267 | 18.561 | 9.7973
2020-06-09 11:45:00 | 4.449 | 309.52 | 4.868 | 303.66 | 5.08 | 309.1 | 5.341 | 304.667 | 20.377 | 889.467 | 17.835 | 7.6713
2020-06-09 12:00:00 | 4.902 | 319.773 | 4.94 | 315.308 | 5.091 | 320.8 | 5.39 | 319.567 | 21.248 | 889.333 | 16.763 | 5.9254
2020-06-09 12:15:00 | 4.915 | 270.413 | 5.466 | 266.945 | 5.576 | 274.183 | 5.697 | 274.6 | 22.098 | 889.6 | 15.769 | 5.7783
2020-06-09 12:30:00 | 3.081 | 139.588 | 2.948 | 146.799 | 3.162 | 119.583 | 3.309 | 242.533 | 21.998 | 889.733 | 15.68 | 3.1777
2020-06-09 12:45:00 | 5.441 | 294.767 | 5.701 | 287.953 | 5.774 | 291.267 | 5.828 | 286.817 | 22.535 | 889.5 | 14.581 | 5.3172
2020-06-09 13:00:00 | 4.826 | 254.467 | 5.03 | 250.103 | 5.334 | 263.067 | 5.536 | 266.3 | 22.448 | 889.567 | 14.123 | 6.221
2020-06-09 13:15:00 | 3.981 | 281.74 | 4.207 | 271.047 | 4.174 | 277.533 | 4.193 | 274.717 | 22.189 | 889.433 | 14.255 | 10.9058
2020-06-09 13:30:00 | 6.607 | 297.44 | 6.87 | 290.142 | 7.009 | 294.2 | 7.34 | 289.4 | 22.948 | 889.267 | 13.741 | 4.3998
2020-06-09 13:45:00 | 1.216 | 225.313 | 1.708 | 256.857 | 1.316 | 264.467 | 1.875 | 255.952 | 23.631 | 889.667 | 13.603 | 5.2276
2020-06-09 14:00:00 | 4.428 | 267.733 | 4.691 | 329.146 | 4.93 | 280.3 | 5.273 | 290.767 | 22.914 | 889.433 | 12.652 | 5.7869
2020-06-09 14:15:00 | 3.372 | 136.902 | 3.413 | 209.334 | 3.106 | 267.7 | 3.746 | 257.467 | 23.181 | 889.233 | 12.541 | 10.3096
2020-06-09 14:30:00 | 6.123 | 283.153 | 6.415 | 280.887 | 6.258 | 285.767 | 6.856 | 284.733 | 23.589 | 889.967 | 12.183 | 8.7307
2020-06-09 14:45:00 | 4.981 | 275.587 | 5.235 | 266.657 | 5.404 | 265.917 | 5.575 | 260.083 | 23.331 | 889.333 | 11.963 | 10.3387
2020-06-09 15:00:00 | 2.787 | 241.387 | 2.559 | 250.689 | 2.487 | 257.15 | 3.2 | 244.283 | 23.402 | 889.433 | 11.864 | 7.7828
2020-06-09 15:15:00 | 5.312 | 306.813 | 5.419 | 300.579 | 5.406 | 303.267 | 5.885 | 302.867 | 24.239 | 889.333 | 11.104 | 10.7836
2020-06-09 15:30:00 | 4.569 | 159.192 | 4.713 | 186.896 | 4.737 | 197.15 | 5.178 | 186.8 | 24.156 | 889.467 | 11.265 | 6.5138
2020-06-09 15:45:00 | 3.856 | 281.638 | 3.964 | 285.356 | 4.463 | 305.367 | 4.959 | 298.417 | 24.339 | 889.433 | 10.943 | 18.0193
2020-06-09 16:00:00 | 6.842 | 307.493 | 7.011 | 299.24 | 7.181 | 305.267 | 7.831 | 302.533 | 24.268 | 889.3 | 10.608 | 14.0138
2020-06-09 16:15:00 | 1.891 | 197.21 | 1.286 | 193.648 | 1.412 | 199.867 | 1.866 | 218.233 | 24.877 | 888.933 | 10.213 | 7.9484
2020-06-09 16:30:00 | 4.663 | 223.029 | 4.872 | 285.036 | 5.234 | 304.533 | 5.366 | 291.567 | 24.964 | 889.4 | 9.841 | 5.2156
2020-06-09 16:45:00 | 4.238 | 294.773 | 4.852 | 285.949 | 5.102 | 294 | 5.07 | 289.167 | 25.227 | 888.867 | 9.867 | 11.5829
2020-06-09 17:00:00 | 3.553 | 298.147 | 3.974 | 300.743 | 4.609 | 294.133 | 5.107 | 286.7 | 24.918 | 889.333 | 10.062 | 12.5451
2020-06-09 17:15:00 | 7.266 | 243.273 | 7.591 | 239.396 | 7.636 | 241.567 | 7.59 | 234.4 | 26.231 | 889.067 | 9.209 | 24.5217
2020-06-09 17:30:00 | 6.616 | 277.507 | 6.978 | 269.937 | 7.159 | 274.367 | 7.455 | 265.933 | 25.139 | 888.867 | 9.555 | 23.8267
2020-06-09 17:45:00 | 4.909 | 314.667 | 4.801 | 309.941 | 4.609 | 312.8 | 5.145 | 310.833 | 25.244 | 889.267 | 9.464 | 23.3982
2020-06-09 18:00:00 | 6.558 | 299.92 | 6.873 | 292.02 | 6.661 | 291.933 | 7.175 | 282.967 | 25.614 | 889 | 9.646 | 24.4584
2020-06-09 18:15:00 | 5.222 | 299.04 | 5.662 | 291.581 | 6.294 | 300.467 | 6.801 | 296.933 | 24.877 | 889.533 | 10.483 | 21.2509
2020-06-09 18:30:00 | 6.954 | 289.52 | 7.264 | 284.12 | 7.152 | 287.767 | 7.339 | 285.033 | 25.923 | 889.233 | 9.81 | 26.9482
2020-06-09 18:45:00 | 5.486 | 326.827 | 5.706 | 320.572 | 5.907 | 322.367 | 6.218 | 322.867 | 25.468 | 889.133 | 9.855 | 20.2732
2020-06-09 19:00:00 | 7.82 | 281.267 | 8.387 | 271.739 | 8.488 | 275.7 | 8.51 | 271.133 | 24.989 | 889.233 | 10.284 | 35.9525
2020-06-09 19:15:00 | 7.37 | 302.467 | 7.904 | 293.645 | 7.969 | 296.3 | 8.196 | 289 | 25.439 | 889.3 | 10.199 | 35.2178
2020-06-09 19:30:00 | 7.992 | 296.76 | 8.701 | 291.392 | 8.947 | 299.067 | 9.263 | 296.967 | 25.573 | 889.2 | 9.61 | 37.9933
2020-06-09 19:45:00 | 7.387 | 288.267 | 8.009 | 279.27 | 8.19 | 282.867 | 8.299 | 280 | 25.073 | 888.733 | 9.473 | 37.4149
2020-06-09 20:00:00 | 7.263 | 311.867 | 7.494 | 304.786 | 7.751 | 311.567 | 8.083 | 308.6 | 25.173 | 889.433 | 9.973 | 33.4059
2020-06-09 20:15:00 | 8.096 | 296.587 | 8.505 | 286.471 | 8.713 | 288.967 | 9.043 | 288.7 | 24.448 | 889.633 | 10.506 | 31.8249
2020-06-09 20:30:00 | 6.97 | 298.427 | 7.238 | 294.75 | 7.72 | 299.2 | 7.967 | 297.1 | 24.777 | 889.7 | 10.675 | 37.3538
2020-06-09 20:45:00 | 6.574 | 301.933 | 7.039 | 296.343 | 7.273 | 301.967 | 7.794 | 301.3 | 24.377 | 889.733 | 10.732 | 35.4608
2020-06-09 21:00:00 | 6.077 | 302.827 | 6.522 | 294.377 | 6.795 | 299 | 7.136 | 296.6 | 24.218 | 889.767 | 11.697 | 25.2216
2020-06-09 21:15:00 | 5.266 | 300.6 | 6.348 | 294.529 | 7.05 | 298.5 | 7.507 | 297.433 | 23.81 | 889.367 | 12.371 | 28.6415
2020-06-09 21:30:00 | 5.292 | 290.947 | 6.383 | 284.665 | 6.73 | 288.8 | 7.208 | 286.167 | 23.598 | 889.4 | 12.729 | 23.8686
2020-06-09 21:45:00 | 5.618 | 290.013 | 6.575 | 284.954 | 6.703 | 291.2 | 7.242 | 289.7 | 22.981 | 889.2 | 12.98 | 22.7964
2020-06-09 22:00:00 | 4.082 | 281.2 | 4.72 | 280.435 | 4.839 | 284.1 | 5.135 | 281.9 | 22.614 | 889.233 | 13.488 | 12.6062
2020-06-09 22:15:00 | 3.888 | 270.773 | 4.813 | 271.676 | 4.896 | 278.267 | 5.335 | 276.767 | 22.031 | 889.3 | 14.477 | 9.7575
2020-06-09 22:30:00 | 4.35 | 256.793 | 4.762 | 261.482 | 4.783 | 267.367 | 5.068 | 264 | 21.506 | 889 | 15.024 | 10.5519
2020-06-09 22:45:00 | 4.492 | 249.053 | 5.105 | 257.965 | 5.177 | 264.4 | 5.391 | 261.817 | 20.818 | 889.8 | 15.361 | 13.8738
2020-06-09 23:00:00 | 4.613 | 251.833 | 5.244 | 258.712 | 5.329 | 267.467 | 5.494 | 264.533 | 20.56 | 889.933 | 15.692 | 16.0098
2020-06-09 23:15:00 | 4.84 | 249.133 | 5.802 | 258.21 | 6.029 | 265.6 | 6.301 | 262.967 | 20.202 | 889.8 | 15.477 | 19.7424
2020-06-09 23:30:00 | 5.127 | 256.333 | 6.409 | 262.235 | 6.62 | 268.867 | 6.962 | 265.8 | 19.639 | 889.9 | 15.929 | 23.8409
2020-06-09 23:45:00 | 4.806 | 256.727 | 6.148 | 262.132 | 6.392 | 268.833 | 6.63 | 265.9 | 19.831 | 889.4 | 16.576 | 22.7786