## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-10 00:00:00 | 5.19 | 247.36 | 6.022 | 256.972 | 6.23 | 265.333 | 6.472 | 263.017 | 19.56 | 889.633 | 17.087 | 22.6969
2020-06-10 00:15:00 | 5.442 | 246.133 | 6.219 | 254.38 | 6.267 | 262.8 | 6.403 | 259.433 | 18.556 | 889.433 | 17.539 | 22.8163
2020-06-10 00:30:00 | 5.342 | 251.847 | 6.209 | 260.808 | 6.555 | 271.533 | 6.941 | 270.2 | 18.331 | 889.1 | 17.352 | 23.0671
2020-06-10 00:45:00 | 4.924 | 252.9 | 5.951 | 264.845 | 5.93 | 274.833 | 6.269 | 276.533 | 17.635 | 889.567 | 17.341 | 19.7601
2020-06-10 01:00:00 | 5.003 | 257.287 | 6.177 | 266.652 | 6.399 | 277.7 | 6.847 | 277.533 | 17.714 | 889.833 | 17.576 | 20.5475
2020-06-10 01:15:00 | 4.861 | 256.473 | 5.779 | 270.654 | 6.156 | 280.733 | 6.598 | 281.867 | 17.485 | 889.667 | 18.013 | 17.4309
2020-06-10 01:30:00 | 5.262 | 259.867 | 6.184 | 270.751 | 6.394 | 279.3 | 6.801 | 279.167 | 17.868 | 889.3 | 18.431 | 19.2102
2020-06-10 01:45:00 | 5.024 | 269.653 | 6.654 | 278.758 | 6.809 | 286.2 | 7.23 | 287.233 | 17.323 | 889.567 | 19.428 | 22.9996
2020-06-10 02:00:00 | 5.105 | 275.48 | 6.555 | 280.365 | 6.777 | 288.133 | 7.383 | 287.9 | 17.652 | 889.6 | 20.043 | 25.1157
2020-06-10 02:15:00 | 5.854 | 279.533 | 7.094 | 280.892 | 7.46 | 286.9 | 8.079 | 285.767 | 17.96 | 889.217 | 20.597 | 32.5042
2020-06-10 02:30:00 | 5.543 | 277.88 | 7.128 | 279.774 | 7.33 | 286.667 | 7.875 | 286.6 | 17.618 | 890.233 | 20.909 | 29.8751
2020-06-10 02:45:00 | 4.832 | 270.267 | 6.476 | 277.603 | 6.878 | 285.867 | 7.53 | 284.867 | 17.318 | 889.7 | 21.821 | 23.0998
2020-06-10 03:00:00 | 5.017 | 273.693 | 6.337 | 280.683 | 6.536 | 287.267 | 7.148 | 286.733 | 17.031 | 889.967 | 22.896 | 23.3208
2020-06-10 03:15:00 | 5.736 | 272.933 | 7.069 | 277.119 | 7.278 | 283.833 | 7.628 | 285.267 | 16.731 | 890.05 | 23.739 | 23.6477
2020-06-10 03:30:00 | 4.634 | 250.613 | 6.225 | 267.222 | 6.648 | 277.3 | 7.018 | 278.267 | 16.324 | 889.817 | 24.384 | 21.641
2020-06-10 03:45:00 | 6.03 | 244.22 | 6.455 | 255.105 | 6.472 | 266.8 | 6.732 | 267.633 | 15.302 | 889.183 | 25.645 | 21.4712
2020-06-10 04:00:00 | 5.931 | 241.273 | 6.379 | 250.618 | 6.395 | 259.933 | 6.393 | 259.517 | 15.58 | 889.817 | 25.744 | 20.492
2020-06-10 04:15:00 | 5.659 | 229.567 | 6.297 | 243.658 | 6.19 | 255.767 | 6.17 | 257.917 | 14.758 | 889.683 | 26.037 | 18.4115
2020-06-10 04:30:00 | 4.652 | 232.06 | 6.097 | 254.855 | 6.373 | 264.733 | 6.635 | 263.8 | 14.308 | 889.767 | 26.629 | 16.3274
2020-06-10 04:45:00 | 5.591 | 216.26 | 5.863 | 242.173 | 6.306 | 254.933 | 6.297 | 252.567 | 13.987 | 889.517 | 27.573 | 17.2234
2020-06-10 05:00:00 | 6.476 | 220.573 | 7.042 | 226.752 | 6.58 | 236.267 | 6.153 | 242.133 | 14.016 | 889.8 | 27.376 | 20.3165
2020-06-10 05:15:00 | 5.858 | 220.447 | 7.638 | 217.983 | 7.163 | 226.133 | 6.516 | 226.167 | 14.483 | 889.583 | 27.072 | 20.3883
2020-06-10 05:30:00 | 6.036 | 218.133 | 7.729 | 218.048 | 7.377 | 223.667 | 6.722 | 222.333 | 13.928 | 889.817 | 25.627 | 18.3241
2020-06-10 05:45:00 | 6.723 | 217.927 | 8.596 | 213.869 | 7.551 | 219.867 | 7.075 | 219.2 | 13.335 | 889.733 | 25.312 | 24.4769
2020-06-10 06:00:00 | 6.666 | 214.94 | 8.026 | 212.597 | 7.723 | 215.167 | 7.244 | 212.333 | 13.205 | 889.5 | 25.312 | 24.8911
2020-06-10 06:15:00 | 6.451 | 218.173 | 8.534 | 215.738 | 7.677 | 218.2 | 7.297 | 213.133 | 13.712 | 889.05 | 24.971 | 23.2696
2020-06-10 06:30:00 | 5.948 | 226 | 7.626 | 221.76 | 7.445 | 226.767 | 7.064 | 221.967 | 14.504 | 889.9 | 24.395 | 22.1484
2020-06-10 06:45:00 | 4.803 | 232.447 | 6.519 | 226.594 | 6.736 | 231.267 | 6.295 | 226.067 | 14.937 | 889.783 | 23.824 | 22.2443
2020-06-10 07:00:00 | 5.328 | 225.62 | 7.394 | 222.485 | 7.344 | 225.967 | 6.844 | 222.433 | 15.956 | 889.567 | 22.773 | 25.2187
2020-06-10 07:15:00 | 6.073 | 223.347 | 7.35 | 220.739 | 7.051 | 225.933 | 6.68 | 225.067 | 17.148 | 890.133 | 21.264 | 24.2495
2020-06-10 07:30:00 | 5.887 | 219.2 | 6.961 | 216.481 | 7.475 | 222.6 | 6.75 | 220.233 | 18.335 | 889.567 | 20.445 | 22.0382
2020-06-10 07:45:00 | 5.82 | 215.8 | 6.383 | 214.336 | 7.113 | 219.967 | 6.504 | 218.9 | 18.539 | 889.6 | 20.171 | 18.619
2020-06-10 08:00:00 | 5.448 | 217.547 | 5.574 | 216.43 | 5.84 | 220.833 | 6.326 | 215.8 | 19.973 | 889.7 | 19.003 | 14.3371
2020-06-10 08:15:00 | 5.047 | 229.293 | 5.206 | 224.907 | 5.33 | 227.9 | 5.54 | 223.7 | 21.144 | 889.133 | 18.019 | 13.7175
2020-06-10 08:30:00 | 4.938 | 242.94 | 4.979 | 235.983 | 5.141 | 238.6 | 5.137 | 231.4 | 22.177 | 889.467 | 16.725 | 10.6578
2020-06-10 08:45:00 | 4.721 | 274.52 | 4.832 | 270.033 | 4.706 | 273.8 | 4.785 | 267.867 | 22.548 | 889.7 | 16.367 | 10.9598
2020-06-10 09:00:00 | 4.71 | 291.76 | 5.071 | 285.311 | 5.18 | 285.7 | 5.408 | 279.2 | 21.827 | 889.5 | 16.713 | 8.9411
2020-06-10 09:15:00 | 4.425 | 279.013 | 4.559 | 277.256 | 4.449 | 279.783 | 4.62 | 277 | 22.327 | 889.367 | 16.188 | 5.0941
2020-06-10 09:30:00 | 3.643 | 293.933 | 3.639 | 291.573 | 3.532 | 297.1 | 3.773 | 291.667 | 22.198 | 889.667 | 15.936 | 3.5905
2020-06-10 09:45:00 | 3.738 | 285.253 | 3.899 | 281.815 | 4.063 | 288.867 | 4.321 | 283.667 | 23.331 | 889.7 | 15.079 | 2.9929
2020-06-10 10:00:00 | 3.721 | 253.54 | 3.605 | 255.344 | 3.632 | 264.633 | 3.836 | 262.317 | 23.335 | 889.833 | 14.948 | 3.8122
2020-06-10 10:15:00 | 3.365 | 323.227 | 3.28 | 316.182 | 3.545 | 321.367 | 3.957 | 316.467 | 22.931 | 889.633 | 14.576 | 3.5784
2020-06-10 10:30:00 | 2.261 | 276.853 | 2.026 | 273.916 | 2.432 | 280.6 | 3.01 | 281.633 | 23.348 | 889.5 | 14.565 | 4.8837
2020-06-10 10:45:00 | 5.248 | 292.36 | 5.815 | 299.236 | 6.211 | 301.633 | 6.498 | 296.867 | 23.164 | 888.933 | 15.323 | 14.2284
2020-06-10 11:00:00 | 6.06 | 338.627 | 6.29 | 334.726 | 6.445 | 337 | 6.768 | 321.867 | 23.635 | 889.6 | 14.953 | 8.5211
2020-06-10 11:15:00 | 5.291 | 320.84 | 5.38 | 318.161 | 5.59 | 323.733 | 6.016 | 317.9 | 23.618 | 890 | 14.951 | 19.2869
2020-06-10 11:30:00 | 4.651 | 309.667 | 4.763 | 301.806 | 4.835 | 304.867 | 5.119 | 304.6 | 23.381 | 889.567 | 14.211 | 11.6078
2020-06-10 11:45:00 | 1.44 | 304.967 | 0.941 | 245.32 | 1.129 | 302.083 | 1.553 | 287.033 | 24.71 | 889.667 | 13.796 | 3.1755
2020-06-10 12:00:00 | 6.775 | 283.24 | 6.975 | 276.326 | 7.039 | 280.967 | 6.741 | 279.333 | 23.931 | 889.4 | 13.931 | 18.0406
2020-06-10 12:15:00 | 7.164 | 305.147 | 7.593 | 293.534 | 7.665 | 298.2 | 7.77 | 292.3 | 24.052 | 889.8 | 13.881 | 15.4754
2020-06-10 12:30:00 | 5.363 | 278.807 | 5.75 | 273.953 | 5.646 | 281.617 | 5.598 | 280.9 | 24.252 | 889.2 | 13.497 | 19.8056
2020-06-10 12:45:00 | 6.834 | 298.84 | 6.989 | 288.741 | 7.22 | 294.25 | 7.531 | 289.383 | 24.281 | 889.867 | 13.609 | 18.6716
2020-06-10 13:00:00 | 3.176 | 310.293 | 3.545 | 303.21 | 3.716 | 301.8 | 3.907 | 295.333 | 24.581 | 889.367 | 13.483 | 14.627
2020-06-10 13:15:00 | 5.437 | 284.687 | 5.954 | 278.878 | 5.902 | 282.6 | 6.527 | 287.567 | 24.852 | 889.6 | 13.203 | 26.6271
2020-06-10 13:30:00 | 8.402 | 281.14 | 8.816 | 278.311 | 8.701 | 286.433 | 8.939 | 285.867 | 25.006 | 889.6 | 13.219 | 36.6425
2020-06-10 13:45:00 | 9.576 | 276.967 | 9.802 | 306.184 | 10.305 | 302.367 | 10.963 | 311.933 | 24.81 | 889.633 | 13.307 | 27.4037
2020-06-10 14:00:00 | 10.818 | 298.16 | 11.363 | 294.99 | 11.604 | 300.4 | 11.925 | 297.7 | 24.998 | 889.467 | 12.855 | 52.5294
2020-06-10 14:15:00 | 6.737 | 257.847 | 7.216 | 253.854 | 7.336 | 260.217 | 7.377 | 258.133 | 25.194 | 889.433 | 12.241 | 35.2228
2020-06-10 14:30:00 | 6.344 | 244.107 | 6.69 | 240.03 | 6.9 | 242.35 | 6.606 | 237.4 | 25.11 | 889.367 | 12.272 | 33.6588
2020-06-10 14:45:00 | 8.036 | 270.887 | 8.707 | 266.217 | 8.778 | 268.05 | 8.743 | 264.15 | 24.914 | 889.533 | 12.869 | 38.819
2020-06-10 15:00:00 | 7.923 | 290.613 | 8.157 | 284.477 | 8.008 | 289.867 | 8.233 | 286.633 | 24.66 | 889.633 | 12.983 | 43.3069
2020-06-10 15:15:00 | 8.229 | 307.933 | 8.728 | 302.186 | 9.014 | 306.3 | 9.634 | 303.7 | 25.073 | 889.6 | 12.161 | 46.076
2020-06-10 15:30:00 | 7.986 | 313.64 | 8.533 | 303.639 | 9.168 | 308 | 9.517 | 303.8 | 25.214 | 889.367 | 11.991 | 50.3728
2020-06-10 15:45:00 | 6.789 | 278.713 | 6.918 | 271.264 | 7.328 | 274.4 | 7.641 | 270.117 | 25.123 | 890.133 | 11.779 | 37.9798
2020-06-10 16:00:00 | 10.278 | 293.947 | 11.002 | 288.896 | 11.086 | 293.1 | 11.616 | 290.333 | 25.373 | 889.467 | 11.585 | 56.7494
2020-06-10 16:15:00 | 6.447 | 291.413 | 6.948 | 285.693 | 7.45 | 289.333 | 7.874 | 285.833 | 25.473 | 889.467 | 12.085 | 35.9937
2020-06-10 16:30:00 | 7.501 | 306.987 | 7.862 | 300.913 | 7.914 | 304.833 | 8.424 | 301 | 25.564 | 889.6 | 13.203 | 52.6445
2020-06-10 16:45:00 | 10.414 | 305.493 | 10.601 | 301.245 | 11.06 | 304.367 | 11.735 | 299.933 | 25.639 | 889.7 | 12.851 | 63.9006
2020-06-10 17:00:00 | 8.061 | 283.22 | 8.512 | 281.714 | 8.843 | 286.383 | 9.33 | 281.7 | 25.618 | 889.733 | 12.317 | 52.1357
2020-06-10 17:15:00 | 9.411 | 298 | 10.032 | 290.551 | 10.26 | 296.667 | 11.173 | 296.3 | 25.41 | 889.2 | 12.788 | 62.117
2020-06-10 17:30:00 | 10.438 | 290.907 | 10.905 | 284.902 | 11.048 | 288.967 | 11.915 | 287.433 | 25.431 | 889.6 | 12.584 | 67.9557
2020-06-10 17:45:00 | 10.658 | 299.8 | 11.228 | 293.677 | 11.55 | 297.9 | 12.063 | 296 | 25.223 | 889.633 | 12.881 | 67.0022
2020-06-10 18:00:00 | 10.705 | 296.64 | 11.668 | 293.013 | 11.761 | 297 | 12.204 | 293.833 | 25.281 | 889.567 | 13.397 | 72.9162
2020-06-10 18:15:00 | 11.92 | 300.773 | 12.973 | 293.796 | 13.07 | 299.5 | 13.604 | 295.5 | 25.094 | 889.8 | 14.009 | 77.9961
2020-06-10 18:30:00 | 10.034 | 320.773 | 10.603 | 315.346 | 10.881 | 320.267 | 11.165 | 318.1 | 24.368 | 889.667 | 17.944 | 73.1287
2020-06-10 18:45:00 | 9.441 | 343.8 | 9.705 | 335.952 | 9.782 | 338.933 | 10.254 | 337.533 | 23.723 | 889.033 | 19.209 | 67.4001
2020-06-10 19:00:00 | 8.95 | 339.627 | 9.122 | 335.824 | 9.211 | 341.333 | 9.437 | 328.3 | 23.364 | 889.4 | 19.488 | 63.6398
2020-06-10 19:15:00 | 8.401 | 336.133 | 8.783 | 330.627 | 9.118 | 334.533 | 9.444 | 334.367 | 23.448 | 889.1 | 19.609 | 53.311
2020-06-10 19:30:00 | 6.135 | 309.76 | 6.291 | 329.077 | 6.346 | 333.267 | 6.83 | 333.633 | 23.398 | 889.467 | 19.584 | 26.3812
2020-06-10 19:45:00 | 5.189 | 239.338 | 5.612 | 268.896 | 5.898 | 225.467 | 5.883 | 248.033 | 24.202 | 889.4 | 18.873 | 13.5946
2020-06-10 20:00:00 | 6.357 | 325.573 | 6.826 | 319.864 | 7.145 | 324.733 | 7.534 | 321.333 | 23.602 | 889.433 | 19.391 | 18.948
2020-06-10 20:15:00 | 6.016 | 224.26 | 6.8 | 302.381 | 6.829 | 267.367 | 7.138 | 291.6 | 23.531 | 889.583 | 21.008 | 25.3182
2020-06-10 20:30:00 | 4.925 | 318.707 | 5.222 | 312.789 | 5.419 | 315.9 | 5.768 | 315.167 | 23.564 | 889.5 | 20.856 | 24.6901
2020-06-10 20:45:00 | 10.425 | 289.027 | 11.405 | 283.058 | 11.907 | 288 | 12.207 | 285.9 | 23.348 | 889.667 | 17.479 | 55.302
2020-06-10 21:00:00 | 9.32 | 287.213 | 10.543 | 285.346 | 11.042 | 287.7 | 11.38 | 285.933 | 23.464 | 889.333 | 18.605 | 67.9209
2020-06-10 21:15:00 | 7.408 | 292.12 | 8.371 | 286.811 | 8.628 | 293.367 | 8.947 | 290.6 | 23.231 | 889.433 | 19.892 | 55.0035
2020-06-10 21:30:00 | 9.91 | 299.373 | 10.82 | 293.897 | 11.662 | 299.733 | 12.366 | 296.567 | 23.014 | 889.3 | 20.497 | 70.2473
2020-06-10 21:45:00 | 7.6 | 288.853 | 8.318 | 285.779 | 8.553 | 290.767 | 8.935 | 287.633 | 22.364 | 890.05 | 21.064 | 58.7354
2020-06-10 22:00:00 | 6.404 | 291.533 | 7.771 | 285.516 | 8.369 | 291.3 | 9.074 | 290.8 | 22.564 | 889.933 | 21.429 | 46.0639
2020-06-10 22:15:00 | 5.913 | 289.893 | 6.981 | 286.736 | 7.513 | 290.6 | 7.921 | 287.167 | 21.931 | 890 | 21.779 | 41.6463
2020-06-10 22:30:00 | 5.688 | 280.48 | 6.624 | 274.715 | 7.114 | 280.633 | 7.539 | 276.367 | 22.052 | 889.967 | 22.253 | 32.9618
2020-06-10 22:45:00 | 6.166 | 278.533 | 7.432 | 276.693 | 7.776 | 281.367 | 8.251 | 278.467 | 21.381 | 889.9 | 22.864 | 37.5932
2020-06-10 23:00:00 | 8.282 | 293.427 | 9.747 | 289.334 | 9.886 | 293.967 | 10.371 | 290.567 | 21.439 | 889.783 | 23.765 | 64.1976
2020-06-10 23:15:00 | 8.751 | 309.333 | 9.936 | 303.444 | 10.512 | 308.9 | 11.269 | 308 | 20.898 | 889.617 | 25.224 | 79.268
2020-06-10 23:30:00 | 9.953 | 315.6 | 11.243 | 309.391 | 11.932 | 314.5 | 12.813 | 312.367 | 20.831 | 889.783 | 26.605 | 82.7583
2020-06-10 23:45:00 | 10.598 | 314.707 | 11.484 | 309.429 | 12.161 | 314.467 | 13.13 | 311.133 | 20.052 | 889.617 | 29.429 | 80.7836