## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-11 00:00:00 | 9.868 | 301.853 | 11.239 | 296.839 | 11.794 | 301.667 | 12.686 | 298.367 | 19.423 | 889.933 | 32.088 | 77.7452
2020-06-11 00:15:00 | 7.118 | 292.907 | 8.38 | 286.458 | 8.966 | 292 | 9.672 | 290.433 | 19.173 | 889.783 | 31.96 | 55.4782
2020-06-11 00:30:00 | 5.812 | 278.56 | 6.945 | 273.75 | 7.214 | 279.433 | 7.792 | 277.467 | 19.494 | 889.617 | 30.635 | 36.6965
2020-06-11 00:45:00 | 5.238 | 287.587 | 6.051 | 287.822 | 6.564 | 292.933 | 7.733 | 293.6 | 19.556 | 890.067 | 30.139 | 21.7782
2020-06-11 01:00:00 | 5.402 | 270.053 | 6.484 | 264.983 | 6.821 | 272.2 | 6.926 | 268.967 | 19.373 | 889.617 | 30.747 | 24.4492
2020-06-11 01:15:00 | 5.556 | 252.727 | 6.744 | 251.609 | 7.006 | 258.05 | 7.291 | 255.367 | 18.902 | 889.933 | 31.795 | 33.1877
2020-06-11 01:30:00 | 5.701 | 255.1 | 6.715 | 252.939 | 7.238 | 259.283 | 7.555 | 255.167 | 18.673 | 890.05 | 32.779 | 34.2323
2020-06-11 01:45:00 | 5.18 | 245.593 | 6.164 | 245.512 | 6.657 | 252.233 | 6.746 | 248.467 | 18.339 | 889.433 | 32.88 | 27.9565
2020-06-11 02:00:00 | 5.243 | 239.607 | 6.687 | 237.438 | 6.881 | 244.833 | 6.861 | 242.7 | 17.685 | 889.817 | 34.181 | 27.7419
2020-06-11 02:15:00 | 5.585 | 248.747 | 6.608 | 251.22 | 6.756 | 260.3 | 6.942 | 258.667 | 17.039 | 889.85 | 34.957 | 27.9153
2020-06-11 02:30:00 | 4.796 | 271.547 | 6.28 | 269.29 | 6.67 | 277.033 | 6.869 | 274.7 | 17.002 | 889.917 | 35.272 | 32.2633
2020-06-11 02:45:00 | 5.342 | 266.867 | 6.431 | 267.051 | 6.524 | 272.033 | 6.913 | 267.767 | 16.914 | 889.6 | 34.259 | 30.1273
2020-06-11 03:00:00 | 4.785 | 265.28 | 5.931 | 265.439 | 6.126 | 270.367 | 6.382 | 266.067 | 16.948 | 889.667 | 34.717 | 23.9091
2020-06-11 03:15:00 | 4.705 | 259.427 | 5.908 | 264.409 | 6.174 | 272.933 | 6.702 | 269.967 | 16.464 | 889.6 | 35.523 | 24.2282
2020-06-11 03:30:00 | 5.072 | 245.813 | 6.306 | 249.691 | 7.042 | 256.833 | 7.551 | 254.05 | 16.464 | 889.883 | 35.741 | 30.769
2020-06-11 03:45:00 | 4.782 | 250.46 | 5.947 | 254.521 | 6.482 | 260.967 | 6.832 | 259.317 | 16.681 | 889.5 | 35.469 | 29.2874
2020-06-11 04:00:00 | 5.344 | 256.34 | 6.557 | 257.804 | 7.066 | 267.2 | 7.42 | 264.033 | 16.948 | 889.867 | 35.349 | 27.6624
2020-06-11 04:15:00 | 5.702 | 267.96 | 6.901 | 267.587 | 7.562 | 273.667 | 7.98 | 270.2 | 16.981 | 890.017 | 34.915 | 32.3905
2020-06-11 04:30:00 | 5.8 | 268.553 | 7.247 | 265.848 | 8.121 | 273.367 | 8.619 | 268.867 | 17.598 | 889.817 | 34.584 | 44.8311
2020-06-11 04:45:00 | 8.567 | 287.333 | 9.623 | 281.011 | 10.084 | 285.867 | 10.682 | 282.7 | 17.485 | 889.6 | 34.589 | 73.6808
2020-06-11 05:00:00 | 10.652 | 283.813 | 12.309 | 279.883 | 13.356 | 282.1 | 13.924 | 279.8 | 16.981 | 889.617 | 39.573 | 83.5612
2020-06-11 05:15:00 | 9.629 | 279.28 | 11.432 | 274.809 | 11.979 | 278.533 | 12.566 | 274.667 | 16.498 | 889.4 | 40.595 | 77.078
2020-06-11 05:30:00 | 9.16 | 275.907 | 10.706 | 270.802 | 11.068 | 276.433 | 11.712 | 271.333 | 16.348 | 889.275 | 40.709 | 73.403
2020-06-11 05:45:00 | 8.699 | 273.927 | 9.994 | 269.902 | 10.431 | 274.067 | 10.928 | 268.533 | 16.631 | 889.567 | 40.939 | 72.8992
2020-06-11 06:00:00 | 6.931 | 271.787 | 8.163 | 265.004 | 8.72 | 270.5 | 9.146 | 264.967 | 16.264 | 889.808 | 41.819 | 52.1471
2020-06-11 06:15:00 | 9.247 | 270.133 | 10.308 | 264.862 | 10.768 | 271.267 | 10.971 | 264.7 | 16.381 | 890.1 | 40.976 | 68.0773
2020-06-11 06:30:00 | 7.535 | 262.2 | 8.694 | 257.655 | 8.927 | 263.567 | 9.258 | 258.933 | 16.381 | 889.667 | 40.285 | 44.5198
2020-06-11 06:45:00 | 6.601 | 262.833 | 8.019 | 256.832 | 8.479 | 260.75 | 8.963 | 255 | 16.581 | 889.6 | 39.315 | 58.9642
2020-06-11 07:00:00 | 8.449 | 250.88 | 9.177 | 248.726 | 9.977 | 254.117 | 10.281 | 248.45 | 17.156 | 889.367 | 36.659 | 69.492
2020-06-11 07:15:00 | 8.313 | 254.633 | 9.869 | 250.383 | 10.04 | 254.467 | 10.014 | 250 | 17.489 | 889.733 | 37.109 | 71.0588
2020-06-11 07:30:00 | 7.985 | 247.907 | 8.6 | 245.816 | 9.034 | 250.333 | 9.186 | 245.55 | 17.877 | 890.133 | 35.541 | 60.2205
2020-06-11 07:45:00 | 8.29 | 255.073 | 9.151 | 250.496 | 9.487 | 254.067 | 9.454 | 249.483 | 18.589 | 889.7 | 33.968 | 60.6689
2020-06-11 08:00:00 | 8.96 | 257.927 | 9.552 | 253.989 | 9.864 | 256.917 | 9.519 | 252.517 | 19.118 | 889.6 | 33.253 | 70.1336
2020-06-11 08:15:00 | 8.172 | 263.387 | 8.917 | 259.227 | 9.372 | 264.267 | 9.431 | 259.433 | 19.46 | 889.733 | 32.715 | 63.423
2020-06-11 08:30:00 | 9.336 | 270.233 | 9.814 | 268.672 | 9.687 | 274.167 | 9.99 | 272.2 | 19.552 | 889.933 | 32.053 | 50.4517
2020-06-11 08:45:00 | 7.99 | 285.12 | 8.746 | 280.789 | 9.012 | 285.167 | 9.254 | 281.667 | 19.556 | 889.9 | 31.611 | 51.7129
2020-06-11 09:00:00 | 7.683 | 276.167 | 8.429 | 270.224 | 8.511 | 275.45 | 8.449 | 272.467 | 20.106 | 889.683 | 31.507 | 48.1693
2020-06-11 09:15:00 | 7.842 | 296.867 | 8.279 | 288.081 | 8.368 | 292.8 | 8.527 | 287.733 | 19.777 | 889.767 | 31.139 | 37.2813
2020-06-11 09:30:00 | 6.94 | 282.707 | 7.572 | 275.622 | 7.706 | 281.1 | 7.908 | 278.233 | 20.481 | 889.733 | 30.237 | 35.2953
2020-06-11 09:45:00 | 7.883 | 308.32 | 8.242 | 300.586 | 8.426 | 302.133 | 8.76 | 299.433 | 20.835 | 889.95 | 29.269 | 35.9994
2020-06-11 10:00:00 | 6.496 | 292.92 | 7.028 | 287.216 | 7.235 | 291 | 7.23 | 286.1 | 20.814 | 889.767 | 28.259 | 34.3502
2020-06-11 10:15:00 | 6.082 | 286.107 | 6.3 | 282.649 | 6.245 | 290.333 | 6.472 | 285.833 | 21.673 | 890.05 | 27.032 | 32.7777
2020-06-11 10:30:00 | 8.024 | 286.907 | 8.684 | 283.482 | 8.945 | 289.667 | 9.483 | 285.667 | 21.164 | 889.7 | 26.856 | 48.7683
2020-06-11 10:45:00 | 8.724 | 292.12 | 9.213 | 286.485 | 9.267 | 293.233 | 9.357 | 286.667 | 21.927 | 889.8 | 26.264 | 48.9396
2020-06-11 11:00:00 | 7.571 | 312.12 | 7.858 | 304.361 | 8.026 | 306.233 | 8.443 | 304.567 | 21.906 | 889.5 | 25.189 | 37.319
2020-06-11 11:15:00 | 7.382 | 285.52 | 7.891 | 283.605 | 8.077 | 287.7 | 8.482 | 285.833 | 21.789 | 890.05 | 26.248 | 36.4322
2020-06-11 11:30:00 | 5.998 | 310.147 | 6.043 | 305.013 | 6.478 | 309.667 | 7.199 | 310.2 | 21.223 | 890.033 | 26.96 | 29.3322
2020-06-11 11:45:00 | 6.664 | 280.693 | 7.205 | 277.923 | 7.232 | 280.3 | 7.428 | 276.4 | 22.152 | 889.617 | 23.629 | 23.9177
2020-06-11 12:00:00 | 6.551 | 264.08 | 6.949 | 257.945 | 7.295 | 264.583 | 7.114 | 260.55 | 22.244 | 889.867 | 23.696 | 29.129
2020-06-11 12:15:00 | 7.643 | 268.414 | 7.873 | 288.99 | 7.86 | 234.467 | 8.045 | 265.567 | 21.435 | 889.167 | 26.544 | 37.2351
2020-06-11 12:30:00 | 6.788 | 144.033 | 7.353 | 187.666 | 7.579 | 107.3 | 7.458 | 168.833 | 20.244 | 889.617 | 29.8 | 32.8623
2020-06-11 12:45:00 | 4.2 | 320.147 | 4.379 | 329.3 | 4.469 | 325.967 | 4.736 | 312.633 | 20.248 | 889.15 | 29.968 | 19.8873
2020-06-11 13:00:00 | 7.602 | 247 | 8.2 | 244.027 | 8.56 | 247.933 | 8.326 | 244.533 | 19.152 | 889.767 | 33.603 | 37.3616
2020-06-11 13:15:00 | 5.478 | 224.18 | 6.015 | 221.251 | 6.399 | 224.567 | 6.936 | 219.933 | 18.581 | 889.875 | 43.477 | 16.7765
2020-06-11 13:30:00 | 6.954 | 249.387 | 7.952 | 249.027 | 8.118 | 252.117 | 8.037 | 247.317 | 20.423 | 889.983 | 36.051 | 25.8952
2020-06-11 13:45:00 | 10.338 | 339.973 | 11.932 | 336.991 | 12.31 | 341.867 | 12.449 | 341.167 | 19.802 | 889.517 | 35.589 | 41.6754
2020-06-11 14:00:00 | 10.28 | 331.04 | 11.086 | 334.136 | 11.212 | 338.567 | 11.575 | 338.2 | 19.502 | 889.4 | 34.851 | 61.7426
2020-06-11 14:15:00 | 9.668 | 330.2 | 10.06 | 323.134 | 10.41 | 329.767 | 10.821 | 327.633 | 21.823 | 889.683 | 28.963 | 64.9095
2020-06-11 14:30:00 | 7.375 | 308.413 | 7.877 | 317.874 | 8.092 | 324.2 | 8.337 | 335.667 | 21.931 | 890 | 26.789 | 42.283
2020-06-11 14:45:00 | 5.336 | 292.74 | 5.443 | 330.357 | 5.709 | 336.5 | 6.187 | 331.1 | 21.564 | 890.133 | 27.291 | 28.1882
2020-06-11 15:00:00 | 7.374 | 323.76 | 7.503 | 318.577 | 7.781 | 321.467 | 8.219 | 319.567 | 22.189 | 889.483 | 24.955 | 25.5577
2020-06-11 15:15:00 | 7.397 | 329.093 | 7.477 | 322.28 | 7.876 | 321.6 | 8.244 | 316.3 | 22.239 | 889.7 | 24.691 | 23.4885
2020-06-11 15:30:00 | 6.077 | 326.627 | 6.239 | 320.707 | 6.299 | 325.2 | 6.765 | 324.233 | 22.435 | 889.667 | 24.923 | 31.4973
2020-06-11 15:45:00 | 7.614 | 315.827 | 7.98 | 305.712 | 8.091 | 311.1 | 8.299 | 307.067 | 21.81 | 890.033 | 25.235 | 29.2668
2020-06-11 16:00:00 | 7.428 | 314.067 | 7.655 | 313.484 | 7.908 | 307.738 | 8.216 | 330.5 | 22.714 | 889.783 | 23.869 | 32.6534
2020-06-11 16:15:00 | 5.961 | 192.973 | 6.324 | 301.726 | 6.346 | 291.4 | 6.721 | 324.233 | 22.414 | 889.667 | 23.821 | 25.1669
2020-06-11 16:30:00 | 5.744 | 330.653 | 6.098 | 318.258 | 6.344 | 323.2 | 6.72 | 321.167 | 22.948 | 889.583 | 21.771 | 21.4392
2020-06-11 16:45:00 | 6.384 | 314.573 | 6.611 | 310.473 | 6.876 | 306.133 | 7.337 | 319.533 | 22.548 | 889.483 | 23.339 | 24.0363
2020-06-11 17:00:00 | 5.681 | 332.333 | 6.007 | 325.747 | 6.218 | 328.7 | 6.487 | 326.8 | 22.998 | 889.767 | 20.688 | 12.8506
2020-06-11 17:15:00 | 3.571 | 289.507 | 3.673 | 279.524 | 3.58 | 283.217 | 3.844 | 275.683 | 23.381 | 889.417 | 20.524 | 9.0285
2020-06-11 17:30:00 | 3.509 | 326.107 | 3.467 | 314.729 | 3.272 | 308.533 | 3.639 | 306.1 | 24.031 | 889.5 | 19.288 | 13.0197
2020-06-11 17:45:00 | 6.544 | 264.573 | 6.775 | 260.569 | 6.827 | 266.867 | 6.701 | 263.25 | 24.344 | 889.8 | 18.947 | 13.5086
2020-06-11 18:00:00 | 4.2 | 238.753 | 4.407 | 234.981 | 4.452 | 238.2 | 4.53 | 237.05 | 24.285 | 889.667 | 19.687 | 7.4219
2020-06-11 18:15:00 | 2.867 | 296.04 | 2.666 | 293.772 | 2.857 | 294.967 | 2.735 | 280.367 | 23.398 | 889.45 | 20.515 | 5.0109
2020-06-11 18:30:00 | 5.128 | 292.913 | 5.294 | 289.131 | 5.186 | 297.2 | 5.564 | 296.467 | 23.364 | 889.933 | 20.292 | 9.4974
2020-06-11 18:45:00 | 6.79 | 328.08 | 6.952 | 310.602 | 7.032 | 305.233 | 7.225 | 320.067 | 23.364 | 889.75 | 21.189 | 24.8194
2020-06-11 19:00:00 | 6.057 | 334.733 | 6.253 | 329.443 | 6.274 | 333.767 | 6.491 | 333.7 | 22.848 | 890 | 21.168 | 16.8525
2020-06-11 19:15:00 | 7.472 | 317.08 | 7.803 | 335.776 | 8.247 | 330.233 | 8.292 | 339.567 | 23.281 | 889.083 | 20.216 | 30.1657
2020-06-11 19:30:00 | 6.987 | 344.96 | 7.191 | 327.572 | 7.265 | 342.9 | 7.36 | 331.433 | 22.864 | 889.667 | 20.191 | 39.8294
2020-06-11 19:45:00 | 7.392 | 301.653 | 7.976 | 320.567 | 8.338 | 324.8 | 8.34 | 335.567 | 22.948 | 889.467 | 19.757 | 37.5904
2020-06-11 20:00:00 | 5.363 | 329.373 | 5.993 | 325.388 | 6.301 | 330.967 | 6.9 | 333.1 | 23.048 | 889.5 | 19.439 | 35.8417
2020-06-11 20:15:00 | 8.494 | 75.533 | 9.697 | 97.084 | 9.562 | 40.367 | 9.594 | 28 | 22.464 | 889.467 | 22.32 | 44.3976
2020-06-11 20:30:00 | 7.829 | 9.871 | 8.511 | 7.891 | 9.421 | 10.667 | 8.876 | 7.567 | 22.027 | 889.45 | 23.397 | 39.8422
2020-06-11 20:45:00 | 7.265 | 28.281 | 8.677 | 25.568 | 8.623 | 0.633 | 9.455 | 0.133 | 21.531 | 890.017 | 23.728 | 29.3798
2020-06-11 21:00:00 | 6.614 | 3.804 | 7.62 | 3.343 | 7.716 | 4.4 | 8.09 | 2.467 | 21.227 | 889.4 | 23.899 | 24.6595
2020-06-11 21:15:00 | 6.952 | 40.397 | 8.459 | 25.858 | 8.332 | 9.567 | 9.062 | 0.533 | 20.86 | 889.733 | 24.277 | 24.916
2020-06-11 21:30:00 | 6.476 | 56.174 | 7.751 | 142.344 | 8.065 | 18.9 | 8.131 | 9.267 | 20.668 | 889.517 | 24.728 | 29.5439
2020-06-11 21:45:00 | 5.807 | 110.78 | 6.68 | 214.948 | 7.325 | 71.7 | 7.798 | 83.233 | 20.168 | 889.55 | 25.531 | 32.0402
2020-06-11 22:00:00 | 5.555 | 37.755 | 6.732 | 178.501 | 7.485 | 25.567 | 7.72 | 22.6 | 19.781 | 889.85 | 25.872 | 29.7365
2020-06-11 22:15:00 | 4.824 | 180.237 | 6.049 | 305.696 | 6.354 | 130.333 | 6.936 | 141.733 | 19.068 | 889.417 | 26.144 | 28.4852
2020-06-11 22:30:00 | 4.949 | 80.041 | 6.254 | 169.926 | 6.607 | 22.333 | 7.157 | 35.8 | 19.006 | 890.05 | 25.288 | 18.965
2020-06-11 22:45:00 | 5.128 | 35.587 | 5.987 | 146.101 | 6.705 | 74.267 | 7.304 | 155.467 | 18.606 | 889.783 | 25.085 | 16.2713
2020-06-11 23:00:00 | 3.695 | 48.041 | 4.718 | 166.01 | 5.363 | 71.2 | 6.224 | 82.6 | 18.218 | 889.733 | 24.549 | 9.5614
2020-06-11 23:15:00 | 2.682 | 349.373 | 3.994 | 348.591 | 4.672 | 330.367 | 5.426 | 296 | 17.648 | 889.683 | 24.544 | 7.5604
2020-06-11 23:30:00 | 3.107 | 348.187 | 4.191 | 351.18 | 4.474 | 119.3 | 5.085 | 23.867 | 17.423 | 889.55 | 24.533 | 5.2689
2020-06-11 23:45:00 | 2.327 | 339.373 | 3.327 | 347.863 | 3.899 | 347.667 | 4.646 | 285.2 | 17.818 | 889.433 | 24.515 | 2.6625