## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-12 00:00:00 | 1.827 | 320 | 2.067 | 333.994 | 2.462 | 333.967 | 3.203 | 316.067 | 17.131 | 889.717 | 24.469 | 0.39934
2020-06-12 00:15:00 | 3.32 | 277.467 | 2.855 | 296.973 | 3.11 | 316.3 | 3.654 | 327.4 | 17.198 | 889.517 | 24.461 | 1.0914
2020-06-12 00:30:00 | 3.895 | 281.467 | 3.461 | 296.369 | 3.279 | 312.033 | 3.518 | 318.967 | 16.414 | 889.883 | 24.213 | 1.414
2020-06-12 00:45:00 | 4.414 | 285.4 | 4.468 | 298.309 | 4.209 | 308.233 | 4.435 | 313.833 | 16.258 | 889.533 | 24.371 | 2.396
2020-06-12 01:00:00 | 3.979 | 288.76 | 4.37 | 306.297 | 4.448 | 318.367 | 4.785 | 322.5 | 15.846 | 889.967 | 25.208 | 3.6978
2020-06-12 01:15:00 | 4.114 | 281.453 | 4.378 | 295.249 | 4.158 | 306.967 | 4.369 | 309.167 | 15.322 | 889.783 | 24.957 | 4.1028
2020-06-12 01:30:00 | 4.152 | 282.427 | 4.132 | 303.041 | 4.262 | 314.167 | 4.597 | 317.867 | 15.416 | 890.1 | 25.133 | 4.9661
2020-06-12 01:45:00 | 4.404 | 272.333 | 4.56 | 290.357 | 4.465 | 300.8 | 4.715 | 302.167 | 15.108 | 889.7 | 25.104 | 5.2987
2020-06-12 02:00:00 | 4.446 | 275 | 4.488 | 287.322 | 4.674 | 295.533 | 5.07 | 295.667 | 14.741 | 889.85 | 25.648 | 6.7781
2020-06-12 02:15:00 | 4.312 | 281.333 | 4.283 | 289.344 | 4.309 | 300 | 4.602 | 300.667 | 14.974 | 889.733 | 25.557 | 7.5654
2020-06-12 02:30:00 | 4.384 | 289.827 | 5.149 | 303.68 | 5.075 | 311.7 | 5.262 | 311.8 | 14.008 | 889.783 | 26.291 | 11.1538
2020-06-12 02:45:00 | 4.202 | 298.6 | 4.692 | 312.923 | 5.004 | 320.633 | 5.329 | 320.7 | 13.57 | 889.517 | 27.896 | 11.8828
2020-06-12 03:00:00 | 3.876 | 307.013 | 5.145 | 321.064 | 5.459 | 330.933 | 5.663 | 332.133 | 13.105 | 889.85 | 28.64 | 10.9662
2020-06-12 03:15:00 | 4.221 | 290.16 | 4.79 | 301.404 | 5.071 | 310.633 | 5.364 | 309.767 | 12.866 | 889.533 | 29.301 | 10.6159
2020-06-12 03:30:00 | 4.375 | 290.027 | 4.928 | 298.524 | 5.044 | 304.867 | 5.427 | 304.8 | 12.455 | 889.7 | 30.256 | 9.2601
2020-06-12 03:45:00 | 4.57 | 268.36 | 4.832 | 279.801 | 4.761 | 288 | 4.984 | 289.2 | 11.903 | 889.733 | 30.363 | 8.0138
2020-06-12 04:00:00 | 4.438 | 275.547 | 4.775 | 283.099 | 4.908 | 289.9 | 5.252 | 289.167 | 11.724 | 889.583 | 30.421 | 6.5642
2020-06-12 04:15:00 | 4.2 | 255.5 | 4.855 | 274.916 | 4.756 | 282.967 | 4.934 | 282.8 | 11.278 | 889.7 | 31.2 | 5.1118
2020-06-12 04:30:00 | 5.551 | 211.827 | 5.32 | 239.805 | 5.322 | 255.167 | 5.203 | 254.433 | 9.966 | 889.683 | 33.168 | 10.051
2020-06-12 04:45:00 | 6.482 | 215.373 | 7.191 | 222.388 | 6.525 | 227.7 | 6.255 | 223.967 | 10.108 | 889.65 | 32.96 | 17.1694
2020-06-12 05:00:00 | 3.047 | 266.4 | 4.598 | 265.192 | 4.36 | 276.733 | 4.305 | 275.5 | 10.17 | 889.883 | 32.579 | 6.2779
2020-06-12 05:15:00 | 4.624 | 255.353 | 3.869 | 265.782 | 3.654 | 273.467 | 3.966 | 275.433 | 10.441 | 889.617 | 31.613 | 5.6504
2020-06-12 05:30:00 | 5.183 | 232.047 | 4.874 | 243.724 | 4.687 | 255.2 | 4.696 | 255.383 | 9.739 | 889.817 | 32.448 | 9.3589
2020-06-12 05:45:00 | 5.637 | 232.88 | 5.924 | 242.737 | 5.412 | 252.1 | 5.166 | 251.833 | 9.112 | 889.633 | 33.221 | 12.0555
2020-06-12 06:00:00 | 4.739 | 235.22 | 6.435 | 245.757 | 5.91 | 256.567 | 5.661 | 255.817 | 9.308 | 889.967 | 33.168 | 14.0486
2020-06-12 06:15:00 | 5.026 | 240.72 | 5.522 | 253.458 | 5.19 | 263.733 | 5.341 | 265.1 | 9.583 | 889.75 | 32.584 | 11.1324
2020-06-12 06:30:00 | 4.928 | 237.98 | 5.634 | 259.617 | 5.356 | 269.933 | 5.504 | 268.767 | 9.951 | 890.017 | 31.173 | 11.497
2020-06-12 06:45:00 | 5.156 | 253.633 | 5.335 | 261.874 | 5.191 | 268.3 | 5.351 | 265.333 | 10.439 | 889.6 | 28.952 | 8.6533
2020-06-12 07:00:00 | 4.37 | 243.1 | 4.92 | 258.132 | 4.659 | 265.667 | 4.788 | 264 | 11.924 | 889.683 | 26.195 | 6.1571
2020-06-12 07:15:00 | 3.261 | 244.873 | 4.32 | 258.554 | 4.457 | 274.8 | 4.897 | 277.667 | 13.362 | 889.533 | 24.024 | 3.1777
2020-06-12 07:30:00 | 3.478 | 272.467 | 4.242 | 272.047 | 4.735 | 281.933 | 5.398 | 280.5 | 14.674 | 889.95 | 21.813 | 2.1921
2020-06-12 07:45:00 | 4.418 | 292.533 | 4.606 | 289.54 | 4.638 | 296.5 | 4.977 | 297.6 | 14.774 | 890.067 | 21.101 | 0.8342
2020-06-12 08:00:00 | 3.779 | 279.187 | 4.052 | 275.233 | 4.068 | 278.117 | 4.37 | 275.567 | 14.824 | 889.817 | 21.744 | 0.61961
2020-06-12 08:15:00 | 2.488 | 307.467 | 2.754 | 299.828 | 2.852 | 299.633 | 3.214 | 294.017 | 14.958 | 890 | 21.299 | 0.90313
2020-06-12 08:30:00 | 2.581 | 290.509 | 2.584 | 335.752 | 2.435 | 332.6 | 2.8 | 326.667 | 15.096 | 889.35 | 20.4 | 0.3432
2020-06-12 08:45:00 | 2.2 | 321.107 | 1.967 | 333.637 | 1.566 | 297.3 | 2.08 | 337.5 | 15.951 | 889.5 | 19.656 | 0.18901
2020-06-12 09:00:00 | 0.946 | 118.415 | 0.787 | 155.033 | 0.67 | 137.1 | 1.227 | 138.4 | 17.256 | 889.267 | 18.487 | 0.17764
2020-06-12 09:15:00 | 0.71 | 147.083 | 0.77 | 89.703 | 1.032 | 49.275 | 1.888 | 63.8 | 17.348 | 889.4 | 18.033 | 0.16769
2020-06-12 09:30:00 | 0.666 | 222.133 | 0.246 | 89.221 | 0.612 | 185.367 | 1.116 | 102.16 | 17.502 | 889.5 | 17.667 | 0.13785
2020-06-12 09:45:00 | 1.699 | 163.847 | 1.254 | 162.488 | 1.334 | 157.3 | 1.917 | 148.533 | 17.681 | 889.333 | 17.411 | 0.30696
2020-06-12 10:00:00 | 1.227 | 136.307 | 1.076 | 130.471 | 1.662 | 146.533 | 1.951 | 132.067 | 17.302 | 889.567 | 17.749 | 1.0474
2020-06-12 10:15:00 | 3.118 | 102.702 | 3.035 | 103.971 | 3.321 | 113.133 | 3.629 | 109 | 18.135 | 889.733 | 17.563 | 1.1511
2020-06-12 10:30:00 | 1.878 | 132.88 | 2.05 | 128.967 | 2.022 | 138 | 2.623 | 134.067 | 17.881 | 889.567 | 17.171 | 1.5199
2020-06-12 10:45:00 | 3.444 | 109.19 | 3.183 | 97.88 | 2.992 | 108.633 | 3.145 | 102.533 | 18.406 | 889.767 | 16.763 | 0.8946
2020-06-12 11:00:00 | 2.622 | 114.883 | 2.495 | 101.549 | 2.731 | 104.167 | 3.326 | 105.333 | 18.639 | 889.467 | 16.971 | 0.49669
2020-06-12 11:15:00 | 1.473 | 127.612 | 1.577 | 102.816 | 1.953 | 81.892 | 2.721 | 64.842 | 19.231 | 889.467 | 16.443 | 0.9415
2020-06-12 11:30:00 | 3.108 | 96.96 | 3.226 | 52.537 | 3.328 | 47.274 | 3.709 | 46.333 | 19.777 | 889.467 | 16.269 | 1.5085
2020-06-12 11:45:00 | 3.867 | 55.172 | 3.875 | 50.88 | 4.014 | 57.5 | 4.469 | 52.1 | 20.077 | 889.167 | 15.512 | 1.4652
2020-06-12 12:00:00 | 1.994 | 54.942 | 1.696 | 54.607 | 1.484 | 57.933 | 2.116 | 52.833 | 19.785 | 889.667 | 14.616 | 0.89105
2020-06-12 12:15:00 | 2.54 | 168.188 | 1.852 | 102.192 | 3.124 | 107.075 | 3.497 | 95.767 | 21.914 | 889.533 | 13.832 | 2.0045
2020-06-12 12:30:00 | 3.016 | 67.183 | 2.727 | 116.172 | 2.492 | 25.604 | 2.774 | 28.135 | 21.11 | 889.4 | 12.559 | 2.0045
2020-06-12 12:45:00 | 2.65 | 80.77 | 2.91 | 102.418 | 3.448 | 97.933 | 3.591 | 67.167 | 21.402 | 889.833 | 12.697 | 3.6601
2020-06-12 13:00:00 | 3.86 | 49.385 | 4.037 | 44.255 | 4.284 | 49.267 | 4.461 | 46.1 | 21.185 | 890.1 | 11.611 | 2.3058
2020-06-12 13:15:00 | 4.77 | 56.808 | 5.146 | 51.083 | 4.925 | 59.633 | 5.271 | 54.867 | 21.652 | 889.533 | 11.347 | 1.2726
2020-06-12 13:30:00 | 2.141 | 94.224 | 2.138 | 80.116 | 2.071 | 80.333 | 2.766 | 81.133 | 21.698 | 889.167 | 10.72 | 0.85623
2020-06-12 13:45:00 | 3.006 | 109.603 | 2.788 | 119.771 | 2.974 | 126.467 | 3.278 | 138.533 | 22.31 | 889.433 | 10.218 | 0.91876
2020-06-12 14:00:00 | 1.296 | 201.342 | 1.127 | 169.07 | 1.982 | 136.206 | 2.389 | 214.567 | 22.66 | 889.133 | 9.667 | 2.347
2020-06-12 14:15:00 | 5.503 | 37.3 | 5.448 | 29.748 | 5.107 | 30.333 | 5.519 | 26.467 | 22.381 | 888.933 | 9.436 | 3.928
2020-06-12 14:30:00 | 4.268 | 173.167 | 4.308 | 207.645 | 4.491 | 162.267 | 4.796 | 95.468 | 22.335 | 889.267 | 9.228 | 2.1601
2020-06-12 14:45:00 | 3.103 | 65.11 | 3.053 | 51.867 | 3.326 | 52.8 | 3.631 | 67.6 | 23.081 | 889.2 | 8.864 | 1.0552
2020-06-12 15:00:00 | 1.919 | 301 | 1.847 | 301.004 | 2.225 | 315.033 | 2.563 | 329.7 | 22.681 | 888.933 | 8.463 | 1.1064
2020-06-12 15:15:00 | 2.068 | 289.347 | 2.291 | 273.336 | 2.436 | 290.433 | 2.868 | 267.2 | 23.402 | 889.133 | 7.824 | 2.5133
2020-06-12 15:30:00 | 2.765 | 151.569 | 2.58 | 103.188 | 2.728 | 98.276 | 2.798 | 26.567 | 22.931 | 889 | 8.197 | 4.5903
2020-06-12 15:45:00 | 2.002 | 82.127 | 1.204 | 78.721 | 0.583 | 68.233 | 1.192 | 50.467 | 23.598 | 888.867 | 7.392 | 1.3217
2020-06-12 16:00:00 | 1.435 | 98.411 | 0.683 | 162.732 | 0.61 | 151.433 | 1.385 | 171.667 | 24.414 | 888.733 | 6.789 | 0.55922
2020-06-12 16:15:00 | 4.584 | 185.782 | 4.862 | 229.773 | 5.013 | 217.5 | 5.195 | 216.5 | 23.998 | 888.867 | 7.363 | 0.95358
2020-06-12 16:30:00 | 1.533 | 310.16 | 1.09 | 307.854 | 0.95 | 307.633 | 1.589 | 312.8 | 23.598 | 889.067 | 6.938 | 0.46258
2020-06-12 16:45:00 | 3.038 | 238.687 | 2.486 | 241.582 | 2.565 | 251.633 | 2.564 | 255.7 | 24.102 | 889.133 | 6.427 | 2.4181
2020-06-12 17:00:00 | 2.764 | 198 | 2.846 | 142.258 | 2.85 | 168.667 | 2.735 | 149.133 | 24.306 | 889.2 | 7.001 | 2.0486
2020-06-12 17:15:00 | 4.555 | 41.626 | 4.458 | 36.867 | 4.508 | 39.533 | 4.812 | 37.767 | 24.368 | 888.8 | 6.744 | 2.0031
2020-06-12 17:30:00 | 4.362 | 201.668 | 4.539 | 232.652 | 4.472 | 189.333 | 4.654 | 188.202 | 24.777 | 888.8 | 6.439 | 2.9979
2020-06-12 17:45:00 | 5.223 | 199.652 | 5.347 | 277.72 | 5.202 | 200.706 | 5.482 | 233.4 | 24.702 | 888.867 | 6.128 | 5.5964
2020-06-12 18:00:00 | 4.193 | 209.448 | 4.416 | 213.6 | 4.528 | 220.3 | 4.938 | 211.533 | 24.481 | 888.733 | 5.822 | 3.3795
2020-06-12 18:15:00 | 4.265 | 269.92 | 4.477 | 288.998 | 4.873 | 301.167 | 5.147 | 300.533 | 24.964 | 889 | 5.285 | 3.8797
2020-06-12 18:30:00 | 4.711 | 188.646 | 4.817 | 165.569 | 5.033 | 107.036 | 5.24 | 102.933 | 24.156 | 889 | 5.341 | 7.694
2020-06-12 18:45:00 | 1.894 | 244.103 | 1.41 | 311.197 | 1.414 | 309.533 | 2 | 318.2 | 24.456 | 888.667 | 5.269 | 4.1341
2020-06-12 19:00:00 | 3.621 | 257.048 | 3.92 | 241.473 | 4.105 | 173.034 | 4.607 | 229.6 | 24.823 | 888 | 4.614 | 1.5704
2020-06-12 19:15:00 | 1.509 | 310.187 | 0.693 | 328.717 | 1.016 | 323.5 | 1.281 | 326.7 | 24.685 | 888.6 | 5.102 | 2.0891
2020-06-12 19:30:00 | 3.908 | 238.004 | 3.95 | 256.835 | 4.189 | 261.133 | 4.359 | 281.5 | 24.894 | 888 | 4.166 | 1.2406
2020-06-12 19:45:00 | 4.229 | 25.903 | 3.99 | 33.089 | 3.971 | 19.1 | 4.2 | 15.1 | 24.394 | 888.133 | 5.023 | 2.8643
2020-06-12 20:00:00 | 1.19 | 194.009 | 1.08 | 167.037 | 1.22 | 5.672 | 2.008 | 29.733 | 24.631 | 888.8 | 5.177 | 1.8503
2020-06-12 20:15:00 | 2.525 | 37.954 | 2.006 | 28.501 | 2.4 | 35.1 | 2.516 | 33.7 | 24.61 | 888.267 | 5.102 | 0.19541
2020-06-12 20:30:00 | 1.85 | 95.222 | 1.61 | 186.936 | 1.637 | 107.333 | 2.307 | 250.667 | 25.256 | 888.133 | 4.968 | 0.099479
2020-06-12 20:45:00 | 3.389 | 200.615 | 3.381 | 252.939 | 3.348 | 186.567 | 3.661 | 247.733 | 24.481 | 888.2 | 5.106 | 0.097348
2020-06-12 21:00:00 | 1.683 | 320.973 | 1.357 | 311.91 | 1.266 | 318.733 | 1.992 | 325.9 | 24.485 | 888.933 | 5.509 | 0.20535
2020-06-12 21:15:00 | 1.648 | 324.773 | 1.039 | 324.833 | 0.803 | 326.2 | 1.682 | 342.067 | 24.098 | 889.133 | 5.847 | 0.23733
2020-06-12 21:30:00 | 0.309 | 319.24 | 0 | 301.016 | 0 | 306.9 | 0.165 | 341 | 23.481 | 888.733 | 6.316 | 0.16627
2020-06-12 21:45:00 | 1.434 | 271.173 | 0 | 300.93 | 0 | 292.067 | 0.953 | 313 | 22.131 | 889.133 | 7.113 | 0.17054
2020-06-12 22:00:00 | 2.114 | 256.173 | 1.558 | 274.882 | 1.5 | 286.2 | 1.974 | 290.933 | 21.66 | 888.733 | 7.477 | 0.17906
2020-06-12 22:15:00 | 2.615 | 248.12 | 1.66 | 266.86 | 1.559 | 278.267 | 2.206 | 283.2 | 21.473 | 889.067 | 7.627 | 0.1748
2020-06-12 22:30:00 | 3.306 | 247.18 | 2.464 | 250.497 | 2.436 | 258.233 | 2.764 | 262.633 | 21.423 | 889.4 | 7.637 | 0.1343
2020-06-12 22:45:00 | 3.729 | 243.04 | 2.762 | 260.571 | 2.643 | 269.333 | 2.941 | 264.767 | 20.844 | 888.6 | 7.855 | 0.081005
2020-06-12 23:00:00 | 4.267 | 243.913 | 3.339 | 263.202 | 3.074 | 274.733 | 3.344 | 267.233 | 19.498 | 889.067 | 8.101 | 0.54358
2020-06-12 23:15:00 | 4.688 | 233.613 | 3.246 | 250.089 | 2.833 | 269 | 3.102 | 273 | 18.664 | 889 | 8.36 | 0.82426
2020-06-12 23:30:00 | 5.312 | 227.373 | 3.808 | 244.478 | 3.23 | 258.6 | 3.185 | 264.933 | 17.86 | 889.267 | 8.725 | 0.85908
2020-06-12 23:45:00 | 5.355 | 231.04 | 3.749 | 251.477 | 3.106 | 262 | 3.338 | 264 | 16.981 | 889.133 | 9.028 | 1.2705