## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-13 00:00:00 | 5.552 | 224.48 | 3.898 | 248.461 | 3.113 | 262.067 | 3.132 | 264.067 | 16.664 | 888.933 | 9.075 | 0.98911
2020-06-13 00:15:00 | 5.892 | 222.427 | 4.595 | 237.96 | 3.377 | 254.1 | 3.039 | 263.533 | 15.992 | 889 | 9.303 | 1.2115
2020-06-13 00:30:00 | 5.887 | 221.587 | 4.718 | 235.448 | 3.847 | 245 | 3.27 | 250 | 15.832 | 888.6 | 9.353 | 2.8096
2020-06-13 00:45:00 | 5.86 | 221.8 | 5.726 | 231.857 | 4.939 | 240.7 | 3.992 | 240.033 | 15.438 | 888.933 | 9.655 | 3.9671
2020-06-13 01:00:00 | 5.923 | 220.767 | 5.567 | 231.921 | 4.594 | 240.767 | 3.936 | 240 | 15.141 | 889.2 | 9.848 | 4.694
2020-06-13 01:15:00 | 5.897 | 220.6 | 5.725 | 230.73 | 4.83 | 239.267 | 4.191 | 238.133 | 14.824 | 889.1 | 10.119 | 5.6639
2020-06-13 01:30:00 | 6.598 | 219.847 | 6.228 | 227.781 | 5.387 | 235.633 | 4.795 | 235.733 | 14.212 | 889.633 | 10.488 | 7.9605
2020-06-13 01:45:00 | 4.095 | 262.727 | 4.54 | 270.557 | 4.393 | 284.383 | 4.61 | 288.733 | 14.345 | 889.5 | 10.632 | 2.9624
2020-06-13 02:00:00 | 2.912 | 203.6 | 1.93 | 226.175 | 1.401 | 264.767 | 1.981 | 257.7 | 15.264 | 889.067 | 10.031 | 0.19114
2020-06-13 02:15:00 | 3.719 | 220.073 | 2.922 | 219.278 | 2.825 | 222.867 | 2.714 | 220 | 15.664 | 889.267 | 9.903 | 0.2352
2020-06-13 02:30:00 | 4.324 | 156.22 | 4.504 | 156.038 | 4.329 | 162.233 | 4.356 | 159.1 | 15.252 | 889 | 9.849 | 0.79086
2020-06-13 02:45:00 | 4.082 | 206.68 | 3.155 | 190.931 | 2.105 | 173.833 | 2.124 | 148.4 | 15.36 | 889.467 | 10.056 | 0.46187
2020-06-13 03:00:00 | 4.244 | 220.047 | 2.827 | 191.695 | 1.596 | 171.233 | 1.662 | 151 | 14.904 | 889.333 | 10.148 | 0.38584
2020-06-13 03:15:00 | 4.726 | 211.073 | 3.874 | 191.461 | 4.009 | 181.3 | 4.336 | 173.4 | 14.562 | 889.4 | 10.471 | 1.0694
2020-06-13 03:30:00 | 4.531 | 195.1 | 4.445 | 175.636 | 4.107 | 179.1 | 4.252 | 174.167 | 12.957 | 889.233 | 11.067 | 1.4787
2020-06-13 03:45:00 | 5.526 | 187.82 | 3.987 | 171.636 | 3.039 | 170.833 | 3.36 | 171.533 | 13.828 | 889.5 | 11.181 | 1.7089
2020-06-13 04:00:00 | 5.822 | 190.987 | 3.742 | 180.871 | 2.998 | 177.1 | 2.873 | 162.2 | 14.166 | 889.4 | 11.283 | 1.6933
2020-06-13 04:15:00 | 5.027 | 204.92 | 3.759 | 182.918 | 2.119 | 170.9 | 2.71 | 148.433 | 13.576 | 889.533 | 11.821 | 0.40218
2020-06-13 04:30:00 | 5.696 | 211.013 | 4.311 | 189.45 | 3.394 | 181.567 | 3.099 | 162.833 | 12.966 | 889.9 | 12.123 | 0.14709
2020-06-13 04:45:00 | 5.91 | 209.793 | 4.145 | 190.956 | 2.433 | 180.467 | 2.394 | 148.667 | 12.947 | 889.6 | 12.373 | 0.19967
2020-06-13 05:00:00 | 4.855 | 227.913 | 2.277 | 220.135 | 0.964 | 207.767 | 0.52 | 154.733 | 13.826 | 889.367 | 11.504 | 0.18262
2020-06-13 05:15:00 | 5.498 | 233.36 | 4.159 | 239.074 | 2.447 | 248.3 | 1.521 | 229.633 | 13.008 | 889.467 | 13.008 | 0.44055
2020-06-13 05:30:00 | 5.997 | 228.7 | 5.487 | 229.639 | 4.111 | 239.867 | 2.993 | 244 | 12.724 | 889.467 | 13.709 | 1.2684
2020-06-13 05:45:00 | 6.115 | 229.607 | 5.333 | 232.83 | 4.364 | 247.1 | 3.252 | 252.3 | 12.401 | 889.7 | 13.781 | 1.2726
2020-06-13 06:00:00 | 6.089 | 232.453 | 5.603 | 227.518 | 4.88 | 240.233 | 3.607 | 250.233 | 12.232 | 889.533 | 13.891 | 2.3847
2020-06-13 06:15:00 | 7.42 | 243.593 | 7.958 | 234.437 | 6.769 | 233.4 | 5.985 | 228.367 | 11.986 | 889.933 | 13.789 | 6.2374
2020-06-13 06:30:00 | 7.542 | 240.187 | 7.524 | 234.454 | 6.816 | 236.267 | 5.902 | 233.267 | 12.749 | 889.3 | 13.677 | 8.1452
2020-06-13 06:45:00 | 6.878 | 229.493 | 7.301 | 226.284 | 6.247 | 232.433 | 4.329 | 231.3 | 13.512 | 889.267 | 13.643 | 10.9285
2020-06-13 07:00:00 | 6.408 | 225.087 | 7.132 | 221.193 | 6.565 | 221.833 | 6.064 | 215.933 | 14.812 | 889.667 | 13.301 | 13.1569
2020-06-13 07:15:00 | 5.411 | 224.08 | 7.046 | 221.932 | 6.952 | 224.467 | 6.164 | 214.233 | 16.21 | 889.333 | 12.859 | 13.9385
2020-06-13 07:30:00 | 6.198 | 225.74 | 7.502 | 221.358 | 7.856 | 222.7 | 7.329 | 216.233 | 17.148 | 889.667 | 12.107 | 15.2054
2020-06-13 07:45:00 | 6.568 | 224.453 | 7.359 | 220.3 | 8.277 | 221.333 | 8.188 | 214.767 | 18.277 | 889.6 | 11.213 | 15.6332
2020-06-13 08:00:00 | 4.842 | 213.62 | 5.299 | 214.481 | 5.7 | 219.033 | 6.139 | 212.233 | 19.389 | 889.067 | 10.42 | 8.6085
2020-06-13 08:15:00 | 5.24 | 218.32 | 5.265 | 214.315 | 5.488 | 215.667 | 5.717 | 209.833 | 20.36 | 889.2 | 9.671 | 5.9958
2020-06-13 08:30:00 | 4.375 | 205.873 | 4.437 | 204.204 | 4.386 | 206.567 | 4.628 | 200.967 | 21.377 | 889.267 | 9.171 | 4.2634
2020-06-13 08:45:00 | 4.109 | 196.227 | 4.154 | 194.007 | 4.207 | 198.167 | 4.383 | 194.333 | 21.977 | 889.067 | 8.948 | 1.3217
2020-06-13 09:00:00 | 3.121 | 207.907 | 3.084 | 203.126 | 3.291 | 206.2 | 3.66 | 199.167 | 22.981 | 888.8 | 8.304 | 0.21033
2020-06-13 09:15:00 | 2.63 | 202.18 | 2.842 | 200.12 | 3.104 | 203.367 | 3.355 | 200.733 | 24.152 | 888.667 | 7.652 | 0.19327
2020-06-13 09:30:00 | 1.284 | 228.373 | 0.979 | 226.677 | 0.78 | 231.2 | 1.35 | 218.967 | 24.868 | 889.2 | 6.951 | 0.18333
2020-06-13 09:45:00 | 1.925 | 216.96 | 1.595 | 325.041 | 1.452 | 320.633 | 1.845 | 312.567 | 24.068 | 889.267 | 6.755 | 0.16343
2020-06-13 10:00:00 | 2.027 | 106.192 | 1.79 | 110.296 | 2.06 | 112.433 | 2.452 | 111.5 | 24.756 | 888.867 | 6.809 | 0.16343
2020-06-13 10:15:00 | 2.072 | 133.827 | 1.804 | 145.157 | 2.011 | 162.467 | 2.204 | 163.7 | 23.868 | 889.333 | 7 | 0.15632
2020-06-13 10:30:00 | 1.991 | 111.957 | 1.768 | 120.444 | 1.79 | 124.7 | 2.192 | 109.667 | 25.098 | 889.067 | 6.687 | 0.16059
2020-06-13 10:45:00 | 1.979 | 75.801 | 1.787 | 66.136 | 1.13 | 72 | 1.417 | 64.4 | 25.139 | 889 | 7.18 | 0.15775
2020-06-13 11:00:00 | 2.201 | 66.604 | 2.206 | 45.444 | 2.474 | 53.7 | 2.833 | 50.667 | 24.477 | 889.067 | 7.453 | 0.17267
2020-06-13 11:15:00 | 2.661 | 108.122 | 2.502 | 109.684 | 2.613 | 97.904 | 2.797 | 109.167 | 26.285 | 889 | 6.973 | 0.13288
2020-06-13 11:30:00 | 2.596 | 59.756 | 2.556 | 95.209 | 2.464 | 75.533 | 2.8 | 65.033 | 25.331 | 889.067 | 7.134 | 0.38371
2020-06-13 11:45:00 | 4.23 | 104.732 | 4.283 | 102.161 | 4.363 | 35.768 | 4.475 | 32.567 | 26.052 | 889.333 | 7.189 | 0.48318
2020-06-13 12:00:00 | 3.6 | 83.78 | 3.847 | 76.895 | 3.797 | 82.633 | 3.863 | 75.7 | 25.627 | 889.067 | 7.344 | 0.90739
2020-06-13 12:15:00 | 3.771 | 76.144 | 3.882 | 78.947 | 3.846 | 85.767 | 4.395 | 83.867 | 25.702 | 888.933 | 7.473 | 1.3366
2020-06-13 12:30:00 | 1.77 | 101.66 | 1.5 | 110.932 | 1.543 | 111 | 1.743 | 104.333 | 25.364 | 889.067 | 7.76 | 0.74823
2020-06-13 12:45:00 | 2.863 | 292.893 | 2.588 | 289.951 | 2.448 | 289.6 | 2.593 | 275.633 | 26.556 | 889.2 | 7.044 | 1.456
2020-06-13 13:00:00 | 3.94 | 21.281 | 4.088 | 25.629 | 4.175 | 33.833 | 4.388 | 37.767 | 26.627 | 888.933 | 7.199 | 2.6206
2020-06-13 13:15:00 | 2.944 | 164.206 | 2.824 | 153.085 | 2.996 | 149.833 | 2.914 | 187.001 | 26.527 | 889 | 6.977 | 4.6059
2020-06-13 13:30:00 | 4.27 | 100.43 | 4.198 | 96.329 | 4.123 | 102.1 | 4.2 | 103.033 | 26.794 | 888.867 | 6.932 | 4.4709
2020-06-13 13:45:00 | 3.155 | 49.764 | 3.03 | 50.326 | 3.047 | 57.3 | 3.326 | 57.3 | 26.339 | 889 | 6.949 | 4.5348
2020-06-13 14:00:00 | 5.482 | 92.412 | 5.575 | 81.125 | 5.869 | 82.6 | 5.948 | 77.433 | 26.981 | 889.067 | 7.068 | 3.7092
2020-06-13 14:15:00 | 4.23 | 61.96 | 4.611 | 61.643 | 4.666 | 67.033 | 4.854 | 65.133 | 27.064 | 888.6 | 6.873 | 3.6971
2020-06-13 14:30:00 | 3.81 | 115.46 | 3.998 | 125.218 | 4.121 | 126.8 | 4.198 | 121.6 | 27.21 | 889.067 | 6.768 | 3.9102
2020-06-13 14:45:00 | 3.698 | 201.053 | 3.611 | 200.937 | 3.407 | 203.033 | 3.451 | 196.1 | 27.423 | 888.733 | 6.647 | 6.0341
2020-06-13 15:00:00 | 6.659 | 121.757 | 6.97 | 113.374 | 6.561 | 117 | 6.878 | 110.733 | 27.16 | 889.2 | 7.081 | 2.8991
2020-06-13 15:15:00 | 2.096 | 232.542 | 1.824 | 239.209 | 1.861 | 240.117 | 1.862 | 231.767 | 28.077 | 888.867 | 6.859 | 2.1047
2020-06-13 15:30:00 | 2.788 | 119.578 | 2.67 | 115.374 | 2.486 | 115 | 3.004 | 105.3 | 27.877 | 888.933 | 7.027 | 2.666
2020-06-13 15:45:00 | 3.084 | 158.933 | 2.975 | 145.959 | 2.757 | 146.733 | 2.846 | 116.7 | 27.331 | 888.6 | 6.809 | 5.1573
2020-06-13 16:00:00 | 3.583 | 117.782 | 3.939 | 111.744 | 3.779 | 109.967 | 4.177 | 105.067 | 27.856 | 889.067 | 6.681 | 6.7618
2020-06-13 16:15:00 | 4.348 | 84.588 | 4.85 | 77.077 | 5.206 | 79.633 | 5.571 | 73.533 | 28.156 | 889 | 6.531 | 12.0874
2020-06-13 16:30:00 | 5.697 | 85.655 | 5.768 | 79.974 | 5.618 | 84.8 | 6.004 | 77.633 | 28.089 | 888.6 | 6.359 | 8.6497
2020-06-13 16:45:00 | 5.121 | 87.413 | 5.459 | 82.7 | 5.577 | 88.533 | 5.75 | 84.333 | 28.714 | 889 | 6.24 | 5.2035
2020-06-13 17:00:00 | 2.307 | 68.075 | 2.619 | 61.317 | 2.472 | 67.833 | 2.6 | 62.733 | 28.289 | 889.067 | 6.025 | 1.9533
2020-06-13 17:15:00 | 3.32 | 48.799 | 3.449 | 35.202 | 3.221 | 38.1 | 3.381 | 47.2 | 28.164 | 889 | 5.597 | 8.7577
2020-06-13 17:30:00 | 6.07 | 103.007 | 5.735 | 100.039 | 5.509 | 105.767 | 5.602 | 99.233 | 28.877 | 889 | 5.801 | 8.632
2020-06-13 17:45:00 | 4.352 | 94.177 | 4.361 | 94.257 | 4.206 | 97.333 | 4.571 | 95.567 | 28.41 | 888.867 | 5.743 | 9.2516
2020-06-13 18:00:00 | 4.776 | 126.773 | 4.79 | 122.67 | 4.784 | 125.8 | 5.103 | 121.567 | 28.389 | 889.067 | 5.916 | 9.4541
2020-06-13 18:15:00 | 4.449 | 96.593 | 5.093 | 96.912 | 5.254 | 102.5 | 5.65 | 97.967 | 28.664 | 888.867 | 5.839 | 10.7885
2020-06-13 18:30:00 | 3.018 | 86.98 | 3.489 | 72.697 | 3.876 | 78.4 | 4.274 | 73.067 | 28.798 | 888.933 | 5.723 | 13.3203
2020-06-13 18:45:00 | 5.824 | 66.113 | 6.27 | 60.083 | 6.512 | 62.8 | 6.99 | 55.533 | 28.723 | 888.733 | 5.832 | 15.7817
2020-06-13 19:00:00 | 6.587 | 64.041 | 6.886 | 58.361 | 7.005 | 63.533 | 7.18 | 59.233 | 28.489 | 888.6 | 5.755 | 12.1208
2020-06-13 19:15:00 | 5.079 | 70.485 | 5.105 | 66.007 | 5.13 | 71.967 | 5.427 | 67.567 | 28.702 | 889.133 | 6.012 | 8.5062
2020-06-13 19:30:00 | 4.166 | 92.642 | 4.251 | 94.215 | 4.202 | 98.933 | 4.26 | 98.767 | 28.444 | 888.8 | 6.235 | 12.5081
2020-06-13 19:45:00 | 4.047 | 58.747 | 4.457 | 52.653 | 4.781 | 56.2 | 5.094 | 55.1 | 28.018 | 888.867 | 6.253 | 17.4458
2020-06-13 20:00:00 | 5.222 | 98.667 | 4.93 | 94.012 | 4.644 | 98.233 | 5.143 | 92.067 | 28.389 | 888.933 | 6.64 | 20.0998
2020-06-13 20:15:00 | 6.65 | 88.607 | 6.441 | 86.922 | 6.079 | 91.733 | 6.173 | 89.6 | 28.248 | 889 | 7.091 | 25.8952
2020-06-13 20:30:00 | 5.733 | 69.003 | 5.974 | 68.783 | 6.07 | 74.767 | 6.4 | 71.233 | 27.764 | 889.133 | 6.999 | 21.0221
2020-06-13 20:45:00 | 4.562 | 93.41 | 4.912 | 89.865 | 4.71 | 96.367 | 5.03 | 89.933 | 27.677 | 889.2 | 7.255 | 15.7398
2020-06-13 21:00:00 | 3.865 | 89.953 | 4.131 | 83.887 | 4.049 | 88.2 | 4.188 | 84 | 27.023 | 889 | 7.605 | 14.8849
2020-06-13 21:15:00 | 4.113 | 96.567 | 3.758 | 94.006 | 3.319 | 98.167 | 3.854 | 91.133 | 26.789 | 889 | 7.893 | 17.0785
2020-06-13 21:30:00 | 4.39 | 90.44 | 5.028 | 84.731 | 5.19 | 86.6 | 5.459 | 82.733 | 25.623 | 889.267 | 8.225 | 16.6656
2020-06-13 21:45:00 | 3.744 | 95.31 | 4.247 | 91.065 | 3.246 | 97.167 | 3.405 | 86.233 | 25.468 | 888.8 | 8.509 | 16.5562
2020-06-13 22:00:00 | 3.574 | 95.033 | 4.375 | 88.608 | 3.807 | 92.8 | 3.588 | 86.367 | 25.123 | 888.6 | 8.805 | 14.4273
2020-06-13 22:15:00 | 3.047 | 96.707 | 3.284 | 87.696 | 3.016 | 89.567 | 3.272 | 86.133 | 24.914 | 889 | 9.2 | 10.9399
2020-06-13 22:30:00 | 3.25 | 111.24 | 3.611 | 100.007 | 2.768 | 102.033 | 2.952 | 97.4 | 24.539 | 889.067 | 9.595 | 12.8819
2020-06-13 22:45:00 | 4.208 | 113.553 | 4.589 | 103.764 | 4.126 | 108.633 | 4.317 | 101.5 | 24.814 | 888.867 | 9.991 | 14.4337
2020-06-13 23:00:00 | 4.102 | 114.87 | 5.078 | 105.669 | 4.384 | 105.5 | 4.133 | 100.267 | 24.344 | 889.333 | 10.345 | 14.0458
2020-06-13 23:15:00 | 3.915 | 116.7 | 4.368 | 104.526 | 3.826 | 103.3 | 3.873 | 98.8 | 24.006 | 889.1 | 11.013 | 14.2334
2020-06-13 23:30:00 | 4.025 | 118.807 | 4.7 | 106.004 | 4.253 | 109.433 | 4.15 | 100.967 | 23.589 | 889.5 | 11.272 | 14.5268
2020-06-13 23:45:00 | 3.923 | 117.46 | 4.495 | 104.398 | 3.805 | 106.733 | 3.628 | 100.2 | 24.223 | 889.333 | 11.267 | 15.2225