## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-14 00:00:00 | 3.125 | 125.88 | 4.681 | 108.002 | 4.489 | 108.767 | 4.342 | 101.533 | 23.164 | 889.333 | 11.691 | 11.8942
2020-06-14 00:15:00 | 3.538 | 120.36 | 3.912 | 106.417 | 3.39 | 107.267 | 3.531 | 102.4 | 23.331 | 889.233 | 12.179 | 7.2989
2020-06-14 00:30:00 | 3.075 | 116.927 | 3.004 | 105.942 | 2.474 | 103.833 | 2.923 | 104.033 | 23.614 | 889.333 | 12.181 | 4.1391
2020-06-14 00:45:00 | 1.894 | 141.867 | 2.718 | 108.113 | 2.12 | 105.167 | 2.358 | 105.733 | 22.598 | 889.167 | 12.317 | 0.9685
2020-06-14 01:00:00 | 1.864 | 167.787 | 1.614 | 123.462 | 1.814 | 129 | 2.387 | 123.867 | 22.098 | 889.433 | 13.117 | 0.16983
2020-06-14 01:15:00 | 1.578 | 114.067 | 1.986 | 107.154 | 2.225 | 110.3 | 2.513 | 108.833 | 23.181 | 889.5 | 13.019 | 0.18617
2020-06-14 01:30:00 | 1.437 | 112.507 | 2.314 | 88.396 | 2.055 | 94.933 | 1.994 | 90.2 | 22.731 | 889.567 | 12.909 | 0.36807
2020-06-14 01:45:00 | 2.879 | 181.127 | 1.858 | 152.473 | 1.137 | 137.933 | 1.703 | 108.7 | 21.706 | 888.9 | 13.411 | 0.21388
2020-06-14 02:00:00 | 2.282 | 198.72 | 0.341 | 137.472 | 0.533 | 111 | 1.44 | 92.9 | 20.856 | 889.3 | 14.053 | 0.26575
2020-06-14 02:15:00 | 2.419 | 211.893 | 0 | 137.458 | 0.837 | 94.267 | 2.216 | 86.633 | 20.581 | 889.733 | 14.403 | 0.19612
2020-06-14 02:30:00 | 3.515 | 218.213 | 0.569 | 163.961 | 0.03 | 97 | 2.144 | 85 | 20.573 | 889.633 | 14.571 | 0.17338
2020-06-14 02:45:00 | 3.82 | 231.367 | 1.862 | 221.26 | 0.063 | 192.6 | 0.917 | 94.933 | 19.214 | 889.467 | 15.221 | 0.17054
2020-06-14 03:00:00 | 4.732 | 234.473 | 2.048 | 228.574 | 0.293 | 243 | 0 | 93.033 | 18.027 | 889.5 | 15.077 | 0.17054
2020-06-14 03:15:00 | 4.551 | 248.42 | 3.212 | 249.677 | 2.113 | 257.3 | 0.776 | 277.4 | 17.902 | 889.667 | 16.635 | 0.1883
2020-06-14 03:30:00 | 5.016 | 240.127 | 4.657 | 251.927 | 3.557 | 268 | 2.746 | 274.4 | 17.139 | 889.4 | 17.261 | 1.1561
2020-06-14 03:45:00 | 5.236 | 237.02 | 5.267 | 248.187 | 4.457 | 256.667 | 3.535 | 259.4 | 17.494 | 889.7 | 16.181 | 2.5481
2020-06-14 04:00:00 | 3.348 | 222.6 | 4.824 | 240.666 | 4.836 | 255.433 | 3.808 | 260.583 | 16.848 | 889.9 | 17.059 | 2.6511
2020-06-14 04:15:00 | 3.692 | 230.527 | 5.173 | 244.88 | 4.867 | 255.433 | 4.77 | 253.417 | 16.748 | 889.533 | 16.997 | 3.4278
2020-06-14 04:30:00 | 6.024 | 234.167 | 5.16 | 237.863 | 5.004 | 247.233 | 4.404 | 244.067 | 17.435 | 889.633 | 16.675 | 2.244
2020-06-14 04:45:00 | 5.059 | 225 | 4.919 | 229.285 | 4.094 | 240.633 | 4.248 | 241.5 | 17.235 | 889.4 | 16.291 | 1.1184
2020-06-14 05:00:00 | 4.612 | 233.747 | 5.547 | 226.608 | 4.57 | 226.267 | 4.009 | 228.6 | 15.98 | 889.833 | 17.072 | 2.6895
2020-06-14 05:15:00 | 3.36 | 237.627 | 5.663 | 225.408 | 4.979 | 228.1 | 4.216 | 221.267 | 15.685 | 889.7 | 18.411 | 0.83847
2020-06-14 05:30:00 | 3.775 | 238.993 | 4.8 | 224.971 | 3.696 | 230.7 | 2.769 | 228.467 | 16.431 | 889.333 | 18.573 | 0.16414
2020-06-14 05:45:00 | 4.517 | 257.407 | 6.11 | 245.493 | 5.403 | 242.483 | 4.163 | 235.3 | 15.994 | 889.467 | 18.844 | 5.4209
2020-06-14 06:00:00 | 6.327 | 261.253 | 6.941 | 270.121 | 6.892 | 276.6 | 7.024 | 274.633 | 16.698 | 889.9 | 18.032 | 24.2836
2020-06-14 06:15:00 | 5.756 | 259.307 | 7.126 | 263.984 | 7.408 | 271.467 | 7.875 | 267 | 17.577 | 889.333 | 17.248 | 27.4627
2020-06-14 06:30:00 | 5.866 | 261.473 | 7.072 | 256.233 | 7.158 | 259.9 | 6.966 | 255.517 | 17.031 | 889.267 | 20.503 | 28.1789
2020-06-14 06:45:00 | 5.043 | 254.133 | 6.098 | 256.943 | 6.656 | 262.633 | 7.005 | 257.75 | 17.294 | 889.65 | 22.304 | 24.4684
2020-06-14 07:00:00 | 4.711 | 252.453 | 6.222 | 252.411 | 6.601 | 258.367 | 7.075 | 254.15 | 18.306 | 889.733 | 26.872 | 26.6512
2020-06-14 07:15:00 | 4.529 | 245.513 | 5.392 | 247.777 | 5.778 | 254.5 | 5.912 | 251.75 | 19.481 | 889.367 | 28.549 | 23.6619
2020-06-14 07:30:00 | 4.669 | 249.527 | 5.323 | 247.656 | 5.974 | 251.983 | 6.119 | 248.75 | 20.618 | 889.7 | 28.672 | 19.3772
2020-06-14 07:45:00 | 5.155 | 258.9 | 5.655 | 252.378 | 5.93 | 255.217 | 6.162 | 251.067 | 20.527 | 889.717 | 29.68 | 16.9761
2020-06-14 08:00:00 | 4.872 | 254.507 | 5.368 | 252.82 | 5.417 | 258.15 | 5.402 | 254.15 | 21.089 | 889.983 | 28.933 | 15.8343
2020-06-14 08:15:00 | 4.752 | 293.96 | 4.86 | 286.643 | 4.902 | 289.533 | 5.185 | 286.633 | 21.544 | 889.833 | 27.8 | 9.955
2020-06-14 08:30:00 | 5.235 | 287.92 | 5.249 | 279.989 | 5.189 | 282.9 | 5.348 | 277.517 | 21.127 | 889.45 | 28.789 | 9.0128
2020-06-14 08:45:00 | 4.701 | 282.053 | 4.6 | 277.726 | 4.658 | 279.883 | 4.974 | 278.333 | 21.452 | 889.417 | 28.971 | 9.9543
2020-06-14 09:00:00 | 5.116 | 279.98 | 5.455 | 275.122 | 5.683 | 278.067 | 5.822 | 269.083 | 21.552 | 889.517 | 29.219 | 10.8106
2020-06-14 09:15:00 | 5.264 | 290.467 | 5.433 | 280.871 | 5.432 | 283.767 | 5.69 | 280.283 | 21.973 | 889.867 | 28.848 | 11.5311
2020-06-14 09:30:00 | 5.603 | 271.767 | 5.827 | 268.154 | 5.777 | 274.133 | 6.024 | 269.133 | 22.039 | 889.767 | 28.072 | 14.448
2020-06-14 09:45:00 | 5.445 | 279.413 | 5.748 | 275.161 | 5.682 | 280.533 | 5.759 | 277.8 | 22.41 | 889.833 | 27.859 | 12.1933
2020-06-14 10:00:00 | 4.567 | 293.653 | 4.686 | 290.104 | 4.792 | 291.133 | 4.941 | 286.567 | 22.714 | 889.533 | 26.675 | 8.9354
2020-06-14 10:15:00 | 4.284 | 303.24 | 4.48 | 298.363 | 4.622 | 301.1 | 4.76 | 298.633 | 22.981 | 889.717 | 25.693 | 5.9787
2020-06-14 10:30:00 | 3.978 | 299.133 | 4.235 | 290.768 | 4.303 | 296.633 | 4.528 | 294.5 | 22.881 | 889.933 | 24.565 | 4.4169
2020-06-14 10:45:00 | 4.341 | 328.147 | 4.428 | 319.75 | 4.459 | 321.3 | 4.724 | 316.467 | 23.523 | 889.433 | 23.344 | 3.7596
2020-06-14 11:00:00 | 4.138 | 288.587 | 4.193 | 317.83 | 4.218 | 310.133 | 4.425 | 318.867 | 24.535 | 889.817 | 21.384 | 4.208
2020-06-14 11:15:00 | 2.8 | 291.428 | 2.591 | 288.379 | 2.528 | 292.3 | 3.114 | 287.4 | 24.852 | 889.7 | 18.979 | 1.7132
2020-06-14 11:30:00 | 3.474 | 316.373 | 3.386 | 313.205 | 3.3 | 314.267 | 3.341 | 314.367 | 25.181 | 889.5 | 20.016 | 0.91805
2020-06-14 11:45:00 | 4.042 | 200.176 | 4.165 | 240.425 | 4.544 | 277.6 | 4.84 | 284.167 | 25.544 | 889.7 | 19.309 | 1.1078
2020-06-14 12:00:00 | 3.147 | 280.084 | 3.442 | 319.773 | 3.482 | 325.567 | 3.76 | 335.567 | 25.698 | 889.933 | 17.809 | 0.52511
2020-06-14 12:15:00 | 0.549 | 164.617 | 0.097 | 301.601 | 0.147 | 246.567 | 0.773 | 284.833 | 26.181 | 889.2 | 17.38 | 0.14211
2020-06-14 12:30:00 | 2.538 | 117.186 | 2.301 | 104.966 | 2.118 | 114 | 2.469 | 138.3 | 26.914 | 889.8 | 16.076 | 0.19398
2020-06-14 12:45:00 | 3.462 | 293.227 | 3.517 | 325.429 | 3.244 | 325.867 | 3.387 | 321.133 | 27.431 | 889.667 | 14.888 | 0.078873
2020-06-14 13:00:00 | 1.997 | 57.169 | 1.89 | 188.913 | 2.003 | 243.568 | 2.515 | 217.433 | 27.006 | 889.4 | 15.465 | 0.08811
2020-06-14 13:15:00 | 3.81 | 156.782 | 3.581 | 135.76 | 3.736 | 128.335 | 4.125 | 151.833 | 28.035 | 889.333 | 14.813 | 0.32615
2020-06-14 13:30:00 | 2.947 | 87.907 | 2.793 | 87.836 | 2.756 | 88.1 | 2.983 | 77.967 | 29.098 | 889.633 | 13.908 | 0.6324
2020-06-14 13:45:00 | 3.227 | 122.39 | 2.818 | 167.506 | 2.845 | 157.567 | 3.481 | 189.034 | 28.523 | 889.5 | 14.351 | 0.44908
2020-06-14 14:00:00 | 2.738 | 71.258 | 2.725 | 65.06 | 2.813 | 66.267 | 2.968 | 62.667 | 28.577 | 889.5 | 14.347 | 0.72265
2020-06-14 14:15:00 | 3.189 | 194.7 | 3.376 | 153.352 | 3.472 | 144.5 | 3.261 | 112.567 | 29.298 | 889.333 | 13.077 | 0.63383
2020-06-14 14:30:00 | 4.682 | 309.88 | 4.915 | 301.601 | 5.102 | 307.2 | 5.334 | 307.2 | 29.514 | 889.533 | 12.579 | 0.83136
2020-06-14 14:45:00 | 5.598 | 303.6 | 5.799 | 296.089 | 5.574 | 301.5 | 6.085 | 294.8 | 28.694 | 889.733 | 13.633 | 1.6983
2020-06-14 15:00:00 | 5.979 | 305.893 | 6.212 | 300.314 | 6.389 | 302.6 | 6.561 | 298.8 | 29.164 | 889.533 | 13.376 | 0.81786
2020-06-14 15:15:00 | 4.305 | 282.733 | 4.746 | 286.098 | 4.985 | 295.917 | 5.556 | 294.317 | 29.031 | 889.5 | 13.463 | 6.825
2020-06-14 15:30:00 | 2.911 | 205.787 | 2.896 | 209.459 | 3.219 | 213.1 | 3.225 | 217.133 | 29.048 | 889.567 | 13.499 | 5.352
2020-06-14 15:45:00 | 6.616 | 277.633 | 6.823 | 265.038 | 6.818 | 264.367 | 6.978 | 254.233 | 28.644 | 889.2 | 13.916 | 12.9607
2020-06-14 16:00:00 | 2.906 | 201.713 | 3.256 | 201.639 | 3.56 | 207.8 | 4.061 | 203.633 | 28.906 | 889.4 | 13.781 | 9.3496
2020-06-14 16:15:00 | 4.503 | 229.287 | 4.444 | 216.76 | 4.45 | 208 | 5.138 | 197.267 | 28.844 | 889.967 | 13.801 | 3.938
2020-06-14 16:30:00 | 0.662 | 193.23 | 0.317 | 212.012 | 0.583 | 163.369 | 1.718 | 210.35 | 28.768 | 889.2 | 13.633 | 0.49029
2020-06-14 16:45:00 | 6.261 | 306.78 | 6.112 | 301.538 | 6.474 | 302.867 | 6.863 | 295.017 | 28.56 | 889.4 | 13.735 | 3.5479
2020-06-14 17:00:00 | 5.383 | 336.027 | 5.597 | 322.601 | 5.468 | 322.4 | 5.785 | 313.133 | 28.568 | 889.467 | 14.447 | 8.1772
2020-06-14 17:15:00 | 2.416 | 310.36 | 2.285 | 314.553 | 2.303 | 313.567 | 2.793 | 318.867 | 28.364 | 889.6 | 14.108 | 8.0614
2020-06-14 17:30:00 | 5.278 | 237.82 | 5.372 | 234.564 | 5.471 | 241.1 | 5.825 | 236.383 | 29.577 | 889.633 | 12.952 | 5.7506
2020-06-14 17:45:00 | 3.731 | 252.18 | 3.058 | 243.107 | 2.958 | 252.25 | 3.136 | 245.767 | 28.96 | 889.567 | 12.909 | 2.4543
2020-06-14 18:00:00 | 2.359 | 230.219 | 2.143 | 316.644 | 2.535 | 303.333 | 3.022 | 268.333 | 29.973 | 889.367 | 11.508 | 1.8688
2020-06-14 18:15:00 | 1.265 | 312.267 | 1.061 | 223.77 | 1.594 | 320.1 | 2.809 | 292.9 | 28.264 | 889.633 | 13.512 | 3.9806
2020-06-14 18:30:00 | 4.502 | 272.787 | 4.842 | 261.2 | 5.227 | 265.7 | 5.26 | 260.017 | 28.168 | 889.533 | 14.48 | 3.4264
2020-06-14 18:45:00 | 5.184 | 265.4 | 5.54 | 262.092 | 5.764 | 264.667 | 5.7 | 257.183 | 28.464 | 889.733 | 14.924 | 10.5491
2020-06-14 19:00:00 | 7.161 | 247.067 | 7.619 | 245.147 | 7.726 | 250.15 | 7.78 | 245.317 | 28.31 | 889.1 | 15.564 | 32.4693
2020-06-14 19:15:00 | 8.325 | 250.953 | 8.761 | 247.918 | 9.048 | 252.867 | 9.248 | 247.867 | 27.406 | 889.533 | 16.823 | 58.329
2020-06-14 19:30:00 | 10.129 | 280.307 | 10.76 | 274.44 | 10.777 | 277.433 | 11.078 | 272.533 | 27.085 | 889.667 | 17.683 | 62.559
2020-06-14 19:45:00 | 8.895 | 276.233 | 10.246 | 271.882 | 10.718 | 276.833 | 10.997 | 274.3 | 26.752 | 889.333 | 17.712 | 45.7029
2020-06-14 20:00:00 | 5.712 | 269.193 | 6.251 | 274.452 | 6.126 | 280.65 | 6.474 | 284.083 | 26.602 | 889.6 | 17.515 | 26.9831
2020-06-14 20:15:00 | 3.57 | 315.373 | 4.094 | 320.655 | 4.39 | 325.8 | 4.685 | 324.367 | 26.823 | 889.867 | 18.043 | 11.659
2020-06-14 20:30:00 | 4.065 | 326.147 | 4.237 | 319.63 | 4.462 | 324.9 | 4.877 | 322.6 | 26.048 | 889.633 | 18.437 | 9.7561
2020-06-14 20:45:00 | 4.691 | 342.787 | 5.106 | 337.554 | 5.254 | 342.967 | 5.511 | 341.8 | 26.548 | 889.433 | 18.429 | 8.6412
2020-06-14 21:00:00 | 2.629 | 1.103 | 2.828 | 0.87 | 2.692 | 1.233 | 2.841 | 1.333 | 26.039 | 889.067 | 18.843 | 0.85268
2020-06-14 21:15:00 | 2.991 | 309.28 | 3.136 | 306.552 | 3.138 | 312.9 | 3.356 | 312.667 | 26.389 | 889.5 | 18.877 | 0.27783
2020-06-14 21:30:00 | 3.573 | 272.653 | 3.91 | 266.167 | 3.79 | 270.3 | 4.103 | 264.117 | 25.652 | 889.6 | 18.513 | 1.5355
2020-06-14 21:45:00 | 7.033 | 269.193 | 7.43 | 264.161 | 7.609 | 267.5 | 7.651 | 264.833 | 25.773 | 889.467 | 18.327 | 14.2206
2020-06-14 22:00:00 | 2.126 | 133.063 | 1.113 | 144.3 | 1.084 | 150.8 | 1.616 | 152.067 | 25.748 | 889.633 | 18.483 | 2.0692
2020-06-14 22:15:00 | 2.097 | 180.32 | 1.81 | 185.675 | 1.806 | 186.167 | 2.193 | 188.133 | 25.873 | 889.5 | 18.496 | 0.74965
2020-06-14 22:30:00 | 4.497 | 229.793 | 4.779 | 224.146 | 5.023 | 229.367 | 5.315 | 224.05 | 25.623 | 890.033 | 18.397 | 11.7819
2020-06-14 22:45:00 | 6.838 | 257.827 | 8.448 | 259.202 | 8.87 | 267.033 | 9.264 | 263.3 | 24.194 | 890 | 23.032 | 42.2531
2020-06-14 23:00:00 | 8.496 | 279.587 | 10.025 | 270.951 | 10.574 | 274.933 | 10.832 | 269.967 | 24.231 | 889.733 | 22.637 | 54.4202
2020-06-14 23:15:00 | 8.199 | 280.787 | 9.252 | 276.325 | 9.604 | 279.9 | 10.18 | 278 | 24.144 | 889.55 | 23.152 | 46.4277
2020-06-14 23:30:00 | 6.769 | 275.46 | 7.714 | 271.905 | 8.063 | 276.3 | 8.482 | 273.267 | 23.685 | 890.083 | 23.072 | 34.8988
2020-06-14 23:45:00 | 5.989 | 277.667 | 6.882 | 273.007 | 7.332 | 278.167 | 7.756 | 274.767 | 23.098 | 890.15 | 22.637 | 37.7844