## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-15 00:00:00 | 7.254 | 277.64 | 8.452 | 272.112 | 9.086 | 277 | 9.552 | 271.8 | 23.148 | 889.517 | 22.795 | 53.2357
2020-06-15 00:15:00 | 7.084 | 264.873 | 8.223 | 260.991 | 8.521 | 267.933 | 8.763 | 263.817 | 23.098 | 889.717 | 23.307 | 59.5945
2020-06-15 00:30:00 | 8.148 | 275.467 | 9.162 | 271.212 | 9.52 | 274.867 | 10.156 | 269.467 | 22.748 | 889.55 | 23.904 | 59.7764
2020-06-15 00:45:00 | 7.156 | 276.6 | 8.099 | 272.396 | 8.497 | 277.5 | 8.953 | 273.667 | 22.464 | 889.433 | 24.448 | 53.856
2020-06-15 01:00:00 | 7.207 | 271.413 | 8.279 | 269.073 | 8.945 | 274.267 | 9.449 | 271.467 | 22.477 | 889.583 | 24.968 | 56.9064
2020-06-15 01:15:00 | 6.999 | 275.627 | 8.219 | 270.698 | 8.891 | 276.633 | 9.374 | 271.1 | 22.289 | 889.617 | 25.557 | 55.8242
2020-06-15 01:30:00 | 7.489 | 274.16 | 9.064 | 269.899 | 9.684 | 275.767 | 10.113 | 270.7 | 21.814 | 889.583 | 26.52 | 58.577
2020-06-15 01:45:00 | 7.916 | 273.293 | 9.395 | 265.24 | 10.172 | 270.667 | 11.013 | 266.2 | 21.494 | 889.917 | 27.304 | 60.1587
2020-06-15 02:00:00 | 9.909 | 264.447 | 11.263 | 259.913 | 11.668 | 263.1 | 11.769 | 258.067 | 21.114 | 889.333 | 28.963 | 62.4233
2020-06-15 02:15:00 | 7.382 | 262.193 | 9.006 | 260.074 | 9.703 | 265 | 10.037 | 261 | 20.727 | 889.583 | 29.773 | 63.5843
2020-06-15 02:30:00 | 7.189 | 261.193 | 8.767 | 256.863 | 9.493 | 260.6 | 10.036 | 256.933 | 20.648 | 889.933 | 30.096 | 58.7958
2020-06-15 02:45:00 | 7.554 | 262.613 | 8.76 | 259.38 | 9.564 | 263.783 | 9.65 | 260.25 | 20.823 | 889.7 | 30.229 | 50.7636
2020-06-15 03:00:00 | 7.699 | 270.427 | 8.841 | 266.493 | 9.56 | 271.1 | 9.687 | 266.867 | 20.452 | 889.833 | 30.899 | 48.3271
2020-06-15 03:15:00 | 7.078 | 272.56 | 8.478 | 268.822 | 8.955 | 272.067 | 9.487 | 268.1 | 20.368 | 889.533 | 31.149 | 44.1823
2020-06-15 03:30:00 | 7.897 | 276.68 | 8.794 | 271.297 | 9.285 | 273.467 | 9.736 | 269.367 | 20.335 | 889.5 | 30.989 | 40.1783
2020-06-15 03:45:00 | 6.865 | 277.547 | 8.372 | 269.494 | 8.614 | 273.667 | 9.083 | 269.3 | 20.081 | 889.55 | 31.261 | 38.4473
2020-06-15 04:00:00 | 5.619 | 276.24 | 6.943 | 272.812 | 7.611 | 276.633 | 8.203 | 274.2 | 20.498 | 889.617 | 31.285 | 29.5809
2020-06-15 04:15:00 | 5.742 | 260.407 | 7.196 | 260.223 | 7.602 | 267.5 | 7.77 | 263.75 | 19.923 | 889.817 | 31.693 | 31.4369
2020-06-15 04:30:00 | 5.888 | 251.647 | 7.429 | 253.252 | 8.072 | 258.267 | 8.16 | 255.2 | 19.789 | 889.8 | 31.989 | 27.9189
2020-06-15 04:45:00 | 4.947 | 223.047 | 5.82 | 229.114 | 5.934 | 239.767 | 5.911 | 236.367 | 19.327 | 889.733 | 32.731 | 19.8795
2020-06-15 05:00:00 | 3.66 | 251.307 | 4.99 | 251.208 | 5.15 | 260.833 | 5.294 | 259.367 | 18.673 | 889.583 | 33.68 | 12.3695
2020-06-15 05:15:00 | 1.767 | 282.373 | 2.878 | 259.832 | 3.457 | 267.3 | 3.908 | 267.9 | 18.864 | 890.033 | 33.253 | 3.7177
2020-06-15 05:30:00 | 1.727 | 230.72 | 2.904 | 257.886 | 3.173 | 268.2 | 3.686 | 271.6 | 19.306 | 889.683 | 33.275 | 1.6393
2020-06-15 05:45:00 | 3.079 | 203.62 | 2.581 | 232.384 | 2.893 | 252.333 | 3.17 | 250.5 | 19.152 | 889.767 | 33.685 | 3.1229
2020-06-15 06:00:00 | 3.747 | 212.013 | 3.832 | 221.591 | 3.989 | 230.4 | 4.451 | 228.467 | 19.073 | 889.75 | 33.365 | 7.6677
2020-06-15 06:15:00 | 3.312 | 237.253 | 3.625 | 231.614 | 4.075 | 237.467 | 4.467 | 232.8 | 19.289 | 889.567 | 33.2 | 8.1466
2020-06-15 06:30:00 | 3.707 | 218.627 | 4.495 | 220.012 | 4.902 | 224.333 | 5.273 | 221.467 | 19.323 | 889.567 | 33.312 | 7.4894
2020-06-15 06:45:00 | 3.08 | 192.133 | 2.785 | 200.022 | 2.873 | 212.3 | 3.557 | 212.6 | 18.773 | 889.7 | 33.077 | 7.2321
2020-06-15 07:00:00 | 2.93 | 237.227 | 4.26 | 236.074 | 4.977 | 241.333 | 5.447 | 236.3 | 19.218 | 889.233 | 32.059 | 16.4752
2020-06-15 07:15:00 | 4.717 | 245.72 | 5.653 | 243.019 | 5.985 | 247.4 | 6.226 | 243.167 | 19.018 | 889.867 | 32.997 | 22.65
2020-06-15 07:30:00 | 6.249 | 238.72 | 7.341 | 235.491 | 7.994 | 240.6 | 8.355 | 237.067 | 19.456 | 889.567 | 33.04 | 36.3959
2020-06-15 07:45:00 | 7.57 | 241.093 | 8.65 | 239.514 | 9.293 | 245.367 | 9.594 | 240.867 | 20.123 | 889.9 | 33.195 | 54.116
2020-06-15 08:00:00 | 7.974 | 240.433 | 9.013 | 235.722 | 9.701 | 241.8 | 9.586 | 235.467 | 20.46 | 889.383 | 32.891 | 64.253
2020-06-15 08:15:00 | 7.305 | 240.86 | 7.675 | 236.033 | 7.841 | 241.017 | 7.843 | 235.883 | 21.452 | 889.517 | 31.104 | 53.5753
2020-06-15 08:30:00 | 7.304 | 243.24 | 7.676 | 239.852 | 7.782 | 243.033 | 7.952 | 236.6 | 21.968 | 889.717 | 29.189 | 46.6565
2020-06-15 08:45:00 | 7.337 | 250.72 | 7.547 | 247.562 | 7.948 | 252.567 | 8.218 | 248.817 | 22.664 | 889.483 | 27.504 | 44.7003
2020-06-15 09:00:00 | 7.767 | 262.967 | 8.378 | 260.994 | 8.55 | 265.983 | 8.573 | 261.45 | 23.064 | 889.883 | 26.968 | 51.3164
2020-06-15 09:15:00 | 9.536 | 257.333 | 10.153 | 253.006 | 10.265 | 256.317 | 10.139 | 252.483 | 22.898 | 889.467 | 28.091 | 63.0166
2020-06-15 09:30:00 | 8.867 | 254.5 | 9.606 | 252.268 | 9.724 | 256.517 | 9.774 | 251.433 | 22.431 | 889.767 | 28.616 | 57.5047
2020-06-15 09:45:00 | 8.6 | 271.933 | 9.219 | 269.369 | 9.355 | 270.233 | 9.372 | 265.767 | 22.948 | 889.683 | 27.768 | 53.1575
2020-06-15 10:00:00 | 8.311 | 265.893 | 9.068 | 260.261 | 9.148 | 265.5 | 9.098 | 260.45 | 22.998 | 890.05 | 26.624 | 50.2833
2020-06-15 10:15:00 | 9.245 | 273.967 | 9.888 | 265.704 | 10.02 | 271.267 | 10.081 | 266.4 | 23.81 | 889.483 | 24.373 | 51.5935
2020-06-15 10:30:00 | 7.708 | 288.36 | 8.519 | 282.466 | 8.588 | 288 | 8.975 | 284.1 | 23.731 | 890.017 | 24.123 | 43.1023
2020-06-15 10:45:00 | 7.112 | 283.827 | 7.565 | 282.813 | 7.814 | 285.5 | 8.095 | 282.2 | 24.048 | 889.75 | 23.056 | 39.4265
2020-06-15 11:00:00 | 7.748 | 303.547 | 7.976 | 300.968 | 8.211 | 306.9 | 8.517 | 305.567 | 24.223 | 889.7 | 22.896 | 41.5937
2020-06-15 11:15:00 | 8.329 | 293.92 | 8.727 | 289.781 | 8.742 | 295.333 | 9.198 | 292.3 | 24.552 | 889.933 | 22.392 | 31.8227
2020-06-15 11:30:00 | 6.645 | 282.047 | 6.924 | 274.067 | 6.944 | 276.383 | 6.96 | 268.283 | 24.948 | 889.8 | 21.629 | 26.2021
2020-06-15 11:45:00 | 7.005 | 288.72 | 7.43 | 278.662 | 7.568 | 284.933 | 7.649 | 280.467 | 24.856 | 889.7 | 22.419 | 21.5671
2020-06-15 12:00:00 | 5.084 | 269.907 | 5.376 | 265.412 | 5.415 | 269.867 | 5.596 | 267.667 | 25.077 | 890.05 | 21.491 | 17.5538
2020-06-15 12:15:00 | 7.645 | 244.32 | 8.123 | 241.091 | 8.154 | 247.55 | 7.855 | 241.95 | 25.956 | 889.6 | 20.431 | 23.2853
2020-06-15 12:30:00 | 5.643 | 210.72 | 5.596 | 210.733 | 6.059 | 216.7 | 6.415 | 213.8 | 27.168 | 889.3 | 19.328 | 16.2706
2020-06-15 12:45:00 | 4.169 | 198.22 | 4.347 | 193.997 | 4.684 | 198.567 | 4.694 | 194.067 | 26.56 | 889.233 | 18.896 | 9.8911
2020-06-15 13:00:00 | 4.639 | 256.773 | 5.006 | 256.048 | 5.18 | 259.883 | 5.359 | 258.617 | 26.368 | 889.767 | 19.605 | 14.303
2020-06-15 13:15:00 | 5.887 | 264.66 | 5.999 | 259.113 | 6.017 | 261.417 | 6.159 | 257.833 | 26.435 | 889.567 | 20.005 | 18.8364
2020-06-15 13:30:00 | 7.061 | 302.013 | 7.673 | 290.774 | 7.765 | 295.3 | 8.1 | 293.533 | 26.035 | 889.8 | 21.023 | 35.3343
2020-06-15 13:45:00 | 6.025 | 314.293 | 6.1 | 302.288 | 6.147 | 304.467 | 6.406 | 299.7 | 24.473 | 889.583 | 23.472 | 33.1124
2020-06-15 14:00:00 | 5.567 | 302.24 | 5.871 | 293.319 | 5.931 | 298.867 | 6.444 | 296.367 | 25.856 | 890.083 | 21.349 | 9.054
2020-06-15 14:15:00 | 6.491 | 285.027 | 7.024 | 275.839 | 7.255 | 280.533 | 7.514 | 276.633 | 26.018 | 889.6 | 20.971 | 14.5417
2020-06-15 14:30:00 | 9.41 | 267.42 | 10.132 | 260.885 | 9.754 | 265.967 | 9.985 | 261.967 | 26.802 | 889.7 | 19.244 | 26.6626
2020-06-15 14:45:00 | 6.584 | 271.333 | 7.123 | 263.962 | 7.356 | 268.883 | 7.33 | 264.5 | 27.06 | 889.667 | 18.213 | 22.2983
2020-06-15 15:00:00 | 7.01 | 298.707 | 7.738 | 291.05 | 7.898 | 294.2 | 7.754 | 291.2 | 27.268 | 890 | 16.82 | 34.0397
2020-06-15 15:15:00 | 6.705 | 262.347 | 7.097 | 262.428 | 7.391 | 266.433 | 7.367 | 263.45 | 27.768 | 889.1 | 16.579 | 37.2024
2020-06-15 15:30:00 | 7.756 | 276.827 | 8.408 | 272.075 | 8.627 | 277.167 | 8.932 | 272.25 | 27.614 | 889.433 | 16.476 | 51.4607
2020-06-15 15:45:00 | 8.759 | 273.473 | 9.493 | 269.103 | 9.699 | 274.533 | 10.264 | 269.75 | 27.602 | 889.4 | 16.236 | 51.9097
2020-06-15 16:00:00 | 7.902 | 277.053 | 8.555 | 271.015 | 8.922 | 279.533 | 9.476 | 276.333 | 27.598 | 889.467 | 16.549 | 50.063
2020-06-15 16:15:00 | 9.731 | 291.587 | 10.162 | 290.878 | 10.255 | 297.233 | 10.359 | 299.633 | 28.156 | 889.633 | 15.929 | 52.5329
2020-06-15 16:30:00 | 9.703 | 292.307 | 10.367 | 290.373 | 10.575 | 292.567 | 10.884 | 287.567 | 28.277 | 889.467 | 15.263 | 50.9505
2020-06-15 16:45:00 | 9.94 | 309.547 | 10.367 | 304.03 | 10.358 | 309 | 10.497 | 306.233 | 27.377 | 889.267 | 16.063 | 62.2748
2020-06-15 17:00:00 | 9.234 | 293.76 | 9.924 | 288.582 | 10.069 | 292.4 | 10.294 | 288.833 | 27.289 | 889.467 | 16.355 | 59.9747
2020-06-15 17:15:00 | 8.031 | 288.533 | 8.503 | 282.214 | 8.52 | 290.233 | 9.024 | 288.633 | 27.794 | 889.6 | 15.057 | 59.3366
2020-06-15 17:30:00 | 10.5 | 305.907 | 11.083 | 298.305 | 11.487 | 302.6 | 11.948 | 301.633 | 27.285 | 889.733 | 16.019 | 64.3177
2020-06-15 17:45:00 | 9.463 | 295.893 | 10.092 | 288.338 | 10.198 | 292.2 | 10.465 | 289.667 | 27.648 | 889.567 | 15.675 | 64.933
2020-06-15 18:00:00 | 9.664 | 286.147 | 10.712 | 280.068 | 10.716 | 285.833 | 11.074 | 281.533 | 27.585 | 889.467 | 15.995 | 64.3638
2020-06-15 18:15:00 | 8.42 | 295.053 | 9.185 | 289.031 | 9.338 | 290.867 | 9.742 | 289.633 | 26.777 | 889.733 | 16.941 | 56.149
2020-06-15 18:30:00 | 10.023 | 335.307 | 10.671 | 327.738 | 10.832 | 331.967 | 11.059 | 331.6 | 26.948 | 889.367 | 18.133 | 51.3647
2020-06-15 18:45:00 | 9.886 | 289.107 | 10.763 | 283.321 | 11.024 | 286.633 | 11.408 | 282.867 | 27.714 | 889.5 | 16.153 | 65.6933
2020-06-15 19:00:00 | 7.09 | 289.267 | 7.437 | 281.346 | 7.533 | 286.3 | 7.865 | 283.2 | 27.264 | 889.333 | 17.171 | 54.1473
2020-06-15 19:15:00 | 9.151 | 277.64 | 10.115 | 274.666 | 10.309 | 279.033 | 10.447 | 275.867 | 27.035 | 889.7 | 17.376 | 62.2883
2020-06-15 19:30:00 | 8.707 | 290.587 | 9.386 | 287.096 | 9.433 | 291.933 | 9.84 | 288.6 | 26.468 | 889.467 | 17.879 | 48.1196
2020-06-15 19:45:00 | 6.697 | 312.2 | 7.034 | 305.784 | 7.018 | 310.367 | 7.409 | 306.9 | 26.289 | 889.533 | 18.845 | 36.9061
2020-06-15 20:00:00 | 6.404 | 257.107 | 6.627 | 325.795 | 6.719 | 316.3 | 7.102 | 349.433 | 26.16 | 889.5 | 20.247 | 33.9452
2020-06-15 20:15:00 | 10.691 | 303.427 | 11.666 | 296.379 | 12.36 | 302.767 | 12.655 | 300.3 | 26.402 | 889.7 | 17.859 | 34.6295
2020-06-15 20:30:00 | 5.605 | 311.96 | 5.893 | 305.09 | 6.007 | 309.067 | 6.272 | 307.7 | 25.877 | 889.867 | 18.412 | 19.3416
2020-06-15 20:45:00 | 5.289 | 313.907 | 5.656 | 308.107 | 5.62 | 311.733 | 5.85 | 308.3 | 25.773 | 889.333 | 18.723 | 9.2935
2020-06-15 21:00:00 | 4.477 | 318.293 | 4.726 | 310.434 | 4.925 | 314.233 | 5.2 | 312.067 | 25.86 | 889.3 | 19.3 | 7.8852
2020-06-15 21:15:00 | 3.33 | 330.467 | 3.999 | 323.895 | 4.298 | 327.467 | 4.685 | 325.7 | 25.631 | 889.333 | 20.061 | 8.3463
2020-06-15 21:30:00 | 3.396 | 314 | 4.09 | 309.239 | 4.327 | 315.033 | 4.838 | 314.5 | 25.156 | 889.783 | 20.696 | 6.4342
2020-06-15 21:45:00 | 2.99 | 301.12 | 3.61 | 297.652 | 3.798 | 302.033 | 4.304 | 302 | 24.756 | 889.85 | 21.168 | 4.7324
2020-06-15 22:00:00 | 2.479 | 283.493 | 2.972 | 289.319 | 3.338 | 293.033 | 3.914 | 292.467 | 24.248 | 890 | 21.571 | 1.8233
2020-06-15 22:15:00 | 2.974 | 274.427 | 3.293 | 283.966 | 3.589 | 292.3 | 4.227 | 291.933 | 23.731 | 889.617 | 22.355 | 2.514
2020-06-15 22:30:00 | 2.893 | 281.867 | 3.424 | 285.113 | 3.777 | 291.7 | 4.282 | 292.867 | 24.26 | 889.633 | 21.968 | 3.8761
2020-06-15 22:45:00 | 2.961 | 267.333 | 2.988 | 268.795 | 2.388 | 288.233 | 2.915 | 293.733 | 23.873 | 889.55 | 22.019 | 2.8046
2020-06-15 23:00:00 | 3.389 | 256.9 | 3.124 | 273.4 | 3.16 | 281.7 | 3.587 | 284.467 | 23.048 | 889.85 | 23.035 | 1.3145
2020-06-15 23:15:00 | 4.01 | 240.067 | 3.745 | 251.751 | 3.529 | 263.4 | 3.902 | 264.5 | 22.414 | 889.683 | 23.424 | 3.1954
2020-06-15 23:30:00 | 3.976 | 249.767 | 3.894 | 258.481 | 3.854 | 267.333 | 4.142 | 261.933 | 22.26 | 889.85 | 23.8 | 5.5204
2020-06-15 23:45:00 | 4.452 | 253.04 | 4.409 | 261.259 | 4.295 | 270.667 | 4.584 | 268.433 | 21.718 | 889.65 | 24.275 | 7.2101