## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-16 00:00:00 | 4.924 | 246.047 | 4.837 | 254.381 | 4.536 | 266.633 | 4.651 | 267.667 | 21.306 | 889.783 | 24.541 | 7.1419
2020-06-16 00:15:00 | 5.103 | 243.1 | 5.471 | 255.279 | 5.225 | 264.933 | 5.248 | 262.867 | 21.018 | 889.683 | 24.611 | 9.9494
2020-06-16 00:30:00 | 5.078 | 245.127 | 5.497 | 257.399 | 5.277 | 271.333 | 5.499 | 274.4 | 20.548 | 889.517 | 25.253 | 11.3136
2020-06-16 00:45:00 | 4.942 | 255.813 | 5.328 | 272.896 | 5.466 | 284.7 | 5.962 | 289.333 | 20.164 | 889.917 | 25.784 | 12.452
2020-06-16 01:00:00 | 5.149 | 256.78 | 5.795 | 272.884 | 5.875 | 284.7 | 6.37 | 288.233 | 20.364 | 889.783 | 26.219 | 15.3362
2020-06-16 01:15:00 | 5.085 | 249.347 | 5.18 | 266.175 | 5.087 | 279.267 | 5.57 | 283 | 19.802 | 890.05 | 26.717 | 12.7866
2020-06-16 01:30:00 | 5.1 | 239.82 | 4.958 | 256.433 | 4.816 | 268.533 | 5.04 | 270.733 | 19.798 | 889.45 | 26.936 | 8.6241
2020-06-16 01:45:00 | 5.359 | 238.333 | 5.388 | 249.235 | 4.966 | 257.8 | 4.965 | 259.8 | 19.044 | 889.867 | 27.333 | 9.3042
2020-06-16 02:00:00 | 5.432 | 242.867 | 5.915 | 253.905 | 5.686 | 264.4 | 5.796 | 263.433 | 19.11 | 889.533 | 28.093 | 14.4899
2020-06-16 02:15:00 | 5.316 | 252.82 | 6.029 | 267.582 | 6.164 | 279.167 | 6.776 | 279.967 | 18.739 | 889.683 | 29.437 | 20.2554
2020-06-16 02:30:00 | 4.998 | 252.367 | 6.265 | 265.667 | 6.738 | 278.2 | 7.22 | 279.5 | 18.994 | 890.183 | 30.389 | 22.0688
2020-06-16 02:45:00 | 5.358 | 250.493 | 6.142 | 264.74 | 6.25 | 275.4 | 6.636 | 274.867 | 18.627 | 889.9 | 31.709 | 20.944
2020-06-16 03:00:00 | 5.401 | 242.3 | 5.795 | 256.3 | 5.902 | 267 | 6.204 | 266.533 | 18.823 | 890.267 | 32.645 | 18.9586
2020-06-16 03:15:00 | 5.959 | 236.813 | 6.448 | 246.596 | 6.253 | 255.8 | 6.332 | 255.883 | 18.073 | 889.667 | 33.307 | 20.9773
2020-06-16 03:30:00 | 5.73 | 242.467 | 6.395 | 252.465 | 6.369 | 260.667 | 6.463 | 260.067 | 18.302 | 889.9 | 33.88 | 22.2471
2020-06-16 03:45:00 | 5.476 | 237.967 | 6.693 | 248.073 | 6.494 | 257.033 | 6.371 | 257.333 | 17.877 | 889.95 | 34.304 | 22.5171
2020-06-16 04:00:00 | 5.337 | 237.413 | 5.883 | 250.235 | 5.822 | 260.7 | 5.951 | 260.55 | 17.835 | 889.9 | 34.755 | 17.627
2020-06-16 04:15:00 | 5.702 | 233.453 | 6.458 | 241.953 | 6.012 | 251.267 | 5.984 | 250.933 | 17.598 | 890.033 | 35.067 | 19.2272
2020-06-16 04:30:00 | 6.051 | 224.433 | 7.741 | 227.945 | 7.482 | 238.567 | 7.042 | 237.333 | 17.468 | 889.683 | 35.776 | 28.3296
2020-06-16 04:45:00 | 6.379 | 221.14 | 7.892 | 224.034 | 8.016 | 231.833 | 7.666 | 228.233 | 17.048 | 890.117 | 36.112 | 33.6674
2020-06-16 05:00:00 | 6.612 | 222.44 | 7.852 | 224.909 | 7.918 | 232.767 | 7.692 | 229.133 | 16.914 | 889.833 | 35.792 | 32.831
2020-06-16 05:15:00 | 6.804 | 220.74 | 8.34 | 223.639 | 8.352 | 231.1 | 8.121 | 227.933 | 16.948 | 889.767 | 35.723 | 36.2204
2020-06-16 05:30:00 | 6.494 | 223.533 | 8.036 | 225.592 | 7.996 | 233.367 | 7.858 | 229.8 | 16.898 | 889.967 | 35.419 | 32.49
2020-06-16 05:45:00 | 6.256 | 224.593 | 7.862 | 225.106 | 7.777 | 232.067 | 7.606 | 229 | 16.831 | 889.6 | 35.648 | 32.291
2020-06-16 06:00:00 | 5.977 | 222.127 | 7.546 | 223.918 | 7.569 | 230.533 | 7.47 | 227.333 | 16.764 | 890 | 35.269 | 30.4343
2020-06-16 06:15:00 | 6.252 | 218.96 | 8.807 | 219.512 | 8.079 | 225.933 | 7.542 | 223.267 | 16.831 | 889.717 | 35.115 | 33.5075
2020-06-16 06:30:00 | 7.803 | 216.66 | 10.078 | 217.001 | 10.439 | 220.2 | 10.399 | 217.633 | 17.014 | 889.683 | 34.32 | 50.3991
2020-06-16 06:45:00 | 7.264 | 219.033 | 9.606 | 215.844 | 10.244 | 220.5 | 10.047 | 218.767 | 17.756 | 889.683 | 32.864 | 61.3404
2020-06-16 07:00:00 | 8.091 | 217.673 | 9.387 | 220.229 | 9.499 | 228.1 | 9.593 | 227.133 | 18.485 | 889.35 | 31.195 | 57.0379
2020-06-16 07:15:00 | 5.726 | 231.833 | 7.249 | 232.046 | 7.992 | 242.033 | 8.106 | 239.733 | 19.827 | 889.833 | 29.424 | 47.9895
2020-06-16 07:30:00 | 6.186 | 249.327 | 7.49 | 245.164 | 8.398 | 251.183 | 8.698 | 246.5 | 21.485 | 889.8 | 27.083 | 42.7676
2020-06-16 07:45:00 | 6.961 | 247.287 | 7.71 | 243.002 | 8.122 | 248.95 | 8.332 | 243.667 | 23.098 | 890.3 | 25.461 | 41.6676
2020-06-16 08:00:00 | 6.465 | 250.693 | 6.781 | 247.108 | 6.928 | 250.633 | 7.038 | 244.95 | 23.364 | 889.317 | 24.517 | 37.4028
2020-06-16 08:15:00 | 6.361 | 254.947 | 6.709 | 249.329 | 6.892 | 254.9 | 6.792 | 249.967 | 23.885 | 890.167 | 23.709 | 28.5051
2020-06-16 08:30:00 | 6.256 | 275.507 | 6.774 | 272.286 | 6.973 | 276.267 | 7.093 | 271.6 | 24.181 | 889.45 | 23.291 | 24.8819
2020-06-16 08:45:00 | 7.088 | 292.747 | 7.486 | 285.58 | 7.461 | 292.5 | 7.655 | 289.167 | 23.835 | 889.767 | 23.555 | 28.0645
2020-06-16 09:00:00 | 6.702 | 302.8 | 6.87 | 294.932 | 7.066 | 298.833 | 7.151 | 298.2 | 23.577 | 889.75 | 23.44 | 25.1008
2020-06-16 09:15:00 | 6.283 | 326.627 | 6.412 | 316.536 | 6.575 | 319.067 | 6.741 | 317.967 | 24.489 | 889.867 | 22.92 | 20.7393
2020-06-16 09:30:00 | 5.398 | 286.96 | 5.614 | 280.889 | 5.597 | 284.867 | 5.786 | 280.433 | 24.218 | 889.7 | 22.955 | 14.3577
2020-06-16 09:45:00 | 5.715 | 303.84 | 6.073 | 295.833 | 6.338 | 297.967 | 6.618 | 295.533 | 25.027 | 889.633 | 22.341 | 12.9614
2020-06-16 10:00:00 | 4.612 | 297.067 | 4.806 | 291.683 | 4.794 | 294.667 | 5.273 | 293.7 | 25.073 | 889.817 | 21.984 | 13.0623
2020-06-16 10:15:00 | 5.31 | 311.72 | 5.966 | 310.247 | 6.231 | 314.067 | 6.75 | 313.1 | 25.514 | 889.5 | 21.104 | 12.6218
2020-06-16 10:30:00 | 4.576 | 299 | 4.826 | 294.615 | 4.588 | 298.433 | 5.018 | 293.333 | 25.51 | 889.583 | 21.019 | 10.3636
2020-06-16 10:45:00 | 5.198 | 309.76 | 5.465 | 301.735 | 5.7 | 305.067 | 6.15 | 300.867 | 26.044 | 889.617 | 20.376 | 13.2073
2020-06-16 11:00:00 | 5.078 | 300.107 | 5.429 | 302.925 | 5.663 | 300 | 5.886 | 308.267 | 26.144 | 889.55 | 20.364 | 34.2991
2020-06-16 11:15:00 | 9.205 | 328.547 | 9.243 | 321.512 | 9.363 | 324.433 | 9.78 | 322.3 | 26.218 | 889.433 | 20.189 | 45.9175
2020-06-16 11:30:00 | 6.198 | 304.907 | 6.48 | 295.047 | 6.862 | 299.7 | 7.048 | 299.6 | 26.485 | 889.8 | 20.292 | 39.2076
2020-06-16 11:45:00 | 8.858 | 317.493 | 9.056 | 312.599 | 9.191 | 313.933 | 9.653 | 308.767 | 27.273 | 889.533 | 19.237 | 39.5871
2020-06-16 12:00:00 | 8.439 | 332.2 | 8.955 | 327.965 | 9.546 | 332.667 | 9.642 | 334.2 | 27.094 | 889.533 | 19.576 | 30.1763
2020-06-16 12:15:00 | 5.884 | 316.06 | 6.107 | 314.383 | 6.583 | 318.367 | 6.804 | 319.167 | 27.577 | 889.633 | 19.203 | 28.5484
2020-06-16 12:30:00 | 7.306 | 273.913 | 7.6 | 271.63 | 7.704 | 275.467 | 7.967 | 274.033 | 27.318 | 889.3 | 19.14 | 31.6387
2020-06-16 12:45:00 | 7.401 | 280.153 | 7.843 | 273.143 | 8.126 | 277.7 | 8.37 | 272.583 | 27.614 | 889.533 | 18.607 | 32.3642
2020-06-16 13:00:00 | 5.635 | 283.413 | 5.856 | 280.896 | 6.113 | 283.833 | 6.158 | 280.633 | 28.098 | 889.267 | 17.38 | 27.7554
2020-06-16 13:15:00 | 6.639 | 318.173 | 6.882 | 322.176 | 7.075 | 323.2 | 7.21 | 321.433 | 27.535 | 889.9 | 18.147 | 34.4007
2020-06-16 13:30:00 | 8.156 | 291.2 | 8.698 | 288.164 | 8.94 | 291.733 | 9.142 | 290.533 | 28.894 | 889.367 | 16.585 | 32.6832
2020-06-16 13:45:00 | 5.195 | 301.813 | 5.491 | 297.771 | 5.869 | 302.333 | 6.312 | 301.5 | 27.894 | 889.933 | 17.077 | 32.4047
2020-06-16 14:00:00 | 7.006 | 298.16 | 7.079 | 291.434 | 7.474 | 298.7 | 7.796 | 295.067 | 28.956 | 889.2 | 16.433 | 43.211
2020-06-16 14:15:00 | 6.659 | 275.56 | 7.044 | 268.333 | 7.488 | 275 | 7.67 | 273.917 | 29.214 | 889.2 | 16.18 | 43.5208
2020-06-16 14:30:00 | 7.408 | 304.12 | 7.592 | 300.467 | 8.135 | 303.7 | 8.461 | 303.9 | 28.694 | 889.467 | 16.636 | 41.8716
2020-06-16 14:45:00 | 5.688 | 278.6 | 6.262 | 273.883 | 6.671 | 277.05 | 7.055 | 272.933 | 29.331 | 889.667 | 15.812 | 40.9784
2020-06-16 15:00:00 | 7.794 | 278.007 | 8.274 | 274.434 | 8.456 | 281.7 | 8.903 | 280.467 | 29.164 | 889.333 | 15.393 | 40.1804
2020-06-16 15:15:00 | 7.828 | 305.32 | 8.073 | 301.431 | 8.23 | 305.4 | 8.713 | 305.2 | 29.131 | 889.2 | 15.935 | 40.3083
2020-06-16 15:30:00 | 8.906 | 281 | 9.38 | 275.916 | 9.437 | 283 | 9.523 | 281.467 | 29.264 | 889.367 | 15.372 | 47.3152
2020-06-16 15:45:00 | 8.643 | 305.48 | 9.248 | 299.101 | 9.385 | 304.267 | 9.903 | 301.1 | 29.564 | 889.333 | 14.588 | 29.7329
2020-06-16 16:00:00 | 7.309 | 322.36 | 7.249 | 315.41 | 7.618 | 316.667 | 7.808 | 313.333 | 30.006 | 889.833 | 15.181 | 38.5404
2020-06-16 16:15:00 | 5.597 | 315.08 | 5.764 | 308.477 | 6.247 | 312.133 | 6.927 | 311.033 | 29.631 | 889.567 | 15.208 | 37.7091
2020-06-16 16:30:00 | 7.04 | 286.413 | 7.269 | 282.072 | 7.496 | 287.5 | 7.712 | 285 | 29.398 | 889.133 | 14.373 | 33.9111
2020-06-16 16:45:00 | 6.956 | 317.92 | 7.028 | 309.87 | 6.985 | 314.8 | 7.446 | 308.867 | 29.664 | 889.967 | 13.903 | 38.5887
2020-06-16 17:00:00 | 8.291 | 297.907 | 8.607 | 292.145 | 9.087 | 297.133 | 9.586 | 295.467 | 30.206 | 889.7 | 14.044 | 42.1792
2020-06-16 17:15:00 | 8.24 | 298.373 | 8.866 | 294.855 | 9.037 | 296.067 | 9.214 | 291.167 | 30.148 | 889.967 | 13.559 | 42.4706
2020-06-16 17:30:00 | 8.244 | 316 | 8.89 | 308.66 | 8.921 | 312.433 | 9.212 | 309.733 | 30.418 | 889.467 | 13.452 | 31.7922
2020-06-16 17:45:00 | 7.908 | 312.28 | 8.18 | 308.84 | 8.634 | 313.933 | 8.621 | 314.2 | 30.048 | 889.333 | 13.355 | 39.1906
2020-06-16 18:00:00 | 9.03 | 296.747 | 9.211 | 293.416 | 9.516 | 298.933 | 10.026 | 295.833 | 30.723 | 889.3 | 13.096 | 33.7285
2020-06-16 18:15:00 | 5.001 | 327 | 5.207 | 318.213 | 5.341 | 318.1 | 5.84 | 311.2 | 30.164 | 889.633 | 13.201 | 21.0157
2020-06-16 18:30:00 | 6.277 | 295.267 | 6.844 | 289.043 | 6.983 | 295.567 | 7.501 | 293.7 | 29.981 | 889.7 | 13.215 | 27.9757
2020-06-16 18:45:00 | 6.02 | 299.507 | 6.479 | 294.512 | 6.561 | 297.033 | 6.865 | 294.033 | 30.194 | 889.633 | 12.896 | 32.426
2020-06-16 19:00:00 | 7.762 | 299.8 | 8.346 | 296.018 | 8.3 | 300.967 | 8.563 | 296.433 | 29.939 | 889.3 | 12.761 | 30.3149
2020-06-16 19:15:00 | 6.742 | 309.44 | 7.006 | 302.949 | 7.208 | 306.9 | 7.482 | 303.133 | 30.264 | 888.967 | 12.553 | 28.9208
2020-06-16 19:30:00 | 6.464 | 292.467 | 6.792 | 288.154 | 7.1 | 292.267 | 7.469 | 287.367 | 30.039 | 889.433 | 12.675 | 25.0162
2020-06-16 19:45:00 | 7.003 | 312.973 | 7.257 | 307.745 | 7.501 | 310.533 | 7.881 | 308.5 | 29.998 | 889.633 | 12.629 | 25.1541
2020-06-16 20:00:00 | 5.107 | 294.52 | 5.598 | 290.441 | 5.712 | 291.033 | 5.971 | 286.5 | 29.798 | 889.533 | 12.569 | 25.0731
2020-06-16 20:15:00 | 7.767 | 283.067 | 8.416 | 279.102 | 8.525 | 282.233 | 8.844 | 278.733 | 29.664 | 889.567 | 13.029 | 33.1153
2020-06-16 20:30:00 | 7.287 | 284.573 | 7.716 | 278.996 | 7.735 | 283.333 | 7.962 | 279.733 | 29.664 | 889.6 | 12.683 | 26.971
2020-06-16 20:45:00 | 5.728 | 309.627 | 6.039 | 302.982 | 6.387 | 307.733 | 6.852 | 304.367 | 29.614 | 889.3 | 13.229 | 22.2905
2020-06-16 21:00:00 | 6.312 | 294.16 | 6.847 | 290.898 | 7.152 | 297.633 | 7.803 | 295.267 | 29.581 | 889.4 | 13.913 | 25.4198
2020-06-16 21:15:00 | 6.499 | 287.253 | 7.541 | 283.994 | 8.201 | 287.1 | 8.604 | 284.133 | 29.198 | 889.967 | 14.279 | 23.5858
2020-06-16 21:30:00 | 5.026 | 295.573 | 5.925 | 292.694 | 6.096 | 298 | 6.417 | 295.067 | 28.818 | 889.533 | 14.972 | 18.771
2020-06-16 21:45:00 | 4.172 | 280.093 | 4.976 | 279.649 | 5.067 | 281.867 | 5.61 | 278.9 | 28.16 | 889.467 | 15.171 | 11.2824
2020-06-16 22:00:00 | 3.852 | 282.027 | 4.742 | 281.185 | 4.862 | 285.333 | 5.37 | 283.667 | 27.564 | 889.667 | 15.865 | 10.6102
2020-06-16 22:15:00 | 4.286 | 279.52 | 5.349 | 282.176 | 5.517 | 286.6 | 6.082 | 285.8 | 27.606 | 889.6 | 15.543 | 13.3963
2020-06-16 22:30:00 | 3.992 | 276.667 | 5.04 | 281.445 | 5.405 | 288.1 | 5.977 | 286.033 | 26.806 | 889.8 | 15.375 | 14.6583
2020-06-16 22:45:00 | 4.162 | 273.04 | 5.383 | 278.628 | 5.688 | 283.633 | 6.266 | 281.5 | 26.194 | 889.567 | 15.603 | 12.5678
2020-06-16 23:00:00 | 4.133 | 250.067 | 4.758 | 265.88 | 4.935 | 273.933 | 5.282 | 271 | 25.648 | 889.533 | 16.263 | 10.1803
2020-06-16 23:15:00 | 4.455 | 246.213 | 4.825 | 262.616 | 4.967 | 272.333 | 5.392 | 269.733 | 24.673 | 889.233 | 17.056 | 11.217
2020-06-16 23:30:00 | 4.68 | 247.68 | 5.047 | 265.736 | 5.362 | 276.267 | 5.759 | 274.1 | 24.606 | 889.7 | 17.451 | 10.979
2020-06-16 23:45:00 | 4.444 | 243.567 | 4.664 | 263.314 | 4.784 | 275.667 | 5.26 | 276.033 | 23.514 | 889.833 | 18.112 | 9.4989