## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-17 00:00:00 | 4.347 | 239.407 | 4.798 | 260.259 | 4.639 | 274.867 | 5.117 | 277.3 | 22.931 | 889.333 | 18.683 | 8.843
2020-06-17 00:15:00 | 4.666 | 239.36 | 4.718 | 259.393 | 4.477 | 272.667 | 4.972 | 277.467 | 22.314 | 889.267 | 19.055 | 8.2063
2020-06-17 00:30:00 | 4.616 | 245.1 | 4.895 | 268.013 | 5.043 | 282.4 | 5.773 | 288.3 | 22.514 | 889.633 | 19.249 | 9.7149
2020-06-17 00:45:00 | 4.964 | 247.8 | 5.185 | 268.315 | 5.191 | 282.333 | 5.721 | 287.033 | 22.431 | 889.7 | 19.156 | 10.9626
2020-06-17 01:00:00 | 4.897 | 252.967 | 5.154 | 271.786 | 5.267 | 282 | 5.646 | 282.833 | 21.868 | 889.6 | 19.565 | 8.9475
2020-06-17 01:15:00 | 3.971 | 240.733 | 4.139 | 266.076 | 4.004 | 282.067 | 4.265 | 288.633 | 22.006 | 890.067 | 19.655 | 3.3404
2020-06-17 01:30:00 | 3.062 | 232.473 | 2.997 | 262.216 | 2.671 | 282.933 | 2.995 | 295 | 20.86 | 889.817 | 20.675 | 1.4332
2020-06-17 01:45:00 | 4.145 | 225.067 | 3.956 | 249.108 | 3.096 | 259.4 | 2.967 | 267.467 | 21.085 | 889.517 | 20.891 | 1.9533
2020-06-17 02:00:00 | 4.101 | 227.047 | 4.25 | 244.166 | 3.484 | 257.4 | 3.404 | 258.2 | 20.535 | 889.717 | 21.275 | 2.4536
2020-06-17 02:15:00 | 4.799 | 215.867 | 5.075 | 235.109 | 4.322 | 252.4 | 4.018 | 258 | 20.46 | 889.933 | 21.483 | 3.9806
2020-06-17 02:30:00 | 5.025 | 210.78 | 5.308 | 229.934 | 4.537 | 248.767 | 4.175 | 256.867 | 20.194 | 889.433 | 21.899 | 6.3603
2020-06-17 02:45:00 | 4.739 | 220.173 | 5.651 | 234.298 | 4.925 | 246.133 | 4.31 | 248.667 | 19.006 | 889.75 | 22.853 | 7.6741
2020-06-17 03:00:00 | 5.774 | 218.86 | 6.455 | 229.2 | 5.591 | 244.2 | 4.802 | 245.933 | 18.981 | 889.717 | 22.789 | 10.2826
2020-06-17 03:15:00 | 5.742 | 222.54 | 6.448 | 229.774 | 5.974 | 238.3 | 5.464 | 235.433 | 18.939 | 889.8 | 22.891 | 11.5645
2020-06-17 03:30:00 | 5.996 | 226.853 | 6.62 | 234.433 | 6.24 | 241.3 | 5.992 | 237.767 | 19.068 | 889.483 | 23.008 | 13.37
2020-06-17 03:45:00 | 6.374 | 227.447 | 7.008 | 234.59 | 6.632 | 242.767 | 6.269 | 238.967 | 19.414 | 889.583 | 23.088 | 17.0941
2020-06-17 04:00:00 | 6.002 | 222.847 | 6.779 | 232.508 | 6.238 | 242.8 | 5.881 | 240.167 | 19.073 | 889.4 | 23.397 | 13.547
2020-06-17 04:15:00 | 6.065 | 226.367 | 6.911 | 234.995 | 6.409 | 245.033 | 5.904 | 243.7 | 18.706 | 889.933 | 23.835 | 13.2215
2020-06-17 04:30:00 | 5.976 | 226.313 | 6.96 | 234.247 | 6.505 | 243.7 | 5.941 | 243.433 | 18.264 | 889.933 | 24.213 | 13.5278
2020-06-17 04:45:00 | 6.034 | 226.467 | 7.023 | 233.952 | 6.459 | 243.767 | 6.09 | 242.467 | 18.335 | 889.167 | 24.677 | 14.7187
2020-06-17 05:00:00 | 5.792 | 225.707 | 6.269 | 235.281 | 5.942 | 246.033 | 5.65 | 245 | 18.127 | 889.567 | 25.003 | 11.8508
2020-06-17 05:15:00 | 6.158 | 223.547 | 6.591 | 232.874 | 6.149 | 243.6 | 5.568 | 242.633 | 17.989 | 889.817 | 25.056 | 11.6881
2020-06-17 05:30:00 | 5.993 | 222.987 | 6.688 | 232.489 | 6.105 | 242.767 | 5.709 | 240.433 | 18.139 | 889.917 | 25.195 | 13.1398
2020-06-17 05:45:00 | 6.276 | 221.533 | 7.151 | 224.792 | 6.42 | 234.8 | 5.864 | 235.233 | 17.606 | 889.75 | 25.243 | 15.1031
2020-06-17 06:00:00 | 5.866 | 219.487 | 6.938 | 222.675 | 6.181 | 234.267 | 5.666 | 234.233 | 17.698 | 889.917 | 25.024 | 13.5406
2020-06-17 06:15:00 | 6.154 | 219.64 | 8.187 | 217.903 | 6.824 | 226.767 | 6.011 | 226.9 | 18.01 | 889.683 | 24.837 | 14.4103
2020-06-17 06:30:00 | 5.991 | 217.167 | 7.575 | 218.135 | 6.708 | 225.567 | 5.89 | 225.067 | 18.789 | 889.9 | 23.995 | 13.0901
2020-06-17 06:45:00 | 6.377 | 219.08 | 7.553 | 219.044 | 6.714 | 226.9 | 5.73 | 229.633 | 19.36 | 890.217 | 23.099 | 12.9245
2020-06-17 07:00:00 | 6.465 | 220.407 | 7.782 | 218.286 | 6.763 | 225.733 | 5.776 | 226.2 | 20.335 | 889.75 | 22.309 | 12.7326
2020-06-17 07:15:00 | 5.916 | 217.26 | 7.871 | 213.435 | 7.454 | 218.8 | 6.545 | 217.867 | 20.835 | 889.45 | 22.021 | 14.3314
2020-06-17 07:30:00 | 5.509 | 209.74 | 6.726 | 208.993 | 7.414 | 211.933 | 7.12 | 210.067 | 22.244 | 889.733 | 20.885 | 13.1398
2020-06-17 07:45:00 | 5.415 | 211.82 | 5.898 | 208.927 | 6.491 | 210.933 | 6.44 | 207.333 | 23.506 | 889.6 | 19.533 | 10.5128
2020-06-17 08:00:00 | 4.706 | 208.213 | 4.701 | 206.332 | 4.992 | 208.867 | 5.322 | 205.133 | 24.539 | 889.467 | 18.712 | 6.4619
2020-06-17 08:15:00 | 4.062 | 210.24 | 4.056 | 209.426 | 4.489 | 210.5 | 5 | 204.9 | 25.373 | 889.633 | 17.739 | 4.5057
2020-06-17 08:30:00 | 3.562 | 218.587 | 3.627 | 218.552 | 3.734 | 221.767 | 3.973 | 215.9 | 26.094 | 889.5 | 16.8 | 1.9526
2020-06-17 08:45:00 | 3.815 | 216.533 | 3.937 | 213.611 | 3.932 | 217.167 | 4.015 | 214.8 | 26.989 | 889.6 | 16.072 | 1.2314
2020-06-17 09:00:00 | 2.534 | 221.22 | 2.368 | 216.755 | 2.451 | 223.133 | 2.801 | 220.233 | 27.868 | 889.5 | 15.128 | 0.4505
2020-06-17 09:15:00 | 3.705 | 262.8 | 3.768 | 256.88 | 3.765 | 260.033 | 3.806 | 252.983 | 29.085 | 889.233 | 14.203 | 0.45974
2020-06-17 09:30:00 | 3.09 | 299.073 | 2.938 | 292.705 | 3.347 | 292.667 | 3.936 | 287.317 | 28.098 | 889.333 | 14.512 | 1.6862
2020-06-17 09:45:00 | 3.074 | 257.847 | 3.141 | 260.912 | 3.223 | 260.617 | 3.533 | 254.95 | 29.281 | 889.5 | 14.137 | 3.3873
2020-06-17 10:00:00 | 3.66 | 266.52 | 3.595 | 259.324 | 3.705 | 267.167 | 3.57 | 263.017 | 28.302 | 889.4 | 14.215 | 3.2125
2020-06-17 10:15:00 | 3.946 | 294.4 | 4.343 | 282.287 | 4.49 | 281.717 | 4.472 | 279.567 | 28.202 | 889.5 | 14.171 | 6.5187
2020-06-17 10:30:00 | 4.52 | 314.893 | 4.716 | 304.945 | 4.678 | 304.167 | 5.001 | 294.767 | 28.498 | 889.4 | 13.749 | 7.7985
2020-06-17 10:45:00 | 2.834 | 324.493 | 2.911 | 315.931 | 2.681 | 314.233 | 3.254 | 305.733 | 28.856 | 889.467 | 13.296 | 7.8731
2020-06-17 11:00:00 | 4.775 | 251.933 | 4.793 | 246.86 | 4.889 | 250.667 | 5.09 | 248.967 | 29.798 | 889.267 | 12.399 | 7.3231
2020-06-17 11:15:00 | 3.676 | 318.627 | 3.625 | 310.679 | 3.305 | 306.833 | 3.655 | 297 | 29.364 | 889.567 | 12.043 | 5.5154
2020-06-17 11:30:00 | 4.474 | 291.573 | 4.556 | 283.223 | 4.61 | 290.9 | 4.736 | 288.1 | 29.681 | 889.4 | 12.069 | 5.9176
2020-06-17 11:45:00 | 5.27 | 270.174 | 5.4 | 299.542 | 5.388 | 282.55 | 5.713 | 301.933 | 29.831 | 889.633 | 12.431 | 8.1772
2020-06-17 12:00:00 | 3.601 | 63.839 | 3.435 | 99.398 | 3.506 | 90.533 | 3.645 | 49.233 | 29.981 | 889.7 | 12.327 | 6.9294
2020-06-17 12:15:00 | 4.319 | 230.577 | 4.859 | 305.405 | 5.162 | 306.667 | 5.483 | 326.467 | 30.36 | 889.4 | 12.36 | 5.3769
2020-06-17 12:30:00 | 2.435 | 275.873 | 2.694 | 278.633 | 2.951 | 296.9 | 3.303 | 287.667 | 30.66 | 889.633 | 12.356 | 6.4562
2020-06-17 12:45:00 | 4.063 | 303.62 | 3.604 | 318.653 | 3.274 | 284.5 | 3.42 | 301.933 | 30.264 | 889.367 | 12.201 | 9.6225
2020-06-17 13:00:00 | 4.697 | 297.853 | 4.862 | 336.424 | 4.658 | 329.333 | 4.673 | 326.333 | 30.339 | 889.367 | 12.288 | 6.0718
2020-06-17 13:15:00 | 2.711 | 277.441 | 2.981 | 296.025 | 3.318 | 304.233 | 3.963 | 302.533 | 31.123 | 889.667 | 12.239 | 7.8233
2020-06-17 13:30:00 | 4.081 | 273.64 | 4.262 | 272.482 | 4.063 | 271.05 | 4.47 | 266.467 | 31.134 | 889.933 | 12.333 | 3.523
2020-06-17 13:45:00 | 3.427 | 315.547 | 3.404 | 304.827 | 3.716 | 274.933 | 4.26 | 310.367 | 31.123 | 889.4 | 11.835 | 2.3982
2020-06-17 14:00:00 | 6.065 | 319.92 | 5.822 | 309.835 | 5.946 | 310.767 | 6.235 | 307.6 | 31.648 | 889.567 | 11.597 | 4.5832
2020-06-17 14:15:00 | 2.858 | 267.588 | 2.756 | 318.564 | 2.635 | 281.7 | 2.841 | 250.938 | 31.704 | 889.7 | 11.323 | 8.2099
2020-06-17 14:30:00 | 4.761 | 252.267 | 5.304 | 253.996 | 5.356 | 259.717 | 5.842 | 258.383 | 32.212 | 889.867 | 10.905 | 12.8954
2020-06-17 14:45:00 | 4.939 | 294.321 | 5.171 | 278.868 | 5.478 | 284.7 | 5.87 | 276.2 | 32.625 | 889.667 | 10.743 | 8.9176
2020-06-17 15:00:00 | 2.422 | 236.6 | 2.058 | 236.861 | 2.15 | 246.717 | 2.578 | 239.767 | 32.696 | 889.133 | 10.341 | 8.5858
2020-06-17 15:15:00 | 3.96 | 268.34 | 4.006 | 312.149 | 4.434 | 303.333 | 4.395 | 302.533 | 32.136 | 889.3 | 10.692 | 3.6452
2020-06-17 15:30:00 | 3.821 | 289.567 | 4.226 | 299.282 | 4.707 | 300.667 | 5.27 | 300.117 | 32.251 | 889.767 | 10.445 | 1.3202
2020-06-17 15:45:00 | 4.964 | 273.807 | 5.073 | 269.568 | 5.292 | 277.133 | 5.54 | 272.967 | 33.03 | 889.2 | 10.487 | 5.3534
2020-06-17 16:00:00 | 5.233 | 269.027 | 5.358 | 263.034 | 5.24 | 271.933 | 5.4 | 271.417 | 32.465 | 889.467 | 10.819 | 4.3259
2020-06-17 16:15:00 | 0.432 | 317.76 | 0.034 | 310.832 | 0 | 269.138 | 0.242 | 308.2 | 31.929 | 889.667 | 11.197 | 3.2622
2020-06-17 16:30:00 | 4.804 | 235.793 | 4.824 | 231.986 | 4.906 | 237.8 | 5.067 | 232.917 | 32.162 | 889.767 | 11.616 | 32.4303
2020-06-17 16:45:00 | 14.145 | 216.54 | 15.456 | 215.103 | 15.752 | 217.367 | 16.126 | 211.533 | 31.145 | 889.3 | 13.691 | 36.8834
2020-06-17 17:00:00 | 5.301 | 99.327 | 5.6 | 94.27 | 5.657 | 98.367 | 5.77 | 93.033 | 30.648 | 889.733 | 12.979 | 9.0327
2020-06-17 17:15:00 | 2.23 | 93.233 | 2.646 | 100.336 | 3.133 | 108.667 | 3.364 | 100.4 | 32.277 | 889.233 | 11.352 | 0.26433
2020-06-17 17:30:00 | 0.987 | 123.665 | 0.723 | 169.899 | 0.676 | 158.633 | 1.358 | 156.383 | 33.546 | 888.867 | 9.5 | 0.27215
2020-06-17 17:45:00 | 1.872 | 96.14 | 1.322 | 138.326 | 1.494 | 128.1 | 1.307 | 126.75 | 33.646 | 888.933 | 8.847 | 0.28565
2020-06-17 18:00:00 | 2.569 | 122.311 | 2.353 | 41.353 | 2.601 | 24.734 | 2.712 | 8.967 | 33.563 | 889.267 | 8.621 | 0.23449
2020-06-17 18:15:00 | 2.307 | 44.924 | 2.213 | 46.149 | 2.646 | 11.234 | 2.839 | 8.667 | 33.463 | 889 | 9.165 | 0.74538
2020-06-17 18:30:00 | 2.983 | 199.914 | 2.691 | 223.86 | 3.099 | 249.267 | 3.185 | 243.667 | 34.138 | 889.067 | 8.396 | 1.8063
2020-06-17 18:45:00 | 9.869 | 312.04 | 10.236 | 306.226 | 10.336 | 311.5 | 10.7 | 309.8 | 32.433 | 889.7 | 10.863 | 24.6297
2020-06-17 19:00:00 | 7.496 | 308.093 | 7.723 | 308.046 | 7.926 | 312.7 | 8.436 | 308.8 | 31.3 | 889.767 | 11.791 | 37.6899
2020-06-17 19:15:00 | 6.693 | 320.293 | 7.02 | 315.114 | 7.162 | 318.333 | 7.588 | 317.6 | 31.745 | 889.433 | 12.232 | 30.6595
2020-06-17 19:30:00 | 6.428 | 314.333 | 6.65 | 308.341 | 6.884 | 313.267 | 6.968 | 311.367 | 31.632 | 889.533 | 12.204 | 20.7379
2020-06-17 19:45:00 | 4.389 | 332.773 | 4.61 | 323.24 | 4.895 | 324.933 | 5.205 | 322.133 | 30.931 | 889.1 | 12.211 | 10.9832
2020-06-17 20:00:00 | 4.462 | 321.987 | 4.561 | 313.836 | 4.748 | 317.067 | 5.178 | 313.433 | 30.829 | 887.367 | 11.903 | 8.1374
2020-06-17 20:15:00 | 3.437 | 299.24 | 3.518 | 294.341 | 3.482 | 300.467 | 3.735 | 298.467 | 31.133 | 889.6 | 12.119 | 3.5713
2020-06-17 20:30:00 | 2.625 | 310.04 | 2.618 | 303.906 | 2.655 | 306.167 | 3.238 | 307.133 | 30.848 | 889.7 | 12.165 | 0.54998
2020-06-17 20:45:00 | 2.11 | 315.333 | 1.729 | 307.436 | 1.908 | 310.267 | 2.44 | 309 | 31.131 | 889.667 | 12.304 | 0.25012
2020-06-17 21:00:00 | 2.311 | 323.373 | 2.226 | 314.165 | 2.458 | 318 | 2.902 | 317.933 | 31.36 | 889.567 | 12.448 | 0.29418
2020-06-17 21:15:00 | 3.109 | 335.907 | 3.332 | 325.479 | 3.555 | 326.9 | 3.867 | 326.533 | 30.885 | 889.233 | 12.764 | 0.76244
2020-06-17 21:30:00 | 1.963 | 142.76 | 2.857 | 347.754 | 3.173 | 352.067 | 3.766 | 348.433 | 30.135 | 889.567 | 12.871 | 0.17977
2020-06-17 21:45:00 | 1.823 | 6.014 | 2.637 | 352.936 | 2.719 | 0 | 3.078 | 355.067 | 29.848 | 889.6 | 13.392 | 0.2558
2020-06-17 22:00:00 | 0.027 | 7.008 | 1.576 | 357.991 | 1.949 | 0.133 | 2.516 | 11.867 | 29.531 | 889.467 | 13.576 | 0.28636
2020-06-17 22:15:00 | 0 | 354.133 | 0.824 | 357.005 | 1.39 | 0 | 2.41 | 23.8 | 28.573 | 889.233 | 14.168 | 0.22454
2020-06-17 22:30:00 | 0.066 | 273.813 | 0 | 357.071 | 0 | 0 | 1.407 | 0 | 28.123 | 889.567 | 14.619 | 0.1748
2020-06-17 22:45:00 | 0.16 | 234.227 | 0 | 355.604 | 0.06 | 329.867 | 1.139 | 325.067 | 28.035 | 889.433 | 15.072 | 0.17054
2020-06-17 23:00:00 | 0.926 | 234.207 | 0 | 355.322 | 0 | 330 | 1.306 | 326.8 | 27.552 | 889.2 | 15.427 | 0.16627
2020-06-17 23:15:00 | 1.361 | 221.253 | 0 | 355.707 | 0 | 330 | 1.629 | 327 | 27.489 | 889.467 | 15.424 | 0.17196
2020-06-17 23:30:00 | 3.544 | 205 | 1.387 | 270.585 | 0.313 | 297.233 | 0 | 326.633 | 26.652 | 889.4 | 15.113 | 0.16627
2020-06-17 23:45:00 | 3.79 | 197.267 | 2.356 | 193.354 | 1.564 | 203.667 | 0.963 | 284.067 | 26.585 | 889.2 | 15.496 | 0.18759