## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-18 00:00:00 | 5.206 | 216.433 | 4.098 | 192.463 | 3.74 | 192.233 | 3.375 | 190.833 | 24.935 | 889.733 | 15.885 | 0.17125
2020-06-18 00:15:00 | 5.384 | 216.68 | 3.535 | 195.554 | 3.07 | 196.367 | 3.037 | 193.9 | 25.181 | 889.967 | 16.408 | 0.081005
2020-06-18 00:30:00 | 4.381 | 209.867 | 3.487 | 187.863 | 3.09 | 182.867 | 2.961 | 182.467 | 25.123 | 889.567 | 16.485 | 0.29773
2020-06-18 00:45:00 | 3.702 | 211.367 | 4.877 | 183.789 | 4.239 | 175.767 | 3.741 | 166.533 | 23.139 | 889.733 | 17.485 | 0.94292
2020-06-18 01:00:00 | 4.57 | 214.307 | 3.64 | 183.447 | 2.481 | 176.933 | 2.634 | 160.967 | 23.148 | 889.167 | 18.04 | 0.26575
2020-06-18 01:15:00 | 5.564 | 214.833 | 3.773 | 194.903 | 2.8 | 181.8 | 2.459 | 163.8 | 22.964 | 889.933 | 18.072 | 0.091663
2020-06-18 01:30:00 | 5.182 | 220.473 | 3.328 | 194.548 | 3.066 | 184.467 | 2.902 | 168.133 | 23.51 | 889.667 | 17.525 | 0.19967
2020-06-18 01:45:00 | 5.329 | 220.9 | 3.993 | 213.208 | 3.048 | 203.267 | 2.678 | 178 | 23.298 | 889.567 | 18.24 | 0.22667
2020-06-18 02:00:00 | 5.369 | 220.64 | 2.746 | 209.509 | 1.613 | 203.1 | 2.131 | 179.967 | 23.231 | 889.4 | 18.235 | 0.23875
2020-06-18 02:15:00 | 6.47 | 230.74 | 6.586 | 230.084 | 5.664 | 228.133 | 4.637 | 214.933 | 22.848 | 889.8 | 18.467 | 7.1561
2020-06-18 02:30:00 | 7.869 | 234.28 | 7.546 | 240.102 | 7.553 | 248.933 | 7.533 | 247.567 | 22.931 | 889.3 | 18.827 | 32.922
2020-06-18 02:45:00 | 4.413 | 249.307 | 5.489 | 255.008 | 5.846 | 263.033 | 5.899 | 260.05 | 23.318 | 889.3 | 18.427 | 15.8023
2020-06-18 03:00:00 | 4.831 | 247.093 | 5.918 | 265.956 | 6.348 | 273.367 | 6.888 | 273.633 | 23.789 | 889.833 | 18.1 | 13.4006
2020-06-18 03:15:00 | 3.989 | 264.76 | 4.775 | 284.573 | 5.202 | 301.133 | 5.932 | 303.567 | 23.964 | 889.233 | 18.444 | 16.1405
2020-06-18 03:30:00 | 4.604 | 302.52 | 5.393 | 297.65 | 5.723 | 299.6 | 6.189 | 293.2 | 23.923 | 889.333 | 20.301 | 31.0148
2020-06-18 03:45:00 | 4.012 | 301.613 | 5.611 | 286.937 | 6.44 | 286.967 | 7.162 | 283.3 | 23.698 | 889.433 | 21.085 | 24.457
2020-06-18 04:00:00 | 4.658 | 256.133 | 5.892 | 261.681 | 6.816 | 270.833 | 7.574 | 268.483 | 23.214 | 889.8 | 24.08 | 26.988
2020-06-18 04:15:00 | 5.462 | 275.72 | 6.865 | 270.366 | 7.784 | 276.1 | 8.514 | 271.2 | 23.927 | 890 | 28.003 | 37.5904
2020-06-18 04:30:00 | 5.645 | 256.32 | 7.003 | 254.54 | 7.194 | 261.217 | 7.631 | 256.6 | 23.514 | 889.883 | 30.288 | 32.7756
2020-06-18 04:45:00 | 5.368 | 243.113 | 6.516 | 242.346 | 6.972 | 249.5 | 7.104 | 246.033 | 22.848 | 889.6 | 31.632 | 34.3616
2020-06-18 05:00:00 | 6.149 | 234.8 | 7.038 | 236.508 | 7.648 | 243.167 | 7.764 | 239.3 | 22.814 | 889.767 | 32.784 | 54.0976
2020-06-18 05:15:00 | 8.595 | 246 | 9.778 | 241.834 | 10.342 | 246.9 | 10.578 | 241.467 | 22.748 | 889.683 | 33.52 | 75.7272
2020-06-18 05:30:00 | 8.465 | 247.067 | 9.683 | 244.318 | 10.439 | 250.317 | 10.512 | 246.733 | 22.631 | 889.717 | 33.765 | 79.6773
2020-06-18 05:45:00 | 8.13 | 270.4 | 9.332 | 264.031 | 10.13 | 269.333 | 10.592 | 265.8 | 22.698 | 889.667 | 34.192 | 78.3208
2020-06-18 06:00:00 | 10.587 | 263.6 | 11.856 | 258.31 | 12.126 | 261.3 | 11.942 | 257.067 | 22.564 | 889.667 | 34.888 | 85.9892
2020-06-18 06:15:00 | 8.614 | 263.88 | 9.743 | 260.338 | 10.247 | 264.167 | 10.465 | 259.583 | 22.46 | 889.733 | 35.531 | 82.8336
2020-06-18 06:30:00 | 7.617 | 264.707 | 8.352 | 259.256 | 8.7 | 263.667 | 9.046 | 260.333 | 22.268 | 889.683 | 35.773 | 76.0406
2020-06-18 06:45:00 | 10.083 | 275.533 | 11.525 | 268.384 | 12.158 | 274.367 | 12.796 | 271.617 | 22.006 | 889.583 | 37.509 | 80.6941
2020-06-18 07:00:00 | 12.75 | 264.987 | 14.207 | 258.936 | 14.71 | 262.967 | 15.127 | 260.167 | 21.227 | 889.983 | 40.243 | 80.4745
2020-06-18 07:15:00 | 13.119 | 258.827 | 14.165 | 253.964 | 14.716 | 260.383 | 15.464 | 253.067 | 20.964 | 889.475 | 40.893 | 79.8933
2020-06-18 07:30:00 | 15.323 | 268.753 | 17.214 | 260.854 | 17.529 | 266.267 | 17.961 | 260.833 | 20.848 | 889.425 | 40.907 | 80.9748
2020-06-18 07:45:00 | 15.552 | 269.627 | 17.625 | 264.089 | 17.662 | 268.133 | 17.957 | 264.2 | 21.073 | 889.817 | 40.371 | 78.615
2020-06-18 08:00:00 | 16.39 | 274.467 | 17.753 | 269.588 | 18.301 | 271.8 | 18.117 | 268.7 | 21.464 | 889.9 | 39.688 | 77.2855
2020-06-18 08:15:00 | 16.188 | 272.987 | 18.335 | 267.377 | 18.6 | 271.633 | 18.491 | 265.833 | 21.248 | 889.65 | 40.811 | 80.6117
2020-06-18 08:30:00 | 15.748 | 270.233 | 17.937 | 264.404 | 17.58 | 270.667 | 17.949 | 265.667 | 21.439 | 889.917 | 40.693 | 80.078
2020-06-18 08:45:00 | 15.978 | 263.493 | 17.504 | 259.761 | 17.875 | 264.3 | 17.85 | 259.783 | 22.589 | 889.767 | 38.552 | 80.1
2020-06-18 09:00:00 | 15.54 | 265.48 | 17.358 | 260.08 | 17.568 | 264.7 | 17.427 | 259.05 | 22.277 | 889.9 | 37.947 | 79.4385
2020-06-18 09:15:00 | 14.893 | 269.853 | 16.242 | 262.638 | 16.383 | 267.7 | 16.564 | 262.617 | 22.414 | 889.8 | 37.664 | 79.8165
2020-06-18 09:30:00 | 15.339 | 265.867 | 16.629 | 262.949 | 16.96 | 266.633 | 16.923 | 262.633 | 22.614 | 889.9 | 38.36 | 80.5143
2020-06-18 09:45:00 | 13.815 | 262.587 | 14.914 | 257.416 | 15.274 | 262.05 | 15.36 | 257.967 | 23.014 | 889.967 | 36.605 | 81.0266
2020-06-18 10:00:00 | 13.33 | 263.307 | 14.694 | 260.104 | 15.139 | 263.15 | 14.832 | 257.883 | 23.248 | 889.883 | 35.949 | 80.3317
2020-06-18 10:15:00 | 12.276 | 278.733 | 13.081 | 271.546 | 13.38 | 273.9 | 13.401 | 267.3 | 23.414 | 889.8 | 35.64 | 79.0178
2020-06-18 10:30:00 | 11.737 | 274.933 | 12.97 | 268.71 | 13.435 | 273.4 | 13.756 | 269.767 | 23.514 | 889.767 | 35.213 | 77.6308
2020-06-18 10:45:00 | 11.254 | 279.973 | 11.607 | 275.415 | 11.992 | 281.367 | 12.549 | 277.8 | 23.148 | 889.7 | 35.328 | 75.5659
2020-06-18 11:00:00 | 12.153 | 285.72 | 13.527 | 280.708 | 13.654 | 282.6 | 13.729 | 276.633 | 24.144 | 889.85 | 33.904 | 77.0794
2020-06-18 11:15:00 | 12.016 | 281.213 | 12.971 | 276.305 | 13.157 | 279.7 | 13.429 | 275.8 | 23.831 | 889.767 | 34.491 | 75.7286
2020-06-18 11:30:00 | 11.553 | 288.187 | 12.526 | 278.987 | 12.792 | 281.667 | 13.332 | 279.533 | 24.31 | 889.567 | 33.12 | 75.0941
2020-06-18 11:45:00 | 11.618 | 287.32 | 12.236 | 282.24 | 12.348 | 286 | 12.693 | 284.1 | 25.11 | 890 | 32.469 | 74.7026
2020-06-18 12:00:00 | 12.076 | 282.107 | 12.494 | 275.684 | 12.638 | 280.167 | 12.904 | 277 | 24.827 | 889.533 | 33.725 | 73.8691
2020-06-18 12:15:00 | 11 | 296.08 | 11.658 | 286.495 | 12.017 | 289.7 | 12.496 | 287.167 | 24.748 | 890.167 | 33.253 | 70.1855
2020-06-18 12:30:00 | 11.511 | 291.293 | 12.568 | 285.014 | 12.88 | 288.867 | 13.089 | 284.4 | 24.452 | 889.533 | 33.184 | 59.085
2020-06-18 12:45:00 | 11.077 | 306.08 | 11.532 | 297.899 | 11.83 | 300.567 | 12.059 | 298.633 | 25.831 | 889.9 | 30.987 | 60.4301
2020-06-18 13:00:00 | 9.244 | 300.32 | 10.003 | 291.165 | 10.25 | 294.933 | 10.834 | 293.433 | 25.889 | 889.65 | 30.501 | 60.5616
2020-06-18 13:15:00 | 10.809 | 296.307 | 11.483 | 291.403 | 11.766 | 298.9 | 12.026 | 297.267 | 26.077 | 889.417 | 30.827 | 64.4349
2020-06-18 13:30:00 | 11.222 | 303.933 | 11.87 | 296.691 | 11.972 | 300.367 | 12.567 | 296.633 | 25.935 | 889.967 | 30.803 | 74.9122
2020-06-18 13:45:00 | 9.607 | 296.56 | 10.163 | 290.181 | 10.432 | 297.933 | 10.686 | 294.033 | 25.706 | 890.083 | 30.149 | 70.2566
2020-06-18 14:00:00 | 10.221 | 307.187 | 10.717 | 299.473 | 11.079 | 304.1 | 11.341 | 301.933 | 26.398 | 890.1 | 28.016 | 67.0405
2020-06-18 14:15:00 | 10.086 | 315.387 | 10.393 | 307.532 | 10.725 | 312.5 | 11.267 | 309 | 26.431 | 889.933 | 27.909 | 67.5685
2020-06-18 14:30:00 | 9.28 | 301.44 | 9.672 | 294.815 | 9.983 | 298.167 | 10.379 | 296.5 | 26.539 | 890.183 | 28.448 | 63.4245
2020-06-18 14:45:00 | 11.46 | 310.707 | 12.059 | 306.46 | 12.11 | 309.267 | 12.577 | 307.5 | 26.898 | 889.633 | 27.987 | 65.6862
2020-06-18 15:00:00 | 10.121 | 284.347 | 10.698 | 277.93 | 11.021 | 283.567 | 11.408 | 280.767 | 26.852 | 889.6 | 27.445 | 61.3482
2020-06-18 15:15:00 | 9.08 | 286.3 | 9.637 | 283.022 | 9.938 | 288.033 | 10.129 | 282.867 | 27.185 | 889.633 | 26.776 | 65.7352
2020-06-18 15:30:00 | 9.407 | 307.2 | 9.745 | 301.38 | 10.232 | 307.4 | 10.819 | 305.367 | 26.889 | 889.9 | 27.717 | 65.1732
2020-06-18 15:45:00 | 10.509 | 281.133 | 11.377 | 280.283 | 11.66 | 283.9 | 11.95 | 279.167 | 27.844 | 889.617 | 27.229 | 64.0405
2020-06-18 16:00:00 | 10.589 | 316.067 | 11.272 | 312.819 | 11.383 | 317 | 11.642 | 314.067 | 27.552 | 889.833 | 27.429 | 69.46
2020-06-18 16:15:00 | 10.208 | 297.747 | 10.715 | 294.247 | 10.899 | 299 | 11.024 | 296.533 | 27.823 | 889.683 | 26.392 | 71.4063
2020-06-18 16:30:00 | 11.476 | 304.427 | 12.391 | 299.328 | 12.753 | 304.967 | 13.097 | 304.033 | 27.823 | 889.6 | 26.531 | 75.831
2020-06-18 16:45:00 | 9.989 | 311.28 | 10.553 | 306.397 | 10.813 | 310.733 | 11.337 | 308.8 | 27.756 | 889.917 | 26.341 | 70.6659
2020-06-18 17:00:00 | 11.637 | 298.56 | 12.931 | 293.532 | 13.247 | 296.667 | 13.598 | 295.067 | 27.823 | 890.067 | 25.784 | 75.4039
2020-06-18 17:15:00 | 9.604 | 299.12 | 10.112 | 293.599 | 10.625 | 300.3 | 11.04 | 295.433 | 27.881 | 889.767 | 24.84 | 80.5434
2020-06-18 17:30:00 | 9.619 | 288.8 | 10.239 | 284.828 | 10.071 | 290.867 | 10.504 | 287.867 | 27.623 | 889.833 | 25.032 | 73.6517
2020-06-18 17:45:00 | 9.965 | 300.373 | 10.419 | 291.87 | 10.685 | 297.067 | 11.505 | 292.967 | 27.802 | 889.783 | 24.592 | 82.0989
2020-06-18 18:00:00 | 9.824 | 295.653 | 10.798 | 290.927 | 10.965 | 296.967 | 10.972 | 295.233 | 27.881 | 889.567 | 23.795 | 78.8111
2020-06-18 18:15:00 | 11.566 | 303.493 | 12.244 | 296.736 | 12.602 | 301.467 | 12.784 | 299.4 | 27.839 | 889.833 | 23.317 | 76.1145
2020-06-18 18:30:00 | 10.59 | 289.973 | 11.471 | 285.856 | 11.84 | 289.433 | 12.127 | 288.1 | 27.664 | 889.867 | 22.181 | 78.2966
2020-06-18 18:45:00 | 9.988 | 295.547 | 10.798 | 288.981 | 11.192 | 292.5 | 11.468 | 289.667 | 27.944 | 889.933 | 22.208 | 75.4046
2020-06-18 19:00:00 | 10.182 | 291.387 | 10.636 | 285.203 | 11.1 | 287.633 | 11.389 | 287.033 | 27.748 | 889.667 | 22.925 | 77.2379
2020-06-18 19:15:00 | 10.913 | 299.067 | 11.703 | 292.714 | 11.886 | 296.1 | 12.304 | 294.233 | 27.589 | 889.717 | 21.899 | 76.4101
2020-06-18 19:30:00 | 10.153 | 297.36 | 10.868 | 292.584 | 11.172 | 296.667 | 11.753 | 293.8 | 27.668 | 889.733 | 22.653 | 73.6041
2020-06-18 19:45:00 | 10.516 | 293.813 | 11.273 | 287.036 | 11.492 | 294 | 11.918 | 290.3 | 27.327 | 889.517 | 22.829 | 74.2741
2020-06-18 20:00:00 | 10.897 | 288.253 | 12.051 | 284.038 | 12.413 | 289.167 | 13.065 | 286.767 | 27.798 | 889.617 | 21.819 | 81.0145
2020-06-18 20:15:00 | 11.144 | 294.8 | 12.475 | 290.546 | 12.725 | 294.533 | 13.033 | 290.7 | 27.26 | 889.533 | 20.757 | 80.6195
2020-06-18 20:30:00 | 10.91 | 291.653 | 12.062 | 285.834 | 12.458 | 289.067 | 13.129 | 287.533 | 27.298 | 889.733 | 20.001 | 81.362
2020-06-18 20:45:00 | 9.879 | 299.027 | 10.909 | 293.996 | 11.263 | 297.6 | 11.856 | 294.467 | 26.56 | 889.333 | 19.824 | 75.1382
2020-06-18 21:00:00 | 9.403 | 292.973 | 10.953 | 289.161 | 11.406 | 293.267 | 11.709 | 291.4 | 26.914 | 889.567 | 20.207 | 72.6299
2020-06-18 21:15:00 | 9.08 | 289.6 | 10.301 | 282.514 | 10.617 | 288.033 | 11.268 | 285.567 | 26.068 | 889.5 | 20.348 | 72.8523
2020-06-18 21:30:00 | 9.767 | 294.853 | 10.575 | 288.78 | 10.761 | 292.1 | 11.404 | 290.233 | 25.989 | 889.617 | 20.808 | 72.5268
2020-06-18 21:45:00 | 8.728 | 297.24 | 9.786 | 291.144 | 10.11 | 295.133 | 10.799 | 292.267 | 25.398 | 889.417 | 21.301 | 73.7334
2020-06-18 22:00:00 | 8.658 | 299.933 | 10.129 | 293.999 | 10.597 | 298.133 | 11.251 | 295.7 | 25.123 | 889.6 | 21.832 | 72.2163
2020-06-18 22:15:00 | 8.737 | 301.76 | 10.018 | 295.819 | 10.756 | 300.5 | 11.535 | 297.333 | 24.539 | 889.4 | 21.395 | 69.4643
2020-06-18 22:30:00 | 9.053 | 300.707 | 10.246 | 292.617 | 10.976 | 297.333 | 11.542 | 296.333 | 24.589 | 890.45 | 21.584 | 61.2068
2020-06-18 22:45:00 | 7.925 | 302.773 | 8.976 | 297.482 | 9.648 | 301 | 10.618 | 299.8 | 23.731 | 889.833 | 21.813 | 56.0751
2020-06-18 23:00:00 | 7.251 | 303.707 | 8.644 | 295.611 | 9.52 | 301.167 | 10.348 | 298.4 | 23.781 | 889.867 | 22.2 | 55.3098
2020-06-18 23:15:00 | 7.02 | 294.413 | 8.459 | 288.895 | 9.276 | 296.2 | 9.95 | 291.467 | 23.231 | 889.667 | 22.005 | 52.4988
2020-06-18 23:30:00 | 7.514 | 289.733 | 8.582 | 283.605 | 9.016 | 290.1 | 9.797 | 288.5 | 22.998 | 889.383 | 21.933 | 52.4832
2020-06-18 23:45:00 | 6.508 | 283.587 | 7.803 | 280.508 | 8.46 | 288.467 | 9.29 | 286.867 | 22.531 | 889.6 | 22.672 | 50.9547