## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-19 00:00:00 | 6.57 | 286.867 | 7.466 | 284.182 | 7.793 | 288.533 | 8.386 | 286.7 | 22.664 | 889.9 | 23.488 | 46.0874
2020-06-19 00:15:00 | 6.547 | 284.627 | 7.878 | 282.184 | 8.256 | 284.8 | 9.022 | 284.433 | 22.289 | 889.65 | 23.704 | 48.7143
2020-06-19 00:30:00 | 6.132 | 287.467 | 7.421 | 281.778 | 7.822 | 287.1 | 8.494 | 284.967 | 22.314 | 889.367 | 23.872 | 43.5933
2020-06-19 00:45:00 | 6.32 | 284.64 | 7.576 | 280.693 | 8.127 | 284.967 | 8.6 | 284.267 | 21.927 | 889.65 | 23.955 | 38.711
2020-06-19 01:00:00 | 6.252 | 280.907 | 7.674 | 280.052 | 8.19 | 283.733 | 8.811 | 281.6 | 21.91 | 889.667 | 24.165 | 37.5755
2020-06-19 01:15:00 | 6.172 | 277.68 | 7.225 | 275.257 | 7.672 | 281.233 | 8.312 | 280.433 | 21.906 | 890.283 | 24.477 | 34.1875
2020-06-19 01:30:00 | 6.006 | 272.067 | 7.216 | 269.249 | 7.675 | 276.133 | 8.178 | 274.167 | 21.568 | 889.85 | 24.891 | 35.5347
2020-06-19 01:45:00 | 5.958 | 266.28 | 6.946 | 263.349 | 7.385 | 271.567 | 7.855 | 267 | 20.689 | 889.817 | 25.707 | 35.8204
2020-06-19 02:00:00 | 5.819 | 265.453 | 6.953 | 265.363 | 7.678 | 271.867 | 8.03 | 268.433 | 20.548 | 889.7 | 26.144 | 40.5087
2020-06-19 02:15:00 | 6.39 | 271.707 | 7.84 | 267.908 | 8.419 | 274.6 | 8.908 | 271.9 | 20.227 | 889.983 | 26.328 | 45.3107
2020-06-19 02:30:00 | 6.602 | 265.893 | 7.436 | 263.262 | 7.746 | 269.7 | 8.067 | 266.9 | 20.331 | 889.717 | 26.509 | 40.9755
2020-06-19 02:45:00 | 6.838 | 266.253 | 7.796 | 262.591 | 8.304 | 268.8 | 8.559 | 264.55 | 20.068 | 889.85 | 27.328 | 47.9092
2020-06-19 03:00:00 | 7.423 | 266.74 | 8.666 | 263.815 | 9.096 | 269.567 | 9.164 | 267.5 | 20.277 | 890.083 | 27.579 | 51.1359
2020-06-19 03:15:00 | 7.159 | 279.013 | 8.616 | 274.905 | 9.332 | 278.5 | 10.119 | 274.967 | 20.389 | 890.2 | 27.755 | 53.0758
2020-06-19 03:30:00 | 7.08 | 282.147 | 8.549 | 278.759 | 9.365 | 283.3 | 10.067 | 280.5 | 20.318 | 890.283 | 27.867 | 46.7453
2020-06-19 03:45:00 | 7.255 | 281.987 | 8.551 | 279.194 | 8.881 | 285.233 | 9.583 | 282.933 | 20.123 | 889.783 | 27.8 | 46.2742
2020-06-19 04:00:00 | 6.363 | 277.707 | 7.438 | 275.126 | 7.979 | 281.933 | 8.985 | 280.733 | 19.968 | 889.717 | 28.179 | 36.8926
2020-06-19 04:15:00 | 5.706 | 263.333 | 6.637 | 262.445 | 6.974 | 270.2 | 7.309 | 267.8 | 19.839 | 889.933 | 28.592 | 27.0449
2020-06-19 04:30:00 | 5.114 | 246.84 | 5.954 | 248.062 | 6.257 | 256.1 | 6.539 | 254.033 | 19.685 | 889.967 | 28.851 | 22.0105
2020-06-19 04:45:00 | 4.165 | 238.053 | 4.894 | 243.037 | 4.986 | 251.267 | 5.077 | 250.2 | 19.052 | 889.45 | 29.595 | 14.4472
2020-06-19 05:00:00 | 5.077 | 234.94 | 6.038 | 236.929 | 6.111 | 246.8 | 6.103 | 245 | 19.16 | 889.517 | 29.947 | 19.1711
2020-06-19 05:15:00 | 5.257 | 227.127 | 5.801 | 230.337 | 6.019 | 238.9 | 6.125 | 236.833 | 19.031 | 889.55 | 30.363 | 20.8892
2020-06-19 05:30:00 | 4.823 | 261.94 | 5.369 | 258.002 | 5.614 | 264.233 | 5.902 | 261.5 | 19.106 | 889.683 | 30.445 | 24.5607
2020-06-19 05:45:00 | 5.88 | 272.2 | 6.366 | 269.583 | 6.472 | 275.933 | 6.962 | 271.433 | 20.014 | 889.75 | 30.448 | 27.2524
2020-06-19 06:00:00 | 6.075 | 266.933 | 6.867 | 261.947 | 7.21 | 268.067 | 7.409 | 265.433 | 19.706 | 889.733 | 31.213 | 27.57
2020-06-19 06:15:00 | 5.239 | 263.807 | 6.162 | 261.478 | 6.476 | 266.667 | 6.613 | 264.333 | 18.856 | 889.633 | 31.645 | 24.0939
2020-06-19 06:30:00 | 4.855 | 262.267 | 6.043 | 259.767 | 6.513 | 267.167 | 6.736 | 263.9 | 19.689 | 889.233 | 31.949 | 21.6737
2020-06-19 06:45:00 | 4.063 | 265.2 | 4.738 | 264.86 | 5.08 | 271.5 | 5.502 | 269.5 | 20.094 | 890.033 | 31.328 | 17.0415
2020-06-19 07:00:00 | 6.262 | 272.64 | 6.959 | 271.904 | 7.367 | 277.5 | 7.758 | 272.667 | 19.96 | 889.583 | 31.096 | 28.9428
2020-06-19 07:15:00 | 7.356 | 269.667 | 8.033 | 262.513 | 8.238 | 267.417 | 8.306 | 263.95 | 20.273 | 889.55 | 32.499 | 40.7581
2020-06-19 07:30:00 | 9.456 | 273.093 | 10.156 | 266.867 | 10.527 | 271.867 | 10.623 | 268.167 | 19.96 | 889.983 | 32.723 | 65.4894
2020-06-19 07:45:00 | 8.25 | 272.933 | 9.193 | 266.845 | 9.63 | 270.2 | 9.759 | 263.45 | 20.148 | 889.85 | 32.597 | 73.7838
2020-06-19 08:00:00 | 9.001 | 280.8 | 9.638 | 274.296 | 9.846 | 278.7 | 10.09 | 274.567 | 20.544 | 889.9 | 32.549 | 65.9903
2020-06-19 08:15:00 | 7.594 | 276.707 | 7.986 | 270.234 | 8.072 | 272.9 | 8.181 | 268.9 | 20.885 | 889.6 | 32.147 | 43.3872
2020-06-19 08:30:00 | 9.52 | 283.613 | 9.807 | 278.592 | 9.727 | 281.767 | 10.108 | 279.1 | 19.431 | 889.967 | 38.309 | 62.3295
2020-06-19 08:45:00 | 8.843 | 269.08 | 9.582 | 263.245 | 9.609 | 265.867 | 9.554 | 261.683 | 18.673 | 889.617 | 43.531 | 67.9906
2020-06-19 09:00:00 | 9.368 | 263.013 | 9.962 | 257.151 | 10.274 | 262.267 | 10.287 | 257.15 | 18.456 | 889.483 | 44.48 | 72.8537
2020-06-19 09:15:00 | 7.137 | 260.08 | 7.624 | 255.254 | 7.753 | 260.367 | 7.966 | 254.783 | 18.589 | 889.875 | 43.653 | 51.9986
2020-06-19 09:30:00 | 7.728 | 283.2 | 8.105 | 277.578 | 8.338 | 283.533 | 8.692 | 279.967 | 20.102 | 889.567 | 35.995 | 37.9762
2020-06-19 09:45:00 | 8.759 | 280.067 | 9.26 | 273.104 | 9.459 | 279.5 | 9.355 | 274.8 | 20.235 | 890.133 | 37.504 | 45.5551
2020-06-19 10:00:00 | 7.176 | 267.593 | 7.801 | 263.14 | 7.959 | 266.067 | 7.973 | 259.967 | 19.614 | 889.708 | 41.205 | 38.1574
2020-06-19 10:15:00 | 7.798 | 258.72 | 8.328 | 253.297 | 8.617 | 256.217 | 8.563 | 251.45 | 19.018 | 889.45 | 51.477 | 38.3138
2020-06-19 10:30:00 | 6.688 | 268.127 | 7.243 | 260.887 | 7.256 | 265.967 | 7.458 | 260.217 | 19.118 | 889.508 | 46.069 | 37.8739
2020-06-19 10:45:00 | 6.515 | 285.587 | 6.908 | 279.703 | 6.828 | 281.7 | 6.936 | 276.333 | 19.777 | 889.967 | 39.085 | 43.3048
2020-06-19 11:00:00 | 10.217 | 270.293 | 11.374 | 263.582 | 11.294 | 266.633 | 11.508 | 262.5 | 18.868 | 889.708 | 49.2 | 56.9164
2020-06-19 11:15:00 | 7.54 | 253.087 | 8.176 | 245.871 | 8.446 | 249.283 | 8.748 | 245.1 | 17.873 | 889.55 | 57.483 | 49.2927
2020-06-19 11:30:00 | 5.624 | 254.367 | 6.25 | 252.822 | 6.496 | 256.817 | 6.717 | 253.983 | 17.485 | 890.492 | 52.741 | 22.0283
2020-06-19 11:45:00 | 5.719 | 259.853 | 6.004 | 254.604 | 6.198 | 259.4 | 6.359 | 254.717 | 18.806 | 889.775 | 45.621 | 20.9155
2020-06-19 12:00:00 | 6.868 | 270.013 | 7.437 | 263.727 | 7.365 | 266.133 | 7.462 | 261.733 | 20.668 | 889.867 | 38.072 | 29.9909
2020-06-19 12:15:00 | 6.607 | 272.973 | 6.8 | 270.52 | 7.015 | 274.1 | 7.41 | 268.4 | 21.077 | 889.633 | 34.989 | 27.4172
2020-06-19 12:30:00 | 6.106 | 263.413 | 6.539 | 261.373 | 6.728 | 265.483 | 6.677 | 264.5 | 21.985 | 889.45 | 31.432 | 24.4883
2020-06-19 12:45:00 | 7.873 | 274.927 | 8.291 | 270.172 | 8.332 | 271.867 | 8.542 | 266.45 | 22.914 | 890.167 | 28.757 | 32.6335
2020-06-19 13:00:00 | 7.935 | 271.553 | 8.292 | 268.393 | 8.368 | 272.933 | 8.518 | 268.4 | 23.098 | 889.6 | 27.92 | 30.7654
2020-06-19 13:15:00 | 5.79 | 292.487 | 6.199 | 289.899 | 6.598 | 298.867 | 7.066 | 294.333 | 23.498 | 889.317 | 26.365 | 24.0065
2020-06-19 13:30:00 | 6.575 | 292.213 | 6.474 | 284.872 | 6.436 | 291.367 | 7.073 | 292.95 | 24.306 | 889.783 | 24.661 | 23.4139
2020-06-19 13:45:00 | 7.368 | 327.027 | 7.765 | 320.477 | 8.198 | 322.833 | 8.51 | 319.333 | 24.744 | 889.783 | 23.76 | 25.1875
2020-06-19 14:00:00 | 6.627 | 289.18 | 6.799 | 285.594 | 6.538 | 292.9 | 6.778 | 291.633 | 24.444 | 889.767 | 22.749 | 24.3227
2020-06-19 14:15:00 | 5.361 | 293.493 | 5.459 | 292.023 | 5.289 | 297.9 | 5.799 | 292.767 | 24.794 | 889.967 | 22.453 | 16.6067
2020-06-19 14:30:00 | 5.353 | 301.5 | 5.295 | 292.487 | 5.44 | 293.133 | 5.723 | 287.983 | 25.294 | 889.583 | 21.491 | 14.568
2020-06-19 14:45:00 | 5.291 | 318.813 | 5.598 | 315.829 | 5.575 | 319 | 5.724 | 316.4 | 25.356 | 889.217 | 20.567 | 15.7334
2020-06-19 15:00:00 | 4.449 | 285.453 | 4.914 | 282.845 | 5.32 | 288.85 | 5.599 | 287.667 | 25.131 | 889.667 | 20.939 | 13.4922
2020-06-19 15:15:00 | 5.136 | 287.8 | 5.661 | 279.795 | 5.868 | 285.967 | 6.305 | 286.7 | 25.585 | 889.783 | 20.673 | 14.4188
2020-06-19 15:30:00 | 4.441 | 238.387 | 4.653 | 275.356 | 4.926 | 275.4 | 5.258 | 259.867 | 26.202 | 889.533 | 20.512 | 9.5102
2020-06-19 15:45:00 | 5.209 | 301.44 | 5.631 | 293.64 | 5.794 | 302.433 | 5.924 | 296.267 | 26.402 | 889.367 | 19.725 | 13.8866
2020-06-19 16:00:00 | 5.338 | 264.16 | 5.796 | 328.102 | 5.662 | 329.267 | 5.599 | 322.733 | 26.214 | 889.733 | 19.892 | 9.8875
2020-06-19 16:15:00 | 3.729 | 266.007 | 3.837 | 264.277 | 4.052 | 269.967 | 4.525 | 263.7 | 27.285 | 889.333 | 19.027 | 15.5237
2020-06-19 16:30:00 | 4.025 | 268.416 | 4.223 | 284.814 | 4.295 | 264.633 | 4.372 | 249.367 | 26.76 | 889.133 | 19.049 | 11.0749
2020-06-19 16:45:00 | 4.11 | 305.76 | 4.37 | 304.207 | 4.569 | 304.9 | 4.666 | 304.633 | 26.914 | 889.567 | 18.611 | 8.5005
2020-06-19 17:00:00 | 2.136 | 294.593 | 2.151 | 295.214 | 2.133 | 297.333 | 2.298 | 288.383 | 27.327 | 889.367 | 18.149 | 6.8897
2020-06-19 17:15:00 | 3.27 | 246.255 | 3.723 | 313.557 | 3.861 | 299.267 | 4.285 | 315.133 | 27.364 | 889.433 | 18.107 | 9.1194
2020-06-19 17:30:00 | 7.334 | 299.28 | 7.369 | 293.524 | 7.388 | 297.267 | 7.472 | 296 | 27.206 | 889.367 | 17.239 | 19.0773
2020-06-19 17:45:00 | 4.06 | 309.3 | 4.595 | 291.462 | 4.691 | 281.867 | 5.199 | 288.833 | 27.323 | 889.167 | 18.021 | 15.6801
2020-06-19 18:00:00 | 6.004 | 324.28 | 6.656 | 330.772 | 7.346 | 325.6 | 7.789 | 335.6 | 27.839 | 889.133 | 17.525 | 16.1377
2020-06-19 18:15:00 | 7.548 | 301.747 | 7.87 | 299.455 | 7.964 | 305.933 | 8.681 | 304.567 | 27.635 | 889.933 | 18.159 | 24.5337
2020-06-19 18:30:00 | 5.05 | 305.787 | 5.448 | 311.72 | 5.664 | 317 | 5.988 | 314.533 | 27.81 | 889.5 | 17.273 | 17.2405
2020-06-19 18:45:00 | 5.485 | 312.973 | 5.518 | 302.954 | 5.56 | 308.2 | 5.934 | 306.067 | 27.318 | 889.533 | 18.109 | 23.3378
2020-06-19 19:00:00 | 7.755 | 321.213 | 7.965 | 316.879 | 8.261 | 321.9 | 8.488 | 321.9 | 27.773 | 889.6 | 17.451 | 30.1202
2020-06-19 19:15:00 | 5.362 | 317.6 | 5.947 | 323.664 | 5.898 | 326.3 | 6.161 | 326.733 | 27.656 | 889.5 | 18.204 | 23.5738
2020-06-19 19:30:00 | 7.596 | 318.547 | 7.674 | 314.102 | 7.785 | 318.7 | 8.223 | 317.2 | 27.702 | 889.3 | 19.316 | 31.2976
2020-06-19 19:45:00 | 7.125 | 321 | 7.414 | 314.465 | 7.709 | 320.6 | 7.807 | 319.233 | 27.435 | 889.6 | 18.993 | 29.5375
2020-06-19 20:00:00 | 8.918 | 319.173 | 9.226 | 311.213 | 9.499 | 313.567 | 9.929 | 312.1 | 27.148 | 889.533 | 19.947 | 39.9729
2020-06-19 20:15:00 | 8.124 | 320.307 | 8.767 | 315.92 | 9.235 | 321.5 | 9.49 | 319.433 | 27.168 | 889.6 | 20.279 | 52.7624
2020-06-19 20:30:00 | 7.09 | 316.52 | 7.392 | 310.383 | 7.602 | 314.567 | 7.92 | 310.933 | 26.877 | 889.167 | 20.449 | 50.1248
2020-06-19 20:45:00 | 7.251 | 307.747 | 8.006 | 300.566 | 8.326 | 306.733 | 8.833 | 303.833 | 26.252 | 890.217 | 20.805 | 51.6269
2020-06-19 21:00:00 | 8.256 | 298.92 | 9.463 | 292.859 | 10.057 | 298.133 | 10.596 | 295.267 | 26.244 | 889.633 | 21.147 | 47.8396
2020-06-19 21:15:00 | 8.583 | 302.307 | 9.429 | 295.396 | 10.013 | 299.633 | 10.548 | 295.5 | 25.535 | 889.9 | 21.925 | 50.2548
2020-06-19 21:30:00 | 9.323 | 301.947 | 10.621 | 297.137 | 11.2 | 303.333 | 11.922 | 300.067 | 25.239 | 889.767 | 22.563 | 52.4576
2020-06-19 21:45:00 | 8.168 | 296.493 | 9.531 | 289.599 | 10.21 | 293.733 | 11.015 | 291.933 | 25.064 | 889.7 | 23.152 | 57.2376
2020-06-19 22:00:00 | 9.89 | 295.2 | 11.416 | 288.779 | 12.105 | 293.333 | 12.83 | 290.967 | 24.818 | 889.817 | 23.749 | 57.7463
2020-06-19 22:15:00 | 13.983 | 280.867 | 15.464 | 274.617 | 15.857 | 277.967 | 16.082 | 275.067 | 23.573 | 889.95 | 29.227 | 60.3427
2020-06-19 22:30:00 | 12.625 | 278.013 | 14.17 | 271.478 | 14.95 | 276.133 | 15.413 | 270.733 | 22.089 | 890 | 33.989 | 62.203
2020-06-19 22:45:00 | 16.516 | 278.507 | 19.039 | 274.629 | 19.935 | 277.567 | 20.516 | 272.933 | 20.906 | 890.05 | 38.405 | 63.5502
2020-06-19 23:00:00 | 14.049 | 277.147 | 16.253 | 270.458 | 16.925 | 275.6 | 17.342 | 272 | 20.027 | 889.633 | 42.325 | 64.5031
2020-06-19 23:15:00 | 14.71 | 280.987 | 16.443 | 273.999 | 17.269 | 277.733 | 18.077 | 274.9 | 19.185 | 889.242 | 44.379 | 66.8053
2020-06-19 23:30:00 | 15.51 | 278.2 | 17.292 | 271.849 | 18.106 | 275.633 | 18.794 | 271.467 | 18.573 | 889.733 | 47.579 | 64.5465
2020-06-19 23:45:00 | 14.451 | 279.947 | 16.441 | 272.604 | 17.26 | 277.3 | 18.26 | 274.2 | 17.518 | 889.7 | 52.027 | 59.5299