## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-20 00:00:00 | 13.721 | 281.107 | 15.562 | 275.654 | 16.39 | 278.433 | 16.672 | 276.067 | 17.544 | 889.575 | 54.507 | 60.3342
2020-06-20 00:15:00 | 13.398 | 282.36 | 15.069 | 275.338 | 15.856 | 280.1 | 16.333 | 276.567 | 16.898 | 890.033 | 55.307 | 61.6182
2020-06-20 00:30:00 | 14.01 | 278.347 | 15.788 | 274.057 | 16.76 | 278.2 | 17.29 | 273.667 | 16.864 | 889.883 | 56.821 | 62.456
2020-06-20 00:45:00 | 14.44 | 276.613 | 16.121 | 270.436 | 17.022 | 276.567 | 17.533 | 272.9 | 16.264 | 889.733 | 59.68 | 68.6997
2020-06-20 01:00:00 | 14.299 | 278.92 | 16.48 | 272.657 | 17.188 | 277.033 | 17.826 | 272.733 | 16.008 | 889.858 | 61.525 | 84.2689
2020-06-20 01:15:00 | 13.463 | 287.133 | 15.613 | 280.605 | 16.026 | 283.4 | 16.7 | 281.3 | 15.621 | 890.133 | 62.816 | 84.7855
2020-06-20 01:30:00 | 13.364 | 287.48 | 15.144 | 278.864 | 15.412 | 283.067 | 16.072 | 280.3 | 15.39 | 890.083 | 63.973 | 79.84
2020-06-20 01:45:00 | 12.004 | 279.973 | 12.96 | 274.758 | 13.27 | 279.2 | 13.652 | 276.8 | 15.916 | 890.092 | 63.397 | 78.2597
2020-06-20 02:00:00 | 11.716 | 276.653 | 13.496 | 271.258 | 14.011 | 276.1 | 14.249 | 273.9 | 15.768 | 889.758 | 63.717 | 78.2568
2020-06-20 02:15:00 | 10.85 | 285.84 | 11.978 | 280.026 | 12.242 | 284.6 | 12.528 | 282.067 | 15.799 | 890.017 | 63.771 | 81.4459
2020-06-20 02:30:00 | 11.987 | 283.08 | 13.443 | 278.694 | 13.885 | 282.1 | 14.613 | 279.533 | 15.877 | 889.717 | 64.752 | 80.8348
2020-06-20 02:45:00 | 10.392 | 277.6 | 11.941 | 272.045 | 12.438 | 274.433 | 12.518 | 271.033 | 15.108 | 889.775 | 65.771 | 79.4321
2020-06-20 03:00:00 | 7.412 | 268.847 | 8.023 | 262.401 | 8.173 | 265.033 | 8.41 | 258.167 | 15.21 | 889.917 | 66.672 | 76.3134
2020-06-20 03:15:00 | 8.653 | 264.54 | 10.595 | 260.033 | 11.925 | 266.9 | 13.053 | 260.983 | 15.243 | 890.112 | 78.736 | 52.3766
2020-06-20 03:30:00 | 6.164 | 290.6 | 7.314 | 280.454 | 7.645 | 281.033 | 8.043 | 273.267 | 14.974 | 889.842 | 79.179 | 28.817
2020-06-20 03:45:00 | 4.897 | 292.6 | 6.062 | 289.812 | 6.319 | 292.767 | 6.602 | 285.967 | 14.974 | 889.904 | 83.189 | 17.0664
2020-06-20 04:00:00 | 8.736 | 303.853 | 9.697 | 297.314 | 9.971 | 302.6 | 10.413 | 299.1 | 14.341 | 889.958 | 84.533 | 46.9997
2020-06-20 04:15:00 | 6.329 | 279.44 | 7.257 | 276.497 | 7.734 | 280.567 | 7.95 | 278.433 | 13.978 | 889.946 | 84.704 | 36.3689
2020-06-20 04:30:00 | 7.088 | 251.107 | 7.907 | 249.232 | 8.228 | 253.467 | 8.289 | 250.25 | 14.212 | 889.95 | 79.765 | 36.5324
2020-06-20 04:45:00 | 6.35 | 241.833 | 7.331 | 240.35 | 7.995 | 247.333 | 7.924 | 243.5 | 14.691 | 889.708 | 76.992 | 36.9331
2020-06-20 05:00:00 | 5.355 | 250.58 | 6.38 | 248.472 | 6.947 | 255.467 | 6.886 | 251.867 | 14.691 | 889.808 | 78.741 | 35.2199
2020-06-20 05:15:00 | 5.365 | 263.2 | 6.348 | 259.765 | 6.747 | 264.333 | 6.864 | 260.067 | 14.808 | 890.125 | 75.403 | 33.5544
2020-06-20 05:30:00 | 5.089 | 266.353 | 6.347 | 263.159 | 6.852 | 267.9 | 7.187 | 262.9 | 14.758 | 890.075 | 72.459 | 36.3277
2020-06-20 05:45:00 | 6.885 | 262.633 | 7.924 | 258.563 | 8.357 | 263.867 | 8.201 | 259.783 | 14.741 | 889.575 | 69.301 | 40.7119
2020-06-20 06:00:00 | 5.588 | 276.267 | 6.608 | 271.211 | 7.157 | 276.133 | 7.608 | 271.967 | 14.874 | 890.05 | 68.997 | 33.4584
2020-06-20 06:15:00 | 6.471 | 283.507 | 7.608 | 278.107 | 8.25 | 281.967 | 8.678 | 277.733 | 15.096 | 890.392 | 67.536 | 39.4727
2020-06-20 06:30:00 | 6.912 | 266.733 | 7.853 | 263.062 | 8.268 | 267.967 | 8.358 | 263.933 | 15.644 | 889.958 | 66.992 | 44.0949
2020-06-20 06:45:00 | 7.44 | 276 | 8.429 | 269.483 | 8.805 | 275.833 | 9.105 | 269.7 | 15.091 | 889.875 | 66.064 | 48.126
2020-06-20 07:00:00 | 7.281 | 273.853 | 8.409 | 269.813 | 8.735 | 273.6 | 8.786 | 268.967 | 15.518 | 889.825 | 65.963 | 48.3065
2020-06-20 07:15:00 | 7.936 | 274.213 | 8.758 | 269.23 | 9.132 | 274.1 | 9.203 | 267.8 | 15.877 | 890.3 | 64.731 | 50.9064
2020-06-20 07:30:00 | 8.209 | 264.147 | 8.941 | 258.515 | 9.389 | 261.517 | 9.376 | 256.883 | 15.357 | 889.842 | 64.144 | 58.5386
2020-06-20 07:45:00 | 7.298 | 258.56 | 8.097 | 255.337 | 8.401 | 260.583 | 8.588 | 256.083 | 15.754 | 889.775 | 63.104 | 53.5199
2020-06-20 08:00:00 | 7.414 | 268.14 | 8.143 | 260.66 | 8.457 | 266 | 8.523 | 260.733 | 16.881 | 890.192 | 55.989 | 44.2612
2020-06-20 08:15:00 | 7.629 | 264.893 | 8.685 | 260.73 | 9.054 | 263.367 | 9.211 | 259.2 | 16.564 | 889.742 | 59.205 | 52.2735
2020-06-20 08:30:00 | 8.414 | 268.16 | 9.845 | 261.076 | 10.25 | 266.167 | 10.402 | 262.017 | 16.431 | 889.967 | 59.413 | 63.8465
2020-06-20 08:45:00 | 8.198 | 277.64 | 8.748 | 268.312 | 8.804 | 273.333 | 9.007 | 266.55 | 17.298 | 890.258 | 55.045 | 52.2394
2020-06-20 09:00:00 | 8.876 | 272.953 | 9.67 | 266.832 | 9.537 | 273.133 | 9.97 | 268.467 | 17.968 | 890.175 | 51.205 | 57.5865
2020-06-20 09:15:00 | 8.827 | 275.467 | 9.512 | 268.554 | 9.4 | 273.8 | 9.427 | 269.667 | 18.689 | 889.8 | 49.451 | 49.3837
2020-06-20 09:30:00 | 7.973 | 280.547 | 8.455 | 274.57 | 8.528 | 277.867 | 8.668 | 275.033 | 18.348 | 889.625 | 49.451 | 46.8761
2020-06-20 09:45:00 | 8.047 | 273.66 | 8.44 | 268.213 | 8.52 | 271.933 | 8.639 | 268.933 | 18.989 | 889.717 | 46.768 | 40.6288
2020-06-20 10:00:00 | 7.502 | 274.147 | 8.001 | 271.283 | 7.945 | 277.133 | 8.211 | 276.2 | 19.498 | 889.942 | 43.445 | 27.9473
2020-06-20 10:15:00 | 6.465 | 283.627 | 7.054 | 275.582 | 7.019 | 281.067 | 6.941 | 279.667 | 19.614 | 889.642 | 41.851 | 25.677
2020-06-20 10:30:00 | 5.822 | 282.087 | 6.37 | 279.095 | 6.384 | 282.1 | 6.404 | 282.167 | 19.944 | 889.575 | 41.075 | 22.1874
2020-06-20 10:45:00 | 6.435 | 286.4 | 6.821 | 284.432 | 6.929 | 290.067 | 7.156 | 288.9 | 19.248 | 890 | 41.213 | 24.8158
2020-06-20 11:00:00 | 6.926 | 279.167 | 7.325 | 275.405 | 7.377 | 278.333 | 7.352 | 276.867 | 20.11 | 889.967 | 37.851 | 28.2024
2020-06-20 11:15:00 | 5.327 | 280.44 | 5.598 | 274.435 | 5.721 | 278.167 | 5.765 | 275.233 | 20.206 | 889.533 | 38.355 | 18.2367
2020-06-20 11:30:00 | 6.539 | 289.747 | 6.82 | 282.862 | 6.846 | 286.167 | 7.278 | 282.733 | 19.823 | 889.583 | 37.717 | 21.5458
2020-06-20 11:45:00 | 5.911 | 285.88 | 6.104 | 280.719 | 6.212 | 285.4 | 6.393 | 279.6 | 19.718 | 889.483 | 38.123 | 17.8558
2020-06-20 12:00:00 | 5.21 | 291.813 | 5.587 | 289.812 | 5.662 | 293.933 | 5.825 | 291.967 | 20.506 | 889.633 | 33.821 | 13.6002
2020-06-20 12:15:00 | 4.639 | 272.227 | 4.825 | 265.702 | 5.189 | 271.2 | 5.404 | 270.433 | 21.394 | 889.7 | 32.821 | 11.2362
2020-06-20 12:30:00 | 5.479 | 310.04 | 5.631 | 308.387 | 5.957 | 315.1 | 6.196 | 312.133 | 22.302 | 889.633 | 29.453 | 14.2426
2020-06-20 12:45:00 | 5.46 | 310.36 | 5.989 | 306.204 | 6.278 | 309.267 | 6.346 | 304.933 | 22.406 | 889.583 | 27.787 | 15.916
2020-06-20 13:00:00 | 5.056 | 280.407 | 5.433 | 275.896 | 5.88 | 282.267 | 6.07 | 280.983 | 22.135 | 889.833 | 27.099 | 16.4404
2020-06-20 13:15:00 | 6.204 | 317.667 | 6.536 | 312.536 | 6.732 | 316.533 | 7.153 | 314.233 | 21.818 | 889.533 | 29.744 | 15.6275
2020-06-20 13:30:00 | 5.041 | 289.707 | 5.765 | 283.001 | 5.99 | 281.333 | 6.338 | 279.1 | 22.198 | 889.733 | 29.237 | 18.231
2020-06-20 13:45:00 | 5.005 | 315.213 | 4.995 | 308.207 | 5.186 | 300.267 | 5.314 | 312.9 | 23.414 | 889.55 | 27.352 | 14.136
2020-06-20 14:00:00 | 5.879 | 298.027 | 6.037 | 292.271 | 5.976 | 296.933 | 6.031 | 289.933 | 22.814 | 889.417 | 27.723 | 18.1585
2020-06-20 14:15:00 | 5.503 | 286.553 | 6.109 | 287.808 | 6.26 | 292.217 | 6.421 | 291.85 | 24.206 | 890.183 | 27.392 | 17.0628
2020-06-20 14:30:00 | 5.492 | 282.693 | 6.084 | 275.203 | 6.212 | 281.3 | 6.218 | 280.7 | 23.331 | 889.667 | 26.459 | 19.3168
2020-06-20 14:45:00 | 6.868 | 270.4 | 7.335 | 266.908 | 7.623 | 269.483 | 7.69 | 267.45 | 24.152 | 889.883 | 27.165 | 25.4454
2020-06-20 15:00:00 | 6.46 | 311.96 | 6.759 | 307.194 | 7.059 | 311.667 | 7.59 | 309.3 | 23.731 | 889.467 | 27.712 | 30.1174
2020-06-20 15:15:00 | 5.951 | 307.893 | 6.288 | 301.037 | 6.621 | 304.2 | 6.826 | 299.8 | 22.981 | 889.817 | 27.744 | 32.2896
2020-06-20 15:30:00 | 7.972 | 310.427 | 8.279 | 303.058 | 8.696 | 309.267 | 8.852 | 306.633 | 23.835 | 889.583 | 28.2 | 33.8486
2020-06-20 15:45:00 | 8.696 | 312.2 | 8.875 | 304.282 | 9.217 | 309 | 9.564 | 306.867 | 23.889 | 889.783 | 27.035 | 39.0492
2020-06-20 16:00:00 | 7.921 | 281.62 | 8.5 | 276.79 | 8.496 | 281.667 | 8.725 | 279.2 | 24.281 | 889.883 | 25.555 | 32.2924
2020-06-20 16:15:00 | 8.862 | 271.04 | 9.382 | 263.127 | 9.594 | 269.633 | 9.578 | 264.983 | 25.61 | 889.75 | 24.357 | 35.0487
2020-06-20 16:30:00 | 7.347 | 303.96 | 7.655 | 297.094 | 8.438 | 300.433 | 8.892 | 298.8 | 24.914 | 889.783 | 23.395 | 36.1551
2020-06-20 16:45:00 | 7.98 | 292.747 | 8.395 | 283.267 | 8.612 | 286.5 | 8.907 | 282.767 | 25.289 | 889.9 | 23.883 | 31.299
2020-06-20 17:00:00 | 7.543 | 283.953 | 7.788 | 278.948 | 7.919 | 285.033 | 8.2 | 281.067 | 25.685 | 889.783 | 21.851 | 32.7273
2020-06-20 17:15:00 | 5.174 | 261.86 | 5.566 | 259.88 | 5.607 | 264.65 | 5.568 | 266.233 | 24.948 | 889.6 | 23.128 | 20.3584
2020-06-20 17:30:00 | 6.226 | 285.033 | 6.566 | 282.337 | 6.706 | 286.6 | 6.878 | 287.7 | 24.702 | 890.017 | 23.363 | 22.7104
2020-06-20 17:45:00 | 4.656 | 232.107 | 5.051 | 296.544 | 5.41 | 275.767 | 5.599 | 273.4 | 25.239 | 889.717 | 21.659 | 15.4861
2020-06-20 18:00:00 | 4.759 | 291.72 | 5.305 | 285.848 | 5.598 | 294.033 | 5.928 | 287.683 | 25.418 | 889.35 | 20.12 | 17.9297
2020-06-20 18:15:00 | 5.366 | 284.133 | 6.033 | 278.614 | 6.282 | 280.933 | 6.547 | 279.4 | 25.477 | 889.883 | 20.992 | 21.6829
2020-06-20 18:30:00 | 6.786 | 300.027 | 7.095 | 295.399 | 7.16 | 301.033 | 7.526 | 296.633 | 25.868 | 889.667 | 20.201 | 27.5217
2020-06-20 18:45:00 | 6.567 | 301.667 | 6.977 | 297.05 | 7.153 | 304.1 | 7.795 | 303.233 | 26.223 | 889.667 | 19.488 | 24.2531
2020-06-20 19:00:00 | 4.834 | 317.92 | 4.985 | 312.278 | 5.198 | 314.8 | 5.526 | 300.433 | 25.702 | 889.8 | 19.904 | 19.0439
2020-06-20 19:15:00 | 6.904 | 289.6 | 7.614 | 281.34 | 8.239 | 285 | 8.283 | 282.233 | 25.56 | 889.567 | 20.215 | 22.9705
2020-06-20 19:30:00 | 7.23 | 309.32 | 7.781 | 304.525 | 7.937 | 308.933 | 8.216 | 306.867 | 25.414 | 889.833 | 21.909 | 25.6557
2020-06-20 19:45:00 | 6.107 | 329.307 | 6.328 | 322.454 | 6.527 | 324.9 | 6.83 | 321.2 | 25.198 | 890.017 | 22.419 | 17.7464
2020-06-20 20:00:00 | 4.94 | 326.32 | 5.105 | 317.424 | 5.291 | 322.467 | 5.625 | 322.667 | 25.381 | 889.733 | 22.235 | 17.7357
2020-06-20 20:15:00 | 7.309 | 320.76 | 7.762 | 312.636 | 8.067 | 316.2 | 8.081 | 314.267 | 25.86 | 889.5 | 21.661 | 22.2635
2020-06-20 20:30:00 | 6.022 | 313.813 | 6.459 | 307.904 | 6.648 | 311.9 | 6.894 | 309.433 | 25.206 | 889.883 | 21.749 | 14.5155
2020-06-20 20:45:00 | 6.096 | 300.053 | 6.799 | 292.826 | 6.959 | 296.533 | 7.316 | 295.633 | 25.773 | 889.95 | 21.115 | 16.785
2020-06-20 21:00:00 | 5.97 | 297.507 | 6.263 | 293.525 | 6.513 | 298.9 | 7.213 | 296.7 | 25.414 | 889.7 | 21.616 | 23.0856
2020-06-20 21:15:00 | 4.541 | 293.12 | 4.932 | 290.367 | 5.123 | 294.5 | 5.255 | 292.533 | 24.735 | 890.15 | 22.312 | 15.8513
2020-06-20 21:30:00 | 6.329 | 293.28 | 7.067 | 288.905 | 7.202 | 294.533 | 7.656 | 291.867 | 24.714 | 889.633 | 23.317 | 19.6493
2020-06-20 21:45:00 | 4.311 | 290.493 | 5.135 | 285.614 | 5.41 | 288.767 | 5.74 | 285.967 | 23.998 | 889.733 | 24.024 | 14.5815
2020-06-20 22:00:00 | 4.87 | 283.44 | 5.834 | 279.011 | 6.118 | 284.167 | 6.511 | 282.067 | 23.931 | 889.5 | 24.733 | 12.3049
2020-06-20 22:15:00 | 4.13 | 262.44 | 5.006 | 264.407 | 5.248 | 270.4 | 5.481 | 266.8 | 23.498 | 889.5 | 25.512 | 12.2075
2020-06-20 22:30:00 | 4.056 | 249.307 | 5.015 | 253.511 | 5.038 | 260.867 | 5.153 | 259.217 | 22.781 | 889.883 | 26.531 | 12.1599
2020-06-20 22:45:00 | 4.461 | 245.727 | 5.112 | 252.035 | 5.342 | 258.867 | 5.508 | 255.667 | 22.464 | 889.7 | 26.909 | 14.6185
2020-06-20 23:00:00 | 4.861 | 246.287 | 5.899 | 249.573 | 6.123 | 256.3 | 6.189 | 252.217 | 22.302 | 889.7 | 27.477 | 20.3279
2020-06-20 23:15:00 | 4.8 | 250.56 | 5.847 | 255.637 | 6.084 | 261.867 | 6.171 | 259.167 | 21.856 | 889.783 | 27.84 | 19.1718
2020-06-20 23:30:00 | 4.702 | 247.313 | 5.671 | 254.034 | 5.839 | 261.667 | 5.968 | 258.8 | 21.66 | 889.467 | 28.584 | 17.3428
2020-06-20 23:45:00 | 4.899 | 250.327 | 6.198 | 257.813 | 6.472 | 265.6 | 6.764 | 262.467 | 20.952 | 889.483 | 29.4 | 21.7973