## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-21 00:00:00 | 5.128 | 253.793 | 6.126 | 258.559 | 6.293 | 266.967 | 6.602 | 261.933 | 21.023 | 889.8 | 30.075 | 22.402
2020-06-21 00:15:00 | 4.981 | 254.32 | 6.226 | 260.582 | 6.544 | 267.133 | 6.963 | 262.25 | 20.539 | 890.1 | 30.288 | 23.9411
2020-06-21 00:30:00 | 4.524 | 251.193 | 5.55 | 259.261 | 5.831 | 266.867 | 6.175 | 263.933 | 20.577 | 889.7 | 30.467 | 20.6789
2020-06-21 00:45:00 | 4.928 | 241.767 | 5.811 | 253.588 | 6.216 | 264.067 | 6.554 | 260.567 | 19.81 | 889.917 | 30.973 | 21.7305
2020-06-21 01:00:00 | 4.934 | 243.66 | 6.187 | 252.926 | 6.524 | 260.133 | 6.812 | 258.3 | 19.948 | 889.517 | 31.021 | 23.5098
2020-06-21 01:15:00 | 5.208 | 243.267 | 6.323 | 250.261 | 6.68 | 257.933 | 6.783 | 255.717 | 19.281 | 890.167 | 31.365 | 26.2519
2020-06-21 01:30:00 | 5.605 | 248.98 | 6.345 | 255.689 | 6.743 | 262.133 | 7.008 | 259.4 | 19.106 | 889.717 | 31.339 | 25.3694
2020-06-21 01:45:00 | 5.202 | 250.133 | 6.512 | 258.435 | 7.136 | 266.333 | 7.592 | 262.767 | 19.248 | 889.717 | 31.261 | 26.7457
2020-06-21 02:00:00 | 4.834 | 257.833 | 6.645 | 263.187 | 7.224 | 271.6 | 7.577 | 268 | 18.948 | 889.717 | 30.968 | 31.0439
2020-06-21 02:15:00 | 5.592 | 258.253 | 7.297 | 262.679 | 7.814 | 269.833 | 7.988 | 266.933 | 18.881 | 889.317 | 30.795 | 36.1529
2020-06-21 02:30:00 | 5.652 | 247.74 | 7.192 | 253.804 | 7.896 | 259.767 | 8.259 | 257.217 | 19.318 | 889.883 | 30.488 | 34.8817
2020-06-21 02:45:00 | 5.584 | 246.28 | 6.964 | 252.353 | 7.692 | 260.833 | 8.188 | 257.05 | 19.073 | 889.433 | 32.48 | 35.6484
2020-06-21 03:00:00 | 5.348 | 245.667 | 6.645 | 252.417 | 7.159 | 261.767 | 7.644 | 259.467 | 18.623 | 889.817 | 33.957 | 34.5186
2020-06-21 03:15:00 | 6.012 | 264.467 | 7.514 | 261.133 | 8.358 | 267.933 | 8.762 | 265.05 | 19.281 | 889.867 | 34.213 | 35.2761
2020-06-21 03:30:00 | 6.308 | 267.527 | 7.996 | 266.048 | 8.773 | 270.767 | 9.414 | 267.567 | 19.598 | 889.75 | 32.859 | 44.2484
2020-06-21 03:45:00 | 14.47 | 278.653 | 16.74 | 270.954 | 17.682 | 275.4 | 18.258 | 270.167 | 20.189 | 889.717 | 33.011 | 76.3504
2020-06-21 04:00:00 | 18.957 | 268.4 | 21.69 | 260.558 | 22.435 | 265.733 | 22.946 | 260.35 | 17.214 | 889.575 | 41.813 | 81.863
2020-06-21 04:15:00 | 17.534 | 268.347 | 20.161 | 263.845 | 21.004 | 267.533 | 21.584 | 262.933 | 16.141 | 890.408 | 45.344 | 56.2954
2020-06-21 04:30:00 | 22.584 | 268.467 | 25.732 | 261.188 | 26.256 | 266.7 | 26.75 | 261.067 | 15.804 | 889.908 | 49.328 | 25.52
2020-06-21 04:45:00 | 22.426 | 271.307 | 26.306 | 263.091 | 27.055 | 268.367 | 28.053 | 262.667 | 15.402 | 889.492 | 51.595 | 2.8906
2020-06-21 05:00:00 | 21.244 | 263.867 | 24 | 259.805 | 24.924 | 264.433 | 25.951 | 258.9 | 14.658 | 889.842 | 53.253 | 2.1623
2020-06-21 05:15:00 | 22.154 | 264.26 | 24.802 | 260.445 | 25.222 | 263.9 | 26.306 | 258.067 | 14.47 | 890.025 | 53.355 | 0.58977
2020-06-21 05:30:00 | 23.088 | 267.02 | 25.671 | 261.733 | 26.481 | 266.333 | 26.98 | 261.517 | 14.149 | 889.817 | 54.4 | 1.9562
2020-06-21 05:45:00 | 22.119 | 269.08 | 24.722 | 262.394 | 25.246 | 266.3 | 26.077 | 261.617 | 13.928 | 890.017 | 55.552 | 4.6933
2020-06-21 06:00:00 | 22.142 | 271.853 | 24.338 | 262.984 | 24.309 | 267.883 | 25.109 | 262.5 | 13.416 | 890.192 | 56.448 | 2.3008
2020-06-21 06:15:00 | 20.31 | 274.973 | 23.358 | 270.071 | 23.627 | 272.467 | 24.541 | 266.8 | 13.197 | 889.608 | 56.923 | 8.158
2020-06-21 06:30:00 | 18.996 | 280.813 | 21.042 | 274.601 | 22.196 | 279.633 | 22.961 | 274.867 | 13.089 | 890.15 | 56.475 | 31.8575
2020-06-21 06:45:00 | 19.473 | 282.267 | 22.216 | 276.48 | 22.479 | 279.267 | 22.782 | 276.667 | 12.907 | 889.85 | 56.741 | 26.6313
2020-06-21 07:00:00 | 18.872 | 284.453 | 21.299 | 279.512 | 21.922 | 283.133 | 22.167 | 281.433 | 13.108 | 890.1 | 56.592 | 47.0459
2020-06-21 07:15:00 | 19.16 | 280.787 | 21.798 | 275.314 | 22.465 | 279.533 | 22.858 | 277.2 | 13.633 | 889.992 | 55.589 | 33.8024
2020-06-21 07:30:00 | 20.963 | 280.133 | 23.605 | 273.163 | 24.104 | 277.567 | 24.709 | 274.267 | 13.499 | 889.567 | 54.139 | 23.1467
2020-06-21 07:45:00 | 20.622 | 283.2 | 22.988 | 277.409 | 23.55 | 279.867 | 24.088 | 277.633 | 14.216 | 889.483 | 53.291 | 10.5569
2020-06-21 08:00:00 | 22.497 | 277.68 | 25.188 | 270.433 | 25.64 | 275.433 | 26.041 | 271.667 | 13.866 | 889.8 | 53.707 | 21.1692
2020-06-21 08:15:00 | 20.992 | 281.44 | 23.851 | 274.993 | 24.008 | 277.267 | 25.17 | 274.733 | 14.199 | 889.842 | 51.595 | 21.6773
2020-06-21 08:30:00 | 19.179 | 279.28 | 21.752 | 273.121 | 21.817 | 276.567 | 21.835 | 273 | 14.391 | 890.175 | 51.243 | 48.6568
2020-06-21 08:45:00 | 18.311 | 275.4 | 20.045 | 273.788 | 20.927 | 276.367 | 21.018 | 272.633 | 14.808 | 889.875 | 50.368 | 55.8903
2020-06-21 09:00:00 | 18.058 | 276.333 | 20.202 | 270.196 | 20.736 | 274.5 | 21.029 | 271 | 15.131 | 889.658 | 48.789 | 51.1899
2020-06-21 09:15:00 | 18.13 | 273.067 | 19.832 | 267.717 | 20.338 | 272.6 | 20.303 | 269.3 | 14.704 | 889.583 | 52.917 | 44.9689
2020-06-21 09:30:00 | 15.983 | 272.067 | 18.078 | 265.86 | 18.581 | 271.2 | 18.814 | 266.5 | 14.195 | 889.758 | 56.352 | 44.458
2020-06-21 09:45:00 | 14.44 | 268.22 | 15.802 | 262.211 | 16.892 | 266.7 | 17.589 | 262.183 | 13.487 | 890.283 | 59.675 | 40.5002
2020-06-21 10:00:00 | 18.363 | 280.067 | 20.638 | 272.996 | 21.379 | 277.6 | 21.774 | 274.667 | 13.112 | 889.825 | 61.872 | 42.516
2020-06-21 10:15:00 | 16.993 | 281.773 | 19.228 | 275.61 | 19.733 | 277.667 | 20.048 | 274.633 | 13.42 | 889.758 | 54.213 | 45.9275
2020-06-21 10:30:00 | 16.705 | 283.413 | 19.175 | 278.693 | 19.552 | 280.7 | 19.838 | 278.633 | 13.022 | 890.092 | 63.12 | 43.6508
2020-06-21 10:45:00 | 14.158 | 276.987 | 15.501 | 269.948 | 16.082 | 273.7 | 16.338 | 270.5 | 12.947 | 890.142 | 58.443 | 32.7962
2020-06-21 11:00:00 | 13.301 | 276.947 | 14.896 | 271.691 | 15.359 | 276.133 | 15.524 | 271.35 | 13.114 | 889.7 | 59.712 | 25.3274
2020-06-21 11:15:00 | 12.372 | 272.587 | 13.927 | 265.504 | 14.304 | 271.7 | 14.588 | 266.333 | 12.77 | 889.808 | 60.107 | 25.1278
2020-06-21 11:30:00 | 12.642 | 260.327 | 14.111 | 255.684 | 14.551 | 260.633 | 14.544 | 255.717 | 12.909 | 890.167 | 56.773 | 25.1967
2020-06-21 11:45:00 | 13.588 | 274.627 | 14.658 | 267.761 | 14.911 | 274.5 | 14.751 | 269.567 | 13.566 | 889.95 | 53.536 | 26.0167
2020-06-21 12:00:00 | 12.605 | 272.127 | 13.7 | 265.13 | 14.165 | 269.733 | 14.008 | 265.4 | 13.745 | 889.95 | 51.797 | 27.3966
2020-06-21 12:15:00 | 12.122 | 272.693 | 13.479 | 265.895 | 14.012 | 269.5 | 13.897 | 263.283 | 13.887 | 889.842 | 56.507 | 27.6574
2020-06-21 12:30:00 | 11.152 | 266.047 | 11.63 | 261.417 | 11.8 | 265.2 | 12.118 | 260.217 | 14.204 | 889.733 | 48.491 | 23.082
2020-06-21 12:45:00 | 10.57 | 261.133 | 11.777 | 257.38 | 12.024 | 262 | 11.742 | 257.817 | 14.624 | 890.067 | 45.84 | 15.2495
2020-06-21 13:00:00 | 10.998 | 262.913 | 11.563 | 258.343 | 11.616 | 262.8 | 11.585 | 256.083 | 14.991 | 889.883 | 44.8 | 12.5017
2020-06-21 13:15:00 | 8.375 | 260.107 | 8.738 | 259.111 | 9.209 | 261.317 | 9.328 | 256 | 15.008 | 889.7 | 43.632 | 13.3714
2020-06-21 13:30:00 | 10.705 | 281.867 | 11.634 | 272.745 | 12.163 | 276.633 | 12.412 | 271.567 | 14.924 | 890.033 | 48.661 | 13.1988
2020-06-21 13:45:00 | 8.865 | 271.267 | 9.823 | 264.592 | 9.934 | 269.1 | 9.929 | 265.033 | 15.041 | 890.108 | 45.979 | 13.731
2020-06-21 14:00:00 | 10.042 | 258.553 | 10.614 | 255.621 | 10.886 | 261.1 | 10.582 | 255.717 | 15.956 | 889.742 | 41.749 | 18.5273
2020-06-21 14:15:00 | 10.478 | 258.187 | 11.05 | 251.924 | 11.288 | 256.483 | 11.29 | 251.033 | 16.898 | 889.967 | 38.221 | 40.4732
2020-06-21 14:30:00 | 8.976 | 254.767 | 9.301 | 250.848 | 9.569 | 255.133 | 9.628 | 250.317 | 17.531 | 889.933 | 35.307 | 60.4735
2020-06-21 14:45:00 | 10.737 | 299.48 | 11.071 | 291.993 | 11.367 | 295.9 | 11.836 | 293.867 | 18.044 | 889.75 | 28.635 | 74.6514
2020-06-21 15:00:00 | 10.213 | 291.4 | 10.896 | 286.92 | 11.398 | 290.933 | 11.735 | 285.533 | 17.673 | 889.883 | 31.043 | 74.8745
2020-06-21 15:15:00 | 9.803 | 282.213 | 10.425 | 277.081 | 10.755 | 283.533 | 10.803 | 279.9 | 17.485 | 889.717 | 31.592 | 50.4687
2020-06-21 15:30:00 | 9.984 | 288.947 | 10.68 | 281.116 | 10.908 | 284.1 | 11.294 | 281.2 | 17.773 | 889.65 | 30.731 | 24.3334
2020-06-21 15:45:00 | 10.924 | 280.54 | 11.714 | 274.647 | 11.866 | 277.6 | 12.031 | 274.95 | 17.981 | 889.867 | 29.536 | 31.2244
2020-06-21 16:00:00 | 11.313 | 290.92 | 12.241 | 283.472 | 12.333 | 286.767 | 12.698 | 281.7 | 18.102 | 889.867 | 30.019 | 28.7964
2020-06-21 16:15:00 | 11.307 | 285.133 | 11.5 | 275.83 | 11.802 | 280.233 | 12.048 | 278.633 | 18.573 | 889.6 | 28.072 | 28.8455
2020-06-21 16:30:00 | 9.507 | 279.867 | 10.089 | 273.579 | 10.177 | 275.767 | 10.425 | 270.183 | 18.864 | 889.433 | 27.571 | 33.0534
2020-06-21 16:45:00 | 9.832 | 283.847 | 10.619 | 276.186 | 10.988 | 281.3 | 11.253 | 275.8 | 18.927 | 889.567 | 26.429 | 42.5587
2020-06-21 17:00:00 | 10.535 | 269.987 | 11.576 | 267.106 | 11.61 | 271.5 | 11.819 | 266.617 | 19.456 | 889.95 | 25.461 | 47.3358
2020-06-21 17:15:00 | 9.534 | 273.513 | 10.001 | 267.579 | 10.32 | 270.167 | 10.382 | 267.133 | 19.535 | 889.767 | 23.696 | 48.7449
2020-06-21 17:30:00 | 9.624 | 272.74 | 10.537 | 269.103 | 10.773 | 273.533 | 11.1 | 269.967 | 19.964 | 890.033 | 24.053 | 58.7283
2020-06-21 17:45:00 | 9.389 | 282.473 | 10.16 | 274.964 | 10.545 | 278.85 | 10.805 | 273.867 | 20.027 | 889.7 | 22.363 | 55.4704
2020-06-21 18:00:00 | 10.748 | 282.053 | 11.338 | 276.095 | 11.997 | 280.7 | 12.649 | 278.417 | 19.785 | 889.9 | 21.123 | 71.8163
2020-06-21 18:15:00 | 11.446 | 280 | 11.704 | 276.51 | 11.881 | 279.333 | 12.074 | 277.067 | 20.152 | 889.267 | 19.717 | 72.9084
2020-06-21 18:30:00 | 10.892 | 293.547 | 12.12 | 289.929 | 12.499 | 293.933 | 13.122 | 289.4 | 20.352 | 889.217 | 19.028 | 73.9757
2020-06-21 18:45:00 | 10.934 | 296.453 | 11.954 | 291.955 | 12.321 | 294.567 | 12.819 | 292.433 | 20.156 | 889.5 | 18.82 | 72.6959
2020-06-21 19:00:00 | 11.3 | 283.307 | 12.243 | 277.234 | 12.567 | 279.6 | 12.826 | 276.6 | 20.281 | 889.033 | 18.751 | 77.6052
2020-06-21 19:15:00 | 10.109 | 279.813 | 10.773 | 271.946 | 10.751 | 274.8 | 11.193 | 267.95 | 19.806 | 889.567 | 19.975 | 67.302
2020-06-21 19:30:00 | 10.464 | 278.533 | 11.208 | 271.583 | 11.608 | 276.567 | 11.758 | 273.967 | 20.102 | 889.35 | 20.365 | 65.7274
2020-06-21 19:45:00 | 9.527 | 279.667 | 10.005 | 275.847 | 10.304 | 278.933 | 10.838 | 275.333 | 19.81 | 889.6 | 20.231 | 74.2443
2020-06-21 20:00:00 | 8.556 | 288.96 | 9.523 | 282.379 | 9.664 | 285 | 9.802 | 282 | 19.731 | 889.683 | 19.725 | 63.3683
2020-06-21 20:15:00 | 10.422 | 293.693 | 11.555 | 287.384 | 11.742 | 291.7 | 12.176 | 289.467 | 19.698 | 889.4 | 19.775 | 59.7516
2020-06-21 20:30:00 | 8.901 | 286.387 | 9.764 | 280.265 | 10.079 | 285.733 | 10.688 | 281.9 | 19.639 | 889.633 | 19.915 | 65.0787
2020-06-21 20:45:00 | 8.442 | 273.947 | 9.139 | 266.504 | 9.511 | 270.2 | 9.566 | 265.233 | 19.414 | 889.6 | 21.043 | 65.78
2020-06-21 21:00:00 | 7.97 | 277.733 | 9.101 | 271.873 | 9.605 | 276.333 | 9.833 | 272.533 | 19.348 | 889.8 | 20.661 | 57.5253
2020-06-21 21:15:00 | 6.94 | 282.2 | 7.793 | 277.609 | 8.034 | 279.867 | 8.147 | 275.433 | 18.573 | 889.517 | 21.824 | 39.2773
2020-06-21 21:30:00 | 7.237 | 278.373 | 8.496 | 272.912 | 9.094 | 277.033 | 9.366 | 274.45 | 18.173 | 889.967 | 22.725 | 35.544
2020-06-21 21:45:00 | 6.269 | 285.747 | 7.361 | 280.012 | 7.55 | 284.3 | 7.867 | 281 | 17.502 | 890.1 | 23.797 | 38.1567
2020-06-21 22:00:00 | 6.3 | 277.533 | 7.29 | 273.641 | 7.812 | 277.767 | 8.293 | 274.933 | 17.694 | 890.017 | 24.061 | 42.6006
2020-06-21 22:15:00 | 6.392 | 281.747 | 8.029 | 276.604 | 8.78 | 282.633 | 9.436 | 280.2 | 17.314 | 889.483 | 24.528 | 42.9694
2020-06-21 22:30:00 | 5.506 | 280.933 | 6.721 | 279.125 | 7.022 | 283.8 | 7.464 | 280.6 | 16.948 | 889.417 | 25.408 | 38.8687
2020-06-21 22:45:00 | 6.2 | 283.613 | 7.648 | 281.229 | 8.425 | 286.367 | 8.838 | 283.733 | 16.614 | 889.583 | 25.973 | 43.6046
2020-06-21 23:00:00 | 5.401 | 296.76 | 6.672 | 292.241 | 7.189 | 296.633 | 7.735 | 293.233 | 16.431 | 889.483 | 26.133 | 33.0634
2020-06-21 23:15:00 | 3.722 | 300.16 | 5.023 | 293.01 | 5.882 | 297.567 | 6.664 | 292.667 | 16.136 | 889.333 | 26.083 | 18.4939
2020-06-21 23:30:00 | 4.41 | 307.773 | 5.482 | 301.497 | 5.942 | 304.867 | 6.69 | 302.5 | 15.989 | 889.9 | 25.107 | 22.6664
2020-06-21 23:45:00 | 4.912 | 299.107 | 5.844 | 293.341 | 6.338 | 296.7 | 7.023 | 293.4 | 15.889 | 889.567 | 24.995 | 20.9205