## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-22 00:00:00 | 4.68 | 290.4 | 5.834 | 286.253 | 6.329 | 289.533 | 6.803 | 287.367 | 16.298 | 889.567 | 25.309 | 18.6566
2020-06-22 00:15:00 | 3.406 | 292.013 | 4.27 | 286.853 | 4.69 | 289 | 5.096 | 286.033 | 15.804 | 889.517 | 25.568 | 11.8324
2020-06-22 00:30:00 | 2.695 | 298.813 | 3.541 | 293.082 | 4.076 | 296.667 | 4.437 | 293.467 | 15.887 | 889.75 | 26.267 | 7.5015
2020-06-22 00:45:00 | 4.413 | 278.373 | 5.328 | 275.567 | 5.922 | 282 | 6.429 | 278.233 | 15.476 | 889.7 | 27.261 | 10.4375
2020-06-22 01:00:00 | 5.003 | 283.027 | 5.886 | 278.68 | 6.096 | 281.6 | 6.516 | 277 | 15.433 | 889.633 | 28.035 | 12.3255
2020-06-22 01:15:00 | 5.309 | 271.827 | 5.869 | 268.769 | 6.265 | 274.133 | 6.275 | 271.367 | 15.193 | 889.683 | 28.291 | 11.4522
2020-06-22 01:30:00 | 5.589 | 279.213 | 6.248 | 273.108 | 6.383 | 277.967 | 6.517 | 274.967 | 15.497 | 889.55 | 28.784 | 25.6479
2020-06-22 01:45:00 | 5.409 | 278 | 6.354 | 269.348 | 6.665 | 272.383 | 7.024 | 270.433 | 15.174 | 889.583 | 28.963 | 28.3232
2020-06-22 02:00:00 | 6.332 | 294.133 | 7.246 | 287.76 | 7.425 | 292.2 | 7.924 | 289.633 | 15.314 | 889.7 | 28.723 | 20.0302
2020-06-22 02:15:00 | 4.516 | 283.307 | 5.21 | 281.351 | 5.416 | 286.833 | 5.761 | 281.9 | 14.962 | 890.017 | 28.992 | 16.0346
2020-06-22 02:30:00 | 4.714 | 281.24 | 5.316 | 276.607 | 5.441 | 280.867 | 5.885 | 278.167 | 14.791 | 890.15 | 29.755 | 15.7113
2020-06-22 02:45:00 | 3.889 | 282.333 | 4.195 | 279.888 | 4.136 | 285.367 | 4.297 | 280.217 | 14.591 | 889.733 | 29.992 | 19.1832
2020-06-22 03:00:00 | 4.95 | 270.733 | 5.822 | 264.826 | 6.12 | 270.733 | 6.293 | 267.2 | 14.841 | 889.983 | 30.384 | 15.5422
2020-06-22 03:15:00 | 5.582 | 281.147 | 6.663 | 275.565 | 6.879 | 279.067 | 7.135 | 276.7 | 14.204 | 889.883 | 30.307 | 16.1917
2020-06-22 03:30:00 | 5.093 | 276.067 | 5.411 | 271.062 | 5.662 | 275.6 | 5.726 | 271.967 | 14.574 | 889.5 | 30.368 | 7.4524
2020-06-22 03:45:00 | 2.734 | 268.327 | 3.368 | 267.156 | 3.592 | 270.733 | 4.042 | 267.367 | 14.37 | 889.417 | 30.851 | 4.2009
2020-06-22 04:00:00 | 3.912 | 262.14 | 4.313 | 260.416 | 4.48 | 264.233 | 4.572 | 261.317 | 14.199 | 889.217 | 31.259 | 7.4787
2020-06-22 04:15:00 | 2.276 | 271.787 | 2.721 | 262.892 | 2.873 | 269.433 | 3.098 | 263.083 | 14.258 | 889.8 | 31.928 | 4.2748
2020-06-22 04:30:00 | 2.958 | 233.793 | 3.32 | 236.094 | 3.611 | 241 | 3.597 | 237.4 | 13.662 | 889.95 | 32.576 | 3.3915
2020-06-22 04:45:00 | 3.795 | 223.26 | 4.251 | 225.124 | 4.509 | 230.4 | 4.727 | 224.367 | 13.683 | 889.533 | 33.573 | 5.7243
2020-06-22 05:00:00 | 3.354 | 233.327 | 4.162 | 228.835 | 4.379 | 233.9 | 4.464 | 228.767 | 13.766 | 889.833 | 34.192 | 8.4842
2020-06-22 05:15:00 | 3.633 | 221.807 | 4.312 | 219.531 | 5.035 | 223.6 | 5.331 | 218.233 | 13.474 | 889.867 | 34.875 | 9.5777
2020-06-22 05:30:00 | 4.169 | 232.04 | 5.404 | 225.803 | 6.045 | 228.733 | 6.139 | 224.233 | 13.495 | 889.942 | 43.541 | 11.546
2020-06-22 05:45:00 | 3.399 | 229.807 | 3.806 | 225.995 | 4.072 | 229.4 | 4.154 | 223.633 | 13.045 | 889.625 | 44.608 | 4.3153
2020-06-22 06:00:00 | 3.498 | 202.8 | 3.754 | 200.915 | 4.02 | 203.933 | 4.325 | 201.067 | 12.486 | 890.142 | 48.213 | 8.0138
2020-06-22 06:15:00 | 2.813 | 209.147 | 4.439 | 208.444 | 5.196 | 212.267 | 5.564 | 209.433 | 12.789 | 889.925 | 48.363 | 11.2149
2020-06-22 06:30:00 | 2.736 | 217.88 | 3.523 | 211.771 | 4.388 | 212.867 | 4.832 | 208.5 | 12.478 | 889.842 | 47.616 | 6.2409
2020-06-22 06:45:00 | 3.722 | 218.36 | 5.131 | 214.198 | 5.887 | 216.733 | 6.056 | 213.6 | 12.853 | 889.867 | 46.965 | 10.3459
2020-06-22 07:00:00 | 3.616 | 222.327 | 5.116 | 219.065 | 5.639 | 220.4 | 5.76 | 216.7 | 12.803 | 890.208 | 43.328 | 8.5488
2020-06-22 07:15:00 | 2.699 | 232.673 | 3.413 | 231.492 | 3.989 | 233.467 | 4.403 | 225.267 | 13.285 | 890.025 | 41.131 | 6.1393
2020-06-22 07:30:00 | 2.886 | 261.6 | 3.646 | 252.107 | 4.282 | 253.883 | 4.561 | 245.583 | 13.433 | 889.958 | 40.101 | 7.1021
2020-06-22 07:45:00 | 3.826 | 273.027 | 4.368 | 267.765 | 5.036 | 270.3 | 5.295 | 262.333 | 14.77 | 889.65 | 36.792 | 7.2456
2020-06-22 08:00:00 | 4.215 | 295.067 | 4.517 | 287.72 | 4.9 | 289.7 | 5.404 | 286.133 | 15.008 | 889.683 | 34.861 | 7.6393
2020-06-22 08:15:00 | 3.692 | 290.8 | 4.159 | 285.377 | 4.748 | 286.5 | 5.325 | 282.733 | 14.958 | 890.067 | 35.053 | 8.7187
2020-06-22 08:30:00 | 3.956 | 286.467 | 4.288 | 278.043 | 4.541 | 280.633 | 5.022 | 278 | 14.691 | 889.9 | 33.768 | 7.8688
2020-06-22 08:45:00 | 3.176 | 274.133 | 3.412 | 270.707 | 3.65 | 271.233 | 3.924 | 267.9 | 14.858 | 889.617 | 32.357 | 5.659
2020-06-22 09:00:00 | 3.076 | 271.92 | 3.025 | 268.534 | 3.07 | 272.667 | 3.154 | 268.8 | 15.322 | 889.45 | 31.107 | 4.6457
2020-06-22 09:15:00 | 4.175 | 261.227 | 4.293 | 257.727 | 4.254 | 263.617 | 4.212 | 260.667 | 15.934 | 889.883 | 28.829 | 7.6642
2020-06-22 09:30:00 | 5.113 | 275.267 | 5.492 | 270.294 | 5.558 | 272.6 | 5.617 | 269.933 | 16.281 | 889.983 | 28.003 | 12.8748
2020-06-22 09:45:00 | 4.465 | 270.907 | 4.671 | 263.984 | 4.656 | 267.9 | 4.728 | 262.5 | 15.642 | 889.733 | 28.288 | 10.1767
2020-06-22 10:00:00 | 4.723 | 282.96 | 4.904 | 275.265 | 4.981 | 278.567 | 4.962 | 277.267 | 15.74 | 889.717 | 27.293 | 11.2582
2020-06-22 10:15:00 | 3.874 | 320.707 | 3.985 | 314.61 | 4.062 | 316.467 | 4.532 | 315.233 | 15.519 | 889.733 | 26.955 | 9.0114
2020-06-22 10:30:00 | 3.451 | 302.373 | 3.624 | 296.004 | 3.774 | 295.367 | 4.095 | 293.9 | 15.916 | 889.917 | 26.875 | 7.0772
2020-06-22 10:45:00 | 4.162 | 297.393 | 4.156 | 291.839 | 4.173 | 296.567 | 4.531 | 294.8 | 15.816 | 889.717 | 26.883 | 7.2492
2020-06-22 11:00:00 | 3.758 | 313.573 | 4.101 | 308.439 | 4.229 | 311.033 | 4.395 | 306.533 | 15.932 | 889.917 | 26.491 | 5.4415
2020-06-22 11:15:00 | 3.579 | 300.667 | 3.668 | 325.535 | 3.828 | 323.533 | 4.044 | 316.2 | 15.863 | 889.733 | 26.581 | 2.9588
2020-06-22 11:30:00 | 2.64 | 257.687 | 2.88 | 258.327 | 3.02 | 263.917 | 3.185 | 258.8 | 16.314 | 889.867 | 26.251 | 0.94861
2020-06-22 11:45:00 | 2.876 | 311.58 | 2.732 | 312.24 | 3.176 | 314.633 | 3.554 | 312.2 | 17.048 | 889.767 | 25.456 | 0.26646
2020-06-22 12:00:00 | 3.135 | 320.813 | 3.189 | 316.397 | 3.303 | 315.8 | 3.624 | 315.3 | 16.531 | 890.05 | 24.579 | 0.15704
2020-06-22 12:15:00 | 2.573 | 314.307 | 2.821 | 299.016 | 3.1 | 292.267 | 3.486 | 302.233 | 16.914 | 889.65 | 24.731 | 0.1883
2020-06-22 12:30:00 | 1.43 | 229.893 | 1.263 | 224.898 | 1.197 | 235.867 | 1.844 | 237.667 | 17.489 | 889.767 | 24.389 | 0.30483
2020-06-22 12:45:00 | 3.42 | 46.838 | 3.533 | 33.382 | 3.586 | 47.7 | 3.67 | 32.7 | 17.306 | 889.767 | 23.728 | 0.68001
2020-06-22 13:00:00 | 4.366 | 74.213 | 4.427 | 68.146 | 4.406 | 72.033 | 4.394 | 66.667 | 16.798 | 889.283 | 24.773 | 0.6388
2020-06-22 13:15:00 | 1.679 | 77.253 | 1.576 | 72.955 | 2.04 | 69.1 | 2.696 | 63.867 | 17.294 | 889.567 | 23.637 | 0.15846
2020-06-22 13:30:00 | 2.848 | 129.485 | 3 | 136.23 | 2.974 | 73.842 | 3.113 | 75.3 | 17.789 | 889.617 | 22.635 | 0.20606
2020-06-22 13:45:00 | 3.864 | 246.688 | 3.986 | 258.332 | 3.833 | 256.8 | 3.763 | 264 | 17.944 | 889.833 | 23.667 | 2.5197
2020-06-22 14:00:00 | 4.461 | 321.48 | 4.684 | 312.044 | 4.896 | 312.133 | 5.029 | 306.267 | 17.994 | 889.767 | 23.792 | 0.847
2020-06-22 14:15:00 | 3.398 | 300.956 | 3.9 | 290.664 | 4.365 | 315.467 | 5.067 | 298.767 | 18.673 | 889.85 | 22.483 | 3.626
2020-06-22 14:30:00 | 5.576 | 302.547 | 6.115 | 297.325 | 6.202 | 303.033 | 6.244 | 298.867 | 19.16 | 889.967 | 22.981 | 16.7033
2020-06-22 14:45:00 | 4.546 | 297.64 | 4.999 | 294.49 | 5.156 | 298.533 | 5.79 | 297.933 | 19.168 | 889.65 | 23.685 | 22.6465
2020-06-22 15:00:00 | 7.038 | 279.353 | 7.412 | 274.371 | 7.586 | 277.85 | 7.66 | 273 | 19.877 | 889.917 | 21.843 | 30.1671
2020-06-22 15:15:00 | 7.285 | 261.747 | 7.499 | 255.766 | 7.624 | 259.5 | 7.681 | 256.3 | 20.564 | 890.183 | 21.309 | 35.4253
2020-06-22 15:30:00 | 7.582 | 250.56 | 8.108 | 246.279 | 8.592 | 250.667 | 8.755 | 246.15 | 20.339 | 890.133 | 21.165 | 26.8395
2020-06-22 15:45:00 | 9.773 | 282.313 | 10.632 | 278.008 | 10.551 | 280.267 | 10.839 | 277.917 | 21.152 | 889.367 | 20.275 | 42.1991
2020-06-22 16:00:00 | 7.083 | 267.9 | 8.316 | 268.518 | 8.4 | 274.5 | 8.757 | 272.25 | 21.973 | 889.567 | 19.199 | 33.4378
2020-06-22 16:15:00 | 9.688 | 289.72 | 10.365 | 279.542 | 10.597 | 283.967 | 11.07 | 282.283 | 21.127 | 889.5 | 19.463 | 53.9171
2020-06-22 16:30:00 | 9.04 | 291.94 | 9.746 | 287.836 | 10.131 | 287.5 | 10.497 | 286.533 | 21.952 | 889.767 | 17.828 | 53.6528
2020-06-22 16:45:00 | 11.012 | 284.053 | 12.047 | 278.507 | 12.125 | 280.167 | 12.343 | 275.967 | 21.944 | 889.8 | 17.612 | 50.8695
2020-06-22 17:00:00 | 9.079 | 259.727 | 9.53 | 255.054 | 9.78 | 255.25 | 9.925 | 250.883 | 22.085 | 889.467 | 17.707 | 48.6013
2020-06-22 17:15:00 | 7.092 | 290.533 | 7.785 | 285.197 | 8.161 | 290.7 | 8.531 | 289.2 | 21.568 | 889.567 | 16.784 | 46.9606
2020-06-22 17:30:00 | 10.529 | 294.307 | 11.18 | 289.176 | 11.31 | 291.4 | 11.462 | 287.733 | 21.844 | 889.467 | 16.303 | 47.2946
2020-06-22 17:45:00 | 11.518 | 271.127 | 12.188 | 267.665 | 12.085 | 270.233 | 12.318 | 266.383 | 22.273 | 889.267 | 15.668 | 50.4872
2020-06-22 18:00:00 | 11.385 | 274.573 | 12.074 | 272.841 | 12.172 | 276.4 | 12.162 | 273.333 | 22.081 | 889.3 | 15.416 | 54.2397
2020-06-22 18:15:00 | 11.923 | 287.36 | 12.862 | 281.434 | 13.362 | 284.7 | 13.444 | 281.733 | 22.052 | 889.6 | 15.544 | 62.6791
2020-06-22 18:30:00 | 10.55 | 291.307 | 11.179 | 282.396 | 11.895 | 284.7 | 12.045 | 279.267 | 21.656 | 889.667 | 14.968 | 66.5666
2020-06-22 18:45:00 | 10.75 | 278.78 | 11.489 | 274.784 | 12.095 | 279.867 | 12.289 | 276.683 | 21.873 | 889.567 | 14.245 | 53.5128
2020-06-22 19:00:00 | 9.44 | 293.933 | 10.294 | 288.143 | 11.031 | 291.333 | 11.556 | 288.2 | 21.718 | 889.167 | 14.239 | 46.1556
2020-06-22 19:15:00 | 9.871 | 309.453 | 10.414 | 303.569 | 11.039 | 306.533 | 11.737 | 302.567 | 21.381 | 889.6 | 14.617 | 41.7991
2020-06-22 19:30:00 | 9.73 | 282.8 | 10.475 | 281.052 | 10.609 | 285.567 | 11.146 | 284.133 | 21.514 | 889.233 | 14.573 | 43.3105
2020-06-22 19:45:00 | 10.751 | 299.067 | 11.58 | 293.975 | 11.832 | 297.033 | 12.374 | 294.633 | 21.448 | 889.433 | 14.56 | 49.8782
2020-06-22 20:00:00 | 9.368 | 300.32 | 9.93 | 291.459 | 10.26 | 296.333 | 10.846 | 292.767 | 21.414 | 889.5 | 13.131 | 61.4065
2020-06-22 20:15:00 | 9.497 | 285.707 | 10.376 | 278.58 | 10.617 | 281.5 | 11.399 | 279.867 | 21.318 | 889.333 | 12.936 | 70.5102
2020-06-22 20:30:00 | 9.476 | 294.16 | 10.456 | 288.281 | 10.62 | 292 | 11.164 | 289.2 | 20.839 | 889.6 | 12.252 | 75.9887
2020-06-22 20:45:00 | 10.589 | 300.587 | 11.537 | 294.752 | 11.854 | 299.533 | 12.564 | 296.533 | 20.581 | 889.367 | 12.563 | 75.5084
2020-06-22 21:00:00 | 10.359 | 303.587 | 11.345 | 297.294 | 12.108 | 301.567 | 12.893 | 297.8 | 20.139 | 889.1 | 12.476 | 69.0856
2020-06-22 21:15:00 | 9.629 | 296.12 | 10.631 | 290.718 | 11.181 | 295.9 | 11.778 | 294.367 | 19.914 | 889.033 | 12.823 | 73.2807
2020-06-22 21:30:00 | 7.852 | 295.12 | 8.923 | 288.573 | 9.397 | 292 | 10.124 | 290.667 | 19.252 | 889.033 | 13.125 | 54.9638
2020-06-22 21:45:00 | 4.744 | 332.067 | 5.229 | 329.994 | 5.64 | 334.3 | 5.944 | 332.933 | 18.573 | 889.533 | 14.975 | 25.709
2020-06-22 22:00:00 | 3.516 | 313.893 | 3.886 | 309.855 | 4.162 | 314.8 | 4.32 | 312.867 | 18.039 | 889.133 | 16.121 | 9.6062
2020-06-22 22:15:00 | 3.09 | 318.48 | 3.944 | 320.189 | 4.633 | 330.033 | 4.954 | 335.067 | 17.894 | 889.367 | 16.773 | 10.1838
2020-06-22 22:30:00 | 3.417 | 328.12 | 4.06 | 325.67 | 4.525 | 330.333 | 4.975 | 329.667 | 17.456 | 889.933 | 17.763 | 6.8442
2020-06-22 22:45:00 | 2.982 | 307.8 | 3.345 | 314.915 | 4.024 | 323.733 | 4.45 | 324.667 | 16.898 | 889.667 | 18.34 | 5.5531
2020-06-22 23:00:00 | 2.572 | 294.893 | 2.633 | 301.89 | 2.981 | 309.233 | 3.43 | 309.8 | 16.914 | 889.633 | 18.461 | 4.2122
2020-06-22 23:15:00 | 2.323 | 164.933 | 3.071 | 72.114 | 3.22 | 1.134 | 3.74 | 0.8 | 16.172 | 889.533 | 19.332 | 5.563
2020-06-22 23:30:00 | 2.237 | 1.872 | 3.152 | 35.884 | 3.19 | 0.4 | 3.764 | 11.933 | 15.41 | 889.55 | 21.056 | 3.4264
2020-06-22 23:45:00 | 1.299 | 0.534 | 2.43 | 107.096 | 2.939 | 0.6 | 3.337 | 59.667 | 15.272 | 889.883 | 21.643 | 1.1909