## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-23 00:00:00 | 0 | 0 | 1.734 | 234.22 | 2.162 | 245.133 | 2.664 | 235.567 | 15.606 | 889.4 | 22.373 | 0.22738
2020-06-23 00:15:00 | 0.781 | 230.953 | 0 | 351.194 | 0.04 | 348.067 | 1.095 | 353 | 13.978 | 890.05 | 23.077 | 0.25438
2020-06-23 00:30:00 | 3.128 | 212.12 | 0.605 | 259.8 | 0 | 345.133 | 0 | 352.9 | 13.554 | 889.5 | 23.08 | 0.20393
2020-06-23 00:45:00 | 3.71 | 215.147 | 2.959 | 198.67 | 2.826 | 197.067 | 2.398 | 208 | 14.141 | 889.833 | 21.621 | 0.19754
2020-06-23 01:00:00 | 4.349 | 220.107 | 3.468 | 223.523 | 3.066 | 214.233 | 3.125 | 196 | 12.92 | 889.767 | 22.229 | 0.18919
2020-06-23 01:15:00 | 5.022 | 217.58 | 4.024 | 219.224 | 3.314 | 233.7 | 2.83 | 236.733 | 11.682 | 889.733 | 23.275 | 1.8844
2020-06-23 01:30:00 | 3.647 | 203.24 | 4.116 | 224.371 | 4.143 | 241.267 | 3.814 | 236.833 | 12.939 | 889.717 | 22.816 | 3.9337
2020-06-23 01:45:00 | 4.06 | 215.153 | 5.384 | 236.333 | 5.292 | 247.333 | 4.899 | 244.1 | 10.332 | 889.8 | 26.149 | 3.9731
2020-06-23 02:00:00 | 6.016 | 227.747 | 5.859 | 240.299 | 5.629 | 248.533 | 5.197 | 245.3 | 10.422 | 890.083 | 25.947 | 9.447
2020-06-23 02:15:00 | 5.752 | 227.7 | 5.646 | 241.972 | 5.568 | 249.8 | 5.124 | 246.9 | 10.695 | 889.633 | 25.744 | 9.8527
2020-06-23 02:30:00 | 5.332 | 222.92 | 5.501 | 238.257 | 5.285 | 247.967 | 4.81 | 244.933 | 10.72 | 889.717 | 26.651 | 9.5394
2020-06-23 02:45:00 | 5.374 | 225.793 | 5.808 | 238.992 | 5.48 | 247.233 | 5.231 | 243.6 | 10.276 | 889.867 | 27.344 | 9.5394
2020-06-23 03:00:00 | 5.412 | 224.033 | 5.319 | 238.618 | 5.06 | 246.2 | 4.646 | 243.033 | 9.833 | 889.55 | 27.899 | 7.4297
2020-06-23 03:15:00 | 5.1 | 224.22 | 5.147 | 237.727 | 4.791 | 245.133 | 4.475 | 242.667 | 9.635 | 889.8 | 28.539 | 6.6289
2020-06-23 03:30:00 | 5.567 | 223.727 | 5.212 | 236.937 | 4.775 | 246.6 | 4.334 | 244.433 | 9.856 | 889.983 | 28.885 | 6.2466
2020-06-23 03:45:00 | 6.184 | 219.88 | 5.444 | 230.866 | 5.127 | 238.2 | 4.916 | 234.967 | 9.712 | 889.717 | 29.312 | 7.6237
2020-06-23 04:00:00 | 6.086 | 219.68 | 5.678 | 226.576 | 5.339 | 234.1 | 4.913 | 231.133 | 9.145 | 889.7 | 28.784 | 8.4735
2020-06-23 04:15:00 | 6.187 | 220.453 | 5.954 | 225.061 | 5.547 | 233.3 | 5.11 | 230.867 | 9.104 | 889.35 | 28.523 | 9.0299
2020-06-23 04:30:00 | 6.794 | 218.62 | 6.73 | 220.799 | 6.03 | 227.033 | 5.498 | 227.033 | 8.883 | 890.133 | 28.24 | 10.7274
2020-06-23 04:45:00 | 6.625 | 222.187 | 6.842 | 223.855 | 6.115 | 229.467 | 5.672 | 227.033 | 8.983 | 889.417 | 27.899 | 12.2502
2020-06-23 05:00:00 | 6.528 | 220.053 | 6.527 | 221.764 | 5.94 | 226.5 | 5.265 | 225.933 | 8.766 | 889.767 | 27.904 | 10.9513
2020-06-23 05:15:00 | 6.576 | 223.213 | 6.408 | 224.645 | 5.761 | 229.567 | 5.288 | 226.367 | 8.945 | 889.9 | 27.888 | 7.8653
2020-06-23 05:30:00 | 6.192 | 223.187 | 5.86 | 225.046 | 5.214 | 232.6 | 4.385 | 230.133 | 9.158 | 889.533 | 27.989 | 5.2632
2020-06-23 05:45:00 | 5.783 | 225.12 | 5.01 | 229.322 | 4.535 | 235.733 | 4.03 | 231 | 8.816 | 889.8 | 27.989 | 3.7696
2020-06-23 06:00:00 | 5.816 | 224.987 | 6.11 | 229.913 | 5.211 | 236.567 | 4.353 | 232.7 | 8.783 | 889.75 | 28.592 | 5.1914
2020-06-23 06:15:00 | 6.211 | 223.58 | 5.988 | 223.328 | 5.064 | 230.6 | 4.49 | 231 | 9.183 | 889.717 | 28.075 | 5.3634
2020-06-23 06:30:00 | 5.416 | 225.827 | 6.302 | 225.058 | 5.255 | 229.667 | 4.647 | 228.6 | 9.999 | 889.517 | 27.275 | 4.4204
2020-06-23 06:45:00 | 5.083 | 223.433 | 5.74 | 228.237 | 5.313 | 237.233 | 4.631 | 232.833 | 10.297 | 889.567 | 26.8 | 4.7743
2020-06-23 07:00:00 | 4.741 | 232.567 | 5.702 | 237.484 | 5.266 | 248.033 | 4.678 | 245 | 10.961 | 889.6 | 26.016 | 4.4389
2020-06-23 07:15:00 | 3.246 | 140.101 | 3.844 | 205.182 | 3.863 | 217 | 3.492 | 260.133 | 12.386 | 889.517 | 24.064 | 1.6563
2020-06-23 07:30:00 | 2.749 | 250.44 | 3.358 | 259.242 | 2.737 | 281.333 | 2.594 | 295.6 | 13.745 | 889.283 | 22.296 | 0.22738
2020-06-23 07:45:00 | 2.84 | 242.333 | 2.666 | 251.518 | 2.014 | 274.533 | 1.479 | 292.867 | 15.414 | 889.617 | 20.331 | 0.23307
2020-06-23 08:00:00 | 2.5 | 251.093 | 2.107 | 245.15 | 1.698 | 249.567 | 1.161 | 292 | 16.714 | 889.333 | 18.917 | 0.17196
2020-06-23 08:15:00 | 1.9 | 262.573 | 1.397 | 265.938 | 1.246 | 276.967 | 1.397 | 264.567 | 17.939 | 889.8 | 17.429 | 0.17054
2020-06-23 08:30:00 | 0.595 | 303.413 | 0.237 | 301.818 | 0.143 | 296.3 | 1.228 | 325.933 | 17.498 | 889.5 | 17.795 | 0.16485
2020-06-23 08:45:00 | 1.692 | 138.312 | 1.154 | 197.827 | 1.249 | 284 | 1.751 | 285.5 | 17.444 | 889.6 | 18.521 | 0.16769
2020-06-23 09:00:00 | 1.387 | 280.002 | 1.064 | 307.906 | 1.06 | 246.3 | 1.563 | 343.533 | 17.352 | 889.567 | 18.983 | 0.17196
2020-06-23 09:15:00 | 2.685 | 326.648 | 2.416 | 308.942 | 2.348 | 325.267 | 2.474 | 304.1 | 17.81 | 889.333 | 19.027 | 0.14851
2020-06-23 09:30:00 | 2.445 | 319.133 | 2.37 | 296.225 | 2.24 | 288.267 | 2.655 | 326.533 | 17.827 | 889.7 | 18.983 | 0.097348
2020-06-23 09:45:00 | 2.64 | 295.583 | 2.36 | 290.016 | 2.202 | 317.7 | 2.678 | 261.267 | 18.064 | 889.233 | 18.723 | 0.10303
2020-06-23 10:00:00 | 2.476 | 187.636 | 2.276 | 245.022 | 2.23 | 188.934 | 2.308 | 210.9 | 18.623 | 889.567 | 18.253 | 0.11653
2020-06-23 10:15:00 | 1.338 | 251.208 | 1.609 | 282.433 | 1.908 | 273.018 | 2.204 | 288.5 | 18.918 | 889.6 | 18.013 | 0.084557
2020-06-23 10:30:00 | 3.867 | 271.387 | 3.878 | 271.22 | 3.792 | 272.717 | 4.048 | 269.133 | 18.773 | 889.633 | 17.872 | 0.38157
2020-06-23 10:45:00 | 3.094 | 323.027 | 3.013 | 313.547 | 3.173 | 316.333 | 3.305 | 311.533 | 19.906 | 889.3 | 17.267 | 0.32402
2020-06-23 11:00:00 | 1.854 | 192.757 | 1.766 | 265.594 | 2.484 | 249.667 | 2.744 | 263.017 | 19.985 | 889.733 | 17.168 | 0.13501
2020-06-23 11:15:00 | 2.768 | 299.187 | 2.842 | 298.149 | 3.07 | 306.133 | 3.378 | 304.033 | 19.456 | 889.6 | 16.48 | 0.17835
2020-06-23 11:30:00 | 2.279 | 224.762 | 1.894 | 227.222 | 1.944 | 320.5 | 2.335 | 328.867 | 20.223 | 889.367 | 16.128 | 0.16343
2020-06-23 11:45:00 | 1.382 | 255.613 | 0.62 | 221.66 | 1.057 | 220.335 | 1.81 | 192.004 | 21.323 | 889.133 | 15.389 | 0.27144
2020-06-23 12:00:00 | 2.206 | 195.898 | 2.225 | 216.643 | 2.407 | 214.283 | 2.818 | 205.033 | 20.864 | 889.367 | 15.271 | 0.11014
2020-06-23 12:15:00 | 2.965 | 189.072 | 2.757 | 291.108 | 2.899 | 302.567 | 3.127 | 313.067 | 21.252 | 889.233 | 14.488 | 0.080294
2020-06-23 12:30:00 | 1.689 | 206.92 | 1.565 | 251.577 | 1.438 | 258.833 | 1.527 | 232.917 | 22.131 | 889.567 | 13.349 | 0.19896
2020-06-23 12:45:00 | 2.056 | 90.668 | 2.373 | 160.226 | 2.223 | 168.983 | 2.612 | 195.6 | 22.394 | 889.333 | 13.289 | 0.37092
2020-06-23 13:00:00 | 1.736 | 229.267 | 1.197 | 238.817 | 1.42 | 254.167 | 2.057 | 186.108 | 23.502 | 889.267 | 12.685 | 0.15419
2020-06-23 13:15:00 | 2.496 | 188.907 | 2.444 | 213.128 | 2.537 | 228.533 | 2.759 | 226.167 | 23.614 | 889.4 | 11.944 | 0.099479
2020-06-23 13:30:00 | 2.958 | 308.28 | 2.87 | 313.379 | 2.787 | 304.867 | 2.819 | 315.733 | 22.339 | 889.5 | 11.341 | 0.3766
2020-06-23 13:45:00 | 3.669 | 217.7 | 3.547 | 244.451 | 3.328 | 274.033 | 3.44 | 217.6 | 22.464 | 889.3 | 11.489 | 1.0232
2020-06-23 14:00:00 | 4.525 | 288.211 | 4.575 | 299.653 | 4.972 | 297.933 | 5.219 | 293.833 | 23.502 | 889.833 | 11.331 | 0.50592
2020-06-23 14:15:00 | 3.01 | 284.48 | 2.749 | 287.777 | 2.646 | 292.833 | 2.68 | 293.7 | 23.806 | 889.6 | 10.817 | 0.94434
2020-06-23 14:30:00 | 3.959 | 321.253 | 4.165 | 314.595 | 4.476 | 324.867 | 4.797 | 322.433 | 24.706 | 889.433 | 10.096 | 0.96921
2020-06-23 14:45:00 | 3.244 | 307.52 | 3.59 | 299.267 | 3.369 | 309.267 | 3.859 | 301.417 | 24.552 | 889.233 | 10.057 | 1.203
2020-06-23 15:00:00 | 4.227 | 55.545 | 4.146 | 98.595 | 3.826 | 26.834 | 3.721 | 42.467 | 23.948 | 888.8 | 9.904 | 1.8986
2020-06-23 15:15:00 | 3.403 | 228.69 | 3.508 | 270.153 | 3.799 | 306.533 | 4.164 | 327.3 | 24.452 | 888.867 | 10.18 | 1.6556
2020-06-23 15:30:00 | 3.798 | 305.5 | 3.686 | 297.789 | 3.855 | 302.467 | 4.384 | 297.167 | 24.781 | 888.867 | 9.405 | 1.6144
2020-06-23 15:45:00 | 3.045 | 294.56 | 2.84 | 303.315 | 2.579 | 307.2 | 2.838 | 306.2 | 24.873 | 888.867 | 8.886 | 2.5097
2020-06-23 16:00:00 | 2.136 | 120.596 | 1.246 | 155.42 | 1.363 | 181.067 | 2.273 | 149.971 | 25.094 | 888.867 | 9.076 | 4.6848
2020-06-23 16:15:00 | 4.084 | 319.053 | 4.232 | 311.494 | 4.567 | 314.8 | 4.702 | 312 | 25.477 | 889.133 | 8.465 | 3.8861
2020-06-23 16:30:00 | 2.57 | 301.56 | 2.529 | 283.16 | 2.859 | 274.868 | 3.396 | 327.267 | 25.614 | 888.933 | 8.234 | 7.4737
2020-06-23 16:45:00 | 3.043 | 284.373 | 2.959 | 288.286 | 2.789 | 287.067 | 3.212 | 278.95 | 25.885 | 888.733 | 8.128 | 5.9887
2020-06-23 17:00:00 | 2.962 | 249.122 | 3.422 | 312.348 | 4.07 | 287.433 | 4.257 | 315.233 | 26.127 | 889 | 7.983 | 3.3866
2020-06-23 17:15:00 | 3.832 | 141.816 | 4.309 | 267.982 | 4.765 | 250.9 | 5.115 | 285.467 | 25.506 | 888.867 | 8.117 | 6.9557
2020-06-23 17:30:00 | 3.315 | 303.213 | 3.563 | 303.657 | 4.191 | 311.867 | 4.833 | 313.033 | 25.981 | 889 | 7.784 | 7.7992
2020-06-23 17:45:00 | 2.732 | 124.704 | 2.694 | 129.616 | 2.833 | 128.533 | 3.308 | 143.433 | 26.706 | 889 | 7.557 | 4.4688
2020-06-23 18:00:00 | 5.586 | 327.787 | 5.709 | 323.127 | 5.753 | 326.167 | 5.951 | 329.433 | 26.26 | 889.067 | 7.743 | 8.487
2020-06-23 18:15:00 | 2.832 | 335.4 | 2.569 | 324.351 | 2.927 | 332.267 | 3.084 | 336.567 | 26.723 | 888.733 | 7.493 | 7.9782
2020-06-23 18:30:00 | 3.463 | 295.32 | 3.524 | 288.797 | 3.404 | 290.7 | 3.456 | 289.4 | 26.744 | 889 | 7.501 | 3.793
2020-06-23 18:45:00 | 3.808 | 299.453 | 4.016 | 291.71 | 4.276 | 297.8 | 4.775 | 295.067 | 27.573 | 888.733 | 7.395 | 5.0955
2020-06-23 19:00:00 | 3.149 | 152.067 | 3.207 | 217.741 | 3.522 | 203.867 | 3.805 | 225.117 | 26.873 | 888.933 | 7.739 | 9.7156
2020-06-23 19:15:00 | 2.276 | 291.387 | 2.14 | 282.834 | 2.293 | 289 | 2.83 | 284.9 | 27.273 | 888.933 | 7.897 | 8.5161
2020-06-23 19:30:00 | 4.624 | 314.613 | 4.646 | 320.762 | 4.766 | 325.8 | 5.197 | 324.933 | 27.377 | 888.467 | 7.967 | 13.4375
2020-06-23 19:45:00 | 3.294 | 255.173 | 3.146 | 276.208 | 3.072 | 323.933 | 3.625 | 344.267 | 26.994 | 888.733 | 7.971 | 6.938
2020-06-23 20:00:00 | 5.07 | 285.52 | 5.383 | 341.814 | 5.346 | 320.7 | 5.584 | 339.267 | 27.535 | 889.133 | 7.831 | 5.0429
2020-06-23 20:15:00 | 4.761 | 324.267 | 5.016 | 318.827 | 5.27 | 319.2 | 5.606 | 318.6 | 26.873 | 889.133 | 8.033 | 12.0491
2020-06-23 20:30:00 | 3.719 | 105.875 | 3.922 | 212.19 | 3.944 | 94.733 | 4.093 | 152.4 | 27.227 | 889 | 7.733 | 7.2194
2020-06-23 20:45:00 | 4.71 | 331.227 | 4.924 | 327.245 | 5.156 | 320.469 | 5.446 | 307.567 | 26.935 | 889.067 | 7.965 | 3.6239
2020-06-23 21:00:00 | 5.236 | 317.027 | 5.5 | 312.1 | 5.743 | 317.267 | 5.905 | 314.6 | 26.731 | 889.2 | 8.219 | 6.0853
2020-06-23 21:15:00 | 4.811 | 329.12 | 5.305 | 325.264 | 5.457 | 327.367 | 5.758 | 325.533 | 26.123 | 889.2 | 8.234 | 9.0114
2020-06-23 21:30:00 | 3.36 | 331.12 | 4.15 | 323.892 | 4.583 | 326.667 | 4.923 | 325.8 | 25.802 | 888.867 | 8.961 | 6.6935
2020-06-23 21:45:00 | 3.265 | 303.88 | 4.275 | 303.351 | 4.55 | 307.3 | 4.877 | 304.2 | 25.118 | 888.867 | 9.52 | 7.9896
2020-06-23 22:00:00 | 4.174 | 296.747 | 5.722 | 289.887 | 6.029 | 295.133 | 6.414 | 292.367 | 23.81 | 888.467 | 10.125 | 11.6313
2020-06-23 22:15:00 | 4.07 | 291.933 | 5.077 | 290.308 | 5.354 | 293.4 | 5.783 | 289.233 | 24.023 | 889.167 | 10.28 | 12.6033
2020-06-23 22:30:00 | 3.803 | 286.307 | 4.713 | 288.811 | 5.197 | 293.067 | 5.655 | 290.033 | 23.481 | 889.467 | 10.709 | 10.7765
2020-06-23 22:45:00 | 3.979 | 286.533 | 4.485 | 289.758 | 4.87 | 295.567 | 5.388 | 293.6 | 23.064 | 889.567 | 10.836 | 9.3908
2020-06-23 23:00:00 | 4.091 | 276.853 | 4.678 | 290.928 | 4.846 | 298.067 | 5.374 | 293.367 | 22.414 | 889.6 | 10.987 | 9.2509
2020-06-23 23:15:00 | 4.582 | 270.133 | 5.036 | 284.797 | 5.38 | 292.5 | 6.021 | 290.467 | 22.023 | 889.467 | 11.656 | 12.0597
2020-06-23 23:30:00 | 4.517 | 262 | 5.2 | 280.8 | 5.272 | 287.2 | 5.654 | 286.3 | 21.46 | 889.867 | 12.207 | 13.4254
2020-06-23 23:45:00 | 5.099 | 252.34 | 5.736 | 271.355 | 5.889 | 281.067 | 6.172 | 281.633 | 20.66 | 889.567 | 12.901 | 15.5785