## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-24 00:00:00 | 4.944 | 254.887 | 5.853 | 267.857 | 6.01 | 278.4 | 6.252 | 277.433 | 19.794 | 889.367 | 13.583 | 15.4925
2020-06-24 00:15:00 | 5.222 | 251.647 | 6.041 | 266.176 | 6.03 | 277.267 | 6.34 | 276 | 19.514 | 889.267 | 14.205 | 18.1557
2020-06-24 00:30:00 | 5.28 | 260.96 | 6.653 | 272.542 | 6.957 | 280.867 | 7.339 | 278.967 | 19.139 | 889.9 | 14.743 | 26.2831
2020-06-24 00:45:00 | 5.279 | 267.96 | 6.554 | 273.969 | 6.994 | 279.6 | 7.358 | 276.567 | 19.748 | 890 | 15.471 | 27.4478
2020-06-24 01:00:00 | 5.227 | 258.573 | 6.492 | 265.505 | 6.848 | 272.8 | 7.422 | 269.567 | 19.623 | 889.6 | 16.779 | 23.5404
2020-06-24 01:15:00 | 5.132 | 238.32 | 6.207 | 252.491 | 6.383 | 261.533 | 6.472 | 260.183 | 18.36 | 889.333 | 18.008 | 20.9248
2020-06-24 01:30:00 | 5.381 | 243.253 | 6.206 | 251.426 | 6.492 | 261.8 | 6.713 | 261.267 | 17.848 | 889.533 | 19.353 | 20.934
2020-06-24 01:45:00 | 5.496 | 235.16 | 6.531 | 246.309 | 6.695 | 257.7 | 6.853 | 255.45 | 17.389 | 889.9 | 20.2 | 24.0619
2020-06-24 02:00:00 | 5.641 | 245.2 | 6.536 | 253.552 | 6.708 | 262.933 | 6.975 | 262.267 | 17.706 | 889.467 | 20.504 | 24.9146
2020-06-24 02:15:00 | 4.885 | 225.987 | 5.922 | 235.919 | 6.018 | 248.567 | 5.696 | 250.867 | 16.931 | 889.45 | 21.307 | 17.1978
2020-06-24 02:30:00 | 4.903 | 223.507 | 5.225 | 233.494 | 4.989 | 248.067 | 4.983 | 253.717 | 17.064 | 889.75 | 21.429 | 11.7108
2020-06-24 02:45:00 | 4.886 | 216.853 | 5.502 | 229.46 | 5.026 | 244.367 | 4.755 | 249.767 | 16.664 | 890.3 | 21.509 | 11.2845
2020-06-24 03:00:00 | 5.297 | 225.687 | 5.184 | 234.951 | 4.586 | 249.2 | 4.654 | 253.2 | 16.248 | 889.817 | 22.021 | 11.8274
2020-06-24 03:15:00 | 5.849 | 224.22 | 5.581 | 233.741 | 5.12 | 244.067 | 4.808 | 247.067 | 16.414 | 889.683 | 22.021 | 12.2821
2020-06-24 03:30:00 | 6.054 | 222.473 | 6.349 | 230.178 | 6.143 | 236.4 | 5.61 | 233.233 | 16.094 | 889.583 | 22.331 | 14.9098
2020-06-24 03:45:00 | 6.095 | 223.707 | 6.122 | 234.419 | 5.892 | 242.967 | 5.662 | 242.367 | 15.994 | 889.817 | 22.544 | 15.3781
2020-06-24 04:00:00 | 6.378 | 227.033 | 5.87 | 238.63 | 5.727 | 248.3 | 5.706 | 246.7 | 16.258 | 889.267 | 22.315 | 15.803
2020-06-24 04:15:00 | 6.749 | 225.973 | 6.881 | 234.265 | 6.3 | 242.7 | 5.788 | 241.7 | 15.134 | 889.117 | 22.432 | 20.2149
2020-06-24 04:30:00 | 6.21 | 223.24 | 7.605 | 228.643 | 7.192 | 236.7 | 6.607 | 232.667 | 15.48 | 889.567 | 22.411 | 26.1666
2020-06-24 04:45:00 | 5.953 | 224.613 | 7.119 | 231.88 | 6.879 | 240.533 | 6.534 | 238.567 | 15.176 | 889.917 | 22.651 | 25.9876
2020-06-24 05:00:00 | 6.351 | 218.233 | 7.747 | 225.8 | 7.596 | 235.267 | 6.843 | 234.667 | 15.108 | 890.35 | 23.115 | 28.2123
2020-06-24 05:15:00 | 6.426 | 221.033 | 7.451 | 228.982 | 7.061 | 238.433 | 6.498 | 238.167 | 14.641 | 889.383 | 23.349 | 26.6811
2020-06-24 05:30:00 | 6.56 | 215.767 | 7.87 | 223.449 | 7.858 | 232.133 | 7.256 | 229.1 | 15.074 | 889.333 | 23.536 | 30.9054
2020-06-24 05:45:00 | 7.216 | 214.387 | 8.091 | 222.414 | 7.995 | 230.7 | 7.502 | 227.933 | 14.32 | 889.6 | 24.085 | 32.0245
2020-06-24 06:00:00 | 6.128 | 215.9 | 7.357 | 225.719 | 7.447 | 234.1 | 7.008 | 231.267 | 14.691 | 889.55 | 24.331 | 27.1614
2020-06-24 06:15:00 | 6.29 | 213.2 | 7.678 | 220.705 | 7.454 | 230.3 | 6.926 | 228.567 | 14.624 | 889.717 | 24.293 | 23.7542
2020-06-24 06:30:00 | 5.612 | 214.6 | 6.926 | 223.143 | 6.825 | 231.933 | 6.43 | 229.3 | 15.058 | 890.4 | 23.947 | 20.9233
2020-06-24 06:45:00 | 5.704 | 213.547 | 7.631 | 218.636 | 7.14 | 226.6 | 6.844 | 224.933 | 15.74 | 889.6 | 23.397 | 23.6654
2020-06-24 07:00:00 | 5.207 | 217.68 | 7.284 | 220.429 | 6.985 | 230.067 | 6.812 | 227.767 | 16.831 | 890 | 21.861 | 22.9428
2020-06-24 07:15:00 | 5.292 | 225.693 | 6.769 | 227.465 | 6.9 | 235.067 | 6.474 | 232.967 | 18.373 | 889.617 | 20.443 | 19.5434
2020-06-24 07:30:00 | 4.691 | 223.147 | 5.948 | 225.433 | 6.302 | 235.133 | 5.918 | 233.333 | 18.985 | 889.467 | 19.725 | 17.3293
2020-06-24 07:45:00 | 4.091 | 227.64 | 5.277 | 227.369 | 5.544 | 234.9 | 5.329 | 234.167 | 20.114 | 889.567 | 18.552 | 12.9671
2020-06-24 08:00:00 | 3.748 | 230.287 | 3.869 | 229.138 | 4.06 | 236.567 | 4.281 | 237.633 | 21.948 | 889.9 | 16.419 | 5.7215
2020-06-24 08:15:00 | 3.779 | 231.833 | 3.773 | 228.481 | 3.967 | 237.833 | 4.002 | 236.333 | 23.298 | 889.767 | 14.837 | 4.5405
2020-06-24 08:30:00 | 3.282 | 244.48 | 3.252 | 239.834 | 3.345 | 243.8 | 3.233 | 238.533 | 24.148 | 889.333 | 13.92 | 2.1445
2020-06-24 08:45:00 | 3.199 | 261.593 | 3.304 | 260.09 | 3.247 | 261.533 | 3.377 | 252.85 | 24.952 | 889.433 | 13.177 | 3.064
2020-06-24 09:00:00 | 3.593 | 269.213 | 3.886 | 266.361 | 3.791 | 272.7 | 4.112 | 268.083 | 24.498 | 889.6 | 13.088 | 3.0974
2020-06-24 09:15:00 | 3.48 | 331.933 | 3.59 | 329.253 | 3.614 | 331.6 | 3.627 | 327.3 | 24.223 | 889.8 | 13.161 | 2.6227
2020-06-24 09:30:00 | 3.499 | 314.4 | 3.432 | 308.905 | 3.474 | 310.033 | 3.773 | 310.533 | 24.548 | 889.8 | 12.788 | 1.1056
2020-06-24 09:45:00 | 3.288 | 301.76 | 3.218 | 300.278 | 3.514 | 304.033 | 3.51 | 307.467 | 24.627 | 889.467 | 12.544 | 0.96353
2020-06-24 10:00:00 | 1.931 | 304.54 | 2.31 | 307.082 | 2.238 | 306.833 | 3.239 | 307.233 | 25.089 | 889.767 | 11.913 | 0.43487
2020-06-24 10:15:00 | 2.643 | 257.427 | 2.61 | 302.767 | 2.513 | 309.9 | 3.042 | 310.467 | 25.568 | 889.467 | 11.375 | 0.17977
2020-06-24 10:30:00 | 3.339 | 323.053 | 3.195 | 322.607 | 3.086 | 328.667 | 3.599 | 326.333 | 25.735 | 889.3 | 11.319 | 0.40573
2020-06-24 10:45:00 | 2.594 | 217.315 | 2.821 | 253.302 | 2.701 | 236.033 | 3.167 | 234.433 | 26.26 | 889.533 | 10.937 | 0.98698
2020-06-24 11:00:00 | 3.658 | 326.813 | 3.464 | 321.417 | 3.476 | 323.133 | 3.752 | 319.133 | 26.252 | 889.333 | 10.667 | 0.91237
2020-06-24 11:15:00 | 1.243 | 261.247 | 0.874 | 264.369 | 0.517 | 261.3 | 1.646 | 223.517 | 27.218 | 889.333 | 10.505 | 1.4027
2020-06-24 11:30:00 | 2.14 | 234.887 | 1.98 | 228.387 | 1.86 | 230.75 | 2.291 | 238.817 | 26.789 | 889.4 | 10.382 | 2.5268
2020-06-24 11:45:00 | 3.452 | 117.101 | 3.6 | 189.279 | 3.372 | 166.367 | 3.317 | 174.767 | 26.839 | 889.533 | 10.497 | 2.0862
2020-06-24 12:00:00 | 1.884 | 180.112 | 2.165 | 247.356 | 2.331 | 254.1 | 2.768 | 286.533 | 27.331 | 889.733 | 10.251 | 1.0325
2020-06-24 12:15:00 | 1.682 | 101.098 | 1.405 | 100.722 | 1.202 | 114.667 | 1.304 | 249.767 | 27.802 | 889.1 | 9.975 | 2.0763
2020-06-24 12:30:00 | 4.866 | 326.6 | 5.119 | 315.519 | 5.066 | 321.833 | 5.292 | 325.8 | 27.723 | 889.133 | 9.773 | 2.5289
2020-06-24 12:45:00 | 5.97 | 318.76 | 6.206 | 312.414 | 6.453 | 322.2 | 6.784 | 321.667 | 28.039 | 889.167 | 10.076 | 4.6926
2020-06-24 13:00:00 | 3.937 | 110.92 | 3.825 | 139.997 | 3.982 | 111.304 | 4.13 | 62.067 | 27.027 | 889.6 | 10.98 | 10.1945
2020-06-24 13:15:00 | 1.214 | 168.586 | 1.044 | 166.19 | 1.152 | 176.833 | 1.728 | 178.733 | 27.427 | 889.7 | 10.653 | 2.8551
2020-06-24 13:30:00 | 6.286 | 300.227 | 6.346 | 294.959 | 6.683 | 301.667 | 6.945 | 301.333 | 27.914 | 889.067 | 9.936 | 9.3312
2020-06-24 13:45:00 | 5.143 | 277.527 | 5.489 | 277.051 | 5.555 | 277.3 | 5.869 | 273.75 | 27.981 | 888.933 | 9.884 | 18.2047
2020-06-24 14:00:00 | 3.1 | 267.288 | 3.212 | 313.567 | 3.232 | 294.233 | 3.644 | 266.9 | 27.544 | 889.267 | 9.505 | 11.6561
2020-06-24 14:15:00 | 7.972 | 312.6 | 8.455 | 303.348 | 8.452 | 308.2 | 8.679 | 305.667 | 28.252 | 889.133 | 9.08 | 18.4776
2020-06-24 14:30:00 | 3.837 | 295.287 | 4.276 | 291.996 | 4.426 | 300.2 | 4.486 | 296.533 | 28.035 | 888.733 | 9.35 | 16.1704
2020-06-24 14:45:00 | 6.52 | 319.907 | 6.659 | 313.658 | 6.737 | 319.233 | 6.926 | 316.567 | 28.481 | 889.167 | 10.097 | 25.0539
2020-06-24 15:00:00 | 7.526 | 331.147 | 7.558 | 324.349 | 7.853 | 326.833 | 8.278 | 324.167 | 28.348 | 889.133 | 10.034 | 22.3743
2020-06-24 15:15:00 | 6.947 | 307.16 | 7.071 | 303.155 | 6.927 | 307.9 | 7.619 | 304.267 | 28.956 | 889.133 | 9.852 | 18.0278
2020-06-24 15:30:00 | 5.08 | 326.8 | 5.413 | 322.919 | 5.489 | 327.2 | 5.714 | 326.833 | 28.148 | 889.533 | 10.303 | 31.5307
2020-06-24 15:45:00 | 4.86 | 279.755 | 5.469 | 313.298 | 5.452 | 311.433 | 6.042 | 304.367 | 28.264 | 888.7 | 10.173 | 31.0283
2020-06-24 16:00:00 | 7.942 | 284.213 | 8.438 | 279.033 | 8.23 | 282.433 | 8.471 | 280.7 | 28.518 | 888.8 | 9.285 | 28.7254
2020-06-24 16:15:00 | 8.889 | 299.853 | 9.056 | 292.466 | 9.385 | 299.633 | 9.42 | 295.467 | 28.664 | 888.867 | 9.418 | 37.0454
2020-06-24 16:30:00 | 8.879 | 301.333 | 9.015 | 295.54 | 9.086 | 298.8 | 9.634 | 294.467 | 28.439 | 889 | 8.685 | 45.9808
2020-06-24 16:45:00 | 9.531 | 331.027 | 9.812 | 324.758 | 9.926 | 328.8 | 10.124 | 326.767 | 28.585 | 889.267 | 9.038 | 37.1577
2020-06-24 17:00:00 | 6.21 | 296.56 | 6.42 | 292.243 | 6.477 | 296.7 | 6.748 | 295.567 | 28.194 | 889.2 | 8.951 | 35.8289
2020-06-24 17:15:00 | 9.344 | 315.653 | 9.876 | 310 | 9.908 | 315.267 | 10.336 | 313.467 | 27.968 | 889.1 | 9.997 | 60.1083
2020-06-24 17:30:00 | 9.883 | 294.573 | 10.775 | 288.245 | 10.852 | 294.4 | 11.206 | 290.9 | 27.439 | 889.2 | 10.255 | 68.8006
2020-06-24 17:45:00 | 8.875 | 300.96 | 9.343 | 296.686 | 9.557 | 300.9 | 10.128 | 298.9 | 27.052 | 889.533 | 10.567 | 70.3049
2020-06-24 18:00:00 | 8.575 | 305.44 | 9.296 | 300.921 | 9.484 | 305.333 | 9.804 | 304.6 | 26.914 | 889.3 | 10.517 | 62.888
2020-06-24 18:15:00 | 7.918 | 313.533 | 8.405 | 304.819 | 8.684 | 310.1 | 9.282 | 308.533 | 26.327 | 889.167 | 10.516 | 52.9209
2020-06-24 18:30:00 | 7.875 | 313.627 | 8.534 | 308.471 | 8.759 | 312.467 | 9.154 | 309.667 | 26.302 | 889.333 | 11.781 | 43.9429
2020-06-24 18:45:00 | 7.133 | 300.693 | 7.618 | 291.45 | 7.901 | 296.4 | 8.134 | 294.133 | 26.627 | 889.5 | 13.889 | 44.9028
2020-06-24 19:00:00 | 8.296 | 288.88 | 8.814 | 284.677 | 8.825 | 288.433 | 9.054 | 287.433 | 26.614 | 889.733 | 17.277 | 40.3389
2020-06-24 19:15:00 | 7.678 | 295.52 | 7.962 | 289.754 | 8.386 | 295.5 | 9.073 | 292.267 | 26.639 | 889.233 | 16.493 | 32.7877
2020-06-24 19:30:00 | 8.574 | 298.893 | 9.141 | 291.448 | 9.373 | 295.6 | 9.918 | 293.2 | 26.764 | 889.333 | 14.831 | 52.2963
2020-06-24 19:45:00 | 8.367 | 298.4 | 9.264 | 292.807 | 9.348 | 297.2 | 9.618 | 293.3 | 26.527 | 889.767 | 14.387 | 61.4683
2020-06-24 20:00:00 | 8.539 | 301.707 | 9.206 | 294.288 | 9.402 | 298.567 | 10.035 | 297.5 | 25.718 | 889.8 | 14.413 | 62.677
2020-06-24 20:15:00 | 9.049 | 304.08 | 9.652 | 298.139 | 10.037 | 301.6 | 10.678 | 299.967 | 25.66 | 889.567 | 14.467 | 57.6092
2020-06-24 20:30:00 | 7.88 | 296.613 | 8.536 | 292.307 | 8.891 | 297.867 | 9.32 | 294.833 | 25.831 | 889.2 | 14.867 | 50.4758
2020-06-24 20:45:00 | 7.175 | 299.547 | 7.884 | 290.938 | 7.893 | 295.067 | 8.118 | 291.2 | 25.373 | 889.6 | 14.684 | 36.3526
2020-06-24 21:00:00 | 8.284 | 279.253 | 9.481 | 272.375 | 9.792 | 277.433 | 10.08 | 272.6 | 25.785 | 889.433 | 16.119 | 46.0063
2020-06-24 21:15:00 | 7.186 | 278.533 | 7.868 | 274.327 | 8.009 | 278.667 | 8.557 | 275.767 | 25.223 | 889.333 | 16.429 | 40.1584
2020-06-24 21:30:00 | 5.656 | 273.707 | 6.672 | 267.112 | 6.916 | 274 | 7.12 | 269.9 | 24.756 | 889.267 | 17.359 | 28.7175
2020-06-24 21:45:00 | 4.739 | 278.467 | 5.865 | 271.507 | 6.017 | 276.5 | 6.135 | 273.6 | 24.415 | 888.167 | 18.572 | 20.492
2020-06-24 22:00:00 | 5.623 | 286.787 | 6.702 | 282.199 | 6.876 | 285.667 | 7.428 | 282.133 | 23.768 | 889.783 | 21.045 | 28.3331
2020-06-24 22:15:00 | 6.816 | 289.413 | 7.82 | 281.46 | 8.109 | 284.933 | 8.668 | 282.167 | 23.602 | 889.867 | 21.613 | 38.7074
2020-06-24 22:30:00 | 6.032 | 284.493 | 7.125 | 280.592 | 7.422 | 285.033 | 7.982 | 281.867 | 23.885 | 889.567 | 21.875 | 36.5388
2020-06-24 22:45:00 | 6.242 | 284.64 | 7.348 | 280.307 | 7.54 | 283.267 | 7.934 | 281.2 | 23.431 | 889.817 | 22.355 | 36.4954
2020-06-24 23:00:00 | 5.952 | 277.08 | 7.312 | 272.086 | 7.53 | 277.4 | 7.988 | 273.767 | 23.531 | 889.8 | 22.539 | 35.512
2020-06-24 23:15:00 | 6.884 | 285.32 | 7.917 | 279.882 | 8.366 | 283.7 | 8.828 | 282.167 | 23.264 | 889.317 | 22.357 | 40.5414
2020-06-24 23:30:00 | 5.961 | 286.933 | 7.104 | 282.25 | 7.401 | 284.233 | 7.788 | 282.8 | 22.998 | 889.6 | 22.28 | 33.1025
2020-06-24 23:45:00 | 5.099 | 279.92 | 6.365 | 276.409 | 6.861 | 280.5 | 7.466 | 277.933 | 23.048 | 889.767 | 22.643 | 32.5447