## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-25 00:00:00 | 7.164 | 279.773 | 8.526 | 274.325 | 8.745 | 279.067 | 9.185 | 275.833 | 22.864 | 889.767 | 22.845 | 44.1624
2020-06-25 00:15:00 | 6.263 | 274.587 | 7.505 | 271.229 | 8.023 | 276.133 | 8.447 | 271.5 | 22.664 | 889.283 | 23.475 | 48.5843
2020-06-25 00:30:00 | 6.587 | 264.233 | 8.129 | 263.199 | 8.73 | 269.367 | 9.17 | 266.267 | 22.631 | 890.017 | 24.312 | 53.2328
2020-06-25 00:45:00 | 7.63 | 269.167 | 8.557 | 267.124 | 9.065 | 269.467 | 9.235 | 268.45 | 22.31 | 889.933 | 25.125 | 58.5052
2020-06-25 01:00:00 | 7.148 | 261.64 | 8.093 | 259.366 | 8.426 | 263.883 | 8.716 | 260.117 | 22.077 | 889.617 | 25.608 | 53.6776
2020-06-25 01:15:00 | 7.342 | 263.213 | 8.47 | 259.937 | 9.04 | 265.133 | 9.082 | 260.6 | 21.952 | 889.683 | 25.939 | 55.7646
2020-06-25 01:30:00 | 7.36 | 264.787 | 8.13 | 259.701 | 8.696 | 266.233 | 9.122 | 261.883 | 21.606 | 889.717 | 26.08 | 56.0936
2020-06-25 01:45:00 | 7.913 | 267.087 | 9.025 | 263.647 | 9.367 | 268.833 | 9.46 | 264.7 | 21.898 | 889.917 | 26.307 | 63.9574
2020-06-25 02:00:00 | 7.827 | 262.753 | 9.441 | 262.233 | 9.76 | 267.567 | 9.855 | 263.717 | 21.56 | 889.5 | 26.595 | 65.3331
2020-06-25 02:15:00 | 8.584 | 262.78 | 10.235 | 262.58 | 10.618 | 266.167 | 10.883 | 261.6 | 21.731 | 889.783 | 26.517 | 71.8234
2020-06-25 02:30:00 | 8.852 | 268.527 | 10.4 | 264.128 | 11.012 | 269.533 | 11.305 | 265.8 | 21.356 | 889.933 | 26.683 | 71.6962
2020-06-25 02:45:00 | 9.821 | 272.56 | 11.416 | 267.343 | 12.528 | 272.4 | 12.84 | 267.833 | 21.285 | 889.517 | 26.955 | 67.6026
2020-06-25 03:00:00 | 9.764 | 271.793 | 11.805 | 265.515 | 12.888 | 272.233 | 13.602 | 266 | 20.952 | 889.783 | 27.341 | 63.6675
2020-06-25 03:15:00 | 10.221 | 270.107 | 11.602 | 264.917 | 12.508 | 270.8 | 13.179 | 266.067 | 21.06 | 889.967 | 27.741 | 60.5474
2020-06-25 03:30:00 | 9.554 | 266.533 | 10.878 | 261.427 | 12.083 | 266.367 | 12.76 | 262.867 | 20.706 | 889.483 | 28.115 | 59.9185
2020-06-25 03:45:00 | 9.332 | 269.333 | 11.094 | 264.138 | 12.359 | 270.467 | 13.085 | 267.1 | 20.835 | 890.1 | 28.736 | 59.8716
2020-06-25 04:00:00 | 9.73 | 270.213 | 11.242 | 265.524 | 12.422 | 270.367 | 12.996 | 267.1 | 20.981 | 889.75 | 29.104 | 57.9261
2020-06-25 04:15:00 | 9.146 | 265.287 | 10.624 | 262.126 | 11.497 | 266.167 | 11.778 | 262.267 | 20.806 | 889.933 | 29.512 | 56.4851
2020-06-25 04:30:00 | 8.606 | 256.44 | 10.116 | 254.047 | 10.842 | 256.967 | 11.128 | 252.233 | 20.777 | 889.45 | 29.96 | 58.7731
2020-06-25 04:45:00 | 8.662 | 251.133 | 10.128 | 250.211 | 10.86 | 255.767 | 11.113 | 251.183 | 20.635 | 890.033 | 29.813 | 59.1127
2020-06-25 05:00:00 | 10.742 | 260.8 | 12.152 | 257.849 | 13.198 | 262.067 | 13.357 | 258.967 | 20.218 | 890 | 28.635 | 58.95
2020-06-25 05:15:00 | 10.286 | 257.44 | 11.739 | 254.09 | 12.524 | 259.117 | 13.03 | 255.383 | 20.231 | 889.8 | 28.901 | 57.3306
2020-06-25 05:30:00 | 10.747 | 265.427 | 12.132 | 263.142 | 12.596 | 266.333 | 13.088 | 260.833 | 20.194 | 889.983 | 30.843 | 61.4306
2020-06-25 05:45:00 | 10.819 | 270.187 | 12.284 | 265.976 | 12.912 | 269.667 | 13.717 | 266.067 | 19.656 | 889.733 | 35.28 | 63.2575
2020-06-25 06:00:00 | 10.904 | 270.047 | 12.318 | 265.734 | 12.795 | 270.733 | 13.216 | 265.967 | 19.568 | 889.883 | 39.208 | 64.9088
2020-06-25 06:15:00 | 11.142 | 267.133 | 12.4 | 263.014 | 13.118 | 268.033 | 13.594 | 263.917 | 18.944 | 889.833 | 42.123 | 67.6218
2020-06-25 06:30:00 | 9.026 | 264.607 | 10.346 | 258.46 | 11.084 | 266.133 | 11.317 | 260.333 | 19.323 | 890.167 | 43.435 | 67.3951
2020-06-25 06:45:00 | 10.114 | 265.373 | 11.28 | 261.389 | 11.799 | 264.483 | 12.295 | 260.4 | 19.11 | 890.075 | 44.341 | 62.537
2020-06-25 07:00:00 | 10.597 | 260.66 | 11.799 | 257.84 | 12.413 | 263.133 | 12.748 | 260.767 | 19.539 | 890.075 | 46.037 | 64.2153
2020-06-25 07:15:00 | 10.441 | 266.227 | 11.652 | 262.22 | 12.195 | 266.233 | 12.473 | 261.967 | 19.264 | 889.475 | 46.581 | 68.7139
2020-06-25 07:30:00 | 9.686 | 261.92 | 11.349 | 257.212 | 12.188 | 261.383 | 12.496 | 258.033 | 19.168 | 889.75 | 47.413 | 72.6697
2020-06-25 07:45:00 | 10.26 | 264.76 | 11.515 | 257.451 | 12.312 | 260.983 | 12.371 | 256.667 | 19.044 | 889.75 | 46.603 | 64.9969
2020-06-25 08:00:00 | 11.24 | 262.553 | 12.193 | 257.007 | 12.72 | 260.533 | 12.811 | 256.45 | 19.252 | 889.15 | 46.629 | 59.9398
2020-06-25 08:15:00 | 10.621 | 266.487 | 11.956 | 261.518 | 12.58 | 266.133 | 12.999 | 260.783 | 19.673 | 889.908 | 45.925 | 50.2214
2020-06-25 08:30:00 | 10.81 | 267.607 | 11.768 | 262.389 | 12.019 | 267.833 | 12.206 | 262.35 | 19.606 | 889.817 | 44.821 | 46.2828
2020-06-25 08:45:00 | 9.464 | 271.92 | 10.59 | 265.39 | 11.192 | 269.6 | 11.597 | 266.133 | 19.952 | 889.95 | 43.84 | 41.2086
2020-06-25 09:00:00 | 11.249 | 274.373 | 12.498 | 269.051 | 12.874 | 273.933 | 13.123 | 269.433 | 20.21 | 889.392 | 43.104 | 37.0006
2020-06-25 09:15:00 | 10.029 | 273.927 | 11.206 | 266.101 | 11.599 | 271.533 | 11.822 | 266.65 | 20.581 | 889.917 | 41.227 | 37.3403
2020-06-25 09:30:00 | 11.752 | 273.467 | 12.466 | 267.364 | 12.573 | 273.4 | 12.627 | 269.567 | 21.173 | 890.25 | 40.515 | 37.7943
2020-06-25 09:45:00 | 10.451 | 275.88 | 11.233 | 269.876 | 11.459 | 272.967 | 11.375 | 269.2 | 21.389 | 890.25 | 38.629 | 38.1212
2020-06-25 10:00:00 | 10.768 | 278.733 | 11.242 | 272.977 | 11.266 | 277.267 | 11.49 | 274.433 | 22.481 | 889.933 | 35.88 | 37.6089
2020-06-25 10:15:00 | 10.513 | 284.147 | 11.203 | 277.087 | 10.966 | 281.267 | 11.196 | 280.2 | 23.652 | 889.783 | 32.288 | 37.0909
2020-06-25 10:30:00 | 10.336 | 279.007 | 10.986 | 273.134 | 10.922 | 275.533 | 11.361 | 272.2 | 23.752 | 889.867 | 31.947 | 35.966
2020-06-25 10:45:00 | 9.781 | 281.493 | 10.493 | 274.998 | 10.558 | 278.4 | 10.482 | 276.5 | 24.252 | 889.7 | 30.712 | 36.2282
2020-06-25 11:00:00 | 8.501 | 277.24 | 9.096 | 272.358 | 9.494 | 277.667 | 9.897 | 272.367 | 24.373 | 889.45 | 30.013 | 36.03
2020-06-25 11:15:00 | 7.769 | 314.893 | 8.26 | 309.312 | 8.626 | 314.7 | 8.803 | 311.967 | 25.031 | 889.667 | 26.187 | 39.1103
2020-06-25 11:30:00 | 7.857 | 291.933 | 8.065 | 287.663 | 8.157 | 292 | 8.37 | 291.167 | 24.852 | 890.3 | 25.784 | 45.1189
2020-06-25 11:45:00 | 8.74 | 301.04 | 9.065 | 297.066 | 9.241 | 299.133 | 9.633 | 296.033 | 25.685 | 889.683 | 24.512 | 52.9344
2020-06-25 12:00:00 | 8.487 | 317.133 | 9.183 | 308.872 | 9.351 | 311.733 | 9.596 | 310.033 | 25.156 | 889.85 | 26.045 | 56.5838
2020-06-25 12:15:00 | 8.54 | 292.033 | 9.114 | 284.154 | 9.312 | 289.7 | 9.66 | 289.5 | 25.685 | 889.283 | 25.635 | 57.9957
2020-06-25 12:30:00 | 7.671 | 298.12 | 8.418 | 289.733 | 8.638 | 294.8 | 9.004 | 293.367 | 25.481 | 890.033 | 25.784 | 56.0431
2020-06-25 12:45:00 | 8.257 | 297.347 | 8.712 | 290.282 | 8.893 | 290.233 | 9.666 | 287.867 | 25.66 | 889.783 | 24.395 | 47.7863
2020-06-25 13:00:00 | 9.033 | 317.987 | 9.466 | 311.058 | 9.739 | 313.467 | 10.01 | 313.267 | 26.364 | 889.7 | 23.712 | 51.6738
2020-06-25 13:15:00 | 8.176 | 296.52 | 8.66 | 291.99 | 8.708 | 297.8 | 9.135 | 297.533 | 26.844 | 889.283 | 23.019 | 44.004
2020-06-25 13:30:00 | 7.133 | 286.827 | 7.295 | 282.794 | 7.462 | 287.6 | 7.76 | 286.467 | 26.352 | 889.633 | 23.213 | 45.8749
2020-06-25 13:45:00 | 8.818 | 306.187 | 9.329 | 300.399 | 9.646 | 304.633 | 9.972 | 301.1 | 26.106 | 889.417 | 22.659 | 43.5997
2020-06-25 14:00:00 | 9.204 | 275.82 | 9.652 | 270.842 | 9.978 | 276.233 | 10.113 | 270.633 | 26.21 | 889.5 | 22.456 | 41.4687
2020-06-25 14:15:00 | 6.204 | 310.787 | 6.5 | 305.409 | 6.522 | 306.367 | 6.881 | 303.067 | 26.21 | 890.283 | 22.891 | 37.8448
2020-06-25 14:30:00 | 9.453 | 304.733 | 9.712 | 298.897 | 9.619 | 301.133 | 9.902 | 300.533 | 26.481 | 889.45 | 22.555 | 41.166
2020-06-25 14:45:00 | 7.417 | 278.873 | 8.018 | 274.475 | 8.313 | 277.967 | 8.517 | 271.483 | 26.889 | 889.517 | 22.405 | 41.2903
2020-06-25 15:00:00 | 7.382 | 263.073 | 8.151 | 262.461 | 8.075 | 267 | 8.599 | 264.75 | 27.427 | 889.917 | 20.976 | 38.6783
2020-06-25 15:15:00 | 5.689 | 285.22 | 5.972 | 282.015 | 6.25 | 285.533 | 6.434 | 279.367 | 27.314 | 889.667 | 21.381 | 43.6579
2020-06-25 15:30:00 | 8.711 | 289.933 | 9.231 | 283.573 | 9.154 | 287 | 9.278 | 284.367 | 26.789 | 890 | 21.784 | 43.6686
2020-06-25 15:45:00 | 6.579 | 299.947 | 7.048 | 297.268 | 7.223 | 301.9 | 7.852 | 296.1 | 27.685 | 890 | 21.765 | 34.7872
2020-06-25 16:00:00 | 9.404 | 318.16 | 9.99 | 312.201 | 10.355 | 316.667 | 10.593 | 315 | 27.46 | 889.9 | 20.808 | 42.8365
2020-06-25 16:15:00 | 6.285 | 274.987 | 7.072 | 274.444 | 7.607 | 281.433 | 7.828 | 279.533 | 27.627 | 889.483 | 20.555 | 31.4547
2020-06-25 16:30:00 | 6.206 | 286.693 | 6.458 | 284.796 | 6.767 | 289.183 | 7.268 | 287 | 28.194 | 889.4 | 19.623 | 28.1001
2020-06-25 16:45:00 | 6.689 | 278.68 | 6.899 | 275.313 | 7.202 | 276.4 | 7.478 | 270.567 | 28.081 | 889.9 | 19.785 | 26.4608
2020-06-25 17:00:00 | 6.636 | 280.587 | 7.259 | 272.57 | 7.539 | 278.533 | 7.653 | 276.183 | 28.544 | 889.133 | 18.707 | 26.6868
2020-06-25 17:15:00 | 8.811 | 310.413 | 9.289 | 307.121 | 9.534 | 311.067 | 9.816 | 310.433 | 28.131 | 889.933 | 20.161 | 29.1652
2020-06-25 17:30:00 | 7.311 | 292.067 | 7.771 | 288.86 | 7.869 | 292.267 | 8.065 | 289.967 | 28.268 | 889.667 | 19.987 | 32.3883
2020-06-25 17:45:00 | 7.586 | 299.827 | 8.205 | 293.1 | 8.428 | 299.3 | 8.602 | 296.433 | 27.839 | 890.133 | 21.272 | 42.6766
2020-06-25 18:00:00 | 7.432 | 309.987 | 7.728 | 305.651 | 7.982 | 311.533 | 8.319 | 307.9 | 27.935 | 889.717 | 20.832 | 39.5565
2020-06-25 18:15:00 | 7.22 | 291.773 | 7.71 | 283.728 | 8.025 | 286.967 | 8.207 | 285.5 | 27.852 | 889.017 | 21.072 | 35.227
2020-06-25 18:30:00 | 9.207 | 290.307 | 9.758 | 284.322 | 9.97 | 289.1 | 10.175 | 286.367 | 27.852 | 889.7 | 21.565 | 42.666
2020-06-25 18:45:00 | 8.78 | 284.067 | 9.273 | 279.208 | 9.504 | 282.533 | 9.547 | 279.1 | 27.744 | 889.317 | 21.915 | 43.5101
2020-06-25 19:00:00 | 9.062 | 279.92 | 9.659 | 275.193 | 9.741 | 281.567 | 9.87 | 278.533 | 28.373 | 889.833 | 21.051 | 49.6921
2020-06-25 19:15:00 | 6.753 | 287.307 | 7.237 | 279.003 | 7.403 | 283.367 | 7.624 | 279 | 27.439 | 889.633 | 21.768 | 43.6245
2020-06-25 19:30:00 | 9.006 | 293.2 | 9.838 | 288.64 | 10.145 | 291.367 | 10.5 | 288.5 | 27.452 | 889.933 | 21.597 | 52.0611
2020-06-25 19:45:00 | 7.919 | 293.28 | 8.826 | 285.727 | 9.053 | 291.1 | 9.682 | 288.8 | 27.173 | 889.35 | 21.085 | 58.388
2020-06-25 20:00:00 | 8.56 | 281.373 | 9.261 | 277.746 | 9.751 | 281.5 | 9.983 | 279.8 | 27.544 | 889.567 | 20.668 | 53.3181
2020-06-25 20:15:00 | 8.228 | 293.187 | 9.284 | 286.603 | 9.595 | 289.633 | 10.004 | 287.167 | 27.335 | 889.717 | 20.659 | 58.0583
2020-06-25 20:30:00 | 8.488 | 288.147 | 9.092 | 284.746 | 9.242 | 289.233 | 9.409 | 283.533 | 27.718 | 889.583 | 20.648 | 59.5455
2020-06-25 20:45:00 | 8.282 | 282.24 | 9.152 | 275.523 | 9.41 | 279.733 | 9.729 | 276.4 | 27.523 | 889.85 | 20.363 | 62.3039
2020-06-25 21:00:00 | 8.66 | 284.467 | 9.384 | 276.842 | 9.63 | 281.733 | 10.105 | 276.867 | 27.11 | 889.667 | 20.136 | 56.4083
2020-06-25 21:15:00 | 7.711 | 294.707 | 8.631 | 288.852 | 8.945 | 294.367 | 9.663 | 292.033 | 27.068 | 889.433 | 19.893 | 56.8432
2020-06-25 21:30:00 | 8.17 | 296.467 | 9.34 | 289.047 | 9.898 | 294.4 | 10.641 | 291.333 | 26.668 | 889.333 | 18.007 | 57.9361
2020-06-25 21:45:00 | 6.902 | 291.04 | 7.919 | 286.826 | 8.246 | 290.5 | 8.799 | 287.3 | 26.01 | 889.6 | 17.801 | 46.076
2020-06-25 22:00:00 | 5.377 | 286.733 | 6.517 | 281.344 | 7.031 | 287.3 | 7.698 | 284.333 | 25.918 | 889.433 | 17.057 | 40.7055
2020-06-25 22:15:00 | 5.868 | 285.4 | 7.173 | 282.168 | 7.568 | 286.233 | 8.027 | 284.033 | 25.548 | 889.5 | 16.705 | 37.7851
2020-06-25 22:30:00 | 6.28 | 283.533 | 7.672 | 278.995 | 8.281 | 284.6 | 8.702 | 281.9 | 25.173 | 889.6 | 17.616 | 45.882
2020-06-25 22:45:00 | 6.726 | 282.267 | 8.307 | 277.479 | 8.732 | 282.233 | 9.462 | 280 | 25.039 | 889.567 | 18.288 | 49.1158
2020-06-25 23:00:00 | 6.887 | 283.133 | 8.017 | 278.38 | 8.551 | 282.067 | 9.238 | 279.467 | 25.223 | 889.233 | 18.583 | 49.6672
2020-06-25 23:15:00 | 7.214 | 284.253 | 8.748 | 279.842 | 9.013 | 284.333 | 9.401 | 282.7 | 24.756 | 889.5 | 18.904 | 51.5871
2020-06-25 23:30:00 | 6.792 | 284.467 | 8.247 | 281.232 | 8.886 | 287.267 | 9.347 | 283.033 | 24.581 | 889.167 | 19.46 | 50.7004
2020-06-25 23:45:00 | 6.615 | 281.56 | 8.087 | 278.437 | 8.973 | 284.567 | 9.254 | 279.633 | 24.744 | 889.367 | 19.965 | 41.8666