## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-26 00:00:00 | 6.405 | 279.347 | 7.921 | 274.429 | 8.357 | 278.067 | 8.968 | 277.167 | 23.985 | 889.467 | 20.109 | 38.1887
2020-06-26 00:15:00 | 6.663 | 276.453 | 8.215 | 273.908 | 8.752 | 279.167 | 9.228 | 277.367 | 23.71 | 889.133 | 20.459 | 41.9845
2020-06-26 00:30:00 | 6.166 | 276.32 | 7.574 | 270.693 | 8.173 | 274.9 | 8.527 | 271.9 | 23.298 | 890.15 | 21.659 | 44.7394
2020-06-26 00:45:00 | 6.748 | 265.667 | 7.83 | 264.161 | 8.303 | 270.767 | 8.664 | 266.233 | 22.981 | 889.667 | 22.893 | 47.3621
2020-06-26 01:00:00 | 6.941 | 270.893 | 8.282 | 266.24 | 8.706 | 271.7 | 9.436 | 268.167 | 23.131 | 889.55 | 24.525 | 51.1281
2020-06-26 01:15:00 | 6.645 | 264.367 | 8.011 | 261.117 | 8.839 | 268.5 | 9.132 | 265.833 | 22.664 | 889.783 | 25.837 | 48.374
2020-06-26 01:30:00 | 6.953 | 264.233 | 8.305 | 261.549 | 8.708 | 268.2 | 9.07 | 264.9 | 22.498 | 889.633 | 26.504 | 44.6982
2020-06-26 01:45:00 | 7.176 | 267.333 | 8.717 | 265.943 | 9.456 | 273.967 | 9.989 | 270.1 | 22.348 | 889.65 | 26.763 | 45.0108
2020-06-26 02:00:00 | 6.727 | 270.7 | 8.226 | 268.46 | 9.03 | 274.6 | 9.513 | 271.6 | 22.498 | 889.583 | 26.741 | 44.2264
2020-06-26 02:15:00 | 7.507 | 268.84 | 8.962 | 264.512 | 9.742 | 270.733 | 10.145 | 265.133 | 22.402 | 889.617 | 27.272 | 43.7133
2020-06-26 02:30:00 | 8 | 268.613 | 9.487 | 263.168 | 10.48 | 270.5 | 10.788 | 265.167 | 21.881 | 890.017 | 28.131 | 43.513
2020-06-26 02:45:00 | 8.486 | 268.88 | 9.538 | 266.245 | 10.548 | 269.9 | 11.208 | 267.433 | 21.902 | 889.583 | 28.389 | 42.2894
2020-06-26 03:00:00 | 8.532 | 271.5 | 10.257 | 265.409 | 11.236 | 271.067 | 11.871 | 268.267 | 22.227 | 889.8 | 28.427 | 41.6584
2020-06-26 03:15:00 | 9.13 | 269.333 | 10.951 | 264.328 | 11.563 | 269.4 | 12.01 | 264.9 | 22.564 | 889.533 | 28.432 | 41.8943
2020-06-26 03:30:00 | 9.476 | 274.96 | 10.732 | 269.852 | 11.58 | 274.067 | 11.982 | 269.9 | 22.202 | 889.65 | 28.363 | 41.9213
2020-06-26 03:45:00 | 11.608 | 280 | 13.5 | 276.106 | 14.31 | 279.567 | 15.082 | 276.833 | 22.698 | 889.767 | 27.936 | 47.7195
2020-06-26 04:00:00 | 10.498 | 279.667 | 11.945 | 275.234 | 12.621 | 277.9 | 13.13 | 275.867 | 22.598 | 889.85 | 27.155 | 57.9901
2020-06-26 04:15:00 | 10.317 | 264.807 | 11.803 | 261.347 | 12.243 | 265.3 | 12.437 | 260.933 | 22.914 | 889.617 | 26.84 | 64.3411
2020-06-26 04:30:00 | 11.039 | 261.473 | 12.375 | 257.514 | 13.272 | 261.867 | 13.429 | 257.167 | 22.564 | 889.567 | 26.52 | 70.8179
2020-06-26 04:45:00 | 4.549 | 235.68 | 5.142 | 234.568 | 5.225 | 237.317 | 5.389 | 231.133 | 22.981 | 889.733 | 26.259 | 43.2103
2020-06-26 05:00:00 | 8.763 | 247.833 | 8.613 | 246.12 | 8.834 | 251.233 | 8.588 | 247.467 | 22.514 | 889.733 | 28.12 | 61.14
2020-06-26 05:15:00 | 5.567 | 245.833 | 5.91 | 243.298 | 6.286 | 247.583 | 6.309 | 240.967 | 22.214 | 889.683 | 29.405 | 35.9625
2020-06-26 05:30:00 | 7.123 | 257.913 | 7.468 | 255.708 | 7.748 | 259.317 | 7.745 | 255.267 | 21.739 | 889.517 | 30.547 | 34.1399
2020-06-26 05:45:00 | 6.534 | 240.273 | 7.71 | 238.437 | 8.097 | 242.2 | 8.016 | 236.2 | 21.664 | 889.45 | 31.323 | 30.4705
2020-06-26 06:00:00 | 8.184 | 228.6 | 9.237 | 227.011 | 9.796 | 231.633 | 9.784 | 228.033 | 20.677 | 889.7 | 38.555 | 51.4329
2020-06-26 06:15:00 | 6.876 | 229.693 | 7.991 | 226.54 | 8.752 | 228.617 | 9.046 | 225.817 | 19.748 | 890.35 | 45.024 | 38.7301
2020-06-26 06:30:00 | 6.827 | 206.667 | 7.29 | 204.521 | 7.759 | 208.633 | 8.301 | 204.633 | 18.806 | 890.067 | 49.803 | 54.293
2020-06-26 06:45:00 | 9.647 | 197.6 | 11.502 | 193.791 | 12.302 | 196.1 | 13.086 | 191.6 | 17.335 | 890.175 | 51.168 | 68.8781
2020-06-26 07:00:00 | 7.524 | 182.333 | 8.942 | 181.064 | 10.146 | 183.033 | 11.426 | 179.267 | 17.031 | 890.2 | 56.789 | 43.6387
2020-06-26 07:15:00 | 9.065 | 173.453 | 10.143 | 173.368 | 10.255 | 176.867 | 11.156 | 173.567 | 16.881 | 889.717 | 58.4 | 50.1873
2020-06-26 07:30:00 | 8.496 | 186.367 | 9.616 | 180.769 | 10.195 | 183.5 | 10.977 | 180.9 | 16.548 | 889.933 | 57.344 | 38.6207
2020-06-26 07:45:00 | 10.042 | 185.793 | 11.372 | 182.149 | 12.094 | 183.533 | 12.941 | 180.433 | 16.831 | 890.05 | 54.656 | 39.6084
2020-06-26 08:00:00 | 7.767 | 187.727 | 8.814 | 185.16 | 9.429 | 188.7 | 10.272 | 184.5 | 17.248 | 890.15 | 55.947 | 42.5899
2020-06-26 08:15:00 | 8.693 | 200.787 | 9.563 | 196.344 | 9.99 | 198.367 | 10.298 | 194.067 | 17.064 | 889.867 | 54.368 | 60.9489
2020-06-26 08:30:00 | 10.262 | 191.287 | 11.45 | 187.443 | 12.044 | 190.3 | 13.046 | 184.4 | 16.814 | 889.983 | 55.595 | 63.3108
2020-06-26 08:45:00 | 10.764 | 175.713 | 11.948 | 173.755 | 12.683 | 177.4 | 14.03 | 176.033 | 16.298 | 889.742 | 62.912 | 63.0983
2020-06-26 09:00:00 | 12.579 | 176.447 | 14.337 | 173.476 | 15.438 | 176.867 | 16.004 | 176.8 | 15.673 | 889.775 | 67.36 | 56.878
2020-06-26 09:15:00 | 13.009 | 184.887 | 15.173 | 179.3 | 16.023 | 183.067 | 16.903 | 179.9 | 15.096 | 890.025 | 71.627 | 69.2959
2020-06-26 09:30:00 | 9.926 | 177.52 | 10.985 | 172.48 | 11.873 | 177 | 12.909 | 174.067 | 15.252 | 889.817 | 69.621 | 70.2821
2020-06-26 09:45:00 | 9.564 | 178.747 | 10.922 | 176.671 | 11.705 | 179.133 | 12.564 | 175.767 | 15.78 | 890.358 | 71.243 | 71.4233
2020-06-26 10:00:00 | 8.882 | 179.807 | 9.797 | 174.119 | 10.807 | 175.533 | 11.93 | 174.5 | 15.53 | 889.867 | 70.325 | 76.5891
2020-06-26 10:15:00 | 8.732 | 178.233 | 9.652 | 176.861 | 10.132 | 178.667 | 10.992 | 176.1 | 15.794 | 889.742 | 67.851 | 63.1509
2020-06-26 10:30:00 | 10.132 | 177.213 | 10.897 | 174.156 | 11.64 | 177 | 12.299 | 173.133 | 15.673 | 889.825 | 68.203 | 61.6857
2020-06-26 10:45:00 | 11.148 | 186.66 | 12.677 | 182.226 | 13.028 | 186.5 | 13.679 | 181.767 | 15.528 | 889.592 | 68.725 | 67.1194
2020-06-26 11:00:00 | 11.45 | 184.033 | 12.93 | 179.606 | 13.39 | 181.967 | 14.348 | 179.033 | 15.884 | 889.625 | 65.344 | 76.6922
2020-06-26 11:15:00 | 12.453 | 188.713 | 14.054 | 185.164 | 14.751 | 188.933 | 15.59 | 183.633 | 16.053 | 889.983 | 65.781 | 79.4136
2020-06-26 11:30:00 | 11.224 | 189.273 | 13.127 | 186.956 | 13.914 | 191.7 | 14.729 | 187.033 | 15.514 | 889.925 | 69.973 | 84.4871
2020-06-26 11:45:00 | 9.986 | 192.127 | 11.22 | 189.882 | 11.788 | 193.133 | 12.858 | 189.833 | 15.958 | 889.683 | 68.651 | 81.1666
2020-06-26 12:00:00 | 9.662 | 185.58 | 11.036 | 183.181 | 11.832 | 187.467 | 13.17 | 184.467 | 16.481 | 890.025 | 65.013 | 52.8598
2020-06-26 12:15:00 | 10.659 | 188.147 | 11.098 | 184.41 | 11.161 | 188.9 | 11.579 | 185.667 | 17.635 | 889.733 | 59.787 | 49.2892
2020-06-26 12:30:00 | 11.147 | 183.107 | 11.797 | 180.263 | 11.652 | 185.567 | 12.065 | 182.7 | 17.431 | 889.542 | 57.173 | 47.9846
2020-06-26 12:45:00 | 8.361 | 188.613 | 8.653 | 183.074 | 8.841 | 185.867 | 9.242 | 182 | 18.144 | 889.725 | 54.368 | 50.0495
2020-06-26 13:00:00 | 10.082 | 191.867 | 10.648 | 190.24 | 10.72 | 193.233 | 11.444 | 189.767 | 18.673 | 889.633 | 53.408 | 62.2115
2020-06-26 13:15:00 | 11.708 | 204.027 | 12.251 | 198.991 | 12.435 | 200.933 | 13.031 | 194.9 | 19.048 | 890.15 | 50.368 | 63.9958
2020-06-26 13:30:00 | 11.137 | 207.927 | 11.89 | 202.244 | 12.404 | 204.833 | 12.997 | 200.233 | 20.018 | 890.033 | 47.52 | 65.9122
2020-06-26 13:45:00 | 11.474 | 198.92 | 12.019 | 194.225 | 12.337 | 197.133 | 12.987 | 191.767 | 20.702 | 889.917 | 45.877 | 68.8788
2020-06-26 14:00:00 | 11.799 | 199.453 | 12.745 | 197.288 | 13.1 | 199.367 | 13.692 | 194.433 | 20.244 | 889.708 | 46.645 | 72.2618
2020-06-26 14:15:00 | 12.11 | 199.747 | 12.962 | 195.059 | 13.2 | 197.933 | 13.723 | 194.6 | 20.127 | 889.875 | 46.453 | 77.3452
2020-06-26 14:30:00 | 12.236 | 199.48 | 12.686 | 195.134 | 12.917 | 198.067 | 13.551 | 193.567 | 21.168 | 889.942 | 44.757 | 79.2985
2020-06-26 14:45:00 | 10.654 | 198.973 | 11.246 | 194.276 | 11.552 | 197.333 | 11.952 | 192.967 | 21.527 | 889.842 | 43.808 | 76.0313
2020-06-26 15:00:00 | 13.04 | 197.9 | 13.71 | 193.278 | 13.817 | 196.1 | 14.493 | 190.367 | 21.21 | 889.517 | 44.267 | 79.3895
2020-06-26 15:15:00 | 13.183 | 203.233 | 14.007 | 198.688 | 14.415 | 198.933 | 14.973 | 193.8 | 20.66 | 890.025 | 44.789 | 79.0825
2020-06-26 15:30:00 | 12.179 | 199.293 | 13.534 | 195.156 | 13.978 | 197.467 | 14.445 | 193.167 | 21.923 | 889.733 | 40.939 | 78.8203
2020-06-26 15:45:00 | 13.335 | 193.5 | 14.042 | 191.529 | 14.371 | 194.233 | 14.775 | 191.233 | 22.631 | 889.583 | 38.688 | 78.0565
2020-06-26 16:00:00 | 11.646 | 192.413 | 12.439 | 188.175 | 12.695 | 190.067 | 13.275 | 184.433 | 22.531 | 889.817 | 37.611 | 74.6656
2020-06-26 16:15:00 | 11.562 | 190.033 | 12.299 | 189.808 | 12.101 | 190.667 | 12.631 | 185.933 | 22.531 | 889.667 | 38.923 | 78.4281
2020-06-26 16:30:00 | 11.522 | 192.167 | 12.12 | 187.955 | 12.288 | 189.867 | 12.749 | 184.9 | 22.581 | 889.425 | 40.309 | 80.9719
2020-06-26 16:45:00 | 11.401 | 192.207 | 12.19 | 189.897 | 12.388 | 191.967 | 12.907 | 186.533 | 21.798 | 889.7 | 41.259 | 81.8878
2020-06-26 17:00:00 | 11.524 | 193.72 | 12.145 | 189.596 | 12.288 | 192.067 | 12.871 | 186.133 | 22.048 | 890.008 | 41.365 | 79.3454
2020-06-26 17:15:00 | 12.064 | 191.767 | 12.961 | 187.33 | 12.849 | 187.967 | 13.475 | 183.767 | 22.194 | 889.85 | 39.765 | 71.6955
2020-06-26 17:30:00 | 11.088 | 187.8 | 11.792 | 184.026 | 11.748 | 186.767 | 12.118 | 181.067 | 22.023 | 889.883 | 39.141 | 62.4332
2020-06-26 17:45:00 | 10.666 | 191.44 | 11.619 | 189.207 | 11.842 | 190.9 | 12.288 | 185.1 | 22.173 | 889.65 | 37.931 | 62.8873
2020-06-26 18:00:00 | 10.577 | 192.72 | 11.297 | 189.683 | 11.573 | 192.467 | 12.027 | 187.933 | 22.252 | 889.667 | 37.493 | 69.3669
2020-06-26 18:15:00 | 12.132 | 192.433 | 13.024 | 189.317 | 13.184 | 191.833 | 13.71 | 187.2 | 22.448 | 889.867 | 36.496 | 75.367
2020-06-26 18:30:00 | 11.535 | 190.513 | 12.411 | 187.554 | 12.418 | 190.6 | 12.795 | 185.9 | 22.339 | 889.633 | 37.483 | 76.8499
2020-06-26 18:45:00 | 10.978 | 190.833 | 11.429 | 186.557 | 11.424 | 187 | 11.825 | 182.633 | 22.548 | 889.25 | 37.157 | 59.9718
2020-06-26 19:00:00 | 10.424 | 186.733 | 11.111 | 184.536 | 11.279 | 187.8 | 11.712 | 184.233 | 22.398 | 889.633 | 36.683 | 47.2783
2020-06-26 19:15:00 | 9.72 | 187.833 | 10.668 | 186.787 | 10.708 | 189.433 | 11.552 | 184 | 22.414 | 890.067 | 36.011 | 47.2719
2020-06-26 19:30:00 | 10.78 | 188.34 | 11.466 | 183.404 | 11.499 | 187.633 | 11.888 | 182.867 | 22.227 | 889.683 | 35.829 | 53.1902
2020-06-26 19:45:00 | 10.242 | 189.353 | 10.868 | 185.96 | 11.181 | 188.433 | 11.773 | 185.133 | 22.268 | 889.667 | 35.925 | 49.7645
2020-06-26 20:00:00 | 10.1 | 189.667 | 11.354 | 183.517 | 11.72 | 187.3 | 12.476 | 182.2 | 22.348 | 889.867 | 35.552 | 50.3067
2020-06-26 20:15:00 | 10.54 | 186.707 | 11.442 | 182.374 | 11.875 | 186.267 | 12.661 | 180.933 | 22.023 | 889.217 | 36.037 | 47.2839
2020-06-26 20:30:00 | 9.144 | 182.967 | 10.073 | 179.181 | 10.348 | 180.467 | 10.956 | 177.567 | 21.802 | 890.017 | 35.813 | 41.5525
2020-06-26 20:45:00 | 9.373 | 183.053 | 10.235 | 180.202 | 10.48 | 181.933 | 11.143 | 178.3 | 22.268 | 889.867 | 35.413 | 42.0186
2020-06-26 21:00:00 | 9.486 | 178.067 | 10.723 | 175.886 | 11.026 | 178.533 | 11.977 | 175.9 | 22.26 | 889.167 | 34.699 | 40.9976
2020-06-26 21:15:00 | 8.977 | 174.62 | 9.989 | 175.697 | 10.406 | 177.4 | 11.007 | 175.167 | 21.994 | 889.667 | 34.613 | 35.4111
2020-06-26 21:30:00 | 8.793 | 177.353 | 9.561 | 177.185 | 9.98 | 181.933 | 10.954 | 178.7 | 21.777 | 889.883 | 34.997 | 30.5281
2020-06-26 21:45:00 | 8.387 | 185.2 | 9.507 | 181.395 | 10.081 | 186.567 | 10.725 | 182.033 | 21.26 | 889.733 | 34.901 | 35.9113
2020-06-26 22:00:00 | 6.88 | 185.333 | 8.086 | 182.87 | 8.694 | 186.5 | 9.799 | 183.667 | 21.002 | 889.8 | 35.664 | 37.3055
2020-06-26 22:15:00 | 8.066 | 190.793 | 9.538 | 186.175 | 10.181 | 189.2 | 11.108 | 184.9 | 20.56 | 889.883 | 36.629 | 45.7129
2020-06-26 22:30:00 | 8.558 | 191.327 | 10.215 | 188.83 | 10.784 | 190.833 | 11.781 | 185.667 | 20.26 | 889.717 | 37.285 | 55.4313
2020-06-26 22:45:00 | 8.751 | 193.993 | 10.448 | 190.445 | 11.321 | 191.333 | 12.065 | 185.4 | 20.156 | 889.817 | 38.571 | 53.3678
2020-06-26 23:00:00 | 8.658 | 193.107 | 10.566 | 190.856 | 11.489 | 193.033 | 12.37 | 187.967 | 19.702 | 889.867 | 39.12 | 56.5831
2020-06-26 23:15:00 | 7.437 | 192.473 | 8.66 | 189.679 | 9.27 | 194.367 | 10.182 | 189 | 19.752 | 889.783 | 39.307 | 60.3356
2020-06-26 23:30:00 | 6.651 | 195.453 | 8.37 | 192.872 | 9.167 | 195.533 | 10.077 | 190.267 | 19.306 | 890.217 | 40.517 | 60.7293
2020-06-26 23:45:00 | 6.209 | 198.113 | 8.164 | 196.831 | 9.365 | 199.3 | 10.062 | 192.833 | 19.173 | 889.7 | 40.149 | 58.5862