## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-27 00:00:00 | 6.298 | 205.893 | 7.949 | 200.822 | 9.49 | 201.767 | 10.7 | 195.767 | 18.764 | 890.308 | 41.195 | 56.8986
2020-06-27 00:15:00 | 7.424 | 210.967 | 9.967 | 202.664 | 11.081 | 201.633 | 11.596 | 194.367 | 19.181 | 889.892 | 41.845 | 53.4772
2020-06-27 00:30:00 | 7.054 | 207.307 | 9.172 | 200.637 | 10.469 | 199.867 | 10.746 | 193.333 | 19.089 | 889.992 | 42.453 | 51.1821
2020-06-27 00:45:00 | 7.437 | 212.567 | 9.899 | 203.564 | 10.475 | 202.167 | 10.929 | 195.5 | 18.889 | 889.975 | 42.037 | 49.5585
2020-06-27 01:00:00 | 8.111 | 216.367 | 10.039 | 207.845 | 10.954 | 205.1 | 11.56 | 197.2 | 18.639 | 889.65 | 41.429 | 41.1702
2020-06-27 01:15:00 | 6.958 | 214.733 | 9.037 | 208.989 | 9.959 | 207.567 | 10.155 | 199.9 | 18.539 | 889.983 | 41.931 | 36.1643
2020-06-27 01:30:00 | 6.263 | 219.807 | 7.45 | 213.33 | 7.932 | 212.5 | 9.113 | 204.7 | 17.994 | 889.933 | 44.384 | 36.0357
2020-06-27 01:45:00 | 7.492 | 219.587 | 8.822 | 214.97 | 9.252 | 215.1 | 9.214 | 208.4 | 17.51 | 889.958 | 44.96 | 38.5617
2020-06-27 02:00:00 | 7.658 | 219.887 | 9.076 | 214.545 | 9.649 | 213.733 | 10.453 | 208.633 | 17.631 | 889.475 | 46.656 | 43.179
2020-06-27 02:15:00 | 6.14 | 222.887 | 8.289 | 214.439 | 9.572 | 212.633 | 10.028 | 205.567 | 17.373 | 889.942 | 48.053 | 43.1811
2020-06-27 02:30:00 | 7.374 | 221.367 | 8.779 | 213.702 | 9.448 | 212.7 | 9.824 | 207.467 | 17.214 | 889.475 | 48.107 | 42.9239
2020-06-27 02:45:00 | 6.583 | 213.747 | 8.217 | 211.919 | 9.175 | 212.767 | 10.197 | 208.333 | 17.064 | 889.8 | 48.16 | 46.0682
2020-06-27 03:00:00 | 6.853 | 216.887 | 8.48 | 211.093 | 9.08 | 210.033 | 9.87 | 201.433 | 16.898 | 890.108 | 46.848 | 39.0108
2020-06-27 03:15:00 | 6.675 | 212.14 | 8.406 | 203.982 | 9.551 | 203.533 | 10.466 | 196.5 | 17.064 | 890.325 | 48.832 | 36.0875
2020-06-27 03:30:00 | 6.762 | 214 | 8.785 | 206.251 | 10.041 | 204.9 | 10.567 | 196.867 | 17.556 | 889.808 | 48.544 | 40.0255
2020-06-27 03:45:00 | 7.286 | 208.247 | 9.068 | 202.335 | 10.048 | 202.367 | 10.23 | 195.867 | 17.835 | 890.183 | 45.205 | 49.4959
2020-06-27 04:00:00 | 5.57 | 205.8 | 7.746 | 202.58 | 9.499 | 202.067 | 10.992 | 195.6 | 17.452 | 889.992 | 46.176 | 53.3913
2020-06-27 04:15:00 | 5.136 | 217.747 | 7.204 | 210.59 | 8.49 | 207.467 | 9.182 | 198.867 | 17.081 | 889.933 | 48.213 | 46.643
2020-06-27 04:30:00 | 7.185 | 207.38 | 8.515 | 201.216 | 8.948 | 200.533 | 9.645 | 193.933 | 16.398 | 890.033 | 51.957 | 39.9758
2020-06-27 04:45:00 | 6.246 | 209.773 | 8.514 | 201.651 | 8.952 | 201.9 | 9.458 | 196.5 | 16.431 | 889.542 | 54.816 | 35.7038
2020-06-27 05:00:00 | 6.01 | 204.8 | 8.312 | 199.45 | 9.143 | 200.133 | 9.34 | 195.7 | 16.091 | 890.008 | 56.416 | 34.8256
2020-06-27 05:15:00 | 5.85 | 203.46 | 8.287 | 198.03 | 9.748 | 199 | 9.946 | 193.533 | 16.322 | 889.892 | 56.363 | 26.6285
2020-06-27 05:30:00 | 5.77 | 211.133 | 8.036 | 203.386 | 8.022 | 203.367 | 7.916 | 198.533 | 15.654 | 889.9 | 56.331 | 21.3348
2020-06-27 05:45:00 | 5.131 | 211.92 | 7.784 | 203.999 | 7.352 | 204.767 | 6.919 | 199.167 | 15.659 | 890.008 | 56.747 | 18.3838
2020-06-27 06:00:00 | 5.52 | 209.9 | 7.644 | 203.871 | 8.028 | 203.467 | 7.537 | 199.067 | 15.521 | 889.808 | 58.389 | 16.6088
2020-06-27 06:15:00 | 4.998 | 205.313 | 6.99 | 198.966 | 6.623 | 200 | 6.196 | 194.867 | 15.55 | 889.35 | 58.709 | 12.5379
2020-06-27 06:30:00 | 3.734 | 212.773 | 5.728 | 199.443 | 6.732 | 198.833 | 6.568 | 193.733 | 15.53 | 889.85 | 59.68 | 9.8563
2020-06-27 06:45:00 | 3.518 | 233.507 | 5.227 | 206.551 | 6.027 | 200.9 | 6.023 | 196.033 | 15.407 | 890.158 | 60.043 | 10.8404
2020-06-27 07:00:00 | 3.308 | 215.887 | 4.908 | 200.739 | 5.254 | 193.5 | 5.658 | 188.3 | 15.336 | 889.275 | 58.741 | 11.6497
2020-06-27 07:15:00 | 3.877 | 227.18 | 4.493 | 209.189 | 4.667 | 202.567 | 5.64 | 192.4 | 16.814 | 889.608 | 54.923 | 10.9122
2020-06-27 07:30:00 | 4.089 | 218.513 | 4.926 | 213.251 | 4.818 | 211.967 | 4.703 | 200.5 | 17.427 | 889.683 | 49.579 | 9.4463
2020-06-27 07:45:00 | 4.037 | 244.633 | 4.453 | 227.502 | 5.087 | 219.733 | 6.017 | 210.1 | 18.423 | 889.842 | 46.645 | 9.8286
2020-06-27 08:00:00 | 4.42 | 230.46 | 5.4 | 218.008 | 6.466 | 213.4 | 7.085 | 206.2 | 18.794 | 889.867 | 44.629 | 11.7784
2020-06-27 08:15:00 | 5.777 | 214.88 | 6.375 | 208.111 | 7.082 | 206.433 | 7.512 | 198.6 | 19.718 | 889.717 | 42.059 | 14.1659
2020-06-27 08:30:00 | 6.277 | 206.08 | 6.485 | 204.768 | 6.692 | 206.633 | 6.976 | 201.633 | 21.014 | 889.283 | 38.795 | 12.8918
2020-06-27 08:45:00 | 5.595 | 209.867 | 5.473 | 207.248 | 5.517 | 207.167 | 5.904 | 201.933 | 22.281 | 889.75 | 35.477 | 12.8925
2020-06-27 09:00:00 | 6.46 | 201.8 | 6.57 | 198.145 | 6.709 | 200.1 | 6.916 | 194.133 | 23.064 | 889.917 | 33.173 | 10.1462
2020-06-27 09:15:00 | 5.269 | 186.167 | 5.41 | 181.87 | 5.398 | 185.667 | 5.635 | 180.633 | 23.181 | 889.767 | 32.309 | 9.4264
2020-06-27 09:30:00 | 4.896 | 192.447 | 5.021 | 188.831 | 5.08 | 191.733 | 5.421 | 186.967 | 24.031 | 889.95 | 31.408 | 11.3129
2020-06-27 09:45:00 | 4.852 | 204.933 | 5.023 | 198.781 | 5.088 | 200.367 | 5.405 | 196.7 | 24.444 | 889.933 | 29.621 | 9.7149
2020-06-27 10:00:00 | 4.613 | 182.88 | 4.918 | 186.048 | 4.844 | 188.3 | 5.241 | 186.267 | 25.048 | 890 | 27.579 | 4.0751
2020-06-27 10:15:00 | 3.999 | 208.433 | 4.027 | 203.251 | 4.074 | 205.933 | 4.183 | 200.067 | 25.244 | 889.483 | 26.325 | 0.64662
2020-06-27 10:30:00 | 2.95 | 219.267 | 3.087 | 214.396 | 3.43 | 221.517 | 3.402 | 216.583 | 25.385 | 889.7 | 24.064 | 0.2153
2020-06-27 10:45:00 | 1.07 | 133.197 | 0.713 | 148.836 | 0.5 | 149.667 | 0.849 | 153.4 | 25.402 | 889.9 | 22.997 | 0.20251
2020-06-27 11:00:00 | 0.696 | 37.888 | 0.556 | 27.398 | 0.25 | 35.4 | 0.228 | 44.933 | 26.394 | 889.467 | 22.077 | 0.14069
2020-06-27 11:15:00 | 2.103 | 309.56 | 2.176 | 262.721 | 1.467 | 283.369 | 1.004 | 179.3 | 27.094 | 889.817 | 20.963 | 0.11156
2020-06-27 11:30:00 | 1.539 | 104.87 | 1.237 | 87.002 | 1.076 | 85.367 | 2.093 | 71.067 | 26.71 | 889.6 | 21.648 | 0.11724
2020-06-27 11:45:00 | 1.58 | 95.202 | 1.324 | 77.046 | 1.089 | 83 | 1.666 | 86.367 | 26.648 | 889.733 | 21.632 | 0.16059
2020-06-27 12:00:00 | 2.725 | 99.097 | 3.112 | 98.901 | 3.162 | 103.3 | 3.471 | 94.367 | 27.406 | 889.717 | 21.669 | 0.18546
2020-06-27 12:15:00 | 3.514 | 93.708 | 3.596 | 77.296 | 3.66 | 81.308 | 3.975 | 76.933 | 26.885 | 890.1 | 21.275 | 0.49598
2020-06-27 12:30:00 | 2.602 | 161.43 | 2.709 | 152.373 | 2.472 | 146.3 | 2.984 | 133.3 | 27.189 | 889.4 | 20.176 | 0.60185
2020-06-27 12:45:00 | 4.307 | 69.512 | 4.349 | 68.152 | 4.506 | 77.433 | 4.577 | 74.633 | 27.302 | 889.5 | 19.712 | 0.80152
2020-06-27 13:00:00 | 3.174 | 130.87 | 3.055 | 119.864 | 2.75 | 120.633 | 3.06 | 117.267 | 27.035 | 889.2 | 18.421 | 1.5519
2020-06-27 13:15:00 | 1.687 | 169.4 | 1.625 | 110.071 | 1.881 | 129.2 | 2.824 | 95.242 | 26.564 | 889.667 | 20.184 | 2.2539
2020-06-27 13:30:00 | 3.638 | 115.983 | 3.054 | 119.222 | 2.894 | 128.1 | 3.222 | 124.267 | 26.96 | 889.533 | 19.744 | 1.4865
2020-06-27 13:45:00 | 3.903 | 110.39 | 4.23 | 98.612 | 3.996 | 144.167 | 4.444 | 99.75 | 26.577 | 889.233 | 19.893 | 2.2383
2020-06-27 14:00:00 | 3.434 | 159.082 | 4.041 | 146.394 | 4.813 | 124.767 | 4.935 | 127.7 | 27.523 | 889.767 | 18.561 | 3.157
2020-06-27 14:15:00 | 3.802 | 152.84 | 3.872 | 158.834 | 4.17 | 163.633 | 4.336 | 159.9 | 27.706 | 889.633 | 17.443 | 1.662
2020-06-27 14:30:00 | 4.247 | 64.202 | 4.265 | 63.197 | 4.219 | 65.667 | 4.672 | 64.1 | 28.527 | 889.8 | 16.931 | 0.84131
2020-06-27 14:45:00 | 3.093 | 125.427 | 2.966 | 114.895 | 2.655 | 121.267 | 2.823 | 112.733 | 28.306 | 889.5 | 16.688 | 0.36168
2020-06-27 15:00:00 | 2.25 | 246.527 | 1.915 | 253.68 | 1.58 | 268.75 | 1.829 | 260.817 | 29.564 | 889.667 | 15.279 | 1.1028
2020-06-27 15:15:00 | 1.984 | 75.32 | 2.109 | 64.504 | 2.203 | 78.633 | 2.82 | 114.6 | 29.198 | 889.667 | 15.181 | 1.7693
2020-06-27 15:30:00 | 3.333 | 93.373 | 3.351 | 88.832 | 3.073 | 105.9 | 3.474 | 104.533 | 29.414 | 889.467 | 14.712 | 5.0351
2020-06-27 15:45:00 | 4.652 | 122.16 | 4.488 | 111.589 | 4.644 | 116.567 | 5.292 | 110.3 | 29.498 | 889.567 | 15.387 | 6.9799
2020-06-27 16:00:00 | 4.935 | 88.953 | 5.132 | 76.362 | 5.349 | 83.267 | 5.713 | 77.833 | 29.464 | 889.467 | 16.165 | 6.609
2020-06-27 16:15:00 | 6.622 | 49.8 | 6.369 | 43.731 | 6.185 | 47.7 | 6.248 | 47.633 | 29.548 | 888.9 | 16.765 | 11.2497
2020-06-27 16:30:00 | 4.544 | 70.627 | 4.763 | 75.443 | 4.794 | 86.7 | 5.046 | 83.6 | 29.564 | 889.567 | 16.013 | 8.1054
2020-06-27 16:45:00 | 1.86 | 135.25 | 2.031 | 178.468 | 2.02 | 218.117 | 1.961 | 158.802 | 29.731 | 889.9 | 14.924 | 8.2028
2020-06-27 17:00:00 | 3.265 | 96.687 | 3.477 | 105.536 | 3.353 | 109.167 | 3.634 | 104.133 | 29.181 | 889.133 | 15.685 | 2.2191
2020-06-27 17:15:00 | 1.943 | 136.963 | 2.472 | 153.523 | 2.779 | 161.867 | 3.018 | 162.133 | 30.435 | 889.6 | 14.533 | 2.9908
2020-06-27 17:30:00 | 6.116 | 88.807 | 6.496 | 78.34 | 6.553 | 83.8 | 6.905 | 79.2 | 29.881 | 889.8 | 14.931 | 11.7656
2020-06-27 17:45:00 | 8.119 | 64.247 | 7.927 | 62.797 | 7.923 | 66.333 | 8.301 | 62.933 | 29.114 | 889.6 | 17.299 | 20.0756
2020-06-27 18:00:00 | 6.699 | 83.593 | 6.787 | 80.878 | 6.781 | 85.3 | 7.245 | 83.2 | 29.181 | 889.533 | 17.659 | 21.0278
2020-06-27 18:15:00 | 5.26 | 109.787 | 5.701 | 106.036 | 5.477 | 112.7 | 6.081 | 105 | 29.064 | 889.7 | 17.939 | 33.9864
2020-06-27 18:30:00 | 6.754 | 113.52 | 6.538 | 109.184 | 6.074 | 113.3 | 6.423 | 111.567 | 29.294 | 889.433 | 18.771 | 33.6929
2020-06-27 18:45:00 | 8.019 | 109.707 | 8.227 | 102.917 | 8.162 | 105.7 | 8.352 | 98.967 | 29.348 | 889.533 | 19.435 | 43.0731
2020-06-27 19:00:00 | 5.819 | 88.73 | 5.785 | 88.331 | 5.65 | 89.5 | 6.272 | 84.833 | 28.494 | 889.8 | 20.032 | 36.1572
2020-06-27 19:15:00 | 7.722 | 106.833 | 7.235 | 101.223 | 6.724 | 102.533 | 7.38 | 94.833 | 28.656 | 889.3 | 20.68 | 43.9869
2020-06-27 19:30:00 | 8.607 | 113.09 | 9.028 | 106.892 | 8.651 | 112 | 8.863 | 105.233 | 28.223 | 889.867 | 21.056 | 56.2584
2020-06-27 19:45:00 | 9.041 | 105.98 | 7.643 | 100.075 | 6.142 | 102.8 | 6.786 | 95.633 | 28.189 | 889.617 | 21.739 | 53.694
2020-06-27 20:00:00 | 8.452 | 98.61 | 8.39 | 93.542 | 7.435 | 100 | 6.716 | 95.833 | 27.835 | 889.883 | 21.632 | 48.7193
2020-06-27 20:15:00 | 7.147 | 95.303 | 6.884 | 94.058 | 6 | 98.233 | 6.04 | 92 | 27.86 | 889.483 | 21.765 | 41.5213
2020-06-27 20:30:00 | 5.855 | 98.3 | 5.734 | 91.775 | 5.062 | 95.767 | 5.581 | 91.733 | 27.381 | 889.667 | 22.112 | 36.494
2020-06-27 20:45:00 | 6.977 | 104.457 | 6.498 | 101.767 | 6.372 | 106.533 | 6.798 | 102.9 | 27.394 | 890 | 22.827 | 33.543
2020-06-27 21:00:00 | 6.465 | 102.287 | 5.818 | 98.506 | 4.834 | 99.567 | 5.226 | 96.8 | 27.023 | 890.017 | 22.912 | 28.9243
2020-06-27 21:15:00 | 5.759 | 107.2 | 6.161 | 102.279 | 5.589 | 103.433 | 5.467 | 99.8 | 27.198 | 889.917 | 23.168 | 27.2922
2020-06-27 21:30:00 | 6.353 | 108.347 | 6.373 | 102.876 | 5.839 | 105.767 | 6.135 | 101.333 | 26.431 | 889.9 | 23.717 | 28.2941
2020-06-27 21:45:00 | 5.279 | 108.863 | 5.732 | 104.148 | 5.17 | 109.033 | 5.662 | 106.133 | 25.952 | 889.667 | 24.347 | 21.8421
2020-06-27 22:00:00 | 4.427 | 120.307 | 5.187 | 114.848 | 5.2 | 119.567 | 5.937 | 115.733 | 25.998 | 890.05 | 25.035 | 18.7085
2020-06-27 22:15:00 | 3.683 | 122.063 | 4.501 | 118.72 | 4.686 | 122.933 | 5.372 | 118.067 | 25.273 | 889.667 | 25.893 | 17.7478
2020-06-27 22:30:00 | 4.078 | 125.67 | 4.92 | 119.409 | 4.701 | 126.667 | 5.284 | 123 | 25.348 | 889.7 | 26.491 | 14.6469
2020-06-27 22:45:00 | 3.571 | 131.283 | 3.961 | 126.802 | 2.998 | 137.467 | 3.371 | 133.767 | 24.698 | 889.783 | 27.216 | 10.4382
2020-06-27 23:00:00 | 3.681 | 145.333 | 3.789 | 138.31 | 3.821 | 144.433 | 4.642 | 141.667 | 24.614 | 889.65 | 28.064 | 7.5619
2020-06-27 23:15:00 | 3.094 | 138.337 | 2.746 | 132.362 | 2.155 | 137.633 | 2.809 | 127.567 | 24.014 | 889.683 | 28.363 | 4.7516
2020-06-27 23:30:00 | 3.024 | 152.807 | 3.298 | 139.486 | 3.295 | 144.1 | 4.048 | 139.3 | 23.948 | 889.767 | 28.795 | 2.2589
2020-06-27 23:45:00 | 2.48 | 151.227 | 2.164 | 131.734 | 1.748 | 129.167 | 1.901 | 125.667 | 23.914 | 889.667 | 29.792 | 0.71625