## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-28 00:00:00 | 2.213 | 139.047 | 1.754 | 122.908 | 1.184 | 128.7 | 2.087 | 124.9 | 23.789 | 889.567 | 29.653 | 0.51729
2020-06-28 00:15:00 | 1.364 | 158.013 | 0.153 | 133.488 | 0.263 | 125.1 | 1.475 | 124.033 | 23.794 | 889.667 | 29.797 | 0.12719
2020-06-28 00:30:00 | 2.095 | 201.427 | 0.183 | 140.745 | 0.287 | 117.867 | 1.519 | 120 | 23.298 | 890.167 | 30.629 | 0.3027
2020-06-28 00:45:00 | 2.453 | 200.073 | 1.011 | 152.531 | 0.157 | 136.933 | 1.927 | 134 | 22.277 | 890.417 | 29.968 | 0.20891
2020-06-28 01:00:00 | 4.708 | 226.64 | 4.214 | 217.276 | 3.912 | 216.567 | 3.988 | 205.5 | 22.26 | 889.8 | 29.659 | 0.95216
2020-06-28 01:15:00 | 1.025 | 247.187 | 0.694 | 271.784 | 0 | 244 | 0.594 | 237.133 | 21.231 | 889.717 | 30.464 | 0.25794
2020-06-28 01:30:00 | 3.436 | 252.907 | 1.713 | 275.452 | 0.67 | 252.833 | 1.472 | 239.333 | 22.594 | 889.8 | 29.565 | 0.17906
2020-06-28 01:45:00 | 3.777 | 235.32 | 3.25 | 263.832 | 2.666 | 272 | 2.649 | 264.567 | 20.414 | 889.717 | 31.384 | 0.14425
2020-06-28 02:00:00 | 5.559 | 243.433 | 5.369 | 252.188 | 3.73 | 266.4 | 3.418 | 264.9 | 19.689 | 889.567 | 33.045 | 2.0621
2020-06-28 02:15:00 | 4.586 | 245.467 | 4.65 | 265.688 | 4.107 | 285.333 | 4.345 | 296.733 | 19.573 | 889.867 | 34.576 | 5.0749
2020-06-28 02:30:00 | 3.852 | 235.7 | 3.434 | 265.575 | 2.704 | 283.6 | 2.761 | 301.4 | 19.214 | 889.617 | 35.443 | 0.58906
2020-06-28 02:45:00 | 3.871 | 245.04 | 2.776 | 278.472 | 2.244 | 296.067 | 2.656 | 302 | 19.514 | 889.967 | 34.931 | 0.2757
2020-06-28 03:00:00 | 4.291 | 239.033 | 5.657 | 263.725 | 5.056 | 278.467 | 4.795 | 277.9 | 19.11 | 889.5 | 35.269 | 3.8641
2020-06-28 03:15:00 | 3.573 | 256.127 | 4.668 | 282.548 | 4.732 | 292.733 | 5.118 | 293 | 18.744 | 889.883 | 34.952 | 3.0426
2020-06-28 03:30:00 | 3.006 | 209.72 | 4.147 | 266.244 | 4.107 | 284.267 | 4.266 | 291.133 | 18.394 | 890.067 | 36.376 | 0.99195
2020-06-28 03:45:00 | 3.921 | 209.247 | 3.312 | 241.385 | 3.389 | 278.333 | 3.581 | 286.567 | 17.685 | 889.583 | 38.581 | 1.3693
2020-06-28 04:00:00 | 4.494 | 214.447 | 3.503 | 224.158 | 2.44 | 253.733 | 2.852 | 289.133 | 18.023 | 889.583 | 39.013 | 0.20749
2020-06-28 04:15:00 | 4.542 | 218.887 | 3.79 | 230.699 | 3.128 | 245.633 | 2.951 | 260.8 | 17.577 | 889.65 | 39.189 | 1.5853
2020-06-28 04:30:00 | 4.444 | 228.2 | 3.422 | 235.996 | 2.273 | 253.567 | 2.155 | 264.367 | 18.556 | 889.667 | 38.192 | 0.17267
2020-06-28 04:45:00 | 5.219 | 233.48 | 4.947 | 243.026 | 4.283 | 249.267 | 3.741 | 249 | 18.177 | 889.15 | 38.245 | 2.8998
2020-06-28 05:00:00 | 5.081 | 229 | 4.377 | 236.09 | 4.148 | 244 | 3.931 | 244.067 | 17.418 | 889.883 | 41.707 | 4.6841
2020-06-28 05:15:00 | 4.886 | 221.46 | 4.514 | 233.641 | 3.974 | 237.367 | 3.649 | 230.833 | 17.21 | 890.292 | 43.787 | 3.7646
2020-06-28 05:30:00 | 5.616 | 225.587 | 5.912 | 230.203 | 5.699 | 237.9 | 5.709 | 236.367 | 17.081 | 889.783 | 46.4 | 8.298
2020-06-28 05:45:00 | 4.462 | 241.093 | 5.915 | 247.713 | 5.478 | 259.2 | 5.167 | 256.583 | 16.764 | 889.967 | 46.208 | 10.515
2020-06-28 06:00:00 | 4.478 | 240.707 | 5.256 | 250.654 | 4.542 | 262.7 | 4.188 | 267.967 | 17.298 | 890 | 42.992 | 7.252
2020-06-28 06:15:00 | 5.48 | 250.767 | 5.787 | 264.382 | 5.514 | 274.933 | 5.564 | 276 | 17.706 | 889.575 | 41.723 | 12.1883
2020-06-28 06:30:00 | 4.571 | 264.693 | 5.445 | 270.157 | 5.438 | 278.8 | 5.788 | 276.9 | 18.006 | 889.633 | 39.488 | 12.5138
2020-06-28 06:45:00 | 5.546 | 257.673 | 6.752 | 261.213 | 6.744 | 269.833 | 7.131 | 266 | 17.985 | 889.6 | 39.36 | 32.8502
2020-06-28 07:00:00 | 5.683 | 289.68 | 7.238 | 285.402 | 7.751 | 289.9 | 8.43 | 287.267 | 19.91 | 889.9 | 35.819 | 53.5
2020-06-28 07:15:00 | 6.684 | 290.72 | 7.687 | 284.474 | 8.127 | 288.033 | 8.781 | 286.233 | 20.935 | 889.433 | 37.272 | 48.7442
2020-06-28 07:30:00 | 6.644 | 288.88 | 7.69 | 284.383 | 8.061 | 286.6 | 8.898 | 282.2 | 20.452 | 889.95 | 39.773 | 39.4379
2020-06-28 07:45:00 | 7.262 | 288.813 | 8.136 | 283.916 | 8.427 | 288.133 | 9.086 | 284.2 | 20.877 | 889.883 | 39.587 | 39.6056
2020-06-28 08:00:00 | 7.714 | 285.2 | 8.852 | 280.734 | 8.981 | 283.533 | 9.497 | 280.867 | 20.985 | 889.8 | 38.256 | 50.8752
2020-06-28 08:15:00 | 10.14 | 280.773 | 10.867 | 275.315 | 11.026 | 278.467 | 11.326 | 274.833 | 21.727 | 889.417 | 37.701 | 66.0493
2020-06-28 08:30:00 | 9.837 | 284.733 | 10.955 | 280.821 | 11.064 | 283.4 | 11.392 | 281.167 | 21.481 | 889.767 | 37.293 | 80.2422
2020-06-28 08:45:00 | 11.595 | 284.667 | 12.334 | 277.845 | 12.407 | 282.733 | 12.962 | 279.5 | 21.839 | 889.617 | 36.763 | 80.5264
2020-06-28 09:00:00 | 11.125 | 286.173 | 11.74 | 280.227 | 11.957 | 282.633 | 12.246 | 280.233 | 21.706 | 889.983 | 36.312 | 78.9546
2020-06-28 09:15:00 | 10.406 | 290.613 | 11.062 | 283.188 | 11.276 | 285.933 | 11.672 | 283.067 | 21.627 | 889.9 | 35.888 | 71.1156
2020-06-28 09:30:00 | 9.43 | 281.28 | 9.841 | 277.007 | 9.926 | 282.133 | 10.277 | 280.067 | 21.935 | 889.783 | 35.851 | 62.7622
2020-06-28 09:45:00 | 7.864 | 285.853 | 8.504 | 280.053 | 8.758 | 283.933 | 8.851 | 280.167 | 22.444 | 889.567 | 34.515 | 53.9
2020-06-28 10:00:00 | 9.008 | 292.693 | 9.44 | 288.697 | 9.722 | 291.3 | 10.02 | 289.733 | 22.764 | 889.767 | 32.643 | 55.8818
2020-06-28 10:15:00 | 9.581 | 291.147 | 10.017 | 284.803 | 10.229 | 288.7 | 10.372 | 286.5 | 22.864 | 890.167 | 32.405 | 56.0175
2020-06-28 10:30:00 | 7.591 | 287.267 | 8.62 | 283.376 | 8.784 | 286.333 | 9.081 | 285.5 | 23.694 | 889.717 | 30.965 | 49.0199
2020-06-28 10:45:00 | 7.329 | 296.373 | 7.501 | 291.023 | 7.632 | 298.933 | 8.214 | 294.4 | 24.131 | 889.867 | 29.861 | 42.0577
2020-06-28 11:00:00 | 7.146 | 315.573 | 7.392 | 309.729 | 7.372 | 310.867 | 7.964 | 306.967 | 24.01 | 889.567 | 29.248 | 34.9421
2020-06-28 11:15:00 | 7.677 | 296.613 | 7.768 | 289.546 | 7.909 | 293.933 | 8.302 | 290.3 | 24.406 | 890.083 | 28.376 | 28.5165
2020-06-28 11:30:00 | 8.372 | 302.067 | 8.635 | 293.068 | 8.715 | 298.433 | 8.931 | 296.4 | 25.239 | 889.817 | 27.781 | 29.4594
2020-06-28 11:45:00 | 7.403 | 303.72 | 7.85 | 298.878 | 7.768 | 300.633 | 7.976 | 300.167 | 25.685 | 890.1 | 26.555 | 26.8147
2020-06-28 12:00:00 | 6.152 | 295.733 | 6.373 | 292.912 | 6.534 | 297.633 | 6.887 | 294.333 | 25.327 | 889.3 | 25.957 | 27.6396
2020-06-28 12:15:00 | 8.17 | 309.04 | 8.538 | 300.894 | 8.693 | 305.767 | 8.822 | 303.5 | 26.314 | 890.1 | 25.6 | 32.9667
2020-06-28 12:30:00 | 6.306 | 315.613 | 6.578 | 307.482 | 6.813 | 311.467 | 6.984 | 309.367 | 26.185 | 890.05 | 25.392 | 30.2147
2020-06-28 12:45:00 | 6.446 | 291.147 | 7.002 | 285.61 | 7.221 | 289.967 | 7.536 | 287.167 | 26.064 | 889.95 | 24.568 | 28.1306
2020-06-28 13:00:00 | 7.449 | 303.133 | 7.992 | 297.545 | 8.078 | 301.033 | 8.482 | 296.067 | 26.923 | 889.817 | 24.077 | 31.2344
2020-06-28 13:15:00 | 7.555 | 293.093 | 8.038 | 287.342 | 8.158 | 291.9 | 8.392 | 289.133 | 26.898 | 889.633 | 23.416 | 33.2943
2020-06-28 13:30:00 | 8.105 | 294.32 | 8.349 | 290.228 | 8.664 | 294.867 | 9.214 | 293.167 | 27.523 | 889.717 | 22.731 | 34.0937
2020-06-28 13:45:00 | 7.101 | 297.347 | 7.254 | 289.834 | 7.328 | 293.867 | 7.633 | 291.533 | 27.431 | 890.083 | 22.533 | 31.8426
2020-06-28 14:00:00 | 7.693 | 279.353 | 8.29 | 276.165 | 8.539 | 280.767 | 9.055 | 277.8 | 28.089 | 889.817 | 22.235 | 32.512
2020-06-28 14:15:00 | 7.377 | 300.587 | 8.011 | 293.438 | 8.139 | 299.6 | 8.436 | 296.2 | 28.544 | 889.6 | 21.712 | 34.1328
2020-06-28 14:30:00 | 7.342 | 287.973 | 7.618 | 284.568 | 8.122 | 290.7 | 8.739 | 288.333 | 28.423 | 890.067 | 21.307 | 34.0134
2020-06-28 14:45:00 | 6.149 | 285.18 | 6.487 | 284.119 | 6.826 | 290.6 | 7.032 | 286.25 | 29.16 | 890.083 | 20.733 | 30.1294
2020-06-28 15:00:00 | 6.678 | 307.813 | 6.967 | 303.544 | 7.309 | 309.067 | 7.299 | 309.1 | 28.639 | 889.783 | 20.248 | 21.8947
2020-06-28 15:15:00 | 4.23 | 326.72 | 4.475 | 322.445 | 4.819 | 311.2 | 5.36 | 308 | 28.66 | 889.5 | 19.788 | 19.1576
2020-06-28 15:30:00 | 3.738 | 311.787 | 4.176 | 299.582 | 4.426 | 296 | 5.386 | 290.117 | 28.677 | 889.233 | 19.891 | 14.7265
2020-06-28 15:45:00 | 5.776 | 305.507 | 5.788 | 323.315 | 6.074 | 325.9 | 6.215 | 328.033 | 29.331 | 889.3 | 19.412 | 18.5579
2020-06-28 16:00:00 | 6.114 | 290.28 | 6.654 | 311.733 | 6.718 | 292.2 | 7.201 | 301.567 | 29.664 | 889.9 | 19.305 | 22.8042
2020-06-28 16:15:00 | 3.73 | 199.398 | 3.898 | 249.611 | 4.109 | 289.633 | 4.469 | 299.367 | 29.781 | 889.8 | 18.245 | 14.9617
2020-06-28 16:30:00 | 4.906 | 290.567 | 5.038 | 287.229 | 5.105 | 291.967 | 5.042 | 287.267 | 30.148 | 889.633 | 17.22 | 10.2478
2020-06-28 16:45:00 | 6.548 | 315.547 | 6.945 | 306.703 | 6.904 | 311.167 | 7.127 | 313.167 | 30.36 | 889.267 | 15.903 | 12.5273
2020-06-28 17:00:00 | 5.99 | 320.44 | 5.795 | 314.012 | 5.79 | 312.333 | 5.923 | 311.533 | 30.131 | 889.5 | 14.328 | 10.6656
2020-06-28 17:15:00 | 6.59 | 311.573 | 6.33 | 307.292 | 6.55 | 318.6 | 6.72 | 320.3 | 30.731 | 889.667 | 14.503 | 8.2468
2020-06-28 17:30:00 | 4.144 | 123.329 | 4.63 | 161.879 | 4.895 | 210.702 | 5.379 | 206.4 | 30.594 | 889.567 | 14.28 | 8.5112
2020-06-28 17:45:00 | 5.635 | 328.547 | 6.116 | 318.757 | 6.257 | 311.3 | 6.708 | 312.967 | 30.377 | 889.867 | 14.777 | 12.5642
2020-06-28 18:00:00 | 6.41 | 274.187 | 6.733 | 272.724 | 7.012 | 278.467 | 7.112 | 278 | 31.073 | 889.267 | 14.267 | 12.6346
2020-06-28 18:15:00 | 6.611 | 267.473 | 7.114 | 263.387 | 7.014 | 269.983 | 6.872 | 268.617 | 30.756 | 889.433 | 14.392 | 16.9619
2020-06-28 18:30:00 | 6.359 | 278.587 | 6.657 | 275.734 | 6.794 | 279.917 | 6.794 | 277.883 | 30.514 | 889.533 | 15.451 | 17.7414
2020-06-28 18:45:00 | 6.923 | 281.187 | 7.221 | 274.576 | 7.34 | 278.4 | 7.374 | 274.033 | 31.014 | 889.633 | 15.791 | 25.1832
2020-06-28 19:00:00 | 6.825 | 312.253 | 7.453 | 306.382 | 7.786 | 310.3 | 8.194 | 309.567 | 30.244 | 889.667 | 17.047 | 36.7683
2020-06-28 19:15:00 | 8.377 | 305.44 | 9.171 | 298.203 | 9.396 | 301.367 | 9.768 | 300.2 | 29.96 | 889.733 | 16.993 | 40.7055
2020-06-28 19:30:00 | 8.398 | 298.867 | 8.944 | 294.635 | 8.928 | 299.9 | 9.55 | 297.233 | 30.314 | 889.567 | 17.069 | 47.9156
2020-06-28 19:45:00 | 8.12 | 290.96 | 9.003 | 284.903 | 9.078 | 287.733 | 9.384 | 284.933 | 29.681 | 889.6 | 17.141 | 50.5405
2020-06-28 20:00:00 | 9.056 | 291.907 | 9.538 | 288.233 | 9.864 | 292.133 | 10.29 | 290.533 | 29.464 | 889.567 | 17.404 | 49.2494
2020-06-28 20:15:00 | 10.629 | 289.04 | 11.104 | 284.497 | 11.316 | 290.033 | 11.603 | 286.967 | 29.364 | 889.367 | 17.98 | 65.4879
2020-06-28 20:30:00 | 9.137 | 291.32 | 9.909 | 284.939 | 10.296 | 290.8 | 10.69 | 285.9 | 29.698 | 889.333 | 17.756 | 70.1017
2020-06-28 20:45:00 | 11.137 | 286.467 | 12.527 | 282.904 | 13.22 | 287 | 13.658 | 283.9 | 28.998 | 889.283 | 20.275 | 80.6948
2020-06-28 21:00:00 | 11.075 | 287.227 | 12.466 | 280.183 | 12.856 | 285 | 13.536 | 283.033 | 28.194 | 889.65 | 22.181 | 80.3651
2020-06-28 21:15:00 | 12.965 | 288.773 | 14.674 | 281.442 | 15.205 | 286.333 | 15.619 | 284.233 | 27.439 | 889.983 | 23.488 | 75.3933
2020-06-28 21:30:00 | 12.73 | 286.773 | 14.467 | 281.328 | 14.94 | 286.533 | 15.307 | 283.5 | 27.085 | 890.083 | 24.763 | 74.0538
2020-06-28 21:45:00 | 14.526 | 272.907 | 16.262 | 266.902 | 16.895 | 271.333 | 16.958 | 267.367 | 26.181 | 889.617 | 28.213 | 74.9207
2020-06-28 22:00:00 | 15.003 | 275.24 | 17.066 | 268.232 | 17.819 | 272.7 | 18.363 | 266.433 | 24.723 | 889.283 | 30.781 | 80.3686
2020-06-28 22:15:00 | 15.303 | 272.14 | 17.111 | 265.818 | 17.804 | 270.533 | 17.85 | 267.233 | 24.244 | 889.517 | 30.987 | 80.9158
2020-06-28 22:30:00 | 14.004 | 273.373 | 15.81 | 267.778 | 16.338 | 271.6 | 16.698 | 266.6 | 23.856 | 889.45 | 31.363 | 80.9364
2020-06-28 22:45:00 | 14.313 | 276.347 | 16.074 | 270.598 | 17.087 | 273.967 | 17.609 | 268.133 | 23.498 | 889.8 | 31.251 | 81.1524
2020-06-28 23:00:00 | 13.754 | 277.48 | 15.949 | 270.821 | 16.42 | 274.467 | 17.053 | 271.033 | 23.048 | 889.533 | 32.563 | 82.1778
2020-06-28 23:15:00 | 15.962 | 277.453 | 17.728 | 271.714 | 18.328 | 275.467 | 18.805 | 271.8 | 22.277 | 889.6 | 34.269 | 81.4281
2020-06-28 23:30:00 | 13.15 | 276.36 | 15.374 | 272.08 | 16.122 | 275.133 | 16.748 | 270.967 | 21.76 | 889.717 | 35.552 | 81.5773
2020-06-28 23:45:00 | 13.696 | 274.773 | 15.855 | 268.147 | 16.856 | 273.367 | 17.649 | 270.4 | 21.302 | 889.8 | 36.584 | 79.9167