## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-29 00:00:00 | 15.092 | 274.72 | 16.776 | 268 | 17.424 | 272.467 | 18.037 | 268.433 | 21.227 | 889.65 | 37.272 | 79.1458
2020-06-29 00:15:00 | 13.517 | 274.713 | 15.33 | 268.296 | 16.275 | 274 | 17.139 | 269 | 20.668 | 889.583 | 37.621 | 78.7478
2020-06-29 00:30:00 | 15.269 | 275.8 | 17.094 | 269.81 | 17.83 | 275 | 18.192 | 271.333 | 20.935 | 889.633 | 36.491 | 78.9162
2020-06-29 00:45:00 | 13.984 | 274.813 | 16.152 | 268.696 | 17.361 | 273.967 | 17.884 | 270.8 | 20.506 | 889.633 | 36.349 | 79.3014
2020-06-29 01:00:00 | 14.217 | 274.613 | 16.729 | 267.52 | 17.43 | 271.967 | 17.771 | 268.467 | 20.235 | 889.883 | 36.517 | 79.3831
2020-06-29 01:15:00 | 12.775 | 272.053 | 14.902 | 267.798 | 15.765 | 273.667 | 16.282 | 268.533 | 19.814 | 889.967 | 35.88 | 78.0927
2020-06-29 01:30:00 | 12.073 | 271.387 | 13.913 | 268.597 | 14.809 | 274.533 | 15.329 | 269.8 | 19.656 | 889.8 | 35.195 | 78.0018
2020-06-29 01:45:00 | 12.562 | 270.967 | 14.269 | 263.588 | 14.72 | 269.567 | 14.931 | 265.667 | 19.431 | 890.117 | 35.152 | 77.8014
2020-06-29 02:00:00 | 12.569 | 264.92 | 14.312 | 259.379 | 14.71 | 265.167 | 15.058 | 261.417 | 19.185 | 890.25 | 36.227 | 77.7417
2020-06-29 02:15:00 | 13.071 | 265.967 | 14.569 | 260.646 | 15.142 | 265.083 | 15.861 | 262.5 | 19.235 | 890.017 | 36.216 | 78.8025
2020-06-29 02:30:00 | 12.651 | 260.5 | 13.968 | 258.74 | 14.579 | 264.883 | 14.982 | 258.117 | 18.977 | 889.75 | 36.741 | 79.8386
2020-06-29 02:45:00 | 12.453 | 262.7 | 14.037 | 257.926 | 14.529 | 263.033 | 14.428 | 257.75 | 18.806 | 890.133 | 37.776 | 80.2805
2020-06-29 03:00:00 | 11.528 | 265.06 | 13.256 | 260.447 | 13.794 | 264.967 | 14.106 | 259.117 | 18.352 | 889.467 | 39.368 | 80.4475
2020-06-29 03:15:00 | 13.637 | 267.413 | 14.808 | 258.828 | 15.433 | 263.983 | 15.771 | 259.5 | 18.118 | 889.9 | 40.037 | 76.4477
2020-06-29 03:30:00 | 12.368 | 261.42 | 13.907 | 255.791 | 15.079 | 260.3 | 15.383 | 256.333 | 17.831 | 889.808 | 41.995 | 65.1355
2020-06-29 03:45:00 | 13.19 | 264.393 | 14.449 | 260.701 | 15.233 | 264.033 | 15.41 | 258.083 | 17.444 | 889.917 | 43.637 | 61.6907
2020-06-29 04:00:00 | 12.706 | 263.207 | 14.604 | 258.715 | 15.597 | 263.317 | 15.695 | 257.867 | 16.981 | 890.35 | 44.917 | 61.6473
2020-06-29 04:15:00 | 12.601 | 258.86 | 14.074 | 255.712 | 14.651 | 259.6 | 14.875 | 255.583 | 17.318 | 890.133 | 44.848 | 63.7904
2020-06-29 04:30:00 | 11.534 | 254.68 | 13.162 | 252.34 | 13.877 | 257.1 | 14.114 | 253 | 16.914 | 889.992 | 45.541 | 64.1926
2020-06-29 04:45:00 | 13.056 | 254.867 | 14.935 | 251.461 | 15.873 | 255.983 | 16.125 | 252.233 | 16.798 | 889.775 | 45.883 | 63.5978
2020-06-29 05:00:00 | 12.981 | 249.873 | 14.063 | 248.506 | 14.81 | 253.533 | 14.687 | 247.767 | 16.343 | 889.842 | 47.344 | 64.0064
2020-06-29 05:15:00 | 11.122 | 253.04 | 12.641 | 249.778 | 13.235 | 256.617 | 13.286 | 250.3 | 15.497 | 889.925 | 49.019 | 66.0976
2020-06-29 05:30:00 | 9.11 | 257 | 10.878 | 253.797 | 12.017 | 257.85 | 12.514 | 254.283 | 15.53 | 890.008 | 50.507 | 65.564
2020-06-29 05:45:00 | 9.743 | 256.973 | 11.296 | 253.294 | 12.206 | 257.483 | 12.304 | 252.333 | 14.824 | 889.758 | 51.269 | 65.2862
2020-06-29 06:00:00 | 9.912 | 250.56 | 10.944 | 247.391 | 11.521 | 252.333 | 11.581 | 247.567 | 14.791 | 889.925 | 52.032 | 63.8771
2020-06-29 06:15:00 | 10.363 | 250.727 | 11.309 | 247.926 | 12.221 | 251.65 | 12.197 | 246.733 | 14.741 | 890.183 | 52.464 | 63.1459
2020-06-29 06:30:00 | 10.568 | 250.307 | 12.386 | 245.59 | 13.308 | 251.817 | 13.357 | 246.95 | 14.641 | 889.475 | 52 | 63.0777
2020-06-29 06:45:00 | 10.295 | 251.447 | 11.788 | 246.803 | 12.278 | 253.683 | 12.496 | 249.467 | 15.184 | 889.942 | 49.632 | 64.0476
2020-06-29 07:00:00 | 10.194 | 256.38 | 11.248 | 251.746 | 11.905 | 257.3 | 11.996 | 253.017 | 15.474 | 889.792 | 46.379 | 64.6175
2020-06-29 07:15:00 | 10.365 | 252.353 | 11.36 | 250.322 | 12.222 | 254.783 | 12.378 | 249.917 | 16.258 | 889.783 | 45.008 | 65.0524
2020-06-29 07:30:00 | 11.602 | 249.067 | 12.533 | 246.703 | 12.856 | 251.883 | 12.837 | 245.767 | 16.448 | 889.358 | 43.723 | 66.1175
2020-06-29 07:45:00 | 10.964 | 250.92 | 11.735 | 248.681 | 11.958 | 251.367 | 11.76 | 247 | 16.698 | 889.658 | 41.712 | 64.5998
2020-06-29 08:00:00 | 10.268 | 253.36 | 11.008 | 251.479 | 11.666 | 256.233 | 11.615 | 251.417 | 17.098 | 889.9 | 40.405 | 60.9595
2020-06-29 08:15:00 | 10.084 | 260.16 | 10.873 | 254.12 | 10.958 | 260.633 | 11.036 | 256.733 | 17.773 | 889.767 | 39.523 | 61.4015
2020-06-29 08:30:00 | 9.757 | 256.953 | 10.583 | 253.158 | 10.846 | 258.567 | 10.725 | 253.683 | 18.189 | 889.6 | 38.187 | 63.2703
2020-06-29 08:45:00 | 10.772 | 268.26 | 11.431 | 262.139 | 11.516 | 265.533 | 11.344 | 258.35 | 18.739 | 889.733 | 37.168 | 62.8446
2020-06-29 09:00:00 | 12.606 | 275.84 | 13.722 | 270.562 | 13.737 | 274.467 | 13.87 | 269.933 | 18.106 | 889.317 | 37.4 | 58.2857
2020-06-29 09:15:00 | 12.076 | 282.773 | 12.75 | 277.261 | 12.388 | 279.867 | 12.55 | 276.767 | 18.018 | 889.633 | 37.544 | 53.873
2020-06-29 09:30:00 | 12.322 | 280.88 | 13.307 | 275.955 | 13.484 | 279.967 | 13.58 | 276.667 | 18.552 | 889.55 | 37.451 | 47.0459
2020-06-29 09:45:00 | 11.888 | 281.333 | 12.498 | 274.569 | 12.57 | 280.067 | 12.841 | 275.9 | 18.656 | 889.517 | 37.155 | 38.7287
2020-06-29 10:00:00 | 11.421 | 282.773 | 12.064 | 276.206 | 12.288 | 278.217 | 12.234 | 275.1 | 18.881 | 889.367 | 36.621 | 38.3287
2020-06-29 10:15:00 | 11.27 | 282.28 | 12.027 | 276.546 | 12.085 | 281.6 | 12.421 | 279.333 | 19.039 | 889.717 | 36.133 | 39.5054
2020-06-29 10:30:00 | 10.654 | 283.467 | 11.721 | 277.096 | 11.841 | 282.767 | 12.161 | 278.833 | 19.706 | 889.9 | 34.909 | 43.2046
2020-06-29 10:45:00 | 11.246 | 284.733 | 12.357 | 279.232 | 12.656 | 282.433 | 12.832 | 278.767 | 20.031 | 889.917 | 34.461 | 48.2461
2020-06-29 11:00:00 | 11.724 | 293.2 | 12.303 | 286.351 | 12.502 | 290.867 | 12.995 | 287.833 | 20.306 | 889.883 | 33.555 | 53.1539
2020-06-29 11:15:00 | 11.604 | 279.667 | 12.456 | 278.05 | 12.263 | 281.067 | 12.709 | 278.133 | 20.439 | 889.95 | 33.101 | 49.8647
2020-06-29 11:30:00 | 11.637 | 284.56 | 12.115 | 280.538 | 12.578 | 283.033 | 12.974 | 281.467 | 20.656 | 889.583 | 32.48 | 48.9396
2020-06-29 11:45:00 | 11.929 | 296.227 | 12.654 | 291.117 | 12.917 | 295.333 | 13.253 | 292.233 | 20.756 | 889.367 | 32.112 | 50.4033
2020-06-29 12:00:00 | 11.814 | 283.4 | 12.179 | 278.437 | 12.024 | 282.2 | 12.163 | 281.233 | 20.814 | 889.7 | 33.048 | 51.0208
2020-06-29 12:15:00 | 11.321 | 297.347 | 12.07 | 292.961 | 12.329 | 293.867 | 12.94 | 289.667 | 21.46 | 889.567 | 32.179 | 49.572
2020-06-29 12:30:00 | 11.35 | 280.547 | 12.292 | 275.828 | 12.561 | 281.033 | 12.656 | 277.167 | 21.444 | 889.783 | 32.032 | 52.0561
2020-06-29 12:45:00 | 10.499 | 290.587 | 11.299 | 286.622 | 11.68 | 292.367 | 11.895 | 290.3 | 21.856 | 889.683 | 31.851 | 52.8214
2020-06-29 13:00:00 | 10.386 | 288.307 | 10.833 | 284.288 | 11.221 | 286.833 | 11.299 | 284.833 | 21.756 | 889.867 | 31.456 | 55.2487
2020-06-29 13:15:00 | 10.708 | 290.653 | 10.869 | 285.379 | 11.093 | 288.4 | 11.344 | 286.633 | 22.281 | 889.483 | 30.659 | 58.0334
2020-06-29 13:30:00 | 10.813 | 293.667 | 11.233 | 286.922 | 11.209 | 292.133 | 11.919 | 290.733 | 22.764 | 889.717 | 28.845 | 58.378
2020-06-29 13:45:00 | 9.55 | 290.053 | 9.706 | 287.843 | 10.175 | 291.533 | 10.477 | 286.733 | 22.614 | 889.733 | 28.632 | 60.4294
2020-06-29 14:00:00 | 10.109 | 301.933 | 10.706 | 295.632 | 10.934 | 302.567 | 11.481 | 299.9 | 22.781 | 889.733 | 27.261 | 60.0031
2020-06-29 14:15:00 | 8.974 | 317.933 | 9.232 | 310.824 | 9.32 | 314.267 | 9.497 | 310 | 23.331 | 890.35 | 26.424 | 65.0211
2020-06-29 14:30:00 | 9.901 | 306.627 | 10.315 | 297.307 | 10.494 | 301.233 | 10.759 | 295.6 | 23.518 | 889.9 | 26.368 | 64.3816
2020-06-29 14:45:00 | 9.582 | 293.547 | 10.06 | 286.463 | 10.268 | 289.933 | 10.101 | 289.667 | 24.477 | 889.767 | 25.373 | 56.0253
2020-06-29 15:00:00 | 8.582 | 300.6 | 9.187 | 293.456 | 9.49 | 298.267 | 9.965 | 295.767 | 24.106 | 890.133 | 25.467 | 52.4192
2020-06-29 15:15:00 | 8.827 | 284.147 | 9.447 | 279.75 | 9.744 | 284.9 | 10.042 | 281.9 | 24.831 | 889.617 | 25.443 | 58.6878
2020-06-29 15:30:00 | 8.87 | 288.707 | 9.479 | 283.021 | 9.708 | 286.833 | 9.909 | 287 | 24.368 | 889.6 | 25.664 | 57.7556
2020-06-29 15:45:00 | 10.325 | 305.693 | 10.837 | 296.97 | 10.836 | 302.2 | 11.342 | 298.967 | 23.885 | 890.067 | 26.459 | 63.3918
2020-06-29 16:00:00 | 10.191 | 305.76 | 10.93 | 302.17 | 11.323 | 305.4 | 11.697 | 301.6 | 24.089 | 889.433 | 25.907 | 64.3191
2020-06-29 16:15:00 | 9.67 | 290.253 | 10.577 | 284.349 | 10.697 | 287.733 | 10.974 | 283.933 | 24.431 | 889.533 | 25.539 | 61.5109
2020-06-29 16:30:00 | 10.545 | 300.68 | 10.872 | 296.103 | 11.369 | 300.567 | 11.769 | 298.567 | 24.46 | 889.75 | 24.835 | 61.4512
2020-06-29 16:45:00 | 11.573 | 301.627 | 12.475 | 294.976 | 12.772 | 297.933 | 13.333 | 293.633 | 24.048 | 889.433 | 25.691 | 59.9462
2020-06-29 17:00:00 | 10.995 | 293.213 | 11.552 | 288.164 | 11.702 | 293.3 | 12.324 | 290.067 | 23.985 | 889.633 | 26.152 | 59.4041
2020-06-29 17:15:00 | 12.214 | 294.88 | 13.105 | 286.519 | 13.25 | 289.7 | 13.597 | 289.9 | 24.239 | 889.85 | 26.411 | 63.568
2020-06-29 17:30:00 | 13.921 | 297.987 | 15.431 | 291.355 | 15.581 | 295.033 | 15.814 | 292.8 | 23.602 | 889.383 | 27.168 | 65.8596
2020-06-29 17:45:00 | 13.058 | 299.48 | 13.947 | 293.596 | 14.143 | 295.967 | 14.511 | 293.4 | 23.114 | 890.25 | 27.901 | 69.0806
2020-06-29 18:00:00 | 13.095 | 288.533 | 14.848 | 283.796 | 15.105 | 286.767 | 15.297 | 285.067 | 23.398 | 889.533 | 28.187 | 67.069
2020-06-29 18:15:00 | 13.311 | 289.333 | 14.962 | 282.785 | 15.692 | 287.533 | 16.063 | 285.567 | 22.648 | 889.733 | 28.619 | 70.2665
2020-06-29 18:30:00 | 13.68 | 279 | 15.266 | 274.262 | 15.741 | 278.233 | 16.023 | 275.367 | 22.564 | 890.033 | 29.221 | 70.8456
2020-06-29 18:45:00 | 14.058 | 279.093 | 15.345 | 275.279 | 15.295 | 278.767 | 15.507 | 275.467 | 21.727 | 889.9 | 30.131 | 69.0721
2020-06-29 19:00:00 | 14.365 | 286.427 | 15.719 | 280.797 | 15.939 | 282.3 | 16.379 | 279.133 | 21.76 | 890.033 | 30.323 | 70.3845
2020-06-29 19:15:00 | 13.325 | 282.707 | 14.703 | 278.897 | 14.973 | 281.833 | 15.376 | 279.7 | 21.689 | 889.817 | 30.496 | 71.4588
2020-06-29 19:30:00 | 13.538 | 278.187 | 15.084 | 271.768 | 15.513 | 277.867 | 16.174 | 274.067 | 21.594 | 889.8 | 31.435 | 71.2919
2020-06-29 19:45:00 | 13.555 | 280.347 | 14.847 | 274.682 | 15.414 | 277.533 | 15.826 | 274.333 | 21.052 | 889.467 | 32.331 | 71.1078
2020-06-29 20:00:00 | 13.712 | 282.933 | 15.32 | 276.164 | 15.842 | 278.433 | 16.278 | 276.467 | 20.881 | 889.483 | 33.203 | 69.6774
2020-06-29 20:15:00 | 14.56 | 273.373 | 15.771 | 267.648 | 16.211 | 272.133 | 16.577 | 268.9 | 20.26 | 889.9 | 34.941 | 68.4375
2020-06-29 20:30:00 | 13.417 | 273.833 | 14.759 | 269.926 | 15.13 | 273.367 | 15.723 | 269.333 | 18.544 | 889.6 | 40.283 | 68.4865
2020-06-29 20:45:00 | 14.004 | 273.807 | 15.839 | 265.961 | 16.425 | 271.033 | 16.56 | 266.667 | 17.952 | 889.817 | 42.699 | 68.9733
2020-06-29 21:00:00 | 13.782 | 273.48 | 15.939 | 264.141 | 16.467 | 270.767 | 16.552 | 264.2 | 17.502 | 889.667 | 45.072 | 69.6647
2020-06-29 21:15:00 | 14.426 | 270.033 | 16.518 | 262.052 | 17.198 | 266.6 | 17.428 | 260.483 | 17.181 | 889.85 | 46.389 | 71.4731
2020-06-29 21:30:00 | 13.697 | 264.833 | 15.559 | 259.91 | 16.197 | 263.7 | 16.524 | 257.883 | 16.898 | 889.817 | 46.133 | 75.433
2020-06-29 21:45:00 | 12.497 | 267.733 | 13.944 | 259.657 | 14.349 | 265.867 | 14.961 | 261.617 | 17.606 | 889.942 | 43.739 | 75.7514
2020-06-29 22:00:00 | 10.737 | 264.88 | 11.939 | 259.842 | 12.573 | 263.933 | 13.108 | 260.367 | 17.435 | 889.675 | 41.189 | 77.0006
2020-06-29 22:15:00 | 11.484 | 269.227 | 13.177 | 263.515 | 13.374 | 266.733 | 13.72 | 261.95 | 17.989 | 889.7 | 40.723 | 79.0108
2020-06-29 22:30:00 | 11.314 | 262.6 | 12.411 | 258.08 | 12.82 | 261.05 | 13.09 | 256.933 | 17.606 | 890.008 | 43.723 | 79.0712
2020-06-29 22:45:00 | 11.788 | 245.94 | 12.525 | 241.425 | 13.307 | 245.183 | 13.094 | 238.367 | 16.831 | 889.942 | 45.248 | 80.8611
2020-06-29 23:00:00 | 13.62 | 253.127 | 14.684 | 250.049 | 15.2 | 253.733 | 15.137 | 248.117 | 16.648 | 890.017 | 47.051 | 81.4082
2020-06-29 23:15:00 | 10.367 | 264.627 | 11.857 | 259.336 | 12.491 | 260.35 | 12.5 | 254.617 | 16.648 | 889.917 | 46.427 | 81.4117
2020-06-29 23:30:00 | 10.432 | 276.907 | 11.374 | 270.691 | 11.392 | 275.267 | 11.742 | 269.267 | 16.935 | 890.075 | 45.035 | 74.6436
2020-06-29 23:45:00 | 8.916 | 262.66 | 10.147 | 259.017 | 10.581 | 264 | 11.008 | 259.333 | 16.464 | 890.1 | 48.016 | 43.3559