## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-06-30 00:00:00 | 8.788 | 252.493 | 9.371 | 248.416 | 9.5 | 252.683 | 9.373 | 247.567 | 15.951 | 889.758 | 49.28 | 55.1272
2020-06-30 00:15:00 | 8.25 | 274.133 | 9.257 | 268.056 | 9.404 | 270.067 | 9.454 | 262.317 | 15.984 | 889.675 | 50.4 | 66.0948
2020-06-30 00:30:00 | 10.349 | 276.48 | 11.65 | 268.362 | 12.067 | 272.933 | 12.274 | 268.133 | 15.53 | 889.842 | 52.571 | 76.636
2020-06-30 00:45:00 | 10.686 | 277.667 | 11.768 | 269.121 | 12.078 | 272.933 | 12.206 | 268.533 | 14.741 | 890.017 | 55.52 | 79.9132
2020-06-30 01:00:00 | 7.873 | 283.467 | 8.768 | 277.344 | 9.146 | 278.667 | 9.445 | 276.4 | 14.708 | 889.992 | 56.197 | 71.1348
2020-06-30 01:15:00 | 10.506 | 278.467 | 12.098 | 273.017 | 12.409 | 277.4 | 12.546 | 273.2 | 14.366 | 889.633 | 59.051 | 77.3722
2020-06-30 01:30:00 | 10.881 | 278.52 | 11.997 | 273.03 | 12.566 | 276.367 | 12.884 | 272.6 | 13.616 | 890.025 | 66.064 | 80.7737
2020-06-30 01:45:00 | 11.42 | 275.387 | 12.846 | 270.598 | 13.344 | 273.033 | 13.682 | 267.733 | 13.218 | 889.675 | 69.435 | 78.33
2020-06-30 02:00:00 | 11.42 | 271.987 | 13.227 | 263.583 | 13.895 | 268.767 | 13.839 | 263.667 | 13.191 | 889.775 | 70.939 | 81.8416
2020-06-30 02:15:00 | 8.331 | 265.607 | 9.447 | 260.047 | 9.843 | 263.35 | 9.531 | 258.267 | 12.653 | 889.65 | 76.747 | 81.642
2020-06-30 02:30:00 | 10.981 | 259.227 | 12.435 | 255.075 | 12.653 | 258.917 | 12.76 | 253.667 | 12.182 | 889.425 | 78.272 | 81.2803
2020-06-30 02:45:00 | 11.151 | 259.493 | 12.396 | 258.237 | 13.037 | 263.617 | 13.322 | 257.833 | 12.016 | 889.783 | 79.637 | 80.8241
2020-06-30 03:00:00 | 11.761 | 267.287 | 12.775 | 263.11 | 13.288 | 267.833 | 13.677 | 261.1 | 11.57 | 889.921 | 81.899 | 77.0908
2020-06-30 03:15:00 | 12.201 | 268.693 | 13.926 | 263.444 | 15.221 | 268.3 | 15.533 | 263.667 | 11.936 | 889.412 | 81.211 | 74.3736
2020-06-30 03:30:00 | 11.336 | 258.273 | 13.259 | 255.571 | 14.239 | 259.033 | 14.766 | 255.433 | 11.828 | 889.725 | 79.035 | 74.1398
2020-06-30 03:45:00 | 11.235 | 261.42 | 13.052 | 256.699 | 13.471 | 261.233 | 13.538 | 256 | 11.778 | 890.333 | 81.989 | 77.8085
2020-06-30 04:00:00 | 10.911 | 250.487 | 12.225 | 248.483 | 13.146 | 251.5 | 13.147 | 247.633 | 11.895 | 890.133 | 83.573 | 80.9989
2020-06-30 04:15:00 | 9.834 | 260.687 | 11.296 | 257.526 | 12.149 | 261.7 | 12.667 | 255.933 | 11.557 | 889.788 | 83.435 | 83.2606
2020-06-30 04:30:00 | 6.435 | 284.747 | 7.365 | 278.168 | 7.955 | 279.7 | 8.374 | 275.133 | 11.524 | 890.083 | 84.896 | 36.3974
2020-06-30 04:45:00 | 7.012 | 311.56 | 7.85 | 304.166 | 7.98 | 305.9 | 8.349 | 301.467 | 11.345 | 890.196 | 86.763 | 30.3384
2020-06-30 05:00:00 | 6.536 | 293.6 | 7.831 | 288.786 | 8.468 | 292 | 8.902 | 289.867 | 10.961 | 890.138 | 89.451 | 45.0378
2020-06-30 05:15:00 | 7.723 | 291.933 | 8.636 | 285.674 | 8.886 | 288.8 | 9.172 | 285.567 | 10.895 | 889.879 | 92.085 | 55.5528
2020-06-30 05:30:00 | 9.878 | 289.413 | 11.153 | 284.35 | 11.636 | 287.133 | 12.304 | 285.233 | 10.688 | 889.788 | 92.309 | 70.0633
2020-06-30 05:45:00 | 8.589 | 269.147 | 9.824 | 263.187 | 10.194 | 267.6 | 10.483 | 263.283 | 10.612 | 889.733 | 90.613 | 77.326
2020-06-30 06:00:00 | 8.649 | 289.64 | 9.786 | 283.994 | 10.021 | 287.733 | 10.563 | 284.6 | 10.416 | 890.25 | 90.667 | 65.0396
2020-06-30 06:15:00 | 7.34 | 279.293 | 8.413 | 274.503 | 8.929 | 278.5 | 9.502 | 274.133 | 10.716 | 890.067 | 89.653 | 46.8754
2020-06-30 06:30:00 | 9.37 | 284.333 | 11.066 | 280.104 | 11.514 | 282.633 | 11.848 | 280 | 10.878 | 889.696 | 84.789 | 61.4114
2020-06-30 06:45:00 | 7.544 | 287 | 8.625 | 280.667 | 8.998 | 284.567 | 9.248 | 281.433 | 11.095 | 889.808 | 81.547 | 53.5263
2020-06-30 07:00:00 | 7.023 | 275.6 | 8.096 | 272.318 | 8.392 | 276.567 | 8.807 | 271.683 | 10.961 | 889.617 | 80.096 | 57.0819
2020-06-30 07:15:00 | 6.751 | 288.093 | 8.058 | 282.087 | 8.392 | 285.533 | 8.811 | 281.067 | 11.582 | 889.658 | 80.859 | 58.0085
2020-06-30 07:30:00 | 10.81 | 281.92 | 11.908 | 275.78 | 12.266 | 279.833 | 12.248 | 277.7 | 11.445 | 889.333 | 77.579 | 80.9406
2020-06-30 07:45:00 | 9.68 | 279.8 | 10.808 | 275.235 | 11.098 | 279.333 | 11.559 | 275.2 | 10.928 | 890.35 | 79.467 | 78.8956
2020-06-30 08:00:00 | 10.344 | 277.813 | 11.552 | 273.425 | 11.638 | 277.5 | 11.838 | 273.5 | 11.303 | 890.117 | 78.779 | 75.9965
2020-06-30 08:15:00 | 9.198 | 277.113 | 10.283 | 270.763 | 10.7 | 274.867 | 11.078 | 270.467 | 10.995 | 890.05 | 79.472 | 75.3506
2020-06-30 08:30:00 | 10.439 | 278.833 | 11.728 | 272.286 | 12.295 | 276.467 | 13.051 | 273.533 | 10.507 | 890.108 | 84.992 | 88.4016
2020-06-30 08:45:00 | 7.951 | 264.5 | 8.748 | 260.839 | 9.194 | 264.967 | 9.281 | 259.65 | 10.026 | 889.946 | 87.253 | 87.0728
2020-06-30 09:00:00 | 8.277 | 276.987 | 9.842 | 271.806 | 10.24 | 276.167 | 10.591 | 273.267 | 10.393 | 889.762 | 87.584 | 71.2286
2020-06-30 09:15:00 | 7.848 | 270.64 | 9.234 | 265.383 | 9.526 | 269.4 | 9.923 | 264.883 | 11.078 | 889.817 | 82.8 | 53.1909
2020-06-30 09:30:00 | 9.174 | 272.453 | 10.417 | 265.874 | 10.633 | 271.5 | 10.628 | 264.817 | 11.407 | 890.192 | 77.232 | 55.2146
2020-06-30 09:45:00 | 9.485 | 270.467 | 10.388 | 266.751 | 10.525 | 271.567 | 10.357 | 263.8 | 12.57 | 889.892 | 70.704 | 70.9856
2020-06-30 10:00:00 | 8.992 | 278.053 | 9.904 | 270.798 | 9.921 | 274.6 | 9.87 | 268.4 | 12.947 | 890.183 | 68.368 | 80.3345
2020-06-30 10:15:00 | 9.562 | 276.68 | 10.505 | 271.089 | 10.547 | 275.033 | 10.635 | 270.267 | 13.31 | 889.817 | 65.141 | 68.6265
2020-06-30 10:30:00 | 8.624 | 287.24 | 9.375 | 280.5 | 9.788 | 283.767 | 10.09 | 279.733 | 13.624 | 889.917 | 63.232 | 60.6795
2020-06-30 10:45:00 | 8.09 | 284.347 | 8.85 | 283.926 | 9.092 | 286.533 | 9.388 | 283.933 | 14.137 | 889.833 | 62.779 | 55.2153
2020-06-30 11:00:00 | 8.394 | 298.933 | 8.721 | 290.718 | 9.048 | 294.7 | 9.397 | 290.167 | 14.52 | 889.733 | 60.267 | 56.7522
2020-06-30 11:15:00 | 8.355 | 282.853 | 9.348 | 280.212 | 9.761 | 282.4 | 10.043 | 278.467 | 14.295 | 889.525 | 60.485 | 56.0594
2020-06-30 11:30:00 | 6.574 | 289.2 | 7.316 | 282.635 | 7.629 | 288.1 | 7.794 | 287.733 | 14.791 | 889.9 | 58.224 | 41.797
2020-06-30 11:45:00 | 7.417 | 276.84 | 8.08 | 269.501 | 8.346 | 275.5 | 8.354 | 271.8 | 15.336 | 889.85 | 57.088 | 36.1892
2020-06-30 12:00:00 | 6.174 | 283.92 | 6.79 | 278.839 | 6.875 | 284.9 | 6.954 | 282.633 | 15.074 | 890.1 | 56.048 | 29.3428
2020-06-30 12:15:00 | 5.782 | 290.213 | 6.544 | 286.127 | 6.767 | 289.367 | 6.926 | 285.233 | 15.614 | 889.975 | 55.339 | 27.7995
2020-06-30 12:30:00 | 6.38 | 281.787 | 7.013 | 280.01 | 7.17 | 282.267 | 7.378 | 277.867 | 15.892 | 889.633 | 54.949 | 28.859
2020-06-30 12:45:00 | 6.593 | 287.547 | 6.949 | 280.834 | 7.049 | 283.233 | 7.133 | 278.6 | 16.06 | 889.917 | 53.557 | 26.642
2020-06-30 13:00:00 | 5.839 | 286.653 | 6.465 | 278.083 | 6.528 | 286.333 | 6.716 | 284.433 | 16.281 | 889.867 | 51.429 | 22.6045
2020-06-30 13:15:00 | 6.939 | 285.853 | 7.214 | 280.891 | 7.699 | 284.033 | 7.791 | 278.867 | 16.948 | 889.65 | 50.544 | 21.4634
2020-06-30 13:30:00 | 5.903 | 287.573 | 6.459 | 284.49 | 6.546 | 290.7 | 6.621 | 288.233 | 16.705 | 889.625 | 50.485 | 18.9345
2020-06-30 13:45:00 | 6.515 | 295.467 | 6.926 | 290.31 | 7.058 | 291.367 | 7.271 | 287.467 | 16.164 | 889.917 | 52.88 | 21.6481
2020-06-30 14:00:00 | 7.677 | 291.027 | 8.203 | 280.971 | 8.479 | 283.4 | 8.548 | 280.617 | 16.531 | 890.392 | 53.605 | 31.4845
2020-06-30 14:15:00 | 6.017 | 297.84 | 6.269 | 293.585 | 6.576 | 298.767 | 6.67 | 296.767 | 16.481 | 889.617 | 53.899 | 17.0856
2020-06-30 14:30:00 | 6.089 | 305.907 | 6.413 | 300.182 | 6.451 | 306.333 | 6.571 | 302.867 | 15.899 | 889.792 | 54.837 | 21.403
2020-06-30 14:45:00 | 5.61 | 306.4 | 5.977 | 305.394 | 6.165 | 311.867 | 6.382 | 310.333 | 16.598 | 889.692 | 50.037 | 18.3141
2020-06-30 15:00:00 | 6.303 | 305.413 | 6.714 | 299.93 | 7.057 | 304.367 | 7.386 | 300.067 | 16.798 | 889.8 | 49.963 | 19.6735
2020-06-30 15:15:00 | 5.968 | 313.333 | 6.207 | 310.58 | 6.575 | 318.433 | 6.541 | 316.433 | 17.331 | 889.95 | 47.531 | 16.903
2020-06-30 15:30:00 | 4.847 | 310.587 | 5.115 | 304.893 | 5.43 | 308.467 | 5.623 | 306.833 | 17.61 | 889.6 | 48.005 | 15.6218
2020-06-30 15:45:00 | 4.831 | 310.56 | 5.246 | 300.783 | 5.511 | 307.367 | 5.659 | 307.667 | 17.531 | 889.542 | 49.269 | 12.6992
2020-06-30 16:00:00 | 4.594 | 211.095 | 5.116 | 322.466 | 5.46 | 313.167 | 5.474 | 334.067 | 17.835 | 889.967 | 50.011 | 4.5945
2020-06-30 16:15:00 | 5.359 | 323.427 | 5.464 | 339.098 | 5.536 | 329.3 | 5.806 | 338.733 | 17.977 | 889.808 | 47.237 | 18.4058
2020-06-30 16:30:00 | 7.111 | 333.027 | 7.284 | 324.496 | 7.649 | 327 | 7.693 | 325 | 17.885 | 889.7 | 47.216 | 33.9914
2020-06-30 16:45:00 | 6.928 | 342.573 | 6.996 | 336.134 | 6.979 | 338.967 | 6.99 | 336.567 | 18.644 | 890.242 | 43.813 | 34.3367
2020-06-30 17:00:00 | 6.602 | 336.533 | 6.836 | 329.403 | 7.005 | 333.7 | 7.195 | 330.4 | 18.573 | 889.783 | 45.936 | 24.3461
2020-06-30 17:15:00 | 5.433 | 333.947 | 5.754 | 325.575 | 6.06 | 329.1 | 6.13 | 327.2 | 17.889 | 890.192 | 45.504 | 16.7793
2020-06-30 17:30:00 | 4.824 | 329.08 | 4.989 | 322.126 | 5.149 | 323.533 | 5.29 | 322.733 | 18.335 | 890.108 | 44.832 | 10.6628
2020-06-30 17:45:00 | 4.908 | 311 | 4.871 | 302.947 | 5.018 | 309.933 | 5.075 | 308.167 | 18.489 | 889.975 | 44 | 8.3989
2020-06-30 18:00:00 | 7.111 | 299.667 | 7.625 | 295.122 | 7.808 | 299.767 | 7.963 | 296.733 | 18.689 | 889.85 | 44.427 | 20.4224
2020-06-30 18:15:00 | 5.571 | 291.267 | 5.845 | 286.568 | 6.113 | 289.967 | 6.219 | 287.3 | 18.489 | 889.825 | 45.573 | 25.7083
2020-06-30 18:30:00 | 5.722 | 275.16 | 6.226 | 269.791 | 6.256 | 273.833 | 6.375 | 269.833 | 17.852 | 889.908 | 48.197 | 19.6209
2020-06-30 18:45:00 | 5.042 | 300.507 | 5.239 | 294.973 | 5.369 | 301.833 | 5.599 | 300.5 | 17.064 | 890.042 | 59.451 | 8.8146
2020-06-30 19:00:00 | 0.103 | 321.52 | 0 | 323.106 | 1 | 332 | 0.118 | 330 | 16.664 | 889.925 | 57.813 | 0.28636
2020-06-30 19:15:00 | 0.253 | 91.978 | 0.29 | 119.261 | 0.716 | 174.7 | 0.541 | 130.933 | 16.614 | 889.908 | 55.189 | 0.89531
2020-06-30 19:30:00 | 3.344 | 276.813 | 3.619 | 277.831 | 3.885 | 286.133 | 4.183 | 283.083 | 17.106 | 889.925 | 55.061 | 2.7442
2020-06-30 19:45:00 | 6.856 | 300.88 | 7.533 | 294.783 | 8.007 | 297.967 | 8.564 | 295.333 | 18.214 | 889.975 | 45.643 | 17.934
2020-06-30 20:00:00 | 6.829 | 294.76 | 8.2 | 291.186 | 8.432 | 294.467 | 8.776 | 292.933 | 17.464 | 890.217 | 50.117 | 34.849
2020-06-30 20:15:00 | 6.957 | 301.013 | 8.29 | 292.884 | 8.759 | 297.333 | 9.236 | 294.167 | 17.723 | 890.008 | 43.973 | 39.9566
2020-06-30 20:30:00 | 5.43 | 286.707 | 6.182 | 279.002 | 6.718 | 284.9 | 6.998 | 282.467 | 17.698 | 889.675 | 41.173 | 32.0345
2020-06-30 20:45:00 | 6.119 | 299.067 | 7.146 | 292.341 | 7.565 | 295.567 | 7.918 | 293.567 | 17.76 | 889.725 | 40.792 | 31.1029
2020-06-30 21:00:00 | 5.619 | 291.64 | 6.502 | 286.171 | 7.082 | 292.2 | 7.373 | 289.2 | 17.273 | 890.117 | 43.141 | 28.4816
2020-06-30 21:15:00 | 5.957 | 292.067 | 6.764 | 285.04 | 7.196 | 291.6 | 7.62 | 289.067 | 17.298 | 890.05 | 40.347 | 30.7185
2020-06-30 21:30:00 | 4.562 | 296.093 | 5.563 | 293.231 | 6.121 | 298.333 | 6.687 | 296.3 | 16.848 | 889.783 | 44.128 | 16.9499
2020-06-30 21:45:00 | 4.328 | 286.653 | 5.565 | 283.845 | 5.946 | 288.733 | 6.36 | 286.9 | 16.531 | 889.658 | 46.827 | 15.7689
2020-06-30 22:00:00 | 3.388 | 268.867 | 4.391 | 274.832 | 5.028 | 278.967 | 5.448 | 278.133 | 15.984 | 889.608 | 48.139 | 13.3508
2020-06-30 22:15:00 | 3.837 | 271.587 | 5.344 | 277.488 | 5.776 | 281.867 | 5.943 | 278.9 | 15.742 | 889.925 | 51.52 | 13.3935
2020-06-30 22:30:00 | 5.145 | 271.8 | 6.784 | 272.314 | 6.993 | 276.467 | 7.221 | 271.633 | 14.941 | 889.675 | 54.256 | 18.8464
2020-06-30 22:45:00 | 5.433 | 272.067 | 6.636 | 271.979 | 7.065 | 277.767 | 7.437 | 275.233 | 14.858 | 889.758 | 53.68 | 20.7414
2020-06-30 23:00:00 | 4.892 | 266 | 6.207 | 269.801 | 6.528 | 275.367 | 6.683 | 272 | 14.758 | 889.675 | 55.141 | 18.7021
2020-06-30 23:15:00 | 4.6 | 254.953 | 5.468 | 263.419 | 5.73 | 270.467 | 6.004 | 266 | 14.183 | 889.35 | 58.869 | 11.9993
2020-06-30 23:30:00 | 3.942 | 239.247 | 4.825 | 253.524 | 4.72 | 263.333 | 4.835 | 260.133 | 13.787 | 889.717 | 62.459 | 9.7191
2020-06-30 23:45:00 | 4.28 | 238.827 | 5.218 | 251.162 | 5.45 | 260.667 | 5.439 | 258.283 | 13.174 | 889.567 | 64.859 | 13.2308