## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-01 00:00:00 | 4.863 | 235.393 | 5.198 | 247.41 | 5.26 | 254.7 | 5.367 | 253.183 | 12.853 | 890.083 | 64.48 | 11.3833
2020-07-01 00:15:00 | 4.458 | 225.06 | 4.925 | 240.074 | 4.899 | 247.833 | 4.891 | 244.633 | 12.736 | 889.725 | 65.376 | 10.041
2020-07-01 00:30:00 | 4.946 | 228.287 | 5.869 | 239.075 | 5.486 | 247.633 | 5.173 | 244.367 | 12.809 | 889.933 | 66.304 | 13.2776
2020-07-01 00:45:00 | 5.004 | 220.507 | 5.726 | 232.127 | 5.718 | 239.8 | 5.658 | 236.2 | 12.634 | 889.642 | 65.92 | 13.7097
2020-07-01 01:00:00 | 4.252 | 221.513 | 5.291 | 232.707 | 5.261 | 242.733 | 5.192 | 239.767 | 12.661 | 889.825 | 66.592 | 9.9998
2020-07-01 01:15:00 | 4.692 | 212.987 | 5.035 | 225.536 | 4.813 | 233.733 | 4.686 | 229.933 | 12.32 | 890.208 | 68.619 | 6.9188
2020-07-01 01:30:00 | 5.049 | 221.867 | 5.097 | 230.855 | 4.96 | 240.267 | 4.801 | 235.2 | 12.078 | 889.925 | 69.536 | 6.6424
2020-07-01 01:45:00 | 4.359 | 224.14 | 4.488 | 236.391 | 4.28 | 245.4 | 4.312 | 242.267 | 11.436 | 889.483 | 71.243 | 4.8212
2020-07-01 02:00:00 | 4.553 | 221.28 | 4.791 | 235.363 | 4.566 | 245.967 | 4.106 | 244.7 | 11.361 | 889.958 | 73.163 | 4.8759
2020-07-01 02:15:00 | 5.48 | 228.267 | 5.286 | 238.34 | 4.568 | 250.367 | 4.042 | 252.8 | 10.811 | 889.675 | 74.005 | 5.5644
2020-07-01 02:30:00 | 4.768 | 227.4 | 4.616 | 242.719 | 3.947 | 255.667 | 3.377 | 258.067 | 11.028 | 889.892 | 73.579 | 2.9268
2020-07-01 02:45:00 | 4.067 | 222.3 | 4.01 | 243.047 | 2.781 | 254.267 | 2.32 | 258 | 11.228 | 889.725 | 74.517 | 0.24159
2020-07-01 03:00:00 | 4.826 | 220.48 | 3.464 | 241.624 | 2.411 | 255 | 2.099 | 258 | 10.959 | 889.833 | 75.072 | 0.071767
2020-07-01 03:15:00 | 5.018 | 218.54 | 4.168 | 230.526 | 3.146 | 245.233 | 2.119 | 256.8 | 10.418 | 889.75 | 76.395 | 0.24799
2020-07-01 03:30:00 | 4.995 | 224.753 | 3.987 | 234.255 | 3.055 | 247.533 | 2.306 | 256.067 | 10.409 | 889.767 | 75.776 | 0.1279
2020-07-01 03:45:00 | 5.363 | 217.38 | 4.018 | 226.658 | 3.238 | 234.467 | 2.459 | 241.4 | 10.649 | 889.742 | 76.043 | 0.11653
2020-07-01 04:00:00 | 5.213 | 217.493 | 4.293 | 229.884 | 3.372 | 234.1 | 2.514 | 237.867 | 10.303 | 889.692 | 78.037 | 0.39152
2020-07-01 04:15:00 | 4.554 | 224.2 | 4.108 | 232.811 | 3.436 | 242.133 | 2.916 | 242.533 | 9.683 | 889.983 | 79.083 | 0.99195
2020-07-01 04:30:00 | 4.821 | 221.627 | 4.604 | 231.045 | 4.186 | 237.267 | 3.498 | 235 | 9.999 | 889.85 | 78.667 | 1.2129
2020-07-01 04:45:00 | 4.568 | 222.173 | 3.681 | 235.629 | 2.844 | 246.667 | 2.766 | 246.067 | 9.964 | 889.775 | 78.805 | 0.052582
2020-07-01 05:00:00 | 4.566 | 221.967 | 3.755 | 234.387 | 3.123 | 246.967 | 2.798 | 248 | 9.86 | 889.9 | 79.52 | 0.089531
2020-07-01 05:15:00 | 5.209 | 219.147 | 3.977 | 229.186 | 3.25 | 240.033 | 3.004 | 245 | 9.86 | 889.825 | 79.125 | 0.093795
2020-07-01 05:30:00 | 4.635 | 220.56 | 4.012 | 230.463 | 3.415 | 237.633 | 2.997 | 239.9 | 9.283 | 889.592 | 79.413 | 0.42847
2020-07-01 05:45:00 | 5.065 | 220.147 | 3.901 | 228.465 | 3.393 | 236.067 | 3.184 | 238 | 9.441 | 890.4 | 79.755 | 0.32615
2020-07-01 06:00:00 | 4.595 | 225.873 | 3.548 | 240.21 | 3.043 | 245.767 | 3.023 | 240.867 | 9.483 | 889.908 | 79.125 | 0.1343
2020-07-01 06:15:00 | 5.007 | 221.827 | 3.356 | 237.95 | 3.314 | 249.733 | 3.218 | 246.867 | 9.554 | 889.917 | 80.149 | 0.13145
2020-07-01 06:30:00 | 4.904 | 230.5 | 3.563 | 244.741 | 3.499 | 253.6 | 3.169 | 251 | 9.408 | 889.583 | 78.069 | 0.47608
2020-07-01 06:45:00 | 5.336 | 227.513 | 4.72 | 238.158 | 4.134 | 248.067 | 3.74 | 247.5 | 9.924 | 889.775 | 75.168 | 1.6002
2020-07-01 07:00:00 | 5.094 | 235.7 | 4.682 | 244.208 | 4.251 | 252.9 | 3.874 | 255.067 | 10.728 | 889.525 | 70.005 | 1.9747
2020-07-01 07:15:00 | 3.812 | 236.047 | 4.579 | 249.32 | 3.991 | 257.9 | 3.818 | 261.1 | 11.974 | 890.083 | 64.469 | 1.4595
2020-07-01 07:30:00 | 3.447 | 228.787 | 4.489 | 242.019 | 3.79 | 254.533 | 3.406 | 259.567 | 12.987 | 890.125 | 59.925 | 1.2335
2020-07-01 07:45:00 | 3.458 | 235.44 | 3.75 | 246.553 | 3.262 | 263.8 | 3.003 | 270.7 | 14.066 | 890.017 | 55.349 | 0.82781
2020-07-01 08:00:00 | 3.513 | 238.933 | 3.457 | 240.5 | 3.057 | 260 | 2.93 | 270.967 | 15.091 | 889.9 | 47.488 | 0.28209
2020-07-01 08:15:00 | 3.588 | 243.693 | 3.699 | 246.224 | 3.458 | 258.567 | 3.275 | 270.467 | 16.448 | 889.633 | 42.117 | 0.42421
2020-07-01 08:30:00 | 2.762 | 246.48 | 2.802 | 245.037 | 2.832 | 254.3 | 2.936 | 256.067 | 17.252 | 889.383 | 37.784 | 0.14709
2020-07-01 08:45:00 | 2.743 | 258.613 | 2.953 | 261.123 | 2.849 | 267.567 | 2.876 | 265.9 | 18.144 | 889.633 | 34.285 | 0.22596
2020-07-01 09:00:00 | 2.25 | 264.52 | 2.214 | 255.206 | 2.14 | 263.483 | 2.27 | 255.25 | 17.456 | 889.667 | 33.997 | 0.23307
2020-07-01 09:15:00 | 1.196 | 276.12 | 1.384 | 283.762 | 1.747 | 279.133 | 1.984 | 275.867 | 17.456 | 889.167 | 33.32 | 0.19327
2020-07-01 09:30:00 | 0.526 | 264.067 | 0.59 | 271.827 | 1.161 | 270.3 | 1.122 | 269.3 | 18.452 | 889.5 | 32.461 | 0.16911
2020-07-01 09:45:00 | 1.396 | 295.48 | 1.434 | 288.347 | 1.94 | 304 | 1.78 | 299.4 | 18.181 | 889.767 | 32.64 | 0.15775
2020-07-01 10:00:00 | 1.352 | 287.24 | 0.946 | 268.146 | 1.164 | 276.033 | 0.595 | 316.1 | 18.139 | 889.633 | 33.549 | 0.1549
2020-07-01 10:15:00 | 1.319 | 283.453 | 0.937 | 287.498 | 1.064 | 301.7 | 0.865 | 295.667 | 19.864 | 889.7 | 31.496 | 0.1478
2020-07-01 10:30:00 | 1.023 | 304.84 | 1.032 | 243.342 | 1.354 | 312.301 | 0.664 | 321.967 | 19.456 | 890.05 | 31.387 | 0.15632
2020-07-01 10:45:00 | 1.964 | 91.453 | 1.719 | 89.192 | 1.713 | 91.867 | 2.144 | 93.367 | 19.581 | 889.4 | 31.125 | 0.16485
2020-07-01 11:00:00 | 2.344 | 50.941 | 2.009 | 50.396 | 1.87 | 54.1 | 1.504 | 54.333 | 19.594 | 889.733 | 30.325 | 0.17338
2020-07-01 11:15:00 | 0.937 | 173.204 | 0.709 | 149.39 | 1.197 | 112.544 | 1.112 | 59.9 | 20.568 | 889.717 | 29.325 | 0.18617
2020-07-01 11:30:00 | 3.447 | 51.234 | 3.323 | 52.775 | 2.949 | 62.3 | 2.509 | 63.767 | 20.168 | 889.5 | 29.552 | 0.15917
2020-07-01 11:45:00 | 0.829 | 284.533 | 0.87 | 300.793 | 1.237 | 291.967 | 0.951 | 312.467 | 20.939 | 889.783 | 27.872 | 0.18404
2020-07-01 12:00:00 | 1.149 | 119.572 | 0.526 | 107.976 | 1.18 | 77.933 | 1.186 | 65.2 | 20.918 | 890.117 | 27.312 | 0.17267
2020-07-01 12:15:00 | 2.603 | 101.503 | 2.607 | 96.062 | 2.721 | 100.9 | 2.654 | 98.633 | 21.956 | 889.917 | 26.549 | 0.083136
2020-07-01 12:30:00 | 2.375 | 94.292 | 2.516 | 88.685 | 2.61 | 106 | 2.939 | 108.533 | 21.618 | 889.35 | 26.341 | 0.20606
2020-07-01 12:45:00 | 2.59 | 56.233 | 2.331 | 106.481 | 2.336 | 105.133 | 2.802 | 62.679 | 22.248 | 889.717 | 25.203 | 0.1279
2020-07-01 13:00:00 | 2.949 | 90.267 | 3.119 | 86.937 | 3.354 | 101.167 | 3.492 | 87.767 | 22.848 | 889.8 | 24.853 | 0.14638
2020-07-01 13:15:00 | 2.87 | 81.85 | 2.741 | 75.764 | 3.039 | 54.24 | 3.123 | 61.633 | 22.864 | 889.767 | 24.528 | 0.080294
2020-07-01 13:30:00 | 3.131 | 62.477 | 3.265 | 61.988 | 3.351 | 66.833 | 3.528 | 67.767 | 23.148 | 889.9 | 23.979 | 0.12293
2020-07-01 13:45:00 | 1.722 | 60.202 | 1.4 | 51.177 | 1.742 | 62.833 | 1.6 | 89.071 | 23.335 | 889.55 | 23.824 | 0.1009
2020-07-01 14:00:00 | 1.29 | 115.397 | 1.717 | 167.757 | 2.02 | 114.303 | 2.266 | 55.767 | 23.785 | 889.783 | 23.261 | 0.15917
2020-07-01 14:15:00 | 3.303 | 93.318 | 3.381 | 85.747 | 3.45 | 90.533 | 3.617 | 82.233 | 24.335 | 889.583 | 23.424 | 0.14567
2020-07-01 14:30:00 | 2.872 | 67.023 | 3.066 | 54.44 | 2.868 | 86.067 | 3.097 | 75.467 | 24.577 | 889.8 | 22.011 | 0.14282
2020-07-01 14:45:00 | 2.032 | 99.217 | 2.603 | 81.703 | 2.67 | 91.233 | 3.236 | 65.675 | 25.314 | 889.267 | 22.192 | 0.1279
2020-07-01 15:00:00 | 2.154 | 105.052 | 2.116 | 155.9 | 2.462 | 129.701 | 2.832 | 100.034 | 25.185 | 889.817 | 21.885 | 0.18119
2020-07-01 15:15:00 | 1.671 | 89.805 | 2.036 | 85.532 | 2.354 | 92.267 | 2.53 | 91.5 | 25.327 | 889.65 | 22.149 | 0.31691
2020-07-01 15:30:00 | 2.94 | 60.759 | 3.145 | 55.125 | 3.361 | 58.867 | 3.394 | 54.233 | 25.514 | 889.9 | 21.781 | 0.22312
2020-07-01 15:45:00 | 0.771 | 221.518 | 0.283 | 162.391 | 1.058 | 240.433 | 0.225 | 51.267 | 26.064 | 889.967 | 21.069 | 0.1478
2020-07-01 16:00:00 | 2.421 | 66.785 | 2.135 | 134.811 | 2.373 | 57.467 | 2.529 | 61.967 | 26.36 | 889.5 | 20.349 | 0.096637
2020-07-01 16:15:00 | 2.616 | 306.587 | 2.488 | 298.12 | 2.617 | 303.933 | 2.604 | 304.2 | 26.16 | 890.033 | 20.816 | 0.14851
2020-07-01 16:30:00 | 2.217 | 62.816 | 2.199 | 114.818 | 2.638 | 26.375 | 2.427 | 49.867 | 27.018 | 889.667 | 19.297 | 0.13501
2020-07-01 16:45:00 | 1.337 | 250.741 | 1.316 | 244.225 | 1.406 | 255.883 | 1.323 | 168.041 | 27.648 | 889.567 | 17.792 | 0.06253
2020-07-01 17:00:00 | 2.626 | 276.347 | 2.365 | 283.43 | 2.089 | 262.167 | 2.229 | 295.867 | 28.21 | 889.567 | 17.051 | 0.17054
2020-07-01 17:15:00 | 4.876 | 313.747 | 5.043 | 308.585 | 4.972 | 311.567 | 5.131 | 314 | 27.056 | 889.4 | 18.009 | 0.15206
2020-07-01 17:30:00 | 1.627 | 245.302 | 1.985 | 273.297 | 1.9 | 237.967 | 2.242 | 214.5 | 28.031 | 889.6 | 16.944 | 0.12364
2020-07-01 17:45:00 | 3.067 | 267.553 | 3.232 | 254.212 | 3.331 | 250.083 | 3.119 | 236.15 | 27.952 | 889.367 | 16.28 | 0.51658
2020-07-01 18:00:00 | 2.976 | 292.193 | 3.165 | 290.463 | 3.262 | 303.233 | 3.296 | 298.733 | 28.839 | 889.633 | 15.381 | 1.1575
2020-07-01 18:15:00 | 3.132 | 294.013 | 3.175 | 287.635 | 3.212 | 294.683 | 3.302 | 292.067 | 27.789 | 889.6 | 16.173 | 0.77807
2020-07-01 18:30:00 | 4.784 | 316.867 | 5.064 | 309.425 | 4.889 | 308.4 | 4.956 | 300.333 | 28.081 | 889.3 | 15.311 | 0.73686
2020-07-01 18:45:00 | 4.098 | 67.592 | 4.356 | 109.65 | 4.368 | 64.067 | 4.264 | 85.367 | 28.148 | 889.233 | 16.547 | 4.6791
2020-07-01 19:00:00 | 5.002 | 163.03 | 5.16 | 232.127 | 4.938 | 222.067 | 4.675 | 244.267 | 27.627 | 889.533 | 18.237 | 8.8437
2020-07-01 19:15:00 | 4.253 | 129.342 | 4.308 | 220.91 | 4.375 | 174.833 | 4.209 | 107.167 | 27.639 | 889.267 | 17.807 | 6.7575
2020-07-01 19:30:00 | 3.256 | 285.827 | 3.47 | 307.912 | 3.324 | 256.033 | 3.617 | 211.8 | 27.294 | 889.933 | 17.729 | 2.6312
2020-07-01 19:45:00 | 2.936 | 222.707 | 3.467 | 221.508 | 3.267 | 97.403 | 3.456 | 142.367 | 27.264 | 889.567 | 17.237 | 2.1182
2020-07-01 20:00:00 | 3.046 | 243.4 | 3.081 | 306.13 | 3.111 | 289.567 | 3.395 | 337.333 | 27.248 | 889.167 | 17.34 | 3.3205
2020-07-01 20:15:00 | 4.452 | 170.591 | 4.624 | 244.4 | 4.632 | 129 | 4.61 | 152.467 | 27.039 | 889.433 | 17.991 | 6.6552
2020-07-01 20:30:00 | 5.255 | 108.483 | 5.522 | 247.599 | 5.394 | 79.167 | 5.434 | 106.8 | 26.506 | 889.4 | 19.721 | 8.3079
2020-07-01 20:45:00 | 4.44 | 60.542 | 4.869 | 106.597 | 4.877 | 12.933 | 4.904 | 24.9 | 26.023 | 889.467 | 20.555 | 12.4847
2020-07-01 21:00:00 | 5.639 | 82.04 | 5.903 | 178.398 | 6.012 | 24.134 | 5.928 | 35.333 | 25.831 | 889.767 | 21.459 | 11.7649
2020-07-01 21:15:00 | 3.963 | 12.479 | 4.381 | 24.651 | 4.189 | 21.433 | 4.379 | 12.9 | 25.189 | 889.917 | 22.544 | 10.0353
2020-07-01 21:30:00 | 4.353 | 225.307 | 5.28 | 351.195 | 5.604 | 330.4 | 6.298 | 353.333 | 24.61 | 889.867 | 23.997 | 5.6049
2020-07-01 21:45:00 | 4.379 | 248.693 | 5.4 | 351.02 | 5.756 | 294.933 | 6.248 | 354.633 | 24.318 | 889.65 | 24.829 | 7.1554
2020-07-01 22:00:00 | 4.844 | 343.813 | 5.98 | 342.152 | 6.61 | 349.133 | 6.928 | 349.133 | 23.581 | 889.65 | 25.837 | 9.4228
2020-07-01 22:15:00 | 4.168 | 342.747 | 5.419 | 351.934 | 5.318 | 238.133 | 5.64 | 237.9 | 23.548 | 889.9 | 26.261 | 15.1628
2020-07-01 22:30:00 | 3.965 | 118.147 | 4.885 | 215.585 | 4.975 | 142 | 5.156 | 187.767 | 23.148 | 889.7 | 26.875 | 11.1694
2020-07-01 22:45:00 | 3.484 | 142.12 | 4.207 | 347.43 | 4.435 | 308.9 | 4.623 | 340.033 | 23.048 | 889.5 | 26.88 | 7.2741
2020-07-01 23:00:00 | 2.47 | 315.733 | 3.226 | 314.155 | 3.77 | 319.567 | 4.292 | 317.7 | 22.714 | 889.55 | 27.109 | 4.9626
2020-07-01 23:15:00 | 2.583 | 316.053 | 3.307 | 313.303 | 3.642 | 316.833 | 3.968 | 316.6 | 23.031 | 889.717 | 26.093 | 4.8986
2020-07-01 23:30:00 | 3.163 | 303.52 | 3.639 | 302.093 | 3.821 | 305.567 | 4.215 | 302.533 | 23.181 | 889.65 | 25.195 | 6.4733
2020-07-01 23:45:00 | 2.93 | 294.027 | 3.44 | 298.701 | 3.647 | 301.4 | 3.992 | 299.167 | 22.698 | 890 | 25.389 | 9.1954