## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-02 00:00:00 | 3.149 | 268.88 | 3.367 | 273.377 | 3.357 | 278.6 | 3.6 | 274.633 | 22.394 | 889.85 | 25.621 | 10.0858
2020-07-02 00:15:00 | 3.833 | 258.747 | 4.049 | 263.318 | 4.05 | 270.867 | 4.184 | 269.6 | 21.868 | 890.017 | 26.555 | 10.0339
2020-07-02 00:30:00 | 3.519 | 260.527 | 3.661 | 264.648 | 3.777 | 273.9 | 4.128 | 273.333 | 21.56 | 889.8 | 27.347 | 11.843
2020-07-02 00:45:00 | 3.25 | 254.953 | 3.855 | 256.221 | 3.896 | 261.183 | 3.985 | 257.717 | 21.489 | 889.35 | 28.064 | 8.9617
2020-07-02 01:00:00 | 3.804 | 254.227 | 4.127 | 257.915 | 4.11 | 263.1 | 4.045 | 260.2 | 21.231 | 889.767 | 28.227 | 6.324
2020-07-02 01:15:00 | 4.394 | 244.493 | 4.464 | 247.504 | 4.646 | 255.033 | 4.687 | 250.183 | 20.773 | 889.667 | 29.155 | 7.3664
2020-07-02 01:30:00 | 4.868 | 252.607 | 5.429 | 253.578 | 5.405 | 260.933 | 5.382 | 258.3 | 20.781 | 889.65 | 29.979 | 9.2452
2020-07-02 01:45:00 | 4.979 | 252.827 | 5.27 | 256.771 | 5.208 | 263.3 | 5.158 | 259.85 | 20.385 | 889.517 | 30.597 | 11.7691
2020-07-02 02:00:00 | 4.703 | 242.82 | 4.989 | 243.694 | 4.999 | 251.533 | 4.945 | 249.25 | 19.56 | 889.567 | 32.315 | 12.1365
2020-07-02 02:15:00 | 6.132 | 246.687 | 6.285 | 245.318 | 6.283 | 251.033 | 6.254 | 247.133 | 18.948 | 889.683 | 32.059 | 15.4328
2020-07-02 02:30:00 | 5.762 | 254.8 | 6.79 | 253.01 | 6.851 | 258.933 | 6.851 | 257.25 | 19.006 | 889.917 | 32.504 | 17.1367
2020-07-02 02:45:00 | 5.248 | 263.133 | 6.748 | 263.08 | 6.729 | 268.967 | 6.758 | 265.833 | 18.789 | 889.75 | 33.392 | 17.5275
2020-07-02 03:00:00 | 5.53 | 262.733 | 6.688 | 263.377 | 6.923 | 269.7 | 7.114 | 266.767 | 18.689 | 889.45 | 33.525 | 20.9461
2020-07-02 03:15:00 | 4.953 | 267.267 | 6.426 | 268.474 | 6.58 | 275.767 | 6.647 | 272.367 | 18.148 | 889.617 | 34.688 | 19.6408
2020-07-02 03:30:00 | 4.079 | 244.2 | 5.179 | 258.442 | 5.259 | 266.867 | 5.452 | 265.767 | 17.81 | 889.717 | 36.52 | 15.0342
2020-07-02 03:45:00 | 5.938 | 228.713 | 5.874 | 233.053 | 5.419 | 245.8 | 5.283 | 248.567 | 16.281 | 889.633 | 39.376 | 18.3767
2020-07-02 04:00:00 | 5.242 | 241.947 | 6.373 | 244.878 | 5.907 | 253.9 | 5.761 | 253.25 | 16.898 | 889.55 | 39.739 | 23.0977
2020-07-02 04:15:00 | 5.647 | 261.147 | 6.313 | 262.146 | 6.569 | 267.133 | 6.763 | 261.9 | 16.764 | 890.083 | 38.843 | 31.7254
2020-07-02 04:30:00 | 6.016 | 261.88 | 6.402 | 265.919 | 6.74 | 271.367 | 7.108 | 266.333 | 16.781 | 889.883 | 38.64 | 32.2683
2020-07-02 04:45:00 | 5.83 | 256.96 | 6.88 | 265.603 | 7.082 | 272 | 7.361 | 267.033 | 16.498 | 889.45 | 39.573 | 28.105
2020-07-02 05:00:00 | 6.065 | 248.4 | 6.87 | 261.866 | 7.106 | 270.467 | 7.563 | 267.767 | 15.887 | 889.625 | 40.549 | 28.93
2020-07-02 05:15:00 | 6.208 | 247.14 | 6.822 | 253.979 | 7.006 | 263.6 | 7.342 | 261.267 | 16.464 | 889.75 | 39.931 | 27.489
2020-07-02 05:30:00 | 5.914 | 245.053 | 7.328 | 252.014 | 7.535 | 260.133 | 7.751 | 258.233 | 16.481 | 889.55 | 39.829 | 31.7218
2020-07-02 05:45:00 | 6.533 | 253.393 | 7.697 | 259.063 | 8.164 | 265.667 | 8.635 | 262.483 | 16.881 | 889.983 | 39.867 | 30.8947
2020-07-02 06:00:00 | 6.158 | 246.707 | 7.687 | 254.482 | 8.095 | 263.133 | 8.326 | 260.483 | 16.814 | 889.7 | 40.469 | 27.7832
2020-07-02 06:15:00 | 5.578 | 228.213 | 6.635 | 242.96 | 6.814 | 255.967 | 7.134 | 255.15 | 16.481 | 889.475 | 41.248 | 25.2329
2020-07-02 06:30:00 | 6.058 | 212.293 | 7.102 | 222.574 | 6.632 | 235.5 | 6.432 | 239 | 16.141 | 890.125 | 41.568 | 29.9113
2020-07-02 06:45:00 | 5.653 | 222.12 | 7.048 | 226.807 | 6.965 | 235.767 | 6.75 | 237.133 | 16.918 | 889.917 | 39.579 | 33.0136
2020-07-02 07:00:00 | 5.994 | 219.953 | 6.881 | 223.014 | 7.41 | 233.633 | 7.109 | 234.4 | 17.814 | 889.617 | 37.413 | 38.2846
2020-07-02 07:15:00 | 6.734 | 229.187 | 7.847 | 228.369 | 7.957 | 237.467 | 7.798 | 237.567 | 18.798 | 889.4 | 35.008 | 37.1321
2020-07-02 07:30:00 | 6.358 | 229.32 | 7.518 | 228.074 | 7.983 | 235.233 | 7.877 | 233.1 | 19.102 | 889.383 | 34.411 | 33.3881
2020-07-02 07:45:00 | 6.628 | 226.44 | 7.485 | 226.872 | 8.088 | 233.967 | 8.056 | 231.067 | 20.098 | 890.067 | 32.677 | 31.6621
2020-07-02 08:00:00 | 6.34 | 228.62 | 6.796 | 226.181 | 7.228 | 229.5 | 7.365 | 225.9 | 20.856 | 889.533 | 31.131 | 30.0747
2020-07-02 08:15:00 | 6.423 | 237.513 | 6.37 | 233.999 | 6.806 | 235.867 | 6.967 | 232.1 | 21.356 | 890.033 | 29.92 | 30.661
2020-07-02 08:30:00 | 6.826 | 242.88 | 7.1 | 240.115 | 7.592 | 246.283 | 7.26 | 242.7 | 22.135 | 889.467 | 28.507 | 33.4208
2020-07-02 08:45:00 | 6.845 | 274.147 | 7.436 | 268.043 | 7.6 | 271.167 | 7.623 | 262.9 | 22.931 | 889.717 | 27.035 | 44.3038
2020-07-02 09:00:00 | 8.419 | 282.333 | 8.999 | 276.056 | 9.266 | 279.367 | 9.55 | 277.067 | 22.364 | 890.067 | 27.381 | 49.1087
2020-07-02 09:15:00 | 8.3 | 293.587 | 8.98 | 288.675 | 9.42 | 292.567 | 9.846 | 289.967 | 22.198 | 889.883 | 27.24 | 47.7892
2020-07-02 09:30:00 | 8.817 | 294.813 | 9.343 | 289.561 | 9.266 | 293.333 | 9.592 | 288.967 | 22.41 | 889.617 | 27.179 | 45.4549
2020-07-02 09:45:00 | 7.486 | 298.827 | 7.757 | 292.947 | 7.78 | 296.3 | 8.028 | 293.1 | 22.439 | 889.917 | 26.901 | 39.5466
2020-07-02 10:00:00 | 7.506 | 287.76 | 7.868 | 282.54 | 8.338 | 287.2 | 8.724 | 285 | 22.731 | 889.533 | 27.043 | 30.8429
2020-07-02 10:15:00 | 6.122 | 292.347 | 6.365 | 289.088 | 6.596 | 295.067 | 6.975 | 292.667 | 23.231 | 890 | 26.541 | 21.3937
2020-07-02 10:30:00 | 6.435 | 303.347 | 6.602 | 300.259 | 6.672 | 303.033 | 6.871 | 302.633 | 23.414 | 889.417 | 25.496 | 16.1547
2020-07-02 10:45:00 | 6.618 | 309.707 | 6.769 | 297.146 | 6.919 | 302.933 | 6.962 | 300.933 | 23.631 | 889.317 | 25.005 | 18.0882
2020-07-02 11:00:00 | 5.57 | 274.52 | 6.079 | 269.466 | 6.178 | 274.067 | 6.356 | 267.35 | 23.985 | 889.767 | 24.555 | 16.4155
2020-07-02 11:15:00 | 5.21 | 305.973 | 5.221 | 297.896 | 5.477 | 301.333 | 5.88 | 298 | 24.014 | 889.983 | 23.979 | 19.6067
2020-07-02 11:30:00 | 7.264 | 292.413 | 7.265 | 282.884 | 7.247 | 283.7 | 7.617 | 283.2 | 24.356 | 889.6 | 23.672 | 18.6538
2020-07-02 11:45:00 | 7.394 | 270.567 | 7.412 | 262.37 | 7.984 | 269.867 | 7.74 | 263.117 | 24.568 | 889.733 | 24.027 | 24.3284
2020-07-02 12:00:00 | 5.456 | 327.613 | 5.604 | 317.703 | 5.884 | 319.733 | 6.273 | 312.567 | 24.456 | 889.683 | 24.069 | 21.6424
2020-07-02 12:15:00 | 6.482 | 304.6 | 6.99 | 296.966 | 7.212 | 301.6 | 7.591 | 298.733 | 24.939 | 889.833 | 23.939 | 19.4127
2020-07-02 12:30:00 | 5.404 | 268.793 | 6.144 | 267.794 | 6.329 | 271.633 | 6.571 | 272.017 | 25.144 | 889.833 | 23.219 | 19.6003
2020-07-02 12:45:00 | 6.391 | 295.293 | 6.888 | 288.6 | 6.842 | 294.533 | 6.981 | 294.267 | 25.368 | 889.95 | 23.213 | 14.1694
2020-07-02 13:00:00 | 5.176 | 293.76 | 5.347 | 289.129 | 5.471 | 294.45 | 6.162 | 290.167 | 25.627 | 890.017 | 22.899 | 13.0154
2020-07-02 13:15:00 | 6.763 | 317 | 6.804 | 310.711 | 6.934 | 313.867 | 7.068 | 309.633 | 26.123 | 889.867 | 21.001 | 16.456
2020-07-02 13:30:00 | 4.818 | 313.24 | 5.118 | 311.55 | 5.335 | 312.033 | 5.523 | 312.133 | 26.194 | 889.367 | 20.744 | 12.5976
2020-07-02 13:45:00 | 5.053 | 298.227 | 5.36 | 289.987 | 5.599 | 296.333 | 5.924 | 293.333 | 26.148 | 889.817 | 20.22 | 13.3395
2020-07-02 14:00:00 | 4.552 | 275.92 | 4.942 | 273.411 | 5.072 | 283.483 | 5.204 | 282.367 | 26.264 | 889.667 | 19.975 | 12.9252
2020-07-02 14:15:00 | 5.862 | 267.8 | 6.528 | 268.831 | 6.586 | 274.967 | 7.027 | 273.6 | 27.606 | 889.7 | 18.636 | 16.9896
2020-07-02 14:30:00 | 6.118 | 302.427 | 6.183 | 299.394 | 6.148 | 302.067 | 6.442 | 301.233 | 27.052 | 889.267 | 17.299 | 18.0185
2020-07-02 14:45:00 | 5.233 | 288.133 | 5.62 | 285.726 | 5.856 | 292.2 | 6.308 | 288.717 | 27.135 | 889.8 | 16.676 | 14.1119
2020-07-02 15:00:00 | 6.478 | 318.453 | 6.722 | 311.211 | 6.624 | 313.367 | 6.84 | 313.5 | 27.01 | 889.033 | 17.845 | 18.0278
2020-07-02 15:15:00 | 6.784 | 313.24 | 7.491 | 306.873 | 7.518 | 312.967 | 7.634 | 313.167 | 27.968 | 889.467 | 16.257 | 12.4172
2020-07-02 15:30:00 | 8.273 | 288.213 | 8.443 | 291.03 | 8.265 | 296.233 | 8.802 | 296.8 | 28.148 | 889.3 | 15.565 | 16.7111
2020-07-02 15:45:00 | 4.526 | 300.853 | 5.208 | 312.466 | 5.882 | 284.234 | 5.94 | 306.3 | 28.031 | 889.2 | 15.556 | 14.7165
2020-07-02 16:00:00 | 4.564 | 297.48 | 4.804 | 291.065 | 4.89 | 295.567 | 5.057 | 290.017 | 29.06 | 889.467 | 14.86 | 15.4634
2020-07-02 16:15:00 | 5.986 | 316.16 | 6.148 | 312.226 | 6.336 | 318.9 | 6.513 | 314.633 | 28.381 | 889.4 | 13.985 | 18.8201
2020-07-02 16:30:00 | 8.237 | 298.653 | 8.443 | 296.596 | 8.462 | 303.433 | 8.49 | 303.4 | 28.677 | 889.233 | 13.021 | 28.7552
2020-07-02 16:45:00 | 7.056 | 310.547 | 7.021 | 302.416 | 7.235 | 307.2 | 7.392 | 303.5 | 28.673 | 889.733 | 12.719 | 23.1382
2020-07-02 17:00:00 | 4.58 | 333.32 | 4.376 | 322.061 | 4.332 | 317.833 | 4.58 | 313.8 | 28.439 | 889.267 | 12.724 | 27.8606
2020-07-02 17:15:00 | 7.706 | 295.2 | 7.911 | 291.021 | 8.177 | 296.233 | 8.455 | 293.567 | 28.948 | 889.433 | 12.959 | 27.3049
2020-07-02 17:30:00 | 7.384 | 293.4 | 7.865 | 289.887 | 8.268 | 295.667 | 8.538 | 294.55 | 29.164 | 889.5 | 12.88 | 27.4591
2020-07-02 17:45:00 | 6.477 | 268.34 | 6.829 | 265.151 | 6.925 | 269.267 | 6.897 | 265.717 | 28.731 | 889.7 | 12.983 | 25.7154
2020-07-02 18:00:00 | 3.748 | 266.433 | 3.862 | 261.436 | 4.233 | 271.35 | 4.779 | 271.3 | 28.914 | 889.433 | 13.251 | 14.3812
2020-07-02 18:15:00 | 4.469 | 292.053 | 4.645 | 284.811 | 4.846 | 287.167 | 5.247 | 285 | 29.048 | 889.633 | 13.304 | 15.1855
2020-07-02 18:30:00 | 6.638 | 287.333 | 6.946 | 284.921 | 7.121 | 288.967 | 7.223 | 288.9 | 28.785 | 889.467 | 13.388 | 25.4326
2020-07-02 18:45:00 | 5.727 | 306.6 | 6.154 | 301.278 | 6.199 | 306.033 | 6.649 | 302.867 | 28.844 | 889.667 | 13.52 | 18.7277
2020-07-02 19:00:00 | 6.457 | 318.48 | 6.783 | 313.018 | 7.135 | 319.333 | 7.564 | 316.567 | 28.552 | 889.867 | 14.977 | 29.259
2020-07-02 19:15:00 | 6.53 | 326.547 | 6.695 | 320.701 | 6.766 | 323.367 | 7.507 | 318.833 | 29.027 | 889.633 | 14.868 | 28.2521
2020-07-02 19:30:00 | 4.923 | 300.947 | 5.152 | 294.43 | 5.465 | 297.933 | 5.951 | 293.833 | 28.856 | 889.2 | 14.835 | 26.8125
2020-07-02 19:45:00 | 6.589 | 286.933 | 7.051 | 280.483 | 7.346 | 283.767 | 7.416 | 282.667 | 28.556 | 889.733 | 15.083 | 37.0752
2020-07-02 20:00:00 | 6.711 | 307.253 | 7.029 | 303.594 | 7.199 | 309.333 | 7.752 | 306.733 | 28.373 | 889.733 | 16.453 | 32.782
2020-07-02 20:15:00 | 8.071 | 314.92 | 8.435 | 310.809 | 8.759 | 313.533 | 9.4 | 308.8 | 28.206 | 889.467 | 17.805 | 46.5776
2020-07-02 20:30:00 | 6.037 | 310.053 | 6.327 | 305.524 | 6.537 | 311.1 | 6.734 | 309.4 | 27.952 | 889.5 | 17.701 | 40.4533
2020-07-02 20:45:00 | 7.896 | 324.493 | 8.671 | 321.094 | 9.2 | 323 | 9.552 | 322.133 | 27.581 | 889.233 | 18.709 | 45.8088
2020-07-02 21:00:00 | 6.876 | 321.093 | 7.572 | 314.167 | 8.163 | 316.133 | 8.63 | 313.367 | 27.068 | 889.767 | 19.029 | 35.3997
2020-07-02 21:15:00 | 7.614 | 306.8 | 8.486 | 302.793 | 8.84 | 307.967 | 9.336 | 306.1 | 27.502 | 889.133 | 19.225 | 43.8477
2020-07-02 21:30:00 | 5.87 | 327.813 | 6.716 | 321.44 | 7.179 | 325.633 | 7.687 | 324.633 | 26.648 | 889.767 | 20.817 | 36.8891
2020-07-02 21:45:00 | 6.117 | 326.213 | 7.234 | 320.548 | 7.561 | 324.467 | 7.981 | 324.7 | 26.202 | 889.783 | 21.547 | 33.5991
2020-07-02 22:00:00 | 5.08 | 329.68 | 6.063 | 323.11 | 6.366 | 326.767 | 6.801 | 327.267 | 25.61 | 890.15 | 22.235 | 28.9783
2020-07-02 22:15:00 | 4.284 | 325.533 | 5.405 | 323.802 | 5.906 | 329.2 | 6.166 | 328.567 | 25.256 | 890.067 | 22.781 | 20.659
2020-07-02 22:30:00 | 3.799 | 319.893 | 4.757 | 323.924 | 5.195 | 329.2 | 5.474 | 330.467 | 25.014 | 889.617 | 23.251 | 14.0955
2020-07-02 22:45:00 | 3.424 | 310.72 | 3.646 | 315.431 | 3.928 | 319.9 | 4.318 | 320.333 | 24.652 | 889.95 | 23.408 | 9.054
2020-07-02 23:00:00 | 3.292 | 289.107 | 3.275 | 294.705 | 3.145 | 305.833 | 3.427 | 307.933 | 24.894 | 889.95 | 23.984 | 4.4588
2020-07-02 23:15:00 | 3.404 | 279.253 | 3.208 | 288.805 | 3.249 | 299.733 | 3.616 | 300.8 | 24.481 | 889.8 | 24.171 | 2.6646
2020-07-02 23:30:00 | 3.318 | 267.68 | 2.909 | 284.499 | 2.798 | 296.533 | 3.2 | 296.867 | 23.948 | 889.65 | 25.336 | 1.5007
2020-07-02 23:45:00 | 3.648 | 267.2 | 3.475 | 281.555 | 3.4 | 291.833 | 3.748 | 295.1 | 23.598 | 889.767 | 26.293 | 1.8333