## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-03 00:00:00 | 4.192 | 242.233 | 3.58 | 261.288 | 3.373 | 275.4 | 3.496 | 277.6 | 22.177 | 889.5 | 28.725 | 0.97774
2020-07-03 00:15:00 | 3.928 | 238.953 | 3.302 | 258.977 | 2.919 | 266.667 | 3.155 | 272.4 | 22.031 | 889.867 | 28.517 | 0.48247
2020-07-03 00:30:00 | 4.32 | 237.187 | 3.558 | 249.588 | 3.04 | 260 | 2.922 | 268.867 | 21.506 | 889.833 | 28.875 | 0.71057
2020-07-03 00:45:00 | 4.311 | 236.167 | 4.609 | 252.39 | 4.275 | 263.6 | 4.029 | 264 | 21.018 | 889.85 | 29.088 | 3.3127
2020-07-03 01:00:00 | 4.948 | 248.967 | 4.749 | 264.498 | 4.833 | 277.267 | 5.055 | 282.5 | 20.727 | 889.5 | 29.045 | 5.7634
2020-07-03 01:15:00 | 4.525 | 252.067 | 4.183 | 266.359 | 4.109 | 276.533 | 4.451 | 279 | 20.694 | 889.667 | 28.976 | 5.6504
2020-07-03 01:30:00 | 5.07 | 250.493 | 4.717 | 266.72 | 4.519 | 278.133 | 4.744 | 280 | 20.902 | 889.917 | 29.312 | 5.9823
2020-07-03 01:45:00 | 4.957 | 251.993 | 4.676 | 264.916 | 4.532 | 274.133 | 4.792 | 274.933 | 20.868 | 889.817 | 28.912 | 6.0554
2020-07-03 02:00:00 | 4.998 | 243.72 | 4.679 | 257.907 | 4.52 | 267.333 | 4.543 | 270.267 | 20.381 | 889.8 | 29.685 | 5.8224
2020-07-03 02:15:00 | 4.881 | 236.88 | 4.832 | 255.632 | 4.707 | 268.133 | 4.497 | 269.633 | 20.023 | 889.6 | 30.624 | 6.3859
2020-07-03 02:30:00 | 5.24 | 234.213 | 5.252 | 255.018 | 4.923 | 268.8 | 4.98 | 271.4 | 19.481 | 889.95 | 31.403 | 8.8011
2020-07-03 02:45:00 | 5.57 | 237.133 | 5.552 | 251.742 | 5.308 | 263.6 | 5.306 | 262.133 | 18.723 | 889.833 | 31.888 | 11.4465
2020-07-03 03:00:00 | 5.727 | 241.927 | 5.534 | 251.132 | 5.492 | 259.4 | 5.514 | 258.283 | 18.981 | 890.233 | 31.552 | 13.1874
2020-07-03 03:15:00 | 5.652 | 247.38 | 5.854 | 257.314 | 5.908 | 265.133 | 6.002 | 265.133 | 19.531 | 889.533 | 31.419 | 14.1893
2020-07-03 03:30:00 | 5.469 | 250.78 | 5.389 | 262.838 | 5.512 | 273.4 | 5.624 | 273.167 | 19.26 | 889.85 | 31.757 | 10.78
2020-07-03 03:45:00 | 5.498 | 243.34 | 5.235 | 260.166 | 5.101 | 271.8 | 5.253 | 272.433 | 19.348 | 889.967 | 32.125 | 9.9614
2020-07-03 04:00:00 | 5.23 | 238.747 | 5.176 | 255.272 | 4.803 | 268.467 | 4.982 | 269.733 | 18.531 | 890.133 | 33.443 | 9.398
2020-07-03 04:15:00 | 5.049 | 233.073 | 5.425 | 255.043 | 5.164 | 269.8 | 5.25 | 270.567 | 18.298 | 889.483 | 34.011 | 9.3255
2020-07-03 04:30:00 | 5.329 | 234.98 | 5.561 | 249.674 | 5.171 | 261.667 | 5.125 | 262.733 | 18.194 | 889.917 | 34.149 | 9.6239
2020-07-03 04:45:00 | 5.559 | 220.9 | 5.3 | 244.186 | 4.985 | 258.6 | 4.919 | 262.433 | 17.844 | 889.867 | 35.227 | 8.8267
2020-07-03 05:00:00 | 5.732 | 222.167 | 5.715 | 234.573 | 5.064 | 252.967 | 4.778 | 258.3 | 17.694 | 889.65 | 35.792 | 8.7783
2020-07-03 05:15:00 | 5.971 | 227.147 | 5.48 | 238.207 | 4.815 | 252.367 | 4.58 | 258.267 | 17.989 | 889.683 | 35.851 | 8.9247
2020-07-03 05:30:00 | 6.021 | 225.62 | 6.024 | 236.23 | 5.382 | 248.5 | 4.858 | 249.867 | 17.36 | 890.067 | 36.192 | 10.3096
2020-07-03 05:45:00 | 5.71 | 230.64 | 5.839 | 245.382 | 5.535 | 254.267 | 5.222 | 255.917 | 17.302 | 889.517 | 37.44 | 9.7127
2020-07-03 06:00:00 | 5.917 | 227.66 | 5.728 | 241.205 | 5.226 | 250.967 | 4.895 | 253.767 | 16.881 | 889.7 | 37.957 | 8.9809
2020-07-03 06:15:00 | 5.584 | 228.04 | 5.323 | 246.458 | 4.998 | 256.867 | 4.9 | 262.267 | 17.131 | 889.9 | 37.643 | 8.126
2020-07-03 06:30:00 | 5.685 | 225.933 | 5.355 | 240.904 | 4.898 | 253.067 | 4.611 | 257.933 | 17.348 | 889.9 | 36.885 | 7.3288
2020-07-03 06:45:00 | 5.734 | 221.113 | 6.418 | 232.105 | 5.611 | 245.067 | 4.998 | 246.367 | 17.685 | 889.883 | 36.357 | 9.2452
2020-07-03 07:00:00 | 5.383 | 219.98 | 6.015 | 225.49 | 5.313 | 236.9 | 4.854 | 239.1 | 18.464 | 889.85 | 35.381 | 8.1744
2020-07-03 07:15:00 | 4.931 | 223.953 | 5.929 | 224.671 | 5.093 | 235.667 | 4.689 | 238.4 | 19.439 | 889.75 | 32.992 | 6.6694
2020-07-03 07:30:00 | 5.012 | 228.16 | 5.718 | 227.972 | 5.335 | 238.667 | 5.151 | 238.967 | 20.868 | 890.15 | 30.389 | 7.6507
2020-07-03 07:45:00 | 4.612 | 232.973 | 5.28 | 227.811 | 5.876 | 237.9 | 5.513 | 236.967 | 22.073 | 889.617 | 27.968 | 9.6687
2020-07-03 08:00:00 | 5.698 | 242.7 | 5.711 | 237.366 | 5.876 | 242.633 | 5.935 | 237.467 | 23.248 | 889.45 | 25.147 | 9.0683
2020-07-03 08:15:00 | 4.647 | 247.893 | 4.758 | 244.384 | 4.808 | 249.117 | 4.879 | 246.917 | 24.827 | 889.417 | 23.067 | 9.1741
2020-07-03 08:30:00 | 4.472 | 254.42 | 4.611 | 249.386 | 4.658 | 253.883 | 4.786 | 248.017 | 25.056 | 890.2 | 21.717 | 7.716
2020-07-03 08:45:00 | 4.795 | 266.927 | 4.839 | 259.2 | 4.9 | 263.433 | 5.006 | 259.15 | 25.056 | 890.117 | 21.933 | 8.1523
2020-07-03 09:00:00 | 4.124 | 270.367 | 4.512 | 265.332 | 4.535 | 272.117 | 4.553 | 270.733 | 24.923 | 889.967 | 22.36 | 8.0607
2020-07-03 09:15:00 | 5.14 | 281.56 | 5.432 | 276.551 | 5.572 | 279.533 | 5.533 | 277.75 | 25.135 | 889.9 | 22.056 | 9.6658
2020-07-03 09:30:00 | 5.416 | 307 | 5.56 | 303.618 | 5.519 | 305 | 5.595 | 301.367 | 25.327 | 889.583 | 21.555 | 13.2201
2020-07-03 09:45:00 | 6 | 304.707 | 6.364 | 299.106 | 6.425 | 302.033 | 6.814 | 298.033 | 25.927 | 890.033 | 20.711 | 15.582
2020-07-03 10:00:00 | 5.435 | 306.947 | 5.497 | 296.605 | 5.658 | 301.167 | 5.814 | 298.7 | 25.914 | 889.683 | 20.453 | 16.4702
2020-07-03 10:15:00 | 5.443 | 300.573 | 5.694 | 292.512 | 5.683 | 297.333 | 5.905 | 294 | 25.923 | 889.767 | 20.528 | 13.2485
2020-07-03 10:30:00 | 5.278 | 257.987 | 5.656 | 255.666 | 5.732 | 262.867 | 5.978 | 260.15 | 26.577 | 889.667 | 20.259 | 11.9382
2020-07-03 10:45:00 | 6.258 | 282.213 | 6.566 | 278.719 | 6.382 | 279.4 | 6.638 | 275.633 | 26.889 | 889.633 | 19.984 | 16.9257
2020-07-03 11:00:00 | 6.296 | 283.947 | 6.618 | 275.835 | 6.961 | 280.933 | 7.43 | 279.967 | 26.598 | 889.433 | 19.329 | 18.2957
2020-07-03 11:15:00 | 3.891 | 298.92 | 4.22 | 290.888 | 4.752 | 291.35 | 4.798 | 287.3 | 27.118 | 889.267 | 19.128 | 18.3753
2020-07-03 11:30:00 | 6.254 | 295.213 | 6.53 | 293.53 | 6.799 | 297.033 | 6.973 | 292.6 | 27.36 | 889.433 | 18.279 | 19.3956
2020-07-03 11:45:00 | 5.538 | 308.16 | 5.657 | 314.854 | 6.124 | 306.633 | 6.262 | 294.067 | 27.794 | 889.867 | 17.875 | 19.1654
2020-07-03 12:00:00 | 6.799 | 322.373 | 7.134 | 314.032 | 7.478 | 316.833 | 7.832 | 312.267 | 28.039 | 889.8 | 16.887 | 22.1718
2020-07-03 12:15:00 | 4.606 | 284.633 | 4.928 | 274.905 | 5.41 | 270.904 | 5.84 | 269.417 | 28.144 | 889.3 | 17.44 | 23.5418
2020-07-03 12:30:00 | 6.035 | 298.387 | 6.326 | 286.705 | 6.517 | 287.667 | 6.785 | 282.667 | 28.494 | 889.433 | 16.703 | 22.3928
2020-07-03 12:45:00 | 7.339 | 272.88 | 7.503 | 272.288 | 7.466 | 276.6 | 7.558 | 274.633 | 28.573 | 889.367 | 16.577 | 21.6126
2020-07-03 13:00:00 | 6.15 | 284.073 | 6.468 | 278.363 | 6.866 | 283.133 | 7.281 | 278.667 | 28.51 | 889.133 | 15.959 | 22.1626
2020-07-03 13:15:00 | 5.095 | 278.86 | 5.476 | 270.455 | 5.955 | 271.617 | 6.431 | 264.7 | 29.614 | 889.233 | 15.277 | 24.4101
2020-07-03 13:30:00 | 4.748 | 287.32 | 5.018 | 276.61 | 5.227 | 278.4 | 5.401 | 272.817 | 28.827 | 889.633 | 15.452 | 22.8682
2020-07-03 13:45:00 | 6.59 | 272.567 | 7.262 | 268.664 | 7.44 | 268.2 | 7.642 | 263.117 | 29.198 | 889.733 | 15.028 | 21.0832
2020-07-03 14:00:00 | 5.601 | 301.66 | 5.938 | 297.062 | 6.313 | 298.883 | 6.497 | 293.917 | 30.018 | 889.733 | 14.832 | 21.2161
2020-07-03 14:15:00 | 8.134 | 303.893 | 8.46 | 295.969 | 8.582 | 300.5 | 8.8 | 300.033 | 29.848 | 889.133 | 14.243 | 29.1318
2020-07-03 14:30:00 | 6.191 | 284.333 | 6.36 | 277.76 | 6.554 | 281.267 | 7.109 | 278.367 | 29.564 | 889.867 | 13.621 | 23.0998
2020-07-03 14:45:00 | 5.31 | 276.287 | 5.779 | 282.093 | 6.37 | 283.467 | 6.778 | 274.05 | 29.864 | 889.433 | 14.272 | 29.4544
2020-07-03 15:00:00 | 7.328 | 314.827 | 7.808 | 310.107 | 7.931 | 314.367 | 7.919 | 311.767 | 30.127 | 889.633 | 14.188 | 26.5084
2020-07-03 15:15:00 | 3.093 | 293.733 | 3.215 | 292.251 | 3.137 | 302.467 | 3.39 | 303.55 | 29.281 | 889.5 | 14.457 | 20.8409
2020-07-03 15:30:00 | 7.506 | 326.48 | 7.793 | 318.238 | 8.246 | 314.533 | 8.561 | 319.867 | 30.089 | 889.467 | 14.311 | 26.4814
2020-07-03 15:45:00 | 4.143 | 313.48 | 4.478 | 294.516 | 4.521 | 312.433 | 4.634 | 301.233 | 31.177 | 889.4 | 13.661 | 16.7054
2020-07-03 16:00:00 | 5.234 | 332.053 | 5.21 | 323.531 | 5.497 | 330.967 | 5.693 | 327.9 | 31.023 | 889.467 | 13.608 | 17.3265
2020-07-03 16:15:00 | 6.433 | 308.093 | 6.562 | 302.52 | 6.76 | 307.467 | 7.335 | 303.467 | 30.481 | 889.5 | 13.025 | 26.8594
2020-07-03 16:30:00 | 5.508 | 317.96 | 5.773 | 312.373 | 6.102 | 318.2 | 6.172 | 320.967 | 30.802 | 889.433 | 12.749 | 25.719
2020-07-03 16:45:00 | 8.568 | 311.947 | 8.983 | 304.847 | 9.119 | 305.033 | 9.482 | 302.367 | 30.994 | 889.467 | 12.268 | 33.9637
2020-07-03 17:00:00 | 6.586 | 295.987 | 6.739 | 291.065 | 6.861 | 300.167 | 7.299 | 299.833 | 30.594 | 889.167 | 12.509 | 26.4054
2020-07-03 17:15:00 | 5.573 | 323.56 | 5.686 | 315.038 | 5.999 | 322.9 | 6.428 | 321.4 | 31.006 | 889.433 | 12.163 | 29.0096
2020-07-03 17:30:00 | 8.547 | 310.053 | 9.299 | 303.32 | 9.532 | 306.367 | 9.817 | 302.8 | 30.86 | 889.4 | 12.619 | 36.4315
2020-07-03 17:45:00 | 8.687 | 325.8 | 8.838 | 320.154 | 9.278 | 325.2 | 9.571 | 322.167 | 31.095 | 889.5 | 12.511 | 34.2408
2020-07-03 18:00:00 | 7.616 | 279.173 | 8.196 | 271.187 | 8.415 | 275.9 | 8.703 | 271.417 | 31.322 | 889.733 | 12.524 | 33.7853
2020-07-03 18:15:00 | 6.345 | 313.613 | 6.542 | 309.116 | 6.709 | 312.933 | 7.252 | 310.467 | 30.773 | 889.533 | 13.332 | 38.7543
2020-07-03 18:30:00 | 8.131 | 305.013 | 8.579 | 297.589 | 8.538 | 302.833 | 8.703 | 299.133 | 30.974 | 889.667 | 13.932 | 44.2825
2020-07-03 18:45:00 | 5.704 | 298.587 | 6.154 | 291.683 | 6.077 | 294.567 | 6.422 | 293.633 | 30.477 | 889.233 | 14.671 | 27.9288
2020-07-03 19:00:00 | 7.742 | 304.507 | 8.001 | 298.854 | 8.136 | 302.4 | 8.364 | 298.7 | 30.852 | 889.667 | 14.989 | 38.723
2020-07-03 19:15:00 | 10.313 | 309.533 | 10.767 | 304.406 | 11.053 | 308.5 | 11.487 | 304.833 | 30.239 | 889.467 | 14.756 | 42.3263
2020-07-03 19:30:00 | 8.08 | 305.76 | 8.181 | 296.316 | 8.461 | 300.733 | 8.82 | 298 | 30.41 | 889.633 | 14.481 | 45.0997
2020-07-03 19:45:00 | 7.766 | 313.44 | 8.386 | 308.429 | 8.499 | 312.833 | 8.911 | 312.733 | 30.835 | 889.433 | 14.117 | 47.0857
2020-07-03 20:00:00 | 8.77 | 312.693 | 9.345 | 305.884 | 9.338 | 312.633 | 9.791 | 311.833 | 30.785 | 889.767 | 13.785 | 53.7686
2020-07-03 20:15:00 | 7.794 | 309.813 | 8.132 | 304.178 | 8.578 | 309.133 | 8.795 | 307.967 | 30.552 | 889.767 | 14.297 | 67.0668
2020-07-03 20:30:00 | 10.065 | 298.76 | 11.133 | 290.996 | 11.379 | 296.2 | 11.746 | 293.8 | 29.856 | 889.1 | 15.268 | 75.7272
2020-07-03 20:45:00 | 7.63 | 298.64 | 8.313 | 293.617 | 8.521 | 300.367 | 8.87 | 298 | 30.164 | 889.4 | 15.476 | 51.3356
2020-07-03 21:00:00 | 9.882 | 293.64 | 11.27 | 292.361 | 11.952 | 295.4 | 12.367 | 292.9 | 29.881 | 889.9 | 15.884 | 51.1779
2020-07-03 21:15:00 | 7.822 | 299.16 | 8.838 | 293.484 | 9.401 | 297.9 | 9.92 | 295.5 | 29.598 | 889.367 | 16.16 | 69.8508
2020-07-03 21:30:00 | 7.542 | 295.2 | 8.739 | 288.587 | 9.445 | 294.033 | 9.963 | 293.4 | 29.131 | 889.7 | 16.776 | 56.9441
2020-07-03 21:45:00 | 7.313 | 292.093 | 8.374 | 283.99 | 9.159 | 289.667 | 9.415 | 286.367 | 28.735 | 889.133 | 17.113 | 57.7918
2020-07-03 22:00:00 | 7.629 | 294.267 | 8.888 | 293.322 | 9.096 | 301.6 | 9.321 | 301.633 | 28.402 | 889.167 | 17.659 | 56.3593
2020-07-03 22:15:00 | 5.29 | 296.707 | 6.103 | 297.68 | 6.211 | 306.567 | 6.684 | 305.467 | 28.006 | 889.733 | 18.547 | 25.0922
2020-07-03 22:30:00 | 4.404 | 300.2 | 5.639 | 299.369 | 6.031 | 306.2 | 6.382 | 305.067 | 28.048 | 889.433 | 19.152 | 18.8485
2020-07-03 22:45:00 | 4.342 | 290.573 | 5.588 | 290.293 | 5.954 | 296.767 | 6.576 | 295.4 | 26.981 | 889.433 | 19.863 | 16.6926
2020-07-03 23:00:00 | 4.51 | 290.093 | 5.624 | 293.494 | 6.13 | 301.367 | 6.67 | 301.633 | 27.156 | 889.467 | 19.897 | 14.3158
2020-07-03 23:15:00 | 4.114 | 285.92 | 5.264 | 286.898 | 5.465 | 292.833 | 5.974 | 291.267 | 26.844 | 889.5 | 20.261 | 13.0169
2020-07-03 23:30:00 | 4.056 | 279.827 | 5.331 | 285.294 | 5.571 | 292.367 | 6.06 | 294 | 26.081 | 889.217 | 21.048 | 13.3523
2020-07-03 23:45:00 | 4.776 | 282.507 | 5.891 | 286.108 | 6.213 | 293.533 | 6.604 | 293.767 | 25.973 | 889.833 | 20.928 | 17.1488