## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-04 00:00:00 | 4.406 | 286.133 | 5.349 | 289.932 | 5.935 | 299.167 | 6.377 | 299.067 | 26.035 | 889.583 | 21.093 | 15.2289
2020-07-04 00:15:00 | 11.854 | 274.72 | 13.988 | 269.004 | 14.324 | 273.433 | 14.501 | 269.233 | 25.073 | 889.817 | 31.309 | 43.4838
2020-07-04 00:30:00 | 10.816 | 269.567 | 12.582 | 264.532 | 13.239 | 268.333 | 13.61 | 264.567 | 24.014 | 889.667 | 34.469 | 85.5615
2020-07-04 00:45:00 | 10.661 | 265.62 | 12.356 | 258.539 | 12.7 | 264.733 | 12.926 | 260.267 | 23.823 | 889.567 | 34.112 | 90.6214
2020-07-04 01:00:00 | 10.112 | 267.953 | 11.428 | 263.727 | 12.217 | 266.8 | 12.511 | 261.233 | 23.856 | 889.4 | 33.635 | 86.4674
2020-07-04 01:15:00 | 9.403 | 265.92 | 10.74 | 261.53 | 11.463 | 264.767 | 11.573 | 259.633 | 23.985 | 889.95 | 33.632 | 83.8845
2020-07-04 01:30:00 | 9.948 | 264.44 | 11.751 | 258.936 | 12.328 | 265.2 | 12.682 | 261.083 | 23.694 | 889.633 | 33.632 | 85.1934
2020-07-04 01:45:00 | 10.838 | 269.12 | 12.55 | 262.895 | 13.113 | 267.767 | 13.264 | 261.167 | 23.281 | 889.65 | 34.357 | 86.488
2020-07-04 02:00:00 | 10.677 | 269.287 | 12.195 | 263.206 | 12.87 | 266.333 | 13.296 | 262.367 | 23.431 | 889.767 | 34.067 | 87.0124
2020-07-04 02:15:00 | 10.882 | 265.773 | 12.254 | 259.79 | 12.682 | 265.05 | 13 | 259.483 | 23.631 | 889.867 | 34.267 | 87.3834
2020-07-04 02:30:00 | 9.001 | 267.52 | 10.57 | 262.338 | 11.122 | 266.633 | 11.714 | 261.667 | 23.448 | 889.417 | 34.776 | 83.547
2020-07-04 02:45:00 | 8.519 | 263.493 | 9.988 | 257.527 | 10.318 | 263.35 | 10.668 | 258.633 | 22.914 | 890 | 35.067 | 74.3025
2020-07-04 03:00:00 | 7.591 | 264.96 | 8.834 | 261.007 | 9.461 | 268.167 | 9.862 | 263.25 | 22.881 | 889.633 | 35.419 | 61.5699
2020-07-04 03:15:00 | 8.032 | 262.267 | 9.2 | 260.343 | 9.641 | 265.067 | 9.913 | 261.283 | 22.898 | 889.683 | 35.832 | 57.86
2020-07-04 03:30:00 | 8.468 | 262.027 | 9.393 | 259.363 | 9.749 | 262.6 | 10.205 | 257.883 | 22.948 | 890 | 36.165 | 57.9815
2020-07-04 03:45:00 | 7.093 | 269.113 | 8.329 | 262.821 | 9.011 | 265.7 | 9.689 | 261.283 | 23.348 | 889.717 | 35.269 | 53.1866
2020-07-04 04:00:00 | 8.035 | 264.507 | 9.462 | 262.163 | 10.223 | 266.8 | 10.459 | 260.65 | 23.064 | 889.667 | 35.723 | 57.4387
2020-07-04 04:15:00 | 7.943 | 262.033 | 9.83 | 260.708 | 10.213 | 263.3 | 10.484 | 258.95 | 22.731 | 889.65 | 36.32 | 59.5952
2020-07-04 04:30:00 | 7.948 | 270.813 | 9.351 | 265.669 | 9.996 | 269.833 | 10.761 | 265.6 | 22.648 | 889.633 | 36.36 | 65.2115
2020-07-04 04:45:00 | 9.85 | 269.84 | 11.1 | 264.929 | 11.606 | 269.7 | 11.815 | 264.533 | 22.864 | 889.45 | 36.453 | 70.9835
2020-07-04 05:00:00 | 11.029 | 267.187 | 12.381 | 261.227 | 12.95 | 266.9 | 13.216 | 262.75 | 23.014 | 889.5 | 37.051 | 85.187
2020-07-04 05:15:00 | 10.536 | 270.78 | 11.77 | 265.458 | 12.021 | 269.067 | 12.494 | 265.167 | 22.781 | 889.55 | 37.651 | 88.1422
2020-07-04 05:30:00 | 12.184 | 268.933 | 14.085 | 263.272 | 14.999 | 267.933 | 14.973 | 263.183 | 22.223 | 889.65 | 39.555 | 88.5217
2020-07-04 05:45:00 | 14.785 | 268.84 | 16.417 | 264.233 | 16.781 | 268.133 | 16.612 | 263.133 | 21.81 | 889.517 | 41.701 | 88.9047
2020-07-04 06:00:00 | 12.165 | 265.467 | 13.982 | 260.884 | 14.383 | 266.733 | 14.809 | 263.017 | 21.685 | 890.092 | 42.485 | 88.8826
2020-07-04 06:15:00 | 13.393 | 268.013 | 15.157 | 262.316 | 15.665 | 268 | 15.656 | 263.533 | 21.298 | 890.267 | 42.523 | 86.9485
2020-07-04 06:30:00 | 12.707 | 270.847 | 13.99 | 264.441 | 14.434 | 268.6 | 14.77 | 264.967 | 21.623 | 889.8 | 42.085 | 86.5264
2020-07-04 06:45:00 | 11.796 | 270.96 | 13.258 | 266.958 | 14.224 | 270.767 | 14.626 | 264.967 | 21.714 | 889.9 | 41.245 | 86.6188
2020-07-04 07:00:00 | 12.455 | 266.673 | 13.932 | 264.022 | 14.43 | 266.483 | 14.788 | 262.9 | 21.918 | 889.767 | 39.72 | 86.6969
2020-07-04 07:15:00 | 11.857 | 267.98 | 13.225 | 263.353 | 13.805 | 268.433 | 14.619 | 261.55 | 21.568 | 889.95 | 39.085 | 85.9821
2020-07-04 07:30:00 | 12.745 | 267.38 | 13.74 | 262.266 | 14.45 | 267.267 | 14.781 | 263.6 | 21.873 | 889.483 | 38.459 | 86.7708
2020-07-04 07:45:00 | 12.859 | 271.333 | 14.5 | 263.843 | 14.787 | 268.867 | 15.028 | 264.1 | 22.006 | 889.717 | 38.56 | 86.773
2020-07-04 08:00:00 | 13.7 | 272.307 | 15.427 | 265.293 | 15.481 | 269.933 | 15.534 | 264.967 | 22.181 | 889.933 | 38.832 | 86.7438
2020-07-04 08:15:00 | 14.766 | 273 | 15.728 | 266.148 | 16.499 | 272.2 | 17.06 | 267.767 | 22.681 | 889.8 | 37.901 | 85.2389
2020-07-04 08:30:00 | 13.895 | 278.76 | 15.768 | 273.488 | 16.151 | 276.6 | 16.37 | 273.6 | 22.848 | 889.583 | 37.28 | 83.4731
2020-07-04 08:45:00 | 14.356 | 270.773 | 16.31 | 265.059 | 16.814 | 270.133 | 16.985 | 265.2 | 23.198 | 889.517 | 36.707 | 82.8563
2020-07-04 09:00:00 | 14.634 | 267.907 | 15.949 | 263.152 | 16.068 | 268.367 | 16.067 | 263.15 | 22.981 | 889.8 | 35.883 | 82.2452
2020-07-04 09:15:00 | 13.415 | 265.78 | 13.875 | 262.666 | 14.162 | 266.267 | 14.332 | 261.5 | 23.248 | 889.85 | 35.84 | 82.3767
2020-07-04 09:30:00 | 12.044 | 272.267 | 13.283 | 268.519 | 13.462 | 272.5 | 13.548 | 266.933 | 22.814 | 889.383 | 36.184 | 84.1609
2020-07-04 09:45:00 | 12.511 | 271.587 | 13.676 | 267.252 | 13.782 | 270.3 | 13.78 | 266.533 | 23.448 | 889.817 | 34.077 | 81.5681
2020-07-04 10:00:00 | 13 | 281.773 | 14.267 | 274.166 | 14.297 | 276.933 | 14.234 | 273.933 | 23.548 | 889.717 | 33.915 | 79.1259
2020-07-04 10:15:00 | 12.567 | 271.867 | 13.736 | 265.575 | 14.007 | 270.333 | 14.598 | 264.433 | 23.331 | 889.667 | 35.723 | 74.6678
2020-07-04 10:30:00 | 12.179 | 276.813 | 13.675 | 271.836 | 14.455 | 276.867 | 14.753 | 274.067 | 23.085 | 889.5 | 34.272 | 74.3004
2020-07-04 10:45:00 | 7.284 | 291.88 | 7.683 | 287.414 | 7.876 | 292.033 | 8.247 | 290.833 | 23.848 | 889.983 | 29.635 | 43.4689
2020-07-04 11:00:00 | 7.049 | 299.88 | 7.42 | 293.693 | 7.436 | 297.4 | 7.649 | 293.467 | 24.881 | 889.85 | 27.779 | 19.9151
2020-07-04 11:15:00 | 8.408 | 302.267 | 8.637 | 293.05 | 8.753 | 299.9 | 8.862 | 295.4 | 24.768 | 889.867 | 28.171 | 34.1186
2020-07-04 11:30:00 | 8.533 | 310.733 | 8.94 | 302.441 | 8.987 | 306.2 | 9.257 | 304.3 | 25.089 | 889.733 | 28.488 | 45.5395
2020-07-04 11:45:00 | 8.649 | 304.573 | 8.949 | 300.481 | 9.073 | 304.033 | 9.557 | 303.133 | 25.752 | 889.75 | 25.528 | 46.2522
2020-07-04 12:00:00 | 6.637 | 294.173 | 7.075 | 288.509 | 7.755 | 292.233 | 7.889 | 291.7 | 26.16 | 889.55 | 23.603 | 39.5544
2020-07-04 12:15:00 | 7.795 | 301.333 | 8.275 | 296.445 | 8.396 | 300.833 | 8.753 | 300.133 | 26.431 | 889.683 | 24.013 | 42.2482
2020-07-04 12:30:00 | 7.832 | 323.707 | 8.262 | 316.045 | 8.352 | 320.133 | 8.624 | 320.033 | 27.152 | 889.567 | 22.693 | 31.1981
2020-07-04 12:45:00 | 6.02 | 324.027 | 6.164 | 322.022 | 6.321 | 326.833 | 6.709 | 323.7 | 26.764 | 889.883 | 23.013 | 22.6834
2020-07-04 13:00:00 | 7.361 | 331.667 | 7.696 | 327.6 | 7.803 | 328.867 | 7.864 | 326.633 | 27.094 | 889.95 | 22.941 | 21.6055
2020-07-04 13:15:00 | 6.764 | 305.173 | 7.367 | 301.82 | 7.762 | 307 | 8.069 | 304.3 | 27.356 | 889.683 | 22.725 | 24.9189
2020-07-04 13:30:00 | 5.588 | 289.527 | 6.345 | 285.625 | 6.917 | 290.067 | 7.654 | 287.4 | 27.156 | 889.867 | 22.643 | 39.2155
2020-07-04 13:45:00 | 5.93 | 303.547 | 6.054 | 302.41 | 6.536 | 306.767 | 6.626 | 307.667 | 27.36 | 889.917 | 22.384 | 34.957
2020-07-04 14:00:00 | 6.422 | 303.853 | 7.006 | 292.728 | 7.229 | 299.233 | 7.516 | 297.2 | 27.402 | 890.05 | 21.621 | 29.0174
2020-07-04 14:15:00 | 6.885 | 288 | 7.118 | 283.154 | 7.119 | 289.4 | 7.494 | 285.933 | 27.194 | 889.867 | 21.227 | 26.4054
2020-07-04 14:30:00 | 7.882 | 309.027 | 8.566 | 305.108 | 9.003 | 311.133 | 9.327 | 307.667 | 27.685 | 889.533 | 19.879 | 28.7701
2020-07-04 14:45:00 | 9.908 | 302.813 | 10.16 | 295.884 | 10.184 | 297.7 | 10.835 | 294.667 | 27.156 | 889.733 | 21.024 | 47.9057
2020-07-04 15:00:00 | 6.036 | 309.987 | 6.384 | 304.373 | 6.666 | 309.867 | 6.976 | 307.433 | 27.714 | 889.767 | 19.947 | 26.583
2020-07-04 15:15:00 | 5.626 | 284.767 | 6.091 | 280.672 | 6.578 | 281.783 | 6.661 | 276.967 | 28.31 | 889.683 | 20.141 | 22.5513
2020-07-04 15:30:00 | 5.925 | 311.4 | 6.109 | 306.3 | 6.244 | 308.467 | 6.68 | 305.233 | 28.373 | 889.9 | 20.047 | 20.5304
2020-07-04 15:45:00 | 6.005 | 269.18 | 6.228 | 267.398 | 6.115 | 275.5 | 6.141 | 271.183 | 28.323 | 889.4 | 18.887 | 14.3094
2020-07-04 16:00:00 | 4.91 | 298.893 | 5.156 | 296.513 | 5.603 | 298.733 | 5.921 | 297.733 | 28.652 | 889.667 | 17.508 | 14.2
2020-07-04 16:15:00 | 3.853 | 315.427 | 3.891 | 306.715 | 4.01 | 311 | 4.057 | 309.7 | 29.144 | 889.433 | 17.309 | 9.9465
2020-07-04 16:30:00 | 6.352 | 302.667 | 6.604 | 299.958 | 6.647 | 304 | 7.346 | 303.967 | 28.931 | 889.567 | 16.827 | 14.2184
2020-07-04 16:45:00 | 5.963 | 294.507 | 6.313 | 287.557 | 6.64 | 287.3 | 6.808 | 284.3 | 29.598 | 889.367 | 16.224 | 15.5884
2020-07-04 17:00:00 | 6.964 | 274.6 | 7.22 | 328.828 | 7.177 | 310.533 | 7.27 | 318.867 | 29.264 | 889.133 | 16.712 | 21.2729
2020-07-04 17:15:00 | 6.146 | 308.04 | 6.693 | 299.031 | 6.915 | 300.4 | 7.334 | 299.633 | 29.548 | 889.033 | 16.353 | 19.1853
2020-07-04 17:30:00 | 5.271 | 314.973 | 5.458 | 313.498 | 5.431 | 320 | 5.594 | 317.433 | 29.181 | 889.333 | 15.801 | 18.8186
2020-07-04 17:45:00 | 5.35 | 296.673 | 5.438 | 294.38 | 5.554 | 298.9 | 5.675 | 294.7 | 29.681 | 889.7 | 14.991 | 11.0102
2020-07-04 18:00:00 | 3.945 | 303.28 | 4.051 | 300.572 | 3.945 | 302.7 | 4.194 | 291.783 | 29.731 | 889.433 | 14.952 | 8.6249
2020-07-04 18:15:00 | 7.403 | 288.687 | 7.68 | 283.098 | 7.852 | 288.483 | 7.858 | 283.767 | 30.314 | 889.7 | 14.743 | 16.952
2020-07-04 18:30:00 | 8.035 | 303.373 | 8.393 | 298.294 | 8.451 | 303.833 | 8.773 | 300.867 | 29.948 | 889.667 | 14.997 | 20.0579
2020-07-04 18:45:00 | 5.359 | 264.747 | 5.473 | 266.034 | 5.728 | 269.067 | 5.749 | 264.75 | 30.377 | 889.667 | 14.888 | 10.8432
2020-07-04 19:00:00 | 6.768 | 307.747 | 7.389 | 298.755 | 7.349 | 301.4 | 7.673 | 298.833 | 29.564 | 889.767 | 14.667 | 20.0003
2020-07-04 19:15:00 | 6.653 | 317.467 | 6.969 | 312.471 | 7.042 | 316.033 | 7.363 | 311.767 | 29.764 | 889.433 | 14.897 | 19.5271
2020-07-04 19:30:00 | 5.53 | 309.453 | 5.721 | 298.69 | 5.81 | 301.3 | 6.102 | 296.133 | 29.664 | 889.167 | 14.708 | 18.3433
2020-07-04 19:45:00 | 7.396 | 309.733 | 8.031 | 303.013 | 7.98 | 306.133 | 8.328 | 305.833 | 30.148 | 889.733 | 14.565 | 26.8139
2020-07-04 20:00:00 | 5.739 | 288.12 | 6.088 | 283.4 | 6.206 | 288.7 | 6.382 | 285.5 | 29.348 | 889.233 | 14.9 | 22.704
2020-07-04 20:15:00 | 7.055 | 310.813 | 7.526 | 306.84 | 7.653 | 310.333 | 7.915 | 308.067 | 29.731 | 889.933 | 14.893 | 27.6872
2020-07-04 20:30:00 | 6.708 | 298.053 | 7.408 | 292.03 | 7.617 | 296.567 | 7.915 | 292.7 | 29.581 | 889.467 | 15.557 | 31.7346
2020-07-04 20:45:00 | 6.537 | 301.72 | 7.163 | 297.161 | 7.276 | 302.8 | 7.504 | 299.967 | 29.298 | 889.5 | 15.876 | 31.056
2020-07-04 21:00:00 | 6.532 | 297.733 | 7.215 | 294.821 | 7.16 | 300.067 | 7.604 | 296.967 | 29.014 | 889.467 | 16.179 | 22.0595
2020-07-04 21:15:00 | 4.9 | 293.68 | 5.823 | 289.514 | 6.279 | 292.833 | 6.554 | 291.067 | 28.739 | 889.633 | 16.979 | 21.8513
2020-07-04 21:30:00 | 5.094 | 296.747 | 6.119 | 292.957 | 6.586 | 298.733 | 7.167 | 296.3 | 28.523 | 889.7 | 17.615 | 20.352
2020-07-04 21:45:00 | 4.914 | 283.173 | 5.72 | 280.314 | 5.976 | 285.8 | 6.446 | 282.833 | 27.835 | 889.967 | 18.207 | 15.8925
2020-07-04 22:00:00 | 4.447 | 271.667 | 5.549 | 269.216 | 5.855 | 276 | 6.244 | 272.967 | 27.364 | 889.4 | 18.797 | 16.8902
2020-07-04 22:15:00 | 4.629 | 275.147 | 5.497 | 273.722 | 5.924 | 279.567 | 6.373 | 277.233 | 26.923 | 889.8 | 19.361 | 15.7994
2020-07-04 22:30:00 | 4.527 | 277.987 | 5.741 | 278.056 | 6.118 | 283.1 | 6.667 | 280.1 | 26.21 | 889.4 | 20.048 | 17.7947
2020-07-04 22:45:00 | 4.527 | 273.92 | 5.763 | 273.359 | 6.072 | 278.767 | 6.369 | 277.033 | 26.294 | 889.433 | 20.323 | 16.6024
2020-07-04 23:00:00 | 4.159 | 271.44 | 5.465 | 272.654 | 5.772 | 278.3 | 6.169 | 276.233 | 25.756 | 890.167 | 20.832 | 16.4923
2020-07-04 23:15:00 | 4.523 | 269.44 | 5.642 | 272.244 | 5.951 | 279.033 | 6.451 | 277.2 | 25.398 | 889.65 | 21.221 | 18.1727
2020-07-04 23:30:00 | 4.86 | 282.667 | 6.162 | 283.568 | 6.386 | 290 | 6.942 | 288.7 | 24.973 | 889.817 | 21.659 | 20.453
2020-07-04 23:45:00 | 4.178 | 282.84 | 5.674 | 286.505 | 6.142 | 293.333 | 6.781 | 292.367 | 24.673 | 889.517 | 22.035 | 17.335