## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-05 00:00:00 | 4.178 | 278 | 5.105 | 283.868 | 5.382 | 290.3 | 5.958 | 289.533 | 24.51 | 889.75 | 22.312 | 15.0669
2020-07-05 00:15:00 | 4.014 | 280.96 | 5.08 | 285.704 | 5.556 | 291.733 | 6.126 | 292.1 | 24.506 | 889.583 | 22.523 | 10.9775
2020-07-05 00:30:00 | 3.174 | 280.787 | 4.115 | 290.628 | 4.579 | 299.167 | 5.23 | 298.033 | 23.889 | 889.7 | 23.115 | 5.0052
2020-07-05 00:45:00 | 2.891 | 256.427 | 3.551 | 283.024 | 3.928 | 293.767 | 4.395 | 295.5 | 23.148 | 889.367 | 24.291 | 2.1871
2020-07-05 01:00:00 | 3.913 | 242.307 | 3.587 | 265.146 | 3.591 | 282.6 | 4.011 | 289.933 | 22.377 | 889.883 | 25.187 | 1.888
2020-07-05 01:15:00 | 4.901 | 240.7 | 4.341 | 260.321 | 4.287 | 275.467 | 4.612 | 281.767 | 21.618 | 889.5 | 26.157 | 4.063
2020-07-05 01:30:00 | 4.578 | 242.367 | 4.585 | 261.344 | 4.538 | 276.867 | 4.941 | 283.633 | 21.685 | 889.617 | 26.867 | 6.9749
2020-07-05 01:45:00 | 4.895 | 237.093 | 4.708 | 259.029 | 4.612 | 274.533 | 4.955 | 279.233 | 20.852 | 889.817 | 27.461 | 7.2137
2020-07-05 02:00:00 | 5.156 | 235.033 | 4.689 | 251.793 | 4.523 | 266.533 | 4.79 | 269.8 | 20.864 | 889.883 | 27.619 | 6.6182
2020-07-05 02:15:00 | 4.836 | 242.4 | 4.611 | 261.434 | 4.495 | 274.8 | 4.849 | 278.767 | 20.256 | 890.15 | 28.072 | 6.1549
2020-07-05 02:30:00 | 4.942 | 246.88 | 4.776 | 264.123 | 4.66 | 277.333 | 5.017 | 282.2 | 20.231 | 889.817 | 28.003 | 6.501
2020-07-05 02:45:00 | 5.216 | 237.487 | 4.89 | 256.066 | 4.601 | 270.4 | 4.762 | 272.567 | 20.277 | 889.433 | 28.555 | 6.2935
2020-07-05 03:00:00 | 5.331 | 236.753 | 5.46 | 253.252 | 5.075 | 266.133 | 5.154 | 268.767 | 19.952 | 890.1 | 29.12 | 8.5645
2020-07-05 03:15:00 | 5.139 | 239.68 | 5.478 | 256.344 | 5.304 | 270.733 | 5.376 | 274.433 | 19.173 | 889.683 | 29.528 | 8.9858
2020-07-05 03:30:00 | 4.919 | 244.44 | 5.134 | 262.348 | 5.021 | 276 | 5.38 | 279.033 | 18.989 | 889.383 | 29.816 | 6.4598
2020-07-05 03:45:00 | 4.736 | 226.233 | 4.936 | 249.296 | 4.622 | 265.4 | 4.622 | 269.967 | 18.723 | 889.733 | 30.251 | 4.0239
2020-07-05 04:00:00 | 4.062 | 227.46 | 4.386 | 247.409 | 3.806 | 263.933 | 3.676 | 271.3 | 18.218 | 889.467 | 31.147 | 3.2501
2020-07-05 04:15:00 | 3.981 | 226.787 | 3.866 | 246.383 | 3.183 | 261.667 | 3.071 | 272.233 | 18.035 | 889.75 | 31.419 | 4.1028
2020-07-05 04:30:00 | 3.975 | 219.553 | 4.737 | 241.382 | 4.207 | 253.367 | 3.926 | 254.133 | 18.156 | 889.617 | 31.643 | 5.2468
2020-07-05 04:45:00 | 4.401 | 232.913 | 5.414 | 246.974 | 5.023 | 256.667 | 4.773 | 257.45 | 17.344 | 889.8 | 32.277 | 7.8326
2020-07-05 05:00:00 | 5.578 | 242.587 | 6.204 | 250.59 | 5.738 | 261.133 | 5.666 | 261.833 | 17.935 | 889.583 | 31.845 | 11.8203
2020-07-05 05:15:00 | 5.523 | 241.693 | 6.318 | 248.737 | 6.022 | 259.133 | 5.826 | 260.1 | 18.306 | 889.983 | 31.525 | 13.5974
2020-07-05 05:30:00 | 5.912 | 244.2 | 6.144 | 255.044 | 5.979 | 265.267 | 6.065 | 266.133 | 17.877 | 889.667 | 31.613 | 14.8238
2020-07-05 05:45:00 | 6.076 | 235.64 | 6.878 | 243.572 | 6.508 | 254.867 | 6.302 | 255.567 | 17.939 | 889.883 | 31.765 | 21.0918
2020-07-05 06:00:00 | 5.768 | 237.127 | 7.563 | 242.482 | 7.243 | 250.367 | 6.729 | 249.767 | 17.877 | 890 | 31.771 | 26.3805
2020-07-05 06:15:00 | 5.789 | 236.947 | 7.156 | 242.887 | 6.937 | 250.633 | 6.557 | 249.6 | 18.36 | 889.683 | 31.136 | 23.8729
2020-07-05 06:30:00 | 5.523 | 239.967 | 6.616 | 246.894 | 6.396 | 256.733 | 6.381 | 258.883 | 18.473 | 889.867 | 30.773 | 18.9224
2020-07-05 06:45:00 | 5.492 | 232.033 | 5.759 | 247.532 | 5.62 | 259.2 | 5.801 | 261.2 | 18.539 | 889.65 | 29.92 | 12.6801
2020-07-05 07:00:00 | 6.187 | 219.273 | 6.295 | 226.777 | 5.59 | 245.633 | 5.369 | 247.5 | 18.956 | 889.667 | 29.835 | 12.2097
2020-07-05 07:15:00 | 5.961 | 224.58 | 6.819 | 226.263 | 6.464 | 234.3 | 5.996 | 234 | 19.852 | 889.867 | 28.448 | 14.3662
2020-07-05 07:30:00 | 4.652 | 218.873 | 5.986 | 221.848 | 5.865 | 229.333 | 5.816 | 226.233 | 20.71 | 890.1 | 27.237 | 12.6879
2020-07-05 07:45:00 | 4.979 | 221.027 | 5.27 | 215.925 | 6.262 | 224.567 | 6.037 | 223.4 | 22.131 | 889.517 | 24.933 | 13.0794
2020-07-05 08:00:00 | 5.64 | 222.853 | 5.975 | 221.415 | 6.248 | 227.633 | 6.26 | 226.767 | 22.748 | 890.067 | 24.208 | 10.3018
2020-07-05 08:15:00 | 4.12 | 231.727 | 4.152 | 230.115 | 4.192 | 235.167 | 4.348 | 232.967 | 24.194 | 889.933 | 21.851 | 5.8103
2020-07-05 08:30:00 | 4.238 | 250.967 | 4.447 | 248.712 | 4.484 | 253.417 | 4.598 | 249.383 | 25.394 | 889.4 | 19.593 | 4.9946
2020-07-05 08:45:00 | 4.569 | 265.807 | 4.659 | 259.24 | 4.638 | 264.967 | 4.812 | 259.017 | 25.256 | 889.3 | 19.449 | 5.6526
2020-07-05 09:00:00 | 4.785 | 263.253 | 5.066 | 256.22 | 5.058 | 259.85 | 4.971 | 253.617 | 25.523 | 889.733 | 19.579 | 5.9951
2020-07-05 09:15:00 | 4.335 | 249.653 | 4.536 | 245.506 | 4.758 | 246.933 | 4.911 | 244.867 | 26.694 | 889.2 | 18.832 | 6.4022
2020-07-05 09:30:00 | 5.056 | 254.06 | 4.922 | 251.716 | 5.31 | 254.85 | 5.408 | 247.433 | 27.164 | 889.633 | 18.211 | 8.6511
2020-07-05 09:45:00 | 4.763 | 263.22 | 4.982 | 259.01 | 5.121 | 261.117 | 5.234 | 254.633 | 27.968 | 889.2 | 17.693 | 10.2421
2020-07-05 10:00:00 | 6.019 | 304.52 | 6.328 | 296.44 | 6.372 | 300.067 | 6.724 | 297.267 | 26.535 | 889.533 | 18.691 | 19.8056
2020-07-05 10:15:00 | 6.295 | 288.427 | 6.483 | 282.414 | 6.671 | 284.4 | 6.782 | 280.167 | 26.731 | 889.567 | 17.913 | 21.6069
2020-07-05 10:30:00 | 5.125 | 293.973 | 5.501 | 287.75 | 5.758 | 290.083 | 6.015 | 286.933 | 26.864 | 889.767 | 17.952 | 18.7206
2020-07-05 10:45:00 | 5.694 | 309.4 | 5.904 | 300.561 | 6.097 | 305.1 | 6.749 | 301.767 | 27.518 | 889.767 | 17.616 | 32.2135
2020-07-05 11:00:00 | 7.518 | 311.427 | 7.725 | 306.148 | 7.742 | 307.2 | 8.06 | 301.867 | 27.494 | 889.6 | 16.521 | 29.065
2020-07-05 11:15:00 | 8.298 | 304.853 | 8.447 | 298.706 | 8.887 | 300.533 | 9.346 | 298.133 | 28.41 | 889.133 | 15.328 | 41.6783
2020-07-05 11:30:00 | 7.403 | 301.973 | 8.182 | 298.348 | 8.43 | 302.133 | 8.764 | 299.167 | 28.394 | 889.533 | 14.608 | 39.0755
2020-07-05 11:45:00 | 9.59 | 310.08 | 9.777 | 303.126 | 10.418 | 307.8 | 10.829 | 303.567 | 28.352 | 889.333 | 15.433 | 49.4959
2020-07-05 12:00:00 | 10.986 | 294.307 | 11.662 | 286.367 | 11.936 | 292.667 | 12.147 | 292.067 | 28.768 | 889.5 | 15.04 | 52.2608
2020-07-05 12:15:00 | 9.517 | 302.293 | 10.41 | 296.221 | 10.841 | 299.233 | 11.042 | 298.967 | 27.752 | 888.933 | 15.563 | 55.8385
2020-07-05 12:30:00 | 13.07 | 301.6 | 13.837 | 296.174 | 14.011 | 301 | 14.017 | 298.9 | 27.027 | 889.367 | 18.097 | 59.0254
2020-07-05 12:45:00 | 12.775 | 293.053 | 13.753 | 287.422 | 13.797 | 291.267 | 13.924 | 290.267 | 25.768 | 889.9 | 20.029 | 65.9811
2020-07-05 13:00:00 | 11.034 | 293.747 | 11.449 | 287.661 | 11.904 | 291.133 | 12.062 | 289.733 | 25.473 | 889.667 | 19.701 | 70.0292
2020-07-05 13:15:00 | 10.829 | 300.293 | 11.469 | 292.753 | 11.892 | 295.9 | 12.267 | 294.5 | 26.798 | 889.533 | 18.32 | 72.4075
2020-07-05 13:30:00 | 10.032 | 301.28 | 10.618 | 296.237 | 10.6 | 300.767 | 10.652 | 298.467 | 27.106 | 889.533 | 17.048 | 70.9217
2020-07-05 13:45:00 | 10.441 | 308.12 | 10.907 | 303.116 | 10.939 | 306.633 | 11.469 | 304.267 | 27.231 | 889.433 | 15.867 | 65.9214
2020-07-05 14:00:00 | 9.15 | 299.733 | 9.88 | 293.381 | 10.034 | 298.467 | 9.948 | 295.267 | 28.031 | 889.3 | 14.168 | 66.266
2020-07-05 14:15:00 | 10.925 | 301.68 | 11.791 | 296.139 | 11.862 | 299.067 | 11.63 | 297.7 | 28.689 | 889.6 | 14.508 | 70.4285
2020-07-05 14:30:00 | 9.224 | 305.04 | 9.873 | 300.775 | 10.089 | 305.1 | 10.522 | 301.967 | 28.698 | 889.867 | 14.687 | 70.7262
2020-07-05 14:45:00 | 10.592 | 291.92 | 10.99 | 288.768 | 10.952 | 291.8 | 11.073 | 292.533 | 28.473 | 889.367 | 14.829 | 65.979
2020-07-05 15:00:00 | 9.956 | 305.093 | 10.416 | 297.974 | 10.47 | 301.833 | 10.951 | 298.9 | 28.364 | 889.367 | 14.579 | 63.4884
2020-07-05 15:15:00 | 10.118 | 310.8 | 10.004 | 304.54 | 10.336 | 307.067 | 10.989 | 304.367 | 28.76 | 889.233 | 14.697 | 64.383
2020-07-05 15:30:00 | 10.897 | 289.22 | 11.407 | 286.794 | 11.427 | 293.433 | 11.711 | 289.4 | 28.481 | 889.533 | 15.02 | 62.9342
2020-07-05 15:45:00 | 9.276 | 303.56 | 9.831 | 297.374 | 10.169 | 302.567 | 10.715 | 298.9 | 28.635 | 889.833 | 14.625 | 51.8394
2020-07-05 16:00:00 | 8.42 | 279.587 | 8.84 | 274.751 | 8.906 | 280.4 | 9.062 | 279.4 | 28.594 | 889.433 | 15.295 | 43.2941
2020-07-05 16:15:00 | 8.662 | 292.72 | 8.995 | 288.994 | 9.213 | 295.1 | 9.683 | 293.1 | 29.298 | 889.433 | 15.921 | 50.5753
2020-07-05 16:30:00 | 7.4 | 293.547 | 7.746 | 289.021 | 7.828 | 290.367 | 8.267 | 288.6 | 29.181 | 889.433 | 16.02 | 50.1148
2020-07-05 16:45:00 | 9.277 | 304.32 | 9.552 | 297.331 | 9.633 | 303.533 | 10.132 | 301.7 | 29.298 | 889.8 | 16.884 | 53.2307
2020-07-05 17:00:00 | 8.717 | 310.693 | 9.287 | 302.506 | 9.535 | 306.733 | 9.814 | 305.867 | 29.598 | 889.467 | 16.371 | 57.2994
2020-07-05 17:15:00 | 9.393 | 302.827 | 9.78 | 297.878 | 9.976 | 303.067 | 10.217 | 301.967 | 29.614 | 889.467 | 15.924 | 59.1483
2020-07-05 17:30:00 | 9.765 | 284 | 10.608 | 278.882 | 10.66 | 283.967 | 10.45 | 279.467 | 29.298 | 889.3 | 15.591 | 58.2359
2020-07-05 17:45:00 | 9.335 | 299.213 | 9.641 | 295.128 | 9.897 | 299.567 | 10.406 | 296.9 | 29.514 | 889.733 | 15.025 | 53.0225
2020-07-05 18:00:00 | 8.176 | 306.36 | 8.205 | 295.878 | 8.583 | 299.8 | 8.8 | 293.767 | 29.798 | 889.767 | 14.516 | 42.1295
2020-07-05 18:15:00 | 8.889 | 298.32 | 9.668 | 294.359 | 9.8 | 296.533 | 10.033 | 294.9 | 29.831 | 889.333 | 14.303 | 44.5184
2020-07-05 18:30:00 | 7.263 | 297.453 | 7.403 | 291.531 | 7.394 | 297.033 | 7.526 | 296.033 | 29.885 | 889.5 | 14.308 | 35.1823
2020-07-05 18:45:00 | 6.762 | 308.787 | 7.11 | 298.941 | 7.21 | 302.4 | 7.518 | 301.6 | 30.114 | 889.167 | 14.091 | 35.3443
2020-07-05 19:00:00 | 8.093 | 304.6 | 8.454 | 299.921 | 8.729 | 304.167 | 9.261 | 303.3 | 29.748 | 889.367 | 14.525 | 44.895
2020-07-05 19:15:00 | 9.308 | 286.427 | 10.002 | 281.542 | 10.123 | 285.433 | 10.483 | 283.067 | 29.831 | 889.3 | 15.352 | 59.8404
2020-07-05 19:30:00 | 8.649 | 306.52 | 9.206 | 302.95 | 9.536 | 307 | 9.775 | 302.6 | 29.498 | 889.667 | 16.529 | 56.9299
2020-07-05 19:45:00 | 10.524 | 282.987 | 11.218 | 276.887 | 11.497 | 281.8 | 11.718 | 280.167 | 29.531 | 889.867 | 17.449 | 54.2354
2020-07-05 20:00:00 | 11.286 | 291.173 | 12.148 | 286.603 | 12.458 | 290.533 | 12.632 | 288.467 | 28.981 | 889.5 | 18.099 | 48.9396
2020-07-05 20:15:00 | 11.353 | 292.6 | 12.204 | 290.44 | 12.519 | 293.667 | 12.636 | 291 | 29.064 | 889.633 | 18.863 | 39.6695
2020-07-05 20:30:00 | 11.071 | 291.28 | 12.098 | 285.887 | 12.259 | 289.733 | 12.546 | 288.333 | 28.418 | 889.667 | 19.607 | 37.3708
2020-07-05 20:45:00 | 10.553 | 293.573 | 12.036 | 289.539 | 12.537 | 292.967 | 13.005 | 291.2 | 28.056 | 889.667 | 19.944 | 43.3929
2020-07-05 21:00:00 | 11.003 | 283.96 | 12.448 | 276.113 | 12.932 | 281.933 | 13.388 | 278.533 | 27.531 | 888.9 | 19.861 | 49.3844
2020-07-05 21:15:00 | 11.528 | 285.16 | 12.908 | 278.307 | 13.602 | 282.067 | 13.853 | 277.667 | 27.373 | 889.517 | 20.447 | 54.0876
2020-07-05 21:30:00 | 11.843 | 280.427 | 13.186 | 275.477 | 13.708 | 280 | 14.682 | 277.867 | 27.139 | 889.7 | 21.352 | 52.7567
2020-07-05 21:45:00 | 10.649 | 289.787 | 12.086 | 281.208 | 12.986 | 284.9 | 13.85 | 282.767 | 26.639 | 889.5 | 22.011 | 52.7184
2020-07-05 22:00:00 | 11.053 | 287.2 | 12.275 | 280.895 | 12.805 | 283 | 13.233 | 280.833 | 26.344 | 889.533 | 22.693 | 56.7011
2020-07-05 22:15:00 | 11.193 | 283.133 | 12.704 | 276.959 | 13.322 | 279.433 | 13.893 | 276.833 | 25.814 | 889.817 | 23.389 | 68.9157
2020-07-05 22:30:00 | 11.451 | 286.4 | 13.239 | 279.01 | 13.833 | 282.767 | 14.396 | 282.567 | 25.764 | 889.7 | 23.541 | 78.5681
2020-07-05 22:45:00 | 12.304 | 291.293 | 13.481 | 284.032 | 14.281 | 287.633 | 14.867 | 284.367 | 25.539 | 889.733 | 24.427 | 81.6938
2020-07-05 23:00:00 | 10.093 | 289.64 | 11.657 | 283.22 | 12.282 | 286.767 | 13.159 | 283.9 | 25.518 | 889.883 | 25.104 | 83.2642
2020-07-05 23:15:00 | 11.957 | 289.533 | 13.645 | 284.34 | 14.295 | 286.633 | 15.036 | 284.3 | 25.239 | 889.867 | 25.789 | 83.1214
2020-07-05 23:30:00 | 13.274 | 285.387 | 15.389 | 281.496 | 16.118 | 284 | 17.041 | 282.267 | 24.16 | 889.717 | 28.915 | 81.1133
2020-07-05 23:45:00 | 12.785 | 286.853 | 14.854 | 278.984 | 15.5 | 283.867 | 16.081 | 282.967 | 23.76 | 889.65 | 29.669 | 78.3208