## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-06 00:00:00 | 12.067 | 288.853 | 13.89 | 282.273 | 14.627 | 285.067 | 15.087 | 285.267 | 23.668 | 889.983 | 30.181 | 76.3376
2020-07-06 00:15:00 | 13.205 | 285.573 | 14.913 | 280.174 | 15.635 | 284.633 | 15.952 | 283.2 | 23.398 | 889.683 | 30.589 | 70.8321
2020-07-06 00:30:00 | 12.901 | 287.293 | 14.866 | 282.01 | 15.601 | 285.233 | 16.528 | 283.467 | 23.181 | 889.817 | 31.053 | 66.757
2020-07-06 00:45:00 | 11.786 | 289.8 | 13.419 | 283.399 | 14.082 | 286.267 | 14.862 | 284.233 | 23.198 | 889.9 | 31.309 | 67.5337
2020-07-06 01:00:00 | 10.21 | 292.44 | 11.471 | 286.53 | 12.085 | 292.467 | 12.86 | 289.6 | 22.948 | 889.533 | 31.744 | 67.7333
2020-07-06 01:15:00 | 8.751 | 288.467 | 10.225 | 283.742 | 10.73 | 288.967 | 11.501 | 287.833 | 22.514 | 889.783 | 32.149 | 62.1817
2020-07-06 01:30:00 | 7.731 | 283.56 | 9.001 | 277.48 | 9.596 | 283.867 | 10.352 | 282.367 | 22.456 | 889.933 | 32.619 | 51.9005
2020-07-06 01:45:00 | 8.243 | 274.173 | 9.263 | 270.289 | 9.566 | 274.9 | 9.964 | 271.433 | 21.944 | 889.483 | 33.237 | 56.6307
2020-07-06 02:00:00 | 8.204 | 276.187 | 9.272 | 271.842 | 9.848 | 277.667 | 10.341 | 275.2 | 22.094 | 889.85 | 33.781 | 63.2205
2020-07-06 02:15:00 | 7.932 | 275.467 | 8.791 | 271.588 | 9.346 | 276.533 | 9.604 | 273.3 | 21.802 | 889.55 | 34.432 | 58.4697
2020-07-06 02:30:00 | 7.905 | 278.067 | 8.968 | 274.1 | 9.319 | 279.167 | 10.076 | 275.633 | 22.094 | 889.7 | 34.675 | 54.4294
2020-07-06 02:45:00 | 7.979 | 278.667 | 9.125 | 272.595 | 9.542 | 277.133 | 10.023 | 275.233 | 21.906 | 890.217 | 35.008 | 55
2020-07-06 03:00:00 | 7.811 | 284.507 | 8.996 | 280.608 | 9.464 | 282.167 | 9.901 | 281.333 | 21.539 | 889.817 | 35.381 | 59.6009
2020-07-06 03:15:00 | 8.378 | 286.333 | 9.323 | 281.555 | 9.782 | 285.867 | 10.309 | 285.333 | 21.189 | 889.833 | 35.784 | 60.4038
2020-07-06 03:30:00 | 7.656 | 286.133 | 8.756 | 284.045 | 9.476 | 286.667 | 10.188 | 285.067 | 20.914 | 889.8 | 36.085 | 55.0199
2020-07-06 03:45:00 | 7.605 | 285.027 | 8.723 | 281.052 | 9.126 | 286.167 | 9.788 | 281.1 | 20.535 | 890.067 | 36.477 | 46.5052
2020-07-06 04:00:00 | 7.176 | 282.133 | 8.196 | 278.073 | 8.664 | 282.2 | 9.012 | 280.6 | 20.898 | 889.75 | 36.667 | 35.7848
2020-07-06 04:15:00 | 5.52 | 271.987 | 6.397 | 269.596 | 6.856 | 275.5 | 7.354 | 271.8 | 20.244 | 889.55 | 37.253 | 30.4577
2020-07-06 04:30:00 | 5.955 | 256.733 | 6.693 | 257.427 | 7.104 | 262.033 | 7.342 | 259.683 | 20.218 | 890.017 | 37.789 | 34.7837
2020-07-06 04:45:00 | 6.124 | 251.12 | 7.077 | 251.32 | 7.395 | 258.833 | 7.474 | 256.667 | 19.768 | 889.2 | 38.472 | 45.3356
2020-07-06 05:00:00 | 6.026 | 252.647 | 7.086 | 253.205 | 7.68 | 260.617 | 8.104 | 256.717 | 19.548 | 890.15 | 38.848 | 51.4145
2020-07-06 05:15:00 | 6.265 | 251.82 | 7.247 | 252.14 | 7.928 | 260.65 | 8.444 | 259.95 | 19.264 | 889.617 | 39.472 | 51.5616
2020-07-06 05:30:00 | 5.886 | 250.287 | 6.84 | 249.806 | 7.16 | 256.233 | 7.391 | 253.583 | 19.098 | 889.867 | 40.12 | 49.4014
2020-07-06 05:45:00 | 6.692 | 257.153 | 7.891 | 255.392 | 8.046 | 262.367 | 8.221 | 259.567 | 18.777 | 890.25 | 40.397 | 45.1977
2020-07-06 06:00:00 | 5.822 | 258.267 | 6.935 | 256.464 | 7.27 | 260.883 | 7.629 | 258.15 | 18.994 | 889.817 | 40.264 | 34.9286
2020-07-06 06:15:00 | 5.552 | 252.673 | 6.468 | 252.232 | 6.858 | 257.783 | 7.112 | 256.4 | 18.664 | 890 | 40.232 | 33.8329
2020-07-06 06:30:00 | 5.837 | 250.34 | 6.985 | 249.863 | 7.076 | 256.667 | 7.156 | 255.6 | 19.094 | 890 | 40.045 | 36.5125
2020-07-06 06:45:00 | 6.109 | 254.26 | 7.179 | 252.55 | 7.656 | 258.733 | 7.826 | 256.383 | 19.248 | 889.817 | 39.195 | 40.3779
2020-07-06 07:00:00 | 5.974 | 252.373 | 6.936 | 249.943 | 7.511 | 256.383 | 7.597 | 254.083 | 20.152 | 889.717 | 37.448 | 34.314
2020-07-06 07:15:00 | 6.222 | 250.033 | 6.98 | 248.934 | 7.403 | 254.617 | 7.681 | 251.7 | 19.898 | 889.317 | 38.072 | 31.9314
2020-07-06 07:30:00 | 6.509 | 248.833 | 7.196 | 248.469 | 7.573 | 253.133 | 7.874 | 249.083 | 19.844 | 889.367 | 37.808 | 32.7976
2020-07-06 07:45:00 | 6.829 | 253.047 | 7.5 | 250.82 | 7.71 | 253.4 | 7.698 | 247.633 | 20.531 | 889.5 | 35.843 | 33.4826
2020-07-06 08:00:00 | 7.242 | 260.193 | 7.663 | 255.508 | 7.949 | 259.433 | 8.063 | 254.317 | 21.431 | 890.183 | 33.355 | 33.0229
2020-07-06 08:15:00 | 6.798 | 253.287 | 7.226 | 251.244 | 7.2 | 255.717 | 7.067 | 252.3 | 21.91 | 889.783 | 32.608 | 37.5563
2020-07-06 08:30:00 | 7.021 | 266.5 | 7.552 | 260.507 | 7.894 | 264.533 | 8.105 | 259.15 | 21.427 | 890.117 | 32.875 | 34.4738
2020-07-06 08:45:00 | 6.873 | 260.487 | 7.422 | 257.351 | 7.204 | 262.817 | 7.307 | 260.617 | 21.939 | 889.967 | 32.403 | 30.9537
2020-07-06 09:00:00 | 6.976 | 272.233 | 7.596 | 265.199 | 7.938 | 268.367 | 8.066 | 263.367 | 22.564 | 889.567 | 30.528 | 34.4795
2020-07-06 09:15:00 | 6.727 | 269.633 | 7.483 | 264.914 | 7.583 | 266.833 | 7.5 | 261.8 | 22.548 | 889.467 | 30.717 | 39.0407
2020-07-06 09:30:00 | 7.133 | 272.127 | 7.612 | 266.5 | 7.706 | 271.8 | 7.845 | 266.283 | 22.931 | 889.9 | 29.736 | 41.183
2020-07-06 09:45:00 | 7.322 | 280.233 | 7.53 | 278.186 | 7.915 | 279.333 | 8.218 | 273.933 | 23.098 | 889.8 | 29.571 | 41.7138
2020-07-06 10:00:00 | 7.506 | 278.773 | 8.189 | 275.895 | 8.214 | 278.833 | 8.551 | 275.8 | 22.881 | 889.517 | 30.347 | 44.581
2020-07-06 10:15:00 | 8.296 | 288.587 | 8.878 | 285.381 | 9.068 | 288.933 | 9.556 | 286.067 | 23.331 | 889.683 | 29.963 | 41.7778
2020-07-06 10:30:00 | 9.15 | 288.8 | 9.492 | 284.233 | 9.551 | 287.4 | 9.841 | 285.267 | 24.085 | 889.883 | 28.288 | 38.0572
2020-07-06 10:45:00 | 6.092 | 286.813 | 6.834 | 279.844 | 7.009 | 286.1 | 7.146 | 285.733 | 24.018 | 889.767 | 28.707 | 31.9783
2020-07-06 11:00:00 | 6.971 | 290.993 | 7.667 | 285.772 | 7.706 | 290.867 | 8.05 | 289.233 | 24.585 | 890.017 | 27.496 | 28.9563
2020-07-06 11:15:00 | 7.175 | 292.127 | 7.719 | 285.548 | 7.941 | 290.133 | 8.233 | 289.967 | 24.152 | 889.883 | 27.613 | 27.4598
2020-07-06 11:30:00 | 6.859 | 289.84 | 7.577 | 283.666 | 7.748 | 285.3 | 8.168 | 282.7 | 24.331 | 890 | 27.195 | 26.561
2020-07-06 11:45:00 | 6.551 | 287.333 | 6.948 | 282.749 | 7.143 | 286.633 | 7.269 | 286.267 | 24.785 | 889.683 | 26.832 | 25.8561
2020-07-06 12:00:00 | 6.212 | 315.587 | 6.485 | 308.526 | 6.553 | 309.867 | 6.841 | 307.033 | 25.094 | 889.9 | 23.36 | 22.2109
2020-07-06 12:15:00 | 5.688 | 300.547 | 5.87 | 296.364 | 6.318 | 300.567 | 6.485 | 297.267 | 25.814 | 889.65 | 23.232 | 21.3774
2020-07-06 12:30:00 | 5.594 | 301.013 | 5.755 | 294.573 | 6.127 | 299.267 | 6.443 | 297.633 | 25.577 | 889.533 | 23.853 | 20.885
2020-07-06 12:45:00 | 6.769 | 300.013 | 7.207 | 292.403 | 7.158 | 297.367 | 7.538 | 296.1 | 25.473 | 889.667 | 24.579 | 27.9196
2020-07-06 13:00:00 | 6.795 | 306.773 | 7.033 | 299.971 | 7.097 | 306.567 | 7.563 | 304.833 | 25.773 | 889.55 | 23.357 | 25.5427
2020-07-06 13:15:00 | 7.253 | 299.013 | 7.615 | 288.071 | 7.756 | 289.9 | 8.045 | 286.4 | 26.323 | 889.7 | 22.867 | 24.0953
2020-07-06 13:30:00 | 6.52 | 326.04 | 6.896 | 314.708 | 6.97 | 316.2 | 7.165 | 312.667 | 26.01 | 889.6 | 23.139 | 20.6931
2020-07-06 13:45:00 | 5.848 | 323.213 | 5.986 | 316.124 | 6.25 | 316.667 | 6.281 | 312.167 | 26.339 | 889.983 | 22.851 | 24.1323
2020-07-06 14:00:00 | 5.137 | 295.48 | 5.518 | 281.288 | 5.782 | 280.55 | 6.052 | 276.917 | 26.648 | 889.933 | 22.952 | 13.7203
2020-07-06 14:15:00 | 3.706 | 306.267 | 4.031 | 304.369 | 3.686 | 306.367 | 3.83 | 306.1 | 26.856 | 889.783 | 21.963 | 11.4792
2020-07-06 14:30:00 | 5.481 | 302.947 | 5.524 | 298.011 | 5.619 | 301.633 | 6.005 | 297 | 28.198 | 889.65 | 20.649 | 20.8075
2020-07-06 14:45:00 | 7.013 | 321.907 | 7.706 | 327.012 | 8.016 | 330.867 | 8.11 | 329.6 | 27.502 | 889.533 | 21.84 | 33.1323
2020-07-06 15:00:00 | 7.549 | 318.987 | 7.715 | 312.267 | 8.134 | 316.567 | 8.344 | 315.9 | 27.385 | 890.067 | 21.675 | 39.666
2020-07-06 15:15:00 | 6.909 | 317.453 | 7.147 | 309.182 | 7.266 | 314.3 | 7.782 | 311.8 | 27.523 | 889.617 | 22.419 | 33.5473
2020-07-06 15:30:00 | 8.312 | 297.147 | 8.481 | 294.533 | 8.773 | 298.7 | 8.978 | 295.733 | 27.581 | 889.767 | 22.691 | 33.6816
2020-07-06 15:45:00 | 7.282 | 294.013 | 7.608 | 289.621 | 7.76 | 295 | 7.965 | 295.5 | 27.618 | 889.7 | 22.651 | 26.4068
2020-07-06 16:00:00 | 7.036 | 314.64 | 7.542 | 308.537 | 7.867 | 314.6 | 8.262 | 311.933 | 27.389 | 889.717 | 22.952 | 32.4914
2020-07-06 16:15:00 | 6.68 | 323.853 | 7.17 | 317.692 | 7.104 | 322.433 | 7.373 | 321.133 | 27.385 | 889.9 | 23.053 | 29.0252
2020-07-06 16:30:00 | 7.117 | 314.227 | 7.287 | 308.025 | 7.276 | 311.7 | 7.466 | 309.333 | 27.373 | 889.8 | 22.971 | 23.3116
2020-07-06 16:45:00 | 7.101 | 323.893 | 7.352 | 316.358 | 7.447 | 321.767 | 7.75 | 319.067 | 27.323 | 890.083 | 22.955 | 24.2509
2020-07-06 17:00:00 | 6.692 | 319.187 | 6.979 | 312.886 | 7.249 | 316.367 | 7.699 | 315.733 | 27.468 | 889.7 | 23.067 | 32.5013
2020-07-06 17:15:00 | 7.312 | 333.333 | 7.263 | 326.085 | 7.479 | 330.533 | 7.918 | 331.167 | 26.906 | 890 | 23.104 | 43.486
2020-07-06 17:30:00 | 7.612 | 323.04 | 7.942 | 316.238 | 8.134 | 320.567 | 8.38 | 318.4 | 26.964 | 889.617 | 23.261 | 41.3415
2020-07-06 17:45:00 | 7.479 | 329.547 | 7.879 | 323.813 | 8.244 | 330.3 | 8.435 | 331.033 | 26.989 | 889.833 | 23.416 | 39.4087
2020-07-06 18:00:00 | 7.098 | 332.893 | 7.509 | 325.187 | 7.848 | 329.067 | 8.073 | 327.7 | 26.66 | 889.95 | 24.349 | 21.5934
2020-07-06 18:15:00 | 5.171 | 332.04 | 5.47 | 338.257 | 5.626 | 318.2 | 6.063 | 341.833 | 26.327 | 889.633 | 24.981 | 9.9458
2020-07-06 18:30:00 | 3.52 | 56.144 | 3.399 | 76.473 | 3.534 | 29.834 | 3.577 | 96.767 | 26.823 | 889.783 | 24.677 | 3.3958
2020-07-06 18:45:00 | 3.974 | 15.331 | 3.909 | 13.075 | 3.77 | 15.667 | 3.826 | 12.867 | 26.773 | 889.333 | 24.811 | 1.7174
2020-07-06 19:00:00 | 5.823 | 304.533 | 6.252 | 325.522 | 6.262 | 246.867 | 6.393 | 282.667 | 26.506 | 890.233 | 25.456 | 7.6933
2020-07-06 19:15:00 | 5.694 | 345.827 | 5.759 | 341.1 | 5.817 | 345.533 | 5.845 | 344.633 | 26.214 | 889.583 | 26.2 | 15.9508
2020-07-06 19:30:00 | 6.134 | 319.187 | 6.469 | 313.288 | 6.888 | 315.233 | 7.177 | 312.5 | 25.652 | 889.767 | 27.448 | 33.2062
2020-07-06 19:45:00 | 8.57 | 306.52 | 9.181 | 300.555 | 9.394 | 306.567 | 9.774 | 303.6 | 25.835 | 889.783 | 26.203 | 39.5892
2020-07-06 20:00:00 | 8.49 | 300.72 | 9.386 | 295.097 | 9.606 | 300.233 | 10.135 | 298.567 | 26.056 | 889.7 | 25.904 | 46.3545
2020-07-06 20:15:00 | 8.555 | 301.48 | 8.945 | 296.649 | 9.152 | 301.167 | 9.449 | 299.467 | 25.798 | 889.75 | 26.981 | 50.6904
2020-07-06 20:30:00 | 7.311 | 308.853 | 7.812 | 302.757 | 7.807 | 306.8 | 8.242 | 305.833 | 25.668 | 890.233 | 26.403 | 46.53
2020-07-06 20:45:00 | 6.494 | 300.96 | 6.992 | 295.706 | 7.154 | 301.567 | 7.318 | 300.467 | 25.318 | 890.217 | 25.147 | 31.2536
2020-07-06 21:00:00 | 5.811 | 300.253 | 6.324 | 292.525 | 6.673 | 297.567 | 7.059 | 295.533 | 25.514 | 889.75 | 25.021 | 19.4617
2020-07-06 21:15:00 | 4.73 | 301.88 | 4.973 | 294.966 | 5.162 | 299.467 | 5.505 | 297.967 | 25.677 | 889.567 | 25.104 | 11.3897
2020-07-06 21:30:00 | 4.76 | 303.307 | 5.45 | 299.738 | 5.646 | 303.167 | 6.134 | 299.567 | 25.585 | 889.783 | 25.36 | 11.6242
2020-07-06 21:45:00 | 6.959 | 286.6 | 7.934 | 280.044 | 7.947 | 284.367 | 8.466 | 282.3 | 25.206 | 889.233 | 26.179 | 35.846
2020-07-06 22:00:00 | 8.252 | 290.413 | 9.004 | 282.714 | 9.257 | 287 | 9.86 | 285.9 | 24.594 | 889.65 | 26.317 | 38.7053
2020-07-06 22:15:00 | 7.068 | 289.227 | 8.06 | 284.87 | 8.398 | 288.233 | 8.997 | 285.767 | 24.252 | 889.733 | 26.552 | 38.3649
2020-07-06 22:30:00 | 6.802 | 282.813 | 7.682 | 275.948 | 8.112 | 280.467 | 8.616 | 277.767 | 24.339 | 889.833 | 26.755 | 34.9386
2020-07-06 22:45:00 | 6.579 | 280.413 | 7.357 | 274.363 | 7.782 | 278 | 8.428 | 274.833 | 24.306 | 889.683 | 26.936 | 36.6986
2020-07-06 23:00:00 | 8.079 | 286.053 | 8.847 | 278.227 | 9.187 | 282.7 | 9.685 | 278.933 | 24.06 | 889.683 | 27.179 | 47.2193
2020-07-06 23:15:00 | 6.779 | 278.187 | 7.648 | 272.861 | 7.802 | 276.967 | 8.21 | 273.467 | 24.11 | 890 | 27.603 | 46.0078
2020-07-06 23:30:00 | 8.526 | 288.427 | 9.456 | 282.701 | 9.86 | 287.967 | 10.205 | 285.2 | 23.756 | 890 | 28.235 | 57.9943
2020-07-06 23:45:00 | 8.207 | 289.28 | 9.476 | 283.337 | 9.788 | 286.5 | 10.383 | 282.3 | 23.331 | 889.733 | 30.891 | 60.6405