## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-07 00:00:00 | 7.652 | 287.147 | 8.469 | 280.973 | 8.686 | 285.6 | 9.204 | 283.9 | 23.314 | 889.767 | 31.728 | 46.5734
2020-07-07 00:15:00 | 7.751 | 286.333 | 8.822 | 280.584 | 9.248 | 285.933 | 9.631 | 285 | 22.581 | 889.683 | 32.683 | 43.7844
2020-07-07 00:30:00 | 6.345 | 276.533 | 7.364 | 271.073 | 7.596 | 276.567 | 7.746 | 270.733 | 22.381 | 889.633 | 33.445 | 38.3294
2020-07-07 00:45:00 | 8.137 | 276.56 | 9.29 | 271.778 | 9.702 | 277.133 | 10.179 | 274.7 | 22.356 | 890.033 | 34.021 | 45.7214
2020-07-07 01:00:00 | 7.149 | 270.127 | 8.483 | 264.758 | 8.732 | 269.467 | 9.175 | 266.7 | 21.594 | 889.5 | 35.171 | 55.9387
2020-07-07 01:15:00 | 7.197 | 266.573 | 7.979 | 263.461 | 8.39 | 268.067 | 8.754 | 264.1 | 21.114 | 889.917 | 37.989 | 53.0495
2020-07-07 01:30:00 | 7.374 | 267.073 | 8.693 | 264.532 | 8.869 | 269.2 | 9.283 | 264.567 | 20.614 | 889.85 | 38.877 | 48.7157
2020-07-07 01:45:00 | 7.92 | 265.147 | 9.058 | 259.461 | 9.433 | 265.3 | 9.697 | 261.2 | 20.306 | 889.45 | 39.829 | 51.5772
2020-07-07 02:00:00 | 6.577 | 267.38 | 7.604 | 262.534 | 8.251 | 268.033 | 8.641 | 263.4 | 20.114 | 889.933 | 41.355 | 48.4706
2020-07-07 02:15:00 | 7.224 | 263.447 | 8.452 | 261.096 | 8.815 | 265.1 | 9.39 | 262.033 | 19.577 | 889.95 | 43.109 | 49.4775
2020-07-07 02:30:00 | 7.752 | 263.747 | 9.103 | 261.034 | 9.63 | 267.367 | 9.719 | 262.217 | 19.602 | 889.967 | 44.837 | 57.9901
2020-07-07 02:45:00 | 7.556 | 262.087 | 9.095 | 257.702 | 9.541 | 263.333 | 9.826 | 259.617 | 19.577 | 890.167 | 45.413 | 65.6528
2020-07-07 03:00:00 | 8.462 | 265.467 | 9.955 | 260.476 | 10.444 | 266.233 | 11.092 | 261.767 | 19.21 | 889.467 | 45.637 | 65.8084
2020-07-07 03:15:00 | 7.794 | 268.6 | 9.038 | 263.344 | 9.623 | 266.9 | 9.711 | 263.933 | 19.648 | 889.567 | 45.856 | 60.5502
2020-07-07 03:30:00 | 8.285 | 269.427 | 9.649 | 265.716 | 10.314 | 271.667 | 10.776 | 268.067 | 19.277 | 889.642 | 46.528 | 55.7475
2020-07-07 03:45:00 | 8.036 | 267.573 | 9.722 | 265.381 | 10.439 | 270.7 | 11.169 | 267.2 | 19.139 | 889.633 | 46.496 | 59.4844
2020-07-07 04:00:00 | 8.956 | 262.56 | 10.367 | 257.885 | 10.886 | 262.633 | 11.224 | 256.783 | 18.818 | 889.5 | 47.243 | 67.6708
2020-07-07 04:15:00 | 8.826 | 264.107 | 9.835 | 258.494 | 10.217 | 263.367 | 10.663 | 260.883 | 18.489 | 890.167 | 47.915 | 65.0197
2020-07-07 04:30:00 | 7.614 | 256.733 | 8.846 | 257.559 | 9.389 | 261.4 | 9.573 | 256.483 | 18.564 | 890.1 | 48.421 | 55.793
2020-07-07 04:45:00 | 8.235 | 254.267 | 9.242 | 252.112 | 9.824 | 257.167 | 10.141 | 252.817 | 18.431 | 890.05 | 48.384 | 52.6587
2020-07-07 05:00:00 | 6.893 | 238.807 | 8.186 | 237.274 | 9 | 242.633 | 9.19 | 239.167 | 18.602 | 889.967 | 47.2 | 56.0168
2020-07-07 05:15:00 | 7.101 | 234.527 | 8.063 | 233.247 | 8.5 | 239.133 | 8.563 | 235.567 | 18.218 | 889.675 | 48.939 | 69.8402
2020-07-07 05:30:00 | 7.406 | 247.733 | 8.565 | 244.957 | 9.228 | 250.45 | 9.321 | 247.467 | 18.106 | 890.075 | 49.056 | 75.2945
2020-07-07 05:45:00 | 7.848 | 256.447 | 9.483 | 253.612 | 10.149 | 257.333 | 10.678 | 252.85 | 18.068 | 890.075 | 48.496 | 73.9089
2020-07-07 06:00:00 | 8.75 | 258.847 | 10.026 | 253.983 | 10.803 | 259.35 | 10.964 | 256.4 | 18.135 | 889.842 | 47.355 | 73.9991
2020-07-07 06:15:00 | 7.342 | 253.807 | 8.721 | 252.361 | 9.39 | 258.3 | 9.83 | 254.067 | 18.11 | 889.692 | 47.541 | 64.5948
2020-07-07 06:30:00 | 7.965 | 249.787 | 9.598 | 248.644 | 10.198 | 254.633 | 10.491 | 250.317 | 17.96 | 889.783 | 46.981 | 67.9032
2020-07-07 06:45:00 | 7.065 | 246.06 | 8.009 | 246.43 | 8.74 | 253.567 | 9.01 | 250.9 | 18.064 | 889.433 | 46.667 | 62.3458
2020-07-07 07:00:00 | 7.056 | 244 | 8.217 | 244.066 | 8.691 | 249.967 | 8.624 | 246.5 | 18.423 | 889.808 | 45.035 | 55.2267
2020-07-07 07:15:00 | 7.89 | 238.267 | 8.621 | 237.547 | 9.044 | 243.833 | 9.125 | 239.867 | 18.977 | 890.175 | 43.04 | 54.676
2020-07-07 07:30:00 | 7.348 | 244.913 | 7.863 | 240.496 | 8.187 | 246.5 | 8.381 | 242.75 | 19.56 | 889.9 | 40.981 | 47.2776
2020-07-07 07:45:00 | 7.401 | 250.16 | 7.814 | 246.377 | 8.094 | 251.883 | 8.221 | 249.05 | 20.064 | 889.883 | 38.944 | 41.7408
2020-07-07 08:00:00 | 8.529 | 254.847 | 9.191 | 254.047 | 9.007 | 258.15 | 8.959 | 255.117 | 20.868 | 889.8 | 36.885 | 41.2882
2020-07-07 08:15:00 | 8.259 | 259.02 | 8.649 | 255.942 | 8.807 | 260.967 | 8.796 | 255.867 | 20.973 | 890.05 | 36.499 | 43.5734
2020-07-07 08:30:00 | 7.625 | 256.847 | 8.216 | 256.019 | 8.319 | 262.733 | 8.23 | 259.1 | 21.277 | 889.917 | 35.755 | 38.7884
2020-07-07 08:45:00 | 6.451 | 279.633 | 6.708 | 275.449 | 6.843 | 276.767 | 6.974 | 275 | 21.785 | 889.767 | 36.037 | 38.8922
2020-07-07 09:00:00 | 7.001 | 277.653 | 7.501 | 273.97 | 7.714 | 277.817 | 7.932 | 273.9 | 21.706 | 889.9 | 35.707 | 40.7219
2020-07-07 09:15:00 | 7.373 | 284.607 | 7.946 | 279.512 | 8.24 | 283.4 | 8.23 | 280.633 | 21.827 | 889.7 | 34.867 | 38.733
2020-07-07 09:30:00 | 7.926 | 282.32 | 8.31 | 276.515 | 8.5 | 281.233 | 8.882 | 278.4 | 21.839 | 889.817 | 35.125 | 36.5139
2020-07-07 09:45:00 | 8.199 | 296.467 | 8.842 | 290.065 | 8.732 | 292.867 | 9.006 | 289.933 | 22.056 | 889.65 | 34.72 | 37.3644
2020-07-07 10:00:00 | 8.021 | 297.78 | 8.299 | 292.545 | 8.48 | 294.6 | 8.906 | 289.867 | 22.26 | 889.8 | 34.368 | 36.683
2020-07-07 10:15:00 | 7.195 | 274.6 | 7.791 | 272.944 | 8.013 | 279.133 | 8.564 | 274.75 | 22.631 | 889.717 | 33.931 | 36.8614
2020-07-07 10:30:00 | 7.864 | 290.96 | 8.352 | 288.066 | 8.572 | 289.233 | 8.748 | 288.767 | 22.998 | 889.267 | 32.48 | 37.3019
2020-07-07 10:45:00 | 8.754 | 310.107 | 8.547 | 302.544 | 8.656 | 307.967 | 9.461 | 304.3 | 22.981 | 889.65 | 32.605 | 39.3547
2020-07-07 11:00:00 | 9 | 312.733 | 9.343 | 306.454 | 9.61 | 313.267 | 10.444 | 312.833 | 23.352 | 889.5 | 32.267 | 39.229
2020-07-07 11:15:00 | 9.352 | 302.627 | 9.639 | 296.515 | 9.623 | 301.233 | 10.194 | 298.167 | 23.518 | 889.333 | 32.299 | 38.9526
2020-07-07 11:30:00 | 9.234 | 300.987 | 9.905 | 295.028 | 9.963 | 299.267 | 10.393 | 296.467 | 23.752 | 889.8 | 32.168 | 40.039
2020-07-07 11:45:00 | 8.725 | 312.2 | 9.687 | 306.244 | 9.834 | 309.967 | 10.165 | 307.233 | 23.61 | 889.7 | 32.2 | 40.1847
2020-07-07 12:00:00 | 7.297 | 313.573 | 7.752 | 304.864 | 8.071 | 307.5 | 8.217 | 307.9 | 24.164 | 889.833 | 31.656 | 38.8943
2020-07-07 12:15:00 | 8.014 | 314.693 | 8.509 | 307.491 | 8.569 | 309.8 | 9.045 | 307.133 | 24.048 | 889.7 | 30.891 | 37.7915
2020-07-07 12:30:00 | 7.103 | 295.387 | 7.526 | 291.559 | 7.437 | 298.6 | 7.559 | 291.667 | 24.839 | 889.767 | 29.8 | 38.6037
2020-07-07 12:45:00 | 6.903 | 283.307 | 7.294 | 275.643 | 7.631 | 281 | 7.792 | 278.8 | 25.289 | 889.567 | 28.933 | 36.3469
2020-07-07 13:00:00 | 6.96 | 297.987 | 7.01 | 294.798 | 7.145 | 298.667 | 7.636 | 296.7 | 25.177 | 889.617 | 28.429 | 35.6349
2020-07-07 13:15:00 | 7.605 | 299.053 | 8.025 | 293.281 | 8.424 | 296.7 | 8.541 | 293.333 | 25.923 | 889.55 | 27.411 | 37.4668
2020-07-07 13:30:00 | 8.943 | 286.86 | 9.38 | 281.88 | 9.607 | 285.6 | 10.125 | 282.2 | 26.048 | 889.65 | 26.312 | 40.8292
2020-07-07 13:45:00 | 8.123 | 286.393 | 8.709 | 283.183 | 8.668 | 288.633 | 8.672 | 290 | 26.944 | 890 | 25.651 | 41.6271
2020-07-07 14:00:00 | 9.503 | 305.48 | 10.001 | 296.795 | 10.15 | 299.633 | 10.671 | 295.467 | 26.51 | 889.633 | 25.176 | 42.8365
2020-07-07 14:15:00 | 7.916 | 296.773 | 8.434 | 290.78 | 8.374 | 294.6 | 8.487 | 292.667 | 26.264 | 889.617 | 24.661 | 43.8548
2020-07-07 14:30:00 | 8.388 | 305.787 | 8.557 | 297.52 | 8.945 | 300.367 | 9.172 | 294.5 | 26.723 | 889.633 | 24.056 | 44.8069
2020-07-07 14:45:00 | 8.209 | 292.293 | 8.717 | 285.295 | 8.846 | 288.767 | 9.299 | 289.233 | 27.052 | 889.517 | 23.915 | 45.4009
2020-07-07 15:00:00 | 8.922 | 286.2 | 8.828 | 280.038 | 8.976 | 289.767 | 9.215 | 285.733 | 26.856 | 889.75 | 24.091 | 45.0933
2020-07-07 15:15:00 | 9.39 | 295.867 | 9.766 | 286.919 | 9.928 | 293.333 | 10.097 | 288.533 | 27.81 | 889.733 | 23.259 | 47.8403
2020-07-07 15:30:00 | 8.602 | 292.693 | 8.919 | 288.35 | 8.88 | 292.233 | 9.328 | 290.2 | 27.114 | 889.75 | 23.645 | 48.2382
2020-07-07 15:45:00 | 10.536 | 310.187 | 10.768 | 304.347 | 10.958 | 307.633 | 11.028 | 305.233 | 27.744 | 889.733 | 22.608 | 61.4534
2020-07-07 16:00:00 | 9.021 | 297.733 | 9.208 | 290.227 | 9.094 | 294 | 9.719 | 290.267 | 27.81 | 889.783 | 22.493 | 49.8903
2020-07-07 16:15:00 | 10.341 | 304.84 | 10.63 | 296.257 | 11.041 | 300.633 | 11.295 | 298.3 | 28.106 | 889.933 | 22.429 | 35.534
2020-07-07 16:30:00 | 8.85 | 305.307 | 9.136 | 299.533 | 9.64 | 306.333 | 9.621 | 304.2 | 27.664 | 889.433 | 22.027 | 34.9677
2020-07-07 16:45:00 | 9.899 | 309.28 | 10.54 | 302.494 | 10.746 | 308.6 | 10.815 | 303.333 | 27.673 | 889.583 | 22.555 | 42.8799
2020-07-07 17:00:00 | 10.444 | 287.867 | 11.079 | 283.645 | 10.943 | 285.933 | 11.084 | 283.033 | 27.981 | 889.7 | 22.755 | 62.8667
2020-07-07 17:15:00 | 10.535 | 299.387 | 11.063 | 294.024 | 10.974 | 296.533 | 11.529 | 295.467 | 27.644 | 889.783 | 22.963 | 68.3672
2020-07-07 17:30:00 | 10.975 | 304.56 | 11.134 | 296.451 | 11.561 | 302.7 | 11.773 | 299.467 | 27.394 | 889.9 | 23.608 | 73.128
2020-07-07 17:45:00 | 10.47 | 312.467 | 11.52 | 306.951 | 11.97 | 313.467 | 12.384 | 311.033 | 27.006 | 889.983 | 24.485 | 75.541
2020-07-07 18:00:00 | 11.17 | 298.64 | 11.55 | 292.175 | 11.759 | 298.3 | 12.145 | 295.667 | 27.168 | 889.95 | 24.245 | 82.2083
2020-07-07 18:15:00 | 13.708 | 309.147 | 14.151 | 303.006 | 14.842 | 307.333 | 15.179 | 304.7 | 26.868 | 889.733 | 25.309 | 86.1463
2020-07-07 18:30:00 | 12.172 | 293.067 | 13.047 | 287.887 | 13.382 | 292.5 | 13.458 | 290.667 | 26.427 | 889.55 | 25.509 | 83.5186
2020-07-07 18:45:00 | 13.153 | 291.867 | 14.003 | 284.549 | 14.488 | 287.133 | 14.829 | 285.467 | 25.885 | 889.783 | 25.848 | 83.3623
2020-07-07 19:00:00 | 13.245 | 296.08 | 13.947 | 289.63 | 14.399 | 293.733 | 14.702 | 291.967 | 25.898 | 890.033 | 26.659 | 82.7725
2020-07-07 19:15:00 | 13.504 | 291.253 | 14.433 | 285.281 | 14.516 | 286.8 | 14.902 | 285.767 | 25.785 | 889.8 | 27.285 | 84.6747
2020-07-07 19:30:00 | 13.079 | 293.213 | 14.797 | 285.585 | 15.014 | 289.933 | 15.513 | 286.667 | 24.918 | 889.483 | 28.787 | 84.6882
2020-07-07 19:45:00 | 13.955 | 287.627 | 15.476 | 279.291 | 16.265 | 282.433 | 16.607 | 279.5 | 24.389 | 889.583 | 30.368 | 84.3968
2020-07-07 20:00:00 | 14.47 | 292.24 | 16.25 | 286.144 | 16.582 | 291.067 | 17.028 | 289.3 | 23.852 | 890.017 | 32.621 | 84.8324
2020-07-07 20:15:00 | 15.522 | 280.027 | 16.756 | 274.598 | 17.315 | 277.8 | 17.584 | 274.4 | 21.948 | 889.375 | 41.677 | 83.9996
2020-07-07 20:30:00 | 15.123 | 286.347 | 17.142 | 279.693 | 17.667 | 283.7 | 17.83 | 280.167 | 20.777 | 890.033 | 45.931 | 75.4281
2020-07-07 20:45:00 | 19.279 | 283.653 | 21.391 | 275.514 | 21.889 | 279.067 | 22.584 | 276.067 | 18.998 | 889.992 | 52.747 | 75.4075
2020-07-07 21:00:00 | 20.353 | 275.733 | 23.178 | 267.516 | 22.768 | 271.8 | 23.558 | 267.233 | 17.86 | 889.925 | 58.448 | 35.0679
2020-07-07 21:15:00 | 20.956 | 273.373 | 23.598 | 267.609 | 23.632 | 272.367 | 24.68 | 267.4 | 17.494 | 889.625 | 61.184 | 19.5875
2020-07-07 21:30:00 | 17.647 | 272.613 | 20.194 | 266.305 | 21.074 | 271.767 | 21.757 | 267.367 | 16.408 | 889.6 | 68.987 | 48.5736
2020-07-07 21:45:00 | 16.885 | 266.78 | 19.14 | 261.587 | 20.078 | 266.367 | 20.734 | 262.2 | 15.112 | 890.125 | 76.416 | 81.6924
2020-07-07 22:00:00 | 17.672 | 263.833 | 19.768 | 259.537 | 20.659 | 263.733 | 21.675 | 258.767 | 14.354 | 889.3 | 88.021 | 76.2999
2020-07-07 22:15:00 | 16.345 | 252.28 | 18.854 | 248.077 | 20.021 | 254.567 | 20.568 | 251.733 | 14.328 | 889.683 | 89.237 | 64.6552
2020-07-07 22:30:00 | 8.084 | 255.62 | 9.412 | 251.846 | 9.956 | 256.783 | 10.246 | 253.133 | 14.345 | 889.988 | 92.491 | 80.7758
2020-07-07 22:45:00 | 6.363 | 241.133 | 6.957 | 237.913 | 7.329 | 243.7 | 7.521 | 237.333 | 13.808 | 889.483 | 92.736 | 38.9291
2020-07-07 23:00:00 | 3.127 | 244.667 | 3.613 | 240.831 | 3.808 | 245.9 | 4.148 | 241.867 | 13.312 | 890.354 | 89.813 | 7.4162
2020-07-07 23:15:00 | 6.17 | 277.04 | 7.007 | 270.425 | 7.136 | 275.933 | 7.405 | 270.033 | 13.554 | 889.908 | 88.725 | 20.7535
2020-07-07 23:30:00 | 5.228 | 270.893 | 6.008 | 264.482 | 6.569 | 268.5 | 6.886 | 264.5 | 13.866 | 890.004 | 84.587 | 24.2872
2020-07-07 23:45:00 | 5.269 | 265.553 | 6.173 | 261.016 | 6.378 | 265.5 | 6.579 | 260.783 | 14.591 | 889.871 | 81.936 | 25.0176