## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-08 00:00:00 | 5.932 | 263 | 6.641 | 260.55 | 7.139 | 265.367 | 7.386 | 260.533 | 14.912 | 890.192 | 79.392 | 29.9298
2020-07-08 00:15:00 | 5.639 | 257.507 | 6.726 | 251.761 | 7.202 | 257.067 | 7.181 | 253.217 | 14.445 | 890.092 | 80.411 | 38.0544
2020-07-08 00:30:00 | 6.204 | 256.153 | 7.254 | 252.298 | 7.751 | 258.5 | 7.935 | 253.483 | 14.841 | 889.95 | 80.032 | 43.8057
2020-07-08 00:45:00 | 5.642 | 259.793 | 6.658 | 254.963 | 7.107 | 262.5 | 7.344 | 258.467 | 14.858 | 888.95 | 78.736 | 30.9587
2020-07-08 01:00:00 | 5.409 | 271.48 | 6.736 | 266.602 | 7.337 | 273.433 | 7.656 | 267.633 | 15.15 | 889.517 | 76.459 | 21.1408
2020-07-08 01:15:00 | 4.808 | 267.973 | 6.056 | 266.13 | 6.512 | 271.3 | 6.814 | 266.533 | 15.378 | 890.042 | 73.989 | 15.2438
2020-07-08 01:30:00 | 3.819 | 251.1 | 4.84 | 253.08 | 5.29 | 259 | 5.354 | 257.183 | 15.476 | 889.633 | 74.336 | 13.1583
2020-07-08 01:45:00 | 4.866 | 250.84 | 6.169 | 251.898 | 6.769 | 258.067 | 6.891 | 253.467 | 15.366 | 889.975 | 75.163 | 20.2533
2020-07-08 02:00:00 | 4.692 | 250.253 | 6.059 | 247.988 | 6.582 | 254.233 | 6.538 | 249.483 | 15.023 | 889.8 | 73.856 | 23.6
2020-07-08 02:15:00 | 5.498 | 243.787 | 6.801 | 243.14 | 7.145 | 249.367 | 7.128 | 244.367 | 15.509 | 889.575 | 75.029 | 29.0394
2020-07-08 02:30:00 | 5.644 | 245.367 | 7.34 | 244.842 | 7.758 | 250.367 | 7.718 | 244.533 | 15.248 | 889.808 | 74.933 | 28.7303
2020-07-08 02:45:00 | 4.767 | 240.953 | 6.194 | 240.879 | 6.63 | 247.333 | 6.551 | 243.1 | 15.202 | 889.767 | 74.976 | 19.9449
2020-07-08 03:00:00 | 4.815 | 227.333 | 6.109 | 226.895 | 6.744 | 233.133 | 6.686 | 229.467 | 14.891 | 889.433 | 76.832 | 20.2426
2020-07-08 03:15:00 | 5.132 | 219.767 | 6.342 | 220.798 | 6.506 | 226.667 | 6.638 | 224.667 | 14.908 | 890.008 | 78.229 | 21.953
2020-07-08 03:30:00 | 4.876 | 212.7 | 6.234 | 216.246 | 6.322 | 224.967 | 6.35 | 224.367 | 14.674 | 890.017 | 78.859 | 24.7178
2020-07-08 03:45:00 | 4.71 | 212.433 | 6.001 | 216.002 | 6.086 | 223.733 | 5.975 | 224.2 | 14.349 | 889.583 | 79.051 | 21.5344
2020-07-08 04:00:00 | 4.874 | 208.967 | 5.54 | 212.872 | 5.5 | 221.667 | 5.557 | 224.933 | 14.858 | 889.95 | 78.069 | 18.8719
2020-07-08 04:15:00 | 5.058 | 225.567 | 6.31 | 231.423 | 6.899 | 245.033 | 7.217 | 245.067 | 14.183 | 889.325 | 77.899 | 25.9307
2020-07-08 04:30:00 | 5.506 | 252.527 | 7.444 | 253.079 | 7.881 | 259.833 | 8.161 | 256.783 | 14.674 | 889.833 | 74.107 | 35.4402
2020-07-08 04:45:00 | 5.782 | 248.167 | 7.376 | 249.867 | 8.047 | 257.1 | 8.3 | 253.733 | 15.214 | 889.542 | 72.88 | 41.522
2020-07-08 05:00:00 | 5.74 | 245.513 | 6.794 | 245.699 | 7.405 | 254.167 | 7.673 | 250.517 | 15.333 | 889.517 | 71.488 | 38.0985
2020-07-08 05:15:00 | 4.837 | 239.353 | 6.492 | 245.575 | 7.14 | 254.467 | 7.449 | 251.6 | 14.929 | 889.8 | 73.6 | 36.2993
2020-07-08 05:30:00 | 5.258 | 248.833 | 7.079 | 251.42 | 7.591 | 258.433 | 7.698 | 256.333 | 14.758 | 889.617 | 73.803 | 36.7477
2020-07-08 05:45:00 | 5.867 | 245.667 | 7.35 | 247.737 | 7.78 | 253.433 | 8.005 | 250.067 | 14.841 | 890.025 | 73.888 | 39.9367
2020-07-08 06:00:00 | 6.162 | 243.7 | 7.603 | 245.226 | 7.938 | 252.633 | 7.952 | 248.733 | 14.774 | 890.025 | 73.696 | 42.4059
2020-07-08 06:15:00 | 6.089 | 231.1 | 7.573 | 233.003 | 7.892 | 241.4 | 7.799 | 239 | 14.641 | 889.783 | 73.76 | 45.1586
2020-07-08 06:30:00 | 6.299 | 231.7 | 7.94 | 232.669 | 8.454 | 239.9 | 8.749 | 235.4 | 14.908 | 890.05 | 71.925 | 49.9621
2020-07-08 06:45:00 | 5.962 | 229.847 | 7.344 | 231.881 | 7.952 | 237.567 | 8.099 | 233.367 | 15.813 | 889.9 | 67.883 | 43.5414
2020-07-08 07:00:00 | 5.605 | 228.713 | 7.213 | 230.11 | 8.032 | 237.767 | 8.285 | 233.733 | 16.298 | 889.783 | 65.195 | 42.1139
2020-07-08 07:15:00 | 6.608 | 244.013 | 7.966 | 241.838 | 8.789 | 247.6 | 9.046 | 242.267 | 16.998 | 889.733 | 60.267 | 43.9414
2020-07-08 07:30:00 | 6.242 | 238.027 | 7.436 | 236.65 | 8.116 | 241.167 | 8.139 | 237.533 | 17.406 | 889.45 | 58.411 | 39.6759
2020-07-08 07:45:00 | 6.876 | 240.4 | 7.831 | 235.726 | 8.512 | 241.017 | 8.753 | 236 | 17.802 | 889.783 | 56.8 | 42.3803
2020-07-08 08:00:00 | 7.303 | 238.833 | 7.903 | 235.843 | 8.364 | 240.133 | 8.554 | 236 | 18.556 | 889.975 | 56.075 | 48.7747
2020-07-08 08:15:00 | 6.548 | 251.76 | 6.996 | 248.695 | 7.446 | 252.033 | 7.527 | 245.883 | 18.86 | 889.717 | 54.005 | 41.3628
2020-07-08 08:30:00 | 6.905 | 251.053 | 7.522 | 245.899 | 7.802 | 250.867 | 7.703 | 245.633 | 19.91 | 889.608 | 52.091 | 36.3299
2020-07-08 08:45:00 | 7.207 | 258.833 | 7.702 | 253.357 | 7.801 | 258.533 | 7.886 | 254.1 | 20.331 | 889.442 | 51.573 | 40.1456
2020-07-08 09:00:00 | 7.803 | 270.787 | 8.596 | 266.287 | 8.774 | 270.133 | 8.668 | 263.2 | 20.102 | 890.117 | 51.115 | 41.7124
2020-07-08 09:15:00 | 8.308 | 268.027 | 8.746 | 265.011 | 8.917 | 271.233 | 9.01 | 266.367 | 20.231 | 889.308 | 51.765 | 49.2991
2020-07-08 09:30:00 | 8.541 | 273.627 | 9.277 | 268.6 | 9.427 | 272.567 | 9.577 | 269.567 | 19.956 | 889.625 | 51.499 | 45.418
2020-07-08 09:45:00 | 7.723 | 279.28 | 8.248 | 274.465 | 8.351 | 276.267 | 8.404 | 272.5 | 19.977 | 890.15 | 50.688 | 43.3524
2020-07-08 10:00:00 | 7.638 | 279.587 | 8.038 | 275.718 | 7.986 | 278.1 | 8.255 | 275.233 | 20.035 | 889.758 | 50.213 | 44.1589
2020-07-08 10:15:00 | 7.782 | 278.907 | 8.268 | 273.089 | 8.761 | 277.7 | 8.722 | 269.733 | 20.598 | 889.642 | 48.32 | 47.1269
2020-07-08 10:30:00 | 7.376 | 276.133 | 7.571 | 271.718 | 7.821 | 277.1 | 8.106 | 272.467 | 21.106 | 889.85 | 47.648 | 46.9713
2020-07-08 10:45:00 | 7.387 | 280.893 | 7.952 | 277.481 | 8.059 | 282.167 | 7.988 | 278.5 | 21.302 | 889.542 | 45.989 | 42.9765
2020-07-08 11:00:00 | 8.02 | 289.053 | 8.438 | 285.473 | 8.596 | 289.967 | 8.842 | 287.7 | 20.731 | 889.75 | 44.912 | 41.3621
2020-07-08 11:15:00 | 7.083 | 286.693 | 7.589 | 280.454 | 7.91 | 284.5 | 8.246 | 281.833 | 21.556 | 889.808 | 44.437 | 40.2714
2020-07-08 11:30:00 | 7.638 | 273.827 | 8.431 | 271.072 | 8.582 | 276.867 | 8.767 | 270.9 | 21.431 | 890.017 | 43.952 | 36.8145
2020-07-08 11:45:00 | 9.632 | 298 | 10.269 | 292.358 | 10.49 | 295.767 | 10.823 | 293.4 | 21.735 | 890.183 | 40.64 | 48.6845
2020-07-08 12:00:00 | 7.794 | 303.587 | 8.186 | 298.518 | 8.288 | 300.767 | 8.858 | 298.467 | 22.231 | 889.733 | 39.592 | 48.6042
2020-07-08 12:15:00 | 7.482 | 293.813 | 8.212 | 288.467 | 8.352 | 292.6 | 8.5 | 289.433 | 22.31 | 889.567 | 37.923 | 53.6087
2020-07-08 12:30:00 | 9.39 | 287.893 | 10.002 | 283.871 | 10.229 | 287.867 | 10.309 | 282.9 | 22.714 | 889.767 | 36.589 | 57.2447
2020-07-08 12:45:00 | 9.282 | 294.987 | 9.842 | 286.701 | 9.953 | 291.233 | 10.42 | 288.4 | 23.014 | 889.933 | 36.845 | 54.612
2020-07-08 13:00:00 | 6.676 | 286.167 | 7.244 | 279.65 | 7.241 | 284.133 | 7.51 | 281.367 | 23.298 | 889.9 | 36.245 | 49.2643
2020-07-08 13:15:00 | 8.811 | 290.08 | 9.114 | 284.488 | 9.358 | 288.2 | 9.674 | 283.933 | 23.648 | 889.733 | 34.909 | 48.941
2020-07-08 13:30:00 | 7.603 | 271.453 | 7.94 | 267.233 | 7.863 | 272.867 | 8.01 | 268.067 | 23.91 | 889.8 | 34.088 | 45.0201
2020-07-08 13:45:00 | 8.721 | 291.28 | 9.31 | 283.088 | 9.404 | 287.933 | 9.459 | 283.3 | 23.014 | 889.717 | 34.941 | 38.3997
2020-07-08 14:00:00 | 8.879 | 277.187 | 9.151 | 272.015 | 8.952 | 279.317 | 8.88 | 273.4 | 24.314 | 889.733 | 33.677 | 39.0634
2020-07-08 14:15:00 | 7.028 | 305.08 | 7.458 | 296.654 | 7.569 | 299.867 | 7.95 | 295.3 | 24.748 | 889.9 | 32.525 | 36.6844
2020-07-08 14:30:00 | 7.092 | 265.187 | 7.488 | 260.008 | 7.377 | 263.383 | 7.337 | 258.25 | 24.794 | 889.133 | 30.936 | 36.2126
2020-07-08 14:45:00 | 7.621 | 269.207 | 7.943 | 266.177 | 8.236 | 271.883 | 8.747 | 264.383 | 25.523 | 889.75 | 30.595 | 37.1605
2020-07-08 15:00:00 | 8.243 | 280.88 | 8.543 | 275.19 | 8.641 | 281.1 | 9.049 | 278.483 | 24.956 | 889.583 | 29.179 | 37.0966
2020-07-08 15:15:00 | 8.788 | 302.667 | 9.453 | 293.695 | 9.753 | 297.9 | 10.152 | 295.3 | 25.089 | 889.867 | 29.008 | 36.8706
2020-07-08 15:30:00 | 7.374 | 318.107 | 8.029 | 310.002 | 8.617 | 313.333 | 8.89 | 309.133 | 25.114 | 889.817 | 28.637 | 35.5241
2020-07-08 15:45:00 | 7.137 | 276.533 | 7.822 | 273.726 | 8.03 | 280.867 | 8.369 | 274.933 | 25.835 | 889.55 | 27.312 | 35.4139
2020-07-08 16:00:00 | 9.626 | 307.787 | 10.264 | 299.527 | 10.39 | 303.467 | 10.625 | 297.433 | 26.194 | 889.517 | 26.789 | 35.448
2020-07-08 16:15:00 | 8.098 | 284.707 | 8.301 | 279.282 | 8.533 | 284.1 | 8.782 | 281.167 | 25.994 | 889.633 | 26.821 | 40.1321
2020-07-08 16:30:00 | 8.136 | 279.78 | 8.934 | 274.097 | 9.032 | 279.517 | 8.904 | 277.667 | 26.327 | 889.817 | 23.8 | 46.3183
2020-07-08 16:45:00 | 7.626 | 281.073 | 8.368 | 275.019 | 8.695 | 279.9 | 9.039 | 276.417 | 26.364 | 889.633 | 25.176 | 51.1125
2020-07-08 17:00:00 | 8.539 | 309.08 | 8.929 | 300.392 | 9.354 | 302.333 | 9.68 | 299.9 | 26.477 | 889.55 | 24.68 | 52.6942
2020-07-08 17:15:00 | 9.935 | 291.72 | 10.562 | 285.42 | 10.983 | 289.033 | 11.651 | 284.633 | 26.535 | 889.75 | 25.021 | 52.4782
2020-07-08 17:30:00 | 10.201 | 286.533 | 11.297 | 280.958 | 11.502 | 286.467 | 11.906 | 282.5 | 26.702 | 889.683 | 24.947 | 51.6575
2020-07-08 17:45:00 | 8.336 | 296.92 | 8.883 | 294.109 | 9.458 | 301.5 | 9.861 | 300.867 | 27.539 | 889.8 | 24.347 | 51.9652
2020-07-08 18:00:00 | 9.191 | 293.96 | 9.916 | 291.338 | 10.284 | 292.167 | 10.518 | 288.767 | 27.085 | 889.783 | 23.72 | 53.0381
2020-07-08 18:15:00 | 7.507 | 279.933 | 8.002 | 272.604 | 8.23 | 276.433 | 8.737 | 275.267 | 26.823 | 889.417 | 24.152 | 50.5845
2020-07-08 18:30:00 | 7.31 | 289.787 | 7.476 | 287.924 | 7.855 | 290 | 8.437 | 288.2 | 26.806 | 889.8 | 24.269 | 50.9626
2020-07-08 18:45:00 | 9.466 | 303.52 | 10.053 | 297.553 | 10.375 | 303.533 | 11.068 | 300.267 | 27.027 | 890.05 | 23.944 | 57.3292
2020-07-08 19:00:00 | 7.999 | 303.893 | 8.513 | 299.798 | 8.792 | 303.1 | 9.147 | 301.233 | 26.885 | 889.717 | 24.301 | 57.4273
2020-07-08 19:15:00 | 9.042 | 297.973 | 9.723 | 291.123 | 10.371 | 295.9 | 10.624 | 293.1 | 26.844 | 889.767 | 24.331 | 61.0689
2020-07-08 19:30:00 | 9.922 | 294.747 | 10.753 | 288.551 | 11.07 | 292.467 | 11.83 | 289.8 | 26.818 | 889.733 | 24.989 | 63.7876
2020-07-08 19:45:00 | 10.102 | 287.48 | 10.765 | 285.16 | 11.208 | 287.833 | 11.489 | 284.567 | 27.227 | 889.933 | 25.368 | 70.28
2020-07-08 20:00:00 | 10.81 | 287.893 | 11.82 | 281.218 | 12.006 | 284.833 | 12.243 | 284.1 | 26.781 | 889.883 | 25.429 | 78.8445
2020-07-08 20:15:00 | 9.963 | 286.147 | 11.503 | 277.074 | 11.48 | 279.7 | 11.483 | 276.333 | 26.718 | 889.333 | 25.717 | 74.5662
2020-07-08 20:30:00 | 8.302 | 294.267 | 9.248 | 288.864 | 9.669 | 292.433 | 10.018 | 290.3 | 26.635 | 889.4 | 25.696 | 59.4112
2020-07-08 20:45:00 | 7.094 | 287.133 | 7.909 | 277.602 | 8.182 | 280.633 | 8.287 | 276.833 | 26.448 | 889.633 | 25.909 | 54.4301
2020-07-08 21:00:00 | 8.903 | 289.013 | 9.817 | 280.898 | 10.408 | 285.333 | 10.711 | 282.2 | 26.389 | 889.35 | 26.272 | 60.3207
2020-07-08 21:15:00 | 7.524 | 275.613 | 8.066 | 270.199 | 8.313 | 273.567 | 8.495 | 269.9 | 26.098 | 890.317 | 26.901 | 46.184
2020-07-08 21:30:00 | 5.464 | 276.047 | 6.734 | 271.33 | 7.41 | 275.633 | 7.847 | 273.367 | 25.631 | 889.733 | 28.48 | 32.5233
2020-07-08 21:45:00 | 7.04 | 285.227 | 8.251 | 281.943 | 8.6 | 285.867 | 8.998 | 283.067 | 25.877 | 890.083 | 27.621 | 41.7266
2020-07-08 22:00:00 | 5.884 | 281.387 | 7.088 | 277.544 | 7.738 | 283 | 8.108 | 281.233 | 25.802 | 889.95 | 28.317 | 32.2306
2020-07-08 22:15:00 | 6.101 | 282.267 | 7.164 | 277.969 | 7.667 | 281.6 | 7.846 | 278.7 | 25.123 | 889.783 | 28.219 | 31.8071
2020-07-08 22:30:00 | 5.007 | 272.387 | 5.743 | 273.325 | 6.349 | 279.2 | 6.872 | 276.4 | 24.614 | 889.533 | 29.221 | 19.024
2020-07-08 22:45:00 | 4.397 | 267.653 | 5.434 | 265.894 | 5.824 | 272.633 | 6.045 | 269.4 | 24.873 | 889.7 | 29.917 | 14.7684
2020-07-08 23:00:00 | 4.102 | 255.68 | 5.1 | 260.268 | 5.458 | 269.2 | 5.514 | 266.267 | 23.839 | 889.833 | 32.579 | 13.0353
2020-07-08 23:15:00 | 4.217 | 249.147 | 4.649 | 258.023 | 4.868 | 265.533 | 5.125 | 263.6 | 23.481 | 889.867 | 34.016 | 12.5003
2020-07-08 23:30:00 | 4.513 | 245.567 | 5.008 | 255.578 | 5.112 | 266.333 | 5.154 | 264.333 | 22.964 | 889.85 | 35.419 | 14.0451
2020-07-08 23:45:00 | 5.218 | 239.24 | 6 | 243.468 | 5.857 | 251.2 | 5.619 | 248.833 | 22.068 | 889.917 | 36.592 | 20.9731