## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-09 00:00:00 | 5.297 | 243.467 | 5.857 | 247.886 | 6.126 | 254.8 | 6.268 | 252.1 | 22.327 | 889.567 | 36.032 | 23.691
2020-07-09 00:15:00 | 5.177 | 247.753 | 6.145 | 252.787 | 6.362 | 258.733 | 6.533 | 256.65 | 21.639 | 889.55 | 37.272 | 27.3135
2020-07-09 00:30:00 | 4.973 | 257.98 | 6.111 | 262.686 | 6.428 | 269.733 | 6.637 | 266.1 | 21.368 | 889.817 | 37.123 | 27.4783
2020-07-09 00:45:00 | 5.073 | 255.467 | 6.201 | 260.81 | 6.356 | 267.233 | 6.527 | 266.2 | 21.085 | 889.617 | 37.747 | 23.8807
2020-07-09 01:00:00 | 4.906 | 279.32 | 6.005 | 282.557 | 6.697 | 289.567 | 7.308 | 292.567 | 21.735 | 889.583 | 36.195 | 27.0776
2020-07-09 01:15:00 | 5 | 292.44 | 6.397 | 291.155 | 6.85 | 296.467 | 7.365 | 293.633 | 22.164 | 889.733 | 35.277 | 22.7104
2020-07-09 01:30:00 | 4.998 | 287.067 | 5.895 | 286.79 | 6.418 | 291.367 | 6.842 | 289.733 | 21.718 | 889.367 | 37.037 | 21.263
2020-07-09 01:45:00 | 4.171 | 279.387 | 5.983 | 279.747 | 6.429 | 286.3 | 6.759 | 284.833 | 21.056 | 889.683 | 38.803 | 19.8262
2020-07-09 02:00:00 | 4.058 | 277.813 | 5.384 | 280.978 | 5.617 | 287.267 | 6.14 | 285.767 | 21.031 | 889.917 | 40.411 | 16.1256
2020-07-09 02:15:00 | 4.811 | 276.04 | 5.928 | 279.236 | 6.172 | 286.467 | 6.685 | 285.533 | 20.702 | 889.808 | 40.901 | 17.2042
2020-07-09 02:30:00 | 4.71 | 277.493 | 6.011 | 281.356 | 6.405 | 289.2 | 6.847 | 287.833 | 20.298 | 889.808 | 41.221 | 20.9667
2020-07-09 02:45:00 | 4.741 | 270.053 | 5.378 | 275.323 | 5.702 | 280.567 | 6.118 | 280.2 | 20.073 | 889.725 | 41.091 | 15.4825
2020-07-09 03:00:00 | 4.065 | 230.64 | 4.918 | 246.786 | 5.065 | 262.7 | 5.215 | 265.067 | 19.364 | 890.175 | 45.472 | 10.6855
2020-07-09 03:15:00 | 5.12 | 224.533 | 5.512 | 237.584 | 5.269 | 249.533 | 5.018 | 250.433 | 18.473 | 889.725 | 48.789 | 10.5448
2020-07-09 03:30:00 | 4.99 | 221.153 | 5.257 | 232.5 | 5.039 | 241.967 | 4.794 | 240.1 | 17.864 | 889.7 | 49.973 | 9.7291
2020-07-09 03:45:00 | 5.158 | 216 | 6.263 | 224.899 | 6.014 | 232.033 | 5.694 | 227.333 | 17.844 | 890.117 | 50.784 | 11.4344
2020-07-09 04:00:00 | 4.845 | 222.253 | 6.191 | 233.393 | 6.417 | 243.667 | 6.204 | 241 | 17.648 | 890.058 | 51.125 | 18.3305
2020-07-09 04:15:00 | 5.885 | 232.693 | 7.222 | 235.389 | 7.209 | 242.933 | 7.038 | 238.6 | 18.102 | 889.875 | 48.501 | 29.8289
2020-07-09 04:30:00 | 5.367 | 234.2 | 6.9 | 237.303 | 7.227 | 245.833 | 7.153 | 242.233 | 18.606 | 890.042 | 47.541 | 31.8675
2020-07-09 04:45:00 | 6.152 | 231.793 | 7.562 | 233.092 | 7.788 | 240.633 | 7.736 | 236.067 | 18.406 | 889.692 | 47.477 | 36.7548
2020-07-09 05:00:00 | 6.036 | 236.067 | 7.737 | 235.854 | 8.125 | 242.433 | 8.052 | 238.5 | 18.456 | 889.917 | 46.955 | 43.9855
2020-07-09 05:15:00 | 6.662 | 232.893 | 8.196 | 233.208 | 8.433 | 240.167 | 8.346 | 235.6 | 18.981 | 890.308 | 45.728 | 50.0267
2020-07-09 05:30:00 | 7.076 | 230.32 | 8.601 | 232.243 | 8.993 | 239.433 | 8.911 | 235.6 | 18.731 | 889.767 | 45.643 | 56.3764
2020-07-09 05:45:00 | 7.17 | 232.433 | 8.68 | 233.334 | 9.388 | 239.9 | 9.368 | 235.933 | 18.706 | 890.2 | 44.96 | 62.8375
2020-07-09 06:00:00 | 6.864 | 233.847 | 8.533 | 234.14 | 9.258 | 240.633 | 9.46 | 237 | 18.785 | 889.842 | 44.064 | 63.6639
2020-07-09 06:15:00 | 7.022 | 231.633 | 8.616 | 231.482 | 9.273 | 237.767 | 9.359 | 233.967 | 18.706 | 889.725 | 44.192 | 65.2101
2020-07-09 06:30:00 | 7.128 | 232.167 | 8.58 | 231.06 | 9.224 | 236.7 | 9.366 | 233.033 | 19.231 | 889.817 | 42.219 | 63.8878
2020-07-09 06:45:00 | 6.766 | 233.347 | 8.184 | 232.151 | 9.078 | 236.967 | 9.319 | 232.033 | 20.089 | 889.642 | 40.763 | 65.252
2020-07-09 07:00:00 | 7.558 | 235.4 | 8.955 | 233.77 | 9.79 | 239.267 | 9.952 | 234.6 | 19.981 | 889.5 | 38.501 | 71.601
2020-07-09 07:15:00 | 6.969 | 236.607 | 8.273 | 234.111 | 9.315 | 239 | 9.849 | 235.4 | 20.656 | 889.583 | 37.045 | 66.3861
2020-07-09 07:30:00 | 7.631 | 232.147 | 8.546 | 230.927 | 9.25 | 236.2 | 9.436 | 231.3 | 21.048 | 889.367 | 35.712 | 59.5846
2020-07-09 07:45:00 | 7.722 | 228.453 | 8.635 | 226.577 | 9.356 | 233.367 | 9.828 | 228 | 21.539 | 889.717 | 34.747 | 55.0497
2020-07-09 08:00:00 | 7.532 | 228.653 | 8.136 | 226.895 | 9.003 | 230.633 | 9.094 | 227.1 | 21.944 | 889.717 | 33.856 | 51.3562
2020-07-09 08:15:00 | 6.289 | 245.66 | 6.804 | 240.698 | 7.244 | 245.267 | 7.428 | 240.55 | 22.731 | 889.5 | 32.544 | 47.8702
2020-07-09 08:30:00 | 8.833 | 260.273 | 9.591 | 255.58 | 10.044 | 258.417 | 10.298 | 253.867 | 23.518 | 889.717 | 28.904 | 57.0606
2020-07-09 08:45:00 | 9.369 | 266.627 | 9.905 | 261.576 | 10.06 | 266.417 | 10.108 | 260.4 | 23.635 | 889.8 | 28.189 | 74.1526
2020-07-09 09:00:00 | 9.138 | 276.867 | 10.048 | 270.406 | 10.141 | 273 | 10.405 | 267.333 | 23.652 | 889.75 | 27.667 | 80.7481
2020-07-09 09:15:00 | 9.258 | 272.807 | 10.136 | 269.862 | 10.72 | 272.283 | 10.813 | 267.8 | 23.364 | 889.883 | 27.733 | 75.8459
2020-07-09 09:30:00 | 9.983 | 280.853 | 10.879 | 275.012 | 11.347 | 278.667 | 11.635 | 275.033 | 23.148 | 889.75 | 26.811 | 79.0008
2020-07-09 09:45:00 | 9.459 | 294 | 10.252 | 289.559 | 10.481 | 290.767 | 10.928 | 288.467 | 23.348 | 889.9 | 27.664 | 75.443
2020-07-09 10:00:00 | 9.713 | 283.867 | 10.818 | 278.336 | 10.923 | 281.933 | 11.244 | 279.567 | 23.927 | 889.6 | 26.64 | 71.7203
2020-07-09 10:15:00 | 9.588 | 290.253 | 10.149 | 284.875 | 10.387 | 291.1 | 10.672 | 286.267 | 24.094 | 889.617 | 26.923 | 80.088
2020-07-09 10:30:00 | 10.804 | 284.24 | 11.576 | 276.594 | 11.765 | 281.433 | 12.058 | 277 | 24.135 | 889.683 | 26.637 | 81.291
2020-07-09 10:45:00 | 11.604 | 280.08 | 12.328 | 274.507 | 12.37 | 278.7 | 12.724 | 275.733 | 24.714 | 889.5 | 25.533 | 83.0219
2020-07-09 11:00:00 | 11.223 | 285.347 | 11.924 | 280.027 | 12.28 | 285.267 | 12.481 | 284 | 24.189 | 890 | 25.355 | 81.5674
2020-07-09 11:15:00 | 11.429 | 296.627 | 12.058 | 290.911 | 12.258 | 295.633 | 12.811 | 293.7 | 24.998 | 889.683 | 24.608 | 78.6562
2020-07-09 11:30:00 | 10.835 | 296.693 | 11.514 | 287.482 | 11.883 | 290.7 | 12.255 | 285.7 | 24.589 | 889.967 | 26.077 | 80.3424
2020-07-09 11:45:00 | 12.949 | 293.333 | 13.865 | 287.928 | 13.892 | 291.633 | 14.35 | 289.7 | 24.598 | 889.6 | 26.701 | 78.3904
2020-07-09 12:00:00 | 12.075 | 298.627 | 12.939 | 293.288 | 13.335 | 296.167 | 13.728 | 293.867 | 23.998 | 889.6 | 27.493 | 77.3565
2020-07-09 12:15:00 | 12.806 | 297.787 | 13.864 | 292.158 | 14.23 | 297.633 | 14.634 | 294.167 | 24.381 | 889.683 | 28.195 | 72.9681
2020-07-09 12:30:00 | 11.172 | 286.533 | 12.014 | 280.533 | 12.413 | 284.733 | 13.116 | 282.933 | 25.156 | 889.633 | 28.101 | 75.5432
2020-07-09 12:45:00 | 12.037 | 297.027 | 13.059 | 287.88 | 13.301 | 291.533 | 13.753 | 289.3 | 25.285 | 889.633 | 28.515 | 77.6756
2020-07-09 13:00:00 | 12.381 | 290.667 | 13.599 | 284.843 | 13.705 | 288.533 | 13.86 | 285.033 | 24.968 | 889.4 | 29.101 | 78.0309
2020-07-09 13:15:00 | 12.614 | 290.88 | 13.523 | 282.392 | 13.54 | 283.833 | 14.208 | 281.967 | 24.085 | 889.583 | 30.883 | 69.8132
2020-07-09 13:30:00 | 12.041 | 296.787 | 12.931 | 288.911 | 13.303 | 291.067 | 13.699 | 288.933 | 24.839 | 889.717 | 29.099 | 77.5939
2020-07-09 13:45:00 | 12.308 | 289.973 | 12.866 | 283.768 | 13.139 | 288.533 | 13.367 | 286.6 | 24.706 | 889.683 | 28.736 | 77.8063
2020-07-09 14:00:00 | 11.348 | 288.52 | 12.263 | 281.467 | 12.909 | 286.5 | 13.328 | 282.767 | 25.244 | 890.283 | 27.629 | 74.3345
2020-07-09 14:15:00 | 10.591 | 292.653 | 11.236 | 285.983 | 11.401 | 293.067 | 12.081 | 289.567 | 25.548 | 889.85 | 27.509 | 76.7874
2020-07-09 14:30:00 | 9.947 | 293.12 | 10.418 | 286.84 | 10.763 | 292.633 | 11.183 | 290.967 | 25.818 | 889.45 | 26.637 | 70.2345
2020-07-09 14:45:00 | 12.05 | 284.627 | 12.51 | 280.398 | 12.556 | 285.067 | 12.821 | 280.667 | 26.473 | 889.467 | 26.307 | 68.0261
2020-07-09 15:00:00 | 11.76 | 283.52 | 12.4 | 276.511 | 12.644 | 280.7 | 12.752 | 277.967 | 26.381 | 889.9 | 25.773 | 65.8709
2020-07-09 15:15:00 | 12.019 | 288 | 12.81 | 282.278 | 13.074 | 285.7 | 13.42 | 284.133 | 26.085 | 889.817 | 24.835 | 64.469
2020-07-09 15:30:00 | 10.977 | 278.667 | 11.804 | 273.391 | 11.955 | 278.7 | 12.448 | 276.333 | 26.823 | 889.833 | 23.896 | 61.9046
2020-07-09 15:45:00 | 10.89 | 304.013 | 11.259 | 297.824 | 11.605 | 298.767 | 12.148 | 296.167 | 26.527 | 889.867 | 24.176 | 64.0363
2020-07-09 16:00:00 | 11.795 | 288.853 | 12.419 | 283.528 | 12.549 | 286.9 | 13.072 | 283 | 26.794 | 889.783 | 22.432 | 68.7189
2020-07-09 16:15:00 | 10.216 | 300.253 | 10.851 | 295.119 | 11.274 | 297.733 | 11.941 | 295.067 | 26.777 | 889.467 | 24.56 | 76.4925
2020-07-09 16:30:00 | 11.085 | 295.56 | 11.648 | 288.676 | 11.985 | 293.233 | 12.359 | 289.3 | 26.727 | 889.483 | 24.587 | 82.5238
2020-07-09 16:45:00 | 12.655 | 307.027 | 13.212 | 299.312 | 13.63 | 303.2 | 14 | 301.233 | 26.027 | 889.517 | 25.637 | 82.592
2020-07-09 17:00:00 | 12.466 | 279.427 | 13.254 | 274.337 | 13.456 | 277.933 | 13.968 | 275.9 | 26.731 | 889.833 | 23.336 | 84.1879
2020-07-09 17:15:00 | 10.866 | 296.013 | 11.293 | 290.266 | 11.668 | 293.967 | 12.035 | 290.433 | 26.252 | 889.617 | 26.571 | 78.2199
2020-07-09 17:30:00 | 9.968 | 293.04 | 10.748 | 285.332 | 11.024 | 290.7 | 11.465 | 290.5 | 26.727 | 889.65 | 24.683 | 71.2229
2020-07-09 17:45:00 | 10.537 | 298.587 | 11.031 | 295.15 | 11.651 | 298.933 | 12.32 | 296.733 | 26.894 | 890.033 | 23.693 | 66.4103
2020-07-09 18:00:00 | 11.434 | 290.053 | 12.328 | 283.448 | 12.622 | 286.933 | 12.907 | 285.133 | 26.452 | 889.883 | 23.707 | 54.4479
2020-07-09 18:15:00 | 10.328 | 289.4 | 11.17 | 283.567 | 11.372 | 290.333 | 11.872 | 288.933 | 27.177 | 889.867 | 22.008 | 53.6577
2020-07-09 18:30:00 | 12.024 | 292.027 | 12.951 | 286.428 | 13.032 | 288.767 | 13.213 | 286.5 | 27.168 | 889.833 | 22.552 | 62.311
2020-07-09 18:45:00 | 11.17 | 302.747 | 11.791 | 298.837 | 12.223 | 305 | 12.667 | 303.333 | 26.735 | 890.167 | 22.293 | 61.3198
2020-07-09 19:00:00 | 12.693 | 298.147 | 13.658 | 292.411 | 14.395 | 297.8 | 14.651 | 295.433 | 26.902 | 889.9 | 22.131 | 63.4685
2020-07-09 19:15:00 | 11.331 | 296.96 | 12.083 | 293.755 | 12.488 | 296.2 | 12.942 | 292.733 | 26.764 | 890.05 | 23.224 | 68.0716
2020-07-09 19:30:00 | 10.562 | 292.56 | 11.295 | 284.899 | 11.638 | 287.833 | 12.581 | 286.9 | 26.51 | 889.767 | 23.181 | 70.2288
2020-07-09 19:45:00 | 11.039 | 295.44 | 12.014 | 289.884 | 12.372 | 296.033 | 12.827 | 292.067 | 26.931 | 889.55 | 22.517 | 79.3284
2020-07-09 20:00:00 | 9.705 | 305.653 | 10.532 | 296.431 | 11.006 | 302 | 11.34 | 299.7 | 26.623 | 889.733 | 22.264 | 79.7021
2020-07-09 20:15:00 | 12.031 | 300.84 | 13.012 | 294.767 | 13.758 | 299.7 | 14.108 | 297.6 | 26.656 | 889.567 | 21.467 | 85.3554
2020-07-09 20:30:00 | 10.165 | 300.947 | 11.121 | 294.349 | 11.547 | 298.7 | 12.132 | 295.467 | 26.064 | 889.55 | 23.208 | 82.0506
2020-07-09 20:45:00 | 9.761 | 300.133 | 10.813 | 295.238 | 11.333 | 298.3 | 11.82 | 295.6 | 25.968 | 889.967 | 22.685 | 84.7727
2020-07-09 21:00:00 | 10.975 | 302.107 | 12.2 | 295.812 | 12.464 | 303.1 | 12.965 | 299.833 | 25.773 | 889.85 | 23.685 | 87.119
2020-07-09 21:15:00 | 10.506 | 300 | 11.411 | 293.669 | 12.026 | 300.1 | 12.56 | 298.1 | 25.373 | 889.483 | 23.973 | 86.385
2020-07-09 21:30:00 | 8.897 | 303.52 | 9.955 | 297.752 | 10.349 | 301.767 | 11.168 | 298.833 | 24.768 | 890.467 | 25.277 | 69.519
2020-07-09 21:45:00 | 8.323 | 297.28 | 9.406 | 290.531 | 9.88 | 295.333 | 10.377 | 292 | 24.61 | 889.55 | 25.843 | 66.0173
2020-07-09 22:00:00 | 8.021 | 291.373 | 9.17 | 288.465 | 9.541 | 292.567 | 10.186 | 290.433 | 24.268 | 889.683 | 26.336 | 64.6317
2020-07-09 22:15:00 | 7.326 | 293.853 | 8.462 | 289.747 | 9.053 | 294.7 | 9.696 | 292.5 | 23.548 | 889.933 | 26.552 | 53.8126
2020-07-09 22:30:00 | 6.253 | 296.093 | 7.408 | 290.206 | 7.932 | 296.133 | 8.302 | 293.333 | 23.531 | 889.667 | 27.557 | 35.372
2020-07-09 22:45:00 | 5.362 | 293.04 | 6.502 | 289.406 | 7.214 | 295.367 | 7.798 | 293.8 | 23.298 | 889.783 | 28.637 | 28.5371
2020-07-09 23:00:00 | 5.422 | 286.813 | 6.781 | 283.969 | 7.384 | 288.833 | 7.851 | 289.033 | 23.064 | 889.45 | 29.52 | 31.5627
2020-07-09 23:15:00 | 5.906 | 281.387 | 7.055 | 280.124 | 7.441 | 283.933 | 7.908 | 284.033 | 22.648 | 889.967 | 30.187 | 41.387
2020-07-09 23:30:00 | 6.269 | 286.533 | 7.432 | 282.396 | 7.779 | 287.033 | 8.026 | 286.167 | 22.248 | 889.683 | 30.755 | 39.4606
2020-07-09 23:45:00 | 6.135 | 280.84 | 7.563 | 278.834 | 7.884 | 284.3 | 8.356 | 281.767 | 21.948 | 889.667 | 31.339 | 37.0731