## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-10 00:00:00 | 6.65 | 276.573 | 8.063 | 275.772 | 8.68 | 279.767 | 9.172 | 276.333 | 22.285 | 889.75 | 31.269 | 41.9128
2020-07-10 00:15:00 | 6.208 | 277.893 | 7.553 | 274.426 | 7.932 | 278.533 | 8.237 | 276.767 | 21.898 | 889.75 | 31.357 | 41.4836
2020-07-10 00:30:00 | 6.955 | 277.293 | 8.312 | 276.177 | 8.878 | 281.167 | 9.248 | 279.9 | 21.914 | 889.583 | 31.693 | 48.1402
2020-07-10 00:45:00 | 7.064 | 284.68 | 8.617 | 281.218 | 9.157 | 285 | 9.611 | 283.367 | 21.714 | 889.767 | 32.173 | 54.261
2020-07-10 01:00:00 | 7.075 | 290.747 | 8.6 | 287.438 | 9.4 | 291.5 | 10.163 | 289.433 | 21.564 | 890.2 | 32.787 | 55.4526
2020-07-10 01:15:00 | 6.771 | 286.627 | 8.276 | 281.881 | 8.737 | 287.133 | 9.317 | 287.367 | 21.114 | 889.483 | 33.272 | 56.2421
2020-07-10 01:30:00 | 6.78 | 279.027 | 8.226 | 275.399 | 8.865 | 280.133 | 9.284 | 279.4 | 20.823 | 889.733 | 33.952 | 42.9751
2020-07-10 01:45:00 | 6.265 | 268.227 | 7.872 | 269.467 | 8.288 | 274.733 | 8.382 | 271.333 | 20.927 | 889.45 | 34.683 | 40.4113
2020-07-10 02:00:00 | 5.755 | 277.453 | 7.046 | 272.278 | 7.353 | 278.233 | 7.823 | 277.633 | 20.189 | 889.967 | 35.696 | 36.4329
2020-07-10 02:15:00 | 6.27 | 273.187 | 7.397 | 271.548 | 7.834 | 276.733 | 8.166 | 273.967 | 20.498 | 889.6 | 36.704 | 41.4836
2020-07-10 02:30:00 | 6.088 | 272.88 | 7.482 | 267.885 | 8.119 | 274.2 | 8.587 | 271.967 | 20.064 | 889.867 | 37.533 | 42.1174
2020-07-10 02:45:00 | 6.288 | 274.493 | 7.684 | 270.129 | 8.184 | 275.767 | 8.444 | 273.333 | 20.127 | 889.85 | 37.723 | 41.5603
2020-07-10 03:00:00 | 5.921 | 269.853 | 7.114 | 266.659 | 7.864 | 272.167 | 8.187 | 267.767 | 19.931 | 889.3 | 38.331 | 37.6444
2020-07-10 03:15:00 | 5.487 | 271.6 | 6.788 | 268.382 | 7.615 | 273.633 | 8.062 | 269.633 | 20.081 | 889.783 | 38.315 | 33.6361
2020-07-10 03:30:00 | 5.753 | 260.46 | 6.945 | 261.077 | 7.383 | 267.933 | 7.915 | 264.583 | 19.802 | 889.617 | 38.352 | 32.2754
2020-07-10 03:45:00 | 5.976 | 256.807 | 7.098 | 254.6 | 7.458 | 260.933 | 7.886 | 256.767 | 19.627 | 889.433 | 38.293 | 33.7249
2020-07-10 04:00:00 | 5.364 | 250.24 | 6.526 | 250.803 | 7.093 | 258.233 | 7.608 | 254.633 | 19.177 | 889.717 | 39.232 | 36.2112
2020-07-10 04:15:00 | 6.334 | 254.487 | 7.556 | 253.684 | 7.964 | 260.1 | 8.267 | 256.15 | 19.552 | 889.65 | 39.368 | 39.4151
2020-07-10 04:30:00 | 6.852 | 241.84 | 7.565 | 239.501 | 7.764 | 248.433 | 7.695 | 246.3 | 18.856 | 889.658 | 40.848 | 48.5893
2020-07-10 04:45:00 | 5.724 | 247.987 | 6.44 | 249.434 | 6.829 | 257.4 | 7.035 | 253.8 | 18.623 | 889.733 | 41.147 | 39.3775
2020-07-10 05:00:00 | 6.235 | 257.2 | 7.74 | 257.94 | 7.981 | 265.283 | 8.123 | 261.8 | 19.089 | 890.117 | 40.523 | 34.5819
2020-07-10 05:15:00 | 6.258 | 253.313 | 7.17 | 255.632 | 7.404 | 261.633 | 7.714 | 257.05 | 19.031 | 889.817 | 40.072 | 33.9111
2020-07-10 05:30:00 | 5.125 | 227.667 | 5.547 | 237.632 | 6.249 | 250.267 | 6.418 | 248.783 | 18.673 | 889.858 | 41.205 | 27.9373
2020-07-10 05:45:00 | 5.678 | 220.64 | 6.603 | 228.414 | 6.74 | 239.867 | 6.711 | 240.133 | 17.839 | 889.7 | 43.371 | 28.3338
2020-07-10 06:00:00 | 5.856 | 226.013 | 6.74 | 229.852 | 6.764 | 237.567 | 6.685 | 235.867 | 17.698 | 889.942 | 43.701 | 29.0963
2020-07-10 06:15:00 | 5.91 | 225.7 | 6.695 | 229.205 | 6.945 | 235.833 | 6.876 | 233.833 | 18.573 | 890.375 | 42.784 | 28.0837
2020-07-10 06:30:00 | 5.722 | 232.76 | 6.912 | 232.419 | 7.291 | 238.6 | 7.316 | 233.967 | 18.81 | 889.758 | 41.168 | 32.3443
2020-07-10 06:45:00 | 5.428 | 239.48 | 6.431 | 237.559 | 7.054 | 242.533 | 7.237 | 238.633 | 19.698 | 889.6 | 37.872 | 36.8272
2020-07-10 07:00:00 | 6.078 | 249.013 | 7.208 | 244.653 | 7.748 | 247.817 | 7.974 | 241.65 | 20.152 | 889.867 | 36.197 | 38.4616
2020-07-10 07:15:00 | 6.706 | 252.487 | 7.555 | 246.801 | 8.001 | 251.85 | 8.231 | 245.033 | 20.102 | 889.95 | 36.813 | 39.2645
2020-07-10 07:30:00 | 6.367 | 251.553 | 7.288 | 245.798 | 7.865 | 249.7 | 7.91 | 245.967 | 20.427 | 889.933 | 35.893 | 36.3689
2020-07-10 07:45:00 | 6.182 | 252.02 | 6.848 | 248.352 | 7.116 | 252.7 | 7.152 | 247.967 | 21.818 | 889.833 | 33.928 | 33.7775
2020-07-10 08:00:00 | 5.476 | 257.54 | 5.756 | 254.147 | 5.983 | 258.15 | 6.13 | 252.217 | 21.768 | 889.867 | 33.837 | 26.6093
2020-07-10 08:15:00 | 5.795 | 270.2 | 6.403 | 266.739 | 6.31 | 271.5 | 6.323 | 268.517 | 22.431 | 889.317 | 31.251 | 28.9762
2020-07-10 08:30:00 | 5.931 | 296.76 | 6.293 | 290.593 | 6.448 | 293.033 | 6.696 | 288.633 | 21.389 | 889.733 | 32.744 | 30.823
2020-07-10 08:45:00 | 7.361 | 276.773 | 7.986 | 272.291 | 8.339 | 277.033 | 8.222 | 271.267 | 22.064 | 889.6 | 32.309 | 27.1586
2020-07-10 09:00:00 | 6.998 | 293.893 | 7.327 | 287.025 | 7.442 | 293.167 | 7.62 | 289.2 | 22.035 | 889.9 | 32.715 | 33.6681
2020-07-10 09:15:00 | 6.786 | 273.033 | 7.664 | 267.803 | 7.618 | 272.367 | 7.792 | 270.7 | 21.956 | 889.967 | 33.413 | 34.0447
2020-07-10 09:30:00 | 6.382 | 290.467 | 6.779 | 285.464 | 6.95 | 285.433 | 7.054 | 282.133 | 22.414 | 889.783 | 32.275 | 31.5072
2020-07-10 09:45:00 | 5.058 | 293.62 | 5.546 | 293.406 | 5.454 | 297.1 | 5.731 | 295.567 | 22.177 | 889.583 | 33.32 | 23.74
2020-07-10 10:00:00 | 5.796 | 284.813 | 6.094 | 284.037 | 6.171 | 286.467 | 6.434 | 285.3 | 22.848 | 889.7 | 31.355 | 22.8177
2020-07-10 10:15:00 | 6.892 | 303.013 | 7.145 | 294.306 | 7.146 | 298.467 | 7.604 | 299.433 | 23.548 | 889.433 | 29.584 | 22.9826
2020-07-10 10:30:00 | 6.43 | 315.547 | 6.768 | 306.336 | 6.949 | 308.333 | 7.088 | 303.767 | 23.281 | 889.783 | 29.288 | 23.5226
2020-07-10 10:45:00 | 6.165 | 300.28 | 6.486 | 293.31 | 6.539 | 298.633 | 6.998 | 295.267 | 23.281 | 889.65 | 29.168 | 25.1185
2020-07-10 11:00:00 | 4.944 | 288 | 5.172 | 280.614 | 5.213 | 281.633 | 5.741 | 277.733 | 23.585 | 889.8 | 28.56 | 19.7779
2020-07-10 11:15:00 | 4.606 | 312.12 | 4.753 | 304.657 | 4.841 | 310.867 | 5.314 | 306.833 | 23.444 | 889.917 | 27.139 | 18.9032
2020-07-10 11:30:00 | 4.912 | 323.64 | 4.989 | 315.427 | 5.21 | 317.167 | 5.481 | 314.133 | 23.839 | 889.517 | 27.552 | 14.1609
2020-07-10 11:45:00 | 4.221 | 265.733 | 4.428 | 258.673 | 4.42 | 262.067 | 4.463 | 256.667 | 24.652 | 890 | 25.747 | 12.4406
2020-07-10 12:00:00 | 4.606 | 283.94 | 4.814 | 279.008 | 5.051 | 286.883 | 5.362 | 285.233 | 24.968 | 889.683 | 25.251 | 10.5967
2020-07-10 12:15:00 | 4.267 | 257.68 | 4.525 | 250.61 | 4.6 | 259.567 | 4.902 | 256.9 | 25.506 | 889.5 | 24.485 | 17.3378
2020-07-10 12:30:00 | 5.197 | 262.047 | 5.114 | 257.689 | 5.367 | 263.967 | 5.987 | 262.183 | 25.644 | 889.583 | 23.512 | 14.9439
2020-07-10 12:45:00 | 5.778 | 312.08 | 6.095 | 301.841 | 6.213 | 301.767 | 6.555 | 299.9 | 25.827 | 889.883 | 23.115 | 13.3757
2020-07-10 13:00:00 | 5.127 | 303.68 | 5.226 | 292.198 | 5.83 | 294.267 | 6.275 | 291.467 | 26.394 | 889.7 | 22.237 | 12.7199
2020-07-10 13:15:00 | 3.655 | 284.393 | 3.474 | 276.743 | 3.947 | 275.483 | 4.712 | 269.067 | 26.439 | 889.733 | 22.424 | 12.5408
2020-07-10 13:30:00 | 6.479 | 299.6 | 6.752 | 292.634 | 6.928 | 294.433 | 7.548 | 294.467 | 26.223 | 889.75 | 22.027 | 22.633
2020-07-10 13:45:00 | 6.05 | 271.293 | 6.283 | 264.61 | 6.287 | 270.933 | 6.527 | 266.45 | 26.768 | 889.9 | 21.851 | 19.8362
2020-07-10 14:00:00 | 6.366 | 331.907 | 6.59 | 325.162 | 6.545 | 326.9 | 6.928 | 324.2 | 26.881 | 889.817 | 21.296 | 18.8982
2020-07-10 14:15:00 | 6.484 | 284.593 | 7.002 | 276.672 | 7.324 | 275.433 | 7.395 | 272.6 | 27.06 | 889.6 | 21.344 | 22.0894
2020-07-10 14:30:00 | 4.409 | 262.127 | 4.229 | 256.225 | 4.102 | 260.767 | 4.294 | 257.967 | 26.781 | 889.9 | 20.353 | 17.3556
2020-07-10 14:45:00 | 3.899 | 274.327 | 4.214 | 267.557 | 4.56 | 272.317 | 5.01 | 263.433 | 27.173 | 889.7 | 20.393 | 12.253
2020-07-10 15:00:00 | 5.366 | 308.894 | 5.354 | 324.113 | 5.81 | 327.2 | 5.992 | 325.467 | 27.131 | 889.533 | 18.961 | 15.7931
2020-07-10 15:15:00 | 4.341 | 265.547 | 4.74 | 260.554 | 4.804 | 261.7 | 5.279 | 258.75 | 27.768 | 889.7 | 18.571 | 10.2585
2020-07-10 15:30:00 | 4.61 | 239.195 | 4.387 | 228.071 | 5.039 | 200.21 | 5.57 | 233.4 | 27.656 | 889.367 | 18.989 | 12.4022
2020-07-10 15:45:00 | 5.085 | 305.853 | 5.258 | 295.778 | 5.476 | 297.333 | 5.763 | 293.3 | 27.731 | 889.267 | 18.475 | 10.1213
2020-07-10 16:00:00 | 5.093 | 196.628 | 5.399 | 286.36 | 5.536 | 264.233 | 5.78 | 271.267 | 28.285 | 889.767 | 17.876 | 10.79
2020-07-10 16:15:00 | 4.981 | 300.8 | 5.215 | 292.254 | 5.295 | 282.633 | 5.63 | 294.967 | 28.181 | 889.633 | 19.403 | 9.0903
2020-07-10 16:30:00 | 4.368 | 301.253 | 4.477 | 299.328 | 4.629 | 303.3 | 4.842 | 293.733 | 28.331 | 889.567 | 18.408 | 11.7059
2020-07-10 16:45:00 | 5.846 | 320.107 | 5.976 | 327.802 | 5.914 | 270.567 | 6.131 | 290.5 | 28.377 | 889.4 | 19.844 | 14.7492
2020-07-10 17:00:00 | 4.346 | 303.733 | 4.257 | 295.966 | 4.18 | 302.7 | 4.584 | 304.8 | 28.406 | 889.367 | 19.108 | 12.6495
2020-07-10 17:15:00 | 5.541 | 320.4 | 5.654 | 318.443 | 5.888 | 322.633 | 6.59 | 323.3 | 28.506 | 889.367 | 19.5 | 12.6339
2020-07-10 17:30:00 | 2.873 | 194.788 | 2.813 | 280.042 | 2.895 | 253.734 | 3.678 | 265.967 | 28.518 | 890.033 | 18.137 | 11.0315
2020-07-10 17:45:00 | 4.774 | 276.66 | 4.745 | 270.875 | 4.877 | 273.483 | 4.886 | 273.217 | 29.231 | 889.467 | 16.896 | 10.9157
2020-07-10 18:00:00 | 3.998 | 314.4 | 3.934 | 308.161 | 3.967 | 310.433 | 4.345 | 306.5 | 28.368 | 889.067 | 18.997 | 15.0057
2020-07-10 18:15:00 | 5.018 | 310.707 | 5.353 | 306.666 | 5.441 | 310.767 | 5.943 | 308.433 | 28.223 | 889.6 | 20.155 | 25.0176
2020-07-10 18:30:00 | 5.537 | 320.507 | 5.75 | 310.156 | 5.908 | 311.8 | 6.11 | 308.433 | 28.731 | 889.467 | 19.529 | 15.01
2020-07-10 18:45:00 | 5.309 | 305.227 | 5.239 | 298.168 | 5.285 | 300.767 | 5.532 | 294.5 | 28.26 | 889.6 | 19.627 | 20.2185
2020-07-10 19:00:00 | 6.314 | 303.813 | 6.54 | 296.912 | 6.701 | 301.367 | 7.002 | 298.267 | 28.348 | 889.467 | 19.113 | 24.2396
2020-07-10 19:15:00 | 7.107 | 314.92 | 7.389 | 306.484 | 7.543 | 310.4 | 8.013 | 307.633 | 28.306 | 889.533 | 18.544 | 27.2886
2020-07-10 19:30:00 | 7.206 | 283.747 | 7.818 | 278.356 | 7.901 | 280.933 | 8.187 | 277.3 | 28.656 | 889.4 | 19.353 | 21.1301
2020-07-10 19:45:00 | 7.715 | 284.013 | 8.342 | 278.263 | 8.643 | 283.4 | 8.814 | 279.167 | 28.489 | 889.383 | 21.288 | 30.6446
2020-07-10 20:00:00 | 6.997 | 277.893 | 7.85 | 275.876 | 8.131 | 280.033 | 8.394 | 276.467 | 28.077 | 890.167 | 22.373 | 41.9718
2020-07-10 20:15:00 | 7.819 | 283.227 | 8.43 | 277.316 | 8.733 | 280.467 | 9.065 | 275.767 | 27.548 | 889.917 | 22.997 | 44.4992
2020-07-10 20:30:00 | 7.79 | 298.733 | 8.661 | 293.776 | 9.03 | 297.967 | 9.641 | 297.4 | 27.364 | 889.533 | 23.432 | 45.3256
2020-07-10 20:45:00 | 6.987 | 289.147 | 7.601 | 283.554 | 7.757 | 287.5 | 8.368 | 286.333 | 27.581 | 890.217 | 23.843 | 42.833
2020-07-10 21:00:00 | 7.326 | 283.493 | 7.929 | 279.189 | 8.233 | 280.867 | 8.433 | 278.833 | 26.902 | 889.617 | 24.104 | 43.2927
2020-07-10 21:15:00 | 9.072 | 283.173 | 10.181 | 276.647 | 10.399 | 280.7 | 10.756 | 276.833 | 26.848 | 889.55 | 24.944 | 53.5639
2020-07-10 21:30:00 | 8.001 | 288.04 | 8.661 | 279.656 | 9.04 | 283.633 | 9.8 | 281.633 | 26.348 | 889.667 | 25.549 | 50.0516
2020-07-10 21:45:00 | 7.08 | 277.853 | 8.361 | 270.509 | 8.873 | 274.767 | 9.183 | 270.367 | 26.277 | 889.9 | 25.912 | 48.9914
2020-07-10 22:00:00 | 7.164 | 279.173 | 8.198 | 274.251 | 8.516 | 278.467 | 8.831 | 274.667 | 26.214 | 889.867 | 26.392 | 42.6816
2020-07-10 22:15:00 | 7.225 | 274.733 | 8.37 | 267.004 | 8.919 | 272 | 9.277 | 266.5 | 25.731 | 889.533 | 26.867 | 44.0153
2020-07-10 22:30:00 | 6.366 | 271.213 | 7.503 | 264.277 | 8.171 | 268 | 8.382 | 264.85 | 25.727 | 890.133 | 27.501 | 41.5987
2020-07-10 22:45:00 | 5.82 | 264.92 | 6.971 | 261.35 | 7.533 | 267.933 | 7.951 | 263.767 | 25.423 | 889.717 | 28.019 | 33.8791
2020-07-10 23:00:00 | 6.073 | 261.653 | 6.917 | 257.873 | 7.39 | 263.117 | 7.698 | 259.867 | 24.927 | 889.567 | 28.467 | 32.9227
2020-07-10 23:15:00 | 5.979 | 257.48 | 6.805 | 256.924 | 7.335 | 261.483 | 7.56 | 257.217 | 24.594 | 889.7 | 28.648 | 36.7697
2020-07-10 23:30:00 | 6.39 | 260.06 | 7.547 | 257.106 | 8.021 | 262.8 | 8.172 | 257.9 | 24.589 | 889.667 | 28.8 | 38.3372
2020-07-10 23:45:00 | 6.47 | 261.453 | 7.592 | 257.069 | 8.007 | 263.017 | 8.258 | 257.65 | 24.824 | 889.25 | 28.725 | 40.1783