## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-11 00:00:00 | 5.816 | 260.613 | 7.276 | 256.984 | 7.792 | 261.817 | 8.084 | 258.867 | 24.056 | 889.783 | 28.728 | 39.1437
2020-07-11 00:15:00 | 6.132 | 258.98 | 7.414 | 255.975 | 8.078 | 261.4 | 8.347 | 257.733 | 23.739 | 889.567 | 28.797 | 38.3322
2020-07-11 00:30:00 | 5.99 | 260.1 | 7.239 | 258.942 | 7.837 | 263.633 | 8.046 | 259.45 | 23.818 | 889.933 | 28.907 | 36.4002
2020-07-11 00:45:00 | 5.956 | 254.96 | 7.116 | 254.597 | 7.387 | 261.967 | 7.864 | 258.25 | 23.606 | 889.833 | 29.251 | 34.3687
2020-07-11 01:00:00 | 6.617 | 260.067 | 7.919 | 258.912 | 8.366 | 263.95 | 8.849 | 259.417 | 23.735 | 889.9 | 29.344 | 37.3374
2020-07-11 01:15:00 | 7.587 | 262.6 | 8.586 | 259.554 | 9.065 | 263.9 | 9.485 | 258.733 | 23.481 | 889.917 | 29.571 | 40.6416
2020-07-11 01:30:00 | 7.059 | 260.933 | 8.154 | 258.259 | 8.657 | 262.483 | 8.942 | 257.7 | 23.894 | 889.467 | 29.949 | 40.4078
2020-07-11 01:45:00 | 7.311 | 257.833 | 8.251 | 254.858 | 8.83 | 259.817 | 9.382 | 257.817 | 23.448 | 890.267 | 30.293 | 41.8012
2020-07-11 02:00:00 | 7.186 | 252.62 | 8.212 | 249.288 | 8.828 | 256.567 | 9.174 | 253.067 | 23.598 | 889.817 | 30.331 | 43.4654
2020-07-11 02:15:00 | 7.499 | 255.06 | 8.388 | 255.528 | 8.823 | 261.033 | 9.167 | 256.4 | 23.498 | 889.9 | 30.237 | 46.0618
2020-07-11 02:30:00 | 7.731 | 260.407 | 8.808 | 255.106 | 9.344 | 262.583 | 9.626 | 256.783 | 23.598 | 890.3 | 29.912 | 46.5492
2020-07-11 02:45:00 | 6.642 | 259.96 | 7.652 | 256.526 | 7.946 | 262.65 | 8.301 | 258.733 | 23.673 | 889.667 | 29.517 | 45.58
2020-07-11 03:00:00 | 7.316 | 261.28 | 8.477 | 259.197 | 8.925 | 263.367 | 9.147 | 259.717 | 23.548 | 889.783 | 29.501 | 47.6605
2020-07-11 03:15:00 | 7 | 259.373 | 8.128 | 255.913 | 8.486 | 260.267 | 8.792 | 254.133 | 23.448 | 889.85 | 29.28 | 51.6795
2020-07-11 03:30:00 | 6.555 | 263.233 | 7.772 | 258.392 | 8.278 | 262.133 | 8.647 | 258.233 | 23.381 | 889.95 | 29.267 | 47.824
2020-07-11 03:45:00 | 6.632 | 261.893 | 7.837 | 259.507 | 8.2 | 264.067 | 8.502 | 260.55 | 23.131 | 889.667 | 29.011 | 48.8067
2020-07-11 04:00:00 | 6.511 | 262.767 | 7.737 | 259.163 | 8.24 | 265.533 | 8.713 | 258.733 | 23.131 | 889.783 | 29.347 | 50.4467
2020-07-11 04:15:00 | 7.762 | 267.947 | 8.904 | 262.527 | 9.396 | 269.467 | 9.376 | 264.05 | 23.064 | 890.167 | 29.941 | 53.6684
2020-07-11 04:30:00 | 6.532 | 274.733 | 7.693 | 270.633 | 8.364 | 274.667 | 8.799 | 269.567 | 23.248 | 889.483 | 30.875 | 40.4142
2020-07-11 04:45:00 | 6.811 | 270.373 | 7.512 | 266.938 | 7.968 | 272.733 | 8.23 | 266.967 | 22.898 | 889.75 | 31.931 | 31.0283
2020-07-11 05:00:00 | 5.649 | 270.233 | 6.904 | 268.761 | 7.438 | 272.333 | 7.753 | 268.5 | 22.631 | 889.867 | 32.904 | 30.0271
2020-07-11 05:15:00 | 5.798 | 262.333 | 6.799 | 260.882 | 7.221 | 268 | 7.516 | 263.7 | 22.631 | 889.467 | 33.965 | 27.5018
2020-07-11 05:30:00 | 5.699 | 260.913 | 6.933 | 258.845 | 7.216 | 263.567 | 7.526 | 260.933 | 22.61 | 889.833 | 35.173 | 25.3523
2020-07-11 05:45:00 | 5.133 | 256.747 | 6.175 | 255.122 | 6.708 | 261.083 | 7.018 | 258.783 | 22.394 | 889.383 | 36.304 | 23.4395
2020-07-11 06:00:00 | 4.666 | 253.22 | 5.646 | 251.186 | 6.177 | 258.467 | 6.633 | 254.45 | 21.923 | 889.8 | 37.051 | 23.1211
2020-07-11 06:15:00 | 5.12 | 254.92 | 6.285 | 253.796 | 6.69 | 259.417 | 7.003 | 255.95 | 21.56 | 889.617 | 37.867 | 23.2902
2020-07-11 06:30:00 | 5.824 | 255.593 | 6.834 | 255.198 | 7.284 | 260.633 | 7.637 | 257.467 | 21.827 | 889.933 | 38.832 | 27.3391
2020-07-11 06:45:00 | 6.131 | 258.14 | 7.133 | 255.412 | 7.54 | 260.417 | 7.808 | 255.717 | 21.544 | 890.017 | 39.837 | 34.201
2020-07-11 07:00:00 | 6.427 | 257.887 | 7.334 | 256.409 | 7.676 | 261.167 | 7.944 | 255.733 | 21.618 | 889.967 | 40.096 | 36.7811
2020-07-11 07:15:00 | 5.318 | 257 | 6.394 | 254.7 | 7.131 | 258.967 | 7.496 | 254.217 | 22.364 | 890.083 | 37.736 | 34.2628
2020-07-11 07:30:00 | 6.078 | 254 | 6.718 | 251.73 | 7.223 | 256.55 | 7.499 | 253.633 | 22.614 | 889.967 | 37.517 | 27.5004
2020-07-11 07:45:00 | 5.825 | 253.18 | 6.237 | 251.14 | 6.702 | 256.617 | 6.923 | 252.117 | 22.981 | 889.883 | 37.709 | 24.5558
2020-07-11 08:00:00 | 6.696 | 260.173 | 7.232 | 256.573 | 7.597 | 260.833 | 7.631 | 257.117 | 23.114 | 889.65 | 36.973 | 27.9068
2020-07-11 08:15:00 | 6.158 | 254.527 | 6.518 | 251.727 | 6.749 | 256.45 | 6.806 | 251.933 | 23.381 | 889.833 | 36.957 | 29.0437
2020-07-11 08:30:00 | 6.502 | 261.393 | 6.887 | 258.676 | 7.097 | 262.467 | 7.013 | 257.9 | 23.248 | 889.383 | 37.549 | 27.2346
2020-07-11 08:45:00 | 7.054 | 265.393 | 7.396 | 257.424 | 7.496 | 262.017 | 7.376 | 256.217 | 24.373 | 889.767 | 34.408 | 26.8921
2020-07-11 09:00:00 | 6.471 | 279.493 | 7.006 | 272.991 | 7.082 | 275.9 | 7.159 | 272.367 | 24.877 | 889.65 | 32.784 | 23.3883
2020-07-11 09:15:00 | 6.373 | 270.333 | 6.884 | 264.144 | 6.946 | 270.05 | 7.223 | 266.1 | 24.91 | 889.617 | 32.52 | 23.124
2020-07-11 09:30:00 | 6.481 | 280.133 | 6.83 | 272.61 | 6.675 | 275.867 | 6.643 | 272.9 | 25.456 | 889.383 | 32.072 | 19.9044
2020-07-11 09:45:00 | 6.387 | 294.067 | 6.813 | 287.576 | 6.953 | 290.167 | 7.271 | 287.267 | 25.239 | 889.783 | 30.701 | 20.1815
2020-07-11 10:00:00 | 7.67 | 274.547 | 8.085 | 267.446 | 7.805 | 273.4 | 7.748 | 269.833 | 25.156 | 889.717 | 32.499 | 25.3374
2020-07-11 10:15:00 | 5.76 | 270.827 | 6.046 | 264.684 | 6.307 | 268.333 | 6.48 | 263.8 | 24.881 | 889.733 | 33.605 | 23.0252
2020-07-11 10:30:00 | 7.609 | 269.973 | 8.04 | 267.029 | 8.223 | 273.55 | 8.576 | 270 | 25.31 | 889.833 | 32.003 | 21.8641
2020-07-11 10:45:00 | 6.91 | 265.653 | 7.426 | 263.182 | 7.645 | 270.25 | 8.147 | 265.333 | 26.014 | 890.15 | 30.256 | 24.6368
2020-07-11 11:00:00 | 4.958 | 293.413 | 5.167 | 286.648 | 5.21 | 292.867 | 5.533 | 291.9 | 26.218 | 889.867 | 28.307 | 15.4314
2020-07-11 11:15:00 | 4.719 | 294.38 | 5.236 | 294.608 | 5.171 | 293.6 | 5.482 | 289.267 | 26.473 | 889.55 | 26.792 | 14.924
2020-07-11 11:30:00 | 4.748 | 267.073 | 5.182 | 265.186 | 5.246 | 268.067 | 5.405 | 263.05 | 27.306 | 889.417 | 24.683 | 16.2201
2020-07-11 11:45:00 | 6.642 | 283.427 | 7.283 | 278.006 | 7.39 | 283.133 | 7.48 | 280.967 | 27.494 | 889.65 | 22.667 | 22.5825
2020-07-11 12:00:00 | 5.696 | 313.12 | 6.155 | 306.651 | 6.436 | 311.567 | 6.868 | 308.5 | 26.927 | 889.883 | 23.557 | 22.213
2020-07-11 12:15:00 | 5.746 | 298.733 | 6.01 | 291.646 | 6.132 | 294.3 | 6.698 | 294.1 | 27.81 | 889.767 | 22.208 | 23.6434
2020-07-11 12:30:00 | 4.723 | 284.26 | 5.24 | 276.328 | 5.508 | 281.083 | 5.891 | 274.9 | 28.439 | 889.417 | 20.74 | 26.3869
2020-07-11 12:45:00 | 6.45 | 285.593 | 6.568 | 281.351 | 6.596 | 281.867 | 6.973 | 278.567 | 27.76 | 889.617 | 21.112 | 21.6247
2020-07-11 13:00:00 | 9.097 | 304.933 | 9.5 | 300.932 | 9.664 | 303.7 | 10.229 | 301.4 | 27.948 | 889.4 | 20.744 | 29.3862
2020-07-11 13:15:00 | 10.061 | 320.213 | 10.527 | 315.203 | 10.931 | 316.2 | 11.2 | 314.8 | 27.206 | 889.433 | 22.875 | 53.3728
2020-07-11 13:30:00 | 7.748 | 306.24 | 7.752 | 300.001 | 7.757 | 305.3 | 8.234 | 304.733 | 28.223 | 889.867 | 21.243 | 46.4512
2020-07-11 13:45:00 | 8.743 | 263.86 | 9.078 | 263.671 | 9.227 | 267.867 | 9.207 | 265.017 | 28.56 | 889.433 | 20.275 | 42.16
2020-07-11 14:00:00 | 5.944 | 298.04 | 6.202 | 289.723 | 6.68 | 292.033 | 7.203 | 288.55 | 28.327 | 889.767 | 20.211 | 30.7256
2020-07-11 14:15:00 | 6.376 | 270.793 | 6.349 | 264.534 | 6.6 | 268.8 | 7.021 | 266.65 | 29.398 | 889.567 | 19.093 | 34.4376
2020-07-11 14:30:00 | 7.901 | 256.913 | 8.309 | 255.483 | 8.649 | 260.933 | 8.788 | 257.1 | 28.694 | 889.633 | 19.699 | 29.0551
2020-07-11 14:45:00 | 5.861 | 294.773 | 6.42 | 285.725 | 6.944 | 292.3 | 7.152 | 287.1 | 28.614 | 889.433 | 19.54 | 28.7161
2020-07-11 15:00:00 | 7.585 | 272.02 | 8.14 | 267.822 | 8.344 | 273.35 | 8.44 | 270.233 | 29.214 | 889.433 | 20.443 | 32.2299
2020-07-11 15:15:00 | 7.358 | 288.8 | 7.491 | 282.763 | 7.674 | 288.333 | 8.008 | 285.633 | 28.368 | 889.3 | 19.967 | 37.0966
2020-07-11 15:30:00 | 4.353 | 269.06 | 4.694 | 262.255 | 4.816 | 267.4 | 4.791 | 264.817 | 28.618 | 889.667 | 19.841 | 24.7959
2020-07-11 15:45:00 | 8.369 | 319.587 | 8.515 | 314.101 | 8.732 | 315.267 | 9.122 | 311.8 | 29.281 | 889.383 | 20.384 | 30.8507
2020-07-11 16:00:00 | 6.616 | 289.413 | 7.127 | 285.003 | 7.494 | 286.9 | 8.066 | 280.067 | 29.264 | 889.667 | 19.899 | 41.9703
2020-07-11 16:15:00 | 4.969 | 294.653 | 4.88 | 288.568 | 5.054 | 295.033 | 5.223 | 291.533 | 28.914 | 889.467 | 18.863 | 38.1915
2020-07-11 16:30:00 | 9.255 | 267.347 | 9.879 | 260.029 | 10.626 | 263.183 | 10.783 | 259.467 | 30.248 | 889.033 | 16.549 | 30.1799
2020-07-11 16:45:00 | 6.54 | 288.96 | 7.201 | 282.294 | 7.316 | 290.1 | 7.491 | 286.867 | 30.156 | 889.833 | 16.435 | 27.4733
2020-07-11 17:00:00 | 7.84 | 292.227 | 8.063 | 287.561 | 8.462 | 290.733 | 9.164 | 286.067 | 29.698 | 889.533 | 16.893 | 38.9064
2020-07-11 17:15:00 | 5.439 | 292.093 | 5.557 | 288.365 | 5.678 | 293.3 | 6.209 | 292.967 | 29.598 | 889.933 | 16.895 | 30.3291
2020-07-11 17:30:00 | 4.786 | 292.693 | 5.097 | 286.632 | 4.902 | 293.767 | 5.134 | 291.033 | 30.156 | 889.867 | 15.913 | 25.6372
2020-07-11 17:45:00 | 5.03 | 288.553 | 5.53 | 286.188 | 5.682 | 293.967 | 6.148 | 290.9 | 30.164 | 889.367 | 14.745 | 19.8142
2020-07-11 18:00:00 | 6.599 | 278.68 | 6.745 | 271.849 | 6.75 | 275.767 | 7.093 | 272.167 | 29.664 | 889.167 | 16.484 | 28.7097
2020-07-11 18:15:00 | 7.872 | 313.973 | 8.238 | 308.967 | 8.343 | 313.8 | 8.768 | 311.8 | 30.102 | 889.567 | 16.188 | 27.0982
2020-07-11 18:30:00 | 5.072 | 306.893 | 5.501 | 300.082 | 5.594 | 301.7 | 6.132 | 298.6 | 29.985 | 889.4 | 15.597 | 22.7985
2020-07-11 18:45:00 | 5.773 | 309.493 | 6.134 | 299.772 | 6.217 | 303.533 | 6.51 | 299.467 | 29.931 | 888.9 | 17.332 | 23.7514
2020-07-11 19:00:00 | 6.604 | 268.013 | 6.971 | 262.133 | 7.138 | 264.067 | 7.337 | 261.05 | 30.327 | 889.433 | 16.553 | 25.4028
2020-07-11 19:15:00 | 6.62 | 295.467 | 6.899 | 287.884 | 7.114 | 290.3 | 7.453 | 288.933 | 30.098 | 889.3 | 17.699 | 28.0162
2020-07-11 19:30:00 | 6.784 | 277.733 | 7.227 | 275.409 | 7.312 | 279.933 | 7.688 | 279.367 | 29.314 | 889.467 | 19.389 | 22.8198
2020-07-11 19:45:00 | 6.475 | 290.76 | 7.088 | 287.987 | 7.174 | 294.6 | 7.387 | 291.733 | 29.014 | 889.433 | 19.715 | 20.1005
2020-07-11 20:00:00 | 5.945 | 300.6 | 6.252 | 296.009 | 6.351 | 303.6 | 6.645 | 303.4 | 29.398 | 889.433 | 19.685 | 20.762
2020-07-11 20:15:00 | 6.078 | 302.693 | 6.478 | 298.681 | 6.65 | 305.967 | 6.912 | 304.467 | 29.064 | 889.667 | 19.417 | 23.8679
2020-07-11 20:30:00 | 6.646 | 299.707 | 7.219 | 294.402 | 7.808 | 300.833 | 8.149 | 299.233 | 29.398 | 889.133 | 19.065 | 24.7092
2020-07-11 20:45:00 | 7.781 | 292.6 | 8.263 | 288.756 | 8.719 | 292.033 | 9.175 | 289.067 | 29.248 | 889.333 | 19.867 | 46.7894
2020-07-11 21:00:00 | 8.536 | 299.187 | 9.378 | 294.573 | 9.763 | 298.867 | 10.31 | 295.9 | 28.694 | 889.683 | 20.696 | 50.0367
2020-07-11 21:15:00 | 7.811 | 300.227 | 8.77 | 293.901 | 9.266 | 297.233 | 9.944 | 295.933 | 28.602 | 889.917 | 20.944 | 46.9997
2020-07-11 21:30:00 | 5.715 | 295.16 | 6.597 | 292.327 | 7.014 | 297.567 | 7.425 | 294.567 | 28.535 | 890.067 | 21.376 | 30.9544
2020-07-11 21:45:00 | 4.749 | 294.787 | 5.774 | 290.427 | 6.195 | 296.633 | 6.626 | 293.933 | 27.968 | 889.85 | 21.859 | 17.416
2020-07-11 22:00:00 | 4.206 | 291.36 | 5.033 | 289.456 | 5.134 | 295.467 | 5.609 | 294.267 | 27.548 | 889.333 | 22.429 | 12.9373
2020-07-11 22:15:00 | 4.353 | 292.787 | 5.529 | 290.055 | 6.067 | 295.333 | 6.661 | 292.867 | 27.385 | 889.683 | 22.696 | 16.1277
2020-07-11 22:30:00 | 6.052 | 296.08 | 7.197 | 291.498 | 7.636 | 295.667 | 8.135 | 293.3 | 27.211 | 889.017 | 21.829 | 27.1763
2020-07-11 22:45:00 | 9.767 | 292.813 | 10.933 | 287.757 | 11.543 | 293.133 | 12.46 | 290.233 | 26.564 | 889.867 | 26.957 | 64.3169
2020-07-11 23:00:00 | 7.693 | 289.493 | 9.022 | 282.317 | 9.678 | 287.167 | 10.268 | 285.1 | 26.214 | 889.55 | 28 | 68.078
2020-07-11 23:15:00 | 7.965 | 288.76 | 9.474 | 281.308 | 10.098 | 286.7 | 10.747 | 283.833 | 25.573 | 889.883 | 28.909 | 69.0358
2020-07-11 23:30:00 | 8.866 | 283.213 | 10.014 | 279.951 | 10.793 | 284.133 | 11.808 | 281.333 | 25.356 | 889.917 | 29.869 | 72.0046
2020-07-11 23:45:00 | 8.24 | 286.52 | 9.404 | 279.644 | 9.653 | 281.467 | 10.165 | 279.033 | 24.806 | 889.033 | 30.749 | 65.4141