## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-12 00:00:00 | 9.161 | 279.773 | 10.167 | 273.515 | 10.446 | 279.033 | 10.931 | 273.967 | 25.11 | 889.7 | 31.659 | 68.7921
2020-07-12 00:15:00 | 9.182 | 276.28 | 10.155 | 268.91 | 10.536 | 273.867 | 11.128 | 268.533 | 24.831 | 889.517 | 33.549 | 77.1377
2020-07-12 00:30:00 | 9.277 | 277.547 | 10.754 | 270.515 | 11.24 | 275.967 | 11.896 | 270.567 | 24.018 | 889.633 | 35.533 | 81.4061
2020-07-12 00:45:00 | 8.582 | 273.727 | 9.885 | 267.571 | 10.706 | 271.933 | 11.022 | 268.767 | 23.535 | 889.35 | 36.976 | 81.9738
2020-07-12 01:00:00 | 8.107 | 273.667 | 9.173 | 267.148 | 10.028 | 272.567 | 10.442 | 268.5 | 23.514 | 889.483 | 37.44 | 78.6128
2020-07-12 01:15:00 | 8.568 | 270.753 | 9.938 | 265.944 | 10.452 | 270 | 11.273 | 267.633 | 23.081 | 889.35 | 38.096 | 78.2689
2020-07-12 01:30:00 | 8.445 | 268.72 | 9.714 | 265.722 | 10.149 | 270.4 | 10.622 | 266.583 | 23.014 | 889.95 | 38.739 | 73.3738
2020-07-12 01:45:00 | 7.804 | 271.307 | 8.913 | 266.161 | 9.708 | 271.1 | 10.309 | 267.483 | 22.764 | 889.767 | 39.299 | 68.9179
2020-07-12 02:00:00 | 7.345 | 270.96 | 8.398 | 265.279 | 8.879 | 268.7 | 9.504 | 267.433 | 22.914 | 889.75 | 39.381 | 59.7828
2020-07-12 02:15:00 | 7.581 | 269.167 | 8.62 | 265.585 | 8.912 | 270.767 | 9.341 | 267.3 | 22.514 | 889.683 | 39.853 | 55.162
2020-07-12 02:30:00 | 7.644 | 265.827 | 8.693 | 264.162 | 9.069 | 269.7 | 9.559 | 263.267 | 22.389 | 889.867 | 40.456 | 53.1888
2020-07-12 02:45:00 | 8.024 | 267.147 | 9.046 | 265.695 | 9.517 | 271.433 | 9.817 | 266.233 | 22.206 | 889.383 | 40.845 | 52.4228
2020-07-12 03:00:00 | 7.92 | 258.98 | 8.984 | 255.601 | 9.594 | 260.417 | 9.926 | 256.217 | 21.906 | 889.817 | 40.821 | 58.3993
2020-07-12 03:15:00 | 7.583 | 264.373 | 8.909 | 259.764 | 9.394 | 264.667 | 9.812 | 261.933 | 21.848 | 889.75 | 40.643 | 49.2785
2020-07-12 03:30:00 | 6.983 | 259.28 | 8.069 | 255.319 | 8.681 | 259.4 | 9.06 | 255.167 | 21.894 | 889.95 | 40.56 | 47.0836
2020-07-12 03:45:00 | 7.654 | 265.28 | 8.687 | 260.484 | 9.048 | 264.317 | 9.346 | 260.817 | 21.764 | 890.167 | 40.565 | 46.5677
2020-07-12 04:00:00 | 8.254 | 266.993 | 9.718 | 260.758 | 10.377 | 266.033 | 10.429 | 260.967 | 21.948 | 890.267 | 40.285 | 49.3297
2020-07-12 04:15:00 | 7.966 | 262.993 | 9.458 | 259.408 | 10.026 | 265.467 | 10.267 | 259.883 | 22.131 | 889.783 | 40.213 | 55.6239
2020-07-12 04:30:00 | 7.704 | 267.273 | 8.748 | 264.67 | 9.218 | 269.267 | 9.658 | 266.967 | 21.714 | 889.8 | 40.544 | 53.451
2020-07-12 04:45:00 | 8.107 | 262.367 | 9.296 | 258.89 | 9.902 | 265.433 | 10.107 | 260.717 | 21.36 | 890.033 | 40.597 | 56.5902
2020-07-12 05:00:00 | 8.38 | 260.4 | 9.735 | 258.338 | 10.277 | 262.317 | 10.744 | 257.833 | 21.444 | 889.842 | 41.203 | 61.4072
2020-07-12 05:15:00 | 8.957 | 270.893 | 10.364 | 268.376 | 10.857 | 270.167 | 11.066 | 263.267 | 21.185 | 889.95 | 42.389 | 63.0138
2020-07-12 05:30:00 | 9.253 | 268.513 | 10.463 | 263.54 | 11.048 | 266.933 | 11.429 | 262.25 | 20.944 | 889.975 | 43.003 | 66.0095
2020-07-12 05:45:00 | 8.304 | 263.207 | 9.634 | 259.397 | 9.981 | 263.533 | 10.374 | 258.8 | 20.998 | 889.542 | 43.813 | 62.6123
2020-07-12 06:00:00 | 9.15 | 271.92 | 10.09 | 264.505 | 10.328 | 268.8 | 10.726 | 262.033 | 20.764 | 890.208 | 45.771 | 70.8222
2020-07-12 06:15:00 | 8.12 | 263.233 | 9.251 | 258.211 | 9.434 | 264.9 | 9.703 | 259.933 | 20.268 | 889.642 | 48.245 | 71.3139
2020-07-12 06:30:00 | 8.622 | 261.76 | 9.696 | 257.573 | 10.106 | 261.717 | 10.231 | 256.133 | 20.352 | 889.5 | 48.971 | 70.0406
2020-07-12 06:45:00 | 9.694 | 272.04 | 10.624 | 264.578 | 10.857 | 267.8 | 10.923 | 263.033 | 20.106 | 889.725 | 51.504 | 66.1879
2020-07-12 07:00:00 | 7.795 | 273.167 | 8.445 | 266.26 | 8.629 | 267.367 | 8.892 | 262.383 | 19.81 | 889.875 | 52.309 | 62.6961
2020-07-12 07:15:00 | 9.782 | 276.053 | 10.828 | 269.948 | 11.082 | 273.167 | 11.515 | 269.5 | 19.594 | 890.133 | 55.072 | 77.8213
2020-07-12 07:30:00 | 10.27 | 270.893 | 10.882 | 262.544 | 11.173 | 267.383 | 11.336 | 262.733 | 19.202 | 889.967 | 54.427 | 84.367
2020-07-12 07:45:00 | 11.102 | 266.8 | 11.938 | 262.301 | 12.293 | 265.667 | 12.574 | 260.517 | 18.523 | 890.158 | 57.765 | 82.4492
2020-07-12 08:00:00 | 8.549 | 252.44 | 9.279 | 247.339 | 9.76 | 250.8 | 9.635 | 244.5 | 18.539 | 889.858 | 56.384 | 79.3319
2020-07-12 08:15:00 | 9.805 | 253.873 | 10.857 | 250.149 | 11.128 | 253.8 | 11.23 | 247.683 | 18.544 | 889.567 | 56.475 | 83.1121
2020-07-12 08:30:00 | 8.891 | 255.447 | 9.738 | 251.564 | 10.069 | 253.783 | 9.883 | 248.683 | 18.423 | 889.367 | 57.179 | 85.9956
2020-07-12 08:45:00 | 10.282 | 257.473 | 11.153 | 251.398 | 11.539 | 255.75 | 11.336 | 250.983 | 18.656 | 890 | 60.053 | 78.7372
2020-07-12 09:00:00 | 9.484 | 251.66 | 10.487 | 248.599 | 11.075 | 252.9 | 11.022 | 247.65 | 18.144 | 889.875 | 62.88 | 60.9226
2020-07-12 09:15:00 | 6.254 | 261.993 | 6.997 | 256.399 | 7.302 | 260.85 | 7.459 | 254.55 | 17.594 | 890.067 | 70.965 | 36.9182
2020-07-12 09:30:00 | 6.318 | 288.32 | 6.847 | 280.748 | 6.984 | 283.967 | 7.165 | 281 | 17.064 | 890.2 | 78.037 | 20.4572
2020-07-12 09:45:00 | 8.039 | 268.213 | 8.639 | 265.731 | 8.863 | 269.7 | 9.063 | 264.267 | 16.334 | 889.933 | 80.16 | 33.3561
2020-07-12 10:00:00 | 8.442 | 282.36 | 9.685 | 275.718 | 9.952 | 280.067 | 10.018 | 278.4 | 16.355 | 890.05 | 77.685 | 53.4069
2020-07-12 10:15:00 | 8.532 | 278.28 | 9.272 | 271.762 | 9.298 | 275.8 | 9.456 | 273.6 | 16.664 | 889.375 | 72.965 | 48.0443
2020-07-12 10:30:00 | 8.981 | 275.373 | 9.763 | 267.989 | 9.956 | 273.033 | 9.955 | 268.367 | 17.235 | 890.017 | 69.899 | 53.3906
2020-07-12 10:45:00 | 7.442 | 263.56 | 7.909 | 257.444 | 8.026 | 262.6 | 8.03 | 258.033 | 17.348 | 889.85 | 70.453 | 40.0667
2020-07-12 11:00:00 | 6.868 | 266.407 | 7.51 | 260.59 | 7.555 | 265.733 | 7.571 | 260.717 | 17.098 | 889.725 | 70.229 | 27.5274
2020-07-12 11:15:00 | 6.279 | 276.707 | 6.558 | 269.168 | 6.518 | 273.1 | 6.654 | 267.033 | 17.064 | 889.567 | 72.144 | 21.5977
2020-07-12 11:30:00 | 6.676 | 267.687 | 7.319 | 263.766 | 7.324 | 268.733 | 7.404 | 262.817 | 17.364 | 889.817 | 72.651 | 28.7332
2020-07-12 11:45:00 | 7.199 | 275.573 | 7.886 | 270.317 | 7.847 | 276.067 | 7.901 | 272.133 | 17.356 | 889.933 | 72.448 | 25.1171
2020-07-12 12:00:00 | 6.729 | 282.213 | 7.263 | 276.657 | 7.268 | 282.3 | 7.311 | 279.5 | 17.048 | 889.783 | 77.216 | 26.0458
2020-07-12 12:15:00 | 7.329 | 304.48 | 7.688 | 296.504 | 7.855 | 301.067 | 8.07 | 298.767 | 16.964 | 890.083 | 73.525 | 31.5698
2020-07-12 12:30:00 | 6.822 | 310.72 | 7.313 | 302.87 | 7.86 | 306.8 | 8.171 | 304.333 | 17.173 | 889.708 | 71.568 | 29.1716
2020-07-12 12:45:00 | 6.434 | 312.827 | 6.551 | 305.651 | 6.71 | 311.967 | 6.812 | 309.867 | 17.648 | 890.208 | 67.051 | 24.9615
2020-07-12 13:00:00 | 7.547 | 320.453 | 7.575 | 314.326 | 7.692 | 317.233 | 7.847 | 312.3 | 18.014 | 889.725 | 66.325 | 29.6356
2020-07-12 13:15:00 | 7.795 | 305.613 | 8.038 | 297.377 | 8.118 | 302.4 | 8.319 | 300.267 | 18.11 | 889.917 | 64.992 | 34.4028
2020-07-12 13:30:00 | 7.124 | 303.453 | 7.371 | 294.686 | 7.414 | 299.133 | 7.698 | 294.433 | 18.76 | 889.883 | 62.251 | 27.133
2020-07-12 13:45:00 | 6.874 | 288.733 | 7.221 | 282.458 | 7.177 | 289.633 | 7.509 | 283.767 | 19.385 | 889.867 | 57.253 | 28.7005
2020-07-12 14:00:00 | 7.379 | 303 | 7.586 | 296.516 | 7.792 | 301.967 | 7.935 | 301.533 | 20.356 | 889.817 | 53.664 | 34.5009
2020-07-12 14:15:00 | 8.72 | 295.28 | 9.257 | 289.826 | 9.151 | 295.133 | 9.338 | 294.033 | 20.218 | 890.108 | 52.443 | 44.6818
2020-07-12 14:30:00 | 8.589 | 291.947 | 8.967 | 287.59 | 9.122 | 291.533 | 9.656 | 290.333 | 20.898 | 889.325 | 51.344 | 44.8481
2020-07-12 14:45:00 | 7.515 | 293.747 | 8.064 | 289.538 | 8.087 | 293.433 | 8.123 | 294.4 | 20.656 | 889.833 | 49.339 | 37.7496
2020-07-12 15:00:00 | 7.512 | 308.427 | 7.996 | 301.507 | 8.407 | 303.4 | 8.4 | 300.867 | 20.739 | 889.9 | 51.28 | 34.5648
2020-07-12 15:15:00 | 7.149 | 314.933 | 7.631 | 307.529 | 8.02 | 311.067 | 8.327 | 309.033 | 21.26 | 889.758 | 47.68 | 34.7545
2020-07-12 15:30:00 | 7.375 | 303.427 | 8.183 | 297.994 | 8.479 | 302.067 | 8.6 | 298.4 | 22.068 | 889.783 | 45.728 | 49.9855
2020-07-12 15:45:00 | 8.368 | 302.493 | 8.72 | 298.535 | 9.086 | 304.033 | 9.498 | 301.167 | 22.102 | 889.967 | 45.125 | 51.4855
2020-07-12 16:00:00 | 8.049 | 290.387 | 8.538 | 286.419 | 8.584 | 293.967 | 8.924 | 292.367 | 22.01 | 890.058 | 45.707 | 44.2377
2020-07-12 16:15:00 | 8.333 | 290.947 | 8.803 | 287.712 | 8.727 | 291.3 | 9.097 | 290.2 | 22.181 | 889.783 | 45.259 | 42.5729
2020-07-12 16:30:00 | 7.704 | 305.8 | 7.656 | 301.588 | 7.9 | 305.733 | 8.133 | 302.367 | 22.023 | 889.608 | 43.808 | 44.7522
2020-07-12 16:45:00 | 8.169 | 303.2 | 8.926 | 295.962 | 9.011 | 299.5 | 9.546 | 297.8 | 22.244 | 889.608 | 42.581 | 47.0232
2020-07-12 17:00:00 | 8.434 | 309.933 | 8.568 | 309.977 | 8.652 | 313.533 | 9.215 | 311.633 | 22.464 | 889.608 | 41.269 | 47.6328
2020-07-12 17:15:00 | 7.998 | 323.627 | 8.076 | 315.87 | 7.936 | 321.033 | 8.549 | 317.833 | 22.814 | 890.242 | 41.893 | 42.6553
2020-07-12 17:30:00 | 7.838 | 303.253 | 8.258 | 299.997 | 8.668 | 304.2 | 9.224 | 303.667 | 22.798 | 889.775 | 41.651 | 41.588
2020-07-12 17:45:00 | 7.865 | 315.2 | 8.208 | 310.799 | 8.32 | 316.267 | 8.497 | 314.2 | 22.981 | 889.858 | 40.539 | 43.373
2020-07-12 18:00:00 | 8.565 | 311.547 | 9.064 | 304.423 | 9.288 | 307.467 | 9.712 | 305.333 | 23.348 | 889.733 | 38.669 | 46.6778
2020-07-12 18:15:00 | 7.751 | 319.507 | 8.491 | 313.524 | 8.417 | 317.833 | 8.809 | 314.733 | 22.798 | 889.083 | 40.52 | 48.4322
2020-07-12 18:30:00 | 9.072 | 312.347 | 9.622 | 303.019 | 9.626 | 308.333 | 9.854 | 306.467 | 22.798 | 889.367 | 40.568 | 47.797
2020-07-12 18:45:00 | 9.111 | 309.8 | 10.074 | 303.599 | 10.529 | 308.1 | 11.062 | 304.7 | 22.281 | 890.242 | 44.651 | 54.4678
2020-07-12 19:00:00 | 9.639 | 306.387 | 10.284 | 302.535 | 10.268 | 307.8 | 10.982 | 306 | 22.381 | 890.175 | 45.744 | 55.0568
2020-07-12 19:15:00 | 9.19 | 309.667 | 9.725 | 300.354 | 9.981 | 305.767 | 10.334 | 302.167 | 22.398 | 889.608 | 45.093 | 59.1859
2020-07-12 19:30:00 | 7.194 | 295.933 | 7.714 | 291.527 | 7.971 | 296.7 | 8.415 | 294.467 | 22.298 | 889.875 | 43.957 | 56.0687
2020-07-12 19:45:00 | 8.759 | 296.533 | 9.718 | 292.106 | 10.08 | 297.667 | 10.348 | 296 | 22.431 | 890.183 | 42.571 | 58.7362
2020-07-12 20:00:00 | 8.429 | 291.467 | 8.876 | 287.158 | 9.304 | 292 | 9.587 | 289.9 | 22.598 | 890.017 | 44.117 | 59.3927
2020-07-12 20:15:00 | 9.049 | 299.867 | 9.944 | 295.628 | 10.2 | 298.833 | 10.976 | 296.267 | 22.548 | 889.9 | 44.747 | 60.6675
2020-07-12 20:30:00 | 8.561 | 292.28 | 9.534 | 287.332 | 9.609 | 290.633 | 10.08 | 288.4 | 22.206 | 889.908 | 45.493 | 61.9657
2020-07-12 20:45:00 | 9.954 | 304.267 | 10.685 | 298.672 | 10.878 | 301.933 | 11.398 | 299.433 | 22.056 | 889.7 | 46.192 | 61.0327
2020-07-12 21:00:00 | 8.716 | 292.52 | 9.435 | 285.838 | 9.682 | 290.267 | 9.866 | 288.4 | 21.635 | 889.95 | 47.403 | 52.265
2020-07-12 21:15:00 | 8.999 | 293.907 | 9.602 | 287.919 | 9.86 | 291.367 | 10.632 | 289.067 | 21.523 | 889.892 | 49.888 | 61.9422
2020-07-12 21:30:00 | 8.795 | 286.027 | 9.823 | 281.026 | 10.396 | 285.3 | 10.961 | 283.933 | 21.014 | 889.567 | 51.76 | 60.5787
2020-07-12 21:45:00 | 7.756 | 289.547 | 8.971 | 284.963 | 9.544 | 288.467 | 10.086 | 285.567 | 20.86 | 889.775 | 50.619 | 51.3143
2020-07-12 22:00:00 | 5.962 | 291.187 | 6.601 | 286.953 | 6.951 | 290.333 | 7.368 | 289.1 | 20.852 | 889.708 | 50.965 | 36.0982
2020-07-12 22:15:00 | 5.469 | 290 | 6.374 | 283.934 | 6.801 | 285.8 | 7.142 | 284.433 | 20.239 | 889.425 | 52.069 | 29.0608
2020-07-12 22:30:00 | 5.991 | 288.547 | 6.711 | 282.632 | 6.789 | 286 | 7.316 | 282.4 | 20.148 | 890.192 | 51.957 | 27.9302
2020-07-12 22:45:00 | 5.195 | 283.72 | 5.73 | 277.67 | 6.013 | 282.567 | 6.318 | 278.8 | 20.139 | 890.25 | 53.344 | 19.1171
2020-07-12 23:00:00 | 3.866 | 275.36 | 4.503 | 270.688 | 5.122 | 273.9 | 5.365 | 272.167 | 19.835 | 889.683 | 54.752 | 13.9093
2020-07-12 23:15:00 | 4.458 | 282.173 | 5.449 | 278.532 | 5.945 | 281.533 | 6.332 | 280 | 19.694 | 890.15 | 56.507 | 13.6294
2020-07-12 23:30:00 | 3.891 | 261.74 | 4.651 | 262.083 | 5.022 | 267.033 | 5.544 | 265.367 | 19.473 | 889.725 | 57.269 | 11.2
2020-07-12 23:45:00 | 4.371 | 239.367 | 5.133 | 243.359 | 5.522 | 251.233 | 5.625 | 248.267 | 19.098 | 889.867 | 58.976 | 11.7002