## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-13 00:00:00 | 3.801 | 232.667 | 4.594 | 235.41 | 4.731 | 245.933 | 4.758 | 243.967 | 18.656 | 889.917 | 60.064 | 11.4579
2020-07-13 00:15:00 | 4.906 | 243.4 | 5.361 | 242.885 | 5.638 | 250.1 | 5.793 | 246.6 | 18.439 | 889.95 | 61.248 | 14.0202
2020-07-13 00:30:00 | 5.197 | 246.32 | 6.022 | 247.989 | 6.552 | 254.167 | 6.755 | 250.6 | 18.823 | 890.158 | 60.176 | 20.9667
2020-07-13 00:45:00 | 5.581 | 251.147 | 6.559 | 250.958 | 6.976 | 257.217 | 7.184 | 255.05 | 18.456 | 889.842 | 59.952 | 25.4077
2020-07-13 01:00:00 | 4.98 | 263.067 | 5.884 | 260.055 | 6.034 | 266.083 | 6.264 | 263.867 | 18.473 | 889.692 | 60.021 | 23.578
2020-07-13 01:15:00 | 4.808 | 273.2 | 6.109 | 271.04 | 6.501 | 276.933 | 7.118 | 274 | 18.723 | 890.142 | 60.069 | 19.7836
2020-07-13 01:30:00 | 5.227 | 271.707 | 6.458 | 266.301 | 6.796 | 273.567 | 7.252 | 268.5 | 18.41 | 890.025 | 60.293 | 22.1683
2020-07-13 01:45:00 | 5.451 | 262.993 | 6.694 | 262.714 | 7.07 | 269.667 | 7.357 | 266.033 | 18.077 | 889.933 | 60.475 | 26.3777
2020-07-13 02:00:00 | 5.136 | 266.933 | 6.168 | 262.408 | 6.475 | 269.833 | 7.068 | 265.8 | 17.944 | 889.633 | 62.192 | 24.9729
2020-07-13 02:15:00 | 5.641 | 264.887 | 6.524 | 260.686 | 6.826 | 264.933 | 6.98 | 261.15 | 18.223 | 890.117 | 65.541 | 22.4816
2020-07-13 02:30:00 | 5.926 | 262.507 | 6.909 | 261.315 | 7.262 | 265.433 | 7.415 | 261.283 | 17.885 | 889.958 | 67.168 | 23.4757
2020-07-13 02:45:00 | 5.56 | 261.64 | 6.737 | 260.422 | 7.186 | 264.4 | 7.523 | 261.1 | 17.902 | 889.825 | 67.968 | 25.8625
2020-07-13 03:00:00 | 6.363 | 265.153 | 7.509 | 260.987 | 7.835 | 267.3 | 8.046 | 262.85 | 17.552 | 889.867 | 68.139 | 30.0229
2020-07-13 03:15:00 | 6.266 | 260.733 | 7.52 | 259.608 | 8.045 | 265.2 | 8.696 | 263.017 | 17.644 | 889.908 | 68.091 | 35.4424
2020-07-13 03:30:00 | 6.011 | 264.893 | 7.224 | 261.705 | 7.865 | 268.167 | 8.395 | 261.517 | 17.548 | 889.925 | 68.747 | 33.8713
2020-07-13 03:45:00 | 5.89 | 261.52 | 7.147 | 259.364 | 7.651 | 265.35 | 7.902 | 259.817 | 17.152 | 890.108 | 70.149 | 31.3765
2020-07-13 04:00:00 | 6.93 | 257 | 7.799 | 254.297 | 7.918 | 259.833 | 8.065 | 255.483 | 17.314 | 890.042 | 70.827 | 33.8976
2020-07-13 04:15:00 | 5.512 | 249.627 | 6.44 | 248.475 | 7.107 | 254.067 | 7.405 | 250.617 | 17.331 | 889.617 | 71.008 | 28.9037
2020-07-13 04:30:00 | 4.971 | 233.133 | 6.203 | 237.883 | 6.564 | 245.633 | 6.651 | 242.517 | 16.498 | 890.017 | 71.979 | 31.3289
2020-07-13 04:45:00 | 5.569 | 240.327 | 6.76 | 240.062 | 7.148 | 247.5 | 7.329 | 244.883 | 16.188 | 889.633 | 73.568 | 35.3756
2020-07-13 05:00:00 | 5.574 | 243.28 | 6.486 | 243.539 | 6.924 | 251.633 | 7.036 | 248.183 | 16.217 | 889.942 | 74.325 | 39.5125
2020-07-13 05:15:00 | 5.74 | 248.733 | 6.972 | 248.981 | 7.43 | 254.233 | 7.726 | 251.95 | 16.181 | 890.217 | 75.109 | 42.8941
2020-07-13 05:30:00 | 5.093 | 252.093 | 6.525 | 251.641 | 7.066 | 257.217 | 7.409 | 254.117 | 16.614 | 889.967 | 74.768 | 35.7252
2020-07-13 05:45:00 | 5.317 | 254.42 | 6.295 | 254.674 | 6.784 | 261.033 | 7.074 | 257.867 | 16.348 | 889.983 | 74.96 | 32.4359
2020-07-13 06:00:00 | 5.511 | 260.473 | 6.452 | 258.797 | 7.023 | 264.967 | 7.432 | 262.95 | 15.968 | 889.908 | 74.443 | 32.4629
2020-07-13 06:15:00 | 7.474 | 260.76 | 8.423 | 260.201 | 8.91 | 264.7 | 9.573 | 261.25 | 16.281 | 889.908 | 72.933 | 44.7145
2020-07-13 06:30:00 | 7.604 | 251.713 | 8.965 | 248.512 | 9.405 | 253.95 | 9.583 | 249.867 | 16.398 | 889.983 | 72.496 | 52.1982
2020-07-13 06:45:00 | 6.62 | 247.86 | 7.76 | 246.847 | 8.327 | 252.45 | 8.346 | 247.55 | 16.548 | 889.683 | 69.755 | 44.296
2020-07-13 07:00:00 | 7.062 | 258.88 | 8.232 | 254.738 | 8.556 | 259.45 | 8.561 | 253.183 | 17.148 | 889.967 | 67.888 | 42.85
2020-07-13 07:15:00 | 7.42 | 260.553 | 8.203 | 256.385 | 8.524 | 259.617 | 8.452 | 254.633 | 17.398 | 890.033 | 66.704 | 49.3552
2020-07-13 07:30:00 | 6.968 | 262.093 | 7.635 | 256.492 | 8.135 | 261.317 | 8.348 | 257.233 | 16.998 | 889.975 | 67.803 | 50.3827
2020-07-13 07:45:00 | 6.644 | 268.047 | 7.222 | 264.042 | 7.402 | 269.833 | 7.645 | 262.5 | 16.531 | 890.258 | 69.232 | 41.6101
2020-07-13 08:00:00 | 7.738 | 271.947 | 8.344 | 263.859 | 8.652 | 269.033 | 8.563 | 262.967 | 16.998 | 889.825 | 66.704 | 43.8803
2020-07-13 08:15:00 | 8.467 | 267.507 | 9.344 | 260.74 | 9.657 | 264.917 | 9.575 | 260.233 | 17.464 | 890.083 | 63.904 | 52.8349
2020-07-13 08:30:00 | 9.096 | 277.133 | 9.674 | 268.975 | 9.975 | 274.067 | 9.978 | 268.567 | 17.944 | 890 | 61.141 | 53.8304
2020-07-13 08:45:00 | 8.892 | 272.26 | 9.517 | 266.798 | 9.35 | 270.1 | 9.371 | 266.433 | 18.352 | 889.725 | 59.429 | 61.2672
2020-07-13 09:00:00 | 8.627 | 273.08 | 9.172 | 269.071 | 9.458 | 272.833 | 9.421 | 267.817 | 18.873 | 889.792 | 58.779 | 60.6987
2020-07-13 09:15:00 | 9.272 | 272.113 | 9.767 | 267.968 | 9.875 | 272.733 | 9.965 | 268.233 | 18.556 | 890.233 | 58.032 | 61.2103
2020-07-13 09:30:00 | 8.744 | 275.48 | 9.062 | 271.372 | 9.234 | 276.7 | 9.288 | 272.733 | 18.789 | 889.85 | 57.915 | 54.0478
2020-07-13 09:45:00 | 9.477 | 280.933 | 10.232 | 274.911 | 10.426 | 279.867 | 10.392 | 276.567 | 18.523 | 889.942 | 58.976 | 53.8425
2020-07-13 10:00:00 | 8.262 | 281.533 | 9.055 | 274.762 | 9.335 | 280.3 | 9.439 | 277.367 | 18.998 | 889.867 | 56.981 | 54.1722
2020-07-13 10:15:00 | 10.796 | 278.253 | 11.519 | 273.417 | 11.647 | 277.5 | 11.688 | 276 | 19.302 | 889.842 | 55.163 | 52.3119
2020-07-13 10:30:00 | 10.285 | 290.187 | 11.02 | 283.636 | 11.051 | 287.633 | 11.22 | 285.333 | 19.914 | 889.525 | 51.691 | 50.225
2020-07-13 10:45:00 | 9.166 | 293.853 | 9.553 | 288.112 | 9.627 | 291.967 | 9.676 | 288.533 | 19.848 | 890.058 | 49.776 | 47.1418
2020-07-13 11:00:00 | 9.338 | 278.093 | 9.918 | 275.733 | 10.055 | 277.967 | 10.319 | 274.267 | 19.802 | 889.725 | 52.592 | 44.2314
2020-07-13 11:15:00 | 10.139 | 290.093 | 10.892 | 286.824 | 11.068 | 289.533 | 11.415 | 286.267 | 19.939 | 889.933 | 50.32 | 42.8934
2020-07-13 11:30:00 | 10.21 | 287.293 | 10.843 | 278.66 | 11.027 | 287.267 | 11.247 | 285.167 | 19.885 | 890.192 | 51.845 | 42.0769
2020-07-13 11:45:00 | 9.172 | 281.627 | 9.844 | 277.444 | 10.09 | 281.3 | 10.29 | 279.267 | 19.648 | 890.117 | 50.219 | 42.7313
2020-07-13 12:00:00 | 10.01 | 302.24 | 10.752 | 296.773 | 11.066 | 301.233 | 11.438 | 297.467 | 20.668 | 890.033 | 47.893 | 44.2427
2020-07-13 12:15:00 | 10.906 | 295.627 | 11.802 | 290.069 | 12.033 | 294.267 | 12.522 | 291.933 | 20.656 | 890.133 | 47.76 | 51.8607
2020-07-13 12:30:00 | 12.209 | 288.707 | 13.159 | 281.074 | 13.374 | 285.733 | 13.679 | 281.467 | 20.481 | 889.667 | 48.96 | 58.955
2020-07-13 12:45:00 | 12.536 | 279.467 | 13.068 | 274.288 | 12.914 | 278.1 | 13.092 | 275.333 | 19.91 | 889.9 | 51.333 | 60.735
2020-07-13 13:00:00 | 13.659 | 284.413 | 14.486 | 276.575 | 14.646 | 279.9 | 14.956 | 276.867 | 19.652 | 889.892 | 50.763 | 58.8292
2020-07-13 13:15:00 | 14.753 | 280.813 | 15.948 | 274.563 | 15.772 | 278.533 | 15.851 | 274.233 | 19.327 | 889.6 | 50.149 | 58.6793
2020-07-13 13:30:00 | 15.363 | 280.907 | 16.778 | 275.259 | 16.796 | 278.8 | 17.03 | 276.133 | 18.477 | 889.5 | 51.669 | 55.2991
2020-07-13 13:45:00 | 15.727 | 280.133 | 16.488 | 273.296 | 17.031 | 277.7 | 17.583 | 273.6 | 18.064 | 889.95 | 53.488 | 59.8674
2020-07-13 14:00:00 | 13.95 | 278.387 | 15.347 | 271.305 | 16.059 | 275.867 | 16.392 | 272.033 | 17.66 | 889.508 | 54.661 | 64.0881
2020-07-13 14:15:00 | 15.304 | 274.187 | 16.742 | 268.346 | 17.229 | 273 | 17.205 | 268.633 | 16.748 | 890.208 | 64.464 | 77.2812
2020-07-13 14:30:00 | 12.185 | 268.8 | 13.276 | 260.939 | 14.072 | 265.067 | 14.161 | 260.65 | 15.754 | 890.117 | 77.205 | 81.3862
2020-07-13 14:45:00 | 12.477 | 272.893 | 13.742 | 267.982 | 14.48 | 273.133 | 14.833 | 266.833 | 15.4 | 890.325 | 74.181 | 80.2322
2020-07-13 15:00:00 | 12.342 | 268.607 | 13.593 | 262.829 | 14.309 | 269.533 | 14.39 | 263.767 | 15.345 | 890.017 | 70.837 | 83.147
2020-07-13 15:15:00 | 11.738 | 273.36 | 13.296 | 268.848 | 13.579 | 273.367 | 13.88 | 268.15 | 15.673 | 889.808 | 66.411 | 83.5257
2020-07-13 15:30:00 | 13.114 | 278.56 | 14.826 | 270.644 | 15.058 | 274.433 | 15.377 | 269.767 | 15.673 | 889.908 | 66.448 | 83.4923
2020-07-13 15:45:00 | 14.581 | 271.76 | 15.903 | 265.482 | 16.41 | 269.5 | 16.665 | 264.533 | 15.226 | 889.267 | 63.728 | 83.5363
2020-07-13 16:00:00 | 12.049 | 275.2 | 13.07 | 267.871 | 13.699 | 271.833 | 13.854 | 265.95 | 15.761 | 889.942 | 61.776 | 82.6865
2020-07-13 16:15:00 | 11.15 | 268.9 | 12.195 | 266.42 | 12.723 | 269.533 | 12.844 | 264.633 | 15.464 | 889.85 | 60.635 | 81.9965
2020-07-13 16:30:00 | 9.369 | 288.64 | 10.263 | 283.565 | 10.637 | 286.4 | 11.03 | 283.267 | 15.476 | 889.958 | 66.811 | 74.9797
2020-07-13 16:45:00 | 8.361 | 275.093 | 8.884 | 269.837 | 9.032 | 276.967 | 8.959 | 272.9 | 14.704 | 890.008 | 70.763 | 48.0137
2020-07-13 17:00:00 | 8.116 | 275.493 | 8.498 | 268.441 | 8.549 | 271.467 | 8.469 | 264.083 | 14.737 | 890.217 | 70.187 | 40.4725
2020-07-13 17:15:00 | 9.343 | 283.973 | 9.981 | 276.589 | 10.17 | 278.8 | 10.188 | 273.767 | 15.402 | 889.967 | 63.397 | 46.874
2020-07-13 17:30:00 | 7.207 | 286.413 | 7.659 | 280.499 | 7.73 | 284.2 | 7.964 | 280.967 | 16.848 | 890.075 | 55.301 | 34.8966
2020-07-13 17:45:00 | 8.11 | 283.173 | 8.67 | 274.647 | 8.65 | 278.9 | 9.157 | 277.6 | 18.256 | 890.2 | 48.432 | 49.2693
2020-07-13 18:00:00 | 8.62 | 281.467 | 9.332 | 276.766 | 9.441 | 278.55 | 9.693 | 274.733 | 18.756 | 889.875 | 46.56 | 60.7691
2020-07-13 18:15:00 | 9.358 | 292.133 | 10.161 | 283.854 | 10.466 | 288.133 | 10.762 | 285.233 | 18.773 | 889.767 | 44.592 | 64.8158
2020-07-13 18:30:00 | 10.565 | 305.147 | 11.29 | 297.096 | 11.348 | 301.933 | 11.8 | 299.933 | 18.839 | 889.908 | 42.635 | 67.8513
2020-07-13 18:45:00 | 8.823 | 299.253 | 8.989 | 290.421 | 9.466 | 294 | 10.105 | 293.233 | 18.931 | 889.958 | 45.067 | 56.7252
2020-07-13 19:00:00 | 9.53 | 295.52 | 9.922 | 288.818 | 10.189 | 293.3 | 10.71 | 291.233 | 18.981 | 889.483 | 44.613 | 62.3281
2020-07-13 19:15:00 | 8.889 | 286.12 | 9.563 | 281.892 | 9.712 | 285.233 | 9.86 | 282.733 | 18.877 | 889.717 | 43.92 | 62.5171
2020-07-13 19:30:00 | 7.743 | 282.34 | 8.227 | 276.462 | 8.502 | 280.6 | 8.604 | 278.167 | 19.068 | 889.8 | 43.952 | 60.8224
2020-07-13 19:45:00 | 8.478 | 276.867 | 9.208 | 272.843 | 9.609 | 277 | 9.759 | 272.7 | 19.068 | 889.858 | 44.997 | 64.5536
2020-07-13 20:00:00 | 8.519 | 288.04 | 9.138 | 281.617 | 9.352 | 285.167 | 9.733 | 281.9 | 18.781 | 889.742 | 44.523 | 70.0072
2020-07-13 20:15:00 | 8.301 | 293.36 | 9.086 | 284.41 | 9.331 | 289.567 | 9.743 | 286.233 | 19.277 | 889.85 | 44.331 | 65.0311
2020-07-13 20:30:00 | 7.399 | 294.667 | 8.005 | 288.562 | 8.03 | 291.4 | 8.403 | 286.533 | 18.639 | 889.508 | 46.075 | 52.1847
2020-07-13 20:45:00 | 7.192 | 288.667 | 7.767 | 283.532 | 8.013 | 288.067 | 8.084 | 283.5 | 18.723 | 890.05 | 46.288 | 42.0748
2020-07-13 21:00:00 | 6.4 | 286.573 | 7.209 | 280.945 | 7.241 | 284.467 | 7.434 | 280.1 | 18.427 | 889.942 | 47.477 | 40.5641
2020-07-13 21:15:00 | 6.793 | 280.6 | 7.474 | 275.021 | 7.696 | 277.1 | 7.992 | 274.267 | 18.168 | 889.675 | 49.765 | 35.2548
2020-07-13 21:30:00 | 5.649 | 271.64 | 6.586 | 264.202 | 6.857 | 269.167 | 7.094 | 264.1 | 17.427 | 890.083 | 51.664 | 30.2296
2020-07-13 21:45:00 | 5.462 | 263.887 | 6.392 | 258.706 | 6.682 | 264.783 | 6.923 | 258.45 | 17.289 | 890.1 | 52.352 | 27.5551
2020-07-13 22:00:00 | 5.934 | 257.807 | 6.984 | 255.093 | 7.389 | 260 | 7.534 | 256.283 | 17.173 | 889.575 | 52.853 | 35.8481
2020-07-13 22:15:00 | 5.32 | 252.58 | 6.335 | 250.832 | 6.764 | 255.167 | 6.907 | 250.333 | 17.098 | 890.2 | 52.357 | 32.0935
2020-07-13 22:30:00 | 5.273 | 237.713 | 6.314 | 237.794 | 6.79 | 244.033 | 6.77 | 240.033 | 16.681 | 889.992 | 54.453 | 31.3928
2020-07-13 22:45:00 | 6.063 | 236.427 | 7.162 | 236.358 | 7.669 | 241.367 | 7.715 | 235.733 | 16.348 | 890.25 | 55.488 | 39.2695
2020-07-13 23:00:00 | 6.602 | 237.007 | 7.832 | 235.108 | 8.326 | 239.9 | 8.226 | 235.333 | 16.348 | 889.875 | 54.315 | 42.2773
2020-07-13 23:15:00 | 6.641 | 230.587 | 8.021 | 229.347 | 8.552 | 234.467 | 8.556 | 229.567 | 16.898 | 890.033 | 54.272 | 43.3439
2020-07-13 23:30:00 | 6.203 | 227.72 | 7.411 | 227.207 | 7.84 | 232.667 | 8.044 | 228.167 | 16.798 | 889.558 | 52.032 | 34.6394
2020-07-13 23:45:00 | 5.032 | 223.493 | 6.674 | 224.962 | 7.309 | 230.633 | 7.413 | 225.567 | 16.048 | 890.017 | 54.549 | 30.224