## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-14 00:00:00 | 5.158 | 226.393 | 6.796 | 225.465 | 7.437 | 231.167 | 7.584 | 227.067 | 15.512 | 889.9 | 54.091 | 28.2663
2020-07-14 00:15:00 | 5.579 | 211.833 | 7.358 | 212.116 | 7.641 | 217.7 | 7.763 | 214.367 | 14.658 | 889.517 | 56.352 | 26.6129
2020-07-14 00:30:00 | 5.483 | 214.4 | 7.559 | 214.33 | 7.731 | 220.267 | 7.926 | 214.933 | 14.724 | 889.475 | 58.315 | 27.5011
2020-07-14 00:45:00 | 5.713 | 210.587 | 7.344 | 211.354 | 8.105 | 214.767 | 7.676 | 212.033 | 14.354 | 889.992 | 57.6 | 26.5169
2020-07-14 01:00:00 | 5.46 | 210.933 | 7.161 | 210.799 | 7.45 | 215.533 | 7.279 | 212.367 | 14.32 | 889.558 | 56.885 | 25.2677
2020-07-14 01:15:00 | 5.409 | 220.36 | 7.276 | 213.999 | 7.234 | 217.4 | 7.238 | 213.333 | 14.17 | 889.825 | 57.312 | 25.007
2020-07-14 01:30:00 | 6.386 | 221.933 | 7.891 | 216.92 | 7.89 | 221.3 | 7.736 | 217.8 | 14.145 | 890.067 | 56.373 | 25.5804
2020-07-14 01:45:00 | 5.113 | 227.093 | 7.229 | 222.459 | 7.506 | 225.533 | 7.478 | 219.933 | 14.037 | 889.85 | 55.659 | 23.1424
2020-07-14 02:00:00 | 5.537 | 215.213 | 7.778 | 212.515 | 8.517 | 213.367 | 8.323 | 211.033 | 13.531 | 890.292 | 55.307 | 26.8544
2020-07-14 02:15:00 | 4.754 | 234.013 | 6.443 | 223.781 | 7.415 | 225.3 | 7.594 | 220 | 13.887 | 889.517 | 54.635 | 21.0441
2020-07-14 02:30:00 | 6.589 | 220.347 | 7.89 | 218.458 | 8.039 | 219.167 | 8.194 | 212.967 | 13.787 | 890.283 | 54.635 | 21.7313
2020-07-14 02:45:00 | 6.387 | 225.367 | 7.456 | 221.251 | 7.51 | 221.1 | 7.799 | 213.633 | 13.654 | 889.725 | 54.539 | 16.893
2020-07-14 03:00:00 | 6.671 | 221.907 | 8.256 | 218.099 | 8.114 | 218.7 | 8.274 | 212.5 | 13.508 | 889.692 | 53.824 | 22.456
2020-07-14 03:15:00 | 6.739 | 217.2 | 8.776 | 217.226 | 8.64 | 218.767 | 8.303 | 212.4 | 13.322 | 889.683 | 53.739 | 25.6898
2020-07-14 03:30:00 | 6.462 | 225.533 | 8.414 | 222.86 | 8.445 | 224.633 | 8.526 | 218.567 | 13.62 | 889.875 | 53.984 | 29.7365
2020-07-14 03:45:00 | 6.024 | 223.127 | 8.322 | 221.048 | 8.166 | 224 | 7.683 | 220.267 | 13.699 | 889.9 | 53.696 | 31.9478
2020-07-14 04:00:00 | 5.764 | 217.96 | 8.059 | 216.396 | 8.051 | 221.3 | 7.923 | 219.667 | 13.485 | 889.558 | 53.483 | 29.1972
2020-07-14 04:15:00 | 6.258 | 221.587 | 8.311 | 219.932 | 8.076 | 225.533 | 7.487 | 223.7 | 13.258 | 890.025 | 52.64 | 29.9603
2020-07-14 04:30:00 | 6.157 | 215.093 | 8.288 | 215.114 | 8.349 | 220.633 | 7.975 | 219.267 | 13.653 | 890.1 | 51.989 | 32.1517
2020-07-14 04:45:00 | 5.721 | 217.56 | 8.14 | 217.189 | 8.173 | 224.7 | 7.335 | 222.433 | 13.141 | 889.642 | 52.715 | 28.6543
2020-07-14 05:00:00 | 6.27 | 222.027 | 8.164 | 220.902 | 7.476 | 226.433 | 7.333 | 224.433 | 13.595 | 889.833 | 51.744 | 25.8561
2020-07-14 05:15:00 | 5.97 | 223.227 | 7.929 | 222.394 | 7.83 | 228.633 | 7.571 | 226.7 | 13.645 | 890.217 | 52.235 | 29.7365
2020-07-14 05:30:00 | 6.867 | 224.567 | 8.444 | 219.662 | 8.354 | 224.967 | 7.771 | 222.633 | 13.366 | 889.767 | 51.307 | 34.5257
2020-07-14 05:45:00 | 6.108 | 218.1 | 8.231 | 213.488 | 8.017 | 217.433 | 7.834 | 215.667 | 13.178 | 889.45 | 51.957 | 29.6797
2020-07-14 06:00:00 | 6.554 | 208.4 | 8.216 | 206.554 | 9.198 | 212.7 | 8.486 | 210.067 | 12.941 | 890.108 | 52.16 | 30.7526
2020-07-14 06:15:00 | 5.676 | 203.873 | 6.96 | 203.879 | 7.495 | 208.433 | 8.037 | 206.467 | 13.426 | 889.975 | 53.653 | 27.9487
2020-07-14 06:30:00 | 5.122 | 216.6 | 7.572 | 213.627 | 8.166 | 216.9 | 8.045 | 212.967 | 13.262 | 889.783 | 54.069 | 24.7007
2020-07-14 06:45:00 | 5.42 | 217.84 | 7.371 | 217.326 | 8.16 | 222.167 | 8.018 | 218.833 | 13.574 | 890.05 | 51.925 | 23.2853
2020-07-14 07:00:00 | 5.792 | 227.867 | 7.139 | 225.328 | 7.255 | 231.067 | 7.358 | 227.033 | 14.624 | 890 | 49.088 | 24.651
2020-07-14 07:15:00 | 6.007 | 228.627 | 7.784 | 223.072 | 7.584 | 226.833 | 7.069 | 224.067 | 15.478 | 890.05 | 46.24 | 25.6443
2020-07-14 07:30:00 | 5.522 | 218.1 | 7.108 | 213.224 | 7.855 | 216.133 | 7.773 | 213.1 | 16.514 | 889.958 | 43.488 | 25.5648
2020-07-14 07:45:00 | 5.2 | 214.84 | 5.862 | 212.261 | 6.954 | 214.167 | 7.708 | 212.2 | 17.806 | 889.6 | 40.357 | 22.1064
2020-07-14 08:00:00 | 5.195 | 210.273 | 5.45 | 210.753 | 5.881 | 213.633 | 6.424 | 208.9 | 18.939 | 889.95 | 37.957 | 15.9679
2020-07-14 08:15:00 | 5.986 | 215.587 | 6.065 | 211.697 | 6.32 | 214 | 6.852 | 209.7 | 19.456 | 889.683 | 36.656 | 17.7365
2020-07-14 08:30:00 | 5.136 | 211.707 | 5.207 | 210.756 | 5.317 | 215.267 | 5.349 | 213.867 | 20.352 | 889.767 | 35.893 | 18.4584
2020-07-14 08:45:00 | 5.899 | 207.013 | 6.008 | 206.121 | 6.176 | 211.467 | 6.371 | 208.9 | 20.977 | 889.6 | 34.789 | 18.9984
2020-07-14 09:00:00 | 6.033 | 207.893 | 6.219 | 208.472 | 6.443 | 212.033 | 6.582 | 208.667 | 21.144 | 889.583 | 34.272 | 15.9984
2020-07-14 09:15:00 | 4.854 | 222.593 | 4.967 | 225.787 | 5.292 | 225.1 | 5.518 | 220.033 | 21.702 | 889.633 | 33.056 | 10.1014
2020-07-14 09:30:00 | 4.015 | 228.447 | 4.296 | 226.572 | 4.617 | 230.333 | 4.924 | 224.717 | 22.239 | 889.633 | 32.283 | 7.316
2020-07-14 09:45:00 | 1.969 | 211.96 | 2.031 | 208.77 | 2.404 | 207.667 | 2.683 | 210 | 22.931 | 890.317 | 31.349 | 5.303
2020-07-14 10:00:00 | 3.656 | 247.087 | 3.847 | 244.252 | 3.891 | 256.483 | 3.98 | 253.15 | 22.731 | 890.017 | 30.821 | 3.5713
2020-07-14 10:15:00 | 3.264 | 294.16 | 3.697 | 287.519 | 3.719 | 288.8 | 4.083 | 289.333 | 21.406 | 889.75 | 31.872 | 4.8255
2020-07-14 10:30:00 | 4.047 | 301.32 | 4.375 | 314.831 | 4.432 | 314.7 | 4.295 | 304.2 | 22.581 | 889.567 | 31.149 | 6.8172
2020-07-14 10:45:00 | 5.199 | 299.2 | 5.677 | 294.754 | 5.919 | 299.233 | 6.233 | 298.6 | 22.598 | 890.017 | 29.091 | 12.6744
2020-07-14 11:00:00 | 4.636 | 293.56 | 5.11 | 281.635 | 5.551 | 284.467 | 5.749 | 280.2 | 23.114 | 889.85 | 28.901 | 17.6604
2020-07-14 11:15:00 | 5.364 | 305.04 | 5.334 | 322.824 | 5.297 | 325.733 | 5.831 | 320.1 | 22.814 | 889.617 | 28.376 | 22.5989
2020-07-14 11:30:00 | 5.904 | 280.9 | 6.26 | 272.321 | 6.393 | 276.333 | 6.816 | 272.467 | 23.706 | 889.467 | 27.587 | 15.7234
2020-07-14 11:45:00 | 3.896 | 286.34 | 4.13 | 289.264 | 4.337 | 299.233 | 4.522 | 295.85 | 23.214 | 889.533 | 28.28 | 14.8253
2020-07-14 12:00:00 | 5.036 | 309.853 | 5.263 | 305.838 | 5.34 | 312.133 | 5.639 | 310.067 | 23.868 | 889.983 | 27.715 | 15.771
2020-07-14 12:15:00 | 6.521 | 309.56 | 6.629 | 299.474 | 6.816 | 301.667 | 6.865 | 298.433 | 24.323 | 890.1 | 24.261 | 22.8369
2020-07-14 12:30:00 | 3.407 | 130.005 | 3.5 | 157.478 | 3.907 | 147.967 | 4.191 | 162.467 | 23.906 | 889.617 | 24.472 | 19.4809
2020-07-14 12:45:00 | 4.071 | 318.827 | 4.317 | 292.467 | 4.449 | 302.867 | 4.858 | 301.333 | 24.694 | 889.933 | 22.709 | 16.6123
2020-07-14 13:00:00 | 7.449 | 300.573 | 7.624 | 294.067 | 7.844 | 297.733 | 8.061 | 296.733 | 24.723 | 889.583 | 22.933 | 34.9435
2020-07-14 13:15:00 | 6.696 | 273.527 | 7.021 | 270.605 | 6.798 | 274.733 | 6.994 | 269.35 | 25.635 | 889.3 | 22.253 | 24.7469
2020-07-14 13:30:00 | 5.694 | 264.113 | 5.912 | 261.965 | 6.423 | 266.917 | 6.998 | 262.95 | 25.485 | 889.667 | 21.76 | 16.8404
2020-07-14 13:45:00 | 5.587 | 275.267 | 5.876 | 274.264 | 5.924 | 279.967 | 6.15 | 275 | 24.873 | 890.017 | 21.867 | 21.1507
2020-07-14 14:00:00 | 5.662 | 254.3 | 5.726 | 254.475 | 5.68 | 254.817 | 5.863 | 248.717 | 25.814 | 889.717 | 21.488 | 20.1915
2020-07-14 14:15:00 | 7.308 | 282.64 | 7.76 | 273.654 | 8.064 | 282.033 | 8.413 | 279.233 | 25.568 | 889.8 | 22.107 | 20.4061
2020-07-14 14:30:00 | 6.043 | 264.587 | 6.972 | 259.199 | 7.225 | 267.883 | 7.15 | 265.9 | 26.556 | 889.75 | 21.312 | 23.767
2020-07-14 14:45:00 | 8.448 | 271.72 | 8.731 | 265.519 | 9.193 | 267.767 | 9.498 | 263.833 | 26.535 | 889.733 | 20.351 | 30.2481
2020-07-14 15:00:00 | 7.703 | 281.533 | 8.024 | 277.29 | 8.181 | 278.817 | 8.474 | 273.3 | 27.26 | 889.05 | 20.187 | 23.6157
2020-07-14 15:15:00 | 6.401 | 307.52 | 6.726 | 300.321 | 6.906 | 302.233 | 7.188 | 297.9 | 26.739 | 889.4 | 20.092 | 28.6458
2020-07-14 15:30:00 | 8.082 | 274.527 | 8.599 | 270.793 | 8.548 | 276.267 | 8.416 | 274.15 | 27.21 | 889.4 | 19.436 | 27.7824
2020-07-14 15:45:00 | 5.075 | 281.022 | 5.875 | 284.656 | 6.413 | 290.75 | 6.963 | 286.783 | 26.748 | 889.7 | 19.896 | 22.5576
2020-07-14 16:00:00 | 5.693 | 275.887 | 6.176 | 268.667 | 6.213 | 270.333 | 6.523 | 265.383 | 27.027 | 889.333 | 19.288 | 27.2382
2020-07-14 16:15:00 | 5.416 | 265.027 | 5.694 | 264.033 | 5.878 | 267.3 | 5.966 | 260.317 | 27.306 | 889.833 | 19.22 | 21.636
2020-07-14 16:30:00 | 3.68 | 270.08 | 4.056 | 261.933 | 4.15 | 264.3 | 4.486 | 267.833 | 27.677 | 889.533 | 18.995 | 24.6922
2020-07-14 16:45:00 | 5.855 | 285.34 | 5.908 | 275.965 | 5.973 | 280.917 | 6.226 | 273.983 | 26.844 | 889.667 | 18.845 | 27.7448
2020-07-14 17:00:00 | 8.435 | 304.773 | 8.778 | 298.362 | 8.792 | 303.233 | 9.287 | 301.5 | 26.964 | 889.367 | 19.748 | 28.4177
2020-07-14 17:15:00 | 6.03 | 265.893 | 6.359 | 262.362 | 6.351 | 269.367 | 6.576 | 262.45 | 27.835 | 889.533 | 18.359 | 21.2737
2020-07-14 17:30:00 | 8.215 | 303.2 | 8.72 | 296.996 | 8.792 | 303.467 | 8.896 | 300.2 | 27.468 | 889.533 | 18.652 | 31.5435
2020-07-14 17:45:00 | 6.066 | 264.133 | 6.544 | 258.391 | 6.992 | 265.15 | 7.056 | 262.683 | 28.206 | 889.3 | 18.643 | 21.5536
2020-07-14 18:00:00 | 5.558 | 264.28 | 6.174 | 268.486 | 6.507 | 271.05 | 7.076 | 269 | 27.685 | 889.333 | 19.096 | 27.4058
2020-07-14 18:15:00 | 6.49 | 305.867 | 6.863 | 297.071 | 6.954 | 298.733 | 7.297 | 296.6 | 27.777 | 889.067 | 18.549 | 24.9928
2020-07-14 18:30:00 | 8.512 | 290.187 | 8.66 | 284.768 | 8.736 | 290.767 | 9.202 | 288.133 | 27.214 | 889.567 | 19.275 | 26.8118
2020-07-14 18:45:00 | 5.948 | 292.8 | 5.956 | 286.906 | 6.165 | 295.367 | 6.515 | 291.8 | 27.968 | 889.233 | 18.815 | 26.3038
2020-07-14 19:00:00 | 5.722 | 263.533 | 6.043 | 254.438 | 6.005 | 257.7 | 6.183 | 256.15 | 27.81 | 889.8 | 19.391 | 26.2029
2020-07-14 19:15:00 | 6.357 | 295.687 | 6.772 | 291.691 | 6.953 | 297 | 7.353 | 295 | 27.385 | 889.467 | 18.296 | 23.9155
2020-07-14 19:30:00 | 5.217 | 304.733 | 5.409 | 299.522 | 5.762 | 301.167 | 6.378 | 299.7 | 27.414 | 889.467 | 18.679 | 28.0248
2020-07-14 19:45:00 | 8.126 | 286.733 | 8.817 | 280.826 | 8.876 | 283.367 | 9.095 | 279.667 | 26.823 | 889.5 | 18.916 | 25.353
2020-07-14 20:00:00 | 6.815 | 288.52 | 7.137 | 282.332 | 7.158 | 286.633 | 7.389 | 284.7 | 26.86 | 889.133 | 19.356 | 27.7576
2020-07-14 20:15:00 | 6.611 | 288.507 | 7.038 | 286.298 | 7.223 | 291.667 | 7.464 | 289.6 | 26.831 | 889.667 | 19.213 | 25.1988
2020-07-14 20:30:00 | 5.565 | 306.907 | 5.888 | 301.306 | 6.148 | 301.933 | 6.702 | 299.467 | 26.914 | 889.067 | 19.655 | 22.5086
2020-07-14 20:45:00 | 6.343 | 285.613 | 6.564 | 282.928 | 6.73 | 287.067 | 7.031 | 283.867 | 26.235 | 889.533 | 20.872 | 29.8672
2020-07-14 21:00:00 | 5.887 | 299.027 | 6.592 | 293.971 | 6.699 | 299.733 | 6.961 | 297.833 | 26.164 | 890.2 | 21.299 | 21.1948
2020-07-14 21:15:00 | 5.629 | 304.333 | 6.449 | 299.901 | 6.64 | 303.7 | 7.138 | 301.233 | 25.648 | 889.417 | 21.488 | 23.971
2020-07-14 21:30:00 | 5.924 | 319.587 | 6.578 | 313.454 | 6.942 | 319.5 | 7.444 | 318.533 | 25.31 | 890.267 | 21.123 | 24.5657
2020-07-14 21:45:00 | 5.765 | 306.68 | 6.959 | 301.336 | 7.328 | 306.133 | 7.854 | 303.133 | 24.644 | 889.55 | 21.989 | 22.3409
2020-07-14 22:00:00 | 5.159 | 299.867 | 6.279 | 294.725 | 6.679 | 300.633 | 7.164 | 298.067 | 24.802 | 889.75 | 22.205 | 20.7066
2020-07-14 22:15:00 | 4.206 | 288.013 | 5.249 | 285.668 | 5.701 | 291.6 | 6.114 | 290.1 | 24.035 | 889.767 | 23.424 | 14.1268
2020-07-14 22:30:00 | 4.178 | 281.667 | 4.958 | 281.628 | 5.141 | 287.5 | 5.549 | 284.933 | 24.194 | 890 | 24.112 | 12.4413
2020-07-14 22:45:00 | 3.981 | 271.147 | 5.029 | 275.798 | 5.309 | 280.433 | 5.711 | 279.667 | 23.398 | 889.883 | 24.893 | 11.8054
2020-07-14 23:00:00 | 4.013 | 257.507 | 4.816 | 265.978 | 4.983 | 273.433 | 5.245 | 270.9 | 22.898 | 889.817 | 26.221 | 9.3113
2020-07-14 23:15:00 | 4.452 | 242.56 | 4.944 | 255.22 | 5.13 | 263.733 | 5.274 | 262.85 | 22.331 | 889.917 | 27.381 | 9.1237
2020-07-14 23:30:00 | 4.598 | 236.847 | 5.084 | 250.475 | 5.133 | 258.733 | 5.395 | 257.833 | 21.694 | 889.6 | 28.392 | 12.0164
2020-07-14 23:45:00 | 4.418 | 237.14 | 5.47 | 250.714 | 5.429 | 258 | 5.577 | 255.967 | 21.564 | 889.783 | 29.269 | 13.8696