## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-15 00:00:00 | 4.728 | 237.127 | 5.346 | 247.317 | 5.524 | 255.133 | 5.87 | 251.2 | 21.227 | 889.467 | 30.352 | 15.5301
2020-07-15 00:15:00 | 5.132 | 240.933 | 5.666 | 248.866 | 5.776 | 258.767 | 6.033 | 259.467 | 21.414 | 889.717 | 30.139 | 14.3762
2020-07-15 00:30:00 | 4.901 | 225.413 | 5.388 | 237.356 | 5.386 | 248.033 | 5.396 | 246.333 | 20.844 | 889.317 | 31.216 | 12.3155
2020-07-15 00:45:00 | 5.024 | 212.06 | 6.013 | 221.287 | 5.742 | 235.533 | 5.538 | 235.767 | 20.377 | 889.55 | 31.925 | 14.2696
2020-07-15 01:00:00 | 5.36 | 212.967 | 6.403 | 218.87 | 6.383 | 225.333 | 6.322 | 222.1 | 20.135 | 889.633 | 31.52 | 15.1635
2020-07-15 01:15:00 | 4.747 | 224.387 | 5.792 | 228.676 | 5.869 | 236.267 | 5.804 | 234.3 | 20.364 | 889.85 | 31.184 | 14.6235
2020-07-15 01:30:00 | 4.502 | 224.233 | 6.119 | 229.83 | 5.929 | 238.133 | 5.742 | 237.7 | 20.577 | 889.8 | 31.531 | 15.7561
2020-07-15 01:45:00 | 4.421 | 223.54 | 5.962 | 228.044 | 6.532 | 235.567 | 6.444 | 231.2 | 20.202 | 889.783 | 31.947 | 18.8456
2020-07-15 02:00:00 | 4.676 | 224.033 | 5.553 | 232.104 | 5.658 | 241 | 5.68 | 237.6 | 19.964 | 889.733 | 32.171 | 16.1661
2020-07-15 02:15:00 | 5.003 | 233.047 | 5.901 | 237.817 | 5.883 | 247.667 | 5.511 | 246.567 | 19.835 | 890 | 32.965 | 17.1154
2020-07-15 02:30:00 | 4.099 | 247.473 | 5.928 | 244.157 | 6.188 | 250.133 | 5.978 | 246.05 | 19.464 | 889.6 | 34.133 | 19.7026
2020-07-15 02:45:00 | 5.028 | 258.453 | 5.915 | 254.286 | 5.702 | 262.167 | 5.599 | 260.917 | 19.702 | 889.633 | 35.085 | 15.501
2020-07-15 03:00:00 | 4.766 | 252.033 | 4.305 | 263.41 | 4.319 | 276 | 4.66 | 279.667 | 19.118 | 889.967 | 36.296 | 11.1417
2020-07-15 03:15:00 | 4.3 | 232.927 | 3.743 | 247.131 | 3.988 | 259.4 | 4.497 | 259.733 | 19.131 | 889.783 | 35.941 | 7.5562
2020-07-15 03:30:00 | 4.623 | 233.9 | 4.09 | 245.242 | 4.283 | 254.967 | 4.555 | 254.083 | 19.639 | 890.117 | 36.245 | 7.8404
2020-07-15 03:45:00 | 4.654 | 245.8 | 3.984 | 251.125 | 4.322 | 259.833 | 4.911 | 258.1 | 19.81 | 889.8 | 36.651 | 8.0997
2020-07-15 04:00:00 | 3.939 | 239.493 | 4.739 | 256.91 | 4.944 | 267.2 | 5.278 | 265.6 | 18.523 | 890.033 | 38.504 | 10.4468
2020-07-15 04:15:00 | 3.867 | 245.647 | 5.995 | 262.528 | 6.712 | 272.667 | 7.301 | 268.633 | 17.685 | 890.092 | 41.547 | 16.1959
2020-07-15 04:30:00 | 4.806 | 260.027 | 6.537 | 264.312 | 7.164 | 272.467 | 7.556 | 269.267 | 18.048 | 889.375 | 41.957 | 26.6519
2020-07-15 04:45:00 | 4.732 | 262.267 | 6.392 | 265.854 | 6.75 | 271.7 | 7.192 | 268.067 | 18.406 | 890.233 | 41.632 | 27.381
2020-07-15 05:00:00 | 5.615 | 257.42 | 6.912 | 258.782 | 7.163 | 263.867 | 7.559 | 259.067 | 18.873 | 889.867 | 41.685 | 29.1503
2020-07-15 05:15:00 | 5.457 | 249.807 | 7.109 | 252.849 | 7.436 | 257.8 | 7.415 | 255.483 | 19.177 | 889.75 | 41.52 | 34.2777
2020-07-15 05:30:00 | 5.349 | 239.987 | 6.474 | 245.735 | 7.01 | 253.6 | 7.392 | 251.383 | 18.239 | 889.883 | 41.909 | 37.9293
2020-07-15 05:45:00 | 5.686 | 242.533 | 7.057 | 246.037 | 7.595 | 253.533 | 7.771 | 250.867 | 18.198 | 890.042 | 42.037 | 39.7477
2020-07-15 06:00:00 | 5.824 | 247.847 | 7.415 | 250.854 | 7.845 | 258 | 8.122 | 254.6 | 18.464 | 889.483 | 40.515 | 43.9642
2020-07-15 06:15:00 | 5.79 | 249.907 | 7.368 | 252.342 | 7.828 | 258.5 | 7.996 | 256.617 | 18.439 | 889.667 | 38.952 | 44.301
2020-07-15 06:30:00 | 5.769 | 248.047 | 7.088 | 248.939 | 7.675 | 257.333 | 7.979 | 254.85 | 18.777 | 889.617 | 35.507 | 44.8005
2020-07-15 06:45:00 | 6.007 | 241.733 | 7.268 | 244.615 | 7.607 | 251.9 | 7.895 | 250.25 | 19.077 | 889.783 | 33.099 | 44.4587
2020-07-15 07:00:00 | 5.517 | 243.42 | 6.629 | 245.868 | 6.904 | 254.2 | 7.031 | 252.533 | 19.477 | 890.017 | 31.664 | 37.2571
2020-07-15 07:15:00 | 5.226 | 244.453 | 6.372 | 248.192 | 6.637 | 255.6 | 6.913 | 254.867 | 19.06 | 889.55 | 31.061 | 31.012
2020-07-15 07:30:00 | 4.929 | 243.02 | 5.935 | 243.333 | 6.075 | 250.233 | 6.05 | 247.267 | 19.714 | 889.417 | 30.165 | 26.8559
2020-07-15 07:45:00 | 4.117 | 248.74 | 4.639 | 247.854 | 5.037 | 254.167 | 5.352 | 249.95 | 21.106 | 889.867 | 27.259 | 19.6195
2020-07-15 08:00:00 | 5.258 | 247.107 | 5.786 | 243.105 | 6.093 | 247.75 | 6.199 | 244.3 | 20.902 | 889.533 | 27.371 | 21.42
2020-07-15 08:15:00 | 5.624 | 251.86 | 6.077 | 248.961 | 6.572 | 256.017 | 6.896 | 249.933 | 22.131 | 889.7 | 25.685 | 25.9861
2020-07-15 08:30:00 | 7.487 | 266.12 | 7.72 | 262.899 | 7.778 | 267.3 | 7.813 | 261.883 | 22.531 | 889.467 | 24.795 | 32.2533
2020-07-15 08:45:00 | 6.664 | 262.1 | 7.269 | 259.32 | 7.317 | 263.333 | 7.196 | 257.733 | 22.364 | 889.483 | 25.307 | 30.9381
2020-07-15 09:00:00 | 5.7 | 255.98 | 6.012 | 250.156 | 6.19 | 254.45 | 6.544 | 252 | 23.702 | 889.833 | 23.872 | 28.2372
2020-07-15 09:15:00 | 7.482 | 285.72 | 8.342 | 281.673 | 8.472 | 285.633 | 8.615 | 282.7 | 23.281 | 889.817 | 24.133 | 44.4957
2020-07-15 09:30:00 | 9.838 | 296.187 | 10.526 | 293.969 | 10.675 | 298.833 | 10.964 | 297.467 | 23.627 | 889.283 | 24.384 | 56.1802
2020-07-15 09:45:00 | 10.025 | 299.133 | 10.6 | 294.368 | 10.957 | 297.533 | 11.607 | 295.633 | 23.118 | 889.483 | 25.088 | 63.4948
2020-07-15 10:00:00 | 10.13 | 296.733 | 10.443 | 290.858 | 10.588 | 294.533 | 10.952 | 291.7 | 24.073 | 889.65 | 25.224 | 62.2058
2020-07-15 10:15:00 | 10.06 | 299.067 | 10.4 | 293.531 | 10.776 | 298.667 | 11.327 | 295.067 | 24.039 | 889.883 | 24.867 | 64.4676
2020-07-15 10:30:00 | 9.641 | 296.373 | 10.138 | 290.8 | 10.383 | 294.633 | 10.791 | 293.367 | 24.335 | 890.15 | 25.005 | 67.41
2020-07-15 10:45:00 | 10.743 | 297.293 | 11.213 | 293.481 | 11.486 | 294.933 | 11.793 | 292.967 | 23.989 | 889.517 | 25.085 | 67.3532
2020-07-15 11:00:00 | 10.539 | 287.773 | 11.538 | 281.188 | 11.63 | 286.433 | 12.221 | 282.267 | 24.21 | 890.05 | 24.859 | 65.8397
2020-07-15 11:15:00 | 9.942 | 297.52 | 10.463 | 292.212 | 10.623 | 297.1 | 11.311 | 296.833 | 24.448 | 889.7 | 24.88 | 68.8653
2020-07-15 11:30:00 | 8.678 | 301.787 | 9.218 | 292.424 | 9.501 | 296.933 | 9.932 | 294.133 | 24.314 | 890.067 | 25.291 | 62.7004
2020-07-15 11:45:00 | 9.651 | 278.2 | 10.549 | 275.018 | 10.492 | 279.433 | 10.882 | 278 | 24.444 | 889.617 | 25.488 | 62.6528
2020-07-15 12:00:00 | 9.753 | 305.76 | 10.204 | 293.545 | 10.549 | 298.4 | 11.026 | 297.7 | 24.794 | 889.717 | 25.336 | 68.4929
2020-07-15 12:15:00 | 11.58 | 301.96 | 12.343 | 293.944 | 12.696 | 296.533 | 13.325 | 294.667 | 24.998 | 889.933 | 24.995 | 74.6102
2020-07-15 12:30:00 | 9.704 | 300.467 | 10.313 | 293.446 | 10.615 | 295.967 | 11.123 | 295.1 | 24.973 | 889.467 | 24.811 | 76.7256
2020-07-15 12:45:00 | 11.665 | 300.64 | 12.71 | 294.092 | 13.061 | 298.267 | 13.415 | 297.833 | 25.368 | 889.45 | 24.019 | 71.7694
2020-07-15 13:00:00 | 9.153 | 297.413 | 9.84 | 293.865 | 10.022 | 298.1 | 10.446 | 295.8 | 25.16 | 890.1 | 23.877 | 64.2501
2020-07-15 13:15:00 | 9.89 | 285.52 | 10.138 | 281.31 | 10.528 | 285.633 | 10.616 | 285.033 | 25.802 | 889.317 | 23.237 | 56.932
2020-07-15 13:30:00 | 10.015 | 274.273 | 10.627 | 268.04 | 10.841 | 270.4 | 11.088 | 265.4 | 26.123 | 889.55 | 22.179 | 62.0872
2020-07-15 13:45:00 | 9.282 | 305.907 | 9.767 | 301.427 | 10.122 | 307.733 | 10.452 | 306.8 | 25.181 | 890.067 | 23.549 | 62.1895
2020-07-15 14:00:00 | 10.963 | 302.027 | 11.795 | 293.768 | 11.844 | 295.483 | 11.945 | 291.133 | 25.827 | 889.9 | 22.696 | 61.2331
2020-07-15 14:15:00 | 8.787 | 292.853 | 9.664 | 288.617 | 9.82 | 295.867 | 10.215 | 290.933 | 25.973 | 889.967 | 22.869 | 59.6215
2020-07-15 14:30:00 | 10.89 | 303.347 | 11.617 | 298.082 | 11.965 | 301.067 | 12.628 | 297.6 | 26.494 | 889.717 | 21.805 | 61.4811
2020-07-15 14:45:00 | 8.981 | 301.707 | 9.699 | 297.667 | 9.611 | 302.467 | 10.462 | 296.233 | 26.502 | 889.967 | 22.488 | 59.5171
2020-07-15 15:00:00 | 10.763 | 292.693 | 11.937 | 286.55 | 11.912 | 289.9 | 12.033 | 288.2 | 26.898 | 890.033 | 20.673 | 65.2414
2020-07-15 15:15:00 | 7.18 | 305.507 | 7.88 | 298.428 | 8.066 | 306.467 | 8.789 | 303.4 | 26.331 | 889.7 | 21.664 | 60.9083
2020-07-15 15:30:00 | 11.193 | 275.347 | 11.586 | 268.27 | 11.833 | 270.783 | 11.791 | 268.7 | 26.681 | 889.583 | 21.417 | 70.0825
2020-07-15 15:45:00 | 11.521 | 286.56 | 12.186 | 277.598 | 11.881 | 282.233 | 12.267 | 277 | 27.306 | 889.45 | 20.545 | 76.3284
2020-07-15 16:00:00 | 10.305 | 292.387 | 10.958 | 286.018 | 11.079 | 292 | 11.559 | 288 | 26.452 | 889.85 | 21.595 | 73.0846
2020-07-15 16:15:00 | 10.488 | 265.74 | 11.333 | 263.673 | 10.993 | 270.833 | 10.988 | 268.267 | 27.023 | 889.533 | 22.077 | 70.1486
2020-07-15 16:30:00 | 11.048 | 305.28 | 11.572 | 297.974 | 11.847 | 302.033 | 12.412 | 299.9 | 27.26 | 890.1 | 20.631 | 77.2613
2020-07-15 16:45:00 | 10.593 | 282.133 | 11.438 | 273.767 | 11.495 | 278.8 | 11.362 | 274.8 | 27.235 | 889.667 | 19.968 | 78.5233
2020-07-15 17:00:00 | 11.352 | 290.867 | 11.933 | 284.44 | 12.655 | 289.667 | 12.792 | 285.533 | 27.948 | 889.267 | 19.779 | 65.6322
2020-07-15 17:15:00 | 9.146 | 290.507 | 9.479 | 287.765 | 9.768 | 292.967 | 10.055 | 291.4 | 27.577 | 889.367 | 20.32 | 71.0062
2020-07-15 17:30:00 | 8.45 | 300.427 | 8.711 | 297.127 | 8.869 | 300 | 9.09 | 295.267 | 27.173 | 889.167 | 18.467 | 72.1147
2020-07-15 17:45:00 | 10.27 | 312.093 | 10.96 | 305.138 | 11.088 | 310.033 | 11.38 | 306.433 | 27.173 | 889.733 | 19.904 | 69.4884
2020-07-15 18:00:00 | 10.574 | 306.013 | 11.028 | 300.45 | 11.198 | 306.767 | 11.736 | 305.367 | 27.26 | 889.267 | 19.356 | 71.3594
2020-07-15 18:15:00 | 10.546 | 301.907 | 11.141 | 300.514 | 11.255 | 304.9 | 12.053 | 303.133 | 26.694 | 889.7 | 20.517 | 74.245
2020-07-15 18:30:00 | 9.016 | 305.973 | 9.727 | 302.276 | 9.909 | 307.633 | 10.591 | 306.6 | 27.456 | 889.2 | 19.185 | 68.9193
2020-07-15 18:45:00 | 9.214 | 311.453 | 10.145 | 303.385 | 10.11 | 307.467 | 10.638 | 305.767 | 27.214 | 889.367 | 17.411 | 59.2819
2020-07-15 19:00:00 | 9.172 | 301.587 | 9.737 | 294.499 | 9.662 | 300.167 | 9.992 | 297.533 | 27.452 | 889.7 | 18.269 | 55.621
2020-07-15 19:15:00 | 7.587 | 313.293 | 7.884 | 306.028 | 8.096 | 309.933 | 8.384 | 306.3 | 27.085 | 889.267 | 19.199 | 44.6868
2020-07-15 19:30:00 | 7.701 | 307.667 | 8.211 | 300.12 | 8.618 | 305.4 | 8.629 | 302.767 | 27.398 | 889.6 | 19.345 | 36.7533
2020-07-15 19:45:00 | 6.432 | 276.68 | 6.909 | 272.046 | 7.185 | 278.933 | 7.356 | 275.433 | 26.956 | 889.767 | 19.667 | 46.7958
2020-07-15 20:00:00 | 7.744 | 320.427 | 8.119 | 313.946 | 8.387 | 317.333 | 8.566 | 315.967 | 27.068 | 889.167 | 20.081 | 38.8758
2020-07-15 20:15:00 | 7.831 | 298.933 | 8.539 | 294.173 | 8.918 | 299 | 9.287 | 296.7 | 27.281 | 889.833 | 20.055 | 39.1117
2020-07-15 20:30:00 | 6.842 | 295.08 | 7.346 | 289.989 | 7.364 | 294.6 | 8.01 | 289.767 | 26.648 | 889.55 | 20.72 | 39.5196
2020-07-15 20:45:00 | 6.596 | 296.467 | 7.221 | 289.54 | 7.608 | 291.7 | 7.999 | 289.2 | 26.773 | 890.15 | 21.112 | 37.0056
2020-07-15 21:00:00 | 5.776 | 302.653 | 6.479 | 295.641 | 7.122 | 301.833 | 7.583 | 297.533 | 26.398 | 889.783 | 21.832 | 27.4833
2020-07-15 21:15:00 | 7.094 | 289.893 | 7.903 | 284.794 | 8.199 | 289.3 | 8.699 | 287.567 | 25.894 | 889.783 | 23.165 | 30.742
2020-07-15 21:30:00 | 5.041 | 284.747 | 5.767 | 279.517 | 5.926 | 284.867 | 6.484 | 282.4 | 25.439 | 889.683 | 23.827 | 20.0714
2020-07-15 21:45:00 | 4.568 | 290.307 | 5.275 | 289.753 | 5.396 | 296.367 | 5.85 | 295.6 | 25.298 | 889.483 | 24.701 | 14.7883
2020-07-15 22:00:00 | 3.768 | 279.2 | 4.545 | 274.3 | 4.719 | 280.1 | 5.026 | 279.467 | 25.123 | 889.983 | 25.067 | 11.7535
2020-07-15 22:15:00 | 4.321 | 278.6 | 5.264 | 274.585 | 5.675 | 280.2 | 6.086 | 279.333 | 24.973 | 889.95 | 25.568 | 13.0744
2020-07-15 22:30:00 | 4.177 | 289 | 5.564 | 285.208 | 5.928 | 290.2 | 6.521 | 287.967 | 24.527 | 889.85 | 26.315 | 17.1893
2020-07-15 22:45:00 | 4.876 | 281.28 | 5.79 | 278.981 | 6.253 | 283.933 | 6.676 | 281.967 | 24.61 | 889.567 | 27.003 | 17.2014
2020-07-15 23:00:00 | 4.41 | 279.133 | 5.493 | 278.054 | 5.939 | 283.1 | 6.332 | 281.033 | 24.414 | 889.75 | 27.656 | 14.7023
2020-07-15 23:15:00 | 4.814 | 280.373 | 6.077 | 276.034 | 6.381 | 281.133 | 6.739 | 278 | 23.464 | 889.667 | 28.219 | 19.0162
2020-07-15 23:30:00 | 5.314 | 282.96 | 6.418 | 278.969 | 6.813 | 282.867 | 7.196 | 282.3 | 23.514 | 889.867 | 28.597 | 23.4572
2020-07-15 23:45:00 | 5.379 | 282.627 | 6.596 | 277.778 | 7.002 | 281.5 | 7.428 | 279 | 23.414 | 889.933 | 29.152 | 24.3653