## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-16 00:00:00 | 4.59 | 270.307 | 5.935 | 272.354 | 6.308 | 277.7 | 6.669 | 275.033 | 23.048 | 889.733 | 29.688 | 20.6263
2020-07-16 00:15:00 | 4.958 | 268.067 | 6.107 | 268.528 | 6.362 | 275.233 | 6.605 | 271.667 | 22.531 | 889.917 | 30.704 | 20.6
2020-07-16 00:30:00 | 4.895 | 260.86 | 6.223 | 265.217 | 6.655 | 272.033 | 7.006 | 271.1 | 22.456 | 890.233 | 31.595 | 21.3042
2020-07-16 00:45:00 | 4.45 | 250.293 | 5.796 | 259.405 | 6.156 | 269.7 | 6.412 | 268.4 | 21.96 | 889.583 | 32.616 | 19.9634
2020-07-16 01:00:00 | 4.728 | 246.1 | 5.269 | 252.149 | 5.881 | 267.467 | 6.145 | 267.833 | 20.814 | 889.583 | 34.029 | 18.2907
2020-07-16 01:15:00 | 4.46 | 261.36 | 5.604 | 265.54 | 5.82 | 274.433 | 6.089 | 272.633 | 20.702 | 889.533 | 34.715 | 16.294
2020-07-16 01:30:00 | 4.222 | 267.48 | 5.715 | 272.293 | 6.027 | 279.467 | 6.536 | 278.033 | 20.86 | 889.617 | 34.851 | 14.1865
2020-07-16 01:45:00 | 4.01 | 280.307 | 5.26 | 285.039 | 5.652 | 292 | 6.382 | 291.8 | 21.523 | 889.367 | 34.653 | 14.1218
2020-07-16 02:00:00 | 3.736 | 278.04 | 5.074 | 286.022 | 5.647 | 294.333 | 6.414 | 293.2 | 20.956 | 889.817 | 34.605 | 14.9397
2020-07-16 02:15:00 | 4.17 | 275.747 | 5.657 | 283.68 | 5.951 | 291.067 | 6.512 | 292.133 | 20.914 | 889.6 | 34.755 | 16.2237
2020-07-16 02:30:00 | 4.831 | 240.247 | 5.601 | 255.682 | 5.881 | 272.333 | 6.225 | 275.4 | 20.623 | 889.6 | 35.709 | 14.573
2020-07-16 02:45:00 | 5.149 | 249.327 | 6.085 | 257.845 | 6.142 | 266.467 | 6.278 | 267.167 | 20.256 | 889.8 | 36.84 | 15.6346
2020-07-16 03:00:00 | 4.596 | 248.52 | 5.749 | 258.688 | 5.798 | 268.333 | 6.176 | 268.3 | 19.902 | 889.667 | 37.955 | 15.0676
2020-07-16 03:15:00 | 3.558 | 251.513 | 4.721 | 261.828 | 4.879 | 273.267 | 5.252 | 277.467 | 19.731 | 890.1 | 38.744 | 12.3532
2020-07-16 03:30:00 | 3.628 | 244.767 | 4.553 | 257.921 | 4.723 | 271.333 | 5.111 | 272.733 | 19.806 | 889.8 | 39.765 | 9.8413
2020-07-16 03:45:00 | 2.17 | 275.587 | 2.844 | 272.578 | 3.167 | 285.367 | 3.711 | 291.667 | 19.014 | 889.758 | 41.216 | 5.4707
2020-07-16 04:00:00 | 3.138 | 255.66 | 3.525 | 274.482 | 4.084 | 286 | 4.456 | 289.667 | 19.018 | 889.55 | 41.893 | 2.6092
2020-07-16 04:15:00 | 3.438 | 238.927 | 3.361 | 263.49 | 3.379 | 281.333 | 3.626 | 288.733 | 19.252 | 889.492 | 41.888 | 2.2823
2020-07-16 04:30:00 | 4.21 | 237.287 | 3.546 | 249.047 | 3.196 | 271.333 | 3.422 | 278.7 | 19.323 | 889.842 | 41.781 | 2.4408
2020-07-16 04:45:00 | 4.143 | 239.167 | 3.79 | 247.043 | 3.391 | 257 | 3.563 | 268.8 | 19.131 | 889.55 | 41.941 | 3.0284
2020-07-16 05:00:00 | 5.05 | 229.533 | 4.438 | 237.585 | 3.995 | 249.3 | 3.988 | 255.267 | 19.248 | 890.108 | 42.709 | 4.2989
2020-07-16 05:15:00 | 4.964 | 235.813 | 4.284 | 240.195 | 3.936 | 251.4 | 3.904 | 256.833 | 19.156 | 889.967 | 42.912 | 4.9235
2020-07-16 05:30:00 | 4.843 | 235.36 | 5.224 | 238.985 | 4.916 | 248.633 | 4.439 | 245.933 | 19.252 | 890.1 | 42.997 | 7.4702
2020-07-16 05:45:00 | 4.803 | 232.447 | 4.994 | 239.589 | 4.736 | 248.8 | 4.556 | 247.133 | 18.935 | 890.125 | 43.232 | 8.1168
2020-07-16 06:00:00 | 5.58 | 229.2 | 5.881 | 233.018 | 5.683 | 241.167 | 5.401 | 238.033 | 18.623 | 889.9 | 43.2 | 8.7393
2020-07-16 06:15:00 | 5.532 | 229.053 | 6.292 | 232.765 | 5.907 | 238.8 | 5.675 | 235.567 | 17.864 | 889.492 | 43.904 | 9.5671
2020-07-16 06:30:00 | 5.136 | 227.98 | 5.456 | 232.234 | 5.2 | 240.133 | 5.025 | 236.733 | 18.006 | 889.425 | 42.795 | 8.2745
2020-07-16 06:45:00 | 4.061 | 225.233 | 4.689 | 231.525 | 4.364 | 242.567 | 4.194 | 239.3 | 18.573 | 889.892 | 41.312 | 6.0704
2020-07-16 07:00:00 | 3.633 | 225.253 | 3.794 | 232.976 | 3.423 | 248.367 | 3.44 | 242.933 | 18.177 | 889.533 | 41.653 | 3.8022
2020-07-16 07:15:00 | 4.202 | 223.28 | 4.425 | 231.248 | 3.938 | 243.6 | 3.665 | 243 | 19.294 | 889.683 | 40.341 | 3.0746
2020-07-16 07:30:00 | 4.004 | 220.547 | 4.384 | 224.363 | 3.86 | 235.5 | 3.65 | 235 | 19.477 | 890 | 38.512 | 2.3534
2020-07-16 07:45:00 | 3.378 | 231.027 | 4.033 | 233.78 | 3.854 | 245.467 | 3.834 | 243.2 | 20.173 | 889.817 | 37.664 | 2.0031
2020-07-16 08:00:00 | 2.775 | 258.32 | 3.263 | 251.754 | 3.548 | 258.8 | 3.725 | 262.467 | 21.206 | 890.05 | 35.509 | 2.3761
2020-07-16 08:15:00 | 3.653 | 300.667 | 3.539 | 296.761 | 3.485 | 300.6 | 3.834 | 297.167 | 21.585 | 890.033 | 34.651 | 1.9533
2020-07-16 08:30:00 | 3.206 | 279.307 | 3.219 | 279.606 | 3.207 | 281.6 | 3.443 | 283.633 | 22.048 | 889.65 | 34.267 | 1.8212
2020-07-16 08:45:00 | 3.465 | 302.533 | 3.582 | 293.979 | 3.576 | 297.633 | 3.806 | 300.267 | 22.414 | 889.85 | 33.501 | 2.3349
2020-07-16 09:00:00 | 4.276 | 301.573 | 4.249 | 303.288 | 4.249 | 311.467 | 4.643 | 312.9 | 22.198 | 890.1 | 35.384 | 4.6251
2020-07-16 09:15:00 | 4.078 | 311.267 | 4.107 | 310.607 | 4.111 | 317.4 | 4.426 | 314.667 | 22.381 | 889.567 | 34.643 | 4.8148
2020-07-16 09:30:00 | 3.437 | 299.32 | 3.556 | 293.336 | 3.554 | 298.5 | 3.856 | 296.833 | 22.848 | 889.6 | 32.893 | 2.9524
2020-07-16 09:45:00 | 2.12 | 287.28 | 2.37 | 315.236 | 2.347 | 316.767 | 2.848 | 321.967 | 23.314 | 889.783 | 32.309 | 1.0431
2020-07-16 10:00:00 | 2.371 | 253.619 | 2.147 | 250.452 | 2.222 | 208.4 | 2.778 | 220.567 | 23.91 | 889.867 | 31.261 | 0.14851
2020-07-16 10:15:00 | 2.316 | 137.768 | 1.7 | 38.995 | 1.954 | 66.776 | 2.825 | 76.234 | 24.114 | 889.883 | 29.92 | 0.20606
2020-07-16 10:30:00 | 0.962 | 246.428 | 0.754 | 326.554 | 1.01 | 232.4 | 1.848 | 337.9 | 24.86 | 889.517 | 28.464 | 0.12577
2020-07-16 10:45:00 | 1.751 | 236.8 | 1.247 | 330.221 | 1.158 | 302.567 | 1.703 | 308.033 | 24.41 | 890.117 | 29.243 | 0.1478
2020-07-16 11:00:00 | 1.666 | 272.691 | 1.66 | 274.749 | 1.413 | 180.701 | 2.007 | 181.567 | 24.918 | 889.717 | 28.245 | 0.091663
2020-07-16 11:15:00 | 2.855 | 301.12 | 2.551 | 294.372 | 2.399 | 296.1 | 2.993 | 287.85 | 24.21 | 889.8 | 29.899 | 0.21317
2020-07-16 11:30:00 | 3.485 | 322.867 | 3.698 | 323.399 | 3.978 | 327.067 | 4.179 | 325.6 | 25.156 | 889.583 | 28.827 | 0.86121
2020-07-16 11:45:00 | 3.93 | 302.827 | 3.918 | 299.298 | 3.818 | 300.333 | 3.88 | 296 | 24.86 | 889.833 | 29.048 | 1.947
2020-07-16 12:00:00 | 3.462 | 323.04 | 3.584 | 318.534 | 3.974 | 322.633 | 4.354 | 316.167 | 24.823 | 889.75 | 28.843 | 2.585
2020-07-16 12:15:00 | 4.203 | 263.456 | 4.623 | 280.745 | 4.576 | 291.033 | 4.662 | 278.3 | 25.152 | 889.65 | 28.347 | 3.086
2020-07-16 12:30:00 | 2.138 | 287.389 | 1.789 | 295.087 | 1.573 | 253.233 | 2.058 | 293.15 | 26.127 | 889.6 | 26.813 | 0.87258
2020-07-16 12:45:00 | 3.588 | 255.927 | 3.8 | 300.57 | 3.908 | 283.234 | 4.241 | 292.5 | 25.652 | 890.017 | 27.392 | 0.847
2020-07-16 13:00:00 | 1.862 | 137.893 | 1.778 | 245.142 | 1.721 | 230.483 | 2.438 | 234.533 | 26.839 | 889.467 | 25.971 | 1.0701
2020-07-16 13:15:00 | 5.03 | 210.729 | 5.538 | 285.848 | 5.293 | 270.333 | 5.361 | 297.933 | 27.256 | 889.2 | 25.163 | 1.1028
2020-07-16 13:30:00 | 1.964 | 251.58 | 2.004 | 258.773 | 1.994 | 307.867 | 2.667 | 283.5 | 26.41 | 889.867 | 26.968 | 1.1014
2020-07-16 13:45:00 | 2.152 | 173.166 | 2.139 | 190.966 | 2.433 | 205.3 | 2.482 | 233.15 | 27.806 | 889.9 | 24.485 | 0.91734
2020-07-16 14:00:00 | 2.34 | 275.901 | 2.436 | 314.918 | 2.699 | 307.133 | 3.335 | 310.167 | 27.394 | 889.85 | 23.523 | 2.2859
2020-07-16 14:15:00 | 4.504 | 155.043 | 4.306 | 164.094 | 4.224 | 197.133 | 4.137 | 164.433 | 27.589 | 889.867 | 23.323 | 1.4012
2020-07-16 14:30:00 | 4.835 | 304.827 | 4.803 | 333.824 | 4.708 | 324.133 | 4.805 | 331.633 | 27.652 | 889.883 | 22.797 | 0.97348
2020-07-16 14:45:00 | 4.467 | 291.12 | 4.749 | 294.935 | 4.831 | 295.133 | 5.163 | 296.2 | 28.681 | 889.25 | 22.085 | 2.7733
2020-07-16 15:00:00 | 4.587 | 269.387 | 4.52 | 270.187 | 4.981 | 277.033 | 5.452 | 273.7 | 28.073 | 889.733 | 23.459 | 2.7847
2020-07-16 15:15:00 | 5.637 | 211.842 | 5.695 | 224.975 | 5.601 | 240.433 | 5.826 | 271.567 | 27.589 | 889.883 | 23.557 | 7.5981
2020-07-16 15:30:00 | 2.535 | 205.888 | 2.847 | 232.181 | 3.362 | 234.467 | 3.817 | 242.733 | 28.018 | 889.583 | 22.283 | 8.9212
2020-07-16 15:45:00 | 5.836 | 275.473 | 5.814 | 273.57 | 5.73 | 275.833 | 5.996 | 270.283 | 28.298 | 889.9 | 21.981 | 10.2073
2020-07-16 16:00:00 | 4.567 | 187.363 | 4.515 | 240.805 | 4.711 | 250.8 | 4.659 | 315.667 | 28.394 | 890.15 | 21.096 | 9.317
2020-07-16 16:15:00 | 6.673 | 295.8 | 6.77 | 311.067 | 7.178 | 324.533 | 7.556 | 323.967 | 27.889 | 889.8 | 22.72 | 19.7204
2020-07-16 16:30:00 | 5.991 | 304.76 | 6.095 | 308.821 | 6.584 | 313.3 | 7.042 | 324.767 | 28.61 | 889.633 | 21.619 | 13.7026
2020-07-16 16:45:00 | 7.297 | 316.2 | 7.737 | 313.754 | 7.691 | 318.7 | 7.627 | 314.733 | 28.556 | 889.317 | 22.184 | 15.3866
2020-07-16 17:00:00 | 6.354 | 310.04 | 6.502 | 304.304 | 6.372 | 308.033 | 6.68 | 305.533 | 27.785 | 889.65 | 22.037 | 14.1055
2020-07-16 17:15:00 | 4.287 | 300.253 | 4.217 | 303.876 | 4.391 | 313.9 | 4.767 | 318.5 | 28.444 | 889.967 | 22.349 | 16.3459
2020-07-16 17:30:00 | 5.406 | 313.307 | 5.702 | 305.783 | 5.984 | 309.8 | 6.083 | 312.2 | 28.36 | 889.65 | 22.459 | 13.4084
2020-07-16 17:45:00 | 4.997 | 320.493 | 5.098 | 318.953 | 5.323 | 322.767 | 5.49 | 323.7 | 28.652 | 889.8 | 21.469 | 10.527
2020-07-16 18:00:00 | 6.381 | 317.307 | 6.645 | 335.947 | 6.841 | 340.167 | 7.247 | 338.167 | 28.752 | 889.967 | 21.259 | 12.5941
2020-07-16 18:15:00 | 4.108 | 320.373 | 4.396 | 317.327 | 4.847 | 320.2 | 5.256 | 319.467 | 28.073 | 889.7 | 22.923 | 19.7289
2020-07-16 18:30:00 | 6.124 | 330.293 | 6.21 | 337.507 | 6.619 | 340.233 | 6.991 | 341.433 | 28.281 | 889.667 | 22.845 | 22.9648
2020-07-16 18:45:00 | 7.078 | 331 | 7.328 | 324.388 | 7.161 | 329.433 | 7.369 | 329.767 | 27.744 | 889.783 | 22.939 | 22.2954
2020-07-16 19:00:00 | 5.782 | 324.8 | 6.061 | 318.288 | 5.968 | 324.067 | 6.154 | 320.567 | 28.064 | 889.833 | 22.251 | 18.9259
2020-07-16 19:15:00 | 6.214 | 329.16 | 6.848 | 320.245 | 7.175 | 323.567 | 7.529 | 325.133 | 27.923 | 889.567 | 22.787 | 21.5955
2020-07-16 19:30:00 | 4.743 | 194.647 | 5.427 | 263.859 | 5.76 | 240.804 | 5.907 | 220 | 28.089 | 889.95 | 22.872 | 19.0091
2020-07-16 19:45:00 | 5.764 | 316.84 | 5.856 | 325.894 | 6.041 | 331.033 | 6.322 | 330.267 | 28.023 | 889.267 | 23.109 | 16.6933
2020-07-16 20:00:00 | 4.91 | 330.533 | 5.377 | 326.317 | 5.664 | 329.6 | 5.912 | 326.133 | 27.573 | 889.45 | 23.339 | 18.1614
2020-07-16 20:15:00 | 5.63 | 320.827 | 5.988 | 315.061 | 6.295 | 319.7 | 6.512 | 318.933 | 27.735 | 889.75 | 24.216 | 14.1872
2020-07-16 20:30:00 | 4.592 | 326.253 | 4.808 | 321.708 | 5.129 | 325.967 | 5.537 | 322.433 | 27.814 | 890.133 | 23.955 | 12.4299
2020-07-16 20:45:00 | 4.232 | 345.173 | 4.169 | 337.566 | 4.297 | 341.6 | 4.518 | 340.1 | 27.114 | 890.133 | 24.101 | 7.5519
2020-07-16 21:00:00 | 3.856 | 338.2 | 4.005 | 325.146 | 3.985 | 304.533 | 4.397 | 304.367 | 27.052 | 889.55 | 24.632 | 4.8247
2020-07-16 21:15:00 | 3.628 | 244.68 | 3.875 | 335.076 | 4.045 | 304.333 | 4.577 | 290.6 | 27.514 | 889.267 | 24.939 | 5.0052
2020-07-16 21:30:00 | 4.26 | 70.533 | 4.929 | 295.558 | 5.078 | 106.9 | 5.594 | 154.433 | 26.798 | 890.05 | 24.997 | 7.3409
2020-07-16 21:45:00 | 3.562 | 82.947 | 4.107 | 139.772 | 4.296 | 23.533 | 4.687 | 11.667 | 27.16 | 889.717 | 25.336 | 3.9387
2020-07-16 22:00:00 | 2.854 | 0.134 | 3.508 | 23.555 | 3.339 | 0.133 | 3.979 | 0.667 | 26.948 | 889.683 | 25.755 | 1.5242
2020-07-16 22:15:00 | 2.416 | 260.267 | 2.83 | 344.449 | 3.033 | 0 | 3.549 | 11.867 | 27.002 | 889.467 | 25.965 | 0.59616
2020-07-16 22:30:00 | 3.739 | 294.933 | 4.497 | 293.468 | 4.465 | 295.433 | 4.887 | 297.333 | 26.377 | 889.6 | 26.328 | 2.4024
2020-07-16 22:45:00 | 5.92 | 301.547 | 6.571 | 298.415 | 6.97 | 302.8 | 7.532 | 300 | 26.785 | 889.967 | 26.912 | 13.6827
2020-07-16 23:00:00 | 11.154 | 257.02 | 13.053 | 252.121 | 13.51 | 256.617 | 13.652 | 252.15 | 23.981 | 890.217 | 41.341 | 57.2312
2020-07-16 23:15:00 | 9.149 | 280.307 | 10.639 | 274.728 | 11.256 | 279.333 | 11.603 | 277.2 | 22.202 | 890.317 | 51.163 | 84.4686
2020-07-16 23:30:00 | 5.402 | 267.867 | 6.575 | 265.574 | 6.904 | 269.567 | 7.134 | 266 | 21.785 | 889.833 | 48.043 | 36.143
2020-07-16 23:45:00 | 4.274 | 241.033 | 4.673 | 242.412 | 4.945 | 248.283 | 5.063 | 245.033 | 22.498 | 889.7 | 49.189 | 17.0756