## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-17 00:00:00 | 2.324 | 238.053 | 2.359 | 249.633 | 2.264 | 255.2 | 2.456 | 250.967 | 22.218 | 890.192 | 52.213 | 1.5256
2020-07-17 00:15:00 | 2.466 | 44.822 | 2.282 | 31.749 | 2.221 | 36.167 | 2.584 | 31.133 | 21.91 | 890.058 | 47.573 | 0.85979
2020-07-17 00:30:00 | 1.604 | 45.168 | 2.147 | 41.18 | 2.671 | 42.467 | 3.52 | 32.533 | 22.36 | 889.908 | 45.984 | 4.6976
2020-07-17 00:45:00 | 2.286 | 96.16 | 2.187 | 91.353 | 2.631 | 87.467 | 3.273 | 74.067 | 21.739 | 889.883 | 45.195 | 3.8463
2020-07-17 01:00:00 | 2.776 | 121.267 | 2.94 | 117.903 | 3.206 | 119.8 | 3.793 | 110.1 | 21.289 | 889.775 | 48.715 | 4.5213
2020-07-17 01:15:00 | 3.726 | 115.19 | 3.889 | 106.12 | 3.713 | 107.833 | 3.847 | 102.967 | 21.302 | 889.367 | 48.8 | 18.0825
2020-07-17 01:30:00 | 3.85 | 137.113 | 3.942 | 135.79 | 3.768 | 140.833 | 4.03 | 135.467 | 19.706 | 890.008 | 54.805 | 15.5408
2020-07-17 01:45:00 | 3.484 | 126.68 | 4.2 | 116.755 | 4.466 | 119.633 | 4.996 | 115.867 | 19.494 | 890.042 | 54.08 | 8.3264
2020-07-17 02:00:00 | 3.376 | 140.663 | 3.756 | 138.244 | 3.798 | 143.633 | 3.841 | 138.067 | 19.718 | 890.042 | 57.131 | 5.6064
2020-07-17 02:15:00 | 2.822 | 121.86 | 2.54 | 124.588 | 2.189 | 132.867 | 2.56 | 131.933 | 19.118 | 889.55 | 61.184 | 1.7295
2020-07-17 02:30:00 | 1.983 | 101.313 | 1.64 | 103.545 | 1.29 | 111.467 | 1.904 | 106.533 | 18.964 | 890 | 62.571 | 0.31336
2020-07-17 02:45:00 | 1.934 | 127.187 | 1.804 | 123.515 | 1.92 | 122.367 | 2.488 | 118.167 | 18.935 | 890.058 | 63.136 | 0.48887
2020-07-17 03:00:00 | 2.574 | 170.133 | 3.014 | 156.97 | 3.048 | 159.733 | 3.235 | 154.6 | 18.856 | 890.033 | 65.685 | 3.4079
2020-07-17 03:15:00 | 3.042 | 213.293 | 3.218 | 202.086 | 3.585 | 192.9 | 4.195 | 179.233 | 18.152 | 889.992 | 66.315 | 1.9711
2020-07-17 03:30:00 | 3.958 | 218.3 | 4.712 | 206.134 | 4.806 | 202.433 | 5.07 | 189.933 | 18.623 | 890 | 62.496 | 2.8686
2020-07-17 03:45:00 | 5.215 | 244.8 | 6.006 | 239.944 | 6.214 | 241.4 | 6.09 | 228.133 | 18.689 | 889.733 | 65.397 | 9.5628
2020-07-17 04:00:00 | 5.387 | 228.727 | 6.135 | 227.756 | 6.483 | 232.433 | 6.332 | 223.133 | 18.694 | 889.792 | 61.824 | 25.8767
2020-07-17 04:15:00 | 7.155 | 233.467 | 8.349 | 230.24 | 8.959 | 234.6 | 9.111 | 228.467 | 18.977 | 889.65 | 58.165 | 38.6747
2020-07-17 04:30:00 | 7.461 | 225.067 | 8.416 | 220.926 | 9.125 | 223 | 9.435 | 218.8 | 19.081 | 890.008 | 55.968 | 55.6537
2020-07-17 04:45:00 | 6.222 | 212.8 | 7.749 | 208.318 | 8.88 | 210.8 | 9.677 | 208 | 18.539 | 889.775 | 54.816 | 70.1251
2020-07-17 05:00:00 | 6.631 | 198.633 | 7.932 | 197.772 | 8.823 | 201.633 | 9.464 | 198.833 | 18.556 | 890.225 | 52.555 | 61.5102
2020-07-17 05:15:00 | 5.328 | 208.913 | 6.693 | 208.686 | 7.555 | 212.567 | 8.038 | 209.133 | 18.885 | 890.133 | 52.213 | 47.5312
2020-07-17 05:30:00 | 6.112 | 250.987 | 6.58 | 246.66 | 6.608 | 249.117 | 6.498 | 240.833 | 18.798 | 890.158 | 53.872 | 23.4181
2020-07-17 05:45:00 | 2.716 | 239.167 | 3.352 | 234.234 | 4.422 | 237.267 | 5.378 | 228.033 | 18.268 | 889.717 | 56.299 | 15.5323
2020-07-17 06:00:00 | 4.953 | 227.927 | 6.234 | 224.74 | 6.34 | 231.067 | 5.892 | 231.133 | 17.56 | 890.225 | 57.888 | 12.1308
2020-07-17 06:15:00 | 4.878 | 229.147 | 6.622 | 222.762 | 5.899 | 230.967 | 4.958 | 233.167 | 17.248 | 889.725 | 58.08 | 5.8124
2020-07-17 06:30:00 | 5.343 | 220.153 | 6.202 | 216.597 | 5.295 | 228.233 | 4.128 | 234 | 17.477 | 889.642 | 57.12 | 4.2101
2020-07-17 06:45:00 | 5.586 | 225.06 | 5.319 | 221.23 | 4.229 | 230.133 | 3.281 | 232.033 | 17.627 | 889.783 | 57.536 | 1.8098
2020-07-17 07:00:00 | 4.787 | 219.553 | 4.078 | 221.978 | 3.043 | 231.733 | 2.374 | 233.767 | 18.156 | 890.108 | 55.04 | 0.12009
2020-07-17 07:15:00 | 4.661 | 218.98 | 3.548 | 221.528 | 2.493 | 229.6 | 1.617 | 231 | 18.448 | 889.85 | 54.325 | 0
2020-07-17 07:30:00 | 3.896 | 221.327 | 2.997 | 222.634 | 2.11 | 232.267 | 2.006 | 243.7 | 19.573 | 889.858 | 48.661 | 0
2020-07-17 07:45:00 | 3.988 | 229.467 | 3.442 | 227.436 | 2.981 | 232.933 | 2.468 | 230.8 | 21.239 | 889.775 | 43.872 | 0
2020-07-17 08:00:00 | 4.908 | 285.713 | 5.06 | 281.652 | 4.955 | 284.383 | 5.07 | 279.1 | 20.931 | 889.5 | 44.203 | 0
2020-07-17 08:15:00 | 4.782 | 286.387 | 4.542 | 279.103 | 4.466 | 279.8 | 4.714 | 272.833 | 20.306 | 890.025 | 46.101 | 0
2020-07-17 08:30:00 | 4.65 | 288.013 | 4.703 | 282.108 | 4.779 | 285.267 | 4.976 | 282.8 | 21.223 | 889.983 | 43.307 | 0
2020-07-17 08:45:00 | 5.682 | 261.267 | 6.115 | 256.144 | 6.12 | 259.883 | 6.109 | 253.783 | 22.448 | 890.083 | 41.877 | 0
2020-07-17 09:00:00 | 4.901 | 247.987 | 5.363 | 245.188 | 5.426 | 245.917 | 5.349 | 238.3 | 23.248 | 889.683 | 37.285 | 0
2020-07-17 09:15:00 | 4.848 | 253.36 | 5.013 | 247.307 | 4.978 | 250.95 | 5.025 | 245.35 | 23.86 | 889.267 | 36.2 | 0
2020-07-17 09:30:00 | 3.601 | 272.173 | 3.605 | 261.894 | 3.605 | 260.15 | 3.862 | 253.783 | 23.718 | 889.917 | 35.699 | 0
2020-07-17 09:45:00 | 3.505 | 261.227 | 3.631 | 254.889 | 3.882 | 260.5 | 4.213 | 255.383 | 24.168 | 890.067 | 33.8 | 0
2020-07-17 10:00:00 | 2.631 | 307.493 | 2.717 | 299.056 | 2.864 | 302.3 | 3.232 | 296.167 | 23.548 | 889.417 | 34.944 | 0
2020-07-17 10:15:00 | 0.759 | 188.284 | 0.773 | 297.294 | 1.436 | 273.7 | 2.126 | 261.009 | 23.994 | 889.7 | 31.741 | 0
2020-07-17 10:30:00 | 1.344 | 176.815 | 0.963 | 290.51 | 0.836 | 276.367 | 1.742 | 237.767 | 24.477 | 889.683 | 29.573 | 0
2020-07-17 10:45:00 | 3.736 | 45.788 | 3.655 | 33.252 | 3.699 | 32.133 | 3.831 | 26.967 | 24.489 | 889.4 | 26.661 | 0
2020-07-17 11:00:00 | 2.857 | 99.304 | 2.86 | 142.178 | 2.672 | 46.833 | 3.051 | 44.233 | 25.239 | 889.633 | 26.125 | 0
2020-07-17 11:15:00 | 1.92 | 96.881 | 1.284 | 137.249 | 1.654 | 189.867 | 2.617 | 201 | 24.923 | 889.517 | 25.517 | 0
2020-07-17 11:30:00 | 2.735 | 70.95 | 2.771 | 44.273 | 3.466 | 69.2 | 3.444 | 35.867 | 25.214 | 889.933 | 25.435 | 0
2020-07-17 11:45:00 | 3.337 | 57.953 | 2.689 | 45.863 | 2.466 | 44.3 | 2.752 | 39.5 | 25.36 | 889.867 | 27.125 | 0
2020-07-17 12:00:00 | 2.276 | 284.025 | 1.81 | 257.072 | 1.873 | 221.129 | 2.262 | 198.567 | 25.889 | 889.667 | 25.083 | 0
2020-07-17 12:15:00 | 3.297 | 188.083 | 3.109 | 178.052 | 3.583 | 149.734 | 3.889 | 166.668 | 25.631 | 889.683 | 26.141 | 0
2020-07-17 12:30:00 | 3.363 | 64.459 | 3.06 | 46.204 | 3.165 | 42.302 | 3.565 | 52.7 | 26.423 | 889.667 | 25.12 | 0
2020-07-17 12:45:00 | 3.962 | 281.693 | 4.135 | 330.176 | 4.5 | 314.2 | 4.448 | 333.233 | 26.031 | 889.617 | 25.648 | 0
2020-07-17 13:00:00 | 3.539 | 292.783 | 3.978 | 291.936 | 3.942 | 267.45 | 4.229 | 291.467 | 27.227 | 889.733 | 24.448 | 0
2020-07-17 13:15:00 | 3.982 | 282.84 | 4.204 | 281.612 | 3.584 | 277.767 | 3.134 | 274.735 | 27.231 | 889.45 | 23.235 | 0
2020-07-17 13:30:00 | 3.916 | 205.017 | 3.747 | 276.071 | 3.446 | 197.4 | 3.623 | 210.567 | 26.764 | 889.817 | 21.971 | 0
2020-07-17 13:45:00 | 2.438 | 169.949 | 2.095 | 219.736 | 2.134 | 186.233 | 2.697 | 215.1 | 28.023 | 889.717 | 20.473 | 0
2020-07-17 14:00:00 | 3.17 | 69.686 | 2.971 | 60.59 | 2.886 | 54.233 | 3.5 | 46.567 | 27.831 | 889.7 | 20.515 | 0
2020-07-17 14:15:00 | 2.44 | 88.357 | 2.264 | 100.525 | 2.221 | 93.078 | 2.506 | 61.167 | 28.302 | 889.5 | 19.307 | 0
2020-07-17 14:30:00 | 2.839 | 249.093 | 2.734 | 247.315 | 2.751 | 256.6 | 2.718 | 255.917 | 29.231 | 889.7 | 17.459 | 0
2020-07-17 14:45:00 | 3.248 | 231.813 | 3.528 | 271.136 | 3.674 | 302.983 | 4.455 | 326.267 | 29.431 | 889.867 | 16.495 | 0
2020-07-17 15:00:00 | 4.249 | 294.467 | 3.966 | 294.53 | 3.666 | 310.333 | 3.922 | 298.3 | 27.852 | 889.2 | 18.779 | 0
2020-07-17 15:15:00 | 4.662 | 283.027 | 4.579 | 274.677 | 4.848 | 268.133 | 5.027 | 280.7 | 28.873 | 889.433 | 17.309 | 0
2020-07-17 15:30:00 | 2.654 | 212.893 | 2.118 | 213.04 | 2.211 | 224.767 | 2.27 | 226.067 | 28.798 | 889.3 | 17.136 | 0
2020-07-17 15:45:00 | 4.287 | 297.92 | 4.217 | 292.798 | 4.023 | 296.933 | 4.326 | 293.833 | 29.348 | 889.733 | 15.963 | 0
2020-07-17 16:00:00 | 4.362 | 219.027 | 4.057 | 253.924 | 4.26 | 208.867 | 4.802 | 221 | 29.081 | 889.633 | 15.728 | 0
2020-07-17 16:15:00 | 4.198 | 262.008 | 4.594 | 228.389 | 4.682 | 255.667 | 5.139 | 302.633 | 29.231 | 889.233 | 15.508 | 0
2020-07-17 16:30:00 | 2.469 | 53.1 | 2.006 | 73.329 | 2.307 | 77.375 | 2.745 | 63.934 | 29.964 | 889.233 | 14.28 | 0
2020-07-17 16:45:00 | 3.309 | 280.131 | 3.362 | 313.806 | 3.668 | 293.5 | 4.224 | 329.2 | 29.548 | 889.833 | 14.179 | 0
2020-07-17 17:00:00 | 1.921 | 164.647 | 0.763 | 135.792 | 0.873 | 142.5 | 1.439 | 226.967 | 29.548 | 889.633 | 13.216 | 0
2020-07-17 17:15:00 | 2.348 | 160.918 | 2.034 | 177.646 | 2.222 | 36.238 | 2.822 | 23.733 | 30.231 | 889.6 | 13.151 | 0
2020-07-17 17:30:00 | 1.932 | 276.015 | 2.139 | 299.195 | 2.371 | 203.805 | 2.656 | 193.867 | 30.827 | 889.5 | 11.649 | 0
2020-07-17 17:45:00 | 2.968 | 332.347 | 3.197 | 327.373 | 3.212 | 329.367 | 3.533 | 305.1 | 29.431 | 889.4 | 12.163 | 0
2020-07-17 18:00:00 | 2.183 | 96.69 | 1.894 | 75.773 | 1.962 | 95.5 | 2.302 | 85.5 | 30.694 | 889.4 | 10.945 | 0
2020-07-17 18:15:00 | 1.963 | 233.932 | 1.92 | 255.529 | 2.167 | 283.467 | 2.603 | 261.667 | 30.452 | 889.067 | 10.863 | 0
2020-07-17 18:30:00 | 4.863 | 33.915 | 5.157 | 32.02 | 5.418 | 36.4 | 5.712 | 34.767 | 30.048 | 889.6 | 10.597 | 0
2020-07-17 18:45:00 | 4.564 | 187.328 | 4.777 | 233.839 | 4.64 | 170.667 | 4.35 | 155.202 | 30.173 | 889.433 | 10.483 | 0
2020-07-17 19:00:00 | 3.189 | 137.457 | 3.284 | 88.582 | 3.537 | 66.505 | 3.663 | 66.633 | 30.502 | 889.567 | 10.544 | 0
2020-07-17 19:15:00 | 2.354 | 210.401 | 2.247 | 235.094 | 2.216 | 143.468 | 2.624 | 151.667 | 29.731 | 889.3 | 11.371 | 0
2020-07-17 19:30:00 | 5.257 | 311.68 | 5.566 | 342.411 | 5.368 | 321.9 | 5.592 | 335.033 | 29.998 | 889.367 | 11.457 | 0
2020-07-17 19:45:00 | 3.459 | 39.75 | 3.351 | 32.84 | 3.516 | 36.8 | 3.752 | 26.367 | 30.048 | 889.467 | 11.4 | 0
2020-07-17 20:00:00 | 4.752 | 242.96 | 4.871 | 241.233 | 4.905 | 185.401 | 4.973 | 151.333 | 29.881 | 889.6 | 11.761 | 0
2020-07-17 20:15:00 | 3.042 | 113.725 | 3.072 | 101.696 | 3.282 | 60.668 | 3.71 | 67.2 | 29.798 | 889.533 | 12.221 | 0
2020-07-17 20:30:00 | 2.441 | 110.966 | 2.24 | 156.674 | 2.344 | 136.333 | 2.9 | 145.8 | 29.731 | 889.3 | 12.46 | 0
2020-07-17 20:45:00 | 2.449 | 25.433 | 1.934 | 22.396 | 1.811 | 28 | 2.257 | 21.9 | 29.764 | 889.3 | 12.315 | 0
2020-07-17 21:00:00 | 0.922 | 78.685 | 0.8 | 96.094 | 0.95 | 101.4 | 1.795 | 124.567 | 29.614 | 889.467 | 12.52 | 0
2020-07-17 21:15:00 | 2.851 | 328.133 | 2.899 | 336.305 | 2.898 | 344.767 | 3.032 | 342.6 | 29.181 | 889.467 | 14.04 | 0
2020-07-17 21:30:00 | 2.059 | 322.04 | 1.783 | 321.348 | 1.806 | 323.733 | 2.353 | 243.633 | 28.394 | 889.333 | 14.936 | 0
2020-07-17 21:45:00 | 1.221 | 326.053 | 0.11 | 316.812 | 0.133 | 314 | 1.025 | 318.033 | 28.781 | 889.367 | 15.184 | 0
2020-07-17 22:00:00 | 1.194 | 320.187 | 0 | 317.046 | 0 | 314 | 1.266 | 318 | 28.139 | 889.733 | 15.739 | 0
2020-07-17 22:15:00 | 1.641 | 276.32 | 0 | 313.166 | 0 | 312.667 | 0.781 | 318.8 | 27.71 | 888.967 | 15.92 | 0
2020-07-17 22:30:00 | 1.635 | 264.853 | 0 | 312.946 | 0 | 312.3 | 0.121 | 319 | 26.414 | 889.5 | 16.424 | 0
2020-07-17 22:45:00 | 2.591 | 231.747 | 0 | 304.146 | 0 | 312 | 0 | 319 | 26.523 | 889.367 | 16.744 | 0
2020-07-17 23:00:00 | 2.931 | 221.4 | 1.5 | 250.698 | 0.64 | 283 | 1.304 | 317.267 | 26.581 | 889.6 | 16.624 | 0
2020-07-17 23:15:00 | 3.762 | 219.56 | 2.389 | 219.418 | 1.73 | 237.467 | 1.808 | 266.667 | 26.552 | 889.267 | 16.92 | 0
2020-07-17 23:30:00 | 5.209 | 216.92 | 3.418 | 217.523 | 3.013 | 226.667 | 2.968 | 224.533 | 25.873 | 889.6 | 17.093 | 0
2020-07-17 23:45:00 | 5.817 | 215.08 | 4.604 | 216.402 | 4.115 | 222.1 | 3.843 | 218.6 | 23.398 | 889.5 | 19.344 | 0