## Sheet1
Time(year-month-day h:m:s) | Wind speed at height of 10 meters (m/s) | Wind direction at height of 10 meters (˚) | Wind speed at height of 30 meters (m/s) | Wind direction at height of 30 meters (˚) | Wind speed at height of 50 meters (m/s) | Wind direction at height of 50 meters (˚) | Wind speed - at the height of wheel hub (m/s) | Wind speed - at the height of wheel hub (˚) | Air temperature (°C) | Atmosphere (hpa) | Relative humidity (%) | Power (MW)
2020-07-18 00:00:00 | 4.558 | 212.153 | 4.796 | 206.4 | 4.496 | 212 | 4.408 | 211.033 | 22.831 | 889.833 | 19.992 | 0
2020-07-18 00:15:00 | 5.681 | 218.827 | 4.669 | 208.935 | 4.188 | 210 | 4.239 | 209 | 22.231 | 889.9 | 20.768 | 0
2020-07-18 00:30:00 | 5.769 | 219 | 4.403 | 210.442 | 4.154 | 209.8 | 4.283 | 206.967 | 22.189 | 890.017 | 20.768 | 0
2020-07-18 00:45:00 | 6.133 | 220.9 | 5.025 | 213.762 | 4.474 | 216.467 | 4.405 | 211.533 | 22.398 | 889.55 | 20.667 | 0
2020-07-18 01:00:00 | 2.951 | 122.107 | 4.079 | 112.904 | 5.353 | 111.3 | 6.555 | 98.767 | 22.344 | 889.55 | 20.515 | 0
2020-07-18 01:15:00 | 4.857 | 122.347 | 6.804 | 115.549 | 7.81 | 119.5 | 8.936 | 114 | 23.948 | 889.4 | 17.637 | 0
2020-07-18 01:30:00 | 5.079 | 128.08 | 7.649 | 120.647 | 8.426 | 122.833 | 9.117 | 117.333 | 23.606 | 889.6 | 17.416 | 0
2020-07-18 01:45:00 | 4.507 | 144.333 | 6.495 | 129.716 | 7.705 | 126.6 | 8.496 | 121.533 | 23.031 | 889.267 | 17.349 | 0
2020-07-18 02:00:00 | 4.75 | 146.747 | 6.24 | 130.928 | 6.888 | 130 | 7.639 | 124 | 23.364 | 889.833 | 17.632 | 0
2020-07-18 02:15:00 | 4.205 | 151.147 | 6.584 | 134.633 | 6.837 | 135.233 | 7.453 | 128.967 | 23.114 | 889.5 | 17.885 | 0
2020-07-18 02:30:00 | 4.216 | 149.66 | 5.925 | 134.396 | 6.166 | 135.933 | 6.744 | 130.4 | 22.414 | 889.667 | 18.331 | 0
2020-07-18 02:45:00 | 4.219 | 144.933 | 5.874 | 131.882 | 5.939 | 134.5 | 6.604 | 132.167 | 22.681 | 890.067 | 18.021 | 0
2020-07-18 03:00:00 | 3.895 | 146.313 | 5.956 | 129.724 | 6.51 | 130.2 | 6.921 | 125.933 | 22.118 | 889.7 | 18.784 | 0
2020-07-18 03:15:00 | 4.122 | 135.9 | 6.434 | 119.899 | 6.995 | 122.6 | 7.846 | 118.5 | 22.177 | 889.733 | 18.896 | 0
2020-07-18 03:30:00 | 3.348 | 172.913 | 3.936 | 165.877 | 3.922 | 157.733 | 4.31 | 146.7 | 20.656 | 890.017 | 21.045 | 0
2020-07-18 03:45:00 | 4.05 | 203.42 | 4.258 | 174.663 | 4.091 | 177.4 | 4.144 | 165.833 | 18.527 | 889.483 | 24.24 | 0
2020-07-18 04:00:00 | 3.676 | 207.62 | 2.257 | 173.56 | 2.001 | 176 | 2.107 | 164.867 | 18.664 | 889.9 | 24.891 | 0
2020-07-18 04:15:00 | 4.154 | 214.08 | 2.508 | 187.862 | 1.817 | 180 | 1.946 | 164.833 | 18.481 | 889.317 | 26.224 | 0
2020-07-18 04:30:00 | 3.158 | 178.1 | 3.517 | 173.126 | 3.32 | 164.433 | 3.142 | 153.467 | 18.098 | 890.067 | 27.429 | 0
2020-07-18 04:45:00 | 4.163 | 183.1 | 3.824 | 185.405 | 2.946 | 177.233 | 2.848 | 165.1 | 17.556 | 889.567 | 29.403 | 0
2020-07-18 05:00:00 | 4.799 | 187.307 | 4.26 | 184.965 | 3.24 | 184.767 | 3.46 | 182.167 | 18.398 | 889.783 | 31.189 | 0
2020-07-18 05:15:00 | 5.03 | 172.567 | 4.694 | 181.147 | 3.354 | 171.733 | 3.599 | 161.233 | 18.523 | 889.817 | 31.237 | 0
2020-07-18 05:30:00 | 4.624 | 178.387 | 3.939 | 166.839 | 3.172 | 168.233 | 2.839 | 158 | 19.71 | 889.567 | 30.395 | 0
2020-07-18 05:45:00 | 4.724 | 184.74 | 3.513 | 169.936 | 3.055 | 164.567 | 3.748 | 148.467 | 19.806 | 889.583 | 29.12 | 0
2020-07-18 06:00:00 | 5.176 | 187.833 | 3.502 | 168.536 | 3.092 | 152.2 | 3.742 | 141 | 19.518 | 889.367 | 29.381 | 0
2020-07-18 06:15:00 | 5.596 | 186.127 | 4.42 | 171.993 | 4.127 | 170.033 | 4.226 | 156.233 | 19.252 | 889.967 | 29.467 | 0
2020-07-18 06:30:00 | 6.492 | 195.087 | 6.425 | 182.998 | 5.205 | 187.933 | 4.603 | 181.4 | 18.914 | 889.717 | 29.541 | 0
2020-07-18 06:45:00 | 4.946 | 207.913 | 4.872 | 199.688 | 4.456 | 207.9 | 4.632 | 203.033 | 18.985 | 889.667 | 28.891 | 0
2020-07-18 07:00:00 | 4.899 | 214.387 | 4.484 | 211.051 | 3.827 | 211.333 | 3.796 | 203.1 | 20.089 | 889.65 | 27.872 | 0
2020-07-18 07:15:00 | 5.031 | 211.507 | 5.152 | 201.176 | 5.006 | 201.067 | 4.324 | 196.367 | 20.656 | 889.917 | 27.424 | 0
2020-07-18 07:30:00 | 3.828 | 205.18 | 5.381 | 196.842 | 4.712 | 196.867 | 4.377 | 190.867 | 21.931 | 889.867 | 26.043 | 0
2020-07-18 07:45:00 | 2.612 | 190.533 | 3.879 | 189.039 | 3.534 | 186.567 | 3.837 | 176.067 | 22.998 | 889.95 | 24.507 | 0
2020-07-18 08:00:00 | 2.39 | 178.947 | 2.713 | 179.678 | 3.075 | 181.867 | 3.498 | 174.467 | 23.314 | 890.133 | 22.843 | 0
2020-07-18 08:15:00 | 1.507 | 161.34 | 1.323 | 162.862 | 1.671 | 161.5 | 2.303 | 173 | 24.202 | 890.15 | 21.323 | 0
2020-07-18 08:30:00 | 1.034 | 122.567 | 0.056 | 139.135 | 0 | 142 | 0.97 | 168 | 25.623 | 889.567 | 20.056 | 0
2020-07-18 08:45:00 | 1.614 | 111.037 | 1.276 | 104.723 | 1.27 | 117.1 | 1.872 | 110.933 | 26.052 | 889.2 | 19.883 | 0
2020-07-18 09:00:00 | 1.465 | 114.143 | 1.074 | 115.925 | 1.414 | 121.233 | 1.968 | 121.033 | 25.96 | 889.633 | 19.957 | 0
2020-07-18 09:15:00 | 2.603 | 85.273 | 2.468 | 89.024 | 2.636 | 95 | 2.976 | 96.467 | 26.473 | 889.4 | 20.011 | 0
2020-07-18 09:30:00 | 2.338 | 113.508 | 2.228 | 104.69 | 2.455 | 109 | 2.751 | 110.367 | 27.414 | 889.667 | 19.541 | 0
2020-07-18 09:45:00 | 3.187 | 143.113 | 3.133 | 139.382 | 3.488 | 138.2 | 3.866 | 136.567 | 27.723 | 889.533 | 18.832 | 0
2020-07-18 10:00:00 | 3.456 | 107.7 | 3.462 | 103.826 | 3.419 | 109.6 | 3.932 | 106.7 | 27.994 | 889.8 | 18.123 | 0
2020-07-18 10:15:00 | 2.421 | 86.347 | 2.072 | 87.076 | 2.09 | 104.467 | 2.543 | 110.467 | 28.168 | 889.2 | 18.451 | 0
2020-07-18 10:30:00 | 3.757 | 119.26 | 4.054 | 112.088 | 4.119 | 112.567 | 4.523 | 106.033 | 28.289 | 889.233 | 17.856 | 0
2020-07-18 10:45:00 | 1.627 | 112.753 | 1.419 | 90.681 | 1.516 | 77.9 | 2.079 | 72.367 | 28.889 | 889.367 | 17.757 | 0
2020-07-18 11:00:00 | 2.96 | 81.177 | 3.308 | 80.094 | 3.241 | 86.167 | 3.508 | 78.233 | 29.481 | 889.6 | 16.947 | 0
2020-07-18 11:15:00 | 3.802 | 85.3 | 4.145 | 81.238 | 4.123 | 88.9 | 4.184 | 85.5 | 29.648 | 889.4 | 17.437 | 0
2020-07-18 11:30:00 | 0.516 | 190.153 | 0.183 | 164.979 | 0.033 | 118.342 | 0.298 | 71.75 | 29.906 | 889.267 | 16.94 | 0
2020-07-18 11:45:00 | 3.242 | 25.02 | 3.216 | 27.247 | 3.124 | 29.133 | 3.405 | 25.733 | 29.698 | 889.633 | 16.915 | 0
2020-07-18 12:00:00 | 2.857 | 222.44 | 2.634 | 224.969 | 2.877 | 221.434 | 2.993 | 202.033 | 29.998 | 889.233 | 16.941 | 0
2020-07-18 12:15:00 | 3.962 | 53.962 | 3.828 | 50.832 | 3.841 | 52.167 | 4.09 | 45.9 | 29.894 | 889.5 | 16.363 | 0
2020-07-18 12:30:00 | 4.006 | 59.67 | 4.222 | 52.257 | 4.429 | 53.633 | 4.433 | 47.867 | 30.331 | 889.333 | 16.189 | 0
2020-07-18 12:45:00 | 2.41 | 220.018 | 2.13 | 312.869 | 2.379 | 277.933 | 2.89 | 288.633 | 30.648 | 889.467 | 15.735 | 0
2020-07-18 13:00:00 | 3.181 | 239.767 | 3.424 | 238.863 | 3.469 | 236.183 | 3.473 | 229.317 | 31.686 | 889.633 | 15.06 | 0
2020-07-18 13:15:00 | 4.469 | 271.481 | 4.577 | 337.012 | 4.504 | 331.833 | 4.564 | 344 | 30.41 | 889.633 | 14.927 | 0
2020-07-18 13:30:00 | 4.808 | 292.855 | 5.292 | 298.912 | 5.49 | 282.668 | 5.47 | 282.7 | 31.11 | 889.6 | 14.372 | 0
2020-07-18 13:45:00 | 3.975 | 67.262 | 3.804 | 63.955 | 3.857 | 65.333 | 4.227 | 60.8 | 31.031 | 889.933 | 14.869 | 0
2020-07-18 14:00:00 | 4.258 | 84.587 | 4.299 | 83.767 | 4.19 | 92.8 | 4.373 | 89.467 | 31.204 | 889.467 | 15.019 | 0
2020-07-18 14:15:00 | 4.582 | 259.951 | 4.838 | 311.366 | 4.979 | 294.033 | 5.289 | 280.367 | 31.09 | 889.467 | 15.091 | 0
2020-07-18 14:30:00 | 4.141 | 193.836 | 4.315 | 183.349 | 4.515 | 174.767 | 4.726 | 198.6 | 30.661 | 889.267 | 15.553 | 0
2020-07-18 14:45:00 | 3.829 | 287.067 | 4.014 | 313.536 | 4.194 | 316.667 | 4.85 | 313.933 | 31.297 | 889.1 | 14.711 | 0
2020-07-18 15:00:00 | 3.514 | 281.101 | 3.749 | 297.859 | 4.088 | 304.367 | 4.547 | 303.233 | 32.039 | 889.333 | 13.955 | 0
2020-07-18 15:15:00 | 2.113 | 155.951 | 1.509 | 161.699 | 1.313 | 128.771 | 1.939 | 132.1 | 32.367 | 889.733 | 13.571 | 0
2020-07-18 15:30:00 | 2.252 | 130.1 | 1.818 | 121.587 | 0.958 | 125.4 | 1.172 | 55.4 | 32.034 | 889.333 | 13.833 | 0
2020-07-18 15:45:00 | 4.684 | 286.66 | 5.073 | 279.459 | 5.304 | 288.833 | 5.347 | 286.683 | 32.448 | 889.767 | 12.684 | 0
2020-07-18 16:00:00 | 5.006 | 255.953 | 5.228 | 249.971 | 5.407 | 255.267 | 5.318 | 247.8 | 33.196 | 889.233 | 12.317 | 0
2020-07-18 16:15:00 | 3.736 | 265.113 | 3.629 | 263.487 | 3.626 | 270.933 | 3.757 | 266.567 | 32.746 | 889.467 | 12.38 | 0
2020-07-18 16:30:00 | 4.807 | 176.318 | 4.872 | 218.576 | 4.745 | 163.333 | 5.084 | 212.733 | 33.196 | 889.1 | 12.384 | 0
2020-07-18 16:45:00 | 4.093 | 196.003 | 4.104 | 304.063 | 4.324 | 315.467 | 4.919 | 298.6 | 32.863 | 889.7 | 12.241 | 0
2020-07-18 17:00:00 | 0.482 | 147.927 | 0.1 | 150.89 | 0.243 | 149.933 | 0.4 | 148.55 | 33.158 | 888.9 | 11.535 | 0
2020-07-18 17:15:00 | 5.456 | 107.943 | 6.08 | 153.462 | 6.005 | 71.233 | 5.902 | 59.333 | 33.263 | 889.367 | 11.491 | 0
2020-07-18 17:30:00 | 5.107 | 18.057 | 5.062 | 30.411 | 5.158 | 22.167 | 5.284 | 18.167 | 32.813 | 889.633 | 11.568 | 0
2020-07-18 17:45:00 | 3.44 | 101.404 | 3.098 | 146.052 | 2.908 | 98.801 | 3.17 | 141.934 | 33.696 | 889.5 | 10.679 | 0
2020-07-18 18:00:00 | 3.342 | 78.777 | 3.325 | 95.719 | 3.256 | 94.769 | 3.3 | 175.833 | 33.363 | 889.3 | 10.304 | 0
2020-07-18 18:15:00 | 4.549 | 41.803 | 4.424 | 27.724 | 4.452 | 33.5 | 4.531 | 18.9 | 33.413 | 889.467 | 10.661 | 0
2020-07-18 18:30:00 | 3.055 | 170.871 | 2.968 | 166.161 | 2.922 | 128.367 | 3.43 | 154.8 | 33.696 | 889.467 | 10.809 | 0
2020-07-18 18:45:00 | 3.016 | 308.867 | 3.169 | 314.04 | 3.378 | 322.7 | 3.716 | 322.767 | 33.246 | 889.233 | 11.327 | 0
2020-07-18 19:00:00 | 3.958 | 49.654 | 4.372 | 79.26 | 4.504 | 69.3 | 4.6 | 43.6 | 33.08 | 889.433 | 11.151 | 0
2020-07-18 19:15:00 | 5.312 | 39.152 | 5.504 | 35.916 | 5.628 | 39.7 | 5.801 | 34.267 | 33.33 | 889.467 | 11.096 | 0
2020-07-18 19:30:00 | 6.935 | 291.133 | 7.097 | 321.754 | 7.067 | 303.6 | 7.372 | 291.067 | 32.913 | 889.967 | 10.872 | 0
2020-07-18 19:45:00 | 4.355 | 46.554 | 4.978 | 76.928 | 5.086 | 42.033 | 5.211 | 77.6 | 33.08 | 889.767 | 11.219 | 0
2020-07-18 20:00:00 | 3.964 | 190.066 | 3.794 | 201.325 | 3.996 | 205.4 | 4.172 | 205.1 | 32.763 | 889.567 | 11.272 | 0
2020-07-18 20:15:00 | 0.866 | 59.428 | 0.46 | 356.014 | 0.576 | 0.133 | 1.381 | 0.8 | 33.28 | 889.6 | 10.964 | 0
2020-07-18 20:30:00 | 3.037 | 299.814 | 2.897 | 318.315 | 3.038 | 310.134 | 3.403 | 343.133 | 32.796 | 889.7 | 11.112 | 0
2020-07-18 20:45:00 | 4.101 | 347.28 | 4.226 | 343.199 | 4.294 | 349.333 | 4.632 | 347.567 | 32.747 | 889.767 | 11.649 | 0
2020-07-18 21:00:00 | 2.461 | 346.573 | 2.486 | 342.217 | 2.6 | 346.233 | 2.963 | 348.3 | 32.509 | 889.367 | 12.129 | 0
2020-07-18 21:15:00 | 1.653 | 319.547 | 1.47 | 329.817 | 1.501 | 332.133 | 2.074 | 328.4 | 31.874 | 889.433 | 12.939 | 0
2020-07-18 21:30:00 | 0.662 | 22.78 | 0.033 | 17.064 | 0.579 | 36.467 | 1.605 | 20.567 | 31.368 | 889.533 | 13.787 | 0
2020-07-18 21:45:00 | 1.226 | 306.342 | 1.46 | 347.156 | 1.943 | 270.767 | 2.557 | 356.733 | 30.589 | 889.5 | 14.299 | 0
2020-07-18 22:00:00 | 0 | 7.022 | 0 | 354.969 | 0 | 0 | 1.222 | 11.867 | 30.694 | 889.167 | 14.787 | 0
2020-07-18 22:15:00 | 0 | 7.014 | 0 | 354.938 | 0 | 0.133 | 1.307 | 0 | 30.285 | 889.5 | 15.149 | 0
2020-07-18 22:30:00 | 0 | 314.52 | 0 | 354.758 | 0 | 0 | 0 | 11.867 | 29.314 | 889.567 | 15.589 | 0
2020-07-18 22:45:00 | 0.719 | 303.84 | 0 | 355.035 | 0 | 0.134 | 0 | 0 | 29.248 | 889.467 | 15.939 | 0
2020-07-18 23:00:00 | 1.106 | 247.373 | 0 | 355.226 | 0 | 0 | 0 | 0 | 28.773 | 889.667 | 16.149 | 0.015632
2020-07-18 23:15:00 | 0.546 | 245 | 0 | 355.027 | 0 | 0.133 | 0 | 11.933 | 28.964 | 889.033 | 16.184 | 0.056845
2020-07-18 23:30:00 | 1.682 | 220.027 | 0 | 354.954 | 0 | 0.4 | 0 | 0 | 28.61 | 889.433 | 16.256 | 0.078162
2020-07-18 23:45:00 | 2.623 | 213.027 | 0 | 207.564 | 0 | 0 | 0.976 | 0 | 28.681 | 889.7 | 16.056 | 0.1009